## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2019-09-20 00:00:00 | 3.7229 | 175.4214 | 4.28 | 192.7629 | 7.0229 | 158.2629 | 7.3 | 11.4714 | 15.15 | 892 | 96.5818 | 30.255
2019-09-20 00:15:00 | 3.3933 | 101.58 | 3.9133 | 111.62 | 6.7333 | 4.55 | 7.512 | 18.8 | 15.0333 | 892 | 97.9333 | 28.892
2019-09-20 00:30:00 | 3.4067 | 271.1533 | 3.9267 | 297.9667 | 6.6933 | 3.35 | 7.3067 | 23.1267 | 14.88 | 892 | 98.6 | 25.5373
2019-09-20 00:45:00 | 3.44 | 37.6867 | 3.96 | 41.4067 | 6.67 | 10.95 | 7.1767 | 16.12 | 14.8353 | 892 | 98.7067 | 28.362
2019-09-20 01:00:00 | 3.5333 | 183.46 | 4.0733 | 201.6 | 6.69 | 15.7633 | 7.1567 | 20.7533 | 14.8633 | 892 | 98.56 | 29.2013
2019-09-20 01:15:00 | 4.0533 | 70.16 | 4.66 | 77.09 | 7.9067 | 5.94 | 8.4267 | 24.9167 | 14.7933 | 892 | 99.2667 | 30.116
2019-09-20 01:30:00 | 4.6 | 51.1667 | 5.2933 | 56.2233 | 8.6133 | 6.4867 | 9.14 | 22.6967 | 14.76 | 892 | 99 | 30.5473
2019-09-20 01:45:00 | 4.3467 | 120.0367 | 4.9967 | 131.9067 | 8.1933 | 15.8533 | 8.8967 | 12.02 | 14.9087 | 892 | 98.1 | 31.9187
2019-09-20 02:00:00 | 3.9467 | 302.9167 | 4.5367 | 332.8667 | 7.68 | 15.32 | 8.59 | 27.3667 | 14.8167 | 892 | 99.0333 | 30.7133
2019-09-20 02:15:00 | 4.36 | 161.16 | 5.0233 | 177.1 | 8.26 | 8.9733 | 8.64 | 7.1667 | 14.6793 | 892 | 99.5933 | 29.73
2019-09-20 02:30:00 | 4.8267 | 158.9867 | 5.55 | 174.7 | 8.78 | 15.0667 | 9.1133 | 13.8467 | 14.6967 | 892 | 99.2333 | 31.3013
2019-09-20 02:45:00 | 5.6433 | 170.26 | 6.49 | 187.1 | 10.0733 | 20.69 | 10.54 | 21.1333 | 14.8 | 892 | 98.3667 | 32.3053
2019-09-20 03:00:00 | 6.19 | 143.3867 | 7.1167 | 157.5667 | 11.0133 | 4.7967 | 11.3733 | 20.9267 | 14.8733 | 892 | 97.9667 | 34.2433
2019-09-20 03:15:00 | 6.7967 | 169.7467 | 7.8167 | 186.5333 | 12.0567 | 13.49 | 12.44 | 19.0067 | 14.8593 | 891.2667 | 98.1067 | 33.3433
2019-09-20 03:30:00 | 6.2967 | 266.58 | 7.2433 | 292.9333 | 11.5567 | 11.8033 | 11.9733 | 22.1 | 14.806 | 891 | 98.2 | 32.4573
2019-09-20 03:45:00 | 6.2467 | 149.27 | 7.19 | 164.0333 | 11.0407 | 9.7733 | 11.4533 | 21.7267 | 14.8307 | 891.6667 | 97.6667 | 31.8707
2019-09-20 04:00:00 | 6.18 | 161.6567 | 7.11 | 177.6333 | 11.0233 | 14.4533 | 10.7133 | 19.4933 | 14.8533 | 891 | 97.4 | 31.89
2019-09-20 04:15:00 | 6.17 | 106.0167 | 7.1033 | 116.4933 | 11.0533 | 15.2733 | 11 | 11.4033 | 14.7767 | 891 | 97.9 | 31.9647
2019-09-20 04:30:00 | 6.17 | 202.0233 | 7.1033 | 222 | 11.028 | 13.7467 | 11.16 | 18.0633 | 14.73 | 891 | 98.1 | 31.8507
2019-09-20 04:45:00 | 5.5633 | 68.0033 | 6.4033 | 74.7267 | 10.2533 | 15.0033 | 10.6367 | 14.6067 | 14.5467 | 891 | 99.1 | 32.138
2019-09-20 05:00:00 | 5.4567 | 146.3633 | 6.2767 | 160.8333 | 9.8667 | 13.11 | 10.0233 | 26.6133 | 14.472 | 891 | 99.54 | 31.4153
2019-09-20 05:15:00 | 5.3067 | 171.66 | 6.11 | 188.6333 | 9.4467 | 17.3267 | 9.7 | 17.6833 | 14.4333 | 891.0667 | 99.7733 | 29.6307
2019-09-20 05:30:00 | 4.5533 | 98.7867 | 5.2433 | 108.5533 | 8.4333 | 14.0267 | 8.6333 | 17.4433 | 14.3267 | 892 | 100 | 29.3573
2019-09-20 05:45:00 | 4.2933 | 205.59 | 4.9433 | 225.92 | 8.0433 | 15.2867 | 8.3533 | 4.9767 | 14.2133 | 892 | 100 | 29.312
2019-09-20 06:00:00 | 4.78 | 196.37 | 5.4967 | 215.7867 | 8.5767 | 8.24 | 9.0267 | 15.2433 | 14.1533 | 891.6 | 100 | 28.7447
2019-09-20 06:15:00 | 4.7867 | 132.3733 | 5.5133 | 145.4667 | 8.4033 | 0.91 | 9.19 | 10.1067 | 14.14 | 891.7333 | 100 | 29.0267
2019-09-20 06:30:00 | 4.3733 | 107.94 | 5.0333 | 118.62 | 7.8567 | 14.5167 | 8.57 | 10.0267 | 14.136 | 892 | 100 | 28.8433
2019-09-20 06:45:00 | 4.4767 | 151.4633 | 5.16 | 166.44 | 8.0593 | 10.2633 | 8.69 | 21.2233 | 14.1233 | 892 | 100 | 27.2047
2019-09-20 07:00:00 | 4.2233 | 146.0967 | 4.86 | 160.54 | 7.55 | 13.1833 | 8.2767 | 16.4433 | 14.1833 | 892 | 100 | 28.578
2019-09-20 07:15:00 | 4.3067 | 139.8367 | 4.9633 | 153.6667 | 7.74 | 8.1967 | 8.7433 | 22.4367 | 14.2567 | 892 | 100 | 29.97
2019-09-20 07:30:00 | 4.5267 | 280.13 | 5.2167 | 307.8333 | 8.38 | 13.71 | 9.2367 | 23.7033 | 14.286 | 892 | 100 | 30.696
2019-09-20 07:45:00 | 5.9867 | 202.49 | 6.89 | 222.51 | 10.8467 | 6.5433 | 11.1033 | 17.86 | 14.2507 | 892 | 100 | 32.8393
2019-09-20 08:00:00 | 6.1267 | 101.1767 | 7.0433 | 111.1767 | 11.6067 | 11.4033 | 12.0833 | 20.6 | 14.2267 | 892 | 100 | 33.016
2019-09-20 08:15:00 | 5.8627 | 185.4693 | 6.7507 | 203.8 | 11.1607 | 16.5687 | 11.382 | 25.3773 | 14.2413 | 892.0667 | 99.7267 | 31.9353
2019-09-20 08:30:00 | 5.18 | 131.5033 | 5.9667 | 144.5 | 9.98 | 13.6933 | 10.1933 | 20.0567 | 14.3667 | 893 | 98.9667 | 29.9167
2019-09-20 08:45:00 | 4.7133 | 157.9233 | 5.43 | 173.5333 | 9.12 | 16.1667 | 9.8167 | 29.7467 | 14.59 | 893 | 98.5 | 28.36
2019-09-20 09:00:00 | 4.22 | 227.7433 | 4.8633 | 250.2667 | 8.0933 | 16.0867 | 8.3633 | 20.1733 | 14.7833 | 893 | 97.3 | 25.3433
2019-09-20 09:15:00 | 3.4333 | 305.3027 | 3.9467 | 337.4333 | 6.7867 | 16.89 | 7.3267 | 22.05 | 14.9733 | 893 | 97.44 | 25.29
2019-09-20 09:30:00 | 3.4467 | 223.7667 | 3.9667 | 245.9 | 6.76 | 26.19 | 7.5067 | 18.79 | 15.3133 | 893 | 97.4 | 28.6027
2019-09-20 09:45:00 | 4.2133 | 148.0333 | 4.8433 | 162.6667 | 8.34 | 14.6967 | 9.28 | 23.91 | 15.7233 | 893.0667 | 97.1933 | 42.704
2019-09-20 10:00:00 | 4.6933 | 199.1733 | 5.3967 | 218.8667 | 9.2133 | 16.07 | 10.12 | 24.3967 | 15.9167 | 894 | 96.1667 | 43.9133
2019-09-20 10:15:00 | 4.7467 | 223.41 | 5.47 | 245.5 | 9.2767 | 21.1333 | 10.5533 | 29.14 | 16.36 | 894 | 94.3667 | 40.5133
2019-09-20 10:30:00 | 4.9733 | 235.4767 | 5.7167 | 258.7667 | 9.71 | 19.0467 | 10.6933 | 27.2267 | 17.0667 | 894 | 92.6333 | 32.708
2019-09-20 10:45:00 | 4.9733 | 235.4767 | 5.7167 | 258.7667 | 9.71 | 19.0467 | 10.6933 | 27.2267 | 17.0667 | 894 | 92.6333 | 32.708
2019-09-20 11:00:00 | 3.8333 | 79.3633 | 4.42 | 87.2067 | 7.5167 | 14.8967 | 8.0267 | 23.3 | 18.9733 | 894 | 86.5333 | 23.7793
2019-09-20 11:15:00 | 4.024 | 235.6433 | 4.6353 | 258.9467 | 7.6947 | 22.0933 | 8.4093 | 33.0713 | 20.1327 | 894.7333 | 82.016 | 25.212
2019-09-20 11:30:00 | 4.4 | 174.3267 | 5.0633 | 191.5667 | 8.1633 | 23.69 | 8.9967 | 38.4233 | 20.5833 | 895 | 76.9967 | 18.1873
2019-09-20 11:45:00 | 4.57 | 202.72 | 5.26 | 222.7667 | 8.1967 | 30 | 8.6833 | 30.0367 | 21.34 | 895 | 70.8833 | 17.5807
2019-09-20 12:00:00 | 4.69 | 149.3933 | 5.4 | 164.1667 | 8.4033 | 28.7067 | 8.6967 | 32.2833 | 22.1133 | 895 | 66.6167 | 16.3927
2019-09-20 12:15:00 | 4.2133 | 177.6067 | 4.85 | 195.1667 | 7.6033 | 17.7033 | 7.6167 | 29.54 | 22.7473 | 895 | 64.93 | 16.7193
2019-09-20 12:30:00 | 4.12 | 69.8 | 4.7367 | 76.6933 | 7.39 | 6.61 | 7.7567 | 35.26 | 22.7633 | 895 | 63.3633 | 16.8733
2019-09-20 12:45:00 | 4.6333 | 146.06 | 5.3367 | 160.5 | 8.46 | 22.5867 | 8.9633 | 33.8967 | 22.6867 | 895 | 64.1833 | 20.198
2019-09-20 13:00:00 | 4.5267 | 49.6267 | 5.21 | 54.5333 | 8.3267 | 17.34 | 8.9033 | 33.3767 | 22.9267 | 895 | 63.49 | 16.7187
2019-09-20 13:15:00 | 4.08 | 119.9367 | 4.69 | 131.8 | 7.37 | 14.19 | 7.81 | 33.3367 | 22.5333 | 895 | 62.32 | 13.866
2019-09-20 13:30:00 | 3.7067 | 100.2833 | 4.2633 | 110.2 | 6.7433 | 28.7967 | 7.1633 | 28.6367 | 22.2067 | 895 | 63.1133 | 10.0733
2019-09-20 13:45:00 | 3.5133 | 300.45 | 4.0467 | 330.1667 | 6.4933 | 22.84 | 6.6767 | 37.5067 | 22.2867 | 895 | 64.3833 | 7.912
2019-09-20 14:00:00 | 3.2733 | 279.2767 | 3.7667 | 306.9 | 5.98 | 23.86 | 6.31 | 26.4733 | 22.7467 | 895 | 61.4767 | 6.0247
2019-09-20 14:15:00 | 3.2367 | 172.9733 | 3.7233 | 190.0667 | 6.0933 | 24.9667 | 6.4433 | 29.6933 | 23.2633 | 895 | 62.0367 | 5.4393
2019-09-20 14:30:00 | 3.2633 | 176.7267 | 3.75 | 194.2 | 5.9667 | 24.7067 | 6.1367 | 32.22 | 23.8767 | 894.6 | 57.9833 | 9.5053
2019-09-20 14:45:00 | 3.7133 | 125.9367 | 4.27 | 138.38 | 6.8167 | 17.3033 | 6.61 | 31.05 | 24.7167 | 894 | 54.3267 | 11.7647
2019-09-20 15:00:00 | 4.2979 | 125.8293 | 4.94 | 138.2714 | 7.7571 | 16.2907 | 7.8064 | 24.5493 | 25.5564 | 894.3571 | 51.55 | 15.2333
2019-09-20 15:15:00 | 4.5927 | 141.3633 | 5.2833 | 155.34 | 8.3413 | 12.856 | 8.3427 | 26.5687 | 25.4513 | 894.9333 | 48.8567 | 18.0753
2019-09-20 15:30:00 | 5.0033 | 163.6733 | 5.7567 | 179.86 | 9.0233 | 7.0233 | 9.0933 | 22.6867 | 25.13 | 894 | 47.2333 | 22.4667
2019-09-20 15:45:00 | 5.3933 | 213.7753 | 6.204 | 234.9067 | 9.5367 | 27.96 | 9.4927 | 28.41 | 25.312 | 894 | 44.2453 | 30.4247
2019-09-20 16:00:00 | 6.63 | 197.05 | 7.6267 | 216.5333 | 11.6767 | 15.4367 | 11.58 | 18.1833 | 24.8567 | 894 | 41.59 | 28.1073
2019-09-20 16:15:00 | 5.5 | 167.54 | 6.3233 | 184.1 | 9.5167 | 16.5567 | 9.4767 | 22.86 | 24.8733 | 894 | 41.5667 | 29.4453
2019-09-20 16:30:00 | 5.8467 | 159.22 | 6.7233 | 174.9667 | 10.2433 | 31.73 | 10.3433 | 33.14 | 24.716 | 894 | 40.9333 | 22.8773
2019-09-20 16:45:00 | 4.3967 | 153.0367 | 5.0567 | 168.1667 | 8.0267 | 11.5067 | 7.6167 | 23.2267 | 24.9 | 894 | 42.5733 | 15.6333
2019-09-20 17:00:00 | 3.8967 | 115.2367 | 4.4833 | 126.6333 | 6.9867 | 18.7467 | 7.07 | 16.4933 | 24.9333 | 894 | 42.5333 | 13.0733
2019-09-20 17:15:00 | 4.6133 | 261.8067 | 5.32 | 287.7 | 8.6033 | 24.0167 | 8.41 | 28.3467 | 24.8707 | 894 | 43.59 | 11.544
2019-09-20 17:30:00 | 4.08 | 249.1267 | 4.7067 | 273.7667 | 7.59 | 8.4167 | 7.41 | 24.2133 | 24.6067 | 894 | 44.4633 | 7.4187
2019-09-20 17:45:00 | 3.44 | 130.22 | 3.9567 | 143.1 | 6.56 | 24.7767 | 6.7333 | 27.4233 | 23.5867 | 894 | 47.2933 | 8.2133
2019-09-20 18:00:00 | 3.0733 | 239.48 | 3.53 | 263.1667 | 5.8867 | 20.2433 | 5.9733 | 33.53 | 22.5 | 894 | 50.8333 | 6.1013
2019-09-20 18:15:00 | 2.8867 | 238.67 | 3.32 | 262.2667 | 5.39 | 350.4667 | 5.4433 | 14.5267 | 21.77 | 893.2667 | 51.7533 | 3.842
2019-09-20 18:30:00 | 2.2 | 238.0033 | 2.54 | 261.5333 | 4.2367 | 355.5333 | 4.4567 | 6.4133 | 21.25 | 893 | 53.6533 | 1.29
2019-09-20 18:45:00 | 1.3 | 276.1867 | 1.5 | 303.5 | 2.1367 | 116.72 | 2.2867 | 5.9933 | 21.0367 | 893 | 51.3933 | 0.32467
2019-09-20 19:00:00 | 1.26 | 275.64 | 1.46 | 302.9 | 1.8033 | 346.4667 | 1.84 | 16.6 | 21.4767 | 893 | 48.8533 | 0.056
2019-09-20 19:15:00 | 1.1 | 278.65 | 1.2733 | 306.2 | 1.9467 | 0.91 | 1.8633 | 237.98 | 21.5967 | 892.2667 | 48.9467 | 0.062667
2019-09-20 19:30:00 | 0.77333 | 278.65 | 0.89333 | 306.2 | 1.4467 | 2.4633 | 1.1767 | 11.52 | 21.342 | 892 | 49.8933 | 0
2019-09-20 19:45:00 | 0.40333 | 278.65 | 0.464 | 306.2 | 0.58533 | 2.48 | 0.20933 | 30.3767 | 21.2833 | 892 | 49.068 | 0
2019-09-20 20:00:00 | 0.69 | 278.65 | 0.80667 | 306.2 | 0.49667 | 2.48 | 0.063333 | 30.35 | 21.6933 | 892.4 | 47.1233 | 0
2019-09-20 20:15:00 | 0.68667 | 278.65 | 0.8 | 306.2 | 1.1 | 2.48 | 0 | 30.3567 | 21.8167 | 893 | 47.01 | 0
2019-09-20 20:30:00 | 0.47333 | 278.65 | 0.55333 | 306.2 | 0.94 | 2.48 | 0 | 30.338 | 21.6033 | 893 | 47.8167 | 0
2019-09-20 20:45:00 | 0.17333 | 278.65 | 0.20333 | 306.2 | 0.32333 | 2.48 | 0.003333 | 30.3487 | 21.6787 | 893 | 47.41 | 0
2019-09-20 21:00:00 | 0.18667 | 278.682 | 0.21667 | 306.24 | 0.24333 | 2.48 | 0.12333 | 185.91 | 21.5667 | 893 | 48.35 | 0
2019-09-20 21:15:00 | 0.14333 | 162.92 | 0.16333 | 179.0267 | 0 | 2.4467 | 0.23333 | 250.3 | 21.1633 | 893 | 50.9667 | 0
2019-09-20 21:30:00 | 0.37667 | 203.9333 | 0.44333 | 224.0933 | 0.45333 | 130.26 | 1.2267 | 209.1667 | 20.5433 | 893 | 54.5933 | 0
2019-09-20 21:45:00 | 0.92 | 106.54 | 1.0633 | 117.0667 | 1.6267 | 200.0333 | 2.3767 | 191.98 | 19.77 | 893 | 57.1667 | 0
2019-09-20 22:00:00 | 0.92667 | 177.1 | 1.0767 | 194.6 | 1.6533 | 190.4333 | 2.4767 | 183.4333 | 19.4567 | 893 | 57.8667 | 0
2019-09-20 22:15:00 | 0.62333 | 212.8933 | 0.72333 | 233.9333 | 1.1167 | 165.5 | 2.12 | 175.2 | 19.2067 | 893.7333 | 59.0467 | 0
2019-09-20 22:30:00 | 0.33 | 284.548 | 0.37667 | 312.68 | 0.49667 | 171.98 | 1.1733 | 172.6 | 19.0067 | 894 | 60.7867 | 0
2019-09-20 22:45:00 | 0.45333 | 266.7833 | 0.52667 | 293.1667 | 0.89333 | 199.6933 | 0.85 | 196.9067 | 18.7633 | 893.9333 | 62.0233 | 0
2019-09-20 23:00:00 | 0.24667 | 283.77 | 0.29333 | 311.8333 | 0 | 199.64 | 0.016667 | 197 | 18.6433 | 893 | 64.71 | 0
2019-09-20 23:15:00 | 0.744 | 313.202 | 0.86267 | 344.1667 | 0.17267 | 349.4933 | 0 | 197 | 18.4647 | 893.6667 | 68.9447 | 0
2019-09-20 23:30:00 | 1.9533 | 314.7433 | 2.2433 | 345.8667 | 1.93 | 356.9 | 0.54667 | 66.4467 | 18.16 | 893 | 71.19 | 0
2019-09-20 23:45:00 | 2.8867 | 302.3633 | 3.3267 | 332.2667 | 3.9633 | 14.32 | 3.0633 | 13.5767 | 17.72 | 893 | 73.5667 | 0