## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2019-09-21 00:00:00 | 2.9743 | 313.6129 | 3.42 | 344.6286 | 4.0757 | 15.1543 | 3.9929 | 23.9529 | 17.4486 | 893 | 75.296 | 0.023571
2019-09-21 00:15:00 | 3.4033 | 310.43 | 3.92 | 341.1333 | 4.2667 | 4.6967 | 4.16 | 16.4533 | 17.158 | 893 | 77.5867 | 1.0893
2019-09-21 00:30:00 | 3.9233 | 321.9567 | 4.5133 | 353.8 | 4.52 | 238.7967 | 4.7467 | 9.32 | 17.0833 | 893 | 77.48 | 2.9767
2019-09-21 00:45:00 | 3.3567 | 309.7033 | 3.86 | 340.3333 | 4.8933 | 4.3333 | 5.4 | 11.7767 | 16.47 | 893 | 81.2333 | 4.5453
2019-09-21 01:00:00 | 3.2167 | 306.4967 | 3.7 | 336.8 | 4.8867 | 7.6867 | 5.0333 | 15.1633 | 16.1567 | 893 | 82.9 | 6.0447
2019-09-21 01:15:00 | 3.21 | 281.5 | 3.6933 | 309.3333 | 5.2267 | 8.7167 | 5.24 | 20.1167 | 16.03 | 893 | 83.6067 | 8.792
2019-09-21 01:30:00 | 3.2833 | 122.86 | 3.7733 | 135 | 5.6 | 12.93 | 5.8667 | 25.3167 | 15.9433 | 893 | 84.5667 | 10.6933
2019-09-21 01:45:00 | 2.8113 | 80.9167 | 3.2287 | 88.9153 | 5.37 | 13.1593 | 5.7407 | 23.5493 | 15.704 | 893 | 86.68 | 12.6753
2019-09-21 02:00:00 | 2.9333 | 97.5667 | 3.37 | 107.2133 | 5.7733 | 22.7 | 5.79 | 15.8633 | 15.41 | 893 | 88.6667 | 15.688
2019-09-21 02:15:00 | 3.1867 | 283.56 | 3.6667 | 311.6 | 5.7867 | 11.96 | 6.0267 | 16.4567 | 15.2333 | 892.9333 | 89.3 | 16.726
2019-09-21 02:30:00 | 3.28 | 320.9867 | 3.7733 | 352.7333 | 5.8067 | 7.16 | 6.14 | 12.2767 | 15.3533 | 892 | 88.6333 | 15.616
2019-09-21 02:45:00 | 3.2667 | 23.6733 | 3.7567 | 26.0133 | 5.9433 | 6.3 | 6.6633 | 14.52 | 15.2233 | 892.7333 | 89.4333 | 17.2513
2019-09-21 03:00:00 | 3.3267 | 163.4533 | 3.8233 | 179.62 | 6.1767 | 11.5867 | 6.7233 | 19.6733 | 15.1033 | 893 | 90.3 | 20.5433
2019-09-21 03:15:00 | 3.5533 | 33.4633 | 4.088 | 36.7653 | 6.376 | 15.7333 | 6.8147 | 15.5533 | 14.9807 | 892.2667 | 91.34 | 26.904
2019-09-21 03:30:00 | 3.5333 | 49.6733 | 4.06 | 54.58 | 6.6467 | 12.0767 | 7.2567 | 14.48 | 14.7733 | 892 | 92.5333 | 35.0867
2019-09-21 03:45:00 | 4.3893 | 67.3433 | 5.044 | 74.004 | 7.3833 | 3.7673 | 7.7147 | 264.7533 | 14.594 | 892 | 93.3933 | 37.0033
2019-09-21 04:00:00 | 4.8067 | 283.4667 | 5.5233 | 311.5 | 7.53 | 13.0567 | 7.9467 | 12.93 | 14.7533 | 892 | 92.9667 | 32.0413
2019-09-21 04:15:00 | 4.1 | 289.1733 | 4.7267 | 317.7667 | 7.0033 | 120.66 | 7.4733 | 129.9467 | 14.71 | 892 | 93.4667 | 32.1633
2019-09-21 04:30:00 | 3.9 | 84.42 | 4.5 | 92.76 | 6.85 | 125.94 | 7.14 | 125.1667 | 14.6167 | 892 | 94.0667 | 35.4873
2019-09-21 04:45:00 | 4.4167 | 280.93 | 5.09 | 308.7 | 7.7133 | 124.9267 | 7.85 | 9.9133 | 14.43 | 892 | 95.2667 | 35.7733
2019-09-21 05:00:00 | 4.39 | 318.5967 | 5.0633 | 350.1 | 7.9467 | 118.3 | 8.1567 | 9.5467 | 14.3767 | 892 | 95.9333 | 33.62
2019-09-21 05:15:00 | 4.3567 | 92.8667 | 5.01 | 102.0467 | 7.4767 | 352.6 | 7.8467 | 10.2567 | 14.4133 | 892 | 96.4067 | 32.504
2019-09-21 05:30:00 | 4.2967 | 268.9133 | 4.95 | 295.5 | 7.8433 | 150.8333 | 8.56 | 12.6033 | 14.3867 | 892 | 96.8333 | 32.384
2019-09-21 05:45:00 | 4.3267 | 177.39 | 4.9867 | 194.9233 | 7.7933 | 350.5 | 8.4967 | 10.5667 | 14.29 | 892.0667 | 97.5 | 28.8413
2019-09-21 06:00:00 | 4.3267 | 220.6967 | 4.9867 | 242.5233 | 7.1867 | 148.1333 | 7.7033 | 12.64 | 14.1767 | 893 | 97.9 | 28.87
2019-09-21 06:15:00 | 4.0167 | 320.5333 | 4.6233 | 352.2333 | 7.3867 | 119.0333 | 8.2733 | 9.44 | 14.0333 | 893 | 98.3 | 30.8067
2019-09-21 06:30:00 | 4.0167 | 104.0133 | 4.6233 | 114.3 | 7.32 | 126.26 | 8.18 | 13.8733 | 13.9 | 893 | 98.8333 | 34.0567
2019-09-21 06:45:00 | 4.92 | 6.1067 | 5.6567 | 6.71 | 7.6867 | 124.0533 | 8.0767 | 27.2633 | 13.93 | 893 | 99.3 | 34.1093
2019-09-21 07:00:00 | 4.7933 | 189.7867 | 5.51 | 208.55 | 7.62 | 125.5267 | 7.75 | 11.8367 | 14.0167 | 893 | 98.9 | 35.1173
2019-09-21 07:15:00 | 4.82 | 133.6433 | 5.5433 | 146.8467 | 7.77 | 2.8733 | 7.9 | 10.5 | 14.11 | 893 | 98.5333 | 36.1487
2019-09-21 07:30:00 | 4.58 | 92.9367 | 5.2767 | 102.12 | 7.85 | 10.2333 | 7.7333 | 9.2533 | 14.1833 | 893 | 98.36 | 35.3133
2019-09-21 07:45:00 | 4.8133 | 219.13 | 5.54 | 240.7967 | 7.62 | 37.7933 | 7.52 | 63.7367 | 14.27 | 893 | 97.9933 | 36.5113
2019-09-21 08:00:00 | 4.5133 | 25.69 | 5.1933 | 28.2167 | 7.4 | 13.3267 | 7.56 | 19.3833 | 14.35 | 893 | 97.9 | 36.08
2019-09-21 08:15:00 | 4.7333 | 15.26 | 5.4533 | 16.77 | 8.1967 | 12.53 | 8.6567 | 16.6867 | 14.47 | 893.0667 | 97.4667 | 36.1873
2019-09-21 08:30:00 | 4.6 | 216.26 | 5.2867 | 237.65 | 8.1967 | 9.99 | 8.9567 | 11.08 | 14.6633 | 894 | 97.16 | 32.6007
2019-09-21 08:45:00 | 4.744 | 295.8673 | 5.468 | 325.12 | 8.5547 | 19.5313 | 9.1547 | 13.6453 | 15.0033 | 894 | 95.74 | 31.0947
2019-09-21 09:00:00 | 4.824 | 281.628 | 5.558 | 309.48 | 8.414 | 14.964 | 8.834 | 3.856 | 15.174 | 894 | 94.76 | 28.9287
2019-09-21 09:15:00 | 4.5733 | 316.3467 | 5.2633 | 347.6333 | 8.3733 | 7.3267 | 8.6733 | 21.56 | 15.7167 | 894 | 93.1667 | 29.5047
2019-09-21 09:30:00 | 4.58 | 323.6867 | 5.2633 | 355.7 | 8.24 | 10.6267 | 8.5333 | 10.48 | 16.11 | 894 | 91.2333 | 30.062
2019-09-21 09:45:00 | 4.4467 | 100.3067 | 5.1167 | 110.2267 | 7.8667 | 6.6367 | 8.12 | 30.38 | 16.3067 | 894.7333 | 89.6667 | 28.046
2019-09-21 10:00:00 | 4.42 | 287.48 | 5.09 | 315.9 | 7.6533 | 15.3633 | 7.9933 | 23.7067 | 16.284 | 895 | 88.96 | 25.3107
2019-09-21 10:15:00 | 3.8967 | 312.1267 | 4.48 | 343 | 7.0533 | 13.0767 | 6.9833 | 7.9633 | 17.17 | 895 | 87.9333 | 23.7187
2019-09-21 10:30:00 | 4.2767 | 293.2067 | 4.9267 | 322.2 | 7.4867 | 10.61 | 7.4833 | 10.8433 | 18.5767 | 895 | 82.8667 | 21.484
2019-09-21 10:45:00 | 4.2533 | 212.77 | 4.9 | 233.8167 | 7.55 | 11.0633 | 7.57 | 10.88 | 20.24 | 895 | 76.3867 | 21.2027
2019-09-21 11:00:00 | 4.24 | 21.0167 | 4.88 | 23.0967 | 7.23 | 10.5767 | 7.53 | 11.3467 | 20.0133 | 895.4 | 74.3933 | 21.1453
2019-09-21 11:15:00 | 4.1 | 321.6933 | 4.7233 | 353.5 | 7.2293 | 6.73 | 7.57 | 15.2 | 19.1733 | 895.9333 | 77.5967 | 20.5927
2019-09-21 11:30:00 | 3.9533 | 198.9067 | 4.5433 | 218.5667 | 7.5867 | 9.3567 | 7.87 | 15.18 | 19.5133 | 895 | 78.2033 | 16.1733
2019-09-21 11:45:00 | 3.52 | 49.81 | 4.0467 | 54.7267 | 6.6767 | 10.7 | 7.0733 | 19.0833 | 21.2833 | 895 | 73.9067 | 15.748
2019-09-21 12:00:00 | 3.44 | 205.0033 | 3.9533 | 225.2667 | 6.39 | 8.9333 | 6.3467 | 20.2633 | 21.83 | 895 | 71.0933 | 14.9173
2019-09-21 12:15:00 | 3.1933 | 154.5933 | 3.6833 | 169.88 | 6.0567 | 9.1067 | 6.2133 | 18.24 | 22.7633 | 895.7333 | 69.43 | 11.5613
2019-09-21 12:30:00 | 3.38 | 207.6867 | 3.8967 | 228.2133 | 5.99 | 14.4133 | 5.9533 | 23.0667 | 22.7967 | 896 | 66.4767 | 11.1873
2019-09-21 12:45:00 | 3.308 | 168.152 | 3.8167 | 184.77 | 5.9427 | 127.1007 | 5.9547 | 18.7067 | 22.4673 | 895.9333 | 65.9427 | 12.9213
2019-09-21 13:00:00 | 3.66 | 111.54 | 4.2133 | 122.57 | 6.7867 | 128.5067 | 6.8733 | 21.7167 | 22.92 | 895 | 64.1133 | 10.5447
2019-09-21 13:15:00 | 3.8133 | 215.37 | 4.39 | 236.6667 | 7.06 | 20.86 | 7.0433 | 25.3 | 22.5467 | 895 | 63.18 | 9.414
2019-09-21 13:30:00 | 3.2067 | 242.55 | 3.69 | 266.5333 | 6.16 | 14.88 | 6.41 | 27.9733 | 22.5133 | 895 | 66.5467 | 10.3573
2019-09-21 13:45:00 | 3.3633 | 136.6333 | 3.8733 | 150.1333 | 6.4467 | 17.7533 | 6.6867 | 31.3267 | 22.71 | 895 | 65.6967 | 11.3927
2019-09-21 14:00:00 | 3.27 | 211 | 3.76 | 231.8667 | 6.3267 | 13.02 | 6.9867 | 39.3467 | 22.8833 | 895 | 67.07 | 12.6947
2019-09-21 14:15:00 | 4.12 | 218.7 | 4.74 | 240.3333 | 7.85 | 17.6467 | 8.4633 | 24.49 | 23.3433 | 895 | 64.05 | 16.1527
2019-09-21 14:30:00 | 3.9733 | 37.3 | 4.5733 | 40.9867 | 7.69 | 14.54 | 7.8233 | 22.4833 | 23.374 | 895 | 64.75 | 14.592
2019-09-21 14:45:00 | 4.1467 | 39.5733 | 4.78 | 43.48 | 7.75 | 17.9987 | 7.6533 | 13.0133 | 24.4067 | 895 | 57.3667 | 20.0113
2019-09-21 15:00:00 | 4.5133 | 125.72 | 5.1933 | 138.1467 | 8.37 | 17.5267 | 8.26 | 14.1933 | 24.0933 | 894.6 | 54.2067 | 22.3313
2019-09-21 15:15:00 | 4.88 | 74.3933 | 5.6133 | 81.7533 | 9.0767 | 23.3033 | 9.2467 | 31.6833 | 22.3867 | 894 | 55.42 | 21.888
2019-09-21 15:30:00 | 4.32 | 281.7933 | 4.9667 | 309.6667 | 8.0833 | 30.1233 | 8.1133 | 26.3567 | 21.7067 | 894 | 56.0333 | 16.492
2019-09-21 15:45:00 | 4.0587 | 224.7933 | 4.6713 | 247.02 | 7.71 | 17.9787 | 8.094 | 26.6 | 21.7927 | 894 | 58.1593 | 13.3167
2019-09-21 16:00:00 | 3.5133 | 187.3967 | 4.0467 | 205.9333 | 6.75 | 16.95 | 7.14 | 26.86 | 22.23 | 893.6 | 57.71 | 13.2987
2019-09-21 16:15:00 | 3.5073 | 211.6167 | 4.036 | 232.54 | 6.6173 | 22.176 | 7.174 | 32.9393 | 22.402 | 893 | 56.4253 | 10.992
2019-09-21 16:30:00 | 3.19 | 124.61 | 3.6733 | 136.9333 | 6.28 | 16.9367 | 6.5533 | 27.0767 | 23.7767 | 893.4 | 54.2833 | 10.022
2019-09-21 16:45:00 | 3.3067 | 173.0967 | 3.8 | 189.1 | 6.54 | 21.9733 | 6.8333 | 30.83 | 25.8567 | 894 | 48.76 | 10.0493
2019-09-21 17:00:00 | 3.26 | 123.77 | 3.7467 | 136 | 6.3933 | 14.9667 | 6.8067 | 32.33 | 26.5833 | 894.4 | 45.74 | 11.9133
2019-09-21 17:15:00 | 3.3733 | 72.0867 | 3.88 | 79.2133 | 6.5033 | 27.8867 | 6.6733 | 32.8367 | 26.6733 | 895 | 44.3033 | 13.0327
2019-09-21 17:30:00 | 3.42 | 183.7267 | 3.94 | 201.9 | 6.4567 | 13.88 | 6.3467 | 35.3633 | 24.8733 | 895 | 44.4233 | 10.3707
2019-09-21 17:45:00 | 2.62 | 256.5033 | 3.01 | 281.8667 | 4.87 | 8.34 | 4.6333 | 19.1233 | 22.8567 | 894.9333 | 47.74 | 7.642
2019-09-21 18:00:00 | 2.3533 | 299.69 | 2.7033 | 329.3333 | 4.51 | 24.1133 | 4.2733 | 33.4233 | 21.83 | 894 | 50.0867 | 6.4707
2019-09-21 18:15:00 | 2.16 | 243.6667 | 2.4933 | 267.7667 | 4.1867 | 17.2033 | 3.8 | 23.79 | 20.8033 | 893.9333 | 54.88 | 7.3307
2019-09-21 18:30:00 | 2.0733 | 317.68 | 2.3867 | 349.1 | 3.9733 | 27.0833 | 3.6333 | 32.7367 | 20.4567 | 893 | 55.7333 | 4.8873
2019-09-21 18:45:00 | 1.8667 | 215.98 | 2.16 | 237.34 | 3.6933 | 27.4267 | 2.9067 | 33.2033 | 19.7767 | 893 | 56.9033 | 4.6513
2019-09-21 19:00:00 | 1.74 | 179.8867 | 2.0067 | 197.6733 | 3.4667 | 38.2467 | 2.4933 | 27.6833 | 19.5367 | 893 | 56.7567 | 4.4233
2019-09-21 19:15:00 | 1.7933 | 245.8393 | 2.0633 | 270.1467 | 3.5433 | 25.01 | 2.82 | 26.2233 | 19.1867 | 892.9333 | 59.4833 | 3.6273
2019-09-21 19:30:00 | 1.82 | 251.83 | 2.1033 | 276.7333 | 3.59 | 16.29 | 3.9 | 34.6633 | 18.86 | 892 | 61.3367 | 3.6653
2019-09-21 19:45:00 | 1.9367 | 291.94 | 2.2267 | 320.8 | 3.4167 | 15.57 | 3.6833 | 17.32 | 18.7333 | 892 | 60.0633 | 3.7113
2019-09-21 20:00:00 | 2.0967 | 278.0467 | 2.42 | 305.5333 | 3.5833 | 6.01 | 3.81 | 16.0267 | 18.9 | 892 | 59.33 | 2.66
2019-09-21 20:15:00 | 1.8373 | 311.2947 | 2.12 | 342.0733 | 3.102 | 10.4567 | 3.38 | 34.046 | 18.7433 | 892.7333 | 59.8087 | 1.1993
2019-09-21 20:30:00 | 2.1067 | 317.84 | 2.42 | 349.2667 | 3.2367 | 12.4267 | 3.2133 | 24.48 | 18.87 | 893 | 58.4833 | 1.698
2019-09-21 20:45:00 | 2.7133 | 308.9767 | 3.12 | 339.5333 | 3.77 | 5.25 | 3.8467 | 10.28 | 19.0067 | 893 | 57.8 | 1.48
2019-09-21 21:00:00 | 2.7133 | 94.31 | 3.12 | 103.6333 | 3.83 | 239.31 | 3.9 | 10.04 | 18.9933 | 893 | 58.6133 | 1.642
2019-09-21 21:15:00 | 3.2133 | 17.19 | 3.6933 | 18.8833 | 4.8867 | 235.7833 | 4.8633 | 59.92 | 18.5867 | 893.7333 | 61.03 | 2.29
2019-09-21 21:30:00 | 3.0133 | 223.83 | 3.4667 | 245.9567 | 4.3933 | 0.41 | 4.39 | 7.04 | 18.1067 | 894 | 65.29 | 2.6273
2019-09-21 21:45:00 | 3.23 | 196.4767 | 3.7133 | 215.91 | 4.31 | 14.2767 | 4.2233 | 12.77 | 17.9233 | 894 | 70.1967 | 3.3947
2019-09-21 22:00:00 | 3.4567 | 8.7167 | 3.9733 | 9.5767 | 4.53 | 14.39 | 4.5033 | 16.4633 | 17.7433 | 894 | 71.5567 | 4.5127
2019-09-21 22:15:00 | 3.43 | 308.3167 | 3.9467 | 338.8 | 4.9 | 10.0933 | 4.8067 | 15.97 | 17.5367 | 894 | 72.74 | 7.1273
2019-09-21 22:30:00 | 3.3433 | 275.0033 | 3.8533 | 302.2 | 5.54 | 16.2533 | 5.9667 | 10.39 | 17.07 | 894 | 75.2933 | 9.7587
2019-09-21 22:45:00 | 3.3667 | 16.3333 | 3.8733 | 17.9433 | 5.8467 | 20.7533 | 6.2333 | 16.6433 | 16.4667 | 894 | 78.9867 | 10.352
2019-09-21 23:00:00 | 3.6867 | 199.0733 | 4.24 | 218.7633 | 5.7867 | 11.68 | 6.28 | 19.2367 | 16.5 | 894 | 77.7867 | 11.9373
2019-09-21 23:15:00 | 3.6533 | 130.4187 | 4.1993 | 143.308 | 6.6007 | 1.356 | 6.494 | 15.4287 | 16.144 | 894 | 80.456 | 12.8707
2019-09-21 23:30:00 | 3.4467 | 111.2633 | 3.9733 | 122.2533 | 6.5467 | 237.3933 | 6.8667 | 14.1767 | 15.6367 | 894 | 82.7333 | 19.252
2019-09-21 23:45:00 | 3.6167 | 200.7087 | 4.1627 | 220.552 | 6.9747 | 28.6793 | 7.3907 | 16.902 | 15.3527 | 894 | 82.76 | 23.226