## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2019-09-22 00:00:00 | 3.6743 | 287.46 | 4.2279 | 315.8857 | 6.8571 | 1.2929 | 7.2421 | 18.6721 | 15.27 | 894 | 82.55 | 24.5136
2019-09-22 00:15:00 | 3.9867 | 310.04 | 4.59 | 340.7 | 6.4967 | 5.42 | 6.92 | 24.6733 | 15.3413 | 894 | 81.9 | 27.7127
2019-09-22 00:30:00 | 4.1733 | 318.4733 | 4.7967 | 349.9667 | 6.794 | 8.2533 | 7.2067 | 21.9533 | 15.4 | 894 | 81.5667 | 27.318
2019-09-22 00:45:00 | 4.1933 | 237.15 | 4.8267 | 260.5933 | 7.4067 | 14.6733 | 7.3693 | 15.99 | 15.2533 | 894 | 83.2333 | 29.6087
2019-09-22 01:00:00 | 4.2333 | 237.63 | 4.88 | 261.1267 | 7.8267 | 8.76 | 7.9067 | 18.0033 | 15 | 894 | 85.1667 | 30.086
2019-09-22 01:15:00 | 4.072 | 290.08 | 4.6853 | 318.7667 | 6.598 | 125.998 | 7.39 | 15.678 | 14.7293 | 894 | 86.6733 | 30.416
2019-09-22 01:30:00 | 4.16 | 106.7367 | 4.7833 | 117.28 | 7.0167 | 122.84 | 7.5933 | 13.2267 | 14.5633 | 894 | 88 | 28.8727
2019-09-22 01:45:00 | 3.8833 | 113.3067 | 4.4667 | 124.5133 | 6.4667 | 225.79 | 6.89 | 13.9967 | 14.37 | 894 | 89.1667 | 28.0527
2019-09-22 02:00:00 | 3.5367 | 105.2 | 4.0667 | 115.6067 | 6.44 | 9.27 | 6.93 | 11.81 | 14.0633 | 894 | 90.8333 | 29.7093
2019-09-22 02:15:00 | 3.9667 | 85.9767 | 4.5633 | 94.48 | 7.6767 | 1.16 | 7.99 | 13.4233 | 13.6833 | 893.9333 | 92.9667 | 29.758
2019-09-22 02:30:00 | 3.9 | 267.7833 | 4.49 | 294.2667 | 7.75 | 6.8 | 8.3633 | 14.2167 | 13.4767 | 893 | 94.3667 | 31.29
2019-09-22 02:45:00 | 4.03 | 212.1033 | 4.65 | 233.08 | 7.8367 | 7.1267 | 8.5033 | 15.5367 | 13.2967 | 893 | 95.4667 | 34.8167
2019-09-22 03:00:00 | 4.33 | 30.8167 | 4.9833 | 33.8667 | 7.87 | 12.6067 | 8.6833 | 21.13 | 13.266 | 893 | 96 | 34.1667
2019-09-22 03:15:00 | 4.5133 | 312.3767 | 5.1933 | 343.2667 | 7.8167 | 9.31 | 8.2267 | 15.2833 | 13.4633 | 893 | 95.3067 | 31.9327
2019-09-22 03:30:00 | 4.716 | 131.5 | 5.43 | 144.5 | 7.744 | 11.738 | 8.47 | 16.608 | 13.498 | 893 | 95.58 | 32.442
2019-09-22 03:45:00 | 4.71 | 4.14 | 5.43 | 4.5467 | 7.6267 | 11.37 | 8.12 | 15.2767 | 13.58 | 893 | 95.3333 | 33.8507
2019-09-22 04:00:00 | 4.5367 | 24.4 | 5.2233 | 26.8133 | 8.0533 | 13.7167 | 8.5933 | 11.0433 | 13.3733 | 893 | 96.1333 | 33.3053
2019-09-22 04:15:00 | 4.5067 | 7.8433 | 5.19 | 8.61 | 7.7033 | 12.3567 | 8.2133 | 17.4533 | 13.22 | 893 | 97.2 | 34.3667
2019-09-22 04:30:00 | 4.796 | 216.2367 | 5.52 | 237.6233 | 6.9767 | 239.0033 | 7.6867 | 17.52 | 13.3067 | 893 | 96.9333 | 32.946
2019-09-22 04:45:00 | 4.6567 | 110.4633 | 5.3633 | 121.38 | 7.7967 | 4.8033 | 8.2967 | 46.0767 | 13.2567 | 893 | 97.2333 | 31.4187
2019-09-22 05:00:00 | 4.0167 | 305.2767 | 4.6233 | 335.4667 | 7.5033 | 2.0167 | 7.69 | 6.59 | 13.1033 | 893 | 98.0333 | 33.142
2019-09-22 05:15:00 | 3.9667 | 149.9473 | 4.56 | 158.75 | 7.7367 | 4.5233 | 8.0967 | 10.1767 | 12.9167 | 893 | 98.6 | 35.294
2019-09-22 05:30:00 | 4.1933 | 198.5767 | 4.8333 | 218.2167 | 7.7967 | 3.8233 | 8.11 | 7.6833 | 12.866 | 893 | 99.1333 | 37.8387
2019-09-22 05:45:00 | 4.708 | 89.596 | 5.42 | 98.4487 | 8.0687 | 262.632 | 8.1653 | 7.646 | 12.8093 | 893 | 99.5 | 36.702
2019-09-22 06:00:00 | 4.4467 | 151.2933 | 5.1233 | 166.2533 | 8.4467 | 5.7533 | 8.7133 | 7.6167 | 12.76 | 893.4 | 99.54 | 37.1473
2019-09-22 06:15:00 | 4.3267 | 17.6653 | 4.9893 | 19.406 | 7.9053 | 0.62667 | 8.6413 | 7.778 | 12.7393 | 894 | 99.9067 | 38.6233
2019-09-22 06:30:00 | 4.38 | 24.77 | 5.0433 | 27.21 | 7.4 | 1.3433 | 8.2833 | 10.37 | 12.6533 | 894 | 100 | 37.67
2019-09-22 06:45:00 | 4.3833 | 10.7267 | 5.04 | 11.78 | 7.4633 | 6.7167 | 7.8333 | 20.9133 | 12.5233 | 894 | 100 | 36.2033
2019-09-22 07:00:00 | 4.9633 | 225.0867 | 5.7133 | 247.3467 | 7.77 | 1.1767 | 7.9933 | 17.1667 | 12.53 | 894 | 100 | 37.4073
2019-09-22 07:15:00 | 4.8733 | 23.6867 | 5.6167 | 26.0267 | 7.93 | 15.69 | 8.09 | 19.0867 | 12.6067 | 894 | 99.7867 | 37.1513
2019-09-22 07:30:00 | 4.96 | 117.0733 | 5.7167 | 128.6467 | 8.09 | 15.6367 | 7.91 | 17.1867 | 12.7733 | 894 | 99.3333 | 37.45
2019-09-22 07:45:00 | 4.6933 | 131.6467 | 5.4033 | 144.6667 | 8.0633 | 9.58 | 8.68 | 16.2433 | 13.2033 | 894 | 98.5 | 36.7893
2019-09-22 08:00:00 | 4.6133 | 291.42 | 5.3033 | 320.2333 | 7.6367 | 6.7933 | 8.1267 | 9.8033 | 13.5167 | 894.4 | 97.3667 | 37.536
2019-09-22 08:15:00 | 4.7667 | 308.67 | 5.4833 | 339.2 | 7.9167 | 10.4267 | 8.7633 | 16.7733 | 13.9433 | 895 | 95.8667 | 36.0127
2019-09-22 08:30:00 | 4.8867 | 306.55 | 5.63 | 336.8667 | 7.8633 | 5.2267 | 8.41 | 12.2 | 14.2967 | 895 | 94.2667 | 35.4107
2019-09-22 08:45:00 | 4.9833 | 90.2433 | 5.7333 | 99.1667 | 7.97 | 4.3567 | 8.49 | 11.44 | 14.6133 | 895 | 93.56 | 33.4133
2019-09-22 09:00:00 | 4.9633 | 297.15 | 5.7067 | 326.5333 | 8.0567 | 3.9233 | 8.2167 | 9.6067 | 15.28 | 895.4 | 92 | 30.936
2019-09-22 09:15:00 | 4.77 | 0.64333 | 5.49 | 0.7 | 8.3333 | 4 | 8.68 | 7.3367 | 16.68 | 896 | 87.9667 | 31.2967
2019-09-22 09:30:00 | 4.8033 | 187.9833 | 5.53 | 206.5733 | 7.94 | 6.4667 | 8.34 | 12.5233 | 16.9533 | 896 | 86.3667 | 32.4073
2019-09-22 09:45:00 | 4.8867 | 93.9733 | 5.6267 | 103.2667 | 8.1767 | 6.9 | 8.72 | 12.77 | 17.04 | 896.0667 | 86.1333 | 33.072
2019-09-22 10:00:00 | 4.98 | 250.22 | 5.7333 | 274.9667 | 8.71 | 9.2667 | 9.0733 | 16.9833 | 17.76 | 897 | 83.9333 | 30.2953
2019-09-22 10:15:00 | 5.2833 | 303.01 | 6.0733 | 332.9667 | 8.4767 | 6.8967 | 8.72 | 15.32 | 18.0393 | 897 | 81.8 | 25.1207
2019-09-22 10:30:00 | 5.0233 | 214.07 | 5.78 | 235.2333 | 8.61 | 3.4567 | 8.6733 | 15.9333 | 18.4167 | 897 | 81.7333 | 18.6013
2019-09-22 10:45:00 | 4.7667 | 255.3767 | 5.4867 | 280.6333 | 8.4867 | 13.39 | 8.4133 | 16.2467 | 19.8133 | 897 | 77.3967 | 13.64
2019-09-22 11:00:00 | 4.4333 | 308.65 | 5.1067 | 339.1667 | 8.04 | 13.9567 | 7.7467 | 20.28 | 20.74 | 897 | 74.75 | 7.868
2019-09-22 11:15:00 | 3.8 | 49.4033 | 4.3667 | 54.2833 | 6.39 | 16.87 | 5.6867 | 7.3267 | 20.724 | 897 | 73.7367 | 4.1727
2019-09-22 11:30:00 | 3.56 | 11.2567 | 4.0933 | 12.3633 | 5.4433 | 18.8833 | 4.9133 | 9.04 | 20.16 | 897 | 75.2633 | 2.5693
2019-09-22 11:45:00 | 3.3867 | 213.5633 | 3.8933 | 234.6833 | 5.2633 | 24.7667 | 4.8467 | 20.7867 | 20.5033 | 897 | 74.2367 | 0.82
2019-09-22 12:00:00 | 3.12 | 25.7633 | 3.6 | 28.3033 | 4.7633 | 19.92 | 4.2667 | 17.7867 | 20.9767 | 897 | 72.31 | 0
2019-09-22 12:15:00 | 2.5133 | 31.9133 | 2.89 | 35.0667 | 3.3533 | 119.8533 | 3.0233 | 342.2667 | 20.6667 | 897 | 71.13 | 0
2019-09-22 12:30:00 | 1.9533 | 9.86 | 2.2433 | 10.8267 | 2.1867 | 332.2667 | 2.1833 | 334.2 | 20.3733 | 897 | 70.7033 | 0
2019-09-22 12:45:00 | 1.7993 | 7.5793 | 2.0813 | 8.3227 | 2.0067 | 25.58 | 1.692 | 347.4867 | 20.664 | 896.2667 | 69.1013 | 0
2019-09-22 13:00:00 | 1.44 | 5.7833 | 1.6633 | 6.3533 | 1.86 | 10.07 | 1.2433 | 121.5667 | 21.4 | 896 | 68.034 | 0
2019-09-22 13:15:00 | 1.328 | 95.6713 | 1.528 | 105.1347 | 1.486 | 83.6733 | 1.338 | 105.6133 | 22.194 | 896 | 65.4747 | 0
2019-09-22 13:30:00 | 1.4333 | 135.83 | 1.6467 | 149.2667 | 1.5767 | 151.1 | 1.6567 | 125.1333 | 22.51 | 896 | 63.8267 | 0
2019-09-22 13:45:00 | 1.6833 | 140.8853 | 1.9413 | 154.8133 | 2.128 | 149.4067 | 1.9913 | 143.5667 | 23.0227 | 896 | 61.798 | 0
2019-09-22 14:00:00 | 2.1 | 116.3933 | 2.4233 | 127.9 | 2.4533 | 150.5 | 2.46 | 164.1333 | 23.29 | 896 | 59.4233 | 0
2019-09-22 14:15:00 | 2.0133 | 153.2767 | 2.3167 | 168.4333 | 2.5133 | 149.2 | 2.6933 | 169.2333 | 23.5567 | 896 | 58.804 | 0
2019-09-22 14:30:00 | 2.1267 | 108.75 | 2.4433 | 119.5 | 2.76 | 174.6 | 2.8267 | 181.5667 | 23.8767 | 896 | 56.9867 | 0
2019-09-22 14:45:00 | 2.7333 | 137.8133 | 3.1467 | 151.4333 | 3.3833 | 162.1667 | 3.3867 | 170.1667 | 23.7927 | 896 | 55.7233 | 0
2019-09-22 15:00:00 | 2.4 | 170.3867 | 2.76 | 187.2333 | 3.1167 | 167.4333 | 3.02 | 175.1 | 23.6833 | 896 | 55.1367 | 0
2019-09-22 15:15:00 | 1.99 | 196.3467 | 2.2867 | 215.7667 | 2.42 | 154.6 | 2.5833 | 184.4 | 23.3767 | 896 | 55.2967 | 0
2019-09-22 15:30:00 | 1.6167 | 126.0933 | 1.86 | 138.5667 | 2.1533 | 146.0667 | 2.13 | 157.8 | 23.33 | 895.6 | 56.5233 | 0
2019-09-22 15:45:00 | 1.2867 | 122.3033 | 1.4833 | 134.4 | 1.7167 | 159 | 1.51 | 158.5 | 24.6067 | 895 | 52.74 | 0
2019-09-22 16:00:00 | 1.2933 | 124.55 | 1.49 | 136.8667 | 1.8367 | 173.9333 | 1.6967 | 184.7 | 25.36 | 895.4 | 49.6867 | 0
2019-09-22 16:15:00 | 1.4 | 157.5567 | 1.6133 | 173.1333 | 1.74 | 174.9333 | 1.8 | 190.6 | 25.7767 | 896 | 47.3133 | 0
2019-09-22 16:30:00 | 1.4667 | 146.39 | 1.6867 | 160.8667 | 1.9333 | 162.6667 | 1.9667 | 159 | 25.3033 | 896 | 46.88 | 0
2019-09-22 16:45:00 | 1.692 | 169.4467 | 1.9453 | 186.2 | 2.1867 | 172.9 | 2.1833 | 174.58 | 25.11 | 896 | 48.2133 | 0
2019-09-22 17:00:00 | 1.4267 | 152.46 | 1.65 | 167.5333 | 2 | 172.3 | 1.77 | 175.0333 | 25.7367 | 896 | 47.0067 | 0
2019-09-22 17:15:00 | 1.59 | 161.2567 | 1.84 | 177.2 | 2.16 | 186.2 | 2.0933 | 186.8 | 25.884 | 896 | 45.51 | 0
2019-09-22 17:30:00 | 1.1233 | 150.7567 | 1.2933 | 165.6667 | 1.7267 | 195.4667 | 1.9267 | 203.6 | 25.8 | 896 | 46.07 | 0
2019-09-22 17:45:00 | 1.68 | 176.8233 | 1.93 | 194.3 | 2.5 | 224.1 | 2.5733 | 235.8667 | 25.0233 | 895.9333 | 46.7867 | 0
2019-09-22 18:00:00 | 2.1067 | 175.3567 | 2.43 | 192.7 | 3.1267 | 235.3 | 3.0333 | 239.8667 | 23.3033 | 895 | 50.4667 | 0
2019-09-22 18:15:00 | 2.1613 | 177.5607 | 2.4847 | 195.12 | 3.2513 | 233.34 | 3.1487 | 234.5067 | 22.248 | 894.9333 | 51.9187 | 0
2019-09-22 18:30:00 | 1.9667 | 192.1933 | 2.27 | 211.2 | 2.7433 | 228.6333 | 2.68 | 230.8 | 21.9133 | 894 | 51.41 | 0
2019-09-22 18:45:00 | 1.7267 | 180.1867 | 1.9933 | 198 | 2.4267 | 231.0667 | 2.37 | 234.6333 | 21.8633 | 894 | 50.9 | 0
2019-09-22 19:00:00 | 1.368 | 198.45 | 1.57 | 218.08 | 1.96 | 230.04 | 1.826 | 230.16 | 21.99 | 893.6 | 49.134 | 0
2019-09-22 19:15:00 | 0.97867 | 204.0713 | 1.1307 | 224.24 | 1.424 | 221.0933 | 1.3453 | 208.4267 | 22.132 | 893 | 48.1253 | 0
2019-09-22 19:30:00 | 0.688 | 232.348 | 0.8 | 255.32 | 1.032 | 233.02 | 0.736 | 206.74 | 22.174 | 893 | 47.2 | 0
2019-09-22 19:45:00 | 0.49333 | 250.434 | 0.57667 | 275.1933 | 0.67 | 244.8 | 0.24333 | 206.8 | 22.3667 | 893.0667 | 45.53 | 0
2019-09-22 20:00:00 | 0.25333 | 250.454 | 0.29667 | 275.22 | 0.18333 | 293.9333 | 0.01 | 206.8 | 22.38 | 894 | 45.8167 | 0
2019-09-22 20:15:00 | 1.5233 | 281.71 | 1.76 | 309.5667 | 2.6633 | 15.9733 | 2.2967 | 18.1367 | 21.6133 | 894 | 52.4733 | 0
2019-09-22 20:30:00 | 2.39 | 314.5833 | 2.7533 | 345.7 | 4.1833 | 16.4933 | 4.1167 | 23.9367 | 20.62 | 894 | 62 | 0.50867
2019-09-22 20:45:00 | 2.4667 | 109.43 | 2.84 | 120.2467 | 4.3167 | 13.4767 | 4.2993 | 18.05 | 19.61 | 894 | 68.66 | 0.764
2019-09-22 21:00:00 | 2.7733 | 319.8033 | 3.1933 | 351.4333 | 4.1367 | 9.2033 | 3.99 | 8.5567 | 19.4433 | 894 | 67.76 | 0.031333
2019-09-22 21:15:00 | 3.1533 | 319.0867 | 3.63 | 350.6333 | 3.6333 | 2.74 | 3.6033 | 12.46 | 19.5533 | 894 | 65.15 | 0
2019-09-22 21:30:00 | 2.9933 | 316.2933 | 3.4433 | 347.5667 | 3.68 | 4.1 | 3.47 | 8.7 | 19.3867 | 894 | 65.87 | 0
2019-09-22 21:45:00 | 2.5867 | 316.0833 | 2.98 | 347.3333 | 3.2233 | 8.0967 | 3.1 | 5.8233 | 18.9833 | 894 | 67.1533 | 0
2019-09-22 22:00:00 | 2.4667 | 321.11 | 2.84 | 352.8667 | 3.3367 | 4.05 | 3.14 | 4.7567 | 18.5167 | 894 | 69.62 | 0
2019-09-22 22:15:00 | 2.62 | 322.2 | 3.0167 | 354.0667 | 3.42 | 6.8667 | 3.1867 | 7.0167 | 18.1933 | 894 | 70.8 | 0
2019-09-22 22:30:00 | 2.7 | 302.9667 | 3.11 | 332.9333 | 3.5667 | 8.1667 | 3.3933 | 7.9233 | 17.9333 | 894 | 71.8 | 0
2019-09-22 22:45:00 | 3.0487 | 324.6213 | 3.508 | 356.7133 | 3.88 | 8.944 | 3.7893 | 8.9093 | 17.6573 | 894 | 72.966 | 0
2019-09-22 23:00:00 | 2.7733 | 110.2667 | 3.19 | 121.1667 | 3.47 | 1.9467 | 3.1567 | 6.56 | 17.5933 | 894 | 72.2867 | 0
2019-09-22 23:15:00 | 3.274 | 107.3733 | 3.7753 | 117.9887 | 4.154 | 3.278 | 3.7453 | 4.5827 | 17.4267 | 894 | 72.822 | 0
2019-09-22 23:30:00 | 3.332 | 158.006 | 3.83 | 173.63 | 4.228 | 11.556 | 3.72 | 6.88 | 17.394 | 894 | 71.512 | 0
2019-09-22 23:45:00 | 3.1467 | 314.0167 | 3.6167 | 345.0667 | 4.1333 | 8.46 | 3.4367 | 7.1367 | 17.292 | 894 | 71.3987 | 0