## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2019-09-23 00:00:00 | 3.4393 | 290.07 | 3.955 | 318.7429 | 4.6221 | 4.3371 | 3.9721 | 6.76 | 17.1979 | 894 | 72.1386 | 0
2019-09-23 00:15:00 | 3.3267 | 223.7367 | 3.8267 | 245.8533 | 4.15 | 6.8867 | 3.7267 | 8.2933 | 17.04 | 894 | 72.6047 | 0
2019-09-23 00:30:00 | 3.736 | 200.046 | 4.31 | 240.9867 | 4.5833 | 11.3533 | 4.3133 | 15.0333 | 17.0533 | 894 | 72.1833 | 0.42733
2019-09-23 00:45:00 | 3.814 | 239.2767 | 4.3867 | 241.1967 | 4.5167 | 1.3433 | 4.2667 | 8.0867 | 17.0833 | 894 | 71.2433 | 0.94267
2019-09-23 01:00:00 | 4.04 | 219.0733 | 4.6467 | 240.73 | 4.7967 | 3.3033 | 4.6133 | 8.1133 | 16.878 | 894 | 72.142 | 2.7833
2019-09-23 01:15:00 | 3.8567 | 204.2067 | 4.4333 | 224.4 | 5.34 | 120 | 5.5567 | 11.7433 | 16.6267 | 894 | 75.22 | 5.0627
2019-09-23 01:30:00 | 3.79 | 26.8133 | 4.36 | 29.4667 | 5.7467 | 126.4333 | 6.014 | 5.31 | 16.28 | 894 | 77.4267 | 5.7387
2019-09-23 01:45:00 | 3.7867 | 130.78 | 4.3667 | 143.7 | 5.61 | 236.7367 | 5.7067 | 142.5267 | 16.1873 | 894 | 77.2933 | 5.8393
2019-09-23 02:00:00 | 3.9867 | 305.3667 | 4.5867 | 335.5667 | 5.4433 | 233.1367 | 5.6533 | 127.02 | 16.0567 | 894 | 78.3267 | 5.5207
2019-09-23 02:15:00 | 3.9133 | 108.3033 | 4.5 | 119.0067 | 5.3467 | 9.0133 | 5.49 | 15.4667 | 15.9633 | 894 | 78.5633 | 5.4833
2019-09-23 02:30:00 | 4.2733 | 316.6233 | 4.92 | 347.9333 | 5.3067 | 240.8067 | 5.5433 | 19.82 | 15.8767 | 894 | 79.17 | 5.708
2019-09-23 02:45:00 | 4.61 | 112.71 | 5.3067 | 123.8467 | 5.46 | 15.0533 | 5.8533 | 11.67 | 15.68 | 894 | 80.4 | 6.5973
2019-09-23 03:00:00 | 4.8233 | 105.7833 | 5.56 | 116.2333 | 5.8933 | 8.3933 | 5.9933 | 2.03 | 15.576 | 894 | 80.8667 | 8.0847
2019-09-23 03:15:00 | 4.892 | 211.0247 | 5.6373 | 231.8853 | 5.9367 | 263.0027 | 5.9753 | 9.02 | 15.52 | 894 | 80.6133 | 8.4993
2019-09-23 03:30:00 | 4.9 | 195.05 | 5.6467 | 214.34 | 6.25 | 5.6867 | 6.2567 | 9.2733 | 15.3667 | 894 | 81.3333 | 10.5453
2019-09-23 03:45:00 | 4.6733 | 217.2133 | 5.3833 | 238.6867 | 6.4 | 6.4733 | 6.5467 | 10.23 | 15.3047 | 893.9333 | 81.6333 | 10.934
2019-09-23 04:00:00 | 4.5133 | 215.2667 | 5.19 | 236.5533 | 6.1133 | 6.5667 | 6.2133 | 9.2567 | 15.1633 | 893 | 82.1 | 11.0027
2019-09-23 04:15:00 | 4.1453 | 7.86 | 4.7647 | 8.638 | 6.208 | 0.41933 | 6.3787 | 8.888 | 14.7993 | 893 | 84.42 | 11.9887
2019-09-23 04:30:00 | 4.0733 | 15.0267 | 4.69 | 16.51 | 6.4067 | 2.39 | 6.6033 | 9.6067 | 14.48 | 893 | 86.9667 | 11.1493
2019-09-23 04:45:00 | 4.46 | 164.1533 | 5.1267 | 180.38 | 6.6333 | 4.1467 | 6.7467 | 5.8667 | 14.1933 | 893 | 88.6067 | 10.2047
2019-09-23 05:00:00 | 4.7133 | 4 | 5.42 | 4.3933 | 6.6 | 1.04 | 6.3533 | 4.1467 | 14.3067 | 893 | 87.4333 | 10.3993
2019-09-23 05:15:00 | 5.0267 | 92.0067 | 5.7933 | 101.1 | 6.5267 | 25.0067 | 6.9333 | 9.8633 | 14.3433 | 893 | 87.3333 | 16.3833
2019-09-23 05:30:00 | 4.4933 | 293.82 | 5.18 | 322.8667 | 7.1333 | 27.3067 | 7.4 | 15.4367 | 14.1033 | 893 | 88.9333 | 19.612
2019-09-23 05:45:00 | 4.348 | 273.4113 | 5.0147 | 300.44 | 6.794 | 7.1853 | 7.112 | 17.9447 | 13.9193 | 893 | 89.5133 | 20.4293
2019-09-23 06:00:00 | 4.12 | 116.4467 | 4.7533 | 127.9533 | 7.2333 | 38.1433 | 7.59 | 17.3133 | 13.9033 | 893 | 89.6667 | 22.0127
2019-09-23 06:15:00 | 4.0267 | 85.3833 | 4.6333 | 93.82 | 7.35 | 4.7633 | 7.7933 | 14.0067 | 13.7467 | 893 | 90.7 | 20.4073
2019-09-23 06:30:00 | 4.04 | 289.33 | 4.6467 | 317.9333 | 7.1567 | 10.4367 | 7.7 | 5.42 | 13.66 | 893 | 91.8333 | 19.4187
2019-09-23 06:45:00 | 4.2067 | 128.78 | 4.8467 | 141.5133 | 7.2867 | 0.19 | 7.6767 | 7.4367 | 13.6387 | 893.7333 | 92.4333 | 18.652
2019-09-23 07:00:00 | 4.26 | 152.5413 | 4.9067 | 167.6267 | 7.2227 | 0.206 | 7.2407 | 6.7473 | 13.628 | 894 | 91.98 | 18.3787
2019-09-23 07:15:00 | 4.6933 | 213.3333 | 5.3967 | 234.4233 | 7.34 | 239.26 | 7.18 | 6.7767 | 13.8167 | 894 | 90.2667 | 16.8507
2019-09-23 07:30:00 | 4.4667 | 220.92 | 5.1433 | 242.7567 | 7.06 | 13.56 | 7.3333 | 14.9767 | 13.9967 | 894 | 89.3333 | 16.6893
2019-09-23 07:45:00 | 4.0867 | 122.8467 | 4.6967 | 134.9933 | 6.7833 | 9.48 | 7.02 | 12.9867 | 14.1 | 894 | 89.5 | 21.578
2019-09-23 08:00:00 | 4.108 | 311.816 | 4.722 | 343.8 | 7.2633 | 11.4267 | 7.24 | 11.0067 | 14.1667 | 894.4 | 90.5667 | 26.5813
2019-09-23 08:15:00 | 4.3173 | 21.7727 | 4.9707 | 28.11 | 7.5467 | 9.89 | 8.2367 | 10.7133 | 14.3467 | 895 | 90.3 | 31.616
2019-09-23 08:30:00 | 4.392 | 25.506 | 5.064 | 28.026 | 7.47 | 31.162 | 8.112 | 15.482 | 14.536 | 895 | 89.36 | 27.5153
2019-09-23 08:45:00 | 4.3033 | 26.01 | 4.95 | 28.5867 | 7.6333 | 4.3667 | 7.68 | 17.82 | 14.72 | 895 | 88.2 | 28.23
2019-09-23 09:00:00 | 4.2767 | 193.0967 | 4.9167 | 212.1933 | 7.8067 | 5.8533 | 8.12 | 15.6333 | 14.82 | 895 | 88.8 | 27.1647
2019-09-23 09:15:00 | 4.3693 | 297.42 | 5.0293 | 326.8333 | 7.37 | 7.7733 | 7.8233 | 10.0267 | 15.0433 | 895 | 87.3 | 22.2407
2019-09-23 09:30:00 | 4.3133 | 102.48 | 4.9733 | 112.62 | 7.3433 | 5.4267 | 7.7633 | 13.0267 | 15.31 | 895.4 | 85.7 | 21.3207
2019-09-23 09:45:00 | 4.6367 | 18.9633 | 5.34 | 20.84 | 7.3233 | 6.5767 | 7.61 | 11.8933 | 15.5467 | 896 | 84.4 | 19.5953
2019-09-23 10:00:00 | 4.392 | 219.8233 | 5.056 | 241.5533 | 7.47 | 6.2233 | 7.43 | 11.3733 | 15.76 | 896 | 83.7333 | 20.7353
2019-09-23 10:15:00 | 4.1067 | 204.77 | 4.7233 | 225.02 | 7.0867 | 3.5933 | 7.47 | 11.6967 | 15.7133 | 896 | 84.2333 | 20.3653
2019-09-23 10:30:00 | 4.0333 | 180.8033 | 4.6433 | 198.6867 | 7.28 | 4.3333 | 7.51 | 14.0967 | 15.5933 | 896 | 85.3 | 18.8613
2019-09-23 10:45:00 | 4.01 | 40.6533 | 4.6133 | 44.67 | 6.9667 | 4.6133 | 7.14 | 9.5467 | 15.6213 | 896.0667 | 84.7933 | 17.5187
2019-09-23 11:00:00 | 3.8433 | 222.5733 | 4.42 | 244.5833 | 6.78 | 6.0867 | 6.8733 | 10.76 | 15.7733 | 897 | 84.7 | 21.2027
2019-09-23 11:15:00 | 3.6133 | 297.51 | 4.1567 | 326.9333 | 6.4707 | 238.37 | 6.99 | 35.2133 | 15.8733 | 897 | 85.1333 | 19.7967
2019-09-23 11:30:00 | 3.738 | 156.964 | 4.3 | 172.484 | 6.84 | 1.564 | 7.2 | 38.072 | 15.978 | 897 | 85.12 | 16.096
2019-09-23 11:45:00 | 4.0467 | 315.8333 | 4.6567 | 347.0667 | 6.56 | 238.8267 | 6.94 | 13.5233 | 16.2493 | 897 | 83.5333 | 13.8907
2019-09-23 12:00:00 | 4.0867 | 321.06 | 4.7033 | 352.8 | 6.3933 | 8.9467 | 6.9 | 12.8433 | 16.2067 | 897 | 83.3333 | 13.3273
2019-09-23 12:15:00 | 3.748 | 246.644 | 4.312 | 271.034 | 6.662 | 8.76 | 6.95 | 7.182 | 16.2093 | 897 | 84.74 | 14.896
2019-09-23 12:30:00 | 3.5533 | 12.68 | 4.0867 | 13.93 | 6.27 | 11.2933 | 6.3633 | 16.6233 | 16.272 | 897 | 84.7667 | 14.798
2019-09-23 12:45:00 | 3.2953 | 99.7 | 3.788 | 109.556 | 6.1893 | 4.9167 | 6.4887 | 9.8547 | 16.4933 | 897 | 85.4667 | 15.2673
2019-09-23 13:00:00 | 3.5833 | 294.2933 | 4.13 | 323.4 | 6.1267 | 239.7133 | 6.2867 | 9.5133 | 16.64 | 897 | 84.9667 | 16.7527
2019-09-23 13:15:00 | 3.54 | 12.9367 | 4.07 | 14.21 | 6.4333 | 5.7033 | 6.5867 | 11.3967 | 16.668 | 896.2667 | 84.7267 | 17.6807
2019-09-23 13:30:00 | 3.504 | 166.346 | 4.028 | 182.792 | 6.504 | 5.012 | 6.672 | 12.426 | 16.838 | 896 | 84.86 | 16.4287
2019-09-23 13:45:00 | 3.4253 | 23.4153 | 3.9473 | 25.7287 | 6.4773 | 5.8867 | 6.6553 | 17.3713 | 17.2447 | 896 | 84.54 | 14.8953
2019-09-23 14:00:00 | 3.47 | 76.0467 | 3.99 | 83.5633 | 6.4367 | 10.3533 | 6.6867 | 10.77 | 17.55 | 896 | 83.3 | 16.7313
2019-09-23 14:15:00 | 3.8493 | 205.6747 | 4.4327 | 226.0147 | 6.694 | 6.082 | 6.784 | 10.762 | 17.482 | 896 | 82.3267 | 20.052
2019-09-23 14:30:00 | 3.972 | 62.486 | 4.566 | 68.652 | 6.952 | 49.072 | 6.97 | 15.438 | 17.102 | 896 | 84.06 | 19.1127
2019-09-23 14:45:00 | 3.98 | 109.8267 | 4.5733 | 120.6867 | 6.68 | 8.5567 | 6.74 | 21.8967 | 17.1367 | 896 | 83.8 | 15.3507
2019-09-23 15:00:00 | 3.96 | 311.6133 | 4.5533 | 342.4333 | 6.54 | 235.97 | 6.5667 | 18.7033 | 17.2767 | 896 | 83.6 | 11.6287
2019-09-23 15:15:00 | 3.58 | 171.9667 | 4.1267 | 188.9667 | 6.0667 | 118.6733 | 6.1667 | 60.0867 | 18.1867 | 896 | 80.6633 | 8.4093
2019-09-23 15:30:00 | 3.4067 | 104.2867 | 3.92 | 114.5933 | 5.8133 | 345.0333 | 5.6133 | 6.9933 | 18.708 | 896 | 78.0833 | 7.1093
2019-09-23 15:45:00 | 3.0867 | 102.0667 | 3.5533 | 112.16 | 5.3467 | 241.7567 | 5.38 | 6.8167 | 18.5 | 896 | 78.53 | 6.5067
2019-09-23 16:00:00 | 2.8733 | 309.3067 | 3.3133 | 339.9 | 5.3667 | 7.6167 | 5.2933 | 3.21 | 18.8 | 896 | 79.0433 | 6.146
2019-09-23 16:15:00 | 2.8867 | 97.0367 | 3.3287 | 106.6307 | 5.1553 | 13.8307 | 5.1333 | 13.026 | 18.9133 | 896 | 78.4573 | 6.066
2019-09-23 16:30:00 | 2.6533 | 133.82 | 3.0533 | 147.0467 | 5.01 | 11.5 | 5.2167 | 5.72 | 18.4933 | 896 | 81.1267 | 6.3473
2019-09-23 16:45:00 | 2.66 | 150.1867 | 3.0733 | 165.0333 | 5.1733 | 7.75 | 5.34 | 12.4733 | 18.6233 | 895.2667 | 82.5333 | 6.354
2019-09-23 17:00:00 | 2.6133 | 277.4067 | 3.0133 | 304.8333 | 4.9267 | 7.9767 | 5.0867 | 17.56 | 18.8433 | 895 | 81.6667 | 6.75
2019-09-23 17:15:00 | 2.6813 | 31.502 | 3.084 | 34.6087 | 5.3273 | 10.9413 | 5.4607 | 16.2827 | 19.144 | 895 | 81.8533 | 9.534
2019-09-23 17:30:00 | 2.8467 | 82.0333 | 3.2767 | 90.1333 | 5.6233 | 9.0433 | 5.6633 | 13.3367 | 19.0967 | 895 | 82.1333 | 11.928
2019-09-23 17:45:00 | 2.8667 | 247.0433 | 3.31 | 271.4667 | 5.4033 | 122.62 | 5.4767 | 15.62 | 18.5833 | 895 | 82.5267 | 10.1567
2019-09-23 18:00:00 | 2.6133 | 178.85 | 3.01 | 196.5333 | 5.09 | 118.26 | 5.09 | 13.8067 | 18.23 | 895 | 83.9 | 9.344
2019-09-23 18:15:00 | 2.558 | 241.6813 | 2.9407 | 265.5867 | 5.0347 | 356.5267 | 4.836 | 7.0953 | 17.8627 | 895 | 85.0933 | 9.3087
2019-09-23 18:30:00 | 2.4867 | 282.7067 | 2.87 | 310.6667 | 4.65 | 356.9 | 4.67 | 10.6033 | 17.53 | 895 | 86.2333 | 9.1613
2019-09-23 18:45:00 | 2.5267 | 210.2113 | 2.9133 | 231.0033 | 4.7507 | 346.4333 | 4.672 | 128.8353 | 17.248 | 895 | 88 | 11.058
2019-09-23 19:00:00 | 2.748 | 11.49 | 3.16 | 12.622 | 5.17 | 339.9 | 4.902 | 148.16 | 16.978 | 895 | 89.1 | 12.2533
2019-09-23 19:15:00 | 2.9 | 17.8867 | 3.34 | 19.65 | 5.6333 | 352.7333 | 5.5267 | 14.3667 | 16.6333 | 895 | 90.2 | 11.9287
2019-09-23 19:30:00 | 2.8267 | 180.4667 | 3.2467 | 198.31 | 5.3733 | 347.68 | 5.2867 | 16.2267 | 16.4067 | 895 | 90.9333 | 11.6607
2019-09-23 19:45:00 | 2.86 | 18.61 | 3.2867 | 20.4433 | 5.4967 | 6.5033 | 5.6167 | 6.1067 | 16.2567 | 895 | 91.5067 | 14.002
2019-09-23 20:00:00 | 3 | 155.008 | 3.46 | 187.4967 | 5.5367 | 10.65 | 5.6633 | 12.8133 | 16.21 | 895 | 91.4 | 13.962
2019-09-23 20:15:00 | 3.068 | 92.7127 | 3.528 | 101.876 | 5.7713 | 93.916 | 5.8347 | 10.116 | 16.0227 | 895 | 91.9333 | 15.6613
2019-09-23 20:30:00 | 2.9667 | 301.15 | 3.4267 | 330.9333 | 5.5467 | 122.24 | 5.82 | 17.4967 | 15.908 | 895 | 92.5667 | 12.9327
2019-09-23 20:45:00 | 2.97 | 299.7833 | 3.4167 | 329.4333 | 5.1767 | 2.9667 | 5.4867 | 6.64 | 15.9933 | 895 | 92.1 | 13.3367
2019-09-23 21:00:00 | 3.202 | 117.016 | 3.68 | 128.59 | 5.354 | 3.53 | 5.656 | 10.208 | 16.092 | 895 | 91.88 | 11.436
2019-09-23 21:15:00 | 3.2787 | 4.4387 | 3.7733 | 4.8647 | 5.3493 | 95.8207 | 5.5013 | 12.6633 | 16.2887 | 895.7333 | 90.94 | 13.0987
2019-09-23 21:30:00 | 3.4133 | 217.7433 | 3.9267 | 239.2733 | 5.17 | 112.8667 | 5.2467 | 9.0867 | 16.2033 | 896 | 91.9333 | 13.3873
2019-09-23 21:45:00 | 3.5267 | 98.9833 | 4.06 | 108.76 | 5.4833 | 13.57 | 5.8067 | 16.6867 | 16.166 | 896 | 92.8 | 13.218
2019-09-23 22:00:00 | 3.42 | 129.41 | 3.94 | 142.2 | 5.4633 | 16.97 | 5.8267 | 18.9533 | 16.0633 | 896 | 93.2667 | 12.998
2019-09-23 22:15:00 | 3.546 | 12.0387 | 4.0787 | 13.2207 | 5.5613 | 11.9793 | 5.8853 | 16.52 | 15.976 | 896 | 93.2067 | 14.712
2019-09-23 22:30:00 | 3.6633 | 220.06 | 4.2167 | 241.8133 | 6.4167 | 8.4233 | 6.66 | 16.0933 | 15.8133 | 896 | 93.3 | 15.4153
2019-09-23 22:45:00 | 3.7507 | 131.794 | 4.3207 | 144.8247 | 6.1367 | 14.2147 | 6.7147 | 15.378 | 15.604 | 896 | 93.7533 | 16.9473
2019-09-23 23:00:00 | 3.8133 | 128.59 | 4.3833 | 141.3 | 6.46 | 8.9933 | 7.1333 | 14.28 | 15.53 | 896 | 93.7333 | 16.3727
2019-09-23 23:15:00 | 3.8467 | 35.0247 | 4.4213 | 36.4207 | 6.0687 | 32.5173 | 6.6207 | 22.1113 | 15.54 | 896 | 93.82 | 18.332
2019-09-23 23:30:00 | 3.7133 | 4.9867 | 4.27 | 5.4767 | 6.25 | 11.38 | 6.57 | 19.5967 | 15.3933 | 896 | 95.1 | 18.148
2019-09-23 23:45:00 | 3.626 | 303.128 | 4.17 | 333.1067 | 6.9813 | 12.8727 | 7.158 | 26.374 | 15.1247 | 896 | 96.0667 | 18.9513