## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2019-09-24 00:00:00 | 4.04 | 143.3207 | 4.6543 | 157.4921 | 7.1371 | 12.1879 | 7.4743 | 35.8536 | 14.9729 | 896 | 96.7571 | 23.8764
2019-09-24 00:15:00 | 4.0507 | 324.3 | 4.6633 | 356.3667 | 6.8133 | 239.9933 | 7.3833 | 16.3567 | 15.1 | 895.2667 | 96.0933 | 25.2567
2019-09-24 00:30:00 | 3.98 | 110.0333 | 4.5833 | 120.9133 | 6.9267 | 5.84 | 7.4367 | 19.3033 | 15.0333 | 895 | 96 | 32.3673
2019-09-24 00:45:00 | 4.1933 | 145.16 | 4.8267 | 159.5133 | 7.8367 | 17.5033 | 8.1267 | 13.44 | 14.9513 | 895 | 96.4667 | 38.494
2019-09-24 01:00:00 | 4.662 | 133.598 | 5.364 | 126.04 | 7.9233 | 6.0033 | 8.2 | 5.76 | 14.89 | 895 | 97.2667 | 40.122
2019-09-24 01:15:00 | 5.0933 | 18.98 | 5.8667 | 20.85 | 7.6667 | 106.2267 | 7.6967 | 20.8333 | 14.96 | 895 | 97.1667 | 40.1633
2019-09-24 01:30:00 | 4.8133 | 18.42 | 5.5333 | 20.2367 | 7.4667 | 106.1667 | 7.63 | 10.5333 | 14.82 | 895 | 97.5667 | 37.2627
2019-09-24 01:45:00 | 4.5453 | 8.8533 | 5.232 | 9.7167 | 7.3507 | 228.1833 | 7.5833 | 9.97 | 14.64 | 895 | 98.1333 | 35.248
2019-09-24 02:00:00 | 4.3 | 225.1467 | 4.9533 | 247.41 | 7.22 | 6.37 | 7.1833 | 9.4833 | 14.6 | 895 | 98 | 31.0207
2019-09-24 02:15:00 | 4.3807 | 63.2913 | 5.046 | 69.5387 | 7.0107 | 217.8053 | 7.6173 | 19.24 | 14.6167 | 895 | 97.5267 | 34.328
2019-09-24 02:30:00 | 4.4833 | 236.9733 | 5.1567 | 260.4 | 7.7267 | 9.9 | 8.11 | 16.77 | 14.5333 | 895 | 97.7667 | 39.192
2019-09-24 02:45:00 | 4.35 | 6.16 | 5.01 | 6.7567 | 7.4833 | 17.1267 | 8.0667 | 11.4567 | 14.3367 | 894.9333 | 98.6667 | 40.0567
2019-09-24 03:00:00 | 4.1367 | 33.4067 | 4.7567 | 36.71 | 6.9767 | 9.64 | 7.4933 | 16.7367 | 14.27 | 894 | 99 | 40.5467
2019-09-24 03:15:00 | 4.2813 | 221.8373 | 4.926 | 243.7753 | 6.8167 | 114.2547 | 7.172 | 25.2367 | 14.2607 | 894 | 99.2133 | 39.6427
2019-09-24 03:30:00 | 4.426 | 52.506 | 5.094 | 57.688 | 6.868 | 345.12 | 7.404 | 6.524 | 14.464 | 894 | 98.2 | 37.7713
2019-09-24 03:45:00 | 4.1467 | 307.07 | 4.77 | 337.4333 | 7.2467 | 16.9333 | 7.73 | 8.4867 | 14.4333 | 894 | 98.2333 | 32.5133
2019-09-24 04:00:00 | 4.0533 | 208.7967 | 4.6633 | 229.4333 | 6.94 | 249.1933 | 7.2233 | 14.2533 | 14.2667 | 894 | 99.0333 | 31.8273
2019-09-24 04:15:00 | 4.0473 | 295.73 | 4.6613 | 324.9733 | 6.63 | 28.4887 | 7.032 | 13.804 | 14.202 | 894 | 99.4733 | 28.2853
2019-09-24 04:30:00 | 3.89 | 105.46 | 4.4767 | 115.8867 | 6.7833 | 6.64 | 7.4333 | 49.7467 | 14.18 | 894 | 99.36 | 31.954
2019-09-24 04:45:00 | 3.7733 | 292.15 | 4.34 | 321.0333 | 6.5467 | 7.27 | 7.3633 | 10.5367 | 14.1547 | 894 | 99.38 | 34.3333
2019-09-24 05:00:00 | 4.0667 | 281.0967 | 4.68 | 308.9 | 7.28 | 6.53 | 8.1367 | 52.5033 | 14.132 | 894 | 99.54 | 30.3513
2019-09-24 05:15:00 | 4.524 | 203.1867 | 5.2053 | 223.2833 | 7.49 | 213.1987 | 8.4047 | 19.45 | 14.1927 | 894 | 99.5 | 24.4953
2019-09-24 05:30:00 | 3.8067 | 0.59667 | 4.38 | 0.65667 | 6.9667 | 8.63 | 7.9633 | 13.6767 | 14.19 | 894.4 | 99.34 | 20.1367
2019-09-24 05:45:00 | 3.7467 | 125.66 | 4.32 | 138.0733 | 6.8167 | 10.2733 | 7.0733 | 14.38 | 14.08 | 895 | 99.8 | 18.9127
2019-09-24 06:00:00 | 3.8333 | 310.4333 | 4.4133 | 341.1333 | 6.39 | 16.8467 | 7 | 16.9533 | 14.1333 | 895 | 99.96 | 21.9193
2019-09-24 06:15:00 | 3.7973 | 305.9987 | 4.3673 | 335.7333 | 6.0567 | 5.4433 | 6.6267 | 13.24 | 14.2293 | 895 | 99.1333 | 31.2373
2019-09-24 06:30:00 | 4.1067 | 309.6467 | 4.7233 | 340.2667 | 6.91 | 238.97 | 7.36 | 12.46 | 14.216 | 895 | 98.76 | 34.452
2019-09-24 06:45:00 | 4.5867 | 216.2733 | 5.2733 | 237.6567 | 7.94 | 19.2967 | 8.6707 | 13.5267 | 14.1853 | 895 | 98.84 | 34.9187
2019-09-24 07:00:00 | 4.68 | 19.14 | 5.3867 | 21.0233 | 8.1 | 10.4833 | 8.6067 | 15.36 | 14.0667 | 895 | 99.4 | 38.1613
2019-09-24 07:15:00 | 5.0747 | 28.634 | 5.844 | 31.4547 | 8.462 | 4.3333 | 8.85 | 19.98 | 13.97 | 895 | 100 | 37.3747
2019-09-24 07:30:00 | 4.8233 | 210.5167 | 5.5567 | 231.3233 | 7.8533 | 3.0033 | 8.3733 | 20.5533 | 13.966 | 895 | 100 | 32.9887
2019-09-24 07:45:00 | 4.38 | 213.7233 | 5.0367 | 234.85 | 6.7333 | 2.4033 | 7.5 | 12.0567 | 14.01 | 895.0667 | 100 | 30.398
2019-09-24 08:00:00 | 4.0867 | 185.6833 | 4.7033 | 204.05 | 6.8 | 5.5633 | 7.3133 | 14.05 | 14.0767 | 896 | 100 | 33.478
2019-09-24 08:15:00 | 4.1293 | 47.016 | 4.7567 | 51.6587 | 6.7833 | 19.3 | 7.1887 | 28.2513 | 14.1787 | 896 | 99.9933 | 36.2587
2019-09-24 08:30:00 | 4.2667 | 16.22 | 4.9167 | 17.8133 | 7.23 | 23 | 7.8633 | 16.3567 | 14.244 | 896 | 99.86 | 36.23
2019-09-24 08:45:00 | 4.3373 | 184.6127 | 4.992 | 202.868 | 7.5293 | 5.8473 | 8.5467 | 14.8413 | 14.288 | 896.0667 | 99.7333 | 31.732
2019-09-24 09:00:00 | 4.55 | 16.478 | 5.242 | 18.102 | 7.666 | 10.968 | 8.81 | 18.732 | 14.46 | 897 | 99.18 | 23.0487
2019-09-24 09:15:00 | 3.572 | 315.3213 | 4.118 | 346.5067 | 6.5387 | 98.9887 | 7.5933 | 17.376 | 14.784 | 897 | 98.3933 | 17.918
2019-09-24 09:30:00 | 3.1067 | 294.0267 | 3.5733 | 323.1 | 5.76 | 118.66 | 6.6 | 9.6333 | 14.9233 | 897 | 97.7667 | 15.3107
2019-09-24 09:45:00 | 2.7733 | 298.0987 | 3.1993 | 327.58 | 5.3247 | 13.0207 | 5.6693 | 11.2267 | 15.174 | 897 | 97.4333 | 14.3373
2019-09-24 10:00:00 | 2.9567 | 139.9067 | 3.4 | 153.74 | 5.31 | 10.6467 | 5.5 | 11.6133 | 15.264 | 897 | 96.7 | 15.1693
2019-09-24 10:15:00 | 3.184 | 86.3033 | 3.6693 | 94.836 | 5.404 | 9.528 | 5.7507 | 18.262 | 15.2853 | 897 | 96.2 | 17.1687
2019-09-24 10:30:00 | 3.4267 | 297.5967 | 3.9467 | 327.0333 | 6.2433 | 19.73 | 6.02 | 24.3667 | 15.312 | 897 | 96.16 | 17.454
2019-09-24 10:45:00 | 3.3933 | 10.66 | 3.9067 | 11.7133 | 5.81 | 13.8867 | 6.3 | 17.5767 | 15.3733 | 897 | 96.2 | 14.3527
2019-09-24 11:00:00 | 3.322 | 83.562 | 3.828 | 91.816 | 5.588 | 13.384 | 5.908 | 19.794 | 15.344 | 897 | 96.18 | 14.3367
2019-09-24 11:15:00 | 3.1133 | 303.2733 | 3.5833 | 333.2667 | 5.7967 | 9.1467 | 6.3467 | 20.8667 | 15.5667 | 897 | 96.2733 | 12.7953
2019-09-24 11:30:00 | 3.296 | 301.58 | 3.792 | 331.4 | 5.9967 | 10.2133 | 6.32 | 18.7467 | 15.86 | 897 | 95.3667 | 11.1587
2019-09-24 11:45:00 | 3.1267 | 296.0267 | 3.6 | 325.3 | 5.3633 | 1.7533 | 6.0467 | 11.3567 | 16.1367 | 897 | 93.7667 | 12.9087
2019-09-24 12:00:00 | 3.2067 | 144.8467 | 3.6867 | 159.1667 | 5.85 | 135.6533 | 6.2533 | 9.4633 | 16.4367 | 897 | 93.3667 | 12.0047
2019-09-24 12:15:00 | 3.2133 | 242.04 | 3.7033 | 265.9667 | 5.8567 | 4.2267 | 5.9 | 61.25 | 16.86 | 897 | 91.7667 | 12.822
2019-09-24 12:30:00 | 3.2467 | 211.1 | 3.7367 | 231.9667 | 6.03 | 6.8867 | 6.1867 | 18.1567 | 17.004 | 897 | 91.26 | 14.0433
2019-09-24 12:45:00 | 3.8567 | 259 | 4.4333 | 284.6 | 7.1833 | 237.7 | 7.2 | 8.62 | 16.9633 | 897 | 90.8933 | 12.9327
2019-09-24 13:00:00 | 3.732 | 169.322 | 4.296 | 186.06 | 7.056 | 14.372 | 7.17 | 19.558 | 17.02 | 897 | 90.28 | 11.5267
2019-09-24 13:15:00 | 3.616 | 319.194 | 4.1587 | 350.7533 | 6.6953 | 90.71 | 6.522 | 20.438 | 17.0873 | 897 | 90.9667 | 10.5973
2019-09-24 13:30:00 | 3.3667 | 318.92 | 3.8767 | 350.4667 | 6.3733 | 121.6333 | 6.1 | 12.8267 | 17.19 | 897 | 91.3333 | 10.2947
2019-09-24 13:45:00 | 3.2933 | 73.13 | 3.79 | 80.36 | 6.2533 | 8.39 | 6.3067 | 17.5267 | 17.6233 | 897 | 89.5667 | 8.1687
2019-09-24 14:00:00 | 3.08 | 189.9433 | 3.5433 | 208.7333 | 5.7133 | 2.43 | 5.8867 | 25.6067 | 17.5833 | 897 | 88.9 | 8.1193
2019-09-24 14:15:00 | 3.0767 | 122.4933 | 3.54 | 134.6067 | 5.8333 | 240.0933 | 5.85 | 14.5833 | 17.7133 | 896.2667 | 88.7 | 6.6687
2019-09-24 14:30:00 | 3.1033 | 302.0333 | 3.5667 | 331.9 | 5.9933 | 15.0667 | 5.9367 | 20.3833 | 18.0267 | 896 | 88.5667 | 6.3573
2019-09-24 14:45:00 | 3.2633 | 213.6733 | 3.75 | 234.81 | 6.1667 | 10.7267 | 6.0667 | 23.2367 | 18.222 | 896 | 87.2933 | 6.97
2019-09-24 15:00:00 | 3.368 | 37.014 | 3.874 | 40.674 | 6.194 | 16.954 | 5.98 | 23.576 | 18.202 | 896 | 87.16 | 9.2707
2019-09-24 15:15:00 | 3.6093 | 95.3893 | 4.1527 | 104.826 | 5.618 | 10.0047 | 5.6147 | 16.1367 | 17.8813 | 896 | 87.5 | 10.2387
2019-09-24 15:30:00 | 3.12 | 319.0467 | 3.59 | 350.6 | 5.58 | 16.3433 | 5.52 | 11.05 | 18 | 896 | 88.8 | 9.5933
2019-09-24 15:45:00 | 3.0933 | 305.37 | 3.5533 | 335.5667 | 5.95 | 11.2767 | 5.7467 | 9.27 | 18.0267 | 896 | 89.7333 | 7.5693
2019-09-24 16:00:00 | 3.2173 | 126.206 | 3.6987 | 138.6787 | 6.1247 | 8.3927 | 6.2533 | 7.7487 | 18.2053 | 896 | 89.36 | 5.0187
2019-09-24 16:15:00 | 2.986 | 302.71 | 3.436 | 332.6467 | 5.7927 | 8.998 | 6.048 | 16.896 | 18.422 | 896 | 88.1667 | 4.6827
2019-09-24 16:30:00 | 2.9733 | 104.9333 | 3.4233 | 115.3067 | 5.52 | 9.4633 | 5.8267 | 10.8867 | 18.2767 | 896 | 87.6667 | 5.374
2019-09-24 16:45:00 | 3.1647 | 118.854 | 3.6447 | 130.5993 | 5.2053 | 37.6613 | 5.5207 | 219.1373 | 17.9227 | 896 | 87.58 | 5.446
2019-09-24 17:00:00 | 3.032 | 137.396 | 3.494 | 150.978 | 4.98 | 11.196 | 5.23 | 16.184 | 17.778 | 896 | 88.76 | 3.7507
2019-09-24 17:15:00 | 2.8367 | 303.5133 | 3.2667 | 333.5333 | 5.1567 | 1.15 | 5.23 | 13.6867 | 17.69 | 895.9333 | 90.2 | 5.3173
2019-09-24 17:30:00 | 2.7767 | 263.78 | 3.1933 | 289.8667 | 5.4633 | 6.69 | 5.61 | 21.32 | 17.658 | 895 | 91.5333 | 5.5187
2019-09-24 17:45:00 | 2.7947 | 315.518 | 3.214 | 346.72 | 5.2767 | 8.344 | 5.4687 | 23.5987 | 17.6053 | 895 | 91.3533 | 4.03
2019-09-24 18:00:00 | 2.396 | 131.678 | 2.76 | 144.69 | 4.606 | 7.512 | 4.762 | 14.066 | 17.428 | 895 | 91.98 | 1.2773
2019-09-24 18:15:00 | 1.78 | 236.7533 | 2.0567 | 260.1667 | 3.3833 | 3.89 | 3.6367 | 12.1833 | 17.2967 | 895 | 92.9333 | 0.29133
2019-09-24 18:30:00 | 1.5467 | 240.5267 | 1.79 | 264.3 | 2.9367 | 11.73 | 2.89 | 19.4433 | 17.2033 | 895 | 93.2667 | 0.38133
2019-09-24 18:45:00 | 1.6747 | 311.348 | 1.9333 | 342.14 | 2.9213 | 5.1393 | 2.84 | 16.6873 | 17.072 | 895 | 93.4533 | 0.51533
2019-09-24 19:00:00 | 1.494 | 319.33 | 1.728 | 350.9 | 2.672 | 9.836 | 2.814 | 20.728 | 16.922 | 895 | 93.84 | 0.092
2019-09-24 19:15:00 | 1.4373 | 297.2287 | 1.6607 | 326.4333 | 2.2967 | 239.03 | 2.7767 | 16.7467 | 16.8007 | 895 | 94.0667 | 1.5387
2019-09-24 19:30:00 | 1.7333 | 297.9667 | 2 | 327.4333 | 3.0767 | 236.2967 | 3.25 | 5.0333 | 16.7033 | 895 | 94.5333 | 1.434
2019-09-24 19:45:00 | 1.96 | 283.3767 | 2.2633 | 311.4 | 3.2667 | 3.08 | 3.3133 | 3.0267 | 16.4913 | 895.7333 | 95.5 | 0.58533
2019-09-24 20:00:00 | 2.32 | 306.226 | 2.68 | 335.9333 | 3.64 | 7.0933 | 3.6733 | 4.4733 | 16.5433 | 896 | 95.2333 | 0.46133
2019-09-24 20:15:00 | 2.1767 | 189.0633 | 2.5033 | 207.75 | 3.8933 | 349.8667 | 3.9067 | 7.5733 | 16.46 | 896 | 94.9333 | 0.053333
2019-09-24 20:30:00 | 1.872 | 180.476 | 2.158 | 198.32 | 3.326 | 143.684 | 3.448 | 5.816 | 16.34 | 896 | 95.02 | 0
2019-09-24 20:45:00 | 2.0553 | 92.1327 | 2.3653 | 101.2413 | 3.0373 | 0.35667 | 3.2073 | 6.4053 | 16.5287 | 896 | 94.74 | 0
2019-09-24 21:00:00 | 2.0467 | 316.78 | 2.3567 | 348.1 | 3.026 | 3.7467 | 2.9133 | 9.0033 | 16.5367 | 896 | 95.2 | 0
2019-09-24 21:15:00 | 2.62 | 316.59 | 3.01 | 347.9 | 3.12 | 47.83 | 2.92 | 2.33 | 16.64 | 896.6 | 95.04 | 0
2019-09-24 21:30:00 | 1.136 | 311.028 | 1.31 | 341.78 | 1.924 | 12.436 | 1.402 | 7.728 | 16.538 | 897 | 95.58 | 0
2019-09-24 21:45:00 | 0.21733 | 300.12 | 0.252 | 329.8 | 0.12533 | 96.5613 | 0 | 8.996 | 16.544 | 897 | 96.0533 | 0
2019-09-24 22:00:00 | 0.32667 | 215.1267 | 0.38 | 236.4 | 0.47 | 243.1667 | 0.56 | 123.0733 | 16.678 | 897 | 94.5 | 0
2019-09-24 22:15:00 | 1.2093 | 171.174 | 1.3953 | 188.1 | 1.7327 | 168.34 | 1.3427 | 178.5733 | 16.6 | 897 | 94.2533 | 0
2019-09-24 22:30:00 | 1.55 | 161.678 | 1.79 | 177.66 | 2.1167 | 167 | 1.8567 | 168 | 16.4367 | 897 | 95 | 0
2019-09-24 22:45:00 | 1.79 | 165.0267 | 2.0667 | 181.3333 | 2.2133 | 182.9333 | 2.3833 | 181.6333 | 16.3407 | 897 | 95.5067 | 0
2019-09-24 23:00:00 | 1.23 | 171.852 | 1.42 | 188.84 | 1.7133 | 190.2667 | 1.8567 | 191.82 | 16.3833 | 897 | 95.64 | 0
2019-09-24 23:15:00 | 0.26667 | 220.9467 | 0.31333 | 242.8 | 0.22 | 189.6067 | 0.31333 | 191.9267 | 16.3833 | 897 | 95.8333 | 0
2019-09-24 23:30:00 | 0.15 | 311.22 | 0.182 | 342 | 0.126 | 189.66 | 0 | 191.94 | 16.38 | 897 | 95.82 | 0
2019-09-24 23:45:00 | 0.50667 | 209.0467 | 0.59333 | 229.7167 | 0.53333 | 149.7 | 0.6 | 153.2 | 16.4533 | 897 | 95.7 | 0