## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2019-09-25 00:00:00 | 1.1014 | 201.1636 | 1.2743 | 221.0536 | 0.92357 | 266.3143 | 0.007143 | 153.2 | 16.2764 | 897 | 96.8214 | 0
2019-09-25 00:15:00 | 0.46667 | 213.95 | 0.54333 | 235.1067 | 0.16667 | 280.3 | 0.18667 | 153.2 | 16.1507 | 897 | 97.7 | 0
2019-09-25 00:30:00 | 0.48667 | 18.482 | 0.56333 | 20.308 | 0.033333 | 178.7 | 0.26 | 153.2 | 16.12 | 897 | 98.5667 | 0
2019-09-25 00:45:00 | 0.45733 | 13.5213 | 0.532 | 14.856 | 0 | 178.7 | 0.176 | 153.2 | 15.984 | 896.9333 | 98.78 | 0
2019-09-25 01:00:00 | 0.15333 | 0.05 | 0.18 | 0.05 | 0 | 178.7 | 0 | 153.2 | 15.9133 | 896 | 99.1333 | 0
2019-09-25 01:15:00 | 1.0507 | 295.174 | 1.208 | 324.37 | 0.90933 | 12.0533 | 0.003333 | 153.2 | 15.7907 | 896 | 99.5533 | 0
2019-09-25 01:30:00 | 1.52 | 313.5867 | 1.7533 | 344.6 | 1.8667 | 0.15 | 0.18333 | 288.8667 | 15.6067 | 896 | 99.94 | 0
2019-09-25 01:45:00 | 1.802 | 318.3307 | 2.08 | 349.8133 | 2.2213 | 9.274 | 0.886 | 0.54 | 15.4727 | 896 | 100 | 0
2019-09-25 02:00:00 | 2.0733 | 314.0167 | 2.3867 | 345.0667 | 2.4767 | 9.2933 | 1.31 | 0.63333 | 15.2967 | 896 | 100 | 0
2019-09-25 02:15:00 | 1.8953 | 318.2793 | 2.19 | 349.76 | 2.132 | 2.1267 | 1.02 | 15.3813 | 15.184 | 896 | 100 | 0
2019-09-25 02:30:00 | 0.804 | 303.032 | 0.932 | 333 | 0.462 | 12.548 | 0.032 | 9.876 | 15.18 | 896 | 100 | 0
2019-09-25 02:45:00 | 0.62333 | 309.546 | 0.726 | 340.16 | 0 | 86.7 | 0 | 9.72 | 14.8873 | 895.2667 | 100 | 0
2019-09-25 03:00:00 | 0.64667 | 297.93 | 0.75 | 327.4 | 0 | 86.7 | 0 | 9.72 | 14.8233 | 895 | 100 | 0
2019-09-25 03:15:00 | 0.79733 | 316.246 | 0.92267 | 347.5267 | 0.14 | 31.342 | 0 | 9.72 | 14.6867 | 895 | 100 | 0
2019-09-25 03:30:00 | 0.806 | 312.474 | 0.934 | 343.38 | 0.294 | 11.706 | 0 | 9.72 | 14.536 | 895 | 100 | 0
2019-09-25 03:45:00 | 1.5073 | 299.358 | 1.7353 | 330.48 | 1.3053 | 125.7173 | 0.23667 | 123.68 | 14.4833 | 895 | 100 | 0
2019-09-25 04:00:00 | 1.99 | 312.5267 | 2.29 | 343.4333 | 2.2667 | 121.0733 | 1.2633 | 117.36 | 14.54 | 895 | 100 | 0
2019-09-25 04:15:00 | 2.1333 | 110.4833 | 2.45 | 121.4133 | 2.4333 | 356.8 | 2.3467 | 129.8867 | 14.5987 | 895 | 100 | 0
2019-09-25 04:30:00 | 1.926 | 320.448 | 2.22 | 352.9333 | 2.4667 | 119.26 | 2.24 | 116.9267 | 14.576 | 895 | 100 | 0
2019-09-25 04:45:00 | 1.4227 | 35.316 | 1.64 | 38.804 | 2.0973 | 7.7633 | 2.0327 | 1.94 | 14.5727 | 895 | 100 | 0
2019-09-25 05:00:00 | 1.474 | 196.758 | 1.7 | 216.212 | 2.346 | 7.1 | 2.346 | 7.434 | 14.598 | 895 | 100 | 0
2019-09-25 05:15:00 | 1.9533 | 6.19 | 2.2567 | 6.7967 | 3.0233 | 10.9533 | 3.0133 | 8.94 | 14.5793 | 895 | 100 | 0
2019-09-25 05:30:00 | 2.3133 | 37.1367 | 2.6633 | 40.8033 | 3.3967 | 13.32 | 3.3467 | 13.4333 | 14.526 | 895 | 100 | 0
2019-09-25 05:45:00 | 2.2433 | 118.5133 | 2.58 | 130.2333 | 4.02 | 13.5433 | 3.7567 | 24.3 | 14.4767 | 895 | 100 | 0
2019-09-25 06:00:00 | 1.72 | 314.372 | 1.976 | 345.46 | 3.216 | 16.396 | 2.998 | 32.07 | 14.446 | 895 | 100 | 0
2019-09-25 06:15:00 | 1.5633 | 220.3967 | 1.8067 | 242.1933 | 2.7067 | 18.5367 | 2.5 | 9.48 | 14.4247 | 895 | 100 | 0
2019-09-25 06:30:00 | 1.532 | 195.752 | 1.764 | 215.112 | 2.664 | 17.758 | 2.218 | 11.088 | 14.41 | 895 | 100 | 0
2019-09-25 06:45:00 | 0.98 | 217.8567 | 1.1233 | 239.3933 | 1.3133 | 241.43 | 1.0433 | 16.0733 | 14.3947 | 895 | 100 | 0
2019-09-25 07:00:00 | 0.74667 | 199.5967 | 0.85667 | 219.3267 | 0.89333 | 13.95 | 0.80333 | 11.96 | 14.38 | 895 | 100 | 0
2019-09-25 07:15:00 | 0.50933 | 297.3833 | 0.59333 | 326.7867 | 0.34733 | 93.4433 | 0.20533 | 29.964 | 14.3487 | 895 | 100 | 0
2019-09-25 07:30:00 | 0.12 | 309.364 | 0.14667 | 339.96 | 0.04 | 343.4 | 0 | 10.0533 | 14.338 | 895 | 100 | 0
2019-09-25 07:45:00 | 0.026667 | 309.376 | 0.033333 | 339.9733 | 0 | 340.1 | 0 | 6.61 | 14.4 | 895.0667 | 100 | 0
2019-09-25 08:00:00 | 0 | 309.4 | 0 | 340 | 0 | 340.1 | 0 | 6.61 | 14.44 | 896 | 100 | 0
2019-09-25 08:15:00 | 0.056 | 309.816 | 0.064 | 340.4533 | 0.056 | 257.0013 | 0 | 6.64 | 14.4887 | 896 | 100 | 0
2019-09-25 08:30:00 | 0.32333 | 123.0533 | 0.37333 | 135.22 | 0.52333 | 23.0867 | 0.2 | 17.8667 | 14.5367 | 896 | 100 | 0
2019-09-25 08:45:00 | 0.36667 | 35.6667 | 0.42533 | 39.1853 | 0.50267 | 20.6807 | 0.092 | 23.4453 | 14.5533 | 896 | 100 | 0
2019-09-25 09:00:00 | 0.42667 | 6.19 | 0.49667 | 6.7933 | 0.23667 | 30.4233 | 0.04 | 27.54 | 14.5167 | 896 | 100 | 0
2019-09-25 09:15:00 | 0.10667 | 314.0767 | 0.13 | 345.1333 | 0 | 336.24 | 0 | 29.45 | 14.6333 | 896.7333 | 100 | 0
2019-09-25 09:30:00 | 0.053333 | 149.11 | 0.063333 | 163.8467 | 0.02 | 190.0667 | 0.11333 | 118.4833 | 14.784 | 897 | 100 | 0
2019-09-25 09:45:00 | 0.108 | 130.12 | 0.13 | 142.9847 | 0.017333 | 119.3067 | 0.17867 | 168.2267 | 15.086 | 897 | 100 | 0
2019-09-25 10:00:00 | 0.15 | 111.52 | 0.172 | 122.54 | 0.064 | 139.08 | 0.274 | 196.98 | 15.126 | 897 | 100 | 0
2019-09-25 10:15:00 | 0.93133 | 130.5973 | 1.0733 | 143.5133 | 1.25 | 186.8267 | 1.5427 | 199.52 | 15.266 | 897 | 100 | 0
2019-09-25 10:30:00 | 1.8467 | 121.9433 | 2.1233 | 134 | 2.18 | 182.6333 | 2.2033 | 182.1333 | 15.318 | 897 | 100 | 0
2019-09-25 10:45:00 | 2.0453 | 147.8427 | 2.3573 | 162.4533 | 2.4647 | 200.6333 | 2.4127 | 184.82 | 15.6967 | 897 | 100 | 0
2019-09-25 11:00:00 | 2.7 | 142.8233 | 3.1133 | 156.9333 | 2.94 | 186.6333 | 2.8533 | 191.6 | 16.018 | 897 | 100 | 0.59867
2019-09-25 11:15:00 | 2.5587 | 134.464 | 2.9467 | 147.76 | 2.9313 | 167.6267 | 2.754 | 169.8267 | 16.2547 | 897 | 99.4933 | 1.292
2019-09-25 11:30:00 | 3.3467 | 129.4433 | 3.8567 | 142.2333 | 3.8933 | 172.3 | 3.7167 | 164.2333 | 17.05 | 897 | 92.6333 | 1.3653
2019-09-25 11:45:00 | 3.0987 | 120.18 | 3.5667 | 132.06 | 3.8533 | 154.4133 | 3.8667 | 152.3733 | 17.4207 | 897 | 87.92 | 1.0187
2019-09-25 12:00:00 | 2.4533 | 122.7567 | 2.8233 | 134.9 | 3.15 | 169.6333 | 3.2933 | 186.5 | 17.7567 | 897 | 87.5667 | 0.866
2019-09-25 12:15:00 | 1.7547 | 153.0567 | 2.0207 | 168.1933 | 2.4993 | 211.6933 | 2.724 | 250.8667 | 17.9587 | 897 | 87.3 | 0.608
2019-09-25 12:30:00 | 2.7833 | 171.6267 | 3.2067 | 188.6 | 3.3667 | 181.2 | 3.2933 | 192.2 | 18.3933 | 897 | 84.8667 | 0.59333
2019-09-25 12:45:00 | 2.9167 | 142.1233 | 3.3533 | 156.1667 | 3.3 | 156.6 | 3.1733 | 178.3 | 18.61 | 897 | 82.2333 | 1.264
2019-09-25 13:00:00 | 3.4 | 121.726 | 3.908 | 133.76 | 3.834 | 166.64 | 3.71 | 197.52 | 19 | 897 | 79.61 | 1.406
2019-09-25 13:15:00 | 3.438 | 121.5047 | 3.954 | 133.52 | 4.036 | 166.38 | 3.8853 | 171.78 | 19.4487 | 897 | 77.994 | 1.99
2019-09-25 13:30:00 | 3.1 | 127.6167 | 3.5667 | 140.2333 | 3.7533 | 161.1333 | 3.3933 | 186.2333 | 19.8267 | 896.6 | 76.5567 | 2.0073
2019-09-25 13:45:00 | 2.7133 | 143.8967 | 3.1167 | 158.1333 | 3.4133 | 162.4333 | 3.86 | 170.0333 | 19.7133 | 896 | 76.4033 | 1.1767
2019-09-25 14:00:00 | 2.76 | 131.9567 | 3.1767 | 145 | 3.5333 | 166.1 | 3.58 | 225.8333 | 20.24 | 896 | 75.3367 | 2.064
2019-09-25 14:15:00 | 2.704 | 152.3533 | 3.1053 | 167.42 | 3.248 | 180.0533 | 3.3753 | 191.5933 | 20.8473 | 896 | 72.532 | 3.0673
2019-09-25 14:30:00 | 2.66 | 187.7033 | 3.0667 | 206.2667 | 3.43 | 230.4 | 3.53 | 246.4333 | 21.27 | 896 | 70.816 | 2.4927
2019-09-25 14:45:00 | 2.9313 | 116.6333 | 3.37 | 128.1667 | 3.6787 | 186.1067 | 4.008 | 184.6533 | 21.5467 | 896 | 69.202 | 2.3767
2019-09-25 15:00:00 | 2.5567 | 126.52 | 2.9467 | 139.0333 | 3.27 | 210.4333 | 3.4833 | 213.0333 | 21.6467 | 896 | 67.72 | 2.542
2019-09-25 15:15:00 | 2.5193 | 155.576 | 2.896 | 170.9667 | 3.2147 | 196.0733 | 3.3453 | 227.7 | 22.1613 | 896 | 66.2133 | 1.3607
2019-09-25 15:30:00 | 2.73 | 135.2233 | 3.1367 | 148.6 | 3.38 | 196.1667 | 3.6433 | 199.3333 | 21.7433 | 896 | 66.4033 | 1.6473
2019-09-25 15:45:00 | 2.2867 | 202.4207 | 2.6333 | 222.44 | 2.9693 | 237.2867 | 3.0647 | 235.2867 | 21.698 | 896 | 67.1507 | 1.9113
2019-09-25 16:00:00 | 2.52 | 160.258 | 2.902 | 175.9667 | 3.4167 | 210.1333 | 3.44 | 212.9333 | 22.3167 | 896 | 64.72 | 3.204
2019-09-25 16:15:00 | 2.246 | 168.2947 | 2.5873 | 184.94 | 2.8767 | 203.5667 | 2.8587 | 234.4867 | 22.766 | 896 | 62.4313 | 2.5453
2019-09-25 16:30:00 | 2.6733 | 191.8933 | 3.0733 | 210.8667 | 3.47 | 224.3333 | 3.5833 | 217.2667 | 22.6767 | 896 | 60.7133 | 2.0387
2019-09-25 16:45:00 | 2.5213 | 139.7533 | 2.9033 | 148.2 | 3.4733 | 211.2 | 3.7767 | 224.9667 | 22.3733 | 896 | 60.316 | 2.5427
2019-09-25 17:00:00 | 2.54 | 187.156 | 2.9167 | 210.4 | 3.4133 | 213 | 3.6033 | 215.5667 | 22.1533 | 896 | 60.4867 | 3.4627
2019-09-25 17:15:00 | 2.6933 | 147.6893 | 3.0967 | 164.3667 | 3.58 | 221.6667 | 3.4933 | 214.4333 | 21.6127 | 896 | 61.5633 | 6.3127
2019-09-25 17:30:00 | 2.3467 | 168.15 | 2.7033 | 184.7667 | 3.2933 | 227.2 | 3.26 | 220.9667 | 21.5767 | 896 | 61.79 | 7.5447
2019-09-25 17:45:00 | 2.4533 | 169.894 | 2.83 | 186.7667 | 3.49 | 209.0667 | 3.5 | 215.6333 | 20.9533 | 896 | 64.25 | 10.5173
2019-09-25 18:00:00 | 2.12 | 166.9867 | 2.4433 | 183.5 | 3.01 | 211.2667 | 3.3867 | 237.9 | 20.4467 | 895.6 | 66.2767 | 12.5733
2019-09-25 18:15:00 | 2.704 | 175.372 | 3.1147 | 188.2467 | 3.7127 | 219.38 | 4.1027 | 225.8533 | 20.2467 | 895 | 67.4827 | 14.5727
2019-09-25 18:30:00 | 2.946 | 157.16 | 3.388 | 172.7 | 4.09 | 213.8 | 4.738 | 219.18 | 20.014 | 895 | 68.508 | 14.174
2019-09-25 18:45:00 | 3.1547 | 175.69 | 3.626 | 193.0667 | 4.3267 | 210.4333 | 4.9833 | 224.1667 | 19.65 | 895 | 71.4433 | 13.456
2019-09-25 19:00:00 | 3.4367 | 177.51 | 3.95 | 195.0667 | 4.7333 | 210.7667 | 5.43 | 218.1 | 19.39 | 895 | 71.9833 | 14.9113
2019-09-25 19:15:00 | 3.5533 | 162.7433 | 4.0967 | 178.8333 | 4.9467 | 206.8333 | 5.6933 | 215.1 | 18.9667 | 894.9333 | 73.6767 | 12.604
2019-09-25 19:30:00 | 3.2667 | 172.87 | 3.7567 | 189.9667 | 4.46 | 215.3667 | 4.7333 | 218.34 | 18.8933 | 894 | 74.4967 | 10.3133
2019-09-25 19:45:00 | 2.6767 | 160.8967 | 3.08 | 176.8 | 3.7833 | 210.1667 | 3.3867 | 201.0667 | 18.6067 | 894.0667 | 75.9233 | 7.5633
2019-09-25 20:00:00 | 2.1807 | 178.9673 | 2.5093 | 196.6667 | 3.0873 | 209.9 | 2.84 | 202.04 | 18.44 | 895 | 76.6807 | 4.7567
2019-09-25 20:15:00 | 1.2953 | 179.8907 | 1.4933 | 197.6733 | 2.0127 | 201.5867 | 2.2 | 189.76 | 18.1547 | 895 | 78.332 | 2.9187
2019-09-25 20:30:00 | 2 | 166.2033 | 2.2967 | 182.6333 | 2.75 | 206.9333 | 2.7567 | 200.7333 | 17.9833 | 895 | 79.324 | 1.9773
2019-09-25 20:45:00 | 2.1173 | 172.7927 | 2.4373 | 189.8667 | 2.662 | 195.6 | 2.976 | 191.2733 | 18.068 | 895 | 79.1713 | 1.4633
2019-09-25 21:00:00 | 2.1167 | 174.4867 | 2.4367 | 191.7333 | 2.6633 | 189.6667 | 3.2167 | 190.3667 | 18.0133 | 895 | 79.59 | 1.31
2019-09-25 21:15:00 | 2.3593 | 171.9547 | 2.7173 | 188.96 | 2.916 | 184.1467 | 3.29 | 186.4 | 17.9773 | 895.0667 | 79.6967 | 1.1567
2019-09-25 21:30:00 | 2.46 | 168.93 | 2.834 | 185.64 | 3.07 | 176.28 | 3.476 | 184.48 | 17.968 | 896 | 79.762 | 2.1687
2019-09-25 21:45:00 | 2.7667 | 161.9533 | 3.19 | 177.9667 | 3.4767 | 177.8 | 3.9667 | 181.9333 | 17.8493 | 896 | 80.5 | 4.2047
2019-09-25 22:00:00 | 3.24 | 173.1733 | 3.73 | 190.3 | 4.09 | 179.9333 | 4.52 | 181.8667 | 17.832 | 896 | 80.7667 | 7.9967
2019-09-25 22:15:00 | 3.5567 | 103.2 | 4.0893 | 113.408 | 4.3713 | 183.4867 | 4.5707 | 177.4333 | 17.706 | 896 | 82.04 | 9.644
2019-09-25 22:30:00 | 3.414 | 129.292 | 3.926 | 142.08 | 4.122 | 183.14 | 4.488 | 181.26 | 17.574 | 896 | 82.7 | 12.6653
2019-09-25 22:45:00 | 3.2167 | 161.6053 | 3.6993 | 177.5867 | 3.9927 | 178.86 | 4.6067 | 185.62 | 17.4633 | 896 | 82.6933 | 6.2053
2019-09-25 23:00:00 | 2.3267 | 176.64 | 2.6867 | 194.1 | 2.9133 | 180.9667 | 3.4533 | 172.8 | 17.3833 | 896 | 82.54 | 2.774
2019-09-25 23:15:00 | 2.66 | 165.084 | 3.056 | 182.1667 | 3.4253 | 189.9333 | 4.092 | 185.9333 | 17.1833 | 896 | 83.3933 | 4.8027
2019-09-25 23:30:00 | 3.328 | 165.648 | 3.83 | 182.02 | 4.204 | 176.76 | 4.586 | 187.46 | 16.94 | 896 | 84.32 | 4.4907
2019-09-25 23:45:00 | 2.94 | 140.5367 | 3.3933 | 154.4333 | 3.6967 | 172.7333 | 4.3633 | 169.6333 | 16.78 | 895.9333 | 85.2667 | 5.0593