## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2019-09-26 00:00:00 | 3.2086 | 144.7157 | 3.7029 | 159.0286 | 4.0586 | 173.3429 | 4.7914 | 179.5714 | 16.6129 | 895 | 86.2 | 4.3529
2019-09-26 00:15:00 | 3.1933 | 168.6833 | 3.6767 | 185.3667 | 4.0367 | 168.9333 | 4.74 | 175.8333 | 16.5513 | 895 | 86.5933 | 4.976
2019-09-26 00:30:00 | 3.25 | 147.602 | 3.74 | 162.2 | 4.236 | 173.44 | 4.692 | 175.1 | 16.492 | 895 | 86.86 | 4.552
2019-09-26 00:45:00 | 2.966 | 136.4747 | 3.41 | 149.96 | 3.8427 | 158.9667 | 4.72 | 165.86 | 16.392 | 895 | 87.24 | 3.5207
2019-09-26 01:00:00 | 2.68 | 133.1967 | 3.08 | 146.3667 | 3.53 | 166.4667 | 4.3567 | 165.9333 | 16.3733 | 895 | 87.2 | 3.3833
2019-09-26 01:15:00 | 2.4 | 166.8467 | 2.77 | 183.3333 | 3.2433 | 164.0333 | 4.0567 | 161.1667 | 16.1907 | 895 | 87.9933 | 0.708
2019-09-26 01:30:00 | 1.276 | 174.988 | 1.48 | 192.28 | 1.944 | 177.72 | 2.592 | 176.52 | 16.176 | 895 | 87.9 | 0.64133
2019-09-26 01:45:00 | 1.3827 | 182.69 | 1.5873 | 200.7467 | 2.0653 | 204.2267 | 2.2907 | 192.74 | 16.09 | 895 | 88.3533 | 0.065333
2019-09-26 02:00:00 | 1.844 | 170.848 | 2.118 | 187.74 | 2.356 | 187.36 | 2.576 | 196.76 | 16.066 | 895 | 88.68 | 0.55133
2019-09-26 02:15:00 | 2.804 | 163.3653 | 3.2287 | 179.5267 | 3.6867 | 183.1733 | 3.8933 | 192.4267 | 15.8527 | 895 | 89.9067 | 0.41933
2019-09-26 02:30:00 | 2.404 | 158.1113 | 2.7767 | 173.7467 | 3.1667 | 178.44 | 3.6867 | 188.96 | 15.6727 | 894.6 | 90.9133 | 0
2019-09-26 02:45:00 | 2.2467 | 158.4813 | 2.582 | 174.1 | 3.1133 | 170.8333 | 3.8467 | 178.6 | 15.47 | 894 | 91.9333 | 0
2019-09-26 03:00:00 | 2.352 | 161.8213 | 2.7127 | 177.82 | 3.2307 | 174.4333 | 3.688 | 179.72 | 15.3673 | 894 | 92.36 | 0.104
2019-09-26 03:15:00 | 2.644 | 172.3207 | 3.0393 | 189.36 | 3.5333 | 166.2733 | 3.7813 | 175.46 | 15.238 | 894 | 92.9733 | 0.41267
2019-09-26 03:30:00 | 2.6973 | 165.5527 | 3.1073 | 181.9267 | 3.6433 | 167.52 | 4.1027 | 174.5667 | 15.1053 | 894 | 93.52 | 0.79067
2019-09-26 03:45:00 | 2.3333 | 164.3333 | 2.6947 | 180.58 | 3.3087 | 173.8867 | 3.914 | 179.8867 | 15.0467 | 894 | 94.2 | 0.50667
2019-09-26 04:00:00 | 1.6267 | 177.6933 | 1.87 | 195.2667 | 2.4233 | 174.3667 | 3.1433 | 178.1667 | 15.04 | 894 | 94.0667 | 0.17733
2019-09-26 04:15:00 | 1.9453 | 161.0073 | 2.2433 | 176.9267 | 2.6487 | 178.6267 | 3.2367 | 175.06 | 14.96 | 893.9333 | 94.24 | 1.2553
2019-09-26 04:30:00 | 2.548 | 135.852 | 2.93 | 145 | 3.46 | 177.1667 | 3.83 | 177.9 | 14.8167 | 893 | 94.6667 | 1.576
2019-09-26 04:45:00 | 2.3573 | 164.4187 | 2.7087 | 180.6667 | 3.2707 | 178.6533 | 3.8787 | 176.5133 | 14.7067 | 893 | 95.8933 | 0.70467
2019-09-26 05:00:00 | 1.756 | 171.652 | 2.026 | 188.62 | 2.488 | 182.48 | 3.108 | 195.3 | 14.718 | 893 | 96.74 | 0.36467
2019-09-26 05:15:00 | 1.1573 | 180.6 | 1.3353 | 198.46 | 1.668 | 191.04 | 2.4467 | 180.94 | 14.8087 | 893 | 96.2 | 0.026667
2019-09-26 05:30:00 | 0.58 | 169.36 | 0.67667 | 186.1 | 1.0967 | 183.76 | 2.03 | 187.18 | 14.69 | 893 | 96.5667 | 0
2019-09-26 05:45:00 | 0.21867 | 275.28 | 0.25333 | 302.5 | 0.28667 | 187.9467 | 0.87 | 202.4667 | 14.5713 | 893.0667 | 97.5667 | 0
2019-09-26 06:00:00 | 0.26667 | 268.24 | 0.30667 | 294.7667 | 0.38667 | 196.2 | 1.0633 | 197.2 | 14.67 | 894 | 97.1667 | 0
2019-09-26 06:15:00 | 0.61933 | 248.3727 | 0.714 | 271.6667 | 1.2367 | 198.3333 | 1.5833 | 191.1133 | 14.8733 | 894 | 95.6933 | 0
2019-09-26 06:30:00 | 0.792 | 230.736 | 0.91133 | 253.5467 | 1.5593 | 209.4267 | 1.606 | 198.2333 | 14.884 | 894 | 95.76 | 0
2019-09-26 06:45:00 | 0.25267 | 213.712 | 0.296 | 234.8333 | 0.46867 | 216.36 | 1.2453 | 174.4333 | 14.8553 | 894 | 95.8933 | 0
2019-09-26 07:00:00 | 0.204 | 213.5 | 0.232 | 234.6 | 0.396 | 217.8 | 1.064 | 172.3 | 14.858 | 894 | 95.76 | 0
2019-09-26 07:15:00 | 0.368 | 213.5 | 0.43 | 234.6 | 0.73067 | 195.4267 | 1.892 | 155.3 | 14.8893 | 894 | 95.6333 | 0
2019-09-26 07:30:00 | 0.056667 | 213.5 | 0.07 | 234.6 | 0.10667 | 171.26 | 1.7967 | 152.2333 | 14.84 | 894 | 96.04 | 0
2019-09-26 07:45:00 | 0 | 213.5 | 0 | 234.6 | 0 | 171.2 | 1.1853 | 147.0533 | 14.8293 | 894 | 96.56 | 0
2019-09-26 08:00:00 | 0 | 213.5 | 0.006667 | 234.6 | 0 | 171.2 | 1.4933 | 156.62 | 14.8667 | 894 | 96.8333 | 0
2019-09-26 08:15:00 | 0.005333 | 213.5 | 0.005333 | 234.6 | 0.002667 | 171.2733 | 1.062 | 160.3 | 15.004 | 894.7333 | 97.5467 | 0
2019-09-26 08:30:00 | 0.046667 | 212.46 | 0.053333 | 233.4667 | 0.01 | 171.3 | 1.0567 | 160.34 | 15.082 | 895 | 97.36 | 0
2019-09-26 08:45:00 | 0.025333 | 178.6547 | 0.028667 | 196.32 | 0.035333 | 171.3 | 1.8253 | 160.6933 | 15.252 | 895 | 97.1467 | 0
2019-09-26 09:00:00 | 0.044 | 176.33 | 0.048 | 193.76 | 0.064 | 171.3 | 1.71 | 165.04 | 15.692 | 895 | 95.94 | 0
2019-09-26 09:15:00 | 0.41867 | 167.654 | 0.488 | 184.2333 | 0.438 | 170.9333 | 1.2687 | 168.5 | 16.366 | 895.0667 | 92.3667 | 0
2019-09-26 09:30:00 | 1.14 | 161.0667 | 1.3167 | 177 | 1.0933 | 162.8 | 1.1967 | 161.1 | 16.9367 | 896 | 89.2667 | 0
2019-09-26 09:45:00 | 1.2227 | 144.5667 | 1.4127 | 158.8533 | 1.3007 | 159.3667 | 1.1867 | 164.3867 | 16.816 | 896 | 90.56 | 0
2019-09-26 10:00:00 | 1.038 | 154.618 | 1.192 | 169.9 | 1.074 | 168.54 | 0.944 | 167.06 | 16.726 | 896 | 92.02 | 0
2019-09-26 10:15:00 | 0.84133 | 140.5527 | 0.96667 | 154.44 | 0.722 | 154.3667 | 0.51933 | 193.2 | 16.7593 | 896 | 92.14 | 0
2019-09-26 10:30:00 | 1.1 | 154.094 | 1.272 | 169.0667 | 1.0067 | 185.8333 | 1.1867 | 203.4333 | 16.93 | 896 | 92.36 | 0
2019-09-26 10:45:00 | 1.5 | 156.28 | 1.73 | 171.7333 | 1.5133 | 197.3667 | 1.5533 | 208.0333 | 17.4433 | 896 | 90.9667 | 0
2019-09-26 11:00:00 | 2 | 132.1333 | 2.31 | 145.2 | 2.1733 | 189.3667 | 1.9733 | 183.8333 | 17.75 | 896.4 | 89.9 | 0
2019-09-26 11:15:00 | 2.29 | 165.9513 | 2.64 | 182.36 | 2.5327 | 182.9067 | 2.4813 | 181.52 | 18.2327 | 897 | 86.6533 | 0
2019-09-26 11:30:00 | 2.71 | 170.17 | 3.12 | 187 | 2.9633 | 190.5333 | 2.9467 | 195.0333 | 18.5267 | 897 | 84.4 | 0
2019-09-26 11:45:00 | 2.83 | 107.362 | 3.2573 | 117.9733 | 3.078 | 167.26 | 3.09 | 192.2133 | 18.452 | 897 | 84.34 | 0
2019-09-26 12:00:00 | 2.64 | 141.03 | 3.04 | 154.9667 | 3.03 | 181.7667 | 2.94 | 186.1 | 18.9333 | 897 | 84.2 | 0
2019-09-26 12:15:00 | 2.84 | 173.3707 | 3.274 | 190.5067 | 3.1893 | 164.92 | 2.9687 | 217.1933 | 19.4073 | 897 | 81.6933 | 0
2019-09-26 12:30:00 | 2.8067 | 119.1167 | 3.2367 | 130.9 | 3.1767 | 175.3 | 2.67 | 209.1333 | 19.5233 | 897 | 80.7333 | 0
2019-09-26 12:45:00 | 3.0067 | 166.7133 | 3.4587 | 183.1933 | 3.4693 | 181.36 | 3.2127 | 191.4733 | 20.0273 | 897 | 78.0373 | 0
2019-09-26 13:00:00 | 2.974 | 159.292 | 3.422 | 175.04 | 3.372 | 185.8 | 3.184 | 186.38 | 20.056 | 897 | 77.928 | 0
2019-09-26 13:15:00 | 2.7267 | 130.86 | 3.1433 | 143.8 | 3.15 | 179.1333 | 2.8233 | 158.3333 | 20.62 | 896.2667 | 77.1367 | 0
2019-09-26 13:30:00 | 2.68 | 140.94 | 3.084 | 154.88 | 3.152 | 160.08 | 3.016 | 171.12 | 20.85 | 896 | 74.752 | 0
2019-09-26 13:45:00 | 2.546 | 145.6047 | 2.9273 | 160 | 2.8813 | 197.8333 | 2.5533 | 194.82 | 20.382 | 896 | 73.3527 | 0
2019-09-26 14:00:00 | 2.196 | 173.34 | 2.534 | 190.48 | 2.474 | 173.16 | 2.274 | 169.9 | 20.842 | 896 | 71.516 | 0
2019-09-26 14:15:00 | 2.268 | 136.092 | 2.612 | 149.5467 | 2.618 | 183.0933 | 2.4807 | 196.14 | 21.3393 | 896 | 68.0133 | 0
2019-09-26 14:30:00 | 2.01 | 168.882 | 2.32 | 185.58 | 2.426 | 202.78 | 2.314 | 205.18 | 21.18 | 896 | 69.234 | 0
2019-09-26 14:45:00 | 2.1147 | 161.3107 | 2.4333 | 177.26 | 2.4527 | 201.5133 | 2.4147 | 232.3333 | 21.672 | 896 | 64.2573 | 0
2019-09-26 15:00:00 | 2.6333 | 183.53 | 3.0333 | 201.6667 | 3.4667 | 173.6667 | 3.5067 | 179.9333 | 22.16 | 896 | 61.9433 | 0
2019-09-26 15:15:00 | 3.29 | 129.7633 | 3.7867 | 142.6 | 4.0107 | 161.9067 | 3.796 | 162.6533 | 22.0987 | 896 | 63.44 | 0.19733
2019-09-26 15:30:00 | 2.7833 | 139.3867 | 3.2033 | 153.1667 | 3.4567 | 167.5667 | 3.3867 | 186.1667 | 21.7933 | 896 | 62.05 | 0.032
2019-09-26 15:45:00 | 2.5987 | 131.0227 | 2.996 | 143.9667 | 3.558 | 216.2 | 3.5933 | 220.1067 | 21.0033 | 896 | 68.3667 | 0
2019-09-26 16:00:00 | 2.1467 | 151.07 | 2.4733 | 166 | 2.7267 | 217.1667 | 2.9067 | 214.0333 | 21.6867 | 896 | 66.82 | 0
2019-09-26 16:15:00 | 2.2027 | 120.6967 | 2.5333 | 132.6333 | 2.7733 | 219.9 | 2.972 | 225.0267 | 22.692 | 896 | 61.1727 | 0.046
2019-09-26 16:30:00 | 2.14 | 162.294 | 2.468 | 178.34 | 2.854 | 221.28 | 2.848 | 225.2 | 22.728 | 896 | 59.732 | 0.15067
2019-09-26 16:45:00 | 2.004 | 163.5667 | 2.306 | 179.7333 | 2.9633 | 206.6667 | 3.07 | 241.4667 | 21.6667 | 896 | 63.6433 | 0
2019-09-26 17:00:00 | 1.696 | 176.568 | 1.946 | 193.7333 | 2.63 | 229.1333 | 2.8433 | 241.3333 | 21.2533 | 895.6 | 67.87 | 0
2019-09-26 17:15:00 | 1.4373 | 177.5667 | 1.6553 | 195.12 | 2.4073 | 233.7467 | 2.612 | 243.42 | 21.1713 | 895 | 70.3387 | 0
2019-09-26 17:30:00 | 1.0267 | 181.36 | 1.19 | 199.3 | 1.71 | 227.7333 | 2.1867 | 234 | 21.09 | 895 | 69.85 | 0.062
2019-09-26 17:45:00 | 1.7453 | 167.2127 | 2.016 | 183.74 | 2.7107 | 220.98 | 2.5987 | 233.9933 | 20.444 | 895 | 71.322 | 0.18467
2019-09-26 18:00:00 | 1.8667 | 173.2333 | 2.1567 | 190.3667 | 2.7667 | 218.7333 | 2.48 | 233.4 | 19.7167 | 895 | 75.06 | 0.24067
2019-09-26 18:15:00 | 1.9827 | 179.8167 | 2.2807 | 197.6 | 2.8907 | 219.82 | 2.776 | 232.66 | 19.224 | 894.2667 | 78.3313 | 0.256
2019-09-26 18:30:00 | 1.5333 | 178.7633 | 1.7633 | 196.4333 | 2.4267 | 221.9667 | 2.4733 | 231.8 | 19.038 | 894 | 80.2433 | 0.158
2019-09-26 18:45:00 | 1.344 | 207.0567 | 1.5587 | 227.5267 | 2.302 | 236.92 | 2.2227 | 233.4867 | 18.964 | 894 | 77.6127 | 0
2019-09-26 19:00:00 | 1.012 | 229.886 | 1.164 | 252.8333 | 1.7633 | 236.0333 | 1.7467 | 235.4333 | 18.912 | 894 | 75.2067 | 0
2019-09-26 19:15:00 | 0.32333 | 228.804 | 0.38333 | 251.4267 | 0.56933 | 233.4267 | 0.674 | 235.52 | 18.6847 | 894 | 75.2053 | 0
2019-09-26 19:30:00 | 0.18667 | 262.3833 | 0.21667 | 288.3333 | 0.30667 | 233.4 | 0.51333 | 235.4 | 18.5933 | 894 | 74.58 | 0
2019-09-26 19:45:00 | 0.21667 | 283.5867 | 0.25067 | 311.6333 | 0.272 | 332.3333 | 0.14867 | 271.8 | 18.4033 | 894 | 76.2113 | 0
2019-09-26 20:00:00 | 0.866 | 288.126 | 0.998 | 316.62 | 0.956 | 339.36 | 0.742 | 333.32 | 18.228 | 894.4 | 78.614 | 0
2019-09-26 20:15:00 | 1.2007 | 268.4753 | 1.382 | 295.02 | 2.1307 | 340.86 | 1.9047 | 326.3333 | 18.0733 | 895 | 80.8887 | 0
2019-09-26 20:30:00 | 0.568 | 246.7947 | 0.65667 | 271.2067 | 0.838 | 302.6133 | 0.564 | 261.1467 | 18.1527 | 894.6 | 77.9933 | 0
2019-09-26 20:45:00 | 1.104 | 220.594 | 1.282 | 242.4 | 1.5167 | 199.8533 | 1.414 | 206.6467 | 18.2493 | 894 | 78.6333 | 0.059333
2019-09-26 21:00:00 | 1.2133 | 163.9533 | 1.3933 | 180.1667 | 1.78 | 177.3333 | 1.9367 | 187.4667 | 17.9733 | 894 | 84.2 | 0
2019-09-26 21:15:00 | 1.3393 | 150.9113 | 1.542 | 165.8267 | 2.0613 | 173.2333 | 2.302 | 174.6533 | 17.798 | 894 | 86.8467 | 0.49933
2019-09-26 21:30:00 | 2.032 | 153.89 | 2.338 | 169.1 | 2.678 | 173.7 | 2.804 | 167.28 | 17.542 | 894 | 88.58 | 0.76
2019-09-26 21:45:00 | 2.59 | 158.26 | 2.9767 | 173.9 | 3.4267 | 167.2133 | 3.2933 | 169.5333 | 17.0967 | 894 | 89.6667 | 0.62
2019-09-26 22:00:00 | 2.0967 | 131.8 | 2.41 | 144.8333 | 2.8 | 174.2 | 2.7933 | 172.0667 | 16.9033 | 894 | 89.76 | 0.188
2019-09-26 22:15:00 | 0.61733 | 200.5893 | 0.71467 | 220.4267 | 0.774 | 175.1733 | 1.3733 | 169.2667 | 16.788 | 894 | 90.1267 | 0
2019-09-26 22:30:00 | 0.85667 | 307.89 | 1 | 338.3333 | 0.58 | 66.7933 | 0.08 | 169.14 | 16.77 | 894 | 91.0667 | 0
2019-09-26 22:45:00 | 1.882 | 318.0473 | 2.1767 | 349.4933 | 2.0953 | 1.908 | 1.0893 | 22.132 | 16.5053 | 894 | 91.1733 | 0
2019-09-26 23:00:00 | 1.514 | 316.478 | 1.744 | 347.78 | 1.552 | 209.664 | 0.544 | 210.708 | 16.42 | 894 | 90.34 | 0
2019-09-26 23:15:00 | 1.22 | 309.76 | 1.4 | 340.4 | 1.25 | 348.66 | 0.04 | 300.7 | 16.486 | 894 | 89.4 | 0
2019-09-26 23:30:00 | 0.564 | 308.88 | 0.656 | 339.42 | 0.148 | 348.7 | 0.108 | 238.44 | 16.54 | 894 | 89.62 | 0.15933
2019-09-26 23:45:00 | 0.74 | 285.6 | 0.854 | 313.8333 | 1.3613 | 192.8533 | 1.5593 | 196.9933 | 16.4633 | 894 | 89.84 | 0.192