## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2019-09-27 00:00:00 | 0.55429 | 198.5257 | 0.64143 | 218.1571 | 1.0143 | 182.0357 | 1.15 | 191.4714 | 16.4514 | 894 | 90.1143 | 0.014286
2019-09-27 00:15:00 | 0.34933 | 173.99 | 0.40533 | 191.2 | 0.676 | 186.4133 | 1.1767 | 193.9 | 16.746 | 894 | 89.8 | 0.028
2019-09-27 00:30:00 | 0.61667 | 173.99 | 0.71667 | 191.2 | 1.1967 | 198.1 | 1.36 | 211.64 | 16.6967 | 894 | 90.2667 | 0.18267
2019-09-27 00:45:00 | 0.39667 | 173.99 | 0.46667 | 191.2 | 0.776 | 182.8 | 1.3033 | 195.1067 | 16.3713 | 894 | 91.4133 | 0.21067
2019-09-27 01:00:00 | 0.248 | 173.99 | 0.288 | 191.2 | 0.48 | 182.84 | 0.678 | 195.2 | 16.096 | 894 | 92.48 | 0.090667
2019-09-27 01:15:00 | 0.016667 | 173.9967 | 0.018 | 191.2067 | 0.012 | 182.8267 | 0.044667 | 195.2 | 15.768 | 894 | 94.22 | 0
2019-09-27 01:30:00 | 0.50333 | 271.3433 | 0.57667 | 298.1667 | 0.06 | 244.8 | 0 | 195.2 | 15.5933 | 894 | 94.9 | 0
2019-09-27 01:45:00 | 0.56 | 317.0933 | 0.64 | 348.4533 | 0 | 275.8 | 0 | 195.2 | 15.5433 | 894 | 94.4667 | 0
2019-09-27 02:00:00 | 0.402 | 311.58 | 0.46 | 342.4 | 0 | 275.8 | 0 | 195.2 | 15.522 | 894 | 94.36 | 0.062
2019-09-27 02:15:00 | 0.674 | 308.276 | 0.77467 | 338.76 | 0 | 275.8 | 0.15 | 185.12 | 15.534 | 894 | 94.38 | 0.012
2019-09-27 02:30:00 | 0.84 | 104.42 | 0.96333 | 114.7467 | 0.006667 | 291.3333 | 0 | 184.4 | 15.4767 | 894 | 94.6667 | 0
2019-09-27 02:45:00 | 2.06 | 314.5333 | 2.3667 | 345.6333 | 2.5267 | 5.0367 | 0.16667 | 319.1333 | 14.9533 | 893.9333 | 97.0333 | 0
2019-09-27 03:00:00 | 2.192 | 322.758 | 2.524 | 354.68 | 2.532 | 1.896 | 0.448 | 352.12 | 14.806 | 893 | 97.6 | 0
2019-09-27 03:15:00 | 2.6987 | 140.2327 | 3.114 | 154.1 | 3.1927 | 13.536 | 2.27 | 7.5787 | 14.5867 | 893 | 99.3867 | 0
2019-09-27 03:30:00 | 2.71 | 293.97 | 3.116 | 323.04 | 3.216 | 11.182 | 2.214 | 12.828 | 14.526 | 893 | 99.94 | 0
2019-09-27 03:45:00 | 2.7433 | 301 | 3.1567 | 330.7667 | 3.1633 | 15.1667 | 1.1367 | 17.15 | 14.4933 | 893 | 100 | 0
2019-09-27 04:00:00 | 2.82 | 310.986 | 3.246 | 341.74 | 3.444 | 5.8 | 1.97 | 13.99 | 14.52 | 893 | 100 | 0
2019-09-27 04:15:00 | 2.9733 | 208.71 | 3.416 | 229.35 | 3.73 | 5.8967 | 3.21 | 15.6733 | 14.4993 | 893 | 100 | 0
2019-09-27 04:30:00 | 2.98 | 192.65 | 3.436 | 211.7 | 3.562 | 6.406 | 3.374 | 24.842 | 14.44 | 892.6 | 100 | 0
2019-09-27 04:45:00 | 2.602 | 313.7693 | 2.994 | 344.2 | 3.1233 | 118.6333 | 2.8467 | 138.68 | 14.2387 | 892 | 100 | 0
2019-09-27 05:00:00 | 2.66 | 310.49 | 3.06 | 341.2 | 3.2433 | 122.3267 | 2.8533 | 125.1867 | 14.1933 | 892 | 100 | 0
2019-09-27 05:15:00 | 2.364 | 310.7287 | 2.7287 | 341.4533 | 2.992 | 3.4367 | 2.596 | 8.3747 | 14.1793 | 892.7333 | 100 | 0
2019-09-27 05:30:00 | 2.08 | 315.26 | 2.4 | 346.4333 | 2.63 | 3.4 | 2.06 | 9.75 | 14.2933 | 893 | 100 | 0
2019-09-27 05:45:00 | 1.7733 | 309.4633 | 2.04 | 340.0667 | 2.2567 | 5.04 | 1.3133 | 9.7267 | 14.3273 | 893 | 100 | 0
2019-09-27 06:00:00 | 1.7333 | 320.93 | 1.9933 | 352.6667 | 2.0433 | 8.12 | 0.3 | 9.9533 | 14.346 | 893 | 100 | 0
2019-09-27 06:15:00 | 1.744 | 310.9847 | 2.0133 | 341.74 | 2.0653 | 8.204 | 0.28733 | 9.928 | 14.1813 | 893 | 99.9867 | 0
2019-09-27 06:30:00 | 1.9567 | 317.62 | 2.25 | 349.0333 | 2.2667 | 8.23 | 1.1667 | 9.9267 | 13.6433 | 893 | 99.9333 | 0
2019-09-27 06:45:00 | 1.7187 | 104.3653 | 1.9893 | 137.45 | 1.8933 | 8.1413 | 0.896 | 12.272 | 13.6047 | 893 | 100 | 0.063333
2019-09-27 07:00:00 | 1.4867 | 318.87 | 1.7167 | 350.4 | 1.24 | 5.09 | 0.12333 | 9.62 | 13.522 | 893 | 100 | 0.15867
2019-09-27 07:15:00 | 2.1253 | 102.9193 | 2.448 | 134.822 | 2.202 | 3.848 | 0 | 8.25 | 13.428 | 893 | 100 | 0.16
2019-09-27 07:30:00 | 2.32 | 312.7167 | 2.67 | 343.6333 | 2.4733 | 2.5633 | 0.006667 | 8.24 | 13.4167 | 893 | 100 | 0.026
2019-09-27 07:45:00 | 2.5653 | 107.8193 | 2.9513 | 142.2367 | 2.7593 | 118.7833 | 0.24333 | 8.2333 | 13.4587 | 893 | 100 | 0
2019-09-27 08:00:00 | 2.6533 | 109.5867 | 3.0633 | 120.42 | 3.14 | 122.1733 | 0.97 | 5.66 | 13.5033 | 893.4 | 100 | 0
2019-09-27 08:15:00 | 2.6307 | 297.87 | 3.0287 | 327.3287 | 3.4193 | 2.106 | 2.4633 | 8.004 | 13.662 | 894 | 100 | 0
2019-09-27 08:30:00 | 2.5333 | 118.6067 | 2.9233 | 130.34 | 3.12 | 5.1967 | 2.5767 | 1.02 | 13.738 | 894 | 100 | 0
2019-09-27 08:45:00 | 2.5693 | 298.2493 | 2.9587 | 327.7507 | 2.8593 | 329.248 | 2.772 | 13.608 | 13.7227 | 894 | 100 | 0
2019-09-27 09:00:00 | 2.348 | 141.32 | 2.702 | 155.294 | 2.67 | 354.64 | 2.522 | 21.2 | 13.76 | 894 | 100 | 0
2019-09-27 09:15:00 | 2.3453 | 207.2933 | 2.6993 | 227.7927 | 2.6527 | 353.44 | 2.6153 | 106.7213 | 13.8467 | 894 | 100 | 0
2019-09-27 09:30:00 | 2.498 | 191.36 | 2.874 | 210.28 | 2.818 | 352.24 | 2.716 | 349.08 | 13.826 | 894.4 | 100 | 0
2019-09-27 09:45:00 | 2.0447 | 109.8 | 2.3513 | 120.6533 | 1.894 | 340.4933 | 0.824 | 115.4933 | 13.812 | 895 | 100 | 0
2019-09-27 10:00:00 | 1.648 | 324.78 | 1.896 | 356.9 | 1.382 | 350.76 | 0.336 | 130.644 | 13.914 | 895 | 100 | 0
2019-09-27 10:15:00 | 1.868 | 313.8973 | 2.1533 | 344.9333 | 1.974 | 26.8933 | 1.0387 | 6.3453 | 14.1953 | 895 | 100 | 0
2019-09-27 10:30:00 | 1.9833 | 125.3867 | 2.2767 | 137.7867 | 2.31 | 2.4267 | 1.6567 | 6.2067 | 14.8067 | 895 | 100 | 0
2019-09-27 10:45:00 | 1.1753 | 95.978 | 1.3607 | 105.4653 | 0.93733 | 4.156 | 1.3707 | 240.4487 | 14.872 | 895 | 100 | 0
2019-09-27 11:00:00 | 0.96 | 108.7667 | 1.1067 | 119.52 | 0.62667 | 169.3167 | 1.7967 | 233.0667 | 14.9467 | 895 | 100 | 0
2019-09-27 11:15:00 | 0.30333 | 91.328 | 0.348 | 121.0973 | 0.218 | 202.8267 | 1.5413 | 224.0333 | 15.352 | 895 | 100 | 0
2019-09-27 11:30:00 | 0.30667 | 307.9267 | 0.36333 | 338.3667 | 0.10667 | 201.2667 | 1.3733 | 218.3667 | 15.76 | 895 | 100 | 0
2019-09-27 11:45:00 | 0.196 | 323.7607 | 0.23 | 355.7667 | 0.198 | 192.7133 | 1.1147 | 208.86 | 16.184 | 895 | 100 | 0
2019-09-27 12:00:00 | 0.412 | 223.48 | 0.482 | 245.58 | 0.412 | 183.28 | 0.936 | 210.74 | 16.67 | 895 | 100 | 0
2019-09-27 12:15:00 | 0.87067 | 167.5627 | 1.0067 | 184.1267 | 0.94533 | 161.32 | 1.0373 | 169.8733 | 16.8393 | 895 | 100 | 0
2019-09-27 12:30:00 | 1.432 | 149.576 | 1.66 | 164.36 | 1.576 | 168 | 1.378 | 205.98 | 17.3 | 895 | 99.4 | 0
2019-09-27 12:45:00 | 1.5447 | 157.3773 | 1.7907 | 173.8667 | 1.7533 | 200.5333 | 1.68 | 182.1333 | 18.23 | 895 | 93.5333 | 0
2019-09-27 13:00:00 | 2.308 | 167.23 | 2.658 | 183.7333 | 2.7267 | 167.6667 | 2.14 | 172.6 | 19.39 | 895 | 88.0667 | 0.052667
2019-09-27 13:15:00 | 2.8367 | 158.89 | 3.2667 | 174.6 | 3.04 | 186.6 | 2.85 | 205.8333 | 19.7413 | 895 | 84.8333 | 0.41933
2019-09-27 13:30:00 | 3.042 | 174.504 | 3.498 | 191.76 | 3.268 | 170.2 | 3.076 | 208.7 | 19.908 | 895 | 83.92 | 0.414
2019-09-27 13:45:00 | 2.9453 | 125.264 | 3.398 | 137.64 | 3.3507 | 187.7067 | 2.99 | 208.92 | 19.9273 | 895 | 83.0667 | 0.66933
2019-09-27 14:00:00 | 2.924 | 151.008 | 3.378 | 165.94 | 3.396 | 177.76 | 3.244 | 191.42 | 20.194 | 895 | 82.58 | 0.42
2019-09-27 14:15:00 | 2.8507 | 142.04 | 3.2793 | 156.0867 | 3.1533 | 177.1333 | 2.8413 | 177.1267 | 20.3193 | 895 | 81.66 | 0.26
2019-09-27 14:30:00 | 2.74 | 151.996 | 3.152 | 169.5667 | 3.1067 | 169.9 | 2.78 | 164.5333 | 20.4367 | 895 | 81.4333 | 0.57467
2019-09-27 14:45:00 | 3.0147 | 159.0767 | 3.47 | 174.8 | 3.4667 | 163.7 | 3.23 | 175.6667 | 20.6567 | 895 | 79.8433 | 0.22067
2019-09-27 15:00:00 | 2.948 | 124.392 | 3.394 | 136.68 | 3.5 | 177.3 | 3.116 | 171.9 | 20.694 | 895 | 79.382 | 0
2019-09-27 15:15:00 | 2.5733 | 119.6467 | 2.9567 | 131.4733 | 2.8947 | 157.6133 | 2.6733 | 187.78 | 20.7413 | 894.9333 | 79.186 | 0
2019-09-27 15:30:00 | 2.79 | 139.0233 | 3.21 | 152.7667 | 3.0833 | 171.88 | 3.0467 | 191.9333 | 20.5833 | 894 | 78.5833 | 0.020667
2019-09-27 15:45:00 | 2.6033 | 156.532 | 3.002 | 172 | 3.0107 | 161.1667 | 2.9013 | 197.5133 | 20.5793 | 894 | 78.5173 | 0
2019-09-27 16:00:00 | 2.5 | 166.934 | 2.874 | 183.44 | 3.18 | 184.5 | 3.16 | 190.26 | 20.956 | 894 | 78.202 | 0
2019-09-27 16:15:00 | 2.0573 | 153.2607 | 2.37 | 168.4133 | 2.6293 | 155.5267 | 2.5067 | 167.3 | 21.6793 | 894 | 74.2893 | 0
2019-09-27 16:30:00 | 2.208 | 149.53 | 2.548 | 166.8 | 2.7033 | 171.0667 | 2.37 | 176.8333 | 21.4767 | 894 | 74.3933 | 0
2019-09-27 16:45:00 | 1.866 | 168.8973 | 2.144 | 185.9667 | 2.2267 | 183.6333 | 2 | 195.7667 | 21.1033 | 894 | 74.6333 | 0
2019-09-27 17:00:00 | 1.858 | 170.776 | 2.134 | 187.66 | 2.256 | 180.74 | 2.12 | 185.28 | 21.314 | 894 | 74.366 | 0
2019-09-27 17:15:00 | 1.54 | 175.8467 | 1.7767 | 193.2333 | 1.9533 | 178.7 | 1.8833 | 187.4333 | 21.2633 | 894 | 74.21 | 0
2019-09-27 17:30:00 | 0.99333 | 173.14 | 1.15 | 190.26 | 1.58 | 196.3 | 1.5033 | 210.46 | 21.0167 | 894 | 76.5167 | 0
2019-09-27 17:45:00 | 1.02 | 182.3933 | 1.172 | 200.4333 | 2.026 | 236.66 | 1.9527 | 241.5267 | 20.72 | 894 | 77.8093 | 0
2019-09-27 18:00:00 | 1.004 | 191.63 | 1.152 | 210.58 | 1.984 | 238.66 | 2.01 | 239.58 | 20.334 | 894 | 78.792 | 0
2019-09-27 18:15:00 | 0.996 | 192.3847 | 1.1547 | 211.4067 | 1.9893 | 236.2467 | 2.0033 | 237.7933 | 19.8233 | 893.2667 | 80.208 | 0
2019-09-27 18:30:00 | 1.166 | 186.672 | 1.344 | 205.12 | 2.302 | 225.66 | 2.382 | 223.94 | 19.448 | 893 | 81.42 | 0
2019-09-27 18:45:00 | 1.1767 | 177.7653 | 1.3533 | 195.3333 | 2.3327 | 211.1867 | 2.4353 | 216.0533 | 19.1573 | 893 | 82.2467 | 0
2019-09-27 19:00:00 | 1.284 | 176.288 | 1.486 | 193.4333 | 2.5667 | 191.6667 | 2.48 | 200.4667 | 19.0167 | 893 | 82.3 | 0
2019-09-27 19:15:00 | 1.012 | 168.0127 | 1.174 | 184.6267 | 2.024 | 188.5867 | 2.104 | 192.9267 | 18.8847 | 893 | 82.98 | 0.20467
2019-09-27 19:30:00 | 1.1533 | 168.99 | 1.33 | 185.7 | 2.3067 | 186.8667 | 2.3267 | 190.52 | 18.7267 | 893 | 83.8333 | 0.104
2019-09-27 19:45:00 | 1.116 | 169.0633 | 1.292 | 185.7733 | 2.204 | 181.5 | 2.248 | 185 | 18.618 | 893 | 84.44 | 0.012
2019-09-27 20:00:00 | 0.99333 | 169.09 | 1.14 | 185.8 | 1.9733 | 181.5 | 2.1733 | 185.44 | 18.4567 | 892.6 | 85.2 | 0
2019-09-27 20:15:00 | 0.7 | 169.09 | 0.808 | 185.8 | 1.3927 | 181.4933 | 1.6973 | 182.86 | 18.28 | 892.0667 | 86.02 | 0
2019-09-27 20:30:00 | 0.56 | 169.05 | 0.654 | 185.76 | 1.12 | 177.92 | 1.614 | 175.6 | 18.236 | 893 | 86.02 | 0
2019-09-27 20:45:00 | 0.70267 | 168.99 | 0.818 | 185.7 | 1.3933 | 175.4533 | 1.9313 | 174.98 | 18.3587 | 893 | 85.5933 | 0
2019-09-27 21:00:00 | 0.86 | 168.99 | 0.99 | 185.7 | 1.7133 | 175.4 | 1.78 | 173.2 | 18.428 | 893 | 85.1667 | 0
2019-09-27 21:15:00 | 0.58333 | 168.9967 | 0.66933 | 185.7067 | 1.1453 | 175.4 | 1.1893 | 172.9733 | 18.228 | 893 | 86.3533 | 0
2019-09-27 21:30:00 | 0.108 | 169.09 | 0.124 | 185.8 | 0.16333 | 175.4 | 0.17333 | 173 | 17.9667 | 893 | 87.5 | 0
2019-09-27 21:45:00 | 0.76133 | 299.0553 | 0.88533 | 328.6267 | 1.5027 | 330.52 | 0.82667 | 173 | 18.0227 | 893.0667 | 87.2133 | 0
2019-09-27 22:00:00 | 0.568 | 302.426 | 0.666 | 332.34 | 1.128 | 334.82 | 0.784 | 269.84 | 18.064 | 894 | 86.86 | 0
2019-09-27 22:15:00 | 0.14933 | 300.57 | 0.17333 | 330.3 | 0.29867 | 275.7 | 0.228 | 273.92 | 18.1587 | 893.2667 | 86.2467 | 0
2019-09-27 22:30:00 | 0.436 | 300.57 | 0.502 | 330.3 | 0.90667 | 166.54 | 0.66 | 153.24 | 18.0633 | 893.4 | 86.8 | 0
2019-09-27 22:45:00 | 0.75467 | 237.1973 | 0.878 | 255.3667 | 1.5433 | 166.9667 | 1.07 | 158.14 | 17.8267 | 893.2667 | 88.7667 | 0.082667
2019-09-27 23:00:00 | 0.828 | 155.174 | 0.964 | 170.52 | 1.654 | 173.52 | 2.062 | 178.14 | 17.688 | 893 | 89.48 | 0.064667
2019-09-27 23:15:00 | 0.76933 | 135.77 | 0.896 | 149.2 | 1.534 | 177.4 | 1.7247 | 186.8867 | 17.452 | 893 | 90.3467 | 0
2019-09-27 23:30:00 | 0.394 | 135.77 | 0.46 | 149.2 | 0.78 | 177.36 | 1.512 | 172.62 | 17.166 | 893 | 91.5 | 0
2019-09-27 23:45:00 | 0 | 135.782 | 0 | 149.2133 | 0 | 177.3 | 0.75 | 158.6 | 16.9087 | 893 | 92.5333 | 0