## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2019-09-28 00:00:00 | 0 | 221.3443 | 0 | 243.2286 | 0 | 177.3 | 0.24429 | 158.6 | 17.0557 | 893 | 92.4 | 0
2019-09-28 00:15:00 | 0.304 | 293.0853 | 0.35133 | 322.0667 | 0.598 | 338.3 | 0.042667 | 158.6 | 17.1053 | 893 | 91.4333 | 0
2019-09-28 00:30:00 | 0.974 | 315.48 | 1.124 | 346.68 | 1.932 | 349.4 | 0.478 | 158.6 | 16.732 | 893 | 92.52 | 0
2019-09-28 00:45:00 | 1.014 | 311.6907 | 1.1667 | 342.5067 | 2.0013 | 340.2133 | 0.77133 | 198.4933 | 16.518 | 893 | 93.6533 | 0
2019-09-28 01:00:00 | 0.852 | 314.938 | 0.98 | 346.08 | 1.678 | 166.962 | 0.088 | 308.2 | 16.52 | 893 | 93.66 | 0
2019-09-28 01:15:00 | 1.1053 | 319.7047 | 1.2773 | 351.32 | 2.2033 | 96.6073 | 0.68133 | 343.9267 | 16.37 | 893 | 94.5 | 0
2019-09-28 01:30:00 | 0.78 | 127.716 | 0.9 | 140.342 | 1.554 | 353.88 | 0.104 | 314.08 | 16.19 | 893 | 95.52 | 0
2019-09-28 01:45:00 | 0.23867 | 294.83 | 0.27533 | 323.9913 | 0.46467 | 353.84 | 0.014 | 292.7933 | 15.994 | 892.9333 | 96.58 | 0
2019-09-28 02:00:00 | 0 | 322.38 | 0 | 354.26 | 0 | 353.8 | 0 | 291.4 | 15.958 | 892 | 96.7 | 0.128
2019-09-28 02:15:00 | 0 | 320.78 | 0 | 352.5 | 0 | 353.8 | 0 | 277.5067 | 15.9287 | 892 | 96.6933 | 0
2019-09-28 02:30:00 | 0.50667 | 320.78 | 0.58 | 352.5 | 1 | 125.5133 | 0.32667 | 91.8867 | 15.8 | 892 | 97 | 0
2019-09-28 02:45:00 | 1.7867 | 319.3787 | 2.0647 | 350.9533 | 2.532 | 6.074 | 0.866 | 10.916 | 15.3613 | 892 | 98.9733 | 0
2019-09-28 03:00:00 | 2.164 | 311.694 | 2.492 | 342.52 | 2.488 | 27.164 | 0.78 | 4.004 | 15.252 | 892 | 99.6 | 0
2019-09-28 03:15:00 | 1.8587 | 310.1073 | 2.14 | 340.7733 | 1.936 | 331.0067 | 0.11467 | 0.72667 | 15.4213 | 892 | 98.76 | 0
2019-09-28 03:30:00 | 1.816 | 307.326 | 2.086 | 337.72 | 1.726 | 355.58 | 0.194 | 0.772 | 15.49 | 892 | 97.66 | 0
2019-09-28 03:45:00 | 1.5013 | 305.404 | 1.73 | 335.6067 | 1.2267 | 355.4667 | 0.004667 | 0.818 | 15.614 | 892 | 96.46 | 0
2019-09-28 04:00:00 | 1.738 | 310.262 | 2.008 | 340.94 | 1.67 | 355.4 | 0.006 | 0.758 | 15.64 | 892 | 96.58 | 0
2019-09-28 04:15:00 | 1.8213 | 316.8213 | 2.094 | 348.16 | 2.0213 | 354.4733 | 0.27067 | 89.0053 | 15.6993 | 892 | 96.5 | 0
2019-09-28 04:30:00 | 1.88 | 320.6467 | 2.1653 | 352.3533 | 2.0693 | 194.216 | 0.13333 | 319.8467 | 15.7167 | 892 | 96.5 | 0
2019-09-28 04:45:00 | 1.4667 | 322.3347 | 1.6873 | 354.2067 | 1.3267 | 51.866 | 0.012 | 309.3 | 15.7293 | 892 | 96.8667 | 0
2019-09-28 05:00:00 | 0.928 | 311.556 | 1.078 | 342.36 | 0.384 | 51.932 | 0 | 309.3 | 15.742 | 892 | 96.14 | 0
2019-09-28 05:15:00 | 1.2587 | 308.6913 | 1.4467 | 339.2133 | 0.94667 | 52.5273 | 0 | 309.3 | 15.7753 | 892 | 95.96 | 0
2019-09-28 05:30:00 | 1.54 | 309.3433 | 1.7767 | 339.9333 | 1.4867 | 51.94 | 0 | 309.3 | 15.7033 | 892 | 96.7667 | 0
2019-09-28 05:45:00 | 1.518 | 315.5407 | 1.7487 | 346.74 | 1.606 | 51.5347 | 0 | 309.3 | 15.5787 | 892 | 97.72 | 0
2019-09-28 06:00:00 | 1.564 | 321.284 | 1.798 | 353.06 | 1.55 | 50.964 | 0 | 309.3 | 15.516 | 892 | 98.1 | 0
2019-09-28 06:15:00 | 2.196 | 322.2067 | 2.522 | 354.0733 | 2.502 | 37.1347 | 0.248 | 228.4867 | 15.114 | 892 | 99.14 | 0
2019-09-28 06:30:00 | 1.9767 | 320.0433 | 2.2733 | 351.7 | 2.2333 | 238.74 | 0.083333 | 237.8167 | 15.012 | 892 | 99.6333 | 0
2019-09-28 06:45:00 | 0.968 | 310.548 | 1.114 | 341.2533 | 0.57133 | 26.3213 | 0.178 | 202.5867 | 15.1193 | 892 | 99.5933 | 0
2019-09-28 07:00:00 | 1.002 | 316.78 | 1.156 | 348.1 | 0.722 | 214.652 | 0.036 | 191.8 | 15.194 | 892 | 98.94 | 0
2019-09-28 07:15:00 | 1.5593 | 316.428 | 1.794 | 346.1 | 1.7307 | 356.2867 | 0.054 | 317.8 | 15.1213 | 892 | 98.6933 | 0.042
2019-09-28 07:30:00 | 1.106 | 301.974 | 1.268 | 331.84 | 1.144 | 356.54 | 0.156 | 326.76 | 15.126 | 892 | 98.56 | 0
2019-09-28 07:45:00 | 0.96867 | 315.21 | 1.1227 | 346.38 | 0.86733 | 56.1173 | 0.21533 | 272.3267 | 15.2347 | 892 | 98.2067 | 0
2019-09-28 08:00:00 | 1.716 | 310.71 | 1.98 | 342.3333 | 1.7567 | 232.3733 | 0 | 257.9 | 15.3367 | 892 | 97.9667 | 0
2019-09-28 08:15:00 | 1.1933 | 306.6067 | 1.384 | 336.92 | 0.972 | 321.7467 | 0.40467 | 251.3533 | 15.6447 | 892 | 97.08 | 0
2019-09-28 08:30:00 | 0.272 | 312.4 | 0.322 | 343.3 | 0.204 | 281.38 | 0.846 | 240.52 | 16 | 892.4 | 95.96 | 0
2019-09-28 08:45:00 | 0.97333 | 302.7187 | 1.1207 | 332.66 | 1.3053 | 271.4333 | 0.54867 | 307.3333 | 16.0607 | 893 | 96.04 | 0
2019-09-28 09:00:00 | 0.742 | 308.434 | 0.854 | 338.94 | 1.048 | 235.38 | 0.1 | 278.18 | 16.282 | 893 | 95.96 | 0
2019-09-28 09:15:00 | 0.37133 | 307.5013 | 0.426 | 337.9067 | 0.53333 | 355.7 | 0.085333 | 259.4867 | 16.3447 | 893 | 96.2267 | 0
2019-09-28 09:30:00 | 0.036 | 291.02 | 0.042 | 319.8 | 0.048 | 325.22 | 0.044 | 247.54 | 16.828 | 893 | 96.1 | 0.072
2019-09-28 09:45:00 | 0.22 | 291.02 | 0.25 | 319.8 | 0.11333 | 225.7 | 1.19 | 252.6 | 17.51 | 893.0667 | 94.5 | 0
2019-09-28 10:00:00 | 0.448 | 291.02 | 0.516 | 319.8 | 0.258 | 191.62 | 1.466 | 223.74 | 17.912 | 894 | 93.7 | 0
2019-09-28 10:15:00 | 1.312 | 253.8787 | 1.5147 | 268.7933 | 1.4587 | 189.52 | 2.2347 | 207.8667 | 18.3747 | 894 | 91.98 | 0
2019-09-28 10:30:00 | 1.84 | 140.258 | 2.13 | 154.12 | 2.036 | 201.54 | 2.71 | 206 | 18.504 | 894 | 91.62 | 0
2019-09-28 10:45:00 | 2.2413 | 129.6867 | 2.578 | 142.5 | 2.602 | 199.62 | 3.158 | 207.5733 | 18.516 | 894 | 92.0333 | 0.069333
2019-09-28 11:00:00 | 2.306 | 132.4167 | 2.652 | 145.5 | 2.74 | 204.8333 | 3.3033 | 196.6333 | 18.7267 | 894 | 90.6667 | 0.09
2019-09-28 11:15:00 | 2.3933 | 136.9667 | 2.7567 | 150.5 | 2.82 | 208.4 | 2.8433 | 181.1 | 19.0167 | 894 | 86.2 | 0.26333
2019-09-28 11:30:00 | 2.334 | 152.162 | 2.684 | 167.2 | 2.67 | 199.02 | 2.832 | 200.36 | 19.146 | 894 | 85.18 | 0.37
2019-09-28 11:45:00 | 2.5067 | 165.0133 | 2.88 | 181.3333 | 2.8667 | 184.7667 | 2.8167 | 182.4667 | 19.2533 | 894 | 85.7 | 0.33467
2019-09-28 12:00:00 | 2.826 | 125.398 | 3.246 | 136.6667 | 3.1933 | 189.5 | 3.1033 | 192.8 | 19.304 | 894 | 85.5667 | 0.43467
2019-09-28 12:15:00 | 2.5033 | 175.4447 | 2.886 | 192.7867 | 2.748 | 185.2667 | 2.9233 | 204.2133 | 19.678 | 894 | 84.6733 | 0.448
2019-09-28 12:30:00 | 2.198 | 161.04 | 2.53 | 176.96 | 2.568 | 191.26 | 2.536 | 194.38 | 20.226 | 894 | 83.24 | 0.186
2019-09-28 12:45:00 | 2.6167 | 153.592 | 3.014 | 168.7733 | 3.2373 | 174.34 | 3.1013 | 188.5 | 21.0367 | 894 | 81.3867 | 0.284
2019-09-28 13:00:00 | 2.688 | 155.742 | 3.096 | 171.14 | 3.15 | 204.06 | 2.774 | 170.64 | 21.522 | 894 | 79.736 | 0.66733
2019-09-28 13:15:00 | 2.6413 | 167.6213 | 3.046 | 184.2 | 3.0867 | 172.1733 | 2.714 | 213.78 | 21.3987 | 893.9333 | 78.978 | 0.69
2019-09-28 13:30:00 | 2.428 | 142.006 | 2.794 | 156.04 | 2.93 | 178.9 | 2.984 | 175.98 | 21.268 | 893 | 79.736 | 0.74733
2019-09-28 13:45:00 | 2.6013 | 140.4953 | 2.9913 | 154.3867 | 3.05 | 174.5667 | 3.024 | 189.9933 | 21.3213 | 893 | 79.2173 | 0.76933
2019-09-28 14:00:00 | 2.634 | 143.11 | 3.028 | 157.26 | 3.176 | 158.7 | 3.252 | 169.5 | 21.34 | 893 | 79.094 | 0.83267
2019-09-28 14:15:00 | 2.7347 | 127.0867 | 3.1447 | 139.6467 | 3.2567 | 175.08 | 3.1867 | 181.92 | 21.206 | 893 | 80.2907 | 0.48933
2019-09-28 14:30:00 | 2.52 | 132.1967 | 2.8967 | 145.2667 | 3.0233 | 160.9 | 2.86 | 179.8333 | 21.136 | 893 | 80.034 | 0.33667
2019-09-28 14:45:00 | 2.06 | 120.774 | 2.3707 | 132.7133 | 2.5153 | 193.1933 | 2.5287 | 195.6933 | 21.3807 | 892.2667 | 79.5027 | 0.30667
2019-09-28 15:00:00 | 2.404 | 179.54 | 2.772 | 197.3 | 3.016 | 208.76 | 2.98 | 226.06 | 21.636 | 892 | 78.644 | 0.46467
2019-09-28 15:15:00 | 2.0613 | 171.8427 | 2.3693 | 188.8333 | 2.7227 | 177.7733 | 2.4147 | 205.8067 | 21.7147 | 892 | 79.28 | 0.45733
2019-09-28 15:30:00 | 2.0233 | 158.1867 | 2.3333 | 173.8333 | 2.5933 | 229.8667 | 2.65 | 234.6333 | 21.8733 | 892 | 79.12 | 0.822
2019-09-28 15:45:00 | 2.274 | 161.3667 | 2.6147 | 177.3267 | 2.9773 | 213.0933 | 2.8513 | 211.5667 | 22.1133 | 892 | 77.786 | 0.81133
2019-09-28 16:00:00 | 2.064 | 156.182 | 2.376 | 171.62 | 2.566 | 198.82 | 2.502 | 188.52 | 22.2 | 892 | 77.806 | 0.73867
2019-09-28 16:15:00 | 2.7093 | 139.8807 | 3.124 | 153.7133 | 3.2167 | 179.9933 | 3.026 | 209.72 | 22.216 | 892 | 76.7967 | 0.85
2019-09-28 16:30:00 | 2.784 | 163.694 | 3.204 | 179.88 | 3.252 | 183.1 | 3.154 | 196.98 | 21.68 | 892 | 78.558 | 0.45267
2019-09-28 16:45:00 | 1.7667 | 151.998 | 2.036 | 164.2333 | 2.3067 | 193.9333 | 2.2 | 203.5 | 21.512 | 891.9333 | 81.3933 | 0.50067
2019-09-28 17:00:00 | 1.7333 | 177.724 | 2.0067 | 195.9 | 2.6733 | 221.4667 | 2.7533 | 226.2333 | 21.4 | 891 | 82.0333 | 1.024
2019-09-28 17:15:00 | 1.884 | 168.056 | 2.174 | 185.9933 | 2.9167 | 216.7733 | 2.9167 | 223.6733 | 21.0747 | 891 | 82.2667 | 1.0767
2019-09-28 17:30:00 | 1.916 | 170.182 | 2.208 | 187 | 2.906 | 213.26 | 2.976 | 220.32 | 20.924 | 891 | 83.08 | 1.0613
2019-09-28 17:45:00 | 1.6893 | 172.7607 | 1.9467 | 190.86 | 2.678 | 220.3867 | 2.716 | 216.9533 | 21.046 | 891 | 81.5267 | 0.44467
2019-09-28 18:00:00 | 1.738 | 168.092 | 2.008 | 185.3333 | 2.48 | 206.3333 | 2.57 | 214.9667 | 20.84 | 891 | 80.46 | 0.18867
2019-09-28 18:15:00 | 1.62 | 179.8307 | 1.866 | 197.6067 | 2.2387 | 199.6333 | 2.3013 | 203.0133 | 20.5747 | 891 | 80.9333 | 0.54067
2019-09-28 18:30:00 | 1.572 | 177.418 | 1.818 | 194.96 | 2.444 | 200.42 | 2.474 | 203.46 | 20.388 | 891 | 81.46 | 0.868
2019-09-28 18:45:00 | 1.6693 | 176.9207 | 1.9327 | 194.4133 | 2.7 | 212.78 | 2.7953 | 209.62 | 20.06 | 890.9333 | 82.1133 | 1.6207
2019-09-28 19:00:00 | 2.3667 | 172.4167 | 2.7233 | 189.4667 | 3.4667 | 206.8333 | 3.3267 | 203.1667 | 19.7767 | 890 | 82.8333 | 1.928
2019-09-28 19:15:00 | 2.3327 | 175.9687 | 2.6847 | 193.3667 | 3.194 | 199.1133 | 2.9527 | 197.7733 | 19.692 | 890 | 83.2733 | 1.8113
2019-09-28 19:30:00 | 2.272 | 177.476 | 2.624 | 195.02 | 2.954 | 195.62 | 2.856 | 198.02 | 19.684 | 890 | 83.38 | 1.5253
2019-09-28 19:45:00 | 1.8687 | 171.092 | 2.1547 | 188.0067 | 2.462 | 188.7933 | 2.5027 | 197.1933 | 19.658 | 890 | 83.7533 | 2.1167
2019-09-28 20:00:00 | 2.086 | 173.932 | 2.404 | 191.12 | 2.744 | 187.18 | 2.766 | 195.06 | 19.54 | 890 | 84.08 | 1.756
2019-09-28 20:15:00 | 1.98 | 176.2587 | 2.28 | 193.7867 | 2.582 | 184.7667 | 3.0407 | 193.64 | 19.4733 | 890.7333 | 84.64 | 1.7673
2019-09-28 20:30:00 | 1.6133 | 177.36 | 1.8533 | 194.9 | 2.3967 | 188.6 | 2.6833 | 193.92 | 19.3967 | 891 | 85.2 | 2.094
2019-09-28 20:45:00 | 2.1213 | 177.264 | 2.444 | 194.7933 | 2.7753 | 189.58 | 3.196 | 191.1933 | 19.2413 | 891 | 86.4933 | 1.8273
2019-09-28 21:00:00 | 1.892 | 177.04 | 2.186 | 194.54 | 2.666 | 194 | 3.28 | 189.3 | 19.296 | 891 | 86.02 | 1.6293
2019-09-28 21:15:00 | 1.7987 | 172.7573 | 2.0673 | 189.84 | 2.5793 | 200.8 | 3.0787 | 194.1267 | 19.3227 | 891 | 85.98 | 1.3033
2019-09-28 21:30:00 | 1.746 | 177.654 | 2.006 | 195.22 | 2.614 | 193.98 | 2.996 | 195.4 | 19.348 | 891 | 86.38 | 0.76067
2019-09-28 21:45:00 | 2.1307 | 175.1093 | 2.4487 | 192.4333 | 2.9747 | 185.7267 | 2.9713 | 194.1933 | 19.0507 | 891 | 87.6933 | 0.486
2019-09-28 22:00:00 | 2.1167 | 153.5733 | 2.4367 | 168.7667 | 3.14 | 190.3 | 3.62 | 181.3333 | 18.958 | 891 | 88.9 | 0.668
2019-09-28 22:15:00 | 2.2933 | 172.336 | 2.646 | 189.3667 | 3.1667 | 190.5867 | 3.6047 | 182.1533 | 19.004 | 891.0667 | 89.26 | 0.74
2019-09-28 22:30:00 | 2.074 | 174.122 | 2.382 | 191.34 | 2.882 | 197.46 | 3.33 | 179.28 | 19.11 | 892 | 88.04 | 1.71
2019-09-28 22:45:00 | 1.8347 | 152.8673 | 2.1213 | 167.9867 | 2.5293 | 188.36 | 3.3373 | 168.0067 | 19.1313 | 892 | 86.6 | 1.6613
2019-09-28 23:00:00 | 1.34 | 149.372 | 1.55 | 164.14 | 2.0667 | 159.3 | 3.5233 | 161.66 | 19 | 892 | 86.8667 | 1.1733
2019-09-28 23:15:00 | 0.95533 | 149.4867 | 1.1013 | 164.2667 | 1.728 | 153.1067 | 3.0027 | 165.1733 | 18.8247 | 892 | 87.48 | 1.412
2019-09-28 23:30:00 | 1.296 | 149.492 | 1.494 | 164.28 | 2.218 | 164.42 | 3.412 | 167.86 | 18.706 | 891.6 | 87.92 | 1.1887
2019-09-28 23:45:00 | 1.6907 | 152.9787 | 1.9527 | 168.1067 | 2.35 | 169.86 | 3.0693 | 171.7 | 18.6507 | 891 | 87.92 | 0.20867