## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2019-09-29 00:00:00 | 1.3843 | 158.1986 | 1.5893 | 173.8357 | 2.1514 | 164.65 | 2.7136 | 179.5286 | 18.62 | 891 | 87.9286 | 0.51071
2019-09-29 00:15:00 | 1.6453 | 174.3813 | 1.89 | 191.62 | 2.2573 | 179.7067 | 2.9947 | 182.62 | 18.5653 | 891 | 88.6267 | 0.604
2019-09-29 00:30:00 | 1.392 | 173.212 | 1.598 | 190.34 | 2.13 | 173.74 | 2.982 | 178.26 | 18.484 | 891 | 89.28 | 0.39933
2019-09-29 00:45:00 | 1.596 | 171.9987 | 1.8473 | 189.0067 | 2.1873 | 185.7533 | 3.178 | 193.3133 | 18.2827 | 891 | 90.2133 | 0.472
2019-09-29 01:00:00 | 1.148 | 172.27 | 1.33 | 189.3 | 1.708 | 187.96 | 2.26 | 198.46 | 18.14 | 891 | 90.82 | 0.278
2019-09-29 01:15:00 | 1.02 | 179.9073 | 1.1807 | 197.6933 | 1.5827 | 188.84 | 1.8453 | 190.02 | 17.9387 | 891 | 91.7 | 0.28667
2019-09-29 01:30:00 | 1.116 | 180.4 | 1.29 | 198.24 | 1.494 | 187.22 | 2.116 | 190 | 17.87 | 891 | 92.06 | 0.24267
2019-09-29 01:45:00 | 1.072 | 180.3687 | 1.2407 | 198.2067 | 1.6073 | 182.7133 | 2.2107 | 189.4 | 17.6887 | 891 | 92.6533 | 0.66533
2019-09-29 02:00:00 | 1.082 | 180.126 | 1.246 | 197.94 | 1.72 | 184.76 | 2.008 | 200.46 | 17.546 | 891 | 93.44 | 0.70667
2019-09-29 02:15:00 | 0.922 | 170.324 | 1.0673 | 187.1733 | 1.5627 | 189.6 | 2.048 | 194.3 | 17.5087 | 891 | 93.4667 | 0.48667
2019-09-29 02:30:00 | 0.564 | 169.62 | 0.646 | 186.4 | 1.02 | 184.4333 | 1.8033 | 203.1667 | 17.37 | 891 | 93.8 | 0.43867
2019-09-29 02:45:00 | 0.47267 | 169.62 | 0.55467 | 186.4 | 0.93933 | 189.3733 | 2.2007 | 203.8133 | 17.2547 | 890.9333 | 93.9867 | 0.354
2019-09-29 03:00:00 | 0.416 | 169.66 | 0.486 | 186.44 | 0.826 | 199.68 | 2.124 | 208.52 | 17.21 | 890 | 94.16 | 0.51333
2019-09-29 03:15:00 | 0.81867 | 201.172 | 0.94067 | 221.06 | 1.5913 | 199.8733 | 2.5413 | 198.7333 | 17.3473 | 890 | 93.2533 | 0.75133
2019-09-29 03:30:00 | 0.60667 | 213 | 0.7 | 234.06 | 1.1933 | 199.9 | 2.4933 | 197.9333 | 17.1533 | 890 | 94.1333 | 1.0653
2019-09-29 03:45:00 | 0.81133 | 212.742 | 0.93733 | 233.78 | 1.6127 | 199.9067 | 2.0607 | 198.8 | 17.0253 | 890 | 94.4867 | 1.1613
2019-09-29 04:00:00 | 0.532 | 212.67 | 0.62 | 233.7 | 1.062 | 200 | 1.922 | 203.22 | 17.054 | 890 | 94.12 | 1.0373
2019-09-29 04:15:00 | 0.564 | 212.67 | 0.64667 | 233.7 | 1.1247 | 204.3733 | 1.842 | 207.82 | 16.9127 | 890 | 94.84 | 1.0447
2019-09-29 04:30:00 | 0.796 | 212.71 | 0.916 | 233.74 | 1.582 | 216.4 | 1.88 | 217.64 | 16.818 | 890 | 95.52 | 1.104
2019-09-29 04:45:00 | 0.73533 | 216.1607 | 0.84267 | 237.5267 | 1.4607 | 216.4 | 1.8247 | 220.3267 | 16.8667 | 890 | 95.5333 | 1.2473
2019-09-29 05:00:00 | 0.616 | 216.31 | 0.716 | 237.7 | 1.234 | 216.4 | 1.75 | 209.9 | 16.994 | 890 | 94.92 | 0.82133
2019-09-29 05:15:00 | 0.476 | 216.31 | 0.55067 | 237.7 | 0.95 | 216.32 | 1.8393 | 204.3733 | 17.2113 | 889.3333 | 93.16 | 0.57467
2019-09-29 05:30:00 | 0.36667 | 216.31 | 0.42 | 237.7 | 0.72333 | 216.2 | 1.78 | 195.0333 | 17.0367 | 890 | 94.2333 | 0.5
2019-09-29 05:45:00 | 0.374 | 216.31 | 0.43533 | 237.7 | 0.73133 | 216.2 | 1.472 | 190.3 | 16.834 | 890 | 95.2333 | 0.40267
2019-09-29 06:00:00 | 0.324 | 216.31 | 0.37 | 237.7 | 0.638 | 216.2 | 1.154 | 190.22 | 16.738 | 890 | 95.62 | 0.34933
2019-09-29 06:15:00 | 0.014667 | 231.2207 | 0.016667 | 254.0867 | 0.028667 | 216.2 | 0.12867 | 190.1 | 16.618 | 890 | 96.6067 | 0.488
2019-09-29 06:30:00 | 0 | 271.91 | 0 | 298.8 | 0 | 216.2 | 0.048 | 190.1 | 16.66 | 890 | 96.98 | 0.54267
2019-09-29 06:45:00 | 0 | 271.9047 | 0 | 298.7933 | 0 | 216.2 | 0.3 | 211.5867 | 16.6313 | 890 | 97.0533 | 0.57467
2019-09-29 07:00:00 | 0 | 271.83 | 0 | 298.7 | 0 | 216.2 | 0.406 | 270.5 | 16.508 | 890 | 97.12 | 0.618
2019-09-29 07:15:00 | 0 | 271.83 | 0 | 298.7 | 0 | 216.2 | 0.007333 | 270.5 | 16.478 | 890 | 97 | 0.49
2019-09-29 07:30:00 | 0.036 | 271.83 | 0.042 | 298.7 | 0.054 | 216.24 | 0 | 270.5 | 16.516 | 890 | 96.88 | 0.176
2019-09-29 07:45:00 | 0.494 | 282.1453 | 0.57267 | 310.04 | 0.986 | 136.3527 | 0 | 270.5 | 16.8293 | 890 | 96.1933 | 0.164
2019-09-29 08:00:00 | 0.228 | 301.798 | 0.264 | 331.64 | 0.456 | 349.4 | 0 | 270.5 | 16.99 | 890 | 95.94 | 0.084
2019-09-29 08:15:00 | 0.30467 | 301.21 | 0.35067 | 331 | 0.60133 | 349.4 | 0 | 270.5 | 17.084 | 890 | 95.78 | 0.062
2019-09-29 08:30:00 | 0.608 | 301.21 | 0.704 | 331 | 1.198 | 349.48 | 0.228 | 320.06 | 17.24 | 890.4 | 95.82 | 0
2019-09-29 08:45:00 | 0.94533 | 302.864 | 1.0987 | 332.82 | 1.874 | 351.5467 | 1.0973 | 353.0267 | 17.268 | 891 | 95.9533 | 0.056
2019-09-29 09:00:00 | 0.974 | 311.536 | 1.124 | 342.34 | 1.938 | 148.94 | 0.808 | 353.08 | 17.404 | 891 | 95.28 | 0
2019-09-29 09:15:00 | 1.0247 | 304.0353 | 1.1827 | 334.1067 | 2.042 | 8.3867 | 1.0373 | 353.1733 | 17.5973 | 891 | 94.1867 | 0
2019-09-29 09:30:00 | 0.752 | 304.458 | 0.87 | 334.56 | 1.504 | 213.48 | 0.346 | 352.8 | 17.942 | 891 | 91.5 | 0.01
2019-09-29 09:45:00 | 0.27867 | 308.8073 | 0.32133 | 339.3333 | 0.55067 | 353.4 | 0.016667 | 352.7333 | 18.248 | 891 | 89.7533 | 0
2019-09-29 10:00:00 | 0.266 | 309.118 | 0.306 | 339.68 | 0.518 | 353.4 | 0.072 | 306.3 | 18.408 | 891.4 | 88.72 | 0
2019-09-29 10:15:00 | 1.038 | 31.7813 | 1.2007 | 34.9133 | 1.742 | 38.5067 | 1.236 | 96.7533 | 18.6867 | 892 | 89.1067 | 0
2019-09-29 10:30:00 | 1.452 | 185.006 | 1.67 | 203.3 | 2.112 | 1.994 | 1.562 | 84.04 | 18.862 | 892 | 88.68 | 0
2019-09-29 10:45:00 | 1.24 | 101.3953 | 1.426 | 111.42 | 1.368 | 0.27933 | 0.17 | 313.2467 | 18.9247 | 892 | 87.2933 | 0
2019-09-29 11:00:00 | 0.392 | 309.642 | 0.458 | 340.26 | 0.228 | 0.15 | 0 | 292.4 | 18.882 | 892 | 86.22 | 0
2019-09-29 11:15:00 | 0.012 | 314.026 | 0.014 | 345.0733 | 0.005333 | 28.4833 | 0.02 | 244.5867 | 19.25 | 891.9333 | 87.9267 | 0
2019-09-29 11:30:00 | 0.572 | 132.91 | 0.656 | 146.046 | 0.854 | 49.616 | 0.326 | 100.746 | 19.496 | 891 | 89.86 | 0
2019-09-29 11:45:00 | 1.9647 | 183.532 | 2.2667 | 201.6807 | 2.6873 | 3.8073 | 1.9707 | 0.658 | 19.342 | 891.7333 | 88.2667 | 0
2019-09-29 12:00:00 | 2.1 | 24.024 | 2.414 | 26.392 | 2.818 | 10.726 | 2.294 | 7.752 | 19.548 | 892 | 86.98 | 0
2019-09-29 12:15:00 | 1.8427 | 15.6173 | 2.1167 | 17.2553 | 2.466 | 12.3187 | 2.0213 | 124.4047 | 19.9313 | 892 | 85.76 | 0
2019-09-29 12:30:00 | 1.616 | 16.68 | 1.866 | 18.32 | 2.252 | 13.068 | 1.652 | 351.72 | 20.028 | 891.6 | 84.76 | 0
2019-09-29 12:45:00 | 1.3993 | 7.9907 | 1.612 | 8.022 | 1.89 | 74.12 | 1.27 | 351.68 | 19.98 | 891 | 83.36 | 0
2019-09-29 13:00:00 | 1.084 | 2.314 | 1.258 | 2.538 | 1.158 | 352.6 | 0.452 | 305.08 | 19.972 | 891 | 82.64 | 0
2019-09-29 13:15:00 | 0.808 | 35.6473 | 0.932 | 36.81 | 0.79267 | 30.6647 | 0.364 | 296.5933 | 20.55 | 891 | 83.1733 | 0
2019-09-29 13:30:00 | 1.078 | 64.04 | 1.246 | 70.376 | 1.222 | 83.724 | 0.718 | 221.88 | 21.214 | 891 | 81.64 | 0
2019-09-29 13:45:00 | 0.96 | 111.3187 | 1.11 | 122.8333 | 1.1867 | 135.5667 | 1.0333 | 109.7 | 21.9267 | 891 | 78.7067 | 0
2019-09-29 14:00:00 | 1.666 | 157.8333 | 1.924 | 173.4333 | 1.9867 | 170.3667 | 1.82 | 169.9333 | 22.2133 | 891 | 79.6133 | 0
2019-09-29 14:15:00 | 1.9487 | 175.3827 | 2.24 | 192.7267 | 2.0693 | 182.4333 | 1.9747 | 197.54 | 22.0993 | 890.9333 | 80.5147 | 0
2019-09-29 14:30:00 | 2.202 | 167.002 | 2.534 | 183.52 | 2.306 | 215.96 | 2.282 | 203.28 | 22.16 | 890 | 78.636 | 0
2019-09-29 14:45:00 | 2.282 | 144.7347 | 2.6273 | 159.0467 | 2.6453 | 173.5333 | 2.338 | 199.9867 | 22.428 | 890 | 76.654 | 0
2019-09-29 15:00:00 | 2.3933 | 168.17 | 2.75 | 184.8 | 2.86 | 191.2667 | 2.8867 | 222.1333 | 22.32 | 890 | 75.9967 | 0
2019-09-29 15:15:00 | 2.32 | 144.5667 | 2.67 | 158.8667 | 2.8433 | 208.7333 | 2.7267 | 211.6 | 22.5133 | 890 | 74.8833 | 0
2019-09-29 15:30:00 | 1.932 | 139.922 | 2.23 | 153.76 | 2.418 | 205.38 | 2.58 | 224.9 | 22.796 | 890 | 74.29 | 0
2019-09-29 15:45:00 | 2.1933 | 180.178 | 2.522 | 199.5467 | 3.0493 | 229.76 | 2.8953 | 226.8333 | 22.732 | 890 | 74.5907 | 0
2019-09-29 16:00:00 | 2.144 | 180.16 | 2.472 | 197.98 | 2.75 | 234.7 | 2.804 | 222.46 | 23.026 | 890 | 73.29 | 0
2019-09-29 16:15:00 | 2.168 | 171.4107 | 2.496 | 188.3667 | 3.0193 | 218.7 | 2.9253 | 231.5267 | 22.6327 | 890 | 74.4247 | 0
2019-09-29 16:30:00 | 1.772 | 172.448 | 2.042 | 189.5 | 2.732 | 229.4 | 2.802 | 219.94 | 22.354 | 890 | 76.802 | 0
2019-09-29 16:45:00 | 1.2907 | 169.6933 | 1.486 | 186.74 | 1.7253 | 211.5533 | 1.7667 | 242.16 | 22.8267 | 890 | 73.338 | 0
2019-09-29 17:00:00 | 1.204 | 179.568 | 1.394 | 197.32 | 1.746 | 207.7 | 1.676 | 224.86 | 22.754 | 890 | 74.428 | 0
2019-09-29 17:15:00 | 1.1333 | 177.4347 | 1.3167 | 194.9733 | 1.8067 | 240.1333 | 1.9133 | 241.9267 | 22.9373 | 890 | 73.634 | 0
2019-09-29 17:30:00 | 1.484 | 162.704 | 1.708 | 178.8 | 2.212 | 224.48 | 2.058 | 228 | 22.74 | 890 | 73.862 | 0
2019-09-29 17:45:00 | 1.452 | 180.596 | 1.6733 | 198.4533 | 2.1627 | 213.9333 | 2.162 | 214.2133 | 22.0947 | 890 | 75.7687 | 0
2019-09-29 18:00:00 | 1.518 | 178.038 | 1.756 | 195.64 | 2.2 | 207.78 | 2.196 | 208.84 | 21.672 | 890 | 77.894 | 0
2019-09-29 18:15:00 | 1.686 | 179.3367 | 1.9493 | 197.0667 | 2.5427 | 207.9133 | 2.388 | 214.0533 | 21.332 | 889.2667 | 79.4353 | 0.064667
2019-09-29 18:30:00 | 1.898 | 174.558 | 2.196 | 191.82 | 2.73 | 212.6 | 2.74 | 205.36 | 21.006 | 889 | 80.84 | 0.12533
2019-09-29 18:45:00 | 1.8153 | 185.4867 | 2.0873 | 205.08 | 2.744 | 213.78 | 2.764 | 209.86 | 20.648 | 889 | 82.76 | 0.1
2019-09-29 19:00:00 | 1.28 | 173.81 | 1.48 | 191 | 1.914 | 200.28 | 2.196 | 196.74 | 20.39 | 889 | 84.5 | 0.20933
2019-09-29 19:15:00 | 0.758 | 173.8887 | 0.87333 | 191.08 | 1.3487 | 195.6733 | 1.5787 | 197.2467 | 20.1487 | 889 | 85.1133 | 0.448
2019-09-29 19:30:00 | 0.8 | 174.098 | 0.924 | 191.32 | 1.262 | 195.74 | 1.468 | 204.8 | 20.244 | 888.6 | 84.24 | 0.398
2019-09-29 19:45:00 | 0.84133 | 174.26 | 0.97467 | 191.5 | 1.446 | 195.8 | 1.4533 | 204.8 | 20.2173 | 888 | 83.9867 | 0.25333
2019-09-29 20:00:00 | 1.024 | 174.26 | 1.174 | 191.5 | 1.592 | 195.76 | 1.688 | 204.8 | 20.032 | 888 | 85.24 | 0.114
2019-09-29 20:15:00 | 0.78267 | 174.26 | 0.898 | 191.5 | 1.4433 | 195.7 | 1.456 | 204.8 | 19.8547 | 888.0667 | 86.5067 | 0
2019-09-29 20:30:00 | 0.256 | 174.26 | 0.294 | 191.5 | 0.512 | 195.7 | 0.46 | 204.8 | 19.672 | 889 | 87.44 | 0
2019-09-29 20:45:00 | 0.005333 | 174.26 | 0.006 | 191.5 | 0.010667 | 195.7 | 0.010667 | 204.7333 | 19.656 | 889 | 87.4133 | 0.033333
2019-09-29 21:00:00 | 0 | 174.26 | 0 | 191.5 | 0 | 195.7 | 0 | 204.8 | 19.668 | 889 | 87.52 | 0
2019-09-29 21:15:00 | 0.066667 | 174.2673 | 0.077333 | 191.5067 | 0 | 195.7 | 0 | 204.8 | 19.628 | 889 | 87.8467 | 0
2019-09-29 21:30:00 | 0.808 | 257.788 | 0.938 | 283.28 | 0.57 | 80.698 | 0 | 204.76 | 19.624 | 889 | 87.82 | 0
2019-09-29 21:45:00 | 1.7847 | 310.2967 | 2.0573 | 340.98 | 2.156 | 17.244 | 0.52 | 232.0987 | 19.418 | 889 | 88.8733 | 0
2019-09-29 22:00:00 | 1.892 | 317.934 | 2.182 | 349.38 | 2.444 | 20.626 | 1.128 | 20.792 | 19.258 | 889 | 89.78 | 0
2019-09-29 22:15:00 | 1.7627 | 312.3433 | 2.026 | 343.2333 | 2.14 | 17.0007 | 0.45467 | 16.9413 | 19.2087 | 889 | 90.0333 | 0.015333
2019-09-29 22:30:00 | 1.896 | 311.5407 | 2.1873 | 344.04 | 2.356 | 15.208 | 0.794 | 17.826 | 19.148 | 889 | 90.28 | 0
2019-09-29 22:45:00 | 1.9933 | 319.4713 | 2.3007 | 351.0667 | 2.48 | 6.092 | 2.098 | 22.5593 | 18.8853 | 889 | 91.48 | 0.15533
2019-09-29 23:00:00 | 2.084 | 320.434 | 2.396 | 352.12 | 2.468 | 7.318 | 1.262 | 19.036 | 18.778 | 889 | 92.32 | 0.38733
2019-09-29 23:15:00 | 2.0533 | 317.6173 | 2.36 | 349.0267 | 2.3787 | 6.3927 | 0.72867 | 19.3587 | 18.616 | 889 | 93.0667 | 0.076667
2019-09-29 23:30:00 | 2.2667 | 321.5067 | 2.6067 | 353.3 | 2.7067 | 2.3033 | 1.9867 | 16.04 | 18.4967 | 889 | 93.6667 | 0
2019-09-29 23:45:00 | 2.3533 | 216.3887 | 2.71 | 237.7767 | 3.2773 | 2.6333 | 3.0293 | 7.9933 | 18.196 | 889 | 95.0667 | 0.07