## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2019-09-30 00:00:00 | 2.52 | 164.79 | 2.905 | 181.085 | 3.685 | 3.72 | 3.47 | 7.81 | 17.89 | 889 | 96.3 | 0.13143
2019-09-30 00:15:00 | 3.1 | 106.1227 | 3.564 | 116.6067 | 4.262 | 11.7313 | 4.2327 | 12.0127 | 17.6447 | 888.9333 | 97.5733 | 0.434
2019-09-30 00:30:00 | 3.292 | 134.928 | 3.784 | 148.268 | 4.332 | 7.77 | 4.024 | 8.312 | 17.616 | 888 | 97.36 | 0.35133
2019-09-30 00:45:00 | 3.404 | 91.504 | 3.916 | 100.552 | 4.6147 | 1.482 | 4.0693 | 1.7453 | 17.5267 | 888 | 97.3533 | 0.582
2019-09-30 01:00:00 | 3.768 | 314.498 | 4.336 | 345.6 | 4.58 | 0.986 | 4.252 | 6.122 | 17.652 | 888 | 96.76 | 1.3027
2019-09-30 01:15:00 | 3.482 | 232.8587 | 4.004 | 255.8787 | 4.45 | 3.3913 | 4.6953 | 10.8 | 17.5413 | 888 | 96.84 | 2.634
2019-09-30 01:30:00 | 3.332 | 175.186 | 3.832 | 192.508 | 4.448 | 0.57 | 4.782 | 21.66 | 17.326 | 888 | 97.92 | 2.2287
2019-09-30 01:45:00 | 3.5773 | 316.3273 | 4.12 | 347.6133 | 4.284 | 250.0033 | 4.782 | 14.004 | 17.2273 | 888 | 98.5867 | 1.4053
2019-09-30 02:00:00 | 3.504 | 293.31 | 4.034 | 322.32 | 4.238 | 21.33 | 4.724 | 10.954 | 17.234 | 888 | 98.72 | 0.788
2019-09-30 02:15:00 | 3.4893 | 317.2113 | 4.018 | 348.5733 | 4.4127 | 4.026 | 4.7373 | 17.518 | 17.4273 | 888 | 97.9467 | 0.71933
2019-09-30 02:30:00 | 3.3733 | 117.9067 | 3.8833 | 129.56 | 4.34 | 4.68 | 4.6367 | 12.9567 | 17.4833 | 888 | 97.36 | 0.806
2019-09-30 02:45:00 | 3.598 | 274.002 | 4.138 | 301.092 | 4.3253 | 3.7653 | 4.5353 | 8.3147 | 17.3433 | 888 | 97.72 | 0.67533
2019-09-30 03:00:00 | 3.774 | 311.02 | 4.34 | 341.78 | 4.59 | 0.15 | 4.702 | 5.698 | 17.118 | 887.6 | 98.32 | 0.63
2019-09-30 03:15:00 | 3.9593 | 102.92 | 4.5533 | 113.0933 | 4.656 | 5.9487 | 4.8527 | 2.654 | 17.0033 | 887 | 98.32 | 1.3133
2019-09-30 03:30:00 | 3.81 | 312.662 | 4.382 | 343.58 | 4.744 | 29.19 | 4.952 | 5.794 | 16.82 | 887 | 99.02 | 2.124
2019-09-30 03:45:00 | 3.9047 | 25.458 | 4.4913 | 27.9747 | 4.92 | 3.3447 | 4.82 | 5.994 | 16.8033 | 887 | 99.8067 | 1.2727
2019-09-30 04:00:00 | 3.528 | 200.342 | 4.058 | 220.152 | 4.574 | 3.87 | 4.684 | 13.776 | 16.846 | 887 | 99.58 | 0.33733
2019-09-30 04:15:00 | 3.6467 | 239.4047 | 4.1967 | 263.072 | 4.7047 | 9.478 | 4.5293 | 8.4067 | 16.7647 | 887 | 99.4267 | 1.132
2019-09-30 04:30:00 | 3.9627 | 153.184 | 4.5567 | 168.3373 | 4.8713 | 3.6547 | 5.0267 | 11.5327 | 16.682 | 887 | 99.4 | 3.202
2019-09-30 04:45:00 | 3.588 | 210.924 | 4.1253 | 231.7833 | 4.8587 | 4.742 | 5.4967 | 19.09 | 16.57 | 887 | 99.8667 | 3.0173
2019-09-30 05:00:00 | 3.84 | 188.39 | 4.412 | 207.02 | 4.92 | 214.84 | 5.632 | 12.31 | 16.512 | 886.6 | 99.94 | 2.0173
2019-09-30 05:15:00 | 3.9427 | 114.0607 | 4.5413 | 125.34 | 4.8893 | 29.6067 | 5.3947 | 7.9527 | 16.698 | 886 | 99.7467 | 2.2007
2019-09-30 05:30:00 | 3.554 | 134.178 | 4.088 | 147.442 | 4.722 | 23.026 | 5.212 | 7.484 | 16.558 | 886 | 99.58 | 1.912
2019-09-30 05:45:00 | 4.01 | 298.1007 | 4.612 | 327.578 | 4.914 | 3.362 | 5.2827 | 12.9147 | 16.378 | 886 | 99.98 | 2.134
2019-09-30 06:00:00 | 4.35 | 320.606 | 5.006 | 352.3 | 5.54 | 1.402 | 5.62 | 9.588 | 16.52 | 886.4 | 100 | 1.954
2019-09-30 06:15:00 | 4.1693 | 205.1927 | 4.802 | 225.4907 | 5.3587 | 2.0293 | 5.1353 | 12.5187 | 16.69 | 887 | 99.4467 | 1.4613
2019-09-30 06:30:00 | 4.208 | 7.176 | 4.842 | 7.882 | 5.452 | 4.456 | 4.69 | 9.554 | 16.63 | 887 | 99.34 | 1.5833
2019-09-30 06:45:00 | 4.38 | 93.1093 | 5.038 | 102.314 | 5.5453 | 95.4867 | 5.0527 | 1.106 | 16.43 | 887 | 99.4667 | 2.0747
2019-09-30 07:00:00 | 4.376 | 310.812 | 5.036 | 341.54 | 5.354 | 145.054 | 5.488 | 1.648 | 16.286 | 887 | 98.92 | 2.178
2019-09-30 07:15:00 | 4.448 | 80.592 | 5.1233 | 88.564 | 5.5173 | 10.356 | 5.9493 | 10.15 | 16.342 | 887 | 99.0333 | 2.632
2019-09-30 07:30:00 | 4.64 | 309.42 | 5.342 | 340.02 | 5.646 | 3.056 | 5.722 | 7.942 | 16.454 | 887 | 99.28 | 1.926
2019-09-30 07:45:00 | 4.504 | 302.116 | 5.1793 | 331.9933 | 5.454 | 332.5173 | 5.7513 | 8.8353 | 16.518 | 887 | 99 | 2.1933
2019-09-30 08:00:00 | 4.094 | 130.35 | 4.712 | 143.236 | 5.456 | 146.746 | 5.506 | 6.664 | 16.356 | 887 | 99.62 | 1.8547
2019-09-30 08:15:00 | 3.9713 | 209.57 | 4.5667 | 230.2973 | 5.0867 | 1.338 | 5.11 | 10.976 | 16.282 | 887 | 99.9733 | 2.174
2019-09-30 08:30:00 | 3.864 | 5.318 | 4.45 | 6.042 | 5.118 | 6.514 | 5.38 | 8.812 | 16.28 | 887 | 100 | 3.5253
2019-09-30 08:45:00 | 3.7013 | 32.7053 | 4.2593 | 35.9393 | 4.9833 | 3.3407 | 5.864 | 9.324 | 16.3453 | 887 | 100 | 3.6427
2019-09-30 09:00:00 | 3.5133 | 190.898 | 4.0387 | 209.774 | 4.9527 | 8.6447 | 5.6733 | 192.3327 | 16.378 | 887 | 100 | 3.5833
2019-09-30 09:15:00 | 3.82 | 312.012 | 4.39 | 342.86 | 5.108 | 1.876 | 5.528 | 9.036 | 16.626 | 887.0667 | 99.94 | 2.6347
2019-09-30 09:30:00 | 3.918 | 130.44 | 4.512 | 143.342 | 5.086 | 24.982 | 5.386 | 9.944 | 16.824 | 888 | 98.62 | 1.6433
2019-09-30 09:45:00 | 3.926 | 292.2187 | 4.5187 | 321.118 | 5.1673 | 5.5633 | 5.5007 | 4.0333 | 16.948 | 888 | 97.1933 | 1.8393
2019-09-30 10:00:00 | 3.762 | 320.464 | 4.332 | 352.16 | 5.08 | 17.17 | 5.214 | 8.738 | 17.04 | 888 | 96.76 | 1.4693
2019-09-30 10:15:00 | 3.754 | 238.1533 | 4.316 | 261.696 | 5.0513 | 4.6207 | 5.3767 | 5.334 | 17.2253 | 888 | 96.12 | 1.776
2019-09-30 10:30:00 | 3.532 | 31.978 | 4.06 | 35.138 | 5.018 | 9.884 | 5.576 | 10.868 | 17.524 | 888 | 95.62 | 1.1487
2019-09-30 10:45:00 | 3.596 | 11.65 | 4.1373 | 12.8047 | 5.0047 | 5.2053 | 5.148 | 9.836 | 17.9787 | 888 | 94.1533 | 0.684
2019-09-30 11:00:00 | 3.54 | 186.13 | 4.072 | 227.04 | 5.0267 | 7.78 | 4.96 | 57.3567 | 18.5433 | 888 | 92.4 | 0.53133
2019-09-30 11:15:00 | 3.1307 | 48.8633 | 3.6027 | 53.6947 | 4.5847 | 9.268 | 4.5107 | 8.9173 | 19.2093 | 888.0667 | 90.1733 | 0.166
2019-09-30 11:30:00 | 3.272 | 12.572 | 3.768 | 13.816 | 4.258 | 11.274 | 4.45 | 10.884 | 19.224 | 889 | 89.36 | 0.292
2019-09-30 11:45:00 | 3.0613 | 89.064 | 3.532 | 97.8693 | 4.2793 | 9.0767 | 4.4967 | 19.824 | 19.452 | 889 | 88.46 | 0
2019-09-30 12:00:00 | 3.086 | 133.6 | 3.552 | 146.81 | 3.726 | 219.208 | 3.772 | 18.764 | 19.642 | 889 | 87.9 | 0
2019-09-30 12:15:00 | 2.4513 | 8.7227 | 2.82 | 10.5887 | 2.9327 | 31.122 | 2.684 | 8.2673 | 20.1173 | 889 | 87.1933 | 0
2019-09-30 12:30:00 | 2.2 | 193.85 | 2.532 | 213.024 | 2.78 | 12.714 | 1.938 | 14.718 | 20.856 | 889 | 85.36 | 0
2019-09-30 12:45:00 | 1.2667 | 38.3927 | 1.4587 | 42.188 | 1.5613 | 23.8713 | 1.09 | 244.198 | 21.3333 | 889 | 82.6533 | 0
2019-09-30 13:00:00 | 0.7 | 79.2367 | 0.81 | 87.06 | 0.79333 | 124.0967 | 1.11 | 192.6667 | 21.8067 | 889 | 80.2667 | 0
2019-09-30 13:15:00 | 1.7547 | 145.0213 | 2.026 | 159.3533 | 1.9027 | 186.98 | 2.0387 | 218.24 | 22.2253 | 888.2667 | 81.8467 | 0.37133
2019-09-30 13:30:00 | 1.888 | 159.17 | 2.182 | 174.9 | 2.028 | 200.32 | 2.614 | 211.6 | 22.366 | 888 | 83.38 | 0.46533
2019-09-30 13:45:00 | 2.0867 | 156.5607 | 2.406 | 172.0467 | 2.4 | 202.8933 | 2.5353 | 221.7733 | 22.7887 | 888 | 79.5 | 0.27933
2019-09-30 14:00:00 | 1.956 | 159.888 | 2.262 | 175.7 | 2.416 | 194.18 | 2.418 | 209.08 | 23.172 | 888 | 75.844 | 0.384
2019-09-30 14:15:00 | 2.3787 | 151.9147 | 2.734 | 166.94 | 2.8347 | 216.7 | 3.0113 | 172.0133 | 23.3487 | 888 | 73.172 | 0.53667
2019-09-30 14:30:00 | 2.436 | 167.754 | 2.804 | 184.34 | 2.992 | 215.52 | 3.33 | 195.96 | 23.472 | 888 | 73.886 | 0.48733
2019-09-30 14:45:00 | 2.6427 | 164.314 | 3.0387 | 180.5667 | 3.2933 | 181.1733 | 3.6087 | 190.9067 | 23.6547 | 888 | 72.0367 | 0.254
2019-09-30 15:00:00 | 2.3067 | 173.1133 | 2.6533 | 190.2333 | 3.0433 | 179.1 | 3.4367 | 208.7 | 23.4633 | 888 | 74.0567 | 0.082667
2019-09-30 15:15:00 | 1.9953 | 147.3947 | 2.3053 | 161.9733 | 2.5193 | 191.56 | 2.8153 | 193.2133 | 23.3053 | 888 | 75.362 | 0
2019-09-30 15:30:00 | 2.12 | 147.598 | 2.444 | 162.2 | 2.748 | 203.04 | 3.134 | 189.72 | 23.216 | 887.6 | 76.462 | 0.068
2019-09-30 15:45:00 | 2.2507 | 162.226 | 2.5853 | 178.2667 | 2.9893 | 201.8267 | 3.274 | 205.4 | 22.9873 | 887 | 76.78 | 0
2019-09-30 16:00:00 | 2.1133 | 155.7967 | 2.4333 | 171.2 | 2.92 | 208.0333 | 3.0333 | 227.3 | 22.9567 | 887 | 77.17 | 0
2019-09-30 16:15:00 | 2.1533 | 168.0733 | 2.4853 | 184.6867 | 3.068 | 222.1133 | 2.7127 | 217.7867 | 23.1027 | 887 | 76.4627 | 0
2019-09-30 16:30:00 | 2.348 | 176.854 | 2.702 | 194.34 | 3.212 | 210.92 | 3.202 | 216.5 | 23.174 | 887 | 74.148 | 0
2019-09-30 16:45:00 | 1.9053 | 165.6513 | 2.194 | 182.0333 | 2.58 | 202.7467 | 2.562 | 208.0067 | 22.9967 | 887 | 76.6107 | 0
2019-09-30 17:00:00 | 1.856 | 170.972 | 2.132 | 187.88 | 2.418 | 212.54 | 2.71 | 199.28 | 22.814 | 887 | 76.07 | 0
2019-09-30 17:15:00 | 1.7913 | 181.2713 | 2.0607 | 199.2 | 2.388 | 206.5333 | 2.6833 | 198.6 | 22.454 | 886.9333 | 79.6047 | 0.022
2019-09-30 17:30:00 | 1.926 | 190.808 | 2.214 | 209.68 | 2.736 | 203.24 | 2.864 | 211.36 | 22.226 | 886 | 80.96 | 0.77467
2019-09-30 17:45:00 | 2.018 | 169.8413 | 2.322 | 186.64 | 3.1507 | 242.6 | 3.0427 | 224.7867 | 21.9113 | 886 | 84.8067 | 1.7887
2019-09-30 18:00:00 | 2 | 174.864 | 2.302 | 192.16 | 2.99 | 218.56 | 3.006 | 213.5 | 21.65 | 886 | 86.9 | 2.3793
2019-09-30 18:15:00 | 1.596 | 164.6153 | 1.8473 | 180.8933 | 2.4033 | 209.2533 | 2.778 | 200.4867 | 21.4647 | 886 | 87.3733 | 2.0613
2019-09-30 18:30:00 | 1.218 | 178.036 | 1.404 | 195.64 | 1.868 | 214.9 | 2.446 | 187.48 | 21.388 | 886 | 87.36 | 1.7127
2019-09-30 18:45:00 | 1.53 | 168.8707 | 1.76 | 185.5733 | 2.412 | 191.9667 | 2.8607 | 192.3467 | 21.2267 | 886 | 87.7467 | 1.6067
2019-09-30 19:00:00 | 1.424 | 175.8587 | 1.648 | 193.2533 | 2.3867 | 209.5533 | 2.4287 | 206.6533 | 21.014 | 886 | 89.1733 | 1.138
2019-09-30 19:15:00 | 1.972 | 204.2887 | 2.278 | 224.4933 | 3.2893 | 221.46 | 3.2307 | 215.22 | 20.8913 | 886 | 88.62 | 1.1173
2019-09-30 19:30:00 | 1.632 | 183.152 | 1.89 | 201.26 | 2.812 | 224.12 | 2.794 | 227.3 | 20.968 | 886 | 85.86 | 0.86533
2019-09-30 19:45:00 | 1.2867 | 203.944 | 1.4767 | 224.1133 | 2.1933 | 207.1867 | 1.9087 | 221.94 | 21.1253 | 886 | 82.1533 | 1.0307
2019-09-30 20:00:00 | 0.57 | 183.3 | 0.66 | 201.4333 | 1.0433 | 201.2333 | 1.6867 | 204.0667 | 21.1133 | 886 | 83.4333 | 1.2567
2019-09-30 20:15:00 | 1.2213 | 180.7613 | 1.4147 | 198.64 | 2.0787 | 199.1667 | 2.724 | 206.2533 | 20.882 | 886 | 87.9333 | 0.70867
2019-09-30 20:30:00 | 1.108 | 179.874 | 1.276 | 197.66 | 1.974 | 196.26 | 2.308 | 204.86 | 20.774 | 886 | 87.92 | 0.66067
2019-09-30 20:45:00 | 1.26 | 184.7367 | 1.4547 | 203.0067 | 2.1073 | 209.6733 | 2.6253 | 217.9 | 20.638 | 886 | 86.36 | 1.022
2019-09-30 21:00:00 | 1.596 | 180.564 | 1.84 | 198.42 | 2.356 | 197.08 | 2.736 | 197.68 | 20.696 | 886 | 83.7 | 1.2347
2019-09-30 21:15:00 | 1.06 | 154.1213 | 1.2253 | 169.3533 | 1.8067 | 188.4733 | 2.4333 | 193.5733 | 20.596 | 886 | 85.9133 | 0.85733
2019-09-30 21:30:00 | 0.916 | 171.72 | 1.064 | 188.7 | 1.674 | 188.56 | 2.166 | 195.08 | 20.468 | 886 | 88.4 | 0.876
2019-09-30 21:45:00 | 1.4547 | 174.0987 | 1.6813 | 191.3133 | 1.986 | 187 | 2.1087 | 191.8067 | 20.422 | 886 | 89.48 | 0.87133
2019-09-30 22:00:00 | 1.16 | 177.088 | 1.334 | 194.6 | 1.736 | 186.9 | 1.87 | 195.38 | 20.43 | 886 | 88.26 | 0.39533
2019-09-30 22:15:00 | 0.57067 | 174.72 | 0.66467 | 192 | 1.108 | 186.9067 | 1.406 | 202.9267 | 20.2913 | 886 | 88.6467 | 0.55267
2019-09-30 22:30:00 | 0.704 | 174.72 | 0.812 | 192 | 1.354 | 184 | 1.736 | 203.14 | 20.168 | 886 | 89.44 | 1.0393
2019-09-30 22:45:00 | 0.92933 | 174.72 | 1.072 | 192 | 1.752 | 182.0133 | 2.0507 | 205.2533 | 20.048 | 886 | 90.6667 | 1.4207
2019-09-30 23:00:00 | 1.04 | 174.72 | 1.196 | 192 | 1.888 | 188.74 | 2.104 | 209.8 | 19.9 | 886 | 92.06 | 1.8153
2019-09-30 23:15:00 | 0.864 | 174.72 | 0.99067 | 192 | 1.508 | 192.72 | 2.1427 | 208.3467 | 19.76 | 886 | 93.14 | 1.3307
2019-09-30 23:30:00 | 0.636 | 174.72 | 0.74 | 192 | 1.278 | 186.06 | 1.278 | 213.14 | 19.662 | 886 | 93.4 | 0.972
2019-09-30 23:45:00 | 0.176 | 174.72 | 0.20533 | 192 | 0.34467 | 181.7 | 0.27933 | 212.5 | 19.6147 | 886 | 92.82 | 0.65733