## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2019-10-01 00:00:00 | 0 | 174.72 | 0 | 192 | 0 | 181.7 | 0.37 | 241.5857 | 19.56 | 886 | 92.5643 | 0.78429
2019-10-01 00:15:00 | 0.56 | 174.72 | 0.656 | 192 | 0.92533 | 260.2467 | 1.428 | 264.9733 | 19.4913 | 886 | 93.02 | 0.95333
2019-10-01 00:30:00 | 1.012 | 250.404 | 1.166 | 275.16 | 1.164 | 274.58 | 1.67 | 268.76 | 19.446 | 886 | 93.32 | 0.31667
2019-10-01 00:45:00 | 1.124 | 106.7227 | 1.3047 | 117.2733 | 0.82 | 281.1267 | 1.3753 | 274.7533 | 19.17 | 886 | 94.92 | 1.0033
2019-10-01 01:00:00 | 0.874 | 154.582 | 1.0107 | 169.864 | 0.448 | 295.44 | 0.588 | 279.5667 | 19.0227 | 885.6 | 95.9067 | 1.7533
2019-10-01 01:15:00 | 0.88667 | 106.9673 | 1.0213 | 117.532 | 0.25667 | 201.5867 | 0.114 | 272.5 | 18.9413 | 885 | 97.3467 | 0.81
2019-10-01 01:30:00 | 1.674 | 316.668 | 1.922 | 348.12 | 1.748 | 12.65 | 0.324 | 318.4 | 18.788 | 885 | 98.44 | 0.546
2019-10-01 01:45:00 | 2.2753 | 232.928 | 2.6167 | 255.952 | 2.9067 | 17.53 | 1.4827 | 43.768 | 18.664 | 885 | 98.84 | 0.41
2019-10-01 02:00:00 | 2.332 | 3.834 | 2.68 | 4.21 | 3.126 | 17.268 | 2.384 | 28.956 | 18.564 | 885 | 99.12 | 0.484
2019-10-01 02:15:00 | 2.6053 | 287.058 | 2.9987 | 315.4447 | 3.4233 | 36.2013 | 2.796 | 22.2653 | 18.5487 | 885 | 99.0667 | 0.56467
2019-10-01 02:30:00 | 2.824 | 121.05 | 3.252 | 133.01 | 3.78 | 11.776 | 3.506 | 23.142 | 18.554 | 885 | 98.52 | 0.39
2019-10-01 02:45:00 | 2.9627 | 293.1473 | 3.4067 | 322.13 | 3.7467 | 4.316 | 3.594 | 17.4753 | 18.4013 | 885 | 98.7867 | 0
2019-10-01 03:00:00 | 2.678 | 319.84 | 3.084 | 351.46 | 3.278 | 211.016 | 3.092 | 12.852 | 18.468 | 885 | 98.12 | 0.019333
2019-10-01 03:15:00 | 2.046 | 307.4067 | 2.3573 | 337.8067 | 2.4473 | 346.06 | 2.0867 | 7.5653 | 18.6573 | 885 | 96.52 | 1.1327
2019-10-01 03:30:00 | 1.852 | 305.512 | 2.128 | 335.72 | 1.97 | 142.05 | 1.272 | 178.436 | 18.826 | 885 | 94.66 | 0.62267
2019-10-01 03:45:00 | 3.1587 | 299.8147 | 3.6387 | 329.4667 | 3.6833 | 113.1233 | 2.792 | 27.472 | 18.618 | 884.2667 | 95.54 | 0.21867
2019-10-01 04:00:00 | 3.574 | 130.894 | 4.11 | 143.842 | 4.322 | 166.574 | 3.862 | 7.692 | 18.396 | 884 | 96.98 | 0.44667
2019-10-01 04:15:00 | 2.782 | 298.0807 | 3.202 | 327.5513 | 3.386 | 244.7793 | 3.3553 | 26.1453 | 18.372 | 884 | 95.2467 | 0.39733
2019-10-01 04:30:00 | 2.468 | 152.106 | 2.844 | 167.146 | 3.524 | 16.26 | 3.452 | 25.582 | 18.172 | 884 | 95.94 | 1.1087
2019-10-01 04:45:00 | 3.3213 | 292.2673 | 3.8213 | 321.1673 | 4.508 | 17.8307 | 4.4987 | 24.0793 | 17.816 | 884 | 97.74 | 0.56867
2019-10-01 05:00:00 | 2.892 | 117.222 | 3.33 | 128.814 | 3.76 | 8.294 | 3.452 | 15.1 | 17.714 | 884 | 98.36 | 0.085714
2019-10-01 05:15:00 | 2.58 | 91.8087 | 2.9647 | 100.886 | 3.3467 | 100.3887 | 2.68 | 8.2347 | 17.7767 | 884 | 98.36 | 0
2019-10-01 05:30:00 | 2.754 | 316.432 | 3.166 | 347.72 | 3.368 | 158.2 | 3.182 | 10.504 | 17.732 | 884 | 99 | 0.009286
2019-10-01 05:45:00 | 3.0327 | 237.0253 | 3.4833 | 260.4667 | 3.8107 | 4.2 | 3.414 | 3.98 | 17.654 | 884 | 99.7467 | 0.058
2019-10-01 06:00:00 | 3.304 | 183.612 | 3.804 | 201.76 | 4.054 | 2.386 | 3.812 | 5.876 | 17.634 | 884 | 100 | 1.3647
2019-10-01 06:15:00 | 3.1773 | 101.4987 | 3.6573 | 111.5333 | 4.4833 | 6.1673 | 4.6067 | 12.5987 | 17.654 | 884 | 100 | 3.5973
2019-10-01 06:30:00 | 2.958 | 142.288 | 3.402 | 156.356 | 5.078 | 12.308 | 5.206 | 11.372 | 17.484 | 884 | 100 | 5.8707
2019-10-01 06:45:00 | 3.1967 | 85.8967 | 3.6873 | 90.7573 | 5.5247 | 3.88 | 5.8927 | 241.9987 | 17.3533 | 884 | 100 | 7.8427
2019-10-01 07:00:00 | 3.416 | 126.244 | 3.928 | 138.716 | 5.644 | 6.046 | 5.864 | 12.372 | 17.308 | 884 | 100 | 9.862
2019-10-01 07:15:00 | 3.5413 | 204.4507 | 4.072 | 224.6707 | 6.1573 | 3.3313 | 6.3973 | 9.316 | 17.1853 | 884 | 100 | 18.8053
2019-10-01 07:30:00 | 4.108 | 14.166 | 4.728 | 15.562 | 6.818 | 5.428 | 7.276 | 4.04 | 17.07 | 884 | 100 | 24.9007
2019-10-01 07:45:00 | 4.5213 | 212.8193 | 5.2013 | 233.8633 | 7.0687 | 240.42 | 7.412 | 12.308 | 17.1313 | 884 | 100 | 29.0027
2019-10-01 08:00:00 | 4.368 | 174.418 | 5.034 | 191.668 | 7.76 | 16.518 | 8.116 | 22.246 | 17.168 | 884.4 | 100 | 26.4993
2019-10-01 08:15:00 | 4.0093 | 229.4913 | 4.6113 | 253.6347 | 6.676 | 10.4293 | 7.2593 | 19.064 | 17.1007 | 885 | 100 | 20.0727
2019-10-01 08:30:00 | 3.558 | 175.906 | 4.09 | 213.3433 | 6.58 | 10.63 | 7.24 | 22.39 | 17.118 | 885.4 | 100 | 18.5553
2019-10-01 08:45:00 | 3.286 | 222.8087 | 3.7833 | 244.832 | 6.39 | 19.1347 | 7.2947 | 26.6653 | 17.1807 | 886 | 100 | 18.8867
2019-10-01 09:00:00 | 2.896 | 70.01 | 3.344 | 76.928 | 5.652 | 16.484 | 6.232 | 23.758 | 17.224 | 886 | 100 | 15.888
2019-10-01 09:15:00 | 2.508 | 75.122 | 2.888 | 76.4627 | 4.6733 | 12.8833 | 5.1273 | 27.5047 | 17.14 | 886 | 100 | 13.5993
2019-10-01 09:30:00 | 2.4 | 96.3667 | 2.77 | 105.8867 | 4.6433 | 22.81 | 4.8233 | 28.0433 | 16.93 | 886 | 100 | 11.5007
2019-10-01 09:45:00 | 2.7307 | 199.21 | 3.1473 | 218.908 | 5.1333 | 231.964 | 4.9327 | 12.3133 | 16.7253 | 886 | 100 | 10.116
2019-10-01 10:00:00 | 2.46 | 28.578 | 2.838 | 31.392 | 4.5 | 8.414 | 4.388 | 11.578 | 16.646 | 886.4 | 100 | 5.16
2019-10-01 10:15:00 | 1.9813 | 305.2133 | 2.2807 | 335.3987 | 3.36 | 12.9953 | 3.5347 | 33.9473 | 16.54 | 887 | 100 | 3.636
2019-10-01 10:30:00 | 1.7967 | 313.9767 | 2.0733 | 345.0333 | 3.0533 | 9.0167 | 2.7567 | 24.2033 | 16.436 | 887 | 100 | 1.0033
2019-10-01 10:45:00 | 1.264 | 225.7647 | 1.4613 | 248.0827 | 2.2947 | 16.874 | 2.372 | 43.6973 | 16.4453 | 887 | 100 | 0.18733
2019-10-01 11:00:00 | 0.916 | 201.68 | 1.06 | 221.624 | 1.458 | 11.936 | 1.452 | 35.848 | 16.49 | 887 | 100 | 0
2019-10-01 11:15:00 | 0.40133 | 281.0333 | 0.468 | 308.82 | 0.51267 | 75.8667 | 0.92667 | 99.2853 | 16.394 | 887 | 100 | 0
2019-10-01 11:30:00 | 0.512 | 285.572 | 0.596 | 313.8 | 0.286 | 246.64 | 0.3 | 86.008 | 16.404 | 887 | 100 | 0
2019-10-01 11:45:00 | 1.4653 | 300.376 | 1.6853 | 330.08 | 1.4753 | 346.76 | 0.79333 | 240.568 | 16.6027 | 887 | 100 | 0
2019-10-01 12:00:00 | 2.24 | 311.91 | 2.58 | 342.76 | 3.326 | 352.8 | 2.966 | 214.904 | 16.852 | 887 | 100 | 0.492
2019-10-01 12:15:00 | 2.4107 | 38.502 | 2.7733 | 42.304 | 4.102 | 261.508 | 3.6873 | 27.3933 | 16.856 | 887 | 100 | 0.87733
2019-10-01 12:30:00 | 2.144 | 17.414 | 2.466 | 19.13 | 3.652 | 3.732 | 3.624 | 6.728 | 16.81 | 886.6 | 100 | 1.484
2019-10-01 12:45:00 | 2.1667 | 16.4047 | 2.4993 | 18.0207 | 3.6267 | 5.1333 | 3.7947 | 8.0627 | 16.9393 | 886 | 100 | 1.678
2019-10-01 13:00:00 | 2.316 | 32.696 | 2.666 | 35.926 | 4.124 | 7.206 | 4.086 | 12.646 | 17.254 | 886 | 100 | 2.9353
2019-10-01 13:15:00 | 2.8467 | 30.104 | 3.282 | 33.0807 | 4.5427 | 241.778 | 4.2287 | 7.4753 | 17.5413 | 886 | 100 | 3.196
2019-10-01 13:30:00 | 2.56 | 21.786 | 2.944 | 23.942 | 4.244 | 15.366 | 4.26 | 7.718 | 17.544 | 886 | 100 | 3.0887
2019-10-01 13:45:00 | 2.28 | 33.0193 | 2.6227 | 36.2767 | 3.9173 | 241.0433 | 3.9693 | 12.89 | 17.5207 | 886 | 100 | 1.81
2019-10-01 14:00:00 | 1.944 | 29.854 | 2.234 | 32.802 | 3.572 | 9.02 | 3.59 | 16.836 | 17.826 | 886 | 100 | 1.0913
2019-10-01 14:15:00 | 1.8107 | 295.6007 | 2.0887 | 324.838 | 3.2973 | 3.8573 | 3.19 | 13.8867 | 17.916 | 886 | 100 | 1.06
2019-10-01 14:30:00 | 1.886 | 267.8 | 2.174 | 294.28 | 3.604 | 217.756 | 3.456 | 11.984 | 17.87 | 886 | 100 | 0.68267
2019-10-01 14:45:00 | 1.9527 | 22.8627 | 2.2513 | 25.1173 | 3.4347 | 254.8947 | 3.3267 | 0.87067 | 17.7693 | 886 | 100 | 0
2019-10-01 15:00:00 | 1.816 | 8.278 | 2.092 | 9.088 | 3.362 | 7.824 | 3.106 | 6.804 | 17.722 | 886 | 100 | 0
2019-10-01 15:15:00 | 1.7893 | 233.354 | 2.0667 | 256.428 | 3.294 | 101.228 | 3.1673 | 27.144 | 17.7167 | 886 | 99.9933 | 0
2019-10-01 15:30:00 | 1.644 | 300.174 | 1.902 | 329.86 | 2.79 | 356.72 | 2.802 | 32.604 | 17.598 | 886 | 99.78 | 0.085714
2019-10-01 15:45:00 | 1.236 | 25.4007 | 1.4327 | 27.9093 | 2.2847 | 273.548 | 2.5407 | 9.836 | 17.524 | 886 | 99.68 | 0.89133
2019-10-01 16:00:00 | 1.426 | 198.228 | 1.644 | 217.824 | 2.69 | 23.096 | 3.03 | 27.736 | 17.578 | 886 | 99.84 | 1.206
2019-10-01 16:15:00 | 1.2393 | 323.904 | 1.428 | 355.9333 | 2.4233 | 14.96 | 2.8953 | 26.1253 | 17.7687 | 886 | 99.9733 | 0.65867
2019-10-01 16:30:00 | 1.1 | 321.948 | 1.274 | 353.78 | 2.186 | 15.768 | 2.504 | 21.19 | 18.068 | 886 | 100 | 0.536
2019-10-01 16:45:00 | 1.2213 | 212.8527 | 1.4087 | 233.892 | 2.2833 | 5.7427 | 2.6173 | 15.0967 | 18.0747 | 886 | 99.9933 | 0.418
2019-10-01 17:00:00 | 1.536 | 7.62 | 1.778 | 8.368 | 2.626 | 2.49 | 2.914 | 13.026 | 17.886 | 886 | 99.78 | 0.35267
2019-10-01 17:15:00 | 1.408 | 258.1587 | 1.6327 | 283.6867 | 2.72 | 5.1047 | 2.9033 | 12.0727 | 17.898 | 886 | 99.8933 | 0.988
2019-10-01 17:30:00 | 1.612 | 322.44 | 1.866 | 354.32 | 3.06 | 5.112 | 3.216 | 19.104 | 17.896 | 886 | 100 | 1.3133
2019-10-01 17:45:00 | 1.9187 | 199.4453 | 2.2087 | 219.16 | 3.772 | 8.9893 | 3.9413 | 21.2947 | 17.7987 | 886 | 100 | 1.6827
2019-10-01 18:00:00 | 2.12 | 222.024 | 2.44 | 243.98 | 4.094 | 23.02 | 4.296 | 12.746 | 17.654 | 886 | 100 | 1.7367
2019-10-01 18:15:00 | 2.0373 | 75.7027 | 2.3453 | 83.18 | 4.0033 | 13.7947 | 4.2613 | 14.2567 | 17.3553 | 886 | 100 | 2.0193
2019-10-01 18:30:00 | 2.088 | 0.212 | 2.4 | 0.224 | 4.124 | 16.978 | 4.276 | 7.14 | 17.162 | 886 | 100 | 2.9387
2019-10-01 18:45:00 | 2.5587 | 235.6427 | 2.94 | 258.9427 | 4.6013 | 11.7567 | 4.5507 | 23.7933 | 17.006 | 886 | 100 | 3.7527
2019-10-01 19:00:00 | 2.636 | 133.69 | 3.03 | 146.904 | 5.104 | 18.012 | 5.126 | 11.096 | 16.874 | 886 | 100 | 4.5507
2019-10-01 19:15:00 | 2.796 | 263.4767 | 3.2153 | 289.536 | 5.2653 | 16.6133 | 5.1473 | 14.0507 | 16.706 | 886 | 100 | 6.124
2019-10-01 19:30:00 | 2.8 | 67.98 | 3.22 | 74.7 | 5.03 | 12.57 | 5.1333 | 11.6933 | 16.5867 | 886 | 100 | 7.3953
2019-10-01 19:45:00 | 2.916 | 88.6253 | 3.362 | 97.3933 | 5.156 | 104.2513 | 5.2573 | 19.918 | 16.4787 | 886 | 100 | 7.562
2019-10-01 20:00:00 | 2.896 | 320.8 | 3.336 | 352.52 | 4.91 | 139.824 | 4.752 | 13.244 | 16.43 | 886 | 100 | 7.2047
2019-10-01 20:15:00 | 2.8827 | 31.9333 | 3.3173 | 35.0867 | 5.0073 | 1.9533 | 4.7427 | 9.6107 | 16.3727 | 886 | 100 | 7.1367
2019-10-01 20:30:00 | 3.044 | 201.01 | 3.502 | 220.88 | 5.17 | 2.968 | 5.012 | 7.344 | 16.328 | 886.4 | 100 | 7.8667
2019-10-01 20:45:00 | 3.372 | 35.3433 | 3.882 | 38.8267 | 5.8233 | 27.7613 | 5.6133 | 6.4053 | 16.2707 | 887 | 100 | 10.036
2019-10-01 21:00:00 | 3.168 | 191.646 | 3.644 | 210.6 | 5.918 | 23.334 | 5.938 | 15.442 | 16.198 | 887 | 100 | 14.1727
2019-10-01 21:15:00 | 3.428 | 137.3033 | 3.94 | 150.8807 | 6.078 | 118.6207 | 5.912 | 15.5307 | 16.1473 | 887 | 100 | 17.018
2019-10-01 21:30:00 | 3.4293 | 322.0693 | 3.944 | 353.9267 | 5.9373 | 220.84 | 5.9033 | 14.1207 | 16.13 | 887 | 100 | 16.9953
2019-10-01 21:45:00 | 3.4013 | 300.7713 | 3.922 | 330.5133 | 6.032 | 99.1467 | 6.1553 | 13.1373 | 16.128 | 887 | 100 | 16.5873
2019-10-01 22:00:00 | 3.492 | 319.138 | 4.0187 | 350.6933 | 5.922 | 341.9067 | 6.258 | 7.2153 | 16.1 | 887 | 100 | 17.9353
2019-10-01 22:15:00 | 3.3773 | 44.6947 | 3.8847 | 49.1107 | 6.0693 | 259.848 | 6.3773 | 12.4407 | 16.0987 | 887.0667 | 100 | 17.5313
2019-10-01 22:30:00 | 3.212 | 144.888 | 3.696 | 159.216 | 5.816 | 216.672 | 6.094 | 4.2 | 16.036 | 887.6 | 100 | 17.1853
2019-10-01 22:45:00 | 3.1947 | 104.1067 | 3.6847 | 114.402 | 5.5067 | 98.2733 | 5.5647 | 6.316 | 16.0127 | 887.0667 | 100 | 17.7227
2019-10-01 23:00:00 | 3.358 | 267.796 | 3.864 | 294.28 | 6.224 | 353.44 | 6.184 | 5.896 | 16.006 | 888 | 100 | 18.662
2019-10-01 23:15:00 | 3.278 | 64.3013 | 3.776 | 70.656 | 5.7413 | 231.5467 | 5.5933 | 239.4507 | 15.9733 | 887.2667 | 100 | 22.1913
2019-10-01 23:30:00 | 3.624 | 25.738 | 4.168 | 28.28 | 5.744 | 145.458 | 5.858 | 4.856 | 16.03 | 887 | 99.96 | 27.6407
2019-10-01 23:45:00 | 4.0107 | 20.9207 | 4.62 | 22.9867 | 6.3267 | 33.0167 | 6.5847 | 17.8933 | 16.0613 | 887 | 99.7067 | 26.1873