## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2019-10-03 00:00:00 | 3.1314 | 183.8314 | 3.6071 | 202.0114 | 5.3286 | 14.0543 | 5.08 | 16.0529 | 16.4929 | 885.6429 | 99.8143 | 6.9693
2019-10-03 00:15:00 | 3.2653 | 238.2893 | 3.7573 | 261.856 | 5.9393 | 14.4787 | 5.2707 | 8.0947 | 16.4853 | 885 | 99.9067 | 7.7287
2019-10-03 00:30:00 | 3.342 | 45.34 | 3.842 | 49.814 | 6.154 | 10.832 | 5.502 | 20.02 | 16.448 | 885 | 100 | 10.018
2019-10-03 00:45:00 | 3.598 | 290.384 | 4.1353 | 319.1033 | 5.9887 | 18.8627 | 5.8113 | 18.5573 | 16.424 | 885 | 100 | 9.7867
2019-10-03 01:00:00 | 3.58 | 275.118 | 4.114 | 302.32 | 6.22 | 15.882 | 6.176 | 23.098 | 16.44 | 885 | 99.96 | 10.0167
2019-10-03 01:15:00 | 3.3627 | 233.8087 | 3.866 | 233.49 | 6.3413 | 14.1693 | 6.1707 | 26.3907 | 16.412 | 885 | 99.9067 | 9.2307
2019-10-03 01:30:00 | 3.268 | 4.426 | 3.76 | 4.86 | 5.896 | 13.254 | 5.698 | 22.216 | 16.356 | 885 | 100 | 10.1187
2019-10-03 01:45:00 | 3.6987 | 219.2727 | 4.252 | 240.9547 | 5.54 | 14.7247 | 5.4607 | 21.3507 | 16.3187 | 884.2667 | 100 | 11.2233
2019-10-03 02:00:00 | 3.78 | 198.484 | 4.344 | 218.108 | 5.87 | 216.992 | 5.594 | 4.684 | 16.36 | 884 | 100 | 12.16
2019-10-03 02:15:00 | 3.724 | 288.4627 | 4.2907 | 316.98 | 6.0353 | 30.4693 | 5.8513 | 9.24 | 16.3593 | 884 | 100 | 13.9353
2019-10-03 02:30:00 | 3.924 | 149.074 | 4.508 | 163.814 | 6.49 | 215.044 | 6.268 | 3.374 | 16.35 | 884 | 100 | 19.676
2019-10-03 02:45:00 | 3.8047 | 46.1907 | 4.3827 | 50.7513 | 6.692 | 1.6413 | 6.7753 | 4.5507 | 16.364 | 884 | 100 | 21.7333
2019-10-03 03:00:00 | 3.784 | 140.222 | 4.36 | 154.08 | 6.256 | 5.036 | 6.43 | 7.214 | 16.352 | 884 | 100 | 21.3327
2019-10-03 03:15:00 | 3.4113 | 292.8573 | 3.9353 | 321.8133 | 6.3553 | 13.8013 | 6.2467 | 4.1907 | 16.3247 | 884 | 100 | 17.8107
2019-10-03 03:30:00 | 3.248 | 107.856 | 3.748 | 118.514 | 6.114 | 13.804 | 5.662 | 20.348 | 16.302 | 884 | 100 | 11.6933
2019-10-03 03:45:00 | 3.292 | 296.4133 | 3.7907 | 325.7193 | 5.454 | 13.34 | 5.2007 | 14.4307 | 16.2693 | 884 | 100 | 9.2987
2019-10-03 04:00:00 | 3.216 | 299.342 | 3.71 | 328.94 | 5.298 | 11.456 | 5.17 | 18.238 | 16.23 | 884 | 100 | 9.2453
2019-10-03 04:15:00 | 3.3893 | 115.3727 | 3.8993 | 126.78 | 5.7393 | 12.2307 | 5.73 | 109.87 | 16.2067 | 884 | 100 | 13.8427
2019-10-03 04:30:00 | 3.416 | 98.072 | 3.93 | 107.764 | 5.63 | 5.774 | 5.548 | 149.446 | 16.18 | 884 | 100 | 22.6787
2019-10-03 04:45:00 | 3.6453 | 74.608 | 4.1913 | 81.9827 | 5.9473 | 4.7567 | 6.3253 | 12.4367 | 16.1793 | 883.2667 | 100 | 27.4727
2019-10-03 05:00:00 | 4.048 | 109.886 | 4.656 | 120.75 | 6.608 | 6.918 | 6.99 | 11.488 | 16.166 | 883 | 100 | 26.328
2019-10-03 05:15:00 | 3.8613 | 113.6967 | 4.4547 | 124.9367 | 6.3187 | 14.494 | 6.638 | 9.84 | 16.146 | 883.0667 | 100 | 24.288
2019-10-03 05:30:00 | 3.724 | 137.146 | 4.288 | 150.714 | 6.444 | 215.004 | 6.82 | 8.704 | 16.15 | 884 | 100 | 15.2707
2019-10-03 05:45:00 | 3.0947 | 220.792 | 3.5613 | 242.6267 | 5.4707 | 261.6933 | 5.52 | 8.606 | 16.1733 | 884 | 100 | 9.178
2019-10-03 06:00:00 | 2.828 | 72.682 | 3.262 | 79.866 | 5.17 | 0.204 | 5.454 | 12.636 | 16.208 | 884 | 100 | 16.0213
2019-10-03 06:15:00 | 3.1493 | 74.7313 | 3.6247 | 82.1207 | 6.006 | 8.7507 | 6.2553 | 18.852 | 16.2353 | 884 | 100 | 18.8127
2019-10-03 06:30:00 | 3.592 | 70.24 | 4.13 | 77.178 | 6.484 | 15.854 | 6.576 | 15.29 | 16.242 | 884 | 100 | 16.264
2019-10-03 06:45:00 | 3.976 | 276.92 | 4.574 | 324.9267 | 6.4787 | 5.1913 | 6.3327 | 12.304 | 16.2447 | 884 | 100 | 14.198
2019-10-03 07:00:00 | 3.344 | 151.356 | 3.85 | 166.322 | 5.932 | 207.848 | 6.07 | 5.622 | 16.25 | 884 | 100 | 12.506
2019-10-03 07:15:00 | 3.6333 | 30.652 | 4.1793 | 33.6833 | 5.872 | 115.8733 | 6.238 | 6.8527 | 16.2573 | 884 | 100 | 12.366
2019-10-03 07:30:00 | 3.812 | 21.24 | 4.388 | 23.338 | 6.01 | 144.474 | 6.006 | 13.276 | 16.264 | 884 | 100 | 17.1547
2019-10-03 07:45:00 | 3.6533 | 9.4107 | 4.2027 | 10.2287 | 6.444 | 224.992 | 6.3393 | 13.172 | 16.264 | 884 | 100 | 22.3293
2019-10-03 08:00:00 | 3.716 | 10.292 | 4.274 | 11.312 | 6.556 | 21.536 | 6.848 | 15.708 | 16.28 | 884.4 | 100 | 23.692
2019-10-03 08:15:00 | 3.5533 | 143.4227 | 4.094 | 157.6027 | 6.5613 | 13.3987 | 6.8227 | 16.224 | 16.296 | 885 | 100 | 23.282
2019-10-03 08:30:00 | 3.458 | 132.224 | 3.978 | 145.3 | 6.396 | 16.496 | 6.62 | 222.216 | 16.344 | 885 | 100 | 20.5893
2019-10-03 08:45:00 | 3.6447 | 121.0293 | 4.198 | 132.9933 | 5.7373 | 233.8853 | 6.0053 | 34.4973 | 16.374 | 885 | 100 | 18.7847
2019-10-03 09:00:00 | 3.552 | 311.998 | 4.086 | 342.84 | 5.762 | 5.388 | 6.294 | 14.484 | 16.374 | 885 | 100 | 17.6593
2019-10-03 09:15:00 | 3.1747 | 51.4727 | 3.6513 | 56.5613 | 5.8353 | 12.8387 | 6.0633 | 18.0587 | 16.402 | 885 | 100 | 26.3507
2019-10-03 09:30:00 | 3.73 | 27.844 | 4.29 | 30.588 | 6.006 | 13.404 | 6.316 | 220.14 | 16.41 | 885 | 100 | 28.864
2019-10-03 09:45:00 | 3.878 | 58.3613 | 4.4647 | 64.1253 | 6.4073 | 15.776 | 7.0773 | 48.6493 | 16.4253 | 885.7333 | 100 | 29.24
2019-10-03 10:00:00 | 3.5367 | 31.636 | 4.0667 | 34.8633 | 5.9333 | 231.3267 | 6.47 | 11.2367 | 16.452 | 886 | 100 | 26.7913
2019-10-03 10:15:00 | 3.414 | 111.824 | 3.9333 | 122.8787 | 5.5227 | 47.3373 | 5.4153 | 13.22 | 16.4773 | 886 | 100 | 26.8647
2019-10-03 10:30:00 | 3.54 | 302.208 | 4.078 | 332.1 | 6.054 | 6.116 | 6.232 | 6.004 | 16.492 | 886 | 100 | 26.3253
2019-10-03 10:45:00 | 3.6293 | 279.336 | 4.1753 | 306.9533 | 6.5793 | 18.8253 | 7.032 | 11.3507 | 16.5673 | 886 | 100 | 24.8127
2019-10-03 11:00:00 | 3.516 | 253.166 | 4.046 | 278.2 | 6.076 | 17.474 | 6.476 | 28.598 | 16.604 | 886 | 100 | 23.3767
2019-10-03 11:15:00 | 3.6427 | 233.066 | 4.1927 | 256.1173 | 6.036 | 94.3273 | 6.068 | 15.2527 | 16.612 | 886 | 100 | 26.558
2019-10-03 11:30:00 | 3.7807 | 165.2993 | 4.35 | 181.6387 | 6.462 | 156.4413 | 6.8653 | 20.6233 | 16.672 | 886 | 100 | 29.3867
2019-10-03 11:45:00 | 3.9147 | 25.2873 | 4.5 | 27.7867 | 7.24 | 14.8827 | 7.6547 | 22.9513 | 16.7667 | 886 | 100 | 27.9447
2019-10-03 12:00:00 | 3.948 | 97.046 | 4.546 | 106.64 | 7.384 | 16.29 | 7.552 | 22.182 | 16.778 | 886 | 100 | 27.672
2019-10-03 12:15:00 | 3.5333 | 253.646 | 4.0687 | 278.7267 | 6.4133 | 18.4673 | 6.3133 | 31.374 | 16.7513 | 886 | 100 | 30.1087
2019-10-03 12:30:00 | 3.564 | 132.436 | 4.1 | 145.534 | 6.424 | 4.356 | 7.024 | 23.956 | 16.754 | 886 | 100 | 32.3493
2019-10-03 12:45:00 | 3.8827 | 253.0907 | 4.4707 | 278.1127 | 7.1253 | 6.5333 | 7.7267 | 21.8533 | 16.8367 | 886 | 100 | 30.8533
2019-10-03 13:00:00 | 4.078 | 65.51 | 4.704 | 71.992 | 7.296 | 12.818 | 7.804 | 15.268 | 16.836 | 886 | 100 | 29.6447
2019-10-03 13:15:00 | 3.886 | 160.4593 | 4.4693 | 176.328 | 6.7373 | 21.4927 | 7.4293 | 6.256 | 16.798 | 886 | 100 | 28.5893
2019-10-03 13:30:00 | 3.8427 | 160.376 | 4.4193 | 176.236 | 7.05 | 14.5627 | 7.3667 | 15.376 | 16.826 | 885.6 | 100 | 25.806
2019-10-03 13:45:00 | 3.9173 | 14.32 | 4.5093 | 15.7227 | 6.5187 | 238.468 | 6.6653 | 30.348 | 16.8573 | 885 | 100 | 24.7253
2019-10-03 14:00:00 | 3.944 | 197.792 | 4.538 | 217.348 | 6.578 | 200.852 | 6.584 | 12.68 | 16.884 | 885 | 100 | 28.7433
2019-10-03 14:15:00 | 3.9493 | 304.132 | 4.542 | 334.2067 | 6.846 | 124.0933 | 7.0627 | 11.9827 | 16.9167 | 885 | 100 | 32.26
2019-10-03 14:30:00 | 4.128 | 310.602 | 4.746 | 341.32 | 7.362 | 139.486 | 7.738 | 9.524 | 17.01 | 885 | 100 | 37.7387
2019-10-03 14:45:00 | 4.5333 | 248.7967 | 5.2127 | 273.4 | 7.5593 | 4.846 | 7.7567 | 95.16 | 16.9573 | 885 | 100 | 40.1747
2019-10-03 15:00:00 | 4.648 | 191.318 | 5.35 | 210.24 | 8.108 | 9.484 | 8.3 | 143.768 | 16.992 | 885 | 100 | 39.3747
2019-10-03 15:15:00 | 4.6933 | 109.1793 | 5.398 | 119.9733 | 8.0547 | 6.1693 | 8.0907 | 16.968 | 17.0407 | 885 | 100 | 39.0567
2019-10-03 15:30:00 | 5.08 | 280.17 | 5.844 | 307.88 | 8.794 | 8.066 | 9.206 | 13.012 | 17.06 | 885 | 100 | 39.8053
2019-10-03 15:45:00 | 5.1493 | 295.142 | 5.9213 | 324.3333 | 8.562 | 7.35 | 9.238 | 12.1627 | 17.012 | 885 | 100 | 31.504
2019-10-03 16:00:00 | 4.172 | 128.392 | 4.8 | 141.092 | 6.964 | 13.904 | 7.452 | 8.136 | 16.97 | 885 | 100 | 22.9693
2019-10-03 16:15:00 | 3.26 | 36.6773 | 3.7467 | 40.2987 | 5.432 | 16.452 | 5.5933 | 9.8667 | 16.992 | 885 | 100 | 27.2707
2019-10-03 16:30:00 | 3.428 | 61.256 | 3.94 | 67.316 | 5.762 | 6.826 | 6.046 | 13.53 | 17.03 | 885 | 100 | 23.1447
2019-10-03 16:45:00 | 3.2013 | 194.7533 | 3.6907 | 214.0133 | 5.7727 | 4.2233 | 5.882 | 12.65 | 17.088 | 885 | 100 | 27.9073
2019-10-03 17:00:00 | 3.22 | 14.31 | 3.706 | 15.72 | 5.758 | 216.3 | 5.588 | 6.812 | 17.096 | 885 | 100 | 30.1767
2019-10-03 17:15:00 | 3.4187 | 237.6947 | 3.936 | 261.2013 | 5.9567 | 33.2907 | 6.1187 | 18.792 | 17.0747 | 885 | 100 | 35.786
2019-10-03 17:30:00 | 3.984 | 187.292 | 4.592 | 205.816 | 7.086 | 11.182 | 7.35 | 13.024 | 17.024 | 885 | 100 | 35.606
2019-10-03 17:45:00 | 3.816 | 223.2813 | 4.3947 | 245.352 | 6.666 | 98.89 | 7.1647 | 20.364 | 16.942 | 885 | 100 | 35.9253
2019-10-03 18:00:00 | 4.172 | 48.188 | 4.806 | 52.944 | 6.688 | 137.524 | 6.76 | 31.606 | 16.88 | 885 | 100 | 40.4173
2019-10-03 18:15:00 | 4.2027 | 21.968 | 4.842 | 24.1333 | 6.6547 | 228.4173 | 7.1307 | 12.2593 | 16.8207 | 885.7333 | 100 | 41.5233
2019-10-03 18:30:00 | 4.064 | 195.058 | 4.674 | 214.344 | 6.816 | 11.752 | 7.786 | 28.576 | 16.79 | 886 | 100 | 44.6227
2019-10-03 18:45:00 | 4.8773 | 176.4807 | 5.6167 | 193.9333 | 8.76 | 13.384 | 9.1927 | 19.4 | 16.7513 | 886 | 100 | 44.984
2019-10-03 19:00:00 | 4.916 | 87.944 | 5.662 | 96.642 | 8.64 | 16.102 | 8.568 | 14.22 | 16.722 | 886 | 100 | 42.8013
2019-10-03 19:15:00 | 4.1453 | 26.64 | 4.7727 | 29.2713 | 6.9413 | 105.6007 | 7.2187 | 108.5933 | 16.6773 | 886 | 100 | 40.928
2019-10-03 19:30:00 | 4.004 | 30.836 | 4.612 | 33.878 | 6.71 | 138.024 | 6.984 | 143.26 | 16.64 | 886 | 100 | 40.3233
2019-10-03 19:45:00 | 4.0247 | 245.2093 | 4.6427 | 269.4553 | 6.6927 | 240.6427 | 6.6533 | 11.9507 | 16.6247 | 886 | 100 | 38.0913
2019-10-03 20:00:00 | 3.878 | 143.67 | 4.464 | 157.87 | 6.382 | 7.852 | 6.796 | 6.588 | 16.602 | 886 | 100 | 38.4667
2019-10-03 20:15:00 | 4.118 | 93.4673 | 4.7347 | 102.6967 | 7.0393 | 9.3187 | 7.4453 | 12.3013 | 16.5113 | 886 | 100 | 39.162
2019-10-03 20:30:00 | 4.052 | 320.88 | 4.66 | 352.6 | 6.61 | 215.196 | 6.722 | 18.794 | 16.462 | 886 | 100 | 41.2747
2019-10-03 20:45:00 | 4.66 | 136.8093 | 5.368 | 150.3333 | 7.954 | 29.7373 | 8.258 | 15.434 | 16.4273 | 886 | 100 | 43.272
2019-10-03 21:00:00 | 4.4 | 294.212 | 5.068 | 323.3 | 7.334 | 18.504 | 7.758 | 11.496 | 16.368 | 886.4 | 100 | 44.478
2019-10-03 21:15:00 | 4.2627 | 35.2373 | 4.9067 | 38.724 | 7.022 | 104.412 | 7.118 | 21.6347 | 16.342 | 887 | 100 | 44.528
2019-10-03 21:30:00 | 4.244 | 173.658 | 4.88 | 190.836 | 6.794 | 139.742 | 7.072 | 10.206 | 16.358 | 887 | 100 | 46.094
2019-10-03 21:45:00 | 4.9347 | 59.9153 | 5.6813 | 65.844 | 7.9727 | 233.302 | 8.4693 | 46.966 | 16.3847 | 887 | 100 | 45.5647
2019-10-03 22:00:00 | 4.776 | 22.23 | 5.488 | 24.424 | 8.27 | 4.006 | 8.708 | 23.708 | 16.356 | 887 | 100 | 45.556
2019-10-03 22:15:00 | 4.7093 | 19.5847 | 5.4213 | 21.5093 | 7.9753 | 6.63 | 8.4533 | 13.8213 | 16.3113 | 887 | 100 | 45.7147
2019-10-03 22:30:00 | 4.914 | 153.964 | 5.658 | 169.176 | 7.99 | 201.6 | 8.332 | 12.67 | 16.29 | 887 | 100 | 44.98
2019-10-03 22:45:00 | 5.0433 | 76.004 | 5.81 | 83.5147 | 8.5273 | 338.5733 | 8.5507 | 104.2233 | 16.2913 | 887 | 100 | 48.1527
2019-10-03 23:00:00 | 5.246 | 195.63 | 6.034 | 214.972 | 9.012 | 148.818 | 9.114 | 148.32 | 16.314 | 887 | 100 | 50.2707
2019-10-03 23:15:00 | 5.3207 | 212.3633 | 6.126 | 233.3667 | 9.48 | 5.9593 | 9.4833 | 15.616 | 16.302 | 887 | 100 | 55.2233
2019-10-03 23:30:00 | 6.04 | 243.252 | 6.948 | 267.3 | 10.726 | 11.094 | 10.82 | 11.69 | 16.266 | 887 | 100 | 53.552
2019-10-03 23:45:00 | 5.2907 | 224.6733 | 6.088 | 246.884 | 8.7487 | 20.0167 | 9.0933 | 13.2273 | 16.372 | 887 | 100 | 51.6813