## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2019-10-04 00:00:00 | 5.5629 | 29.1657 | 6.4129 | 32.0429 | 10.0014 | 21.1971 | 10.2929 | 14.7886 | 16.3729 | 887 | 100 | 52.9864
2019-10-04 00:15:00 | 5.9 | 15.7727 | 6.7947 | 17.3313 | 9.8853 | 91.2373 | 10.156 | 14.102 | 16.346 | 887 | 100 | 53.254
2019-10-04 00:30:00 | 5.212 | 56.332 | 5.992 | 61.9 | 9.23 | 150.504 | 9.142 | 17.768 | 16.314 | 887 | 100 | 54.6987
2019-10-04 00:45:00 | 5.64 | 262.924 | 6.488 | 288.9267 | 10.2727 | 10.8453 | 10.43 | 20.6453 | 16.2413 | 887 | 100 | 55.038
2019-10-04 01:00:00 | 5.73 | 137.22 | 6.588 | 150.78 | 10.37 | 8.532 | 10.698 | 19.396 | 16.206 | 887 | 100 | 54.0853
2019-10-04 01:15:00 | 5.3047 | 102.292 | 6.1013 | 112.4067 | 9.6033 | 3.7947 | 10.474 | 18.288 | 16.192 | 886.9333 | 100 | 54.49
2019-10-04 01:30:00 | 5.358 | 213.682 | 6.158 | 234.8 | 9.762 | 8.958 | 10.706 | 16.412 | 16.18 | 886 | 100 | 54.3907
2019-10-04 01:45:00 | 5.306 | 158.9487 | 6.1007 | 174.6667 | 9.466 | 11.0113 | 10.046 | 11.76 | 16.174 | 886 | 100 | 51.9067
2019-10-04 02:00:00 | 4.744 | 306.924 | 5.4567 | 337.2733 | 8.4633 | 12.9187 | 9.1213 | 22.066 | 16.202 | 886 | 100 | 47.284
2019-10-04 02:15:00 | 3.8787 | 245.174 | 4.4627 | 269.4133 | 7.148 | 7.2293 | 7.8133 | 8.0687 | 16.238 | 886 | 100 | 48.5253
2019-10-04 02:30:00 | 4.268 | 212.784 | 4.91 | 233.82 | 8.034 | 10.516 | 8.626 | 20.874 | 16.27 | 886 | 100 | 43.7687
2019-10-04 02:45:00 | 4.324 | 71.6373 | 4.9833 | 78.7133 | 7.8513 | 9.6067 | 8.366 | 25.426 | 16.264 | 886 | 100 | 45.2813
2019-10-04 03:00:00 | 4.26 | 13.93 | 4.91 | 15.296 | 7.796 | 8.076 | 8.3 | 14.474 | 16.292 | 886 | 100 | 47.1073
2019-10-04 03:15:00 | 5.0947 | 179.3007 | 5.862 | 197.024 | 9.3307 | 6.792 | 9.7587 | 19.354 | 16.3093 | 886 | 100 | 48.9087
2019-10-04 03:30:00 | 5.564 | 153.848 | 6.408 | 169.06 | 9.866 | 7.456 | 10.212 | 12.71 | 16.304 | 886 | 100 | 50.1413
2019-10-04 03:45:00 | 5.2467 | 61.04 | 6.0307 | 67.0667 | 9.466 | 14.088 | 10.204 | 14.5807 | 16.3253 | 886 | 100 | 51.37
2019-10-04 04:00:00 | 5.648 | 81.118 | 6.504 | 89.14 | 10.278 | 10.854 | 10.802 | 15.668 | 16.348 | 886 | 100 | 53.854
2019-10-04 04:15:00 | 6.484 | 258.0673 | 7.468 | 283.58 | 11.23 | 7.874 | 11.5153 | 18.516 | 16.3693 | 886 | 100 | 54.972
2019-10-04 04:30:00 | 6.04 | 193.746 | 6.956 | 212.9 | 10.614 | 7.538 | 10.982 | 10.212 | 16.404 | 886 | 100 | 54.0427
2019-10-04 04:45:00 | 6.7453 | 49.71 | 7.7587 | 54.628 | 11.4207 | 2.6753 | 11.634 | 17.44 | 16.4333 | 886 | 100 | 57.3033
2019-10-04 05:00:00 | 7.014 | 177.48 | 8.074 | 195.032 | 12.13 | 7.364 | 12.212 | 25.712 | 16.46 | 886 | 100 | 54.9
2019-10-04 05:15:00 | 6.218 | 171.3707 | 7.154 | 188.3133 | 11.098 | 12.1667 | 11.3987 | 24.672 | 16.4587 | 886 | 100 | 56.6467
2019-10-04 05:30:00 | 6.5707 | 253.66 | 7.564 | 278.74 | 11.9313 | 16.1887 | 11.8847 | 19.5673 | 16.4187 | 886 | 100 | 58.9007
2019-10-04 05:45:00 | 7.188 | 251.5207 | 8.272 | 276.3933 | 12.824 | 9.8627 | 12.8313 | 14.9847 | 16.3373 | 886 | 100 | 60.1993
2019-10-04 06:00:00 | 7.7387 | 216.4133 | 8.906 | 237.8067 | 13.7927 | 14.416 | 13.7247 | 23.8707 | 16.2473 | 886 | 100 | 60.3
2019-10-04 06:15:00 | 7.9813 | 119.79 | 9.1827 | 131.6333 | 14.2433 | 7.7887 | 14.0387 | 18.756 | 16.1527 | 886 | 100 | 60.1787
2019-10-04 06:30:00 | 7.928 | 171.646 | 9.126 | 188.62 | 14.34 | 16.102 | 14.334 | 20.294 | 16.09 | 886 | 100 | 59.8533
2019-10-04 06:45:00 | 7.4347 | 244.0687 | 8.5487 | 268.2067 | 13.6867 | 10.026 | 14.4247 | 21.4793 | 16.0373 | 886 | 100 | 58.4627
2019-10-04 07:00:00 | 7.008 | 213.614 | 8.058 | 234.74 | 13.054 | 14.776 | 13.762 | 33.968 | 15.952 | 886 | 100 | 59.558
2019-10-04 07:15:00 | 7.1307 | 259.902 | 8.2073 | 285.6067 | 12.9587 | 10.6987 | 13.0113 | 13.02 | 15.8867 | 886 | 100 | 59.7907
2019-10-04 07:30:00 | 7.256 | 265.652 | 8.35 | 291.92 | 12.584 | 8.772 | 12.416 | 2.186 | 15.956 | 886 | 99.76 | 59.846
2019-10-04 07:45:00 | 7.14 | 84.9213 | 8.2153 | 93.3133 | 12.6587 | 14.244 | 12.2587 | 21.59 | 15.962 | 886.7333 | 99.4067 | 60.0473
2019-10-04 08:00:00 | 7.368 | 182.956 | 8.478 | 201.04 | 13.33 | 10.728 | 13.47 | 23.552 | 15.934 | 887 | 98.82 | 60.468
2019-10-04 08:15:00 | 7.2213 | 222.848 | 8.3053 | 244.8867 | 13.4813 | 9.5367 | 13.7633 | 27.308 | 15.9707 | 887 | 98 | 61.9927
2019-10-04 08:30:00 | 7.27 | 159.182 | 8.36 | 174.928 | 13.644 | 16.806 | 14.146 | 25.636 | 15.886 | 887 | 98.24 | 60.982
2019-10-04 08:45:00 | 7.7767 | 226.0567 | 8.956 | 248.4133 | 14.1627 | 16.7793 | 15.2587 | 32.3373 | 15.966 | 887 | 97.74 | 61.1307
2019-10-04 09:00:00 | 8.156 | 211.238 | 9.392 | 232.132 | 15.048 | 25.144 | 15.698 | 33.754 | 16.018 | 887 | 97.58 | 62.0713
2019-10-04 09:15:00 | 8.5 | 126.7953 | 9.7853 | 139.3333 | 15.564 | 22.9333 | 15.8927 | 19.4673 | 16.076 | 887.0667 | 96.5267 | 61.5187
2019-10-04 09:30:00 | 8.38 | 187.578 | 9.64 | 206.12 | 15.6 | 22.286 | 16.274 | 31.088 | 16.184 | 888 | 95.56 | 60.5433
2019-10-04 09:45:00 | 8.7 | 174.2047 | 10.012 | 191.4267 | 15.8 | 20.2913 | 16.51 | 29.688 | 16.36 | 888 | 94.3267 | 60.482
2019-10-04 10:00:00 | 9.156 | 321.67 | 10.528 | 353.48 | 16.414 | 22.954 | 17.15 | 32.476 | 16.578 | 888 | 92.46 | 60.1747
2019-10-04 10:15:00 | 8.9693 | 262.242 | 10.324 | 288.1733 | 16.1847 | 18.1513 | 16.79 | 33.0347 | 16.694 | 888 | 91.3267 | 59.714
2019-10-04 10:30:00 | 8.608 | 256.608 | 9.908 | 281.98 | 15.734 | 17.696 | 16.216 | 28.224 | 16.62 | 888 | 91.42 | 60.2287
2019-10-04 10:45:00 | 8.9227 | 261.1773 | 10.2613 | 287.0067 | 15.962 | 15.1427 | 16.44 | 23.644 | 16.644 | 888 | 90.4067 | 60.69
2019-10-04 11:00:00 | 9.356 | 130.474 | 10.768 | 143.366 | 16.798 | 13.794 | 17.368 | 37.276 | 16.57 | 888 | 89.54 | 60.9333
2019-10-04 11:15:00 | 9.6133 | 257.1647 | 11.0613 | 282.5873 | 17.46 | 7.4367 | 17.2707 | 23.0253 | 16.2847 | 888 | 88.9333 | 60.9973
2019-10-04 11:30:00 | 9.408 | 255.404 | 10.824 | 280.66 | 17.19 | 14.04 | 17.108 | 22.562 | 15.998 | 888 | 88.88 | 59.9493
2019-10-04 11:45:00 | 9.0493 | 246.1533 | 10.412 | 270.4867 | 16.598 | 10.8533 | 16.4413 | 19.31 | 15.6607 | 888 | 90.2067 | 60.14
2019-10-04 12:00:00 | 9.072 | 231.978 | 10.442 | 254.92 | 16.234 | 11.45 | 15.922 | 17.72 | 15.056 | 888 | 93.98 | 60.3593
2019-10-04 12:15:00 | 9.032 | 131.0807 | 10.3887 | 144.0453 | 15.814 | 12.3607 | 15.4647 | 19.4387 | 14.396 | 888 | 96.98 | 60.0627
2019-10-04 12:30:00 | 8.576 | 113.68 | 9.874 | 124.928 | 15.112 | 5.336 | 15.032 | 11.6 | 14.128 | 888 | 98 | 62.3153
2019-10-04 12:45:00 | 7.7067 | 133.2753 | 8.8687 | 146.456 | 14.0333 | 12.928 | 13.7213 | 15.8827 | 13.9333 | 888 | 99.3867 | 61.4187
2019-10-04 13:00:00 | 7.558 | 201.608 | 8.704 | 221.544 | 13.91 | 17.086 | 13.83 | 16.222 | 13.838 | 888 | 99.94 | 62.7227
2019-10-04 13:15:00 | 8.0047 | 112.3213 | 9.2147 | 123.42 | 14.7127 | 13.5033 | 14.79 | 19.746 | 13.7713 | 888 | 100 | 62.7767
2019-10-04 13:30:00 | 7.96 | 75.134 | 9.158 | 82.554 | 14.876 | 16.136 | 14.838 | 27.066 | 13.704 | 888 | 100 | 63.1253
2019-10-04 13:45:00 | 8.2907 | 17.762 | 9.5473 | 19.5047 | 15.448 | 14.968 | 15.242 | 22.5647 | 13.5947 | 888 | 100 | 63.4947
2019-10-04 14:00:00 | 8.298 | 110.092 | 9.556 | 120.968 | 15.492 | 13.254 | 15.57 | 21.996 | 13.59 | 888 | 100 | 63.3567
2019-10-04 14:15:00 | 8.1647 | 238.8053 | 9.4 | 262.4267 | 15.072 | 19.246 | 15.4687 | 23.3427 | 13.596 | 888 | 100 | 63.4407
2019-10-04 14:30:00 | 8.208 | 196.92 | 9.442 | 216.4 | 15.138 | 14.51 | 15.534 | 27.088 | 13.624 | 888 | 100 | 63.16
2019-10-04 14:45:00 | 8.2213 | 218.344 | 9.4527 | 239.9333 | 15.3273 | 17.5607 | 15.706 | 26.276 | 13.688 | 888 | 100 | 63.4667
2019-10-04 15:00:00 | 8.2 | 312.206 | 9.428 | 343.08 | 15.418 | 12.68 | 15.584 | 17.646 | 13.686 | 888 | 100 | 63.376
2019-10-04 15:15:00 | 8.3013 | 214.1833 | 9.5507 | 235.36 | 15.4473 | 13.816 | 15.5853 | 24.9407 | 13.678 | 887.2667 | 100 | 63.5047
2019-10-04 15:30:00 | 8.398 | 118.1 | 9.66 | 129.776 | 15.664 | 10.652 | 15.94 | 27.336 | 13.694 | 887 | 100 | 63.586
2019-10-04 15:45:00 | 8.4807 | 108.936 | 9.7547 | 119.6973 | 15.7467 | 12.4173 | 15.9453 | 25.008 | 13.672 | 887 | 100 | 63.38
2019-10-04 16:00:00 | 8.566 | 248.904 | 9.852 | 273.52 | 15.912 | 11.848 | 16.166 | 27.332 | 13.67 | 887 | 100 | 63.7867
2019-10-04 16:15:00 | 8.5447 | 200.6467 | 9.824 | 220.4933 | 15.916 | 17.9253 | 16.394 | 23.3067 | 13.626 | 887 | 100 | 63.436
2019-10-04 16:30:00 | 8.244 | 78.646 | 9.488 | 86.416 | 15.316 | 20.302 | 15.794 | 20.704 | 13.58 | 887.4 | 100 | 63.8553
2019-10-04 16:45:00 | 8.1427 | 192.67 | 9.364 | 211.7173 | 15.1307 | 11.802 | 15.4553 | 23.808 | 13.598 | 888 | 100 | 63.1307
2019-10-04 17:00:00 | 8.26 | 127.656 | 9.496 | 140.28 | 15.204 | 16.558 | 15.396 | 27.362 | 13.63 | 888 | 100 | 63.3587
2019-10-04 17:15:00 | 8.3907 | 104.4787 | 9.6507 | 114.8067 | 15.508 | 19.806 | 15.94 | 28.4967 | 13.6153 | 888 | 100 | 62.84
2019-10-04 17:30:00 | 8.456 | 139.046 | 9.736 | 152.796 | 15.694 | 17.676 | 16.108 | 26.526 | 13.602 | 888 | 100 | 63.1673
2019-10-04 17:45:00 | 8.34 | 176.3287 | 9.5993 | 193.764 | 15.4887 | 11.6827 | 16.0907 | 23.1313 | 13.5593 | 888 | 100 | 63.2833
2019-10-04 18:00:00 | 8.324 | 165.336 | 9.58 | 181.68 | 15.324 | 14.964 | 15.568 | 22.226 | 13.518 | 888 | 100 | 63.6953
2019-10-04 18:15:00 | 8.5587 | 149.4187 | 9.8467 | 164.1867 | 15.376 | 8.5533 | 15.488 | 16.374 | 13.5453 | 888 | 100 | 63.7107
2019-10-04 18:30:00 | 8.52 | 177.146 | 9.81 | 194.66 | 15.448 | 17.514 | 15.932 | 20.58 | 13.564 | 888 | 100 | 63.1793
2019-10-04 18:45:00 | 8.3573 | 141.4047 | 9.6127 | 155.38 | 15.5173 | 15.718 | 15.8747 | 25.928 | 13.5547 | 888 | 100 | 63.31
2019-10-04 19:00:00 | 8.234 | 272.1487 | 9.4673 | 299.0533 | 15.3527 | 24.806 | 15.6413 | 30.306 | 13.526 | 888 | 100 | 63.1627
2019-10-04 19:15:00 | 7.84 | 110.0533 | 9.0287 | 120.928 | 14.5753 | 11.8233 | 14.984 | 25.374 | 13.4907 | 888 | 100 | 62.4553
2019-10-04 19:30:00 | 7.612 | 88.478 | 8.756 | 97.232 | 14.236 | 14.018 | 14.566 | 27.33 | 13.47 | 888 | 100 | 62.088
2019-10-04 19:45:00 | 7.484 | 145.0847 | 8.608 | 159.4267 | 14.1573 | 21.3567 | 14.2807 | 25.7513 | 13.454 | 888 | 100 | 62.4047
2019-10-04 20:00:00 | 7.184 | 246.472 | 8.264 | 270.84 | 13.478 | 8.832 | 13.426 | 19.924 | 13.43 | 888 | 100 | 61.336
2019-10-04 20:15:00 | 7.412 | 113.4587 | 8.5267 | 124.672 | 13.5407 | 8.688 | 13.526 | 19.496 | 13.4307 | 888.0667 | 100 | 62.5967
2019-10-04 20:30:00 | 7.624 | 96.486 | 8.77 | 106.028 | 14.002 | 11.162 | 14.158 | 22.646 | 13.458 | 889 | 100 | 62.294
2019-10-04 20:45:00 | 7.4133 | 86.5273 | 8.53 | 95.08 | 13.658 | 10.9647 | 13.7953 | 20.0287 | 13.4853 | 889 | 100 | 61.4713
2019-10-04 21:00:00 | 7.528 | 111.948 | 8.67 | 123.02 | 13.496 | 14.16 | 13.676 | 16.776 | 13.534 | 889 | 100 | 61.1833
2019-10-04 21:15:00 | 7.4613 | 205.4107 | 8.594 | 225.7187 | 13.3053 | 13.956 | 13.1293 | 15.3 | 13.622 | 889 | 100 | 61.1593
2019-10-04 21:30:00 | 7.716 | 160.898 | 8.878 | 176.808 | 14.028 | 14.96 | 14.042 | 21.446 | 13.666 | 889 | 100 | 60.9287
2019-10-04 21:45:00 | 7.5653 | 125.2033 | 8.7007 | 137.5867 | 13.812 | 9.9413 | 13.7033 | 16.6007 | 13.7267 | 889 | 99.9933 | 60.592
2019-10-04 22:00:00 | 7.544 | 274.388 | 8.678 | 301.52 | 13.922 | 14.052 | 13.702 | 15.386 | 13.764 | 889 | 99.78 | 60.9927
2019-10-04 22:15:00 | 7.9267 | 109.1747 | 9.1113 | 119.96 | 14.0193 | 14.0547 | 14.0767 | 23.3913 | 14.026 | 889 | 97.9667 | 61.522
2019-10-04 22:30:00 | 8.344 | 113.864 | 9.598 | 125.12 | 14.914 | 11.61 | 14.96 | 16.992 | 14.184 | 889 | 96.72 | 60.7067
2019-10-04 22:45:00 | 7.996 | 108.3373 | 9.1953 | 119.0467 | 14.43 | 9.27 | 14.5467 | 19.06 | 14.296 | 889 | 95.74 | 60.1107
2019-10-04 23:00:00 | 7.76 | 225.836 | 8.922 | 248.16 | 13.79 | 10.59 | 13.714 | 24.474 | 14.41 | 889 | 95 | 59.67
2019-10-04 23:15:00 | 7.6493 | 69.9693 | 8.7953 | 76.8867 | 13.3927 | 9.4953 | 13.3553 | 14.3847 | 14.5247 | 889 | 94.1467 | 60.136
2019-10-04 23:30:00 | 8.028 | 60.506 | 9.232 | 66.484 | 13.946 | 10.286 | 14.022 | 17.842 | 14.642 | 889 | 93.22 | 58.922
2019-10-04 23:45:00 | 7.504 | 166.6233 | 8.636 | 183.0893 | 12.8913 | 104.1807 | 13.0167 | 19.77 | 14.7727 | 889 | 92.2733 | 57.634