## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2019-10-05 00:00:00 | 7.084 | 228.31 | 8.146 | 250.88 | 12.29 | 219.156 | 12.288 | 20.664 | 14.79 | 889.1 | 92.2 | 58.674
2019-10-05 00:15:00 | 6.889 | 316.957 | 7.93 | 348.29 | 12.047 | 12.309 | 12.225 | 24.48 | 14.64 | 890 | 93.22 | 58.12
2019-10-05 00:30:00 | 6.889 | 316.957 | 7.93 | 348.29 | 12.047 | 12.309 | 12.225 | 24.48 | 14.64 | 890 | 93.22 | 58.12
2019-10-05 00:45:00 | 6.779 | 152.751 | 7.797 | 167.85 | 11.783 | 8.319 | 11.986 | 26.749 | 14.701 | 889 | 92.5 | 54.675
2019-10-05 01:00:00 | 5.728 | 302.686 | 6.59 | 332.62 | 10.466 | 11.928 | 10.418 | 19.326 | 14.706 | 889 | 92.64 | 52.3413
2019-10-05 01:15:00 | 5.832 | 178.394 | 6.7167 | 196.0333 | 10.41 | 10.6733 | 10.4647 | 17.2767 | 14.7073 | 889 | 92.6933 | 54.922
2019-10-05 01:30:00 | 6.25 | 212.218 | 7.19 | 233.2 | 11.062 | 15.038 | 10.884 | 15.494 | 14.696 | 889 | 92.86 | 57.232
2019-10-05 01:45:00 | 6.866 | 182.5487 | 7.9033 | 200.6 | 12.0967 | 14.2247 | 12.0507 | 19.0313 | 14.8333 | 889 | 91.6533 | 57.4687
2019-10-05 02:00:00 | 6.724 | 213.452 | 7.736 | 234.56 | 11.952 | 10.592 | 11.962 | 19.768 | 14.86 | 889 | 91.26 | 58.4687
2019-10-05 02:15:00 | 6.724 | 218.612 | 7.736 | 240.2267 | 11.868 | 9.3173 | 11.734 | 16.0027 | 14.9147 | 889 | 90.64 | 59.0647
2019-10-05 02:30:00 | 6.552 | 260.652 | 7.544 | 286.42 | 11.464 | 4.998 | 11.2 | 9.74 | 14.898 | 889 | 90.7 | 57.8887
2019-10-05 02:45:00 | 6.3027 | 82.9693 | 7.2587 | 91.1667 | 11.1587 | 224.7447 | 10.6107 | 2.3787 | 14.8513 | 889 | 91.2067 | 55.8347
2019-10-05 03:00:00 | 6.198 | 198.242 | 7.144 | 217.84 | 11.166 | 206.22 | 10.434 | 3.998 | 14.748 | 889 | 91.72 | 58.0907
2019-10-05 03:15:00 | 6.5913 | 248.246 | 7.58 | 272.8 | 11.486 | 267.0813 | 11.2233 | 21.282 | 14.7213 | 888.9333 | 91.74 | 60.538
2019-10-05 03:30:00 | 7.248 | 42.404 | 8.334 | 46.594 | 12.628 | 9.702 | 12.328 | 15.834 | 14.808 | 888 | 90.74 | 61.1333
2019-10-05 03:45:00 | 7.2907 | 256.616 | 8.386 | 281.986 | 12.8733 | 7.018 | 12.7507 | 17.406 | 14.8473 | 888 | 90.5667 | 60.004
2019-10-05 04:00:00 | 7.428 | 207.934 | 8.546 | 228.5 | 13.086 | 11.006 | 13.082 | 19.536 | 14.898 | 888 | 89.94 | 57.9233
2019-10-05 04:15:00 | 7.0707 | 205.6993 | 8.1373 | 226.0333 | 12.2753 | 9.382 | 12.3113 | 13.8727 | 14.926 | 888 | 89.6933 | 55.3287
2019-10-05 04:30:00 | 6.554 | 293.252 | 7.542 | 322.24 | 11.26 | 13.788 | 11.006 | 10.814 | 14.954 | 888 | 89.48 | 55.7247
2019-10-05 04:45:00 | 6.7153 | 120.388 | 7.7367 | 132.2933 | 11.8213 | 56.3613 | 11.1727 | 6.422 | 14.9813 | 888 | 89.04 | 56.786
2019-10-05 05:00:00 | 7.088 | 259.806 | 8.158 | 285.5 | 12.174 | 144.396 | 11.936 | 18.044 | 15.03 | 888 | 88.46 | 57.288
2019-10-05 05:15:00 | 7.0733 | 253.1167 | 8.1447 | 278.148 | 12.4913 | 33.6293 | 12.336 | 21.14 | 14.9393 | 888 | 89.1467 | 55.91
2019-10-05 05:30:00 | 7.038 | 31.664 | 8.096 | 34.788 | 12.396 | 9.612 | 12.282 | 17.448 | 14.914 | 888 | 89.16 | 55.0247
2019-10-05 05:45:00 | 6.7113 | 212.1173 | 7.72 | 233.0827 | 11.564 | 14.06 | 11.5447 | 20.3693 | 14.9693 | 888.0667 | 88.7267 | 55.828
2019-10-05 06:00:00 | 6.264 | 170.676 | 7.204 | 187.548 | 10.706 | 6.016 | 10.462 | 13.782 | 15.018 | 889 | 88.68 | 53.516
2019-10-05 06:15:00 | 6.364 | 257.256 | 7.3253 | 282.7 | 10.622 | 224.376 | 10.1793 | 22.866 | 14.9907 | 889 | 88.5333 | 53.2167
2019-10-05 06:30:00 | 6.472 | 281.68 | 7.446 | 309.54 | 11 | 214.324 | 10.532 | 8.054 | 14.964 | 889 | 89.16 | 53.964
2019-10-05 06:45:00 | 6.6293 | 68.3647 | 7.624 | 75.1213 | 11.304 | 259.0307 | 11.0607 | 7.832 | 14.9193 | 889 | 89.56 | 53.224
2019-10-05 07:00:00 | 6.878 | 15.46 | 7.914 | 16.978 | 11.91 | 9.138 | 11.826 | 19.89 | 14.838 | 889 | 90.2 | 52.668
2019-10-05 07:15:00 | 6.4247 | 34.516 | 7.394 | 37.922 | 11.0727 | 16.97 | 10.9007 | 7.8713 | 14.838 | 889 | 90.0267 | 50.252
2019-10-05 07:30:00 | 6.248 | 200.84 | 7.198 | 220.696 | 10.846 | 14.272 | 10.702 | 16.876 | 14.904 | 889 | 89.96 | 51.07
2019-10-05 07:45:00 | 6.032 | 82.784 | 6.9407 | 90.9693 | 10.552 | 12.3173 | 10.5773 | 12.3353 | 14.9767 | 889 | 89.72 | 52.352
2019-10-05 08:00:00 | 6.256 | 157.762 | 7.2 | 173.36 | 10.982 | 3.326 | 10.924 | 18.93 | 15.08 | 889 | 89.26 | 50.2307
2019-10-05 08:15:00 | 6.6133 | 266.0193 | 7.604 | 292.32 | 11.284 | 7.4327 | 11.288 | 18.8887 | 15.348 | 889 | 87.88 | 50.7727
2019-10-05 08:30:00 | 6.782 | 239.588 | 7.8 | 263.28 | 11.574 | 17.332 | 11.476 | 10.166 | 15.408 | 889.4 | 87.48 | 51.6313
2019-10-05 08:45:00 | 6.8767 | 53.696 | 7.9053 | 59.0067 | 11.9687 | 12.0773 | 11.5533 | 10.0967 | 15.5213 | 890 | 87.9733 | 49.8147
2019-10-05 09:00:00 | 6.43 | 198.656 | 7.394 | 218.3 | 11.224 | 12.27 | 10.778 | 10.246 | 15.614 | 890 | 87.72 | 49.218
2019-10-05 09:15:00 | 6.482 | 132.504 | 7.4607 | 145.6093 | 11.104 | 11.8607 | 10.9407 | 16.9273 | 15.5247 | 890 | 88.18 | 48.7407
2019-10-05 09:30:00 | 6.114 | 208.27 | 7.04 | 228.864 | 10.034 | 10.074 | 9.886 | 24.25 | 15.516 | 890 | 88.3 | 50.2573
2019-10-05 09:45:00 | 6.344 | 237.0127 | 7.3013 | 260.444 | 10.3847 | 23.03 | 9.9993 | 20.422 | 15.5473 | 890 | 88.0067 | 51.1013
2019-10-05 10:00:00 | 6.35 | 17.324 | 7.304 | 19.032 | 11.1 | 17.296 | 10.618 | 14.52 | 15.628 | 890 | 88.94 | 50.1253
2019-10-05 10:15:00 | 6.218 | 206.8453 | 7.1613 | 227.304 | 10.968 | 19.56 | 10.7287 | 22.3653 | 16.0467 | 890.7333 | 88.3533 | 45.23
2019-10-05 10:30:00 | 5.568 | 62.38 | 6.414 | 68.538 | 9.84 | 20.608 | 9.58 | 21.446 | 16.456 | 891 | 87.48 | 43.2687
2019-10-05 10:45:00 | 5.4053 | 204.9827 | 6.218 | 225.2487 | 9.66 | 18.0867 | 9.2627 | 25.158 | 16.6573 | 891 | 87.32 | 40.242
2019-10-05 11:00:00 | 5.038 | 142.168 | 5.796 | 156.216 | 9.57 | 11.8 | 9.304 | 20.388 | 17.186 | 891 | 87.64 | 39.6753
2019-10-05 11:15:00 | 4.9593 | 152.5227 | 5.7053 | 167.5973 | 9.31 | 18.5693 | 9.188 | 18.364 | 17.6167 | 891 | 85.4267 | 39.8727
2019-10-05 11:30:00 | 5.2 | 205.082 | 5.984 | 225.36 | 9.522 | 20.336 | 9.464 | 22.214 | 17.456 | 891 | 85.4 | 38.938
2019-10-05 11:45:00 | 5.5467 | 214.566 | 6.376 | 235.7733 | 9.7447 | 22.5067 | 9.2933 | 17.7487 | 17.2173 | 891 | 85.9067 | 39.6253
2019-10-05 12:00:00 | 5.28 | 65.302 | 6.072 | 71.756 | 9.442 | 15.078 | 9.024 | 19.15 | 17.524 | 891 | 85.58 | 38.188
2019-10-05 12:15:00 | 5.7213 | 171.3047 | 6.5827 | 188.244 | 10.0633 | 13.5807 | 9.712 | 27.6247 | 17.7507 | 890.9333 | 85.0733 | 39.0313
2019-10-05 12:30:00 | 5.964 | 229.156 | 6.868 | 251.82 | 10.652 | 12.282 | 10.004 | 15.724 | 17.712 | 890 | 84.98 | 39.244
2019-10-05 12:45:00 | 5.6973 | 218.6227 | 6.56 | 240.2467 | 10.4647 | 18.5273 | 9.8647 | 18.996 | 17.6173 | 890 | 86 | 36.87
2019-10-05 13:00:00 | 5.68 | 253.806 | 6.54 | 278.9 | 10.378 | 23.936 | 9.784 | 24.71 | 17.666 | 890 | 85.76 | 35.788
2019-10-05 13:15:00 | 5.5253 | 66.3353 | 6.3533 | 72.8973 | 10.2833 | 12.8947 | 10.0107 | 18.5593 | 17.786 | 890 | 86.6933 | 32.538
2019-10-05 13:30:00 | 5.248 | 195.802 | 6.042 | 215.16 | 9.78 | 16.492 | 9.644 | 23.058 | 17.798 | 890 | 86.6 | 30.286
2019-10-05 13:45:00 | 4.9647 | 285.6967 | 5.7133 | 313.9467 | 9.3673 | 25.2913 | 8.9167 | 18.3787 | 17.6693 | 890 | 86.7067 | 29.9027
2019-10-05 14:00:00 | 4.924 | 283.578 | 5.666 | 311.62 | 8.926 | 22.392 | 8.732 | 19.834 | 17.37 | 889.6 | 87.36 | 29.6273
2019-10-05 14:15:00 | 4.9387 | 145.3727 | 5.6887 | 159.7533 | 9.054 | 8.992 | 8.9333 | 22.0873 | 17.186 | 889 | 88.0333 | 29.1987
2019-10-05 14:30:00 | 4.652 | 26.1 | 5.352 | 28.682 | 8.706 | 21.976 | 8.56 | 23.392 | 17.18 | 889 | 88.54 | 25.7973
2019-10-05 14:45:00 | 4.7107 | 182.3853 | 5.4187 | 200.4247 | 8.7047 | 13.9573 | 8.3947 | 17.404 | 17.1913 | 888.9333 | 88.9 | 24.98
2019-10-05 15:00:00 | 4.908 | 140.258 | 5.656 | 154.118 | 8.744 | 19.726 | 8.594 | 23.112 | 17.114 | 888 | 88.4 | 25.3787
2019-10-05 15:15:00 | 4.868 | 272.55 | 5.5973 | 299.502 | 8.5613 | 12.9913 | 8.2127 | 22.9453 | 16.7247 | 888 | 88.8667 | 24.7073
2019-10-05 15:30:00 | 4.812 | 262.726 | 5.534 | 288.7 | 8.75 | 11.196 | 8.394 | 17.726 | 16.5 | 888 | 90.42 | 23.0573
2019-10-05 15:45:00 | 4.3853 | 82.1167 | 5.046 | 90.2267 | 7.9167 | 12.9627 | 7.6233 | 12.5073 | 16.3933 | 888 | 90.96 | 18.7927
2019-10-05 16:00:00 | 3.976 | 246.838 | 4.574 | 271.24 | 6.706 | 10.326 | 6.532 | 17.202 | 16.312 | 888 | 91.06 | 17.8633
2019-10-05 16:15:00 | 3.7787 | 47.2767 | 4.346 | 51.952 | 6.2967 | 92.802 | 6.016 | 16.6967 | 16.2313 | 888 | 91.0267 | 18.2507
2019-10-05 16:30:00 | 3.836 | 175.056 | 4.41 | 192.368 | 6.688 | 144.356 | 6.452 | 15.866 | 16.176 | 887.6 | 91.56 | 17.3633
2019-10-05 16:45:00 | 3.832 | 110.196 | 4.406 | 121.0933 | 6.7307 | 98.5107 | 6.5147 | 11.07 | 16.0973 | 887 | 91.96 | 16.814
2019-10-05 17:00:00 | 3.764 | 266.144 | 4.338 | 292.46 | 6.694 | 152.334 | 6.496 | 11.356 | 16.014 | 887 | 92.52 | 13.674
2019-10-05 17:15:00 | 3.4907 | 75.3293 | 4.0193 | 82.78 | 5.9033 | 96.286 | 5.8573 | 95.0093 | 15.8927 | 887.7333 | 92.8933 | 9.734
2019-10-05 17:30:00 | 3.324 | 190.044 | 3.832 | 208.84 | 6.034 | 354.72 | 5.798 | 143.16 | 15.772 | 888 | 94.16 | 9.4647
2019-10-05 17:45:00 | 3.152 | 293.2373 | 3.6267 | 322.24 | 5.8967 | 39.6267 | 5.6793 | 13.1387 | 15.5547 | 887.9333 | 96.28 | 10.9933
2019-10-05 18:00:00 | 3.216 | 116.982 | 3.71 | 128.55 | 5.88 | 215.18 | 5.638 | 214.048 | 15.316 | 887 | 97.64 | 11.6887
2019-10-05 18:15:00 | 3.2293 | 234.334 | 3.718 | 257.4967 | 5.7773 | 26.724 | 5.4913 | 43.572 | 15.1027 | 887 | 98.9067 | 15.654
2019-10-05 18:30:00 | 3.46 | 143.424 | 3.982 | 157.602 | 6.45 | 15.742 | 6.304 | 14.304 | 14.96 | 887 | 99.7 | 18.844
2019-10-05 18:45:00 | 3.5653 | 9.7653 | 4.102 | 10.7233 | 6.2353 | 6.774 | 6.144 | 15.8773 | 14.8133 | 887 | 99.9733 | 19.5827
2019-10-05 19:00:00 | 3.546 | 194.054 | 4.076 | 213.248 | 6.2 | 25.472 | 6.168 | 15.924 | 14.766 | 887 | 100 | 18.852
2019-10-05 19:15:00 | 3.4447 | 211.3967 | 3.968 | 232.292 | 5.8827 | 243.6227 | 5.912 | 12.5 | 14.7213 | 887 | 100 | 20.872
2019-10-05 19:30:00 | 3.536 | 23.814 | 4.066 | 26.16 | 5.896 | 15.068 | 5.806 | 19.282 | 14.692 | 887 | 100 | 17.6373
2019-10-05 19:45:00 | 2.9827 | 240.5593 | 3.43 | 264.348 | 5.2227 | 95.0773 | 5.3527 | 5.738 | 14.6953 | 887 | 100 | 13.4573
2019-10-05 20:00:00 | 2.692 | 111.824 | 3.094 | 122.88 | 4.652 | 138.83 | 4.74 | 8.052 | 14.706 | 887 | 100 | 11.706
2019-10-05 20:15:00 | 2.78 | 35.2893 | 3.1993 | 38.7667 | 5.2613 | 93.19 | 5.3147 | 2.32 | 14.7 | 887.0667 | 100 | 9.45
2019-10-05 20:30:00 | 2.812 | 217.394 | 3.238 | 238.88 | 5.164 | 351.92 | 5.134 | 2.192 | 14.7 | 888 | 100 | 9.2473
2019-10-05 20:45:00 | 2.4893 | 293.6767 | 2.8687 | 322.72 | 4.6867 | 122.4333 | 4.85 | 14.748 | 14.7087 | 888 | 100 | 10.1247
2019-10-05 21:00:00 | 2.676 | 264.008 | 3.082 | 290.12 | 5.06 | 142.81 | 5.172 | 8.024 | 14.734 | 888 | 100 | 9.1067
2019-10-05 21:15:00 | 2.428 | 144.5427 | 2.79 | 158.832 | 4.6493 | 93.4433 | 4.88 | 4.8507 | 14.7407 | 888 | 100 | 8.628
2019-10-05 21:30:00 | 2.334 | 28.166 | 2.684 | 30.95 | 4.318 | 142.784 | 4.458 | 6.64 | 14.75 | 888 | 100 | 9.4393
2019-10-05 21:45:00 | 2.4753 | 99.402 | 2.8467 | 109.2247 | 4.4207 | 241.3787 | 4.55 | 237.2653 | 14.75 | 888 | 100 | 10.4507
2019-10-05 22:00:00 | 2.32 | 241.27 | 2.668 | 265.12 | 4.426 | 4.894 | 4.474 | 2.976 | 14.746 | 888 | 100 | 12.976
2019-10-05 22:15:00 | 2.9 | 202.7913 | 3.3347 | 222.8373 | 5.2967 | 13.018 | 5.3233 | 13.3653 | 14.7553 | 888 | 100 | 14.1867
2019-10-05 22:30:00 | 3.02 | 164.114 | 3.48 | 180.336 | 5.608 | 5.754 | 5.574 | 18.846 | 14.762 | 888.4 | 100 | 13.852
2019-10-05 22:45:00 | 3.196 | 241.446 | 3.684 | 265.32 | 5.7867 | 93.618 | 5.826 | 9.6473 | 14.734 | 888.9333 | 100 | 13.5227
2019-10-05 23:00:00 | 3.244 | 20.342 | 3.732 | 22.35 | 5.962 | 144.772 | 5.98 | 18.324 | 14.702 | 888 | 100 | 12.608
2019-10-05 23:15:00 | 3.06 | 86.1393 | 3.5267 | 94.65 | 5.6393 | 5.0613 | 5.3907 | 13.036 | 14.676 | 888 | 100 | 13.84
2019-10-05 23:30:00 | 3.512 | 165.354 | 4.042 | 181.7 | 6.564 | 19.642 | 6.36 | 18.532 | 14.68 | 888 | 100 | 12.564
2019-10-05 23:45:00 | 3.2747 | 51.0033 | 3.7687 | 56.044 | 5.968 | 14.3153 | 5.5733 | 14.3027 | 14.664 | 888 | 100 | 11.55