## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2019-10-06 00:00:00 | 3.236 | 12.494 | 3.726 | 13.724 | 5.744 | 10.576 | 5.312 | 5.404 | 14.624 | 888 | 100 | 10.741
2019-10-06 00:15:00 | 3.227 | 28.16 | 3.717 | 30.95 | 5.783 | 16 | 5.747 | 21.673 | 14.573 | 888 | 100 | 10.556
2019-10-06 00:30:00 | 2.9 | 19.39 | 3.35 | 21.31 | 5.38 | 17.67 | 4.99 | 5.22 | 14.56 | 888 | 100 | 9.976
2019-10-06 00:45:00 | 3.148 | 98.57 | 3.62 | 108.3133 | 5.798 | 2.4613 | 5.3947 | 16.268 | 14.4627 | 888 | 100 | 11.68
2019-10-06 01:00:00 | 3.174 | 118.77 | 3.65 | 130.51 | 5.908 | 5.936 | 5.244 | 4.79 | 14.456 | 888 | 100 | 12.0787
2019-10-06 01:15:00 | 3.198 | 237.61 | 3.6807 | 261.0967 | 5.8427 | 13.3173 | 5.4307 | 5.8007 | 14.402 | 888 | 100 | 15.2207
2019-10-06 01:30:00 | 3.456 | 257.752 | 3.976 | 283.24 | 6.378 | 3.866 | 6.196 | 4.596 | 14.352 | 888 | 100 | 20.966
2019-10-06 01:45:00 | 4.096 | 135.68 | 4.7133 | 149.0867 | 7.1487 | 11.4353 | 6.9787 | 9.8773 | 14.232 | 888 | 100 | 24.6553
2019-10-06 02:00:00 | 4.264 | 311.814 | 4.912 | 342.64 | 7.508 | 7.668 | 7.6 | 15.24 | 14.118 | 888 | 100 | 27.2387
2019-10-06 02:15:00 | 4.59 | 277.462 | 5.2773 | 304.8933 | 7.9253 | 237.9787 | 7.848 | 14.2307 | 14.0153 | 887.9333 | 100 | 30.3847
2019-10-06 02:30:00 | 4.472 | 147.428 | 5.154 | 162.006 | 7.08 | 9.206 | 7.476 | 21.016 | 13.936 | 887 | 100 | 26.9253
2019-10-06 02:45:00 | 4.2547 | 99.0973 | 4.9033 | 108.894 | 7.0747 | 16.9567 | 7.4893 | 22.256 | 13.8893 | 887 | 100 | 25.584
2019-10-06 03:00:00 | 4.118 | 145.96 | 4.752 | 160.398 | 6.848 | 215.032 | 7.08 | 13.114 | 13.792 | 887 | 100 | 26.036
2019-10-06 03:15:00 | 4.0767 | 5.8013 | 4.7013 | 6.366 | 6.992 | 125.7867 | 7.08 | 5.41 | 13.7367 | 887 | 100 | 25.5753
2019-10-06 03:30:00 | 3.98 | 15.6 | 4.584 | 17.134 | 7.072 | 142.824 | 7.154 | 14.584 | 13.682 | 887 | 100 | 23.6873
2019-10-06 03:45:00 | 3.9907 | 84.2653 | 4.5907 | 92.5953 | 6.8867 | 243.8747 | 7.122 | 10.9707 | 13.574 | 887 | 100 | 27.096
2019-10-06 04:00:00 | 4.43 | 318.472 | 5.104 | 349.96 | 7.714 | 10.818 | 7.498 | 16.654 | 13.486 | 887 | 100 | 29.6773
2019-10-06 04:15:00 | 4.4947 | 84.3793 | 5.1667 | 92.716 | 8.232 | 265.532 | 8.154 | 4.2653 | 13.4453 | 887 | 100 | 37.9473
2019-10-06 04:30:00 | 5.08 | 187.83 | 5.85 | 206.392 | 8.798 | 233.564 | 8.806 | 10.03 | 13.346 | 887 | 100 | 41.6113
2019-10-06 04:45:00 | 5.576 | 47.042 | 6.4153 | 51.6907 | 9.0873 | 28.9453 | 9.0593 | 10.5833 | 13.186 | 887 | 100 | 41.6047
2019-10-06 05:00:00 | 5.446 | 33.086 | 6.266 | 36.356 | 9.442 | 8.288 | 9.286 | 15.174 | 13.102 | 887 | 100 | 43.3627
2019-10-06 05:15:00 | 5.4247 | 62.5527 | 6.2487 | 68.7333 | 9.626 | 14.9907 | 9.4873 | 33.458 | 13.014 | 887 | 100 | 41.184
2019-10-06 05:30:00 | 5.308 | 71.324 | 6.118 | 78.37 | 9.356 | 11.556 | 9.464 | 24.92 | 12.966 | 887 | 100 | 42.1973
2019-10-06 05:45:00 | 5.2 | 285.2253 | 5.9913 | 313.4233 | 9.164 | 9.524 | 9.3467 | 16.6613 | 12.9113 | 887 | 100 | 47.5307
2019-10-06 06:00:00 | 5.78 | 135.992 | 6.656 | 149.444 | 10.198 | 12.618 | 10.348 | 6.764 | 12.844 | 887 | 100 | 47.9413
2019-10-06 06:15:00 | 6.3053 | 76.4893 | 7.2573 | 84.0493 | 11.0153 | 9.5713 | 11.2667 | 13.4507 | 12.7667 | 887 | 100 | 48.7533
2019-10-06 06:30:00 | 6.234 | 182.168 | 7.172 | 200.18 | 11.422 | 9.612 | 11.296 | 17.804 | 12.716 | 887.4 | 100 | 50.3693
2019-10-06 06:45:00 | 7.17 | 63.268 | 8.248 | 69.5253 | 12.5847 | 12.1293 | 12.52 | 19.568 | 12.63 | 888 | 100 | 52.1873
2019-10-06 07:00:00 | 7.496 | 108.122 | 8.626 | 118.808 | 13.022 | 11.872 | 12.866 | 18.504 | 12.512 | 888 | 100 | 52.926
2019-10-06 07:15:00 | 7.552 | 58.5767 | 8.6887 | 64.36 | 13.102 | 14.1373 | 12.954 | 23.3507 | 12.4013 | 888 | 100 | 53.192
2019-10-06 07:30:00 | 7.548 | 208.948 | 8.684 | 229.6 | 12.904 | 15.192 | 13.03 | 18.46 | 12.342 | 888 | 100 | 54.2253
2019-10-06 07:45:00 | 7.5053 | 232.9093 | 8.6413 | 255.94 | 12.968 | 11.4653 | 12.5473 | 16.02 | 12.3013 | 888 | 100 | 55.89
2019-10-06 08:00:00 | 7.83 | 162.454 | 9.012 | 178.5133 | 13.586 | 12.0593 | 13.18 | 15.31 | 12.282 | 888 | 100 | 56.8047
2019-10-06 08:15:00 | 8.0653 | 211.824 | 9.2793 | 232.7693 | 13.7913 | 14.24 | 13.4467 | 19.9193 | 12.2413 | 888 | 100 | 58.088
2019-10-06 08:30:00 | 8.44 | 118.432 | 9.72 | 130.144 | 14.514 | 17.276 | 13.786 | 9.228 | 12.226 | 888 | 100 | 57.5913
2019-10-06 08:45:00 | 8.368 | 261.228 | 9.6293 | 287.0667 | 14.3567 | 15.7573 | 13.7393 | 20.2213 | 12.2133 | 888.0667 | 100 | 56.3047
2019-10-06 09:00:00 | 8.05 | 317.762 | 9.262 | 349.18 | 13.934 | 13.972 | 13.288 | 18.944 | 12.238 | 889 | 100 | 56.8607
2019-10-06 09:15:00 | 7.8953 | 43.47 | 9.0833 | 47.764 | 13.6793 | 16.0067 | 13.1693 | 12.2293 | 12.2433 | 889 | 100 | 58.0367
2019-10-06 09:30:00 | 7.734 | 174.34 | 8.894 | 191.576 | 13.26 | 12.182 | 12.646 | 23.374 | 12.258 | 889 | 100 | 58.6953
2019-10-06 09:45:00 | 8.1913 | 71.5893 | 9.422 | 78.66 | 14.0147 | 6.9193 | 13.602 | 15.986 | 12.2767 | 889 | 100 | 58.046
2019-10-06 10:00:00 | 8.134 | 34.922 | 9.362 | 38.372 | 14.354 | 15.172 | 13.782 | 16.248 | 12.27 | 889 | 100 | 56.6953
2019-10-06 10:15:00 | 8.0313 | 119.1527 | 9.234 | 130.932 | 13.9447 | 15.6867 | 13.406 | 9.3253 | 12.2433 | 889 | 100 | 58.2053
2019-10-06 10:30:00 | 8.268 | 30.816 | 9.516 | 33.86 | 14.362 | 10.26 | 13.794 | 15.158 | 12.306 | 889 | 100 | 60.2153
2019-10-06 10:45:00 | 7.916 | 166.0493 | 9.1147 | 182.4627 | 13.93 | 13.776 | 13.5353 | 13.3393 | 12.4053 | 889 | 100 | 60.8893
2019-10-06 11:00:00 | 7.38 | 222.24 | 8.486 | 244.22 | 12.93 | 11.038 | 12.666 | 14.54 | 12.412 | 889 | 100 | 60.5467
2019-10-06 11:15:00 | 7.7213 | 226.6867 | 8.8807 | 249.0973 | 13.4913 | 16.39 | 12.922 | 11.1347 | 12.436 | 889 | 100 | 59.47
2019-10-06 11:30:00 | 7.586 | 148.482 | 8.724 | 163.156 | 12.986 | 6.9 | 12.382 | 11.488 | 12.456 | 889 | 100 | 59.486
2019-10-06 11:45:00 | 7.5167 | 94.5913 | 8.6453 | 103.9333 | 13.23 | 98.888 | 12.7047 | 13.4707 | 12.6027 | 889 | 100 | 59.742
2019-10-06 12:00:00 | 7.408 | 290.164 | 8.518 | 318.86 | 13.108 | 149.282 | 12.72 | 21.032 | 12.708 | 889 | 100 | 59.0893
2019-10-06 12:15:00 | 7.8227 | 176.3253 | 9.0013 | 193.7533 | 13.536 | 258.146 | 13.4233 | 4.7873 | 12.79 | 889 | 100 | 59.3967
2019-10-06 12:30:00 | 7.596 | 99.122 | 8.738 | 108.92 | 13.28 | 5.134 | 13.15 | 19.046 | 12.934 | 889 | 100 | 59.8587
2019-10-06 12:45:00 | 7.5053 | 246.834 | 8.6353 | 271.24 | 13.2893 | 7.6033 | 12.938 | 15.1247 | 13.064 | 889 | 100 | 59.7807
2019-10-06 13:00:00 | 7.438 | 106.232 | 8.566 | 116.738 | 13.028 | 25.952 | 12.588 | 18.154 | 13.144 | 889 | 100 | 60.4567
2019-10-06 13:15:00 | 7.9327 | 94.0853 | 9.1193 | 103.3887 | 14.4 | 5.964 | 13.8733 | 8.262 | 13.35 | 889 | 100 | 60.4467
2019-10-06 13:30:00 | 8.212 | 190.5 | 9.44 | 209.34 | 14.834 | 13.842 | 14.348 | 17.204 | 13.448 | 889 | 100 | 60.8493
2019-10-06 13:45:00 | 8.7027 | 218.0853 | 10.008 | 239.6467 | 15.5313 | 14.558 | 15.2893 | 15.9133 | 13.6013 | 889 | 100 | 60.5667
2019-10-06 14:00:00 | 8.292 | 212.456 | 9.546 | 233.46 | 15.142 | 12.256 | 15.224 | 20.064 | 13.942 | 889 | 100 | 60.696
2019-10-06 14:15:00 | 8.0013 | 280.7933 | 9.206 | 308.5533 | 14.8633 | 16.4267 | 15.1887 | 28.496 | 14.2567 | 889 | 99.4533 | 60.8247
2019-10-06 14:30:00 | 8.5693 | 290.76 | 9.8527 | 319.5133 | 15.4347 | 16.29 | 15.3107 | 32.5973 | 14.398 | 889 | 97.8333 | 60.6833
2019-10-06 14:45:00 | 8.74 | 312.5493 | 10.0527 | 343.46 | 15.82 | 10.3313 | 15.9 | 24.8907 | 14.8113 | 889 | 96.3667 | 60.9807
2019-10-06 15:00:00 | 8.49 | 241.832 | 9.762 | 265.74 | 15.526 | 11.644 | 16.092 | 25.418 | 15.008 | 889 | 95.56 | 61.0927
2019-10-06 15:15:00 | 8.6407 | 95.424 | 9.9353 | 104.8573 | 15.6673 | 16.5987 | 16.1893 | 26.6713 | 15.0033 | 889 | 94.2933 | 60.6527
2019-10-06 15:30:00 | 8.912 | 41.256 | 10.25 | 45.328 | 16.264 | 16.456 | 16.436 | 26.828 | 15.006 | 889 | 94.14 | 61.2667
2019-10-06 15:45:00 | 8.6733 | 208.6013 | 9.9753 | 229.2307 | 16.0493 | 13.752 | 16.0627 | 28.9187 | 15.076 | 889 | 93.6133 | 62.1707
2019-10-06 16:00:00 | 8.552 | 14.384 | 9.84 | 15.8 | 15.892 | 18.568 | 15.954 | 19.368 | 15.04 | 889 | 93.14 | 61.9667
2019-10-06 16:15:00 | 8.7307 | 69.3133 | 10.0453 | 76.1573 | 15.7773 | 16.372 | 15.8787 | 25.3707 | 14.972 | 888.9333 | 92.4333 | 62.2607
2019-10-06 16:30:00 | 8.85 | 86.666 | 10.186 | 95.238 | 16.158 | 11.332 | 16.322 | 21.478 | 14.892 | 888 | 92.44 | 61.6527
2019-10-06 16:45:00 | 9.0233 | 21.7633 | 10.3873 | 23.91 | 16.6193 | 12.3787 | 16.546 | 24.3167 | 14.812 | 888.0667 | 92.7667 | 61.4747
2019-10-06 17:00:00 | 9.208 | 26.634 | 10.592 | 29.268 | 16.716 | 12.034 | 16.372 | 22.032 | 14.76 | 888.6 | 92.46 | 62.374
2019-10-06 17:15:00 | 9.296 | 134.0193 | 10.692 | 147.2707 | 17.0213 | 13.7753 | 16.9813 | 25.3307 | 14.7067 | 888 | 92.3733 | 63.2653
2019-10-06 17:30:00 | 9.4 | 30.21 | 10.822 | 33.19 | 17.236 | 7.734 | 17.16 | 26.196 | 14.59 | 888 | 92.34 | 62.5393
2019-10-06 17:45:00 | 9.368 | 156.7753 | 10.7833 | 172.27 | 17.2827 | 13.0113 | 17.2627 | 24.6813 | 14.3913 | 888 | 93.6267 | 62.4753
2019-10-06 18:00:00 | 9.564 | 282.54 | 10.996 | 310.48 | 17.504 | 20.69 | 17.556 | 27.318 | 14.326 | 888 | 93.46 | 63.1953
2019-10-06 18:15:00 | 9.2947 | 274.116 | 10.6907 | 301.2133 | 17.168 | 16.2553 | 17.34 | 26.2073 | 14.2813 | 888.0667 | 93.3333 | 62.5133
2019-10-06 18:30:00 | 9.218 | 150.404 | 10.616 | 165.278 | 16.94 | 16.77 | 17.186 | 27.756 | 14.264 | 889 | 92.92 | 62.446
2019-10-06 18:45:00 | 9.3153 | 219.9387 | 10.7173 | 241.6887 | 17.142 | 19.93 | 17.472 | 29.4933 | 14.2853 | 889 | 92.3867 | 61.4473
2019-10-06 19:00:00 | 9.344 | 79.868 | 10.756 | 87.766 | 16.872 | 21.624 | 17.378 | 23.714 | 14.324 | 889 | 91.56 | 62.0367
2019-10-06 19:15:00 | 9.072 | 143.8653 | 10.4387 | 158.094 | 16.1853 | 16.392 | 16.574 | 25.7673 | 14.4493 | 889 | 89.9133 | 61.9047
2019-10-06 19:30:00 | 9.138 | 242.928 | 10.508 | 266.94 | 16.606 | 16.742 | 17.142 | 24.996 | 14.476 | 889 | 89.86 | 62.0687
2019-10-06 19:45:00 | 9.104 | 54.4427 | 10.466 | 59.8227 | 16.4673 | 12.9473 | 17.0153 | 30.7707 | 14.4607 | 889.0667 | 89.72 | 62.444
2019-10-06 20:00:00 | 8.984 | 69.022 | 10.33 | 75.844 | 16.112 | 21.18 | 16.706 | 31.25 | 14.512 | 890 | 89.12 | 61.646
2019-10-06 20:15:00 | 8.7787 | 10.0067 | 10.098 | 10.9873 | 15.896 | 20.382 | 16.2987 | 31.576 | 14.476 | 890 | 89.3533 | 62.1127
2019-10-06 20:30:00 | 9.044 | 173.154 | 10.406 | 190.264 | 16.366 | 18.13 | 16.674 | 29.3 | 14.532 | 890 | 88.96 | 62.0207
2019-10-06 20:45:00 | 8.244 | 228.618 | 9.49 | 251.2267 | 15.198 | 18.322 | 15.3567 | 30.1933 | 14.456 | 890.0667 | 89.4467 | 61.8827
2019-10-06 21:00:00 | 8.122 | 56.658 | 9.344 | 62.258 | 14.964 | 14.216 | 15.372 | 28.408 | 14.424 | 891 | 89.22 | 60.75
2019-10-06 21:15:00 | 8.7033 | 155.1893 | 10.0167 | 170.5387 | 16.0147 | 15.892 | 15.8793 | 20.9747 | 14.5247 | 891 | 88.62 | 60.8393
2019-10-06 21:30:00 | 8.432 | 170.568 | 9.694 | 187.432 | 15.652 | 19.548 | 15.522 | 24.156 | 14.44 | 891 | 89.38 | 60.5893
2019-10-06 21:45:00 | 8.4453 | 189.5907 | 9.71 | 208.34 | 15.7647 | 9.636 | 15.5267 | 22.3053 | 14.4773 | 891 | 88.9933 | 61.084
2019-10-06 22:00:00 | 8.632 | 232.348 | 9.926 | 255.32 | 16.016 | 17.162 | 16.08 | 23.402 | 14.518 | 891 | 88.64 | 61.2613
2019-10-06 22:15:00 | 8.42 | 165.7693 | 9.6807 | 182.16 | 15.576 | 11.954 | 15.6747 | 26.5793 | 14.53 | 891 | 88.5 | 61.1113
2019-10-06 22:30:00 | 8.268 | 49.858 | 9.516 | 54.784 | 15.216 | 12.288 | 15.446 | 23.214 | 14.526 | 891 | 88.74 | 60.7787
2019-10-06 22:45:00 | 8.7267 | 239.8687 | 10.0373 | 263.5893 | 16.176 | 14.8507 | 16.1827 | 21.3807 | 14.5533 | 891 | 88.4 | 61.0887
2019-10-06 23:00:00 | 8.964 | 207.512 | 10.312 | 228.04 | 16.536 | 13.592 | 16.436 | 21.544 | 14.538 | 891 | 88.44 | 61.6607
2019-10-06 23:15:00 | 9.5267 | 191.9093 | 10.9667 | 210.88 | 17.3507 | 12.2373 | 16.9933 | 25.1507 | 14.6873 | 891 | 86.9467 | 61.756
2019-10-06 23:30:00 | 9.432 | 243.978 | 10.844 | 268.1 | 17.406 | 16.376 | 17.086 | 25.652 | 14.782 | 891 | 86.36 | 61.638
2019-10-06 23:45:00 | 9.424 | 267.47 | 10.8373 | 293.9133 | 17.27 | 11.764 | 16.7553 | 19.636 | 14.6847 | 891 | 86.9667 | 61.8147