## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2019-10-07 00:00:00 | 9.8171 | 148.1486 | 11.2957 | 162.8029 | 17.9443 | 15.0786 | 17.85 | 26.8357 | 14.6636 | 891 | 86.8818 | 61.7893
2019-10-07 00:15:00 | 10.004 | 233.492 | 11.5147 | 256.572 | 18.096 | 7.078 | 17.8387 | 21.838 | 14.656 | 890.9333 | 86.9867 | 62.026
2019-10-07 00:30:00 | 10.1 | 254.262 | 11.622 | 279.4 | 18.44 | 6.188 | 17.642 | 18.132 | 14.624 | 890 | 87.24 | 62.0527
2019-10-07 00:45:00 | 10.412 | 91.8367 | 11.9833 | 100.9133 | 18.7853 | 10.4213 | 18.5087 | 22.1427 | 14.648 | 890 | 86.5667 | 61.8293
2019-10-07 01:00:00 | 10.036 | 75.612 | 11.544 | 83.084 | 18.384 | 10.918 | 18.158 | 18.29 | 14.6 | 890 | 86.84 | 61.8467
2019-10-07 01:15:00 | 9.592 | 241.9827 | 11.032 | 265.916 | 17.5427 | 5.538 | 17.334 | 13.3247 | 14.6293 | 890 | 86.36 | 60.942
2019-10-07 01:30:00 | 9.24 | 68.394 | 10.628 | 75.156 | 16.618 | 8.24 | 17.292 | 22.434 | 14.62 | 890 | 86 | 59.0047
2019-10-07 01:45:00 | 8.576 | 48.974 | 9.8707 | 53.82 | 15.6007 | 20.1093 | 16.4173 | 27.1153 | 14.6193 | 890 | 85.84 | 57.098
2019-10-07 02:00:00 | 8.092 | 154.222 | 9.304 | 169.464 | 14.51 | 21.078 | 15.334 | 33.252 | 14.628 | 890 | 85.08 | 56.5167
2019-10-07 02:15:00 | 7.9933 | 229.6833 | 9.192 | 252.4 | 14.2887 | 21.71 | 14.754 | 21.268 | 14.612 | 890.6667 | 84.7933 | 58.5013
2019-10-07 02:30:00 | 8.13 | 152.708 | 9.35 | 167.8 | 14.516 | 17.826 | 14.418 | 26.824 | 14.608 | 890.4 | 84.36 | 60.86
2019-10-07 02:45:00 | 8.4047 | 307.704 | 9.674 | 338.1333 | 15.0347 | 8.2793 | 14.8313 | 27.2853 | 14.5213 | 890.2667 | 84.7067 | 60.7713
2019-10-07 03:00:00 | 8.588 | 231.762 | 9.882 | 254.68 | 15.438 | 7.83 | 15.256 | 23.802 | 14.42 | 890 | 84.98 | 61.5407
2019-10-07 03:15:00 | 8.516 | 175.4247 | 9.7953 | 192.776 | 15.2827 | 23.2433 | 15.444 | 25.0567 | 14.304 | 890 | 85.8467 | 61.0573
2019-10-07 03:30:00 | 8.44 | 60.006 | 9.714 | 65.944 | 15.13 | 16.84 | 15.23 | 24.51 | 14.248 | 890 | 85.84 | 61.556
2019-10-07 03:45:00 | 8.7773 | 201.5833 | 10.102 | 221.52 | 15.8007 | 6.3587 | 15.3247 | 30.85 | 14.1533 | 890 | 85.7933 | 61.0373
2019-10-07 04:00:00 | 8.812 | 86.034 | 10.142 | 94.538 | 15.78 | 7.624 | 15.244 | 27.542 | 14.044 | 890 | 86.14 | 60.2533
2019-10-07 04:15:00 | 8.802 | 245.7407 | 10.124 | 270.042 | 15.992 | 12.1253 | 15.4613 | 14.1287 | 13.872 | 890 | 86.86 | 60.2793
2019-10-07 04:30:00 | 8.624 | 121.79 | 9.92 | 133.83 | 15.712 | 7.784 | 15.112 | 20.452 | 13.824 | 890 | 87.14 | 59.7887
2019-10-07 04:45:00 | 8.1627 | 279.1393 | 9.3987 | 306.7367 | 15.2093 | 9.58 | 15.088 | 19.3653 | 13.7433 | 890 | 88.5 | 59.282
2019-10-07 05:00:00 | 8.048 | 289.804 | 9.27 | 318.46 | 14.988 | 14.594 | 15.496 | 22.522 | 13.672 | 890 | 88.8 | 58.9473
2019-10-07 05:15:00 | 7.7867 | 131.8453 | 8.9567 | 144.8867 | 14.4573 | 7.242 | 14.9373 | 21.7727 | 13.5747 | 890 | 89.5467 | 58.5947
2019-10-07 05:30:00 | 7.86 | 300.532 | 9.052 | 330.26 | 14.726 | 11.506 | 14.75 | 27.84 | 13.532 | 890 | 89.56 | 59.1047
2019-10-07 05:45:00 | 8.0053 | 164.56 | 9.208 | 180.8333 | 14.9753 | 9.394 | 15.042 | 23.7627 | 13.492 | 890 | 89.3933 | 59.9387
2019-10-07 06:00:00 | 7.9993 | 266.7033 | 9.2053 | 293.08 | 14.7947 | 15.316 | 14.714 | 21.64 | 13.4287 | 890 | 89.3867 | 61.4413
2019-10-07 06:15:00 | 8.1773 | 64.268 | 9.4067 | 70.62 | 15.1373 | 15.694 | 14.8867 | 15.9893 | 13.446 | 890 | 88.7333 | 60.9647
2019-10-07 06:30:00 | 8.146 | 157.772 | 9.37 | 173.38 | 15.024 | 15.25 | 15.09 | 24.69 | 13.396 | 890 | 89.2 | 61.078
2019-10-07 06:45:00 | 8.0813 | 165.1373 | 9.3007 | 181.4733 | 15.0067 | 12.382 | 15.0807 | 24.3153 | 13.3 | 890.0667 | 89.8933 | 60.754
2019-10-07 07:00:00 | 7.948 | 96.028 | 9.148 | 105.516 | 14.686 | 13.386 | 14.784 | 21.056 | 13.276 | 891 | 89.6 | 61.006
2019-10-07 07:15:00 | 8.076 | 37.9453 | 9.3013 | 41.696 | 14.966 | 13.4153 | 15.06 | 25.3733 | 13.2287 | 891 | 90.2533 | 59.9267
2019-10-07 07:30:00 | 7.928 | 23.174 | 9.13 | 25.456 | 14.584 | 11.886 | 14.718 | 26.926 | 13.154 | 891 | 90.2 | 60.422
2019-10-07 07:45:00 | 8.424 | 201.4573 | 9.702 | 221.3773 | 15.352 | 14.8233 | 15.1913 | 25.2933 | 13.19 | 891 | 89.9733 | 61.5393
2019-10-07 08:00:00 | 8.548 | 193.978 | 9.84 | 213.16 | 15.458 | 13.342 | 15.39 | 22.666 | 12.938 | 891 | 92.76 | 61.5513
2019-10-07 08:15:00 | 8.176 | 152.7713 | 9.404 | 167.88 | 14.9607 | 12.722 | 15.2353 | 23.3793 | 12.546 | 891 | 95.8 | 61.6773
2019-10-07 08:30:00 | 7.884 | 185.702 | 9.074 | 204.06 | 14.406 | 19.388 | 14.518 | 24.95 | 12.454 | 891 | 96.5 | 61.7233
2019-10-07 08:45:00 | 7.8053 | 134.458 | 8.9847 | 147.7533 | 14.4073 | 16.3773 | 14.2593 | 24.1887 | 12.436 | 891.0667 | 97.5267 | 61.7487
2019-10-07 09:00:00 | 7.628 | 11.462 | 8.778 | 12.59 | 14.166 | 13.344 | 14.304 | 26.328 | 12.58 | 891.6 | 97.72 | 61.0167
2019-10-07 09:15:00 | 7.348 | 223.8713 | 8.45 | 246.002 | 13.7433 | 9.6653 | 13.7627 | 21.4 | 12.744 | 891.7333 | 97.3467 | 57.4833
2019-10-07 09:30:00 | 7.636 | 115.322 | 8.792 | 126.728 | 13.808 | 6.136 | 13.614 | 18.414 | 13.114 | 892 | 95.66 | 56.4447
2019-10-07 09:45:00 | 7.756 | 172.7713 | 8.9333 | 189.8533 | 14.144 | 11.2907 | 13.7873 | 20.7687 | 13.4887 | 892 | 93.3267 | 56.462
2019-10-07 10:00:00 | 7.744 | 263.114 | 8.91 | 289.14 | 13.948 | 14.212 | 13.784 | 25.896 | 13.636 | 892 | 92.14 | 55.5733
2019-10-07 10:15:00 | 7.674 | 264.9033 | 8.826 | 291.1 | 14.08 | 8.5893 | 14.312 | 22.8853 | 13.716 | 892 | 92.3667 | 56.784
2019-10-07 10:30:00 | 7.74 | 179.746 | 8.902 | 197.52 | 14.504 | 16.588 | 14.594 | 24.42 | 13.73 | 892 | 92.52 | 56.798
2019-10-07 10:45:00 | 7.788 | 222.5847 | 8.9607 | 244.6 | 14.336 | 14.8707 | 14.5927 | 25.7373 | 13.7847 | 892 | 91.5333 | 56.864
2019-10-07 11:00:00 | 8.07 | 121.186 | 9.284 | 133.16 | 14.856 | 17.638 | 15.018 | 25.994 | 13.658 | 892 | 91.02 | 59.8733
2019-10-07 11:15:00 | 7.9473 | 184.0473 | 9.1493 | 202.2533 | 14.7587 | 10.8713 | 14.77 | 18.47 | 13.6233 | 892 | 90.7133 | 61.5713
2019-10-07 11:30:00 | 8.5 | 249.346 | 9.784 | 274 | 15.516 | 11.24 | 15.436 | 20.54 | 13.696 | 892 | 89.8 | 61.5873
2019-10-07 11:45:00 | 8.7333 | 121.1753 | 10.0467 | 133.1573 | 15.9227 | 18.8973 | 15.7733 | 27.4907 | 13.7427 | 892 | 89.18 | 61.2907
2019-10-07 12:00:00 | 8.58 | 138.632 | 9.876 | 152.336 | 15.556 | 13.848 | 15.578 | 20.984 | 13.818 | 892 | 88.36 | 61.9347
2019-10-07 12:15:00 | 8.4227 | 96.5267 | 9.6947 | 106.06 | 15.3693 | 17.96 | 15.6353 | 26.18 | 13.9753 | 891.9333 | 88.5133 | 61.314
2019-10-07 12:30:00 | 8.468 | 227.76 | 9.736 | 250.28 | 15.48 | 10.72 | 15.482 | 21.104 | 14.148 | 891 | 87.62 | 60.4247
2019-10-07 12:45:00 | 8.2027 | 157.5413 | 9.4373 | 173.1227 | 15.0267 | 15.2707 | 15.3247 | 22.252 | 14.304 | 891.6667 | 86.7267 | 60.478
2019-10-07 13:00:00 | 8.05 | 162.766 | 9.262 | 178.864 | 14.632 | 22.732 | 14.986 | 26.538 | 14.308 | 891 | 86.36 | 59.764
2019-10-07 13:15:00 | 7.89 | 54.7833 | 9.078 | 60.1973 | 14.3373 | 17.572 | 14.546 | 28.246 | 14.4413 | 891 | 86.1867 | 59.9193
2019-10-07 13:30:00 | 7.708 | 56.148 | 8.872 | 61.696 | 13.882 | 8.312 | 14.392 | 26.66 | 14.658 | 891 | 85.78 | 60.1527
2019-10-07 13:45:00 | 7.8933 | 189.0947 | 9.0867 | 207.7907 | 14.3567 | 22.2173 | 14.8493 | 26.936 | 14.9607 | 891 | 85.4733 | 60.152
2019-10-07 14:00:00 | 7.852 | 61.758 | 9.032 | 67.87 | 14.168 | 16.112 | 14.634 | 33.904 | 15.046 | 891 | 84.6 | 60.1767
2019-10-07 14:15:00 | 7.4133 | 73.1033 | 8.528 | 80.3327 | 13.0493 | 16.5373 | 13.7167 | 26.7387 | 15.1153 | 891 | 84.0267 | 59.3833
2019-10-07 14:30:00 | 7.244 | 179.534 | 8.334 | 197.28 | 12.732 | 12.22 | 13.028 | 30.408 | 15.346 | 891 | 83.18 | 59.5047
2019-10-07 14:45:00 | 7.0887 | 57.45 | 8.156 | 63.1267 | 12.5973 | 21.5507 | 13.1573 | 26.5093 | 15.5167 | 891 | 82.5133 | 59.1047
2019-10-07 15:00:00 | 6.982 | 187.03 | 8.036 | 205.52 | 12.106 | 19.38 | 12.912 | 24.722 | 15.53 | 891 | 81.92 | 57.2467
2019-10-07 15:15:00 | 7.006 | 161.466 | 8.0613 | 177.4333 | 12.3087 | 28.2973 | 13.3573 | 34.5473 | 15.5427 | 891.0667 | 81.68 | 56.1333
2019-10-07 15:30:00 | 6.616 | 209.32 | 7.612 | 230.02 | 11.654 | 24.55 | 12.61 | 36.096 | 15.538 | 892 | 81.74 | 56.7673
2019-10-07 15:45:00 | 7.1413 | 31.7547 | 8.2187 | 34.8933 | 12.6647 | 13.4767 | 13.0527 | 33.2573 | 15.3727 | 891.2667 | 81.9267 | 55.7973
2019-10-07 16:00:00 | 6.876 | 203.92 | 7.922 | 224.08 | 12.11 | 32.448 | 12.724 | 34.554 | 15.132 | 891 | 82.58 | 56.036
2019-10-07 16:15:00 | 6.6867 | 147.896 | 7.69 | 162.52 | 11.734 | 25.7787 | 13.028 | 34.074 | 14.84 | 891 | 83.82 | 55.216
2019-10-07 16:30:00 | 6.76 | 251.058 | 7.778 | 275.88 | 11.99 | 25.29 | 13.35 | 34.7 | 14.786 | 891 | 84.34 | 54.2793
2019-10-07 16:45:00 | 7.012 | 162.414 | 8.066 | 178.472 | 12.3953 | 24.7247 | 14.034 | 38.7413 | 14.6573 | 891 | 84.5333 | 52.648
2019-10-07 17:00:00 | 7.12 | 173.002 | 8.19 | 190.108 | 12.672 | 27.702 | 14.064 | 35.466 | 14.54 | 891 | 84.62 | 54.8213
2019-10-07 17:15:00 | 6.784 | 221.2567 | 7.81 | 243.14 | 12.1413 | 35.166 | 13.7493 | 35.5633 | 14.3987 | 891 | 85.4867 | 54.9567
2019-10-07 17:30:00 | 6.32 | 210.818 | 7.276 | 231.66 | 11.534 | 19.63 | 12.906 | 26.292 | 14.206 | 891 | 86.8 | 53.5933
2019-10-07 17:45:00 | 6.2667 | 86.686 | 7.2187 | 95.26 | 11.398 | 24.666 | 12.6727 | 34.1853 | 14.0673 | 891 | 87.6267 | 53.0933
2019-10-07 18:00:00 | 6.036 | 96.638 | 6.94 | 106.192 | 11.082 | 25.844 | 12.17 | 30.188 | 14.04 | 891 | 87.62 | 51.6107
2019-10-07 18:15:00 | 6.2307 | 242.1873 | 7.1627 | 266.1413 | 11.318 | 23.8267 | 12.6287 | 33.5067 | 14.0553 | 891 | 86.9533 | 52.9687
2019-10-07 18:30:00 | 6.316 | 69.184 | 7.262 | 76.024 | 11.622 | 21.764 | 12.816 | 30.738 | 13.974 | 891 | 87.54 | 51.674
2019-10-07 18:45:00 | 6.1987 | 141.0413 | 7.13 | 154.9893 | 11.522 | 23.9067 | 12.5533 | 27.802 | 13.746 | 891 | 88.86 | 53.6993
2019-10-07 19:00:00 | 6.268 | 196.964 | 7.21 | 216.44 | 11.61 | 17.158 | 12.852 | 34.808 | 13.666 | 891 | 88.66 | 54.2587
2019-10-07 19:15:00 | 6.4653 | 86.016 | 7.4353 | 94.5133 | 11.7967 | 20.5807 | 13.0413 | 38.0053 | 13.6133 | 891 | 88.74 | 53.004
2019-10-07 19:30:00 | 6.636 | 182.748 | 7.628 | 200.82 | 12.16 | 21.204 | 12.64 | 32.712 | 13.536 | 891 | 88.9 | 53.6953
2019-10-07 19:45:00 | 6.3533 | 233.1187 | 7.3053 | 256.1667 | 11.6507 | 16.78 | 11.9787 | 35.5947 | 13.5113 | 891 | 88.94 | 54.5947
2019-10-07 20:00:00 | 6.112 | 82.804 | 7.032 | 90.988 | 11.53 | 17.71 | 11.602 | 29.436 | 13.404 | 891 | 90.38 | 56.3767
2019-10-07 20:15:00 | 6.0987 | 122.46 | 7.0173 | 134.572 | 11.486 | 15.5727 | 11.4233 | 27.688 | 13.3173 | 891.7333 | 91.1933 | 57.78
2019-10-07 20:30:00 | 6.15 | 228.864 | 7.084 | 251.5 | 11.328 | 15.218 | 11.164 | 20.438 | 13.35 | 892 | 90.86 | 56.7653
2019-10-07 20:45:00 | 5.9167 | 61.88 | 6.8093 | 67.9933 | 11.04 | 16.0473 | 10.956 | 27.0553 | 13.3787 | 892 | 90.5133 | 55.73
2019-10-07 21:00:00 | 5.84 | 52.946 | 6.73 | 58.172 | 10.894 | 22.976 | 10.938 | 31.786 | 13.39 | 892 | 90.6 | 54.568
2019-10-07 21:15:00 | 5.7067 | 163.8033 | 6.5607 | 180.0013 | 10.5973 | 22.6367 | 10.6987 | 31.9833 | 13.3767 | 892 | 90.84 | 53.8787
2019-10-07 21:30:00 | 6.152 | 171.93 | 7.076 | 188.92 | 11.434 | 17.914 | 11.184 | 31.09 | 13.42 | 892 | 90.28 | 53.7587
2019-10-07 21:45:00 | 5.9547 | 113.21 | 6.848 | 124.4027 | 11.0167 | 10.2527 | 10.8573 | 25.2233 | 13.4987 | 892 | 89.8 | 51.842
2019-10-07 22:00:00 | 5.584 | 165.484 | 6.422 | 181.844 | 10.326 | 13.608 | 10.488 | 23.392 | 13.436 | 892 | 90.16 | 50.8773
2019-10-07 22:15:00 | 5.7093 | 180.032 | 6.572 | 197.8267 | 11.01 | 18.24 | 10.9787 | 24.848 | 13.3267 | 892 | 91.26 | 52.7047
2019-10-07 22:30:00 | 6.194 | 114.104 | 7.122 | 125.378 | 11.42 | 13.45 | 11.138 | 16.868 | 13.324 | 892 | 90.48 | 56.0933
2019-10-07 22:45:00 | 6.562 | 118.4293 | 7.5473 | 130.1407 | 12.068 | 8.2407 | 11.502 | 14.5347 | 13.4333 | 892.0667 | 89.6933 | 55.8753
2019-10-07 23:00:00 | 6.416 | 179.816 | 7.384 | 197.588 | 11.478 | 12.282 | 11.05 | 20.864 | 13.402 | 893 | 89.92 | 55.8127
2019-10-07 23:15:00 | 6.5453 | 161.14 | 7.528 | 177.0733 | 11.9913 | 8.7313 | 11.628 | 15.3987 | 13.2807 | 892.2667 | 90.7267 | 55.9847
2019-10-07 23:30:00 | 6.85 | 228.634 | 7.876 | 251.24 | 12.562 | 5.726 | 11.982 | 18.042 | 13.194 | 892 | 91.18 | 55.0627
2019-10-07 23:45:00 | 7.214 | 85.9073 | 8.3013 | 94.4067 | 13.31 | 13.8367 | 12.7553 | 22.4393 | 13.1033 | 892 | 91.8733 | 54.6487