## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2019-10-08 00:00:00 | 7.5857 | 117.2871 | 8.7343 | 128.8857 | 13.78 | 7.2757 | 13.3057 | 16.5271 | 13.0729 | 892 | 91.9357 | 53.8314
2019-10-08 00:15:00 | 7.4147 | 100.684 | 8.538 | 110.6333 | 14.114 | 12.4593 | 13.73 | 16.082 | 13.004 | 892 | 92.6133 | 52.8487
2019-10-08 00:30:00 | 7.38 | 70.462 | 8.494 | 77.428 | 13.656 | 11.698 | 13.522 | 16.718 | 12.954 | 892 | 92.76 | 51.5133
2019-10-08 00:45:00 | 7.356 | 203.9113 | 8.4633 | 224.0787 | 13.6667 | 9.0807 | 13.7233 | 18.1593 | 12.954 | 892 | 92.6267 | 50.8687
2019-10-08 01:00:00 | 7.108 | 123.184 | 8.172 | 135.36 | 13.016 | 6.872 | 12.918 | 21.154 | 12.978 | 892 | 92.48 | 49.1787
2019-10-08 01:15:00 | 7.1427 | 117.0467 | 8.2213 | 128.624 | 12.8107 | 9.0547 | 12.7793 | 23.6113 | 13.0173 | 892 | 92.0333 | 49.6487
2019-10-08 01:30:00 | 7.056 | 116.444 | 8.118 | 127.956 | 12.804 | 20.93 | 12.684 | 19.332 | 13.028 | 892 | 91.98 | 49.248
2019-10-08 01:45:00 | 6.9493 | 170.176 | 7.9953 | 186.9933 | 12.4307 | 8.1553 | 11.8907 | 15.6987 | 12.9933 | 892 | 92.1933 | 50.8853
2019-10-08 02:00:00 | 6.618 | 135.724 | 7.616 | 149.14 | 11.67 | 7.282 | 11.268 | 13.504 | 12.932 | 892 | 92.46 | 50.328
2019-10-08 02:15:00 | 5.826 | 225.2547 | 6.708 | 247.524 | 9.9047 | 8.0207 | 9.84 | 16.316 | 12.9333 | 891.9333 | 92.0667 | 48.9333
2019-10-08 02:30:00 | 5.778 | 190.954 | 6.648 | 209.836 | 10.132 | 8.052 | 10.106 | 13.402 | 12.962 | 891 | 92.02 | 49.8333
2019-10-08 02:45:00 | 6.634 | 128.5033 | 7.636 | 141.2133 | 12.2293 | 10.672 | 12.054 | 16.086 | 12.8527 | 891 | 92.6733 | 52.6287
2019-10-08 03:00:00 | 6.208 | 5.256 | 7.138 | 5.77 | 11.714 | 12.32 | 11.666 | 22.706 | 12.78 | 891 | 93 | 52.9987
2019-10-08 03:15:00 | 6.6213 | 174.3773 | 7.6207 | 191.6233 | 12.0007 | 13.208 | 11.9767 | 21.2033 | 12.76 | 891 | 92.7133 | 52.93
2019-10-08 03:30:00 | 7.244 | 143.364 | 8.338 | 157.54 | 12.984 | 15.336 | 12.948 | 18.566 | 12.784 | 891 | 92.48 | 54.5633
2019-10-08 03:45:00 | 7.6227 | 160.8093 | 8.7793 | 176.7133 | 13.76 | 10.4133 | 13.5133 | 20.8833 | 12.7453 | 890.2667 | 92.76 | 55.0687
2019-10-08 04:00:00 | 7.87 | 163.824 | 9.06 | 180.02 | 14.142 | 10.766 | 13.96 | 14.916 | 12.752 | 890 | 92.5 | 55.9627
2019-10-08 04:15:00 | 8.2567 | 58.8207 | 9.508 | 64.628 | 14.7273 | 7.7487 | 14.396 | 16.092 | 12.788 | 890 | 92.12 | 56.4853
2019-10-08 04:30:00 | 7.86 | 162.614 | 9.052 | 178.692 | 14.258 | 14.182 | 14.05 | 18.926 | 12.802 | 890 | 92.36 | 54.9527
2019-10-08 04:45:00 | 7.3627 | 161.094 | 8.468 | 177.02 | 13.518 | 16.314 | 13.6287 | 23.2993 | 12.7433 | 890 | 92.76 | 54.57
2019-10-08 05:00:00 | 7.196 | 244.826 | 8.276 | 269.04 | 13.11 | 13.672 | 13.508 | 26.556 | 12.694 | 890 | 93.08 | 54.1487
2019-10-08 05:15:00 | 6.8693 | 199.7093 | 7.914 | 219.46 | 12.224 | 17.1193 | 12.6733 | 26.5167 | 12.716 | 890 | 92.8467 | 52.7387
2019-10-08 05:30:00 | 6.912 | 174.974 | 7.96 | 192.28 | 12.038 | 14.312 | 12.45 | 25.586 | 12.758 | 890 | 92.56 | 52.4513
2019-10-08 05:45:00 | 6.7867 | 165.97 | 7.8067 | 182.3867 | 11.984 | 24.4307 | 12.4273 | 17.3787 | 12.7353 | 890.0667 | 92.64 | 54.076
2019-10-08 06:00:00 | 7.384 | 170.76 | 8.494 | 187.64 | 12.702 | 17.242 | 12.706 | 19.772 | 12.78 | 891 | 92.06 | 54.9987
2019-10-08 06:15:00 | 7.7387 | 161.2827 | 8.9087 | 177.2267 | 13.6833 | 13.8313 | 13.5607 | 14.0707 | 12.788 | 891 | 91.6 | 54.4467
2019-10-08 06:30:00 | 6.992 | 193.444 | 8.046 | 212.58 | 12.384 | 11.02 | 12.418 | 22.608 | 12.792 | 891 | 90.96 | 52.7213
2019-10-08 06:45:00 | 6.128 | 64.592 | 7.0513 | 70.9733 | 11.144 | 12.792 | 11.4287 | 24.4387 | 12.7513 | 891 | 91.2467 | 50.6453
2019-10-08 07:00:00 | 5.12 | 179.782 | 5.9 | 197.56 | 9.774 | 17.288 | 10.07 | 18.558 | 12.636 | 891 | 92.12 | 47.19
2019-10-08 07:15:00 | 5.1307 | 152.2633 | 5.904 | 167.3093 | 9.7793 | 13.756 | 10.25 | 22.7287 | 12.5267 | 891 | 92.6867 | 47.4333
2019-10-08 07:30:00 | 5.48 | 192.964 | 6.308 | 212.044 | 10.234 | 10.846 | 10.4 | 25.19 | 12.476 | 891 | 93.04 | 47.3893
2019-10-08 07:45:00 | 5.7387 | 196.344 | 6.6013 | 215.76 | 10.5033 | 13.3753 | 10.064 | 16.8913 | 12.4987 | 891 | 92.0267 | 45.6753
2019-10-08 08:00:00 | 5.784 | 232.844 | 6.664 | 255.86 | 10.438 | 14.854 | 9.95 | 22.388 | 12.63 | 891 | 90.88 | 44.2927
2019-10-08 08:15:00 | 5.9147 | 60.5907 | 6.8027 | 66.5773 | 10.746 | 14.29 | 10.1367 | 19.5653 | 12.7153 | 891 | 90.42 | 44.008
2019-10-08 08:30:00 | 6.1 | 54.99 | 7.022 | 60.43 | 11.014 | 14.018 | 10.54 | 19.384 | 12.736 | 891 | 91.16 | 44.0833
2019-10-08 08:45:00 | 6.2893 | 16.4793 | 7.2333 | 18.1073 | 11.2073 | 7.0233 | 10.672 | 16.6373 | 12.5833 | 891.7333 | 93.4133 | 47.652
2019-10-08 09:00:00 | 6.376 | 28.628 | 7.328 | 31.458 | 11.51 | 10.048 | 11.342 | 221.168 | 12.428 | 892 | 94.56 | 47.558
2019-10-08 09:15:00 | 6.128 | 106.8053 | 7.044 | 117.3673 | 11.234 | 12.5987 | 11.034 | 46.88 | 12.2573 | 892 | 95.9267 | 44.5593
2019-10-08 09:30:00 | 5.764 | 247.814 | 6.626 | 272.32 | 10.742 | 17.894 | 10.664 | 22.234 | 12.34 | 892 | 95.48 | 43.2093
2019-10-08 09:45:00 | 5.8693 | 280.034 | 6.758 | 307.7333 | 10.8033 | 15.3527 | 10.972 | 17.478 | 12.5107 | 892 | 95.4133 | 42.5667
2019-10-08 10:00:00 | 5.714 | 152.94 | 6.568 | 168.06 | 10.274 | 19.424 | 10.546 | 19.544 | 12.492 | 892 | 94.88 | 39.3273
2019-10-08 10:15:00 | 5.2153 | 159.1707 | 5.9987 | 174.9133 | 9.408 | 8.7973 | 9.8593 | 23.508 | 12.5213 | 892 | 94.2533 | 36.7967
2019-10-08 10:30:00 | 5.156 | 107.816 | 5.936 | 118.48 | 9.344 | 13.508 | 9.562 | 17.148 | 12.666 | 892 | 93.46 | 35.6327
2019-10-08 10:45:00 | 5.6147 | 194.696 | 6.4587 | 213.9467 | 9.976 | 18.092 | 9.8953 | 6.4453 | 12.8433 | 892 | 92.18 | 38.4593
2019-10-08 11:00:00 | 5.688 | 159.376 | 6.55 | 175.14 | 10.14 | 13.774 | 10.046 | 19.432 | 13.026 | 892.4 | 91.64 | 36.7267
2019-10-08 11:15:00 | 5.4373 | 200.836 | 6.266 | 220.7 | 10.056 | 7.058 | 10.042 | 20.46 | 13.084 | 893 | 92.0267 | 36.6687
2019-10-08 11:30:00 | 4.764 | 216.704 | 5.48 | 238.14 | 9.068 | 16.206 | 9.176 | 28.214 | 13.05 | 893 | 92.68 | 36.1007
2019-10-08 11:45:00 | 4.8653 | 93.1067 | 5.6053 | 102.3133 | 9.2293 | 21.1433 | 9.552 | 39.4247 | 13.0507 | 892.2667 | 93.6133 | 37.414
2019-10-08 12:00:00 | 5.06 | 179.026 | 5.822 | 196.72 | 9.486 | 22.794 | 9.74 | 33.204 | 13.114 | 892 | 94.1 | 39.4713
2019-10-08 12:15:00 | 4.9853 | 195.3353 | 5.7327 | 214.6453 | 9.1127 | 17.3353 | 9.2347 | 29.5747 | 13.2993 | 892 | 93.6733 | 36.8627
2019-10-08 12:30:00 | 4.944 | 8.846 | 5.692 | 9.712 | 9.034 | 21.786 | 9.212 | 30.182 | 13.344 | 892 | 92.88 | 38.2213
2019-10-08 12:45:00 | 5.044 | 78.3767 | 5.8067 | 86.1227 | 9.2447 | 16.59 | 9.0073 | 21.4207 | 13.4807 | 892 | 92.8067 | 37.9707
2019-10-08 13:00:00 | 5.266 | 141.104 | 6.052 | 155.06 | 9.652 | 214.72 | 9.222 | 8.006 | 13.774 | 892 | 92.3 | 38.8233
2019-10-08 13:15:00 | 5.4447 | 211.4893 | 6.2613 | 232.3933 | 9.7587 | 30.6973 | 9.242 | 10.83 | 13.7807 | 891.9333 | 90.8733 | 37.6727
2019-10-08 13:30:00 | 5.252 | 316.102 | 6.042 | 347.36 | 9.294 | 2.734 | 8.758 | 13.542 | 13.602 | 891 | 90.76 | 36.794
2019-10-08 13:45:00 | 5.2307 | 267.96 | 6.0147 | 294.4533 | 9.414 | 18.3253 | 8.7733 | 16.2953 | 13.7353 | 891 | 91.2 | 33.7673
2019-10-08 14:00:00 | 5.046 | 168.45 | 5.804 | 185.1 | 9.242 | 12.08 | 8.66 | 12.842 | 13.998 | 891 | 90.46 | 28.3087
2019-10-08 14:15:00 | 4.698 | 189.5313 | 5.408 | 208.2733 | 8.742 | 16.924 | 8.3213 | 18.4033 | 14.386 | 891 | 89.2733 | 28.3767
2019-10-08 14:30:00 | 4.728 | 198.22 | 5.44 | 217.82 | 8.468 | 8.968 | 7.96 | 19.762 | 14.152 | 891 | 88.78 | 25.7513
2019-10-08 14:45:00 | 4.3213 | 124.2707 | 4.9733 | 136.5533 | 7.8627 | 99.2493 | 7.5293 | 19.7967 | 13.804 | 890.9333 | 90.0467 | 26.7267
2019-10-08 15:00:00 | 4.408 | 301.028 | 5.084 | 330.8 | 7.708 | 150.784 | 7.186 | 13.92 | 13.602 | 890 | 90.1 | 26.9093
2019-10-08 15:15:00 | 4.9787 | 211.048 | 5.7307 | 231.9067 | 9.0173 | 17.7507 | 8.694 | 17.9587 | 13.5007 | 890 | 90.6533 | 31.5547
2019-10-08 15:30:00 | 5.3133 | 163.8113 | 6.124 | 180.0067 | 9.53 | 17.0967 | 9.0007 | 18.3107 | 13.5787 | 890 | 90.4933 | 31.8547
2019-10-08 15:45:00 | 5.0747 | 57.8273 | 5.8467 | 63.5473 | 9.158 | 11.5613 | 8.7467 | 22.0107 | 13.5647 | 890 | 90.4533 | 32.0813
2019-10-08 16:00:00 | 4.84 | 202.766 | 5.58 | 222.816 | 8.58 | 15.764 | 8.016 | 21.996 | 13.316 | 890 | 91.08 | 28.572
2019-10-08 16:15:00 | 4.6667 | 133.626 | 5.376 | 146.84 | 8.8453 | 56.512 | 8.6 | 22.1533 | 13.1267 | 889.9333 | 92.6667 | 26.2373
2019-10-08 16:30:00 | 4.578 | 213.262 | 5.268 | 234.34 | 8.582 | 151.612 | 8.3 | 20.606 | 13.144 | 889 | 93.34 | 26.5927
2019-10-08 16:45:00 | 4.4467 | 61.244 | 5.118 | 67.296 | 8.2007 | 25.3087 | 7.7947 | 27.0873 | 12.884 | 889 | 93.96 | 27.698
2019-10-08 17:00:00 | 4.604 | 192.78 | 5.304 | 211.84 | 8.232 | 215.392 | 8.03 | 19.112 | 12.68 | 889 | 93.9 | 28.7273
2019-10-08 17:15:00 | 4.8253 | 71.9773 | 5.5627 | 79.0933 | 8.4347 | 38.8853 | 8.1593 | 25.7147 | 12.5747 | 889 | 93.4467 | 29.5793
2019-10-08 17:30:00 | 4.996 | 83.182 | 5.75 | 91.404 | 8.866 | 16.788 | 8.376 | 27.328 | 12.48 | 889 | 94.08 | 27.7713
2019-10-08 17:45:00 | 4.476 | 6.75 | 5.1527 | 7.412 | 7.4953 | 231.0333 | 7.1893 | 24.1507 | 12.3107 | 889 | 94.46 | 25.7853
2019-10-08 18:00:00 | 4.728 | 159.972 | 5.446 | 175.784 | 8.276 | 18.704 | 8.02 | 21.282 | 12.176 | 889 | 95.18 | 26.32
2019-10-08 18:15:00 | 4.4333 | 56.7947 | 5.098 | 62.4107 | 7.7667 | 23.0907 | 7.5373 | 19.162 | 12.0707 | 888.2667 | 95.3067 | 24.8613
2019-10-08 18:30:00 | 4.2 | 30.982 | 4.83 | 34.034 | 6.99 | 10.416 | 6.948 | 20.954 | 12.012 | 888 | 94.98 | 20.606
2019-10-08 18:45:00 | 3.856 | 73.6153 | 4.4353 | 80.8953 | 6.5993 | 9.1947 | 6.0813 | 14.5767 | 11.9307 | 888 | 95.16 | 20.588
2019-10-08 19:00:00 | 4.012 | 298.354 | 4.618 | 327.86 | 6.436 | 222.168 | 6.094 | 216.644 | 11.842 | 888 | 95.46 | 25.5707
2019-10-08 19:15:00 | 4.4147 | 117.5367 | 5.0753 | 129.1533 | 7.51 | 126.4 | 7.1553 | 126.7933 | 11.6393 | 888 | 97.1 | 26.276
2019-10-08 19:30:00 | 4.536 | 319.626 | 5.218 | 351.24 | 7.608 | 353.84 | 7.242 | 164.784 | 11.43 | 888.4 | 98.62 | 22.6107
2019-10-08 19:45:00 | 4.2093 | 307.0553 | 4.8447 | 337.4267 | 7.5413 | 35.352 | 7.394 | 17.48 | 11.2553 | 889 | 99.5667 | 22.2147
2019-10-08 20:00:00 | 3.896 | 317.718 | 4.482 | 349.14 | 6.806 | 10.058 | 6.958 | 20.702 | 11.148 | 889 | 99.94 | 23.006
2019-10-08 20:15:00 | 3.432 | 23.8167 | 3.9473 | 26.1653 | 5.8127 | 95.23 | 5.8113 | 6.894 | 11.0907 | 889 | 100 | 25.482
2019-10-08 20:30:00 | 3.746 | 187.87 | 4.304 | 206.448 | 6.554 | 356.78 | 6.772 | 12.478 | 11.066 | 889 | 100 | 27.6487
2019-10-08 20:45:00 | 4.1273 | 271.8247 | 4.748 | 298.7067 | 7.4433 | 34.8067 | 7.432 | 12.442 | 11.0293 | 889 | 100 | 25.006
2019-10-08 21:00:00 | 3.834 | 267.346 | 4.416 | 293.78 | 6.992 | 15.452 | 7.12 | 10.402 | 10.976 | 889 | 100 | 24.3747
2019-10-08 21:15:00 | 3.978 | 290.9887 | 4.588 | 319.7667 | 7.2507 | 14.524 | 7.6253 | 14.4953 | 10.954 | 889 | 100 | 25.128
2019-10-08 21:30:00 | 4.254 | 167.17 | 4.896 | 183.7 | 7.524 | 18.604 | 7.876 | 14.586 | 10.888 | 889 | 100 | 23.2447
2019-10-08 21:45:00 | 4.03 | 88.9753 | 4.632 | 97.7667 | 7.3733 | 21.4653 | 7.6 | 25.414 | 10.832 | 889 | 100 | 21.4527
2019-10-08 22:00:00 | 4.004 | 217.022 | 4.604 | 238.48 | 7.378 | 10.274 | 7.6 | 18.034 | 10.834 | 889 | 100 | 26.5847
2019-10-08 22:15:00 | 4.232 | 238.2073 | 4.8693 | 261.76 | 7.5367 | 18.798 | 7.864 | 20.37 | 10.824 | 889 | 100 | 26.1927
2019-10-08 22:30:00 | 4.474 | 303.486 | 5.152 | 333.5 | 7.812 | 13.838 | 8.092 | 19.974 | 10.792 | 889 | 100 | 28.3867
2019-10-08 22:45:00 | 4.3993 | 118.346 | 5.064 | 130.0467 | 7.7413 | 241.0633 | 8.0733 | 15.2167 | 10.772 | 889 | 100 | 27.322
2019-10-08 23:00:00 | 4.476 | 215.598 | 5.152 | 236.92 | 8.29 | 13.416 | 8.624 | 18.738 | 10.73 | 888.6 | 100 | 24.2593
2019-10-08 23:15:00 | 4.2387 | 99.9447 | 4.8747 | 109.8267 | 7.4687 | 240.9613 | 7.604 | 20.3393 | 10.7093 | 888 | 100 | 19.3687
2019-10-08 23:30:00 | 4.052 | 146.7 | 4.668 | 161.202 | 6.752 | 6.198 | 6.954 | 19.848 | 10.67 | 888 | 100 | 16.6753
2019-10-08 23:45:00 | 3.6853 | 209.364 | 4.2373 | 230.066 | 6.376 | 15.0073 | 6.454 | 12.1147 | 10.6787 | 888 | 100 | 11.3673