## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2019-10-09 00:00:00 | 3.4714 | 194.2114 | 3.9914 | 213.4057 | 5.8614 | 20.0486 | 5.6229 | 11.9571 | 10.6829 | 888 | 100 | 9.6521
2019-10-09 00:15:00 | 3.456 | 54.2967 | 3.972 | 59.6667 | 6.2613 | 97.0333 | 5.9773 | 7.7547 | 10.6853 | 888 | 100 | 15.0273
2019-10-09 00:30:00 | 3.69 | 217.108 | 4.244 | 238.58 | 6.742 | 142.392 | 6.66 | 14.586 | 10.718 | 888 | 100 | 22.4773
2019-10-09 00:45:00 | 4.3513 | 237.6413 | 5.0147 | 261.1427 | 7.494 | 16.408 | 7.2867 | 12.0767 | 10.7147 | 888 | 100 | 25.83
2019-10-09 01:00:00 | 4.356 | 50.036 | 5.014 | 54.984 | 7.774 | 3.808 | 7.954 | 15.764 | 10.686 | 887.6 | 100 | 28.6547
2019-10-09 01:15:00 | 3.9333 | 195.0867 | 4.5273 | 214.3693 | 7.0953 | 12.416 | 7.3833 | 12.968 | 10.7093 | 887 | 100 | 31.544
2019-10-09 01:30:00 | 4.192 | 27.836 | 4.83 | 30.586 | 7.32 | 7.594 | 7.622 | 16.598 | 10.734 | 887 | 100 | 33.0507
2019-10-09 01:45:00 | 4.328 | 230.232 | 4.9847 | 252.9927 | 7.3827 | 102.062 | 7.6207 | 15.146 | 10.7367 | 887 | 100 | 31.008
2019-10-09 02:00:00 | 4.2987 | 22.63 | 4.942 | 24.8633 | 7.0553 | 166.6587 | 7.1067 | 26.954 | 10.714 | 887 | 100 | 25.3627
2019-10-09 02:15:00 | 4.1773 | 279.4147 | 4.8013 | 307.0487 | 7.0413 | 11.0747 | 7.0393 | 20.3807 | 10.7287 | 887 | 100 | 24.654
2019-10-09 02:30:00 | 4.02 | 295.374 | 4.63 | 324.58 | 6.994 | 217.296 | 7.14 | 17.93 | 10.746 | 887 | 100 | 26.7753
2019-10-09 02:45:00 | 4.0947 | 290.9607 | 4.7073 | 319.74 | 7.2007 | 28.4253 | 7.5107 | 16.238 | 10.7473 | 886.9333 | 100 | 28.398
2019-10-09 03:00:00 | 4.112 | 118.838 | 4.726 | 130.584 | 7.268 | 5.348 | 7.526 | 15.172 | 10.746 | 886 | 100 | 29.8853
2019-10-09 03:15:00 | 4.4493 | 109.0513 | 5.1153 | 119.8293 | 7.8013 | 15.7747 | 8.222 | 26.6613 | 10.722 | 886 | 100 | 30.3373
2019-10-09 03:30:00 | 4.352 | 145.172 | 5.01 | 159.532 | 7.732 | 12.902 | 7.93 | 18.3 | 10.708 | 886 | 100 | 33.5687
2019-10-09 03:45:00 | 4.76 | 261.0013 | 5.4753 | 286.8147 | 8.224 | 7.982 | 8.4247 | 17.848 | 10.7273 | 886 | 100 | 38.4287
2019-10-09 04:00:00 | 5.104 | 315.348 | 5.878 | 346.54 | 8.832 | 9.31 | 8.874 | 17.934 | 10.734 | 886 | 100 | 40.106
2019-10-09 04:15:00 | 5.104 | 102.9107 | 5.8767 | 113.0867 | 8.5333 | 6.5807 | 8.6767 | 15.6793 | 10.7553 | 886 | 100 | 41.7793
2019-10-09 04:30:00 | 5.296 | 306.84 | 6.096 | 337.18 | 9.218 | 212.644 | 9.164 | 16.644 | 10.774 | 886 | 100 | 40.536
2019-10-09 04:45:00 | 5.1747 | 51.4027 | 5.9507 | 56.4867 | 9.09 | 34.0933 | 9.256 | 14.3547 | 10.774 | 885.9333 | 100 | 40.6633
2019-10-09 05:00:00 | 4.91 | 77.01 | 5.646 | 84.618 | 8.956 | 13.978 | 9.126 | 18.708 | 10.798 | 885 | 100 | 41.222
2019-10-09 05:15:00 | 4.8073 | 29.586 | 5.526 | 32.5113 | 9.144 | 14.6993 | 9.1073 | 19.7627 | 10.846 | 885 | 100 | 39.3727
2019-10-09 05:30:00 | 4.864 | 95.294 | 5.604 | 104.704 | 9.212 | 13.562 | 9.232 | 15.822 | 10.866 | 885 | 100 | 39.1633
2019-10-09 05:45:00 | 5.1267 | 251.842 | 5.904 | 276.7467 | 9.3693 | 9.7687 | 9.3813 | 22.2487 | 10.8593 | 885 | 100 | 40.8013
2019-10-09 06:00:00 | 5.382 | 221.95 | 6.188 | 243.9 | 9.768 | 13.158 | 9.988 | 18.33 | 10.842 | 885 | 100 | 41.5333
2019-10-09 06:15:00 | 5.3473 | 196.1607 | 6.1507 | 215.5533 | 9.7347 | 5.7393 | 10.0547 | 13.6713 | 10.814 | 885 | 100 | 39.8307
2019-10-09 06:30:00 | 5.264 | 300.636 | 6.05 | 330.36 | 9.076 | 9.476 | 9.41 | 21.06 | 10.798 | 885 | 100 | 39.562
2019-10-09 06:45:00 | 4.9453 | 111.004 | 5.6887 | 121.9733 | 8.3333 | 236.036 | 8.4927 | 6.8253 | 10.816 | 885 | 100 | 38.7253
2019-10-09 07:00:00 | 4.784 | 311.854 | 5.512 | 342.7 | 7.994 | 205.496 | 8.284 | 11.958 | 10.8 | 885 | 100 | 37.5987
2019-10-09 07:15:00 | 4.7427 | 60.0553 | 5.4533 | 65.9907 | 8.3473 | 130.14 | 8.3533 | 10.9447 | 10.8 | 885 | 100 | 39.6713
2019-10-09 07:30:00 | 4.76 | 24.758 | 5.476 | 27.202 | 8.34 | 139.45 | 8.278 | 3.47 | 10.818 | 885 | 100 | 41.2053
2019-10-09 07:45:00 | 4.9707 | 46.3767 | 5.7173 | 50.9567 | 8.3173 | 7.3673 | 8.3873 | 7.078 | 10.83 | 885 | 100 | 40.878
2019-10-09 08:00:00 | 4.934 | 16.078 | 5.678 | 17.66 | 8.484 | 8.074 | 8.692 | 9.634 | 10.838 | 885.4 | 100 | 43.8033
2019-10-09 08:15:00 | 5.162 | 216.9767 | 5.9393 | 238.4347 | 9.3 | 13.782 | 9.288 | 16.3327 | 10.898 | 886 | 100 | 44.3093
2019-10-09 08:30:00 | 5.252 | 110.126 | 6.05 | 121.016 | 9.608 | 14.804 | 9.348 | 15.946 | 10.934 | 886 | 100 | 45.8947
2019-10-09 08:45:00 | 5.5867 | 107.4433 | 6.4367 | 118.0667 | 10.4093 | 16.8387 | 10.132 | 22.1127 | 10.9487 | 886 | 100 | 46.212
2019-10-09 09:00:00 | 5.7 | 108.218 | 6.56 | 118.916 | 10.77 | 13.06 | 10.678 | 18.282 | 10.974 | 886 | 100 | 47.7153
2019-10-09 09:15:00 | 5.9773 | 150.5167 | 6.884 | 165.404 | 10.9007 | 10.3893 | 10.7007 | 13.03 | 10.9887 | 886 | 100 | 49.2053
2019-10-09 09:30:00 | 6.214 | 57.066 | 7.148 | 62.704 | 11.006 | 11.126 | 11.022 | 12.908 | 11.006 | 886 | 100 | 50.876
2019-10-09 09:45:00 | 6.3633 | 209.622 | 7.3253 | 230.3493 | 10.8647 | 14.3527 | 10.6473 | 25.2987 | 10.986 | 886 | 100 | 50.8047
2019-10-09 10:00:00 | 5.724 | 319 | 6.59 | 350.54 | 9.274 | 212.576 | 9.14 | 15.92 | 10.99 | 886 | 100 | 51.4913
2019-10-09 10:15:00 | 5.82 | 201.968 | 6.6967 | 221.9453 | 9.658 | 122.7867 | 9.7427 | 261.4573 | 11.0127 | 886 | 100 | 53.6127
2019-10-09 10:30:00 | 5.838 | 200.958 | 6.718 | 220.828 | 9.622 | 145.2 | 9.61 | 55.732 | 11.076 | 886 | 100 | 54.3833
2019-10-09 10:45:00 | 6.2887 | 36.8433 | 7.2367 | 40.4853 | 10.594 | 18.9813 | 10.4767 | 18.0347 | 11.1253 | 886 | 100 | 55.3727
2019-10-09 11:00:00 | 6.696 | 49.598 | 7.698 | 54.49 | 11.556 | 8.448 | 11.548 | 4.796 | 11.164 | 886 | 100 | 56.1787
2019-10-09 11:15:00 | 7.324 | 72.01 | 8.4233 | 79.118 | 12.5707 | 14.0013 | 12.4707 | 17.596 | 11.2173 | 886 | 100 | 55.96
2019-10-09 11:30:00 | 7.064 | 103.724 | 8.124 | 113.974 | 12.018 | 6.036 | 11.816 | 13.018 | 11.234 | 886 | 100 | 55.678
2019-10-09 11:45:00 | 6.6427 | 35.024 | 7.64 | 38.478 | 11.0673 | 11.0627 | 11.0547 | 9.822 | 11.3413 | 886 | 100 | 56.1487
2019-10-09 12:00:00 | 6.946 | 14.702 | 8 | 16.152 | 11.534 | 17.836 | 11.56 | 28.056 | 11.366 | 885.6 | 100 | 55.2947
2019-10-09 12:15:00 | 6.9327 | 34.4527 | 7.9787 | 37.8493 | 11.6913 | 221.9253 | 11.6213 | 13.4373 | 11.4447 | 885 | 100 | 55.2273
2019-10-09 12:30:00 | 6.326 | 18.158 | 7.272 | 19.95 | 10.89 | 9.864 | 10.962 | 15.712 | 11.592 | 885 | 100 | 53.9887
2019-10-09 12:45:00 | 6.01 | 87.154 | 6.9213 | 95.7767 | 10.122 | 18.0147 | 10.0153 | 11.1547 | 11.7467 | 885 | 100 | 55.3133
2019-10-09 13:00:00 | 6.46 | 273.306 | 7.428 | 300.34 | 11.044 | 12.114 | 10.768 | 18.17 | 11.824 | 885 | 100 | 55.3107
2019-10-09 13:15:00 | 7.2147 | 39.502 | 8.308 | 43.4027 | 12.3707 | 11.7767 | 11.948 | 25.634 | 11.8987 | 885 | 100 | 55.6847
2019-10-09 13:30:00 | 7.016 | 190.78 | 8.08 | 209.644 | 11.916 | 208.62 | 11.79 | 9.86 | 11.98 | 884.6 | 100 | 55.098
2019-10-09 13:45:00 | 6.6667 | 189.2707 | 7.674 | 207.9867 | 10.9253 | 31.9187 | 11.2327 | 7.7227 | 12.1253 | 884 | 100 | 53.8793
2019-10-09 14:00:00 | 6.5653 | 5.6313 | 7.5593 | 6.1873 | 10.6407 | 9.252 | 10.798 | 14.5373 | 12.272 | 884 | 99.84 | 54.8727
2019-10-09 14:15:00 | 6.8307 | 20.872 | 7.868 | 22.932 | 11.036 | 8.7893 | 10.63 | 17.44 | 12.452 | 884 | 97.8467 | 56.3773
2019-10-09 14:30:00 | 6.812 | 181.828 | 7.844 | 199.816 | 11.254 | 5.978 | 10.99 | 17.566 | 12.566 | 884 | 96.76 | 57.3947
2019-10-09 14:45:00 | 7.1773 | 253.5013 | 8.252 | 278.5667 | 12.3527 | 3.5167 | 11.902 | 25.4153 | 12.6147 | 884 | 96.2533 | 56.8833
2019-10-09 15:00:00 | 7.708 | 131.218 | 8.864 | 144.19 | 13.26 | 3.068 | 13.136 | 10.944 | 12.67 | 884 | 96.38 | 55.672
2019-10-09 15:15:00 | 8.072 | 227.2607 | 9.288 | 249.7233 | 14.084 | 13.604 | 14.1107 | 28.8027 | 12.7607 | 884 | 95.6867 | 56.2753
2019-10-09 15:30:00 | 7.884 | 233.512 | 9.074 | 256.6 | 13.8 | 18.404 | 13.406 | 17.288 | 12.866 | 883.6 | 95.48 | 56.608
2019-10-09 15:45:00 | 7.936 | 231.2173 | 9.1287 | 254.0853 | 14.1067 | 11.5947 | 13.3947 | 16.8053 | 12.9553 | 883 | 95.7067 | 56.9927
2019-10-09 16:00:00 | 7.566 | 39.9747 | 8.7053 | 43.9307 | 13.5287 | 12.8933 | 12.9053 | 25.8447 | 13.0287 | 883 | 95.6867 | 57.404
2019-10-09 16:15:00 | 6.89 | 79.576 | 7.9347 | 87.4467 | 12.3967 | 13.248 | 11.9333 | 20.0553 | 13.0753 | 883 | 95.4733 | 57.5527
2019-10-09 16:30:00 | 6.494 | 93.24 | 7.47 | 102.458 | 11.772 | 12.584 | 11.424 | 12.942 | 13.2 | 883 | 95.42 | 56.5487
2019-10-09 16:45:00 | 6.0407 | 222.0293 | 6.9567 | 243.9887 | 10.4667 | 102.3053 | 10.1987 | 19.8473 | 13.3073 | 883 | 94.3667 | 56.994
2019-10-09 17:00:00 | 6.28 | 189.866 | 7.224 | 208.64 | 10.602 | 347.22 | 10.186 | 15.912 | 13.32 | 883 | 93.26 | 56.6653
2019-10-09 17:15:00 | 6.224 | 238.846 | 7.1573 | 262.4667 | 10.678 | 257.3933 | 10.206 | 8.5053 | 13.328 | 883.0667 | 92.8333 | 58.9307
2019-10-09 17:30:00 | 6.702 | 107.088 | 7.71 | 117.676 | 11.708 | 15.054 | 11.16 | 21.978 | 13.404 | 883.6 | 92.48 | 59.8587
2019-10-09 17:45:00 | 6.714 | 253.2173 | 7.7247 | 278.2573 | 12.4347 | 11.39 | 12.1493 | 22.5647 | 13.422 | 883 | 93.56 | 58.9233
2019-10-09 18:00:00 | 6.704 | 243.974 | 7.722 | 268.1 | 12.08 | 8.376 | 11.742 | 16.71 | 13.354 | 883 | 93.38 | 59.266
2019-10-09 18:15:00 | 6.4493 | 310.2513 | 7.4167 | 340.9267 | 10.648 | 95.5267 | 10.4807 | 3.0007 | 13.4193 | 883 | 92.5 | 60.0833
2019-10-09 18:30:00 | 6.452 | 313.036 | 7.42 | 344 | 10.902 | 149.364 | 10.694 | 14.378 | 13.564 | 883.4 | 91.62 | 60.086
2019-10-09 18:45:00 | 6.5673 | 240.8787 | 7.5653 | 264.6933 | 11.1873 | 20.276 | 10.8633 | 13.254 | 13.618 | 884 | 91.5667 | 59.9633
2019-10-09 19:00:00 | 6.784 | 113.05 | 7.81 | 124.228 | 11.956 | 15.276 | 11.622 | 14.822 | 13.6 | 884 | 91.68 | 61.1627
2019-10-09 19:15:00 | 6.8533 | 252.8127 | 7.886 | 277.812 | 12.0267 | 10.4533 | 11.7433 | 22.262 | 13.5973 | 884 | 91.8 | 61.18
2019-10-09 19:30:00 | 7.31 | 275.24 | 8.408 | 302.46 | 12.618 | 22.964 | 12.124 | 21.772 | 13.776 | 884 | 90.7 | 60.872
2019-10-09 19:45:00 | 6.874 | 253.9067 | 7.9173 | 279.02 | 12.0887 | 3.8893 | 11.7573 | 17.036 | 13.904 | 884.7333 | 90.2867 | 60.432
2019-10-09 20:00:00 | 6.668 | 252.888 | 7.672 | 277.9 | 11.676 | 11.232 | 11.334 | 15.972 | 13.884 | 885 | 90.52 | 59.5087
2019-10-09 20:15:00 | 6.3493 | 295.556 | 7.3067 | 324.78 | 10.896 | 95.3453 | 10.89 | 7.624 | 14.0027 | 885 | 90.0467 | 59.7647
2019-10-09 20:30:00 | 6.304 | 120.672 | 7.262 | 132.604 | 11.056 | 351.14 | 10.712 | 2.686 | 14.006 | 885 | 90.16 | 60.4873
2019-10-09 20:45:00 | 6.5893 | 84.8853 | 7.578 | 93.2827 | 11.32 | 39.1587 | 11.0747 | 14.2073 | 14.1033 | 885.0667 | 89.6133 | 59.954
2019-10-09 21:00:00 | 6.396 | 154.266 | 7.366 | 169.528 | 10.96 | 16.99 | 10.922 | 15.986 | 14.214 | 886 | 89.16 | 58.036
2019-10-09 21:15:00 | 6.784 | 54.8873 | 7.8127 | 60.312 | 11.9547 | 5.894 | 11.7553 | 19.5713 | 14.1513 | 886 | 89.8067 | 57.878
2019-10-09 21:30:00 | 7.004 | 101.652 | 8.056 | 111.702 | 12.694 | 14.38 | 12.554 | 14.698 | 14.114 | 886 | 89.82 | 58.632
2019-10-09 21:45:00 | 7.072 | 27.1347 | 8.132 | 29.818 | 12.6327 | 12.8893 | 12.3327 | 15.7153 | 14.236 | 886 | 89.18 | 59.2893
2019-10-09 22:00:00 | 7.216 | 136.79 | 8.306 | 150.32 | 13.044 | 13.38 | 12.794 | 14.318 | 14.162 | 886 | 90 | 59.14
2019-10-09 22:15:00 | 7.4613 | 295.8353 | 8.586 | 325.0933 | 13.7653 | 11.1 | 13.762 | 12.8647 | 14.112 | 886 | 90.38 | 59.864
2019-10-09 22:30:00 | 7.816 | 117.894 | 8.998 | 129.55 | 14.608 | 6.49 | 14.962 | 22.598 | 14.07 | 886 | 90.8 | 59.544
2019-10-09 22:45:00 | 8.1013 | 97.4527 | 9.326 | 107.0767 | 14.8267 | 12.9313 | 15.2193 | 22.254 | 14.1067 | 886 | 90.56 | 58.9307
2019-10-09 23:00:00 | 7.612 | 189.612 | 8.76 | 208.36 | 14.136 | 6.692 | 14.412 | 21.012 | 13.994 | 886 | 91.82 | 58.5933
2019-10-09 23:15:00 | 7.3907 | 117.696 | 8.5133 | 129.3247 | 13.748 | 11.372 | 13.3673 | 18.2187 | 13.9093 | 886 | 92.3 | 59.1873
2019-10-09 23:30:00 | 8.02 | 168.976 | 9.228 | 185.688 | 14.396 | 8.646 | 14.19 | 21.054 | 13.954 | 886 | 92.06 | 59.864
2019-10-09 23:45:00 | 8.7467 | 165.9773 | 10.0653 | 182.3933 | 16.1053 | 7.6233 | 15.8247 | 19.93 | 13.9713 | 886 | 92.3 | 60.738