## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2019-10-10 00:00:00 | 9.3371 | 135.6586 | 10.7471 | 149.0714 | 17.1386 | 9.2386 | 17.3229 | 23.7414 | 13.9571 | 886 | 92.8143 | 60.7314
2019-10-10 00:15:00 | 9.5487 | 33.9913 | 10.9827 | 37.3467 | 17.752 | 12.618 | 18.1713 | 24.0427 | 13.798 | 886 | 94.1 | 60.1833
2019-10-10 00:30:00 | 9.524 | 107.6747 | 10.958 | 118.3167 | 17.7007 | 16.3647 | 17.972 | 23.7293 | 13.758 | 885.6 | 94.2133 | 60.1507
2019-10-10 00:45:00 | 9.6813 | 279.0607 | 11.1373 | 306.66 | 17.75 | 9.874 | 17.362 | 19.5207 | 13.6727 | 885.7333 | 94.8 | 60.0747
2019-10-10 01:00:00 | 9.472 | 184.48 | 10.898 | 202.72 | 17.178 | 11.634 | 17.056 | 16.116 | 13.49 | 886 | 96.5 | 59.9533
2019-10-10 01:15:00 | 8.1907 | 293.356 | 9.4167 | 322.3733 | 15.0607 | 16.354 | 15.458 | 18.9747 | 13.2953 | 886 | 98.3 | 60.236
2019-10-10 01:30:00 | 7.7 | 165.692 | 8.858 | 182.076 | 14.432 | 16.234 | 14.654 | 20.042 | 13.166 | 886 | 99.26 | 59.2907
2019-10-10 01:45:00 | 6.7893 | 270.1493 | 7.806 | 296.8573 | 12.9653 | 15.2353 | 13.3273 | 24.5313 | 13.0607 | 886 | 99.88 | 58.3493
2019-10-10 02:00:00 | 6.824 | 235.798 | 7.854 | 259.12 | 12.706 | 12.462 | 12.986 | 20.36 | 13.012 | 886 | 100 | 56.0487
2019-10-10 02:15:00 | 6.8053 | 135.15 | 7.8247 | 148.5067 | 12.4673 | 13.81 | 12.7027 | 23.1627 | 12.9987 | 886 | 100 | 54.2853
2019-10-10 02:30:00 | 6.564 | 88.112 | 7.548 | 96.82 | 12.254 | 16.298 | 12.194 | 23.638 | 12.962 | 886 | 100 | 53.0533
2019-10-10 02:45:00 | 6.3267 | 128.1293 | 7.28 | 140.7933 | 11.578 | 12.6727 | 11.3393 | 19.1273 | 12.9487 | 886 | 100 | 54.39
2019-10-10 03:00:00 | 5.964 | 256.332 | 6.87 | 281.68 | 10.924 | 8.726 | 10.932 | 11.07 | 12.948 | 886 | 100 | 55.204
2019-10-10 03:15:00 | 6.488 | 184.7413 | 7.4607 | 203.0133 | 11.716 | 8.6393 | 11.556 | 15.87 | 12.944 | 886 | 99.9867 | 56.762
2019-10-10 03:30:00 | 6.624 | 268.238 | 7.618 | 294.76 | 11.918 | 9.774 | 11.804 | 24.464 | 12.916 | 886 | 99.76 | 52.1967
2019-10-10 03:45:00 | 6.7573 | 59.0687 | 7.7713 | 64.9067 | 11.9553 | 9.6553 | 11.6067 | 20.7693 | 12.966 | 886 | 99.26 | 56.0813
2019-10-10 04:00:00 | 7.488 | 124.332 | 8.616 | 136.62 | 13.52 | 16.952 | 13.596 | 23.384 | 13.02 | 886 | 98.8 | 57.7993
2019-10-10 04:15:00 | 7.488 | 124.332 | 8.616 | 136.62 | 13.52 | 16.952 | 13.596 | 23.384 | 13.02 | 886 | 98.8 | 57.7993
2019-10-10 04:30:00 | 7.488 | 124.332 | 8.616 | 136.62 | 13.52 | 16.952 | 13.596 | 23.384 | 13.02 | 886 | 98.8 | 57.7993
2019-10-10 04:45:00 | 7.488 | 124.332 | 8.616 | 136.62 | 13.52 | 16.952 | 13.596 | 23.384 | 13.02 | 886 | 98.8 | 57.7993
2019-10-10 05:00:00 | 7.488 | 124.332 | 8.616 | 136.62 | 13.52 | 16.952 | 13.596 | 23.384 | 13.02 | 886 | 98.8 | 57.7993
2019-10-10 05:15:00 | 7.488 | 124.332 | 8.616 | 136.62 | 13.52 | 16.952 | 13.596 | 23.384 | 13.02 | 886 | 98.8 | 57.7993
2019-10-10 05:30:00 | 7.784 | 175.73 | 8.9647 | 193.1067 | 13.9347 | 11.698 | 13.9567 | 21.2833 | 12.592 | 886 | 99.84 | 59.7193
2019-10-10 05:45:00 | 7.784 | 175.73 | 8.9647 | 193.1067 | 13.9347 | 11.698 | 13.9567 | 21.2833 | 12.592 | 886 | 99.84 | 59.7193
2019-10-10 06:00:00 | 7.784 | 175.73 | 8.9647 | 193.1067 | 13.9347 | 11.698 | 13.9567 | 21.2833 | 12.592 | 886 | 99.84 | 59.7193
2019-10-10 06:15:00 | 7.784 | 175.73 | 8.9647 | 193.1067 | 13.9347 | 11.698 | 13.9567 | 21.2833 | 12.592 | 886 | 99.84 | 59.7193
2019-10-10 06:30:00 | 7.784 | 175.73 | 8.9647 | 193.1067 | 13.9347 | 11.698 | 13.9567 | 21.2833 | 12.592 | 886 | 99.84 | 59.7193
2019-10-10 06:45:00 | 7.88 | 223.568 | 9.0633 | 245.6733 | 14.0047 | 15.9773 | 14.5273 | 24.63 | 12.6587 | 886 | 98.9933 | 59.5773
2019-10-10 07:00:00 | 8.12 | 187.184 | 9.342 | 205.7 | 14.386 | 16.452 | 14.794 | 25.388 | 12.644 | 886 | 98.68 | 59.2747
2019-10-10 07:15:00 | 7.5947 | 174.5133 | 8.7393 | 191.7667 | 13.6287 | 7.208 | 14.166 | 20.308 | 12.63 | 886 | 98.44 | 58.8427
2019-10-10 07:30:00 | 7.042 | 172.374 | 8.096 | 189.42 | 13.016 | 8.802 | 13.59 | 21.038 | 12.498 | 886 | 99.18 | 57.506
2019-10-10 07:45:00 | 6.606 | 158.1367 | 7.6067 | 173.7667 | 11.8907 | 14.4007 | 12.2047 | 15.1433 | 12.406 | 886.7333 | 99.6333 | 56.5453
2019-10-10 08:00:00 | 5.998 | 59.08 | 6.9 | 64.924 | 10.826 | 11.15 | 11.242 | 18.18 | 12.338 | 887 | 99.92 | 57.008
2019-10-10 08:15:00 | 5.9953 | 271.2827 | 6.896 | 298.116 | 10.846 | 9.9433 | 10.9833 | 12.0307 | 12.246 | 887 | 100 | 53.8033
2019-10-10 08:30:00 | 5.3913 | 262.568 | 6.202 | 288.5333 | 9.8633 | 12.9427 | 10.2293 | 14.9227 | 12.216 | 887 | 100 | 54.2733
2019-10-10 08:45:00 | 5.178 | 133.696 | 5.956 | 146.9133 | 9.662 | 14.1313 | 10.0033 | 14.6967 | 12.2307 | 887 | 100 | 53.9993
2019-10-10 09:00:00 | 5.13 | 128.374 | 5.904 | 141.06 | 9.508 | 11.82 | 9.946 | 11.46 | 12.3 | 887 | 100 | 53.2233
2019-10-10 09:15:00 | 5.3407 | 94.586 | 6.1427 | 103.94 | 9.48 | 10.6627 | 9.8007 | 18.5573 | 12.3747 | 887.7333 | 100 | 51.95
2019-10-10 09:30:00 | 5.048 | 49.928 | 5.806 | 54.86 | 9.044 | 4.296 | 9.428 | 12.22 | 12.454 | 888 | 100 | 50.2607
2019-10-10 09:45:00 | 4.9613 | 47.1253 | 5.7073 | 51.7733 | 9.0547 | 9.8707 | 9.2907 | 15.6013 | 12.536 | 888 | 100 | 48.76
2019-10-10 10:00:00 | 4.862 | 55.81 | 5.592 | 61.322 | 8.982 | 10.868 | 9.418 | 15.18 | 12.584 | 888 | 100 | 48.43
2019-10-10 10:15:00 | 4.8007 | 261.5487 | 5.5307 | 287.418 | 8.9953 | 11.28 | 9.3353 | 21.596 | 12.7773 | 888 | 100 | 48.5493
2019-10-10 10:30:00 | 4.864 | 193.548 | 5.6 | 212.68 | 9.268 | 11.656 | 9.99 | 15.202 | 12.982 | 888 | 100 | 45.2713
2019-10-10 10:45:00 | 4.232 | 191.6027 | 4.8707 | 210.5467 | 8.032 | 7.1867 | 9.2753 | 21.8407 | 13.1887 | 888 | 100 | 37.414
2019-10-10 11:00:00 | 3.944 | 241.406 | 4.536 | 265.28 | 7.184 | 10.354 | 8.34 | 21.948 | 13.45 | 888 | 100 | 33.6447
2019-10-10 11:15:00 | 4.1253 | 183.2913 | 4.7493 | 201.4133 | 7.764 | 13.574 | 8.58 | 18.368 | 13.662 | 888 | 99.92 | 35.4107
2019-10-10 11:30:00 | 3.816 | 68 | 4.4 | 74.72 | 7.318 | 13.918 | 8.46 | 17.998 | 13.828 | 888 | 99.7 | 34.2587
2019-10-10 11:45:00 | 3.5987 | 65.5893 | 4.144 | 72.0667 | 6.9727 | 15.642 | 8.4893 | 21.7033 | 14.1227 | 888 | 99.4933 | 31.7967
2019-10-10 12:00:00 | 3.4927 | 203.126 | 4.0173 | 223.2133 | 6.86 | 15.1133 | 8.1987 | 25.6673 | 14.4073 | 888 | 98.8867 | 32.296
2019-10-10 12:15:00 | 3.8653 | 225.876 | 4.4493 | 248.212 | 7.442 | 18.8113 | 8.3493 | 28.502 | 14.586 | 888 | 97.7667 | 29.2527
2019-10-10 12:30:00 | 3.854 | 114.852 | 4.44 | 126.208 | 7.366 | 13.764 | 8.082 | 32.574 | 14.682 | 888 | 97.58 | 22.6753
2019-10-10 12:45:00 | 4.1047 | 137.452 | 4.7267 | 151.04 | 7.5207 | 18.0053 | 7.926 | 27.7913 | 15.1433 | 888 | 94.8067 | 22.2467
2019-10-10 13:00:00 | 4.1253 | 210.9367 | 4.7493 | 231.7867 | 7.6913 | 14.6947 | 7.8813 | 23.6007 | 15.8747 | 888 | 92.44 | 26.0147
2019-10-10 13:15:00 | 4.748 | 210.976 | 5.4593 | 231.84 | 8.7673 | 14.9027 | 9.2647 | 26.4807 | 16.9093 | 888 | 88.06 | 29.636
2019-10-10 13:30:00 | 5.282 | 97.622 | 6.082 | 107.264 | 9.85 | 11.732 | 10.498 | 25.91 | 16.73 | 888 | 87.64 | 33.26
2019-10-10 13:45:00 | 5.7167 | 110.7647 | 6.5847 | 121.7093 | 10.7673 | 13.7507 | 11.1087 | 22.594 | 15.926 | 888 | 88.88 | 37.206
2019-10-10 14:00:00 | 5.592 | 156.362 | 6.436 | 171.82 | 10.54 | 9.18 | 10.948 | 22.376 | 15.324 | 887.6 | 89.22 | 40.2533
2019-10-10 14:15:00 | 6.0027 | 164.838 | 6.9147 | 181.14 | 10.6373 | 20.372 | 11.0773 | 26.1227 | 15.0967 | 887 | 87.5533 | 39.918
2019-10-10 14:30:00 | 6.284 | 195.306 | 7.232 | 214.62 | 10.976 | 28.116 | 11.058 | 23.64 | 15.166 | 887 | 86.86 | 33.054
2019-10-10 14:45:00 | 5.6333 | 180.8273 | 6.4907 | 198.7133 | 10.4733 | 13.9347 | 10.6527 | 23.3747 | 15.3727 | 887 | 87.3267 | 29.5013
2019-10-10 15:00:00 | 4.788 | 190.954 | 5.51 | 209.84 | 9.054 | 16.424 | 9.4 | 24.166 | 15.652 | 887 | 86.6 | 26.616
2019-10-10 15:15:00 | 4.3667 | 162.7313 | 5.0247 | 178.8267 | 8.2273 | 4.86 | 8.508 | 23.518 | 15.8707 | 887 | 86.44 | 25.2747
2019-10-10 15:30:00 | 4.312 | 144.776 | 4.958 | 159.1 | 8.1 | 9.996 | 8.214 | 22.97 | 15.788 | 887 | 85.66 | 24.278
2019-10-10 15:45:00 | 4.08 | 190.1907 | 4.6953 | 208.9933 | 7.964 | 16.0907 | 7.982 | 18.7887 | 15.7393 | 887 | 88.3267 | 24.7233
2019-10-10 16:00:00 | 4.12 | 157.986 | 4.738 | 173.61 | 8.058 | 7.684 | 8.162 | 25.466 | 15.652 | 887 | 88.82 | 27.9493
2019-10-10 16:15:00 | 4.4133 | 158.694 | 5.0833 | 174.3833 | 8.574 | 13.88 | 8.706 | 23.194 | 15.4867 | 887 | 89.4333 | 31.5053
2019-10-10 16:30:00 | 4.568 | 248.746 | 5.252 | 273.34 | 8.762 | 15.778 | 9.232 | 31.124 | 15.292 | 887 | 88.18 | 33.0027
2019-10-10 16:45:00 | 4.5453 | 215.1807 | 5.2267 | 236.46 | 8.8047 | 9.4953 | 9.1827 | 16.764 | 15.076 | 887 | 87.9667 | 34.8273
2019-10-10 17:00:00 | 4.396 | 166.238 | 5.064 | 182.68 | 8.55 | 15.012 | 9.208 | 25.4 | 14.842 | 887 | 88.9 | 30.4733
2019-10-10 17:15:00 | 4.1427 | 133.6913 | 4.7613 | 146.9067 | 8.078 | 20.1747 | 8.316 | 27.3033 | 14.6167 | 887 | 89.2067 | 22.4633
2019-10-10 17:30:00 | 3.732 | 253.212 | 4.288 | 278.26 | 7.278 | 17.062 | 7.386 | 28.832 | 14.522 | 887 | 89.56 | 18.2453
2019-10-10 17:45:00 | 3.3533 | 313.4067 | 3.856 | 344.3933 | 5.9367 | 7.0527 | 5.9367 | 21.796 | 14.558 | 887 | 87.5333 | 15.8627
2019-10-10 18:00:00 | 3.054 | 230.5473 | 3.512 | 253.3333 | 5.8227 | 20.2607 | 5.6867 | 19.5227 | 14.5767 | 887 | 87.7933 | 15.186
2019-10-10 18:15:00 | 3.2393 | 237.374 | 3.7253 | 260.84 | 5.9893 | 13.9513 | 5.8813 | 25.2947 | 14.4313 | 887 | 88.5933 | 19.09
2019-10-10 18:30:00 | 3.544 | 274.118 | 4.076 | 301.22 | 6.462 | 18.38 | 6.564 | 19.894 | 14.334 | 887 | 89.42 | 22.8393
2019-10-10 18:45:00 | 3.924 | 281.4047 | 4.5147 | 309.2333 | 7.2287 | 10.6333 | 7.4227 | 14.082 | 14.2633 | 887 | 88.9533 | 25.726
2019-10-10 19:00:00 | 4.188 | 174.49 | 4.818 | 191.74 | 7.88 | 13.784 | 7.996 | 20.52 | 14.106 | 887 | 89 | 30.7927
2019-10-10 19:15:00 | 4.5333 | 110.342 | 5.2113 | 121.2467 | 8.424 | 11.844 | 8.4667 | 18.6173 | 13.974 | 887 | 89.18 | 36.7413
2019-10-10 19:30:00 | 4.672 | 224.288 | 5.376 | 246.46 | 8.946 | 15.622 | 9.066 | 21.376 | 13.868 | 887 | 90.32 | 37.3893
2019-10-10 19:45:00 | 4.8293 | 160.372 | 5.552 | 176.2333 | 9.2993 | 21.9193 | 9.69 | 25.7093 | 13.6187 | 887 | 92.4533 | 37.5427
2019-10-10 20:00:00 | 4.932 | 274.498 | 5.674 | 301.64 | 9.572 | 16.786 | 10.01 | 29.31 | 13.516 | 887 | 92.94 | 37.1673
2019-10-10 20:15:00 | 4.8067 | 309.9753 | 5.534 | 340.6267 | 9.1067 | 25.0993 | 9.418 | 23.738 | 13.464 | 887.7333 | 93.2867 | 31.538
2019-10-10 20:30:00 | 4.668 | 263.482 | 5.37 | 289.54 | 8.876 | 11.608 | 9.13 | 21.952 | 13.488 | 888 | 92.76 | 31.2913
2019-10-10 20:45:00 | 4.5947 | 267.814 | 5.2847 | 294.3 | 8.6173 | 9.9893 | 8.7233 | 18.9187 | 13.6027 | 888 | 91.5667 | 33.798
2019-10-10 21:00:00 | 4.808 | 227.382 | 5.54 | 249.86 | 8.946 | 15.002 | 9.076 | 18.328 | 13.614 | 888 | 91.72 | 33.5293
2019-10-10 21:15:00 | 5 | 215.7527 | 5.7587 | 237.0867 | 9.354 | 9.6527 | 9.416 | 16.488 | 13.536 | 888 | 91.9867 | 35.8607
2019-10-10 21:30:00 | 5.202 | 109.28 | 5.996 | 120.08 | 9.41 | 10.698 | 9.4 | 23.218 | 13.584 | 888 | 91.46 | 37.0013
2019-10-10 21:45:00 | 4.9153 | 226.3867 | 5.6533 | 248.7733 | 8.918 | 13.074 | 9.112 | 19.5647 | 13.5867 | 888 | 91.76 | 33.8887
2019-10-10 22:00:00 | 4.844 | 213.284 | 5.574 | 234.38 | 8.858 | 11.254 | 9.154 | 23.858 | 13.526 | 888 | 91.94 | 36.1773
2019-10-10 22:15:00 | 5.0927 | 164.1367 | 5.8587 | 180.3667 | 9.3847 | 9.2447 | 9.9193 | 25.3693 | 13.41 | 888 | 92.4467 | 40.9067
2019-10-10 22:30:00 | 5.392 | 182.578 | 6.206 | 200.6333 | 9.9587 | 10.1147 | 9.9687 | 21.5667 | 13.2567 | 888 | 93.16 | 43.2587
2019-10-10 22:45:00 | 5.4333 | 66.6053 | 6.2627 | 73.1973 | 10.0407 | 13.1573 | 9.8887 | 23.1107 | 13.134 | 888 | 93.8733 | 41.322
2019-10-10 23:00:00 | 5.17 | 68.694 | 5.948 | 75.49 | 9.48 | 11.566 | 9.452 | 15.88 | 13.014 | 888 | 94.46 | 36.934
2019-10-10 23:15:00 | 4.9993 | 276.198 | 5.76 | 303.506 | 8.9653 | 17.8567 | 8.8507 | 18.0627 | 13.1127 | 888 | 93.36 | 37.956
2019-10-10 23:30:00 | 5.518 | 321.164 | 6.346 | 352.92 | 9.692 | 8.446 | 9.582 | 15.36 | 13.198 | 888 | 92.6 | 35.8007
2019-10-10 23:45:00 | 5.2007 | 295.0427 | 5.9833 | 324.2133 | 9.7213 | 16.2767 | 9.894 | 21.504 | 13.174 | 888 | 92.8 | 30.9187