## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2019-10-12 00:00:00 | 5.3086 | 226.9814 | 6.1186 | 249.4286 | 9.3557 | 156.2114 | 8.8929 | 6.8557 | 12.2371 | 890 | 93 | 45.0264
2019-10-12 00:15:00 | 5.5613 | 71.4527 | 6.3967 | 78.512 | 9.944 | 3.642 | 9.4733 | 32.0513 | 12.1373 | 889.3333 | 93.36 | 45.3007
2019-10-12 00:30:00 | 5.456 | 26.03 | 6.282 | 28.606 | 9.658 | 213.616 | 9.29 | 36.154 | 12.08 | 890 | 93.84 | 45.616
2019-10-12 00:45:00 | 5.0933 | 109.906 | 5.858 | 120.7687 | 9.2113 | 349.78 | 9.1073 | 4.5073 | 11.9653 | 890 | 94.4667 | 45.3727
2019-10-12 01:00:00 | 5.482 | 314.304 | 6.314 | 345.38 | 9.75 | 352.98 | 9.304 | 8.15 | 11.934 | 889.6 | 94.46 | 47.8547
2019-10-12 01:15:00 | 5.522 | 98.032 | 6.3593 | 107.72 | 9.4407 | 258.3907 | 9.2507 | 6.6687 | 11.9493 | 889 | 94.5333 | 45.96
2019-10-12 01:30:00 | 5.6 | 224.64 | 6.45 | 246.86 | 9.798 | 19.438 | 9.436 | 9.17 | 11.852 | 889 | 95.26 | 47.502
2019-10-12 01:45:00 | 5.4533 | 115.6173 | 6.2833 | 127.0467 | 9.3873 | 12.8113 | 9.4067 | 19.014 | 11.8033 | 889 | 95.3 | 48.5247
2019-10-12 02:00:00 | 5.96 | 253.104 | 6.858 | 278.14 | 10.436 | 4.398 | 10.656 | 14.274 | 11.744 | 889 | 95.46 | 44.136
2019-10-12 02:15:00 | 5.1 | 296.984 | 5.8687 | 326.3533 | 8.42 | 18.5353 | 8.5067 | 26.8833 | 11.7727 | 889 | 95.16 | 44.4207
2019-10-12 02:30:00 | 5.06 | 130.784 | 5.82 | 143.712 | 8.268 | 217.02 | 8.532 | 217.956 | 11.776 | 889 | 95.04 | 44.8407
2019-10-12 02:45:00 | 5.7133 | 66.7947 | 6.576 | 73.388 | 9.8547 | 306.2 | 9.8533 | 30.7627 | 11.7873 | 889 | 94.5533 | 46.0347
2019-10-12 03:00:00 | 5.94 | 188.93 | 6.842 | 207.6 | 10.27 | 145.766 | 10.148 | 6.562 | 11.94 | 888.6 | 93.5 | 47.3773
2019-10-12 03:15:00 | 5.9907 | 280.8647 | 6.9007 | 308.64 | 10.2633 | 3.9927 | 10.1387 | 18.7193 | 11.9267 | 888 | 93.74 | 47.1913
2019-10-12 03:30:00 | 5.932 | 281.406 | 6.832 | 309.24 | 10.002 | 4.132 | 9.948 | 12.016 | 11.832 | 888 | 94.44 | 48.9867
2019-10-12 03:45:00 | 5.6827 | 294.1107 | 6.5453 | 323.1933 | 9.416 | 22.0173 | 9.0613 | 13.0827 | 11.6333 | 888 | 95.5333 | 50.1027
2019-10-12 04:00:00 | 5.396 | 288.524 | 6.216 | 317.06 | 9.482 | 9.648 | 9.136 | 20.928 | 11.502 | 888 | 96.22 | 47.6113
2019-10-12 04:15:00 | 5.9173 | 63.432 | 6.8107 | 69.696 | 9.5767 | 2.144 | 9.4253 | 18.9627 | 11.45 | 888 | 96.22 | 47.952
2019-10-12 04:30:00 | 5.7 | 207.642 | 6.566 | 228.164 | 8.862 | 7.53 | 8.544 | 17.684 | 11.512 | 888 | 95.7 | 44.184
2019-10-12 04:45:00 | 5.1987 | 23.958 | 5.988 | 26.324 | 8.6833 | 16.4713 | 8.5907 | 20.1813 | 11.5327 | 888 | 95.42 | 43.6353
2019-10-12 05:00:00 | 5.156 | 177.254 | 5.938 | 194.776 | 8.88 | 13.262 | 8.938 | 18.182 | 11.452 | 888 | 95.62 | 47.2967
2019-10-12 05:15:00 | 5.58 | 115.3247 | 6.4193 | 126.7307 | 9.924 | 9.9193 | 10.138 | 16.4567 | 11.336 | 888 | 96.0333 | 48.7733
2019-10-12 05:30:00 | 5.596 | 23.262 | 6.434 | 25.56 | 9.786 | 12.564 | 10.11 | 16.25 | 11.358 | 888 | 95.9 | 46.6293
2019-10-12 05:45:00 | 5.1 | 89.7087 | 5.866 | 98.576 | 8.23 | 322.4933 | 8.526 | 12.446 | 11.364 | 888 | 95.7733 | 44.316
2019-10-12 06:00:00 | 4.756 | 315.016 | 5.472 | 346.16 | 7.59 | 155.462 | 7.618 | 18.098 | 11.38 | 888 | 95.48 | 44.2147
2019-10-12 06:15:00 | 4.772 | 36 | 5.4907 | 39.5547 | 8.282 | 96.0447 | 8.2833 | 3.2647 | 11.4087 | 888 | 95.22 | 44.4673
2019-10-12 06:30:00 | 5.12 | 5.19 | 5.89 | 5.696 | 8.856 | 142.772 | 8.798 | 9.844 | 11.444 | 888.4 | 94.78 | 44.1387
2019-10-12 06:45:00 | 5.072 | 209.802 | 5.83 | 230.552 | 8.66 | 237.6227 | 8.37 | 225.9493 | 11.456 | 889 | 94.72 | 44.4553
2019-10-12 07:00:00 | 5.164 | 148.866 | 5.944 | 163.584 | 8.882 | 10.964 | 8.798 | 16.24 | 11.498 | 889 | 94.64 | 46.0853
2019-10-12 07:15:00 | 5.9467 | 113.8527 | 6.8373 | 125.1133 | 10.5007 | 22.6907 | 10.486 | 19.172 | 11.4767 | 889 | 94.78 | 46.5447
2019-10-12 07:30:00 | 5.772 | 118.408 | 6.648 | 130.118 | 10.254 | 7.44 | 9.862 | 17.706 | 11.528 | 889 | 94.5 | 45.48
2019-10-12 07:45:00 | 5.2253 | 37.6 | 6.0107 | 41.3153 | 9.054 | 7.9507 | 8.958 | 14.2527 | 11.554 | 889 | 94.58 | 42.5747
2019-10-12 08:00:00 | 5.222 | 11.27 | 6.004 | 12.374 | 8.7 | 12.69 | 8.802 | 16.048 | 11.64 | 889 | 94.18 | 42.8473
2019-10-12 08:15:00 | 5.1447 | 285.5447 | 5.9173 | 313.786 | 7.812 | 28.902 | 7.7193 | 19.5613 | 11.7707 | 889.7333 | 93.4067 | 42.406
2019-10-12 08:30:00 | 5.432 | 115.442 | 6.254 | 126.852 | 8.192 | 214.468 | 8.108 | 15.046 | 11.952 | 890 | 92.46 | 41.5007
2019-10-12 08:45:00 | 6.268 | 26.1033 | 7.214 | 28.684 | 9.8053 | 33.9053 | 9.928 | 16.3953 | 12.2667 | 890 | 91.42 | 42.902
2019-10-12 09:00:00 | 5.776 | 37.894 | 6.646 | 41.642 | 10.01 | 7.124 | 10.278 | 20.698 | 12.53 | 890.4 | 90.56 | 41.988
2019-10-12 09:15:00 | 5.0547 | 95.3913 | 5.8153 | 104.822 | 8.1847 | 4.8387 | 8.3033 | 15.1433 | 12.522 | 891 | 90.3267 | 38.1353
2019-10-12 09:30:00 | 4.73 | 145.398 | 5.442 | 159.78 | 7.554 | 203.912 | 7.738 | 14.812 | 12.644 | 891 | 89.94 | 36.7773
2019-10-12 09:45:00 | 5.0473 | 92.6353 | 5.8047 | 101.7933 | 8.5247 | 34.6587 | 8.4033 | 8.2547 | 13.5427 | 891 | 87.14 | 37.9733
2019-10-12 10:00:00 | 5.242 | 142.5 | 6.028 | 156.586 | 8.616 | 11.302 | 8.48 | 12.484 | 13.75 | 891.4 | 85.42 | 39.8713
2019-10-12 10:15:00 | 5.506 | 105.0227 | 6.3373 | 115.4073 | 8.8547 | 110.846 | 8.5787 | 20.1467 | 14.1927 | 892 | 83.8867 | 34.6973
2019-10-12 10:30:00 | 4.754 | 305.186 | 5.482 | 335.36 | 8.164 | 148.99 | 7.774 | 9.938 | 14.8 | 892 | 82.9 | 26.9667
2019-10-12 10:45:00 | 4.5793 | 21.558 | 5.27 | 23.6867 | 8.2733 | 13.7793 | 7.8673 | 15.434 | 15.5507 | 892 | 82.04 | 24.316
2019-10-12 11:00:00 | 4.2 | 42.266 | 4.836 | 46.448 | 7.586 | 17.68 | 7.422 | 23.784 | 16.406 | 892 | 79.184 | 22.196
2019-10-12 11:15:00 | 4.3 | 186.2793 | 4.952 | 204.6987 | 7.7673 | 20.8587 | 7.2967 | 28.6573 | 17.262 | 892 | 75.648 | 21.3987
2019-10-12 11:30:00 | 4.378 | 247.828 | 5.036 | 272.34 | 8.012 | 12.714 | 7.526 | 20.282 | 17.08 | 892.4 | 75.458 | 21.1893
2019-10-12 11:45:00 | 4.3273 | 311.7933 | 4.9787 | 342.62 | 7.8787 | 17.6073 | 7.666 | 22.518 | 17.4427 | 892.2667 | 76.5993 | 17.0627
2019-10-12 12:00:00 | 4.2 | 309.07 | 4.83 | 339.64 | 7.544 | 16.414 | 7.312 | 18.77 | 18.292 | 892 | 73.444 | 12.028
2019-10-12 12:15:00 | 4.0027 | 172.5273 | 4.6073 | 189.5867 | 7.2067 | 16.222 | 6.9973 | 17.0673 | 19.0947 | 892 | 69.0973 | 8.4587
2019-10-12 12:30:00 | 3.54 | 115.43 | 4.082 | 126.84 | 6.368 | 9.406 | 6.064 | 9.818 | 19.364 | 892 | 68.314 | 5.804
2019-10-12 12:45:00 | 3.2747 | 30.1207 | 3.7687 | 33.1 | 5.6147 | 6.3473 | 5.34 | 28.774 | 19.3867 | 892 | 68.0953 | 2.762
2019-10-12 13:00:00 | 3.2 | 28.466 | 3.688 | 31.28 | 5.368 | 9.298 | 4.992 | 13.22 | 19.54 | 892 | 67.782 | 1.3067
2019-10-12 13:15:00 | 2.8987 | 6.978 | 3.336 | 7.6667 | 4.772 | 12.8767 | 4.4387 | 41.512 | 19.816 | 892 | 67.0273 | 0.052667
2019-10-12 13:30:00 | 2.628 | 64.194 | 3.03 | 70.54 | 4.378 | 6.748 | 4.086 | 18.248 | 20.162 | 892 | 66.476 | 0
2019-10-12 13:45:00 | 2.416 | 309.9833 | 2.7887 | 340.64 | 3.5967 | 12.5747 | 3.1407 | 9.6907 | 20.2073 | 892 | 63.5507 | 0
2019-10-12 14:00:00 | 1.8 | 24.93 | 2.07 | 27.398 | 2.734 | 6.734 | 2.288 | 2.83 | 20.052 | 892 | 64.288 | 0
2019-10-12 14:15:00 | 1.512 | 297.194 | 1.7393 | 326.59 | 1.8553 | 316.778 | 1.4267 | 319.2087 | 20.128 | 892 | 60.2053 | 0
2019-10-12 14:30:00 | 2.032 | 133.794 | 2.338 | 147.018 | 2.34 | 328.22 | 2.152 | 323.02 | 19.53 | 891.6 | 61.5 | 0
2019-10-12 14:45:00 | 1.6027 | 40.434 | 1.846 | 44.4193 | 2.4427 | 339.2467 | 2.252 | 169.4867 | 19.3153 | 891 | 64.4647 | 0
2019-10-12 15:00:00 | 1.232 | 71.526 | 1.426 | 78.596 | 1.914 | 238.12 | 1.546 | 260.76 | 20.092 | 891 | 63.198 | 0
2019-10-12 15:15:00 | 2.0947 | 129.0593 | 2.4113 | 141.82 | 2.474 | 167.0267 | 2.274 | 167.4267 | 20.948 | 891 | 61.736 | 0
2019-10-12 15:30:00 | 2.388 | 148.262 | 2.746 | 162.92 | 2.884 | 184.38 | 2.766 | 194.44 | 20.918 | 891 | 60.766 | 0
2019-10-12 15:45:00 | 2.444 | 155.0607 | 2.8167 | 170.3867 | 2.952 | 182.4467 | 2.7887 | 188.92 | 21.038 | 891 | 59.742 | 0
2019-10-12 16:00:00 | 2.508 | 152.486 | 2.882 | 167.56 | 3.156 | 166.94 | 3.048 | 176.6 | 21.198 | 891 | 58.628 | 0
2019-10-12 16:15:00 | 2.668 | 137.8593 | 3.066 | 151.48 | 3.2227 | 169.0333 | 3.1147 | 192.7333 | 20.8887 | 891.7333 | 58.452 | 0
2019-10-12 16:30:00 | 2.324 | 149.362 | 2.668 | 164.12 | 2.966 | 201.2 | 2.886 | 215.66 | 21.008 | 892 | 58.626 | 0
2019-10-12 16:45:00 | 2.0267 | 170.8647 | 2.3293 | 187.76 | 2.598 | 214.12 | 2.6647 | 202.14 | 20.9487 | 892 | 58.756 | 0
2019-10-12 17:00:00 | 2.252 | 187.424 | 2.594 | 205.96 | 2.96 | 209.16 | 2.878 | 219.1 | 20.526 | 892 | 59.16 | 0
2019-10-12 17:15:00 | 2.1533 | 169.324 | 2.478 | 186.0667 | 2.7907 | 192.72 | 2.7167 | 219.6733 | 19.6673 | 892 | 61.32 | 0
2019-10-12 17:30:00 | 1.96 | 172.572 | 2.26 | 189.64 | 2.556 | 189.04 | 2.482 | 205.1 | 18.942 | 891.6 | 63.868 | 0
2019-10-12 17:45:00 | 2.1307 | 172.044 | 2.4533 | 189.0533 | 2.7827 | 198.7067 | 2.794 | 213.42 | 18.482 | 890.9333 | 65.956 | 0
2019-10-12 18:00:00 | 1.904 | 174.748 | 2.196 | 192.02 | 2.51 | 207.8 | 2.518 | 213.98 | 18.274 | 890 | 67.108 | 0
2019-10-12 18:15:00 | 1.7947 | 172.1893 | 2.0627 | 189.2067 | 2.3313 | 214.6267 | 2.238 | 213.46 | 18.07 | 890 | 67.8593 | 0
2019-10-12 18:30:00 | 2.12 | 173.748 | 2.448 | 190.92 | 2.728 | 205.48 | 2.688 | 209.38 | 17.828 | 890 | 67.928 | 0
2019-10-12 18:45:00 | 1.9467 | 174.188 | 2.2427 | 191.4133 | 2.4907 | 199.6 | 2.3947 | 202.9533 | 17.7133 | 890 | 67.8873 | 0
2019-10-12 19:00:00 | 1.804 | 176.492 | 2.084 | 193.94 | 2.348 | 199.78 | 2.248 | 206.16 | 17.674 | 890 | 68.144 | 0
2019-10-12 19:15:00 | 1.9493 | 172.8587 | 2.2533 | 189.94 | 2.3667 | 199.4267 | 2.278 | 201.8867 | 17.65 | 890 | 68.2913 | 0
2019-10-12 19:30:00 | 1.55 | 161.426 | 1.786 | 177.38 | 2.008 | 198.34 | 2.118 | 201.3 | 17.59 | 890 | 68.85 | 0
2019-10-12 19:45:00 | 1.3927 | 170.168 | 1.6033 | 187 | 2.1147 | 198.4733 | 2.206 | 209.34 | 17.3393 | 890 | 70.084 | 0
2019-10-12 20:00:00 | 1.114 | 165.362 | 1.284 | 181.72 | 2.064 | 186.36 | 2.224 | 193.92 | 17.126 | 890.4 | 70.934 | 0
2019-10-12 20:15:00 | 1.1047 | 156.4527 | 1.2787 | 171.92 | 1.9507 | 153.76 | 2.328 | 154.9333 | 16.842 | 891 | 72.8593 | 0
2019-10-12 20:30:00 | 1.61 | 141.564 | 1.858 | 155.56 | 2.388 | 165.88 | 2.638 | 169.32 | 16.636 | 891 | 75.21 | 0
2019-10-12 20:45:00 | 2.1833 | 165.2373 | 2.5113 | 181.5733 | 3.0453 | 185.4667 | 3.1687 | 184.12 | 16.5127 | 891 | 78.0993 | 0
2019-10-12 21:00:00 | 1.648 | 165.5 | 1.898 | 181.86 | 2.388 | 179.3 | 2.604 | 179.06 | 16.278 | 891 | 80.18 | 0
2019-10-12 21:15:00 | 2.004 | 171.7653 | 2.3047 | 188.74 | 2.668 | 180.1533 | 2.6933 | 172.7267 | 16.0047 | 891 | 82.3 | 0.10467
2019-10-12 21:30:00 | 2.568 | 142.64 | 2.952 | 156.74 | 3.362 | 181.76 | 3.38 | 178.92 | 15.752 | 891 | 84.58 | 0.018667
2019-10-12 21:45:00 | 2.4853 | 169.7387 | 2.8627 | 186.5267 | 3.2913 | 182.88 | 3.5213 | 174.52 | 15.4627 | 891 | 87.7 | 0
2019-10-12 22:00:00 | 2.708 | 167.612 | 3.114 | 184.18 | 3.536 | 181.2 | 3.664 | 174.16 | 15.324 | 891 | 88.98 | 0
2019-10-12 22:15:00 | 2.476 | 165.348 | 2.8553 | 181.7 | 3.2813 | 180.0667 | 3.6813 | 174.12 | 15.1487 | 891.7333 | 89.7667 | 0
2019-10-12 22:30:00 | 1.428 | 174.272 | 1.652 | 191.5 | 2.25 | 176.6 | 2.748 | 172.56 | 15.138 | 892 | 89.84 | 0
2019-10-12 22:45:00 | 0.724 | 110.296 | 0.83467 | 121.2 | 0.74333 | 127.16 | 1.4307 | 170.14 | 14.8653 | 892 | 89.3667 | 0
2019-10-12 23:00:00 | 0.866 | 130.02 | 0.998 | 142.874 | 0.312 | 30.648 | 0.532 | 169.9 | 14.49 | 892 | 89.62 | 0
2019-10-12 23:15:00 | 1.848 | 218.216 | 2.1233 | 239.7967 | 2.4393 | 8.102 | 2.3113 | 261.9593 | 14.0853 | 892 | 91.7867 | 0
2019-10-12 23:30:00 | 2.244 | 173.21 | 2.582 | 190.336 | 3.348 | 8.744 | 3.398 | 6.978 | 13.704 | 892 | 93.56 | 1.366
2019-10-12 23:45:00 | 2.3027 | 284.9513 | 2.654 | 313.1267 | 3.572 | 234.0653 | 3.702 | 14.3153 | 13.5013 | 892 | 94.0933 | 1.9893