## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2019-10-13 00:00:00 | 2.7771 | 315.6671 | 3.2043 | 346.8857 | 4.2443 | 210.3929 | 4.1814 | 17.22 | 13.4629 | 892 | 93.7857 | 2.8021
2019-10-13 00:15:00 | 2.906 | 81.682 | 3.3467 | 89.76 | 4.3593 | 95.4293 | 4.244 | 1.776 | 13.4227 | 892 | 93.5733 | 3.1053
2019-10-13 00:30:00 | 2.928 | 120.3 | 3.372 | 132.202 | 4.524 | 356.8 | 4.328 | 1.484 | 13.238 | 891.6 | 94.22 | 4.1787
2019-10-13 00:45:00 | 3.2 | 297.0387 | 3.688 | 326.418 | 4.7533 | 254.9093 | 4.6267 | 7.9907 | 13.0027 | 891 | 95.16 | 5.43
2019-10-13 01:00:00 | 3.27 | 136.49 | 3.764 | 149.988 | 4.552 | 216.764 | 4.344 | 7.38 | 13 | 891 | 95.18 | 4.7067
2019-10-13 01:15:00 | 3.2407 | 81.258 | 3.724 | 89.292 | 4.4173 | 256.5707 | 4.3867 | 9.884 | 12.8493 | 891 | 95.66 | 6.2633
2019-10-13 01:30:00 | 3.458 | 124.458 | 3.978 | 136.754 | 5.7 | 0.412 | 5.532 | 3.782 | 12.578 | 891 | 96.68 | 6.954
2019-10-13 01:45:00 | 3.6513 | 87.25 | 4.206 | 95.8793 | 5.6267 | 237.9227 | 5.448 | 12.618 | 12.4613 | 891 | 97.2867 | 11.5207
2019-10-13 02:00:00 | 3.478 | 315.974 | 4.006 | 347.22 | 5.8 | 6.44 | 6.154 | 20.264 | 12.384 | 891 | 97.58 | 15.65
2019-10-13 02:15:00 | 3.7207 | 120.9247 | 4.2807 | 132.88 | 6.264 | 97.1813 | 6.5873 | 12.82 | 12.244 | 891 | 98.1533 | 18.14
2019-10-13 02:30:00 | 3.854 | 313.644 | 4.436 | 344.66 | 6.426 | 345.58 | 6.574 | 8.538 | 12.188 | 891 | 98.44 | 19.7273
2019-10-13 02:45:00 | 3.6673 | 195.0533 | 4.224 | 214.3373 | 6.5113 | 66.372 | 6.3533 | 5.8927 | 12.1933 | 891 | 98.5733 | 21.4373
2019-10-13 03:00:00 | 4.012 | 27.956 | 4.618 | 30.718 | 6.66 | 12.08 | 6.736 | 20.348 | 12.214 | 891 | 98.48 | 25.314
2019-10-13 03:15:00 | 4.148 | 217.1747 | 4.7713 | 238.6553 | 6.7627 | 237.3347 | 6.3507 | 13.8773 | 12.1787 | 891 | 98.3267 | 26.4033
2019-10-13 03:30:00 | 3.768 | 21.75 | 4.336 | 23.902 | 6.652 | 0.786 | 6.578 | 13.918 | 12.074 | 891 | 98.42 | 25.8413
2019-10-13 03:45:00 | 3.6267 | 98.6593 | 4.1787 | 108.414 | 6.492 | 331.474 | 6.6753 | 1.1473 | 11.918 | 891 | 98.7867 | 25.6247
2019-10-13 04:00:00 | 3.74 | 324.324 | 4.306 | 356.4 | 6.666 | 243.84 | 6.776 | 8.876 | 11.856 | 891 | 99.08 | 30.3213
2019-10-13 04:15:00 | 3.596 | 110.388 | 4.1407 | 121.3 | 6.498 | 337.04 | 6.192 | 8.8867 | 11.91 | 891 | 99.0467 | 28.5353
2019-10-13 04:30:00 | 3.92 | 305.576 | 4.514 | 335.8 | 6.632 | 154.006 | 6.624 | 17.306 | 11.946 | 891 | 98.76 | 31.9653
2019-10-13 04:45:00 | 3.8427 | 101.9853 | 4.4287 | 112.06 | 7.108 | 6.7487 | 7.4373 | 9.69 | 11.8533 | 890.9333 | 99.1133 | 34.5433
2019-10-13 05:00:00 | 4.084 | 246.09 | 4.708 | 270.42 | 7.496 | 9.424 | 7.88 | 12.766 | 11.736 | 890 | 99.74 | 36.1613
2019-10-13 05:15:00 | 4.0973 | 26.822 | 4.7107 | 29.4693 | 7.0507 | 13.068 | 7.336 | 11.178 | 11.6533 | 890 | 99.9733 | 28.9707
2019-10-13 05:30:00 | 4.008 | 21.336 | 4.618 | 23.442 | 6.55 | 5.226 | 6.674 | 8.982 | 11.692 | 890.4 | 99.76 | 21.7
2019-10-13 05:45:00 | 3.3933 | 199.4907 | 3.902 | 219.2233 | 5.838 | 5.0753 | 6.3853 | 4.6673 | 11.736 | 891 | 99.22 | 20.1993
2019-10-13 06:00:00 | 3.252 | 2.242 | 3.74 | 2.464 | 5.148 | 12.922 | 5.466 | 7.914 | 11.79 | 891 | 98.74 | 15.0967
2019-10-13 06:15:00 | 2.7227 | 21.5607 | 3.1293 | 23.688 | 5.1507 | 13.8633 | 5.562 | 16.702 | 11.754 | 891 | 98.9533 | 12.4787
2019-10-13 06:30:00 | 2.914 | 61.31 | 3.348 | 67.364 | 5.166 | 2.77 | 5.486 | 12.616 | 11.696 | 891 | 99.2 | 15.874
2019-10-13 06:45:00 | 3.1207 | 31.3567 | 3.588 | 34.46 | 4.9847 | 16.618 | 5.162 | 10.4427 | 11.7407 | 891 | 98.6267 | 15.8053
2019-10-13 07:00:00 | 3.352 | 188.708 | 3.866 | 207.376 | 5.142 | 14.198 | 5.21 | 12.784 | 11.822 | 891 | 97.94 | 15.6593
2019-10-13 07:15:00 | 3.0907 | 52.8907 | 3.554 | 58.1093 | 4.874 | 92.9967 | 4.8527 | 13.6387 | 11.8273 | 891 | 97.78 | 17.012
2019-10-13 07:30:00 | 3.18 | 15.03 | 3.666 | 16.508 | 4.984 | 142.568 | 5.232 | 22.818 | 11.808 | 891 | 97.9 | 17.826
2019-10-13 07:45:00 | 3.0707 | 26.8847 | 3.5433 | 29.5427 | 5.0573 | 106.6387 | 5.0107 | 9.5567 | 11.8353 | 891 | 97.8467 | 24.552
2019-10-13 08:00:00 | 3.416 | 191.776 | 3.934 | 210.74 | 5.68 | 144.422 | 5.76 | 14.106 | 11.852 | 891 | 98 | 27.0347
2019-10-13 08:15:00 | 3.7147 | 103.772 | 4.2753 | 114.0267 | 5.6067 | 94.6313 | 5.7333 | 105.0927 | 11.8867 | 891.0667 | 98.1267 | 27.8487
2019-10-13 08:30:00 | 3.756 | 128.83 | 4.32 | 141.566 | 5.672 | 147.952 | 5.772 | 147.874 | 11.92 | 892 | 98.06 | 32.188
2019-10-13 08:45:00 | 4.0613 | 98.6993 | 4.672 | 108.4473 | 6.4533 | 103.3213 | 6.4973 | 7.8033 | 12.0667 | 892 | 97.5867 | 28.106
2019-10-13 09:00:00 | 3.984 | 120.372 | 4.59 | 132.268 | 6.504 | 349.9 | 6.418 | 5.996 | 12.358 | 892 | 96.72 | 28.4513
2019-10-13 09:15:00 | 4 | 111.5547 | 4.602 | 122.5853 | 6.7033 | 349.5133 | 6.8687 | 17.728 | 12.8927 | 892 | 95.3067 | 25.6033
2019-10-13 09:30:00 | 3.78 | 316.028 | 4.354 | 347.28 | 6.656 | 147.268 | 6.664 | 14.926 | 13.622 | 892.4 | 93.6 | 16.6687
2019-10-13 09:45:00 | 3.724 | 305.104 | 4.2853 | 335.2667 | 6.4533 | 16.2527 | 6.4447 | 20.068 | 13.958 | 893 | 91.0733 | 11.6667
2019-10-13 10:00:00 | 3.5 | 113.128 | 4.03 | 124.314 | 6.01 | 4.47 | 5.868 | 8.734 | 13.832 | 893.4 | 90.96 | 11.5447
2019-10-13 10:15:00 | 3.3907 | 104.1853 | 3.8993 | 114.486 | 5.758 | 240.65 | 5.668 | 6.71 | 13.612 | 894 | 91.8133 | 12.3607
2019-10-13 10:30:00 | 3.244 | 119.134 | 3.73 | 130.91 | 5.906 | 4.59 | 5.942 | 13.066 | 13.674 | 894 | 92.32 | 16.1827
2019-10-13 10:45:00 | 3.5 | 279.0113 | 4.0273 | 306.6033 | 6.0687 | 1.2593 | 5.9967 | 17.6967 | 13.8073 | 894 | 91.56 | 15.2307
2019-10-13 11:00:00 | 3.516 | 322.412 | 4.046 | 354.3 | 6.518 | 1.16 | 6.468 | 8.52 | 13.886 | 894 | 91.5 | 15.4373
2019-10-13 11:15:00 | 3.676 | 284.312 | 4.2313 | 312.4333 | 6.6847 | 10.464 | 6.728 | 11.7387 | 14.0007 | 894 | 90.8067 | 15.7313
2019-10-13 11:30:00 | 3.854 | 146.052 | 4.436 | 160.5 | 7.074 | 14.738 | 7.066 | 17.146 | 14.11 | 894 | 90.8 | 18.354
2019-10-13 11:45:00 | 3.4967 | 53.0107 | 4.032 | 58.2507 | 6.7627 | 106.4553 | 7.01 | 21.3913 | 14.298 | 894 | 91.56 | 23.0407
2019-10-13 12:00:00 | 3.39 | 28.28 | 3.9 | 31.078 | 6.432 | 153.418 | 6.64 | 26.684 | 14.332 | 894 | 90.9 | 24.8047
2019-10-13 12:15:00 | 3.6953 | 252.8707 | 4.2573 | 277.8713 | 7.0227 | 16.4073 | 7.0427 | 26.7413 | 14.4453 | 894 | 90.5733 | 26.4707
2019-10-13 12:30:00 | 3.968 | 167.208 | 4.564 | 183.74 | 7.564 | 16.198 | 7.484 | 19.976 | 14.934 | 894 | 89.9 | 31.326
2019-10-13 12:45:00 | 4.3253 | 190.4467 | 4.972 | 209.2827 | 7.8947 | 15.258 | 8.068 | 23.4827 | 15.3113 | 893.2667 | 87.1 | 26.748
2019-10-13 13:00:00 | 3.704 | 190.036 | 4.26 | 208.828 | 6.932 | 20.766 | 6.938 | 20.36 | 15.396 | 893 | 87.4 | 24.204
2019-10-13 13:15:00 | 4.2747 | 236.54 | 4.928 | 259.92 | 6.788 | 329.246 | 6.742 | 323.544 | 15.2733 | 893 | 86.2267 | 25.5033
2019-10-13 13:30:00 | 4.374 | 291.804 | 5.034 | 320.66 | 7.49 | 161.59 | 7.2 | 163.376 | 14.984 | 893 | 87.48 | 27.67
2019-10-13 13:45:00 | 4.5913 | 300.0533 | 5.2913 | 329.7267 | 7.4473 | 234.2167 | 7.268 | 246.9813 | 14.964 | 893 | 87.6267 | 31.5733
2019-10-13 14:00:00 | 4.728 | 149.532 | 5.44 | 164.32 | 8.076 | 14.476 | 7.678 | 13.388 | 14.988 | 892.6 | 87.42 | 29.9187
2019-10-13 14:15:00 | 4.512 | 20.4093 | 5.1893 | 22.4227 | 7.576 | 8.1693 | 7.11 | 9.36 | 15.1347 | 892.0667 | 86.7533 | 21.5353
2019-10-13 14:30:00 | 4.41 | 45.096 | 5.072 | 49.544 | 7.514 | 21.42 | 7.396 | 25.308 | 15.274 | 893 | 86.5 | 19.9473
2019-10-13 14:45:00 | 4.2967 | 17.944 | 4.9493 | 19.712 | 8.0047 | 19.6333 | 7.812 | 19.9173 | 15.2467 | 893 | 87.1133 | 23.87
2019-10-13 15:00:00 | 4.44 | 26.826 | 5.106 | 29.472 | 7.612 | 26.236 | 7.448 | 21.414 | 15.014 | 892.6 | 87.98 | 25.0067
2019-10-13 15:15:00 | 4.412 | 111.714 | 5.078 | 122.756 | 7.3173 | 10.8533 | 7.1707 | 14.2753 | 14.856 | 892.0667 | 88.16 | 19.4933
2019-10-13 15:30:00 | 3.792 | 285.558 | 4.368 | 313.8 | 6.588 | 215.372 | 6.41 | 14.66 | 14.894 | 893 | 88.54 | 21.8073
2019-10-13 15:45:00 | 3.7013 | 213.1367 | 4.264 | 234.2133 | 7.0253 | 36.92 | 6.7087 | 13.8253 | 14.9993 | 893 | 89.4933 | 25.1893
2019-10-13 16:00:00 | 3.936 | 168.996 | 4.53 | 185.7 | 7.554 | 15.552 | 7.524 | 14.966 | 15.076 | 893 | 89.08 | 34.4727
2019-10-13 16:15:00 | 4.7707 | 157.0867 | 5.4913 | 172.62 | 8.71 | 11.1653 | 8.4493 | 21.574 | 15.0667 | 893 | 88.2133 | 38.6487
2019-10-13 16:30:00 | 5.068 | 62.256 | 5.824 | 68.406 | 9.012 | 10.602 | 8.62 | 15.202 | 14.808 | 893 | 88.6 | 38.5933
2019-10-13 16:45:00 | 5.7987 | 119.064 | 6.6707 | 130.838 | 10.1773 | 6.0247 | 10.092 | 14.606 | 14.5653 | 892.9333 | 88.8533 | 37.946
2019-10-13 17:00:00 | 6.1 | 118.794 | 7.012 | 130.536 | 10.942 | 13.44 | 10.89 | 13.918 | 14.472 | 892 | 89.12 | 40.5
2019-10-13 17:15:00 | 6.24 | 140.4767 | 7.1813 | 154.3667 | 11.0313 | 3.2067 | 10.746 | 26.69 | 14.3573 | 892 | 89.7067 | 39.6493
2019-10-13 17:30:00 | 5.796 | 261.246 | 6.672 | 287.08 | 10.316 | 13.822 | 9.986 | 28.742 | 14.354 | 892 | 89.56 | 42.296
2019-10-13 17:45:00 | 5.6413 | 217.4193 | 6.492 | 238.92 | 10.5133 | 18.6993 | 10.494 | 21.9367 | 14.248 | 892 | 90.1933 | 44.308
2019-10-13 18:00:00 | 5.47 | 249.076 | 6.288 | 273.7 | 10.06 | 15.758 | 10.034 | 24.426 | 14.16 | 892 | 90.06 | 43.968
2019-10-13 18:15:00 | 5.4967 | 183.6907 | 6.3333 | 201.8467 | 10.5013 | 10.4113 | 10.4127 | 23.2233 | 14.1013 | 892.0667 | 89.9933 | 48.3707
2019-10-13 18:30:00 | 6.116 | 188.488 | 7.044 | 207.12 | 11.378 | 8.39 | 11.558 | 19.852 | 14.034 | 893 | 89.48 | 49.6373
2019-10-13 18:45:00 | 6.7533 | 238.0227 | 7.768 | 261.5573 | 12.3713 | 11.4687 | 12.6833 | 24.3587 | 14.0533 | 892.9333 | 89.02 | 49.0067
2019-10-13 19:00:00 | 7 | 98.344 | 8.054 | 108.074 | 12.444 | 9.12 | 13.052 | 24.424 | 14.126 | 892.4 | 88.34 | 47.6267
2019-10-13 19:15:00 | 7.172 | 155.0127 | 8.2567 | 170.3333 | 12.904 | 9.7313 | 13.2893 | 21.2893 | 14.244 | 893 | 87.5733 | 48.9873
2019-10-13 19:30:00 | 7.136 | 159.598 | 8.208 | 175.38 | 13.328 | 11.882 | 13.862 | 23.74 | 14.164 | 893 | 88.24 | 52.1467
2019-10-13 19:45:00 | 7.516 | 177.8673 | 8.652 | 195.46 | 13.9093 | 15.4927 | 14.4927 | 21.5253 | 14.0813 | 893 | 88.5733 | 53.6773
2019-10-13 20:00:00 | 7.648 | 235.836 | 8.806 | 259.16 | 14.246 | 13.7 | 14.758 | 20.296 | 14.15 | 893 | 88.12 | 54.7213
2019-10-13 20:15:00 | 7.3547 | 257.8453 | 8.4567 | 283.3467 | 14.0113 | 6.1827 | 14.382 | 20.3507 | 14.118 | 893.0667 | 88.3 | 53.5807
2019-10-13 20:30:00 | 7.7 | 298.686 | 8.858 | 328.22 | 13.984 | 14.18 | 13.876 | 22.776 | 14.114 | 894 | 88.32 | 55.0053
2019-10-13 20:45:00 | 7.192 | 179.918 | 8.2793 | 197.7133 | 13.1973 | 7.7653 | 12.996 | 18.864 | 14.094 | 894 | 88.6133 | 54.4167
2019-10-13 21:00:00 | 7.036 | 183.02 | 8.094 | 201.12 | 13.002 | 7.918 | 12.902 | 19.944 | 14.056 | 894 | 88.86 | 51.9507
2019-10-13 21:15:00 | 6.132 | 188.496 | 7.062 | 207.1333 | 11.7967 | 13.3767 | 11.8087 | 17.98 | 13.8973 | 894 | 89.9467 | 53.2933
2019-10-13 21:30:00 | 6.572 | 293.588 | 7.562 | 322.62 | 12.388 | 12.92 | 12.574 | 18.742 | 13.83 | 894.4 | 89.92 | 55.0207
2019-10-13 21:45:00 | 7.5987 | 53.8587 | 8.7393 | 59.18 | 14.2533 | 12.1413 | 14.4953 | 25.0847 | 13.9207 | 895 | 88.2133 | 54.6507
2019-10-13 22:00:00 | 7.764 | 103.05 | 8.936 | 113.24 | 14.522 | 10.08 | 14.824 | 24.032 | 13.932 | 895 | 87.78 | 54.2413
2019-10-13 22:15:00 | 7.652 | 61.39 | 8.8053 | 67.4507 | 14.394 | 11.832 | 14.9167 | 26.7707 | 13.896 | 895 | 87.6667 | 53.3967
2019-10-13 22:30:00 | 7.648 | 181.146 | 8.796 | 199.056 | 14.218 | 13.36 | 14.58 | 22.516 | 13.954 | 895 | 87.24 | 53.1953
2019-10-13 22:45:00 | 7.656 | 55.5687 | 8.804 | 61.0627 | 14.2153 | 18.012 | 14.7293 | 27.7733 | 13.9687 | 895 | 87.6867 | 53.8533
2019-10-13 23:00:00 | 7.684 | 127.962 | 8.836 | 140.604 | 14.32 | 12.18 | 14.77 | 24.326 | 13.942 | 895 | 88 | 54.7387
2019-10-13 23:15:00 | 7.6793 | 187.906 | 8.8387 | 206.4907 | 14.38 | 7.872 | 14.3553 | 21.9207 | 13.9033 | 895 | 87.6067 | 54.234
2019-10-13 23:30:00 | 7.768 | 133.8253 | 8.934 | 147.0547 | 14.3807 | 11.2267 | 14.3953 | 21.286 | 13.988 | 895 | 86.56 | 51.8153
2019-10-13 23:45:00 | 7.264 | 211.8773 | 8.3647 | 232.8333 | 13.4673 | 13.94 | 13.7633 | 22.8913 | 13.984 | 895 | 86.8 | 50.2667