## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2019-10-14 00:00:00 | 7.0957 | 136.0829 | 8.1586 | 149.5429 | 13.2371 | 9.3786 | 13.4714 | 19.2586 | 13.9171 | 895 | 87.39 | 50.8986
2019-10-14 00:15:00 | 7.412 | 196.5267 | 8.524 | 215.9667 | 13.3993 | 16.3627 | 13.7327 | 21.7133 | 13.9287 | 895 | 87.2933 | 49.7687
2019-10-14 00:30:00 | 6.69 | 196.726 | 7.692 | 216.18 | 11.85 | 11.86 | 12.538 | 22.136 | 13.916 | 895 | 87.38 | 49.1813
2019-10-14 00:45:00 | 6.3153 | 242.0327 | 7.2693 | 265.9667 | 11.374 | 15.3187 | 11.5473 | 15.376 | 13.7827 | 895 | 88.3533 | 47.6607
2019-10-14 01:00:00 | 6.296 | 142.044 | 7.238 | 156.08 | 11.102 | 11.686 | 11.4 | 18.412 | 13.662 | 895 | 88.94 | 46.9013
2019-10-14 01:15:00 | 6.1507 | 134.156 | 7.082 | 147.4267 | 10.9353 | 9.2273 | 10.92 | 21.6453 | 13.5407 | 895 | 89.3333 | 43.3287
2019-10-14 01:30:00 | 5.804 | 131.88 | 6.688 | 144.92 | 10.404 | 12.398 | 10.378 | 16.856 | 13.41 | 895 | 89.98 | 45.8067
2019-10-14 01:45:00 | 5.98 | 267.5453 | 6.88 | 294 | 10.492 | 13.282 | 10.926 | 21.5307 | 13.3973 | 895 | 89.86 | 46.392
2019-10-14 02:00:00 | 6.616 | 122.216 | 7.604 | 134.304 | 11.662 | 12.194 | 11.608 | 21.93 | 13.398 | 895 | 89.58 | 47.3907
2019-10-14 02:15:00 | 6.5173 | 106.4187 | 7.4973 | 116.936 | 11.3847 | 6.5127 | 11.4307 | 17.9407 | 13.3827 | 895 | 89.4933 | 45.5927
2019-10-14 02:30:00 | 6.116 | 202.672 | 7.034 | 222.72 | 10.936 | 13.656 | 11.13 | 23.834 | 13.394 | 895 | 89.44 | 45.956
2019-10-14 02:45:00 | 5.956 | 177.0573 | 6.85 | 194.56 | 10.788 | 16.032 | 11.046 | 27.07 | 13.4307 | 895 | 89.3933 | 45.588
2019-10-14 03:00:00 | 5.912 | 162.196 | 6.806 | 178.24 | 10.756 | 16.552 | 11.116 | 19.84 | 13.354 | 895 | 89.72 | 44.7413
2019-10-14 03:15:00 | 5.572 | 163.424 | 6.4127 | 179.5733 | 10.092 | 23.88 | 10.1693 | 19.2213 | 13.292 | 895 | 90.2667 | 45.1833
2019-10-14 03:30:00 | 5.772 | 166.004 | 6.652 | 182.42 | 10.144 | 23.064 | 10.334 | 21.308 | 13.304 | 895 | 90.12 | 44.1213
2019-10-14 03:45:00 | 5.724 | 227.932 | 6.596 | 250.468 | 9.9313 | 13.7573 | 10.1153 | 26.18 | 13.2933 | 895 | 90.3733 | 43.5633
2019-10-14 04:00:00 | 5.668 | 13.914 | 6.524 | 15.288 | 9.52 | 21.242 | 9.804 | 18.906 | 13.318 | 895 | 90.4 | 45.326
2019-10-14 04:15:00 | 5.3707 | 79.7207 | 6.1787 | 87.604 | 8.8173 | 18.1367 | 8.8053 | 242.9193 | 13.394 | 895 | 89.94 | 42.0993
2019-10-14 04:30:00 | 5.294 | 113.462 | 6.09 | 124.684 | 9.21 | 13.818 | 9.044 | 28.058 | 13.376 | 895 | 90.04 | 38.2493
2019-10-14 04:45:00 | 4.726 | 205.198 | 5.442 | 225.4867 | 8.0153 | 322.202 | 7.916 | 54.8167 | 13.3233 | 895 | 90.0333 | 41.08
2019-10-14 05:00:00 | 4.8 | 43.644 | 5.528 | 47.948 | 8.236 | 177.854 | 8.08 | 2.52 | 13.252 | 895 | 89.98 | 41.1893
2019-10-14 05:15:00 | 4.7413 | 93.2907 | 5.4507 | 102.508 | 8.18 | 17.4407 | 8.378 | 16.3413 | 13.1987 | 895 | 90.3267 | 40.5767
2019-10-14 05:30:00 | 5.236 | 272.224 | 6.028 | 299.14 | 9.048 | 13.576 | 9.058 | 14.844 | 13.072 | 895 | 91.12 | 43.2853
2019-10-14 05:45:00 | 5.172 | 304.384 | 5.9533 | 334.4867 | 8.3347 | 16.0947 | 8.3367 | 17.916 | 13.144 | 895 | 90.6267 | 42.5253
2019-10-14 06:00:00 | 5.126 | 114.834 | 5.892 | 126.19 | 8.234 | 17.218 | 8.102 | 13.924 | 13.166 | 895 | 90.3 | 42.338
2019-10-14 06:15:00 | 5.042 | 13.6847 | 5.7987 | 15.0367 | 8.366 | 5.218 | 8.266 | 6.14 | 13.1313 | 895 | 90.66 | 42.3947
2019-10-14 06:30:00 | 5.152 | 41.868 | 5.93 | 46.002 | 8.158 | 17.596 | 7.998 | 212.688 | 13.07 | 895 | 90.78 | 41.3473
2019-10-14 06:45:00 | 5.192 | 291.3627 | 5.9793 | 320.1713 | 8.0887 | 12.3707 | 7.9073 | 29.816 | 13.0547 | 895.0667 | 90.8533 | 38.506
2019-10-14 07:00:00 | 4.772 | 145.544 | 5.49 | 159.934 | 7.65 | 10.984 | 7.682 | 12.858 | 13 | 896 | 91.22 | 40.0853
2019-10-14 07:15:00 | 4.8467 | 35.664 | 5.5727 | 39.1873 | 8.0793 | 234.88 | 8.1207 | 238.9673 | 12.942 | 896 | 91.4867 | 39.91
2019-10-14 07:30:00 | 5.11 | 159.806 | 5.88 | 175.612 | 8.368 | 8.642 | 8.326 | 13.766 | 12.96 | 896 | 91.32 | 41.124
2019-10-14 07:45:00 | 5.0467 | 222.794 | 5.804 | 244.8293 | 9.112 | 10.7367 | 9.0233 | 15.6873 | 12.9933 | 896 | 91.2667 | 38.404
2019-10-14 08:00:00 | 4.94 | 190.256 | 5.692 | 209.064 | 8.972 | 12.352 | 8.97 | 23.578 | 13.01 | 896 | 91.16 | 37.1553
2019-10-14 08:15:00 | 4.6773 | 26.2507 | 5.3827 | 28.84 | 8.7347 | 6.0827 | 8.8847 | 20.8047 | 13.036 | 896.0667 | 91.4333 | 40.1327
2019-10-14 08:30:00 | 4.868 | 29.144 | 5.598 | 32.018 | 8.576 | 33.036 | 8.708 | 17.302 | 13.118 | 897 | 90.74 | 39.6547
2019-10-14 08:45:00 | 4.6813 | 260.136 | 5.3887 | 285.862 | 8.3753 | 11.2013 | 8.4307 | 17.786 | 13.158 | 897 | 90.7267 | 37.6233
2019-10-14 09:00:00 | 4.576 | 95.206 | 5.26 | 104.616 | 7.604 | 9.368 | 7.694 | 219.188 | 13.212 | 897 | 90.18 | 36.1647
2019-10-14 09:15:00 | 4.5013 | 12.9873 | 5.176 | 14.2733 | 7.3493 | 306.376 | 6.9207 | 28.4213 | 13.3233 | 897 | 89.1933 | 36.2973
2019-10-14 09:30:00 | 4.744 | 129.404 | 5.464 | 142.204 | 8.196 | 143.986 | 7.874 | 9.67 | 13.284 | 897 | 89.48 | 36.1007
2019-10-14 09:45:00 | 4.2667 | 39.856 | 4.9187 | 43.7867 | 6.8267 | 324.754 | 6.5673 | 10.182 | 13.1573 | 897.0667 | 90.7467 | 35.224
2019-10-14 10:00:00 | 4.466 | 6.35 | 5.144 | 6.97 | 7.516 | 143.056 | 7.348 | 15.164 | 13.148 | 898 | 90.74 | 29.92
2019-10-14 10:15:00 | 4.026 | 237.15 | 4.6373 | 260.59 | 6.6127 | 100.1707 | 6.4093 | 102.1427 | 13.2747 | 898 | 90.14 | 28.0747
2019-10-14 10:30:00 | 4.052 | 195.498 | 4.66 | 214.82 | 7.224 | 345.88 | 7.044 | 355.38 | 13.384 | 898 | 90.32 | 27.582
2019-10-14 10:45:00 | 3.7507 | 41.53 | 4.3147 | 45.6347 | 6.72 | 136.7533 | 6.4547 | 263.8253 | 13.296 | 898 | 92.5867 | 26.102
2019-10-14 11:00:00 | 3.656 | 16.068 | 4.202 | 17.65 | 6.228 | 339.3 | 5.964 | 217.388 | 13.162 | 898 | 94.42 | 26.7433
2019-10-14 11:15:00 | 4.0947 | 16.2307 | 4.7073 | 17.8287 | 6.464 | 341.22 | 6.492 | 26.4067 | 13.2233 | 898 | 93.9 | 23.058
2019-10-14 11:30:00 | 3.532 | 189.224 | 4.068 | 207.94 | 6.222 | 348.48 | 6.214 | 5.318 | 13.444 | 898 | 94 | 19.7347
2019-10-14 11:45:00 | 3.2693 | 46.232 | 3.76 | 50.7987 | 5.7247 | 23.4867 | 5.918 | 3.1407 | 13.7667 | 898 | 93.1333 | 16.1607
2019-10-14 12:00:00 | 3.024 | 183.918 | 3.484 | 202.108 | 5.57 | 115.56 | 5.408 | 12.206 | 14.132 | 898 | 92.8 | 13.47
2019-10-14 12:15:00 | 2.652 | 314.218 | 3.0587 | 345.2933 | 4.886 | 244.9373 | 4.8853 | 239.066 | 14.4373 | 898 | 92.1467 | 13.3433
2019-10-14 12:30:00 | 2.628 | 145.986 | 3.024 | 160.422 | 4.468 | 4.346 | 4.48 | 45.188 | 14.682 | 898 | 91.16 | 10.9747
2019-10-14 12:45:00 | 2.684 | 166.0287 | 3.0893 | 182.438 | 4.188 | 320.29 | 4.02 | 100.5813 | 14.846 | 898 | 88.5333 | 7.284
2019-10-14 13:00:00 | 2.534 | 17.804 | 2.918 | 19.562 | 3.654 | 352.74 | 3.576 | 187.86 | 15.06 | 898 | 86.2 | 5.2947
2019-10-14 13:15:00 | 2.7273 | 218.888 | 3.138 | 240.5287 | 3.7473 | 26.236 | 3.5907 | 8.3667 | 15.1913 | 898 | 85.1467 | 6.6927
2019-10-14 13:30:00 | 2.736 | 14.478 | 3.15 | 15.904 | 4.586 | 0.714 | 4.468 | 8.802 | 15.41 | 898 | 86.16 | 6.5813
2019-10-14 13:45:00 | 2.9573 | 217.1273 | 3.4007 | 238.6013 | 4.8833 | 0.68333 | 4.8573 | 9.926 | 15.6607 | 897.2667 | 85.46 | 5.844
2019-10-14 14:00:00 | 2.852 | 200.804 | 3.288 | 220.664 | 4.72 | 5.544 | 4.466 | 5.62 | 15.72 | 897 | 86.16 | 5.056
2019-10-14 14:15:00 | 2.72 | 49.3053 | 3.14 | 54.1813 | 4.8987 | 6.368 | 4.7567 | 16.0813 | 15.888 | 897 | 85.8 | 3.672
2019-10-14 14:30:00 | 2.624 | 181.052 | 3.02 | 198.952 | 4.892 | 7.308 | 4.756 | 10.872 | 16.308 | 897 | 85.52 | 1.566
2019-10-14 14:45:00 | 2.7627 | 53.1573 | 3.1787 | 58.416 | 4.5187 | 25.7627 | 4.3373 | 12.664 | 16.624 | 897 | 82.6133 | 2.0133
2019-10-14 15:00:00 | 2.908 | 15.892 | 3.354 | 17.456 | 4.496 | 29.254 | 4.206 | 17.09 | 16.354 | 897 | 82.3 | 1.5513
2019-10-14 15:15:00 | 2.6107 | 98.5867 | 3.01 | 108.328 | 4.4027 | 16.802 | 4.35 | 12.4847 | 16.478 | 897 | 82.7 | 0.71467
2019-10-14 15:30:00 | 2.568 | 308.182 | 2.96 | 338.66 | 4.274 | 12.154 | 4.248 | 11.744 | 16.56 | 897 | 82.16 | 0.814
2019-10-14 15:45:00 | 2.3373 | 32.098 | 2.6893 | 35.2693 | 4.3513 | 12.818 | 4.2333 | 10.9213 | 16.5953 | 897 | 82.6667 | 1.14
2019-10-14 16:00:00 | 2.31 | 19.53 | 2.66 | 21.46 | 3.918 | 4.776 | 3.906 | 16.518 | 16.45 | 897 | 82.9 | 1.7027
2019-10-14 16:15:00 | 2.046 | 251.9687 | 2.356 | 276.884 | 3.834 | 102.0333 | 3.954 | 24.9473 | 16.408 | 897 | 84.1667 | 1.2167
2019-10-14 16:30:00 | 1.884 | 118.11 | 2.178 | 129.79 | 3.308 | 137.85 | 3.292 | 23.01 | 16.364 | 897 | 83.66 | 1.332
2019-10-14 16:45:00 | 1.616 | 196.2607 | 1.858 | 215.67 | 3.144 | 16.058 | 3.4053 | 32.558 | 16.412 | 896.2667 | 85.8333 | 0.682
2019-10-14 17:00:00 | 1.762 | 251.886 | 2.028 | 276.8 | 3.386 | 14.348 | 3.396 | 35.742 | 16.616 | 896 | 84.28 | 0.40733
2019-10-14 17:15:00 | 1.8293 | 152.436 | 2.114 | 167.5133 | 3.4833 | 2.5667 | 3.564 | 18.67 | 16.676 | 896.7333 | 83.72 | 0.804
2019-10-14 17:30:00 | 1.78 | 106.44 | 2.054 | 116.96 | 3.528 | 6.988 | 3.666 | 26.184 | 16.236 | 896.6 | 84.74 | 2.6153
2019-10-14 17:45:00 | 1.7453 | 259.3053 | 2.0113 | 284.9467 | 3.4627 | 11.364 | 3.526 | 24.812 | 15.94 | 896 | 88.3 | 3.0867
2019-10-14 18:00:00 | 1.8 | 285.386 | 2.074 | 313.6 | 3.574 | 14.774 | 3.608 | 23.11 | 15.724 | 896 | 89.18 | 3.8313
2019-10-14 18:15:00 | 1.9413 | 257.0287 | 2.242 | 282.44 | 3.8327 | 16.9033 | 3.7867 | 26.5607 | 15.356 | 896 | 89.94 | 4.808
2019-10-14 18:30:00 | 1.578 | 287.728 | 1.822 | 316.18 | 3.126 | 20.498 | 2.72 | 27.432 | 15.024 | 896 | 91.24 | 3.826
2019-10-14 18:45:00 | 1.3927 | 307.8087 | 1.6113 | 338.2467 | 2.5113 | 12.358 | 2.3507 | 119.54 | 14.8427 | 896 | 91.4933 | 4.45
2019-10-14 19:00:00 | 1.524 | 145.262 | 1.764 | 159.624 | 2.886 | 11.016 | 2.964 | 151.038 | 14.746 | 896 | 92.04 | 4.668
2019-10-14 19:15:00 | 2.268 | 202.4273 | 2.6067 | 222.44 | 4.3047 | 12.036 | 4.2693 | 33.5527 | 14.5127 | 896 | 92.5733 | 5.7853
2019-10-14 19:30:00 | 2.456 | 17.89 | 2.824 | 19.65 | 4.436 | 209.504 | 4.304 | 35.196 | 14.316 | 896 | 93 | 6.0467
2019-10-14 19:45:00 | 2.24 | 167.8247 | 2.5733 | 184.4193 | 4.2107 | 82.552 | 4.4293 | 27.048 | 14.2053 | 896 | 93.64 | 5.7093
2019-10-14 20:00:00 | 2.476 | 6.2947 | 2.8453 | 6.912 | 4.3247 | 18.7473 | 4.5567 | 24.3673 | 14.104 | 896.4 | 93.9867 | 6.2307
2019-10-14 20:15:00 | 2.376 | 117.034 | 2.7307 | 128.606 | 4.5333 | 31.0513 | 4.4647 | 30.43 | 14.0967 | 897 | 93.9333 | 8.4233
2019-10-14 20:30:00 | 2.784 | 166.664 | 3.204 | 183.14 | 5.152 | 17.15 | 4.944 | 19.712 | 13.986 | 897 | 94.34 | 9.0707
2019-10-14 20:45:00 | 3.072 | 26.8133 | 3.5387 | 29.46 | 5.476 | 236.29 | 5.0333 | 5.212 | 13.8847 | 897 | 94.22 | 9.026
2019-10-14 21:00:00 | 3.072 | 27.914 | 3.542 | 30.668 | 5.792 | 8.286 | 5.554 | 14.242 | 13.8 | 897 | 94.34 | 13.7327
2019-10-14 21:15:00 | 3.1093 | 273.1887 | 3.586 | 300.2053 | 5.808 | 3.878 | 5.7273 | 17.5927 | 13.7133 | 897 | 94.8267 | 15.4067
2019-10-14 21:30:00 | 3.232 | 132.91 | 3.726 | 146.056 | 5.712 | 203.104 | 5.51 | 19.402 | 13.662 | 897 | 95.12 | 17.4527
2019-10-14 21:45:00 | 3.3813 | 184.7033 | 3.9007 | 202.968 | 5.5173 | 34.7413 | 5.562 | 243.1513 | 13.6367 | 897 | 95.2533 | 17.776
2019-10-14 22:00:00 | 3.16 | 162.486 | 3.638 | 178.556 | 4.81 | 28.402 | 4.654 | 16.528 | 13.608 | 897 | 95.22 | 17.7653
2019-10-14 22:15:00 | 3.3147 | 139.1273 | 3.8153 | 152.8867 | 5.5127 | 45.5607 | 5.1593 | 16.5373 | 13.584 | 897 | 95.3867 | 16.72
2019-10-14 22:30:00 | 3.28 | 161.218 | 3.772 | 177.15 | 5.706 | 217.416 | 5.46 | 220.436 | 13.56 | 897 | 95.38 | 16.864
2019-10-14 22:45:00 | 3.144 | 192.2073 | 3.6173 | 211.2167 | 5.3007 | 26.6947 | 5.072 | 266.0747 | 13.5313 | 897 | 95.54 | 16.478
2019-10-14 23:00:00 | 2.708 | 282.472 | 3.12 | 310.4 | 4.912 | 12.048 | 4.728 | 24.234 | 13.512 | 897 | 95.82 | 12.9693
2019-10-14 23:15:00 | 2.5147 | 109.3813 | 2.8907 | 120.2 | 4.4187 | 329.684 | 4.4307 | 22.7953 | 13.4547 | 897 | 96.3267 | 13.4327
2019-10-14 23:30:00 | 2.58 | 140.768 | 2.976 | 154.682 | 4.818 | 351.32 | 4.696 | 10.974 | 13.364 | 897 | 97.1 | 14.4367
2019-10-14 23:45:00 | 2.9093 | 288.956 | 3.3467 | 317.5247 | 5.0167 | 124.76 | 4.9333 | 7.2407 | 13.1987 | 897 | 98.0067 | 15.8087