## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2019-10-15 00:00:00 | 3.2143 | 246.06 | 3.6971 | 270.3857 | 5.8557 | 152.3886 | 5.7443 | 203.9229 | 13.0886 | 897 | 98.6 | 14.8357
2019-10-15 00:15:00 | 3.2873 | 227.358 | 3.7793 | 249.8467 | 5.846 | 12.3093 | 5.5913 | 25.44 | 12.9647 | 896.9333 | 99.4467 | 16.8613
2019-10-15 00:30:00 | 3.198 | 257.568 | 3.68 | 283.04 | 5.79 | 226.476 | 5.5 | 210.98 | 12.9 | 896 | 99.88 | 17.3713
2019-10-15 00:45:00 | 2.8727 | 250.9013 | 3.3013 | 275.7173 | 5.3073 | 351.96 | 5.0667 | 33.336 | 12.832 | 896 | 100 | 16.7387
2019-10-15 01:00:00 | 2.862 | 15.688 | 3.294 | 17.24 | 4.848 | 346.54 | 4.836 | 21.78 | 12.792 | 896 | 100 | 16.3473
2019-10-15 01:15:00 | 3.0913 | 12.204 | 3.562 | 13.404 | 5.1653 | 120.0267 | 5.132 | 13.156 | 12.7413 | 896 | 100 | 16.4753
2019-10-15 01:30:00 | 2.876 | 22.552 | 3.306 | 24.77 | 4.738 | 350.2 | 5.008 | 9.372 | 12.702 | 896 | 100 | 16.2787
2019-10-15 01:45:00 | 2.8533 | 282.1373 | 3.286 | 310.0313 | 4.9033 | 347.56 | 4.86 | 16.5773 | 12.682 | 895.2667 | 100 | 13.9953
2019-10-15 02:00:00 | 2.684 | 301.286 | 3.086 | 331.08 | 4.454 | 139.052 | 4.572 | 219.6 | 12.63 | 895 | 100 | 13.8473
2019-10-15 02:15:00 | 2.9227 | 242.4727 | 3.3687 | 266.448 | 4.9487 | 21.784 | 5.312 | 46.8893 | 12.5713 | 895 | 100 | 13.8767
2019-10-15 02:30:00 | 3.004 | 209.03 | 3.454 | 229.692 | 5.066 | 6.738 | 5.6 | 18.55 | 12.532 | 895 | 100 | 14.0587
2019-10-15 02:45:00 | 2.6947 | 299.4967 | 3.1033 | 329.12 | 4.8987 | 6.2473 | 5.156 | 15.4353 | 12.5113 | 895 | 100 | 11.7853
2019-10-15 03:00:00 | 2.602 | 317.46 | 2.996 | 348.86 | 4.672 | 5.196 | 4.908 | 13.186 | 12.486 | 895 | 100 | 11.25
2019-10-15 03:15:00 | 2.838 | 306.8307 | 3.2627 | 337.1667 | 4.724 | 7.6533 | 4.8373 | 15.0993 | 12.472 | 894.9333 | 100 | 10.19
2019-10-15 03:30:00 | 2.784 | 131.808 | 3.206 | 144.84 | 4.786 | 9.252 | 5.034 | 15.15 | 12.456 | 894 | 100 | 7.2313
2019-10-15 03:45:00 | 2.7253 | 23.866 | 3.144 | 26.2267 | 4.5793 | 215.8707 | 4.6993 | 16.1113 | 12.442 | 894 | 100 | 6.4667
2019-10-15 04:00:00 | 2.7267 | 209.92 | 3.1467 | 230.68 | 4.506 | 12.5767 | 4.7633 | 10.28 | 12.422 | 894 | 100 | 6.0693
2019-10-15 04:15:00 | 2.5307 | 314.7027 | 2.912 | 345.8133 | 4.584 | 9.188 | 4.7673 | 20.494 | 12.416 | 894 | 100 | 3.732
2019-10-15 04:30:00 | 2.25 | 121.4133 | 2.5867 | 133.4133 | 3.8467 | 7.3667 | 3.9967 | 11.6133 | 12.4 | 894 | 100 | 3.1947
2019-10-15 04:45:00 | 2.084 | 53.83 | 2.394 | 59.152 | 3.852 | 7.23 | 3.92 | 18.378 | 12.392 | 894 | 100 | 1.9007
2019-10-15 05:00:00 | 2.0333 | 105.2633 | 2.3367 | 115.66 | 3.736 | 6.5767 | 3.72 | 15.5233 | 12.38 | 893.6 | 100 | 1.5133
2019-10-15 05:15:00 | 1.9073 | 273.952 | 2.2 | 301.0327 | 3.712 | 13.5433 | 3.9207 | 16.99 | 12.3647 | 893 | 100 | 0.64133
2019-10-15 05:30:00 | 1.6767 | 307.22 | 1.9333 | 337.6 | 3.2433 | 12.8867 | 3.37 | 17.8933 | 12.354 | 893 | 100 | 0
2019-10-15 05:45:00 | 1.6707 | 24.006 | 1.9273 | 26.3733 | 3.154 | 6.934 | 3.1167 | 16.95 | 12.3667 | 893 | 100 | 0
2019-10-15 06:00:00 | 1.4733 | 197.1367 | 1.6967 | 216.6333 | 2.46 | 19.92 | 2.36 | 13.6767 | 12.36 | 893 | 100 | 0
2019-10-15 06:15:00 | 1.2147 | 312.6887 | 1.4047 | 343.6067 | 1.7707 | 97.1453 | 1.5453 | 11.2493 | 12.3527 | 893 | 100 | 0.22
2019-10-15 06:30:00 | 0.84 | 136.21 | 0.976 | 149.674 | 1.126 | 145.868 | 1.182 | 19.894 | 12.346 | 893 | 100 | 0
2019-10-15 06:45:00 | 0.89533 | 322.1273 | 1.0293 | 353.98 | 0.912 | 8.99 | 0.036667 | 9.5313 | 12.3473 | 893 | 100 | 0
2019-10-15 07:00:00 | 0.44667 | 314.92 | 0.51667 | 346.0667 | 0.26667 | 20.1767 | 0.006667 | 12.0733 | 12.35 | 893 | 100 | 0.046
2019-10-15 07:15:00 | 0.51867 | 311.4647 | 0.59267 | 342.2667 | 0.14133 | 3.0907 | 0.024667 | 242.666 | 12.3427 | 893 | 100 | 0.176
2019-10-15 07:30:00 | 0.08 | 324.574 | 0.09 | 356.66 | 0 | 0.71667 | 0.013333 | 223.7333 | 12.344 | 893 | 100 | 0.53133
2019-10-15 07:45:00 | 0.075333 | 311.0747 | 0.087333 | 341.8267 | 0.112 | 207.6767 | 0.67067 | 216.8733 | 12.376 | 893 | 100 | 0.88867
2019-10-15 08:00:00 | 0.043333 | 274.132 | 0.05 | 301.24 | 0.056667 | 227.8667 | 0.69 | 219.4 | 12.434 | 893 | 100 | 1.302
2019-10-15 08:15:00 | 0.132 | 125.2947 | 0.16 | 137.6867 | 0.047333 | 174.7133 | 0.15733 | 207.3 | 12.5067 | 893 | 100 | 0.722
2019-10-15 08:30:00 | 0.88667 | 147.42 | 1.03 | 162 | 0.95 | 198.7 | 1.4733 | 199.7 | 12.53 | 893 | 100 | 0.68733
2019-10-15 08:45:00 | 1.9067 | 150.7387 | 2.1953 | 165.6467 | 2.16 | 177.08 | 2.7093 | 184.5 | 12.5907 | 893 | 100 | 1.6293
2019-10-15 09:00:00 | 1.3 | 155.4067 | 1.4967 | 170.7667 | 1.25 | 182.8 | 1.6633 | 189.6 | 12.6733 | 893 | 100 | 1.876
2019-10-15 09:15:00 | 1.522 | 167.1367 | 1.7513 | 183.66 | 1.76 | 192.56 | 1.9607 | 186.0133 | 12.7473 | 893 | 100 | 1.596
2019-10-15 09:30:00 | 1.188 | 181.442 | 1.368 | 199.38 | 1.324 | 188.86 | 1.686 | 180.56 | 12.794 | 893 | 100 | 1.8467
2019-10-15 09:45:00 | 1.56 | 183.64 | 1.7967 | 201.8 | 1.9067 | 233.5 | 2.08 | 225.9333 | 12.81 | 893 | 100 | 4.5253
2019-10-15 10:00:00 | 2.16 | 179.22 | 2.49 | 196.9333 | 2.74 | 233.3667 | 2.82 | 223.9333 | 12.818 | 893 | 100 | 8.1887
2019-10-15 10:15:00 | 2.12 | 140.54 | 2.4467 | 154.4333 | 2.6333 | 211.4533 | 2.7033 | 196.6667 | 12.8733 | 893 | 100 | 11.1267
2019-10-15 10:30:00 | 2.4667 | 140.3533 | 2.84 | 154.2333 | 3.1 | 190.0667 | 3.39 | 203.8 | 12.84 | 893 | 100 | 10.9653
2019-10-15 10:45:00 | 2.9213 | 162.8487 | 3.3593 | 178.9533 | 3.396 | 192.8333 | 3.5267 | 202.0467 | 12.802 | 893 | 100 | 11.502
2019-10-15 11:00:00 | 2.99 | 174.96 | 3.4433 | 192.2667 | 3.5067 | 223.0333 | 3.9567 | 189.6 | 12.772 | 893 | 100 | 11.8947
2019-10-15 11:15:00 | 3.2867 | 135.2533 | 3.78 | 148.6333 | 3.91 | 178.1333 | 4.01 | 174.6 | 12.7427 | 893 | 100 | 12.5153
2019-10-15 11:30:00 | 3.1533 | 167.6 | 3.6333 | 184.1667 | 3.7967 | 193.5333 | 3.99 | 206.7333 | 12.7467 | 893 | 100 | 12.7853
2019-10-15 11:45:00 | 3.2733 | 133.152 | 3.7667 | 146.32 | 3.91 | 167.98 | 4 | 173.9 | 12.7107 | 893 | 100 | 14.3247
2019-10-15 12:00:00 | 3.3667 | 128.87 | 3.8733 | 141.6 | 4.0633 | 173.1667 | 4.3067 | 183.1667 | 12.72 | 893 | 100 | 12.3013
2019-10-15 12:15:00 | 3.53 | 177.9367 | 4.0667 | 195.5333 | 4.23 | 188.6667 | 4.54 | 184.2 | 12.6933 | 892.9333 | 100 | 9.7247
2019-10-15 12:30:00 | 3.25 | 166.41 | 3.74 | 182.8667 | 3.7433 | 199.0667 | 4.0867 | 185.1333 | 12.72 | 892 | 100 | 10.4353
2019-10-15 12:45:00 | 3.24 | 199.7873 | 3.726 | 219.5333 | 3.92 | 201.1533 | 4.2333 | 188.3 | 12.6907 | 892 | 100 | 9.4373
2019-10-15 13:00:00 | 2.5133 | 177.5133 | 2.8933 | 195.0667 | 2.8933 | 199.7333 | 3.16 | 204 | 12.7667 | 892 | 100 | 6.3673
2019-10-15 13:15:00 | 2.28 | 147.2467 | 2.62 | 161.8 | 2.65 | 189.3333 | 2.8 | 210.1 | 12.84 | 892 | 100 | 5.572
2019-10-15 13:30:00 | 2.54 | 164.6533 | 2.92 | 180.9333 | 3.01 | 183.4 | 3.6 | 190.2333 | 12.852 | 892 | 100 | 5.2707
2019-10-15 13:45:00 | 2.4533 | 132.4933 | 2.8233 | 145.6 | 2.66 | 199.4333 | 3.3533 | 190.1 | 12.82 | 892 | 100 | 6.7313
2019-10-15 14:00:00 | 2.4867 | 167.8 | 2.8567 | 184.4 | 2.9 | 190.5667 | 3.1533 | 191.4333 | 12.9133 | 892 | 100 | 6.4613
2019-10-15 14:15:00 | 2.6813 | 168.0687 | 3.0867 | 184.6867 | 3.1247 | 183.6133 | 3.4713 | 195.96 | 12.9027 | 891.9333 | 100 | 5.8853
2019-10-15 14:30:00 | 2.8067 | 135.4033 | 3.2333 | 148.8 | 3.1767 | 184.2 | 3.5667 | 192 | 12.84 | 891 | 100 | 5.0387
2019-10-15 14:45:00 | 2.848 | 161.3733 | 3.2867 | 177.3267 | 3.1913 | 161.5133 | 3.8007 | 175.9733 | 12.886 | 891 | 100 | 4.358
2019-10-15 15:00:00 | 2.4867 | 139.81 | 2.86 | 153.6333 | 2.8267 | 161.4333 | 3.2567 | 174.9333 | 12.9567 | 891 | 100 | 5.398
2019-10-15 15:15:00 | 2.77 | 169.14 | 3.1833 | 185.8667 | 3.23 | 163.4 | 3.8567 | 169.12 | 12.9773 | 891 | 100 | 4.7847
2019-10-15 15:30:00 | 2.79 | 163.8067 | 3.21 | 180 | 3.3567 | 188.9333 | 3.8433 | 184 | 12.96 | 891 | 100 | 5.3033
2019-10-15 15:45:00 | 2.7233 | 192.3467 | 3.1333 | 211.3667 | 3.4167 | 163.9 | 3.89 | 171.1 | 12.93 | 891 | 100 | 5.2073
2019-10-15 16:00:00 | 2.5433 | 157.4 | 2.9267 | 172.9667 | 2.99 | 174.4333 | 3.57 | 169.9667 | 12.95 | 891 | 100 | 4.218
2019-10-15 16:15:00 | 1.5533 | 139.7567 | 1.7867 | 153.5667 | 1.76 | 190.2667 | 2.6867 | 193.7333 | 12.9487 | 891 | 100 | 2.7833
2019-10-15 16:30:00 | 0.98 | 119.234 | 1.1333 | 131.02 | 0.92667 | 175.7333 | 1.54 | 186.4667 | 12.95 | 891 | 100 | 2.818
2019-10-15 16:45:00 | 0.84 | 151.95 | 0.96333 | 166.9667 | 0.79667 | 176.4667 | 0.92333 | 191.7 | 13.0433 | 891 | 100 | 2.3647
2019-10-15 17:00:00 | 0.5 | 175.91 | 0.57667 | 193.3 | 0.53 | 192.3333 | 0.98333 | 164.4333 | 13.1567 | 891 | 100 | 0.95133
2019-10-15 17:15:00 | 0.053333 | 163.3133 | 0.063333 | 179.4667 | 0 | 182.2333 | 0.04 | 186.0667 | 13.26 | 891 | 100 | 0.57533
2019-10-15 17:30:00 | 0 | 121.94 | 0.003333 | 134 | 0 | 204.7 | 0 | 184.64 | 13.244 | 891 | 100 | 0.322
2019-10-15 17:45:00 | 0.88333 | 318.6 | 1.02 | 350.1 | 1.3833 | 20.5467 | 0.76 | 26.5133 | 13.09 | 891.7333 | 100 | 0.16533
2019-10-15 18:00:00 | 1.67 | 324.78 | 1.9267 | 356.9 | 2.5433 | 16.8533 | 1.6133 | 24.8333 | 12.65 | 892 | 100 | 0
2019-10-15 18:15:00 | 2.28 | 227.71 | 2.6233 | 250.23 | 4.2167 | 17.0133 | 3.91 | 26.6233 | 12.34 | 892 | 100 | 0.066667
2019-10-15 18:30:00 | 2.0267 | 207.1433 | 2.3367 | 227.63 | 3.83 | 14.6333 | 3.73 | 24.1767 | 12.2267 | 892 | 100 | 1.0553
2019-10-15 18:45:00 | 2.3867 | 210.9867 | 2.75 | 231.8433 | 4.3933 | 14.55 | 4.3067 | 17.8033 | 12.0367 | 891.3333 | 100 | 2.4213
2019-10-15 19:00:00 | 3.04 | 31.08 | 3.4967 | 34.1433 | 4.28 | 234.6767 | 4.0667 | 21.93 | 11.69 | 892 | 100 | 3.4013
2019-10-15 19:15:00 | 3.52 | 321.4533 | 4.0467 | 353.2333 | 5.0533 | 14.6833 | 4.7433 | 16.62 | 11.3967 | 892 | 100 | 3.752
2019-10-15 19:30:00 | 3.7 | 314.1733 | 4.2533 | 345.2333 | 5.06 | 14.9433 | 4.67 | 15.0933 | 11.2567 | 892 | 100 | 5.1287
2019-10-15 19:45:00 | 3.2887 | 55.0853 | 3.7873 | 60.532 | 5.172 | 5.7527 | 4.8173 | 11.0413 | 11.1267 | 892 | 100 | 6.138
2019-10-15 20:00:00 | 3.8067 | 219.53 | 4.38 | 241.24 | 5.5667 | 239.2133 | 5.3067 | 20.0167 | 10.9367 | 892 | 100 | 14.1207
2019-10-15 20:15:00 | 4.4 | 14.29 | 5.0667 | 15.6967 | 7.2167 | 237.1967 | 7.3067 | 3.3733 | 10.6933 | 892 | 100 | 21.9807
2019-10-15 20:30:00 | 4.58 | 56.77 | 5.2733 | 62.3767 | 7.4167 | 7.57 | 7.74 | 12.4 | 10.5333 | 892.4 | 100 | 25.4953
2019-10-15 20:45:00 | 4.7033 | 217.25 | 5.41 | 238.7367 | 7.51 | 13.0667 | 7.8633 | 14.2333 | 10.3433 | 893 | 100 | 27.826
2019-10-15 21:00:00 | 4.4233 | 15.4567 | 5.0833 | 16.9767 | 7.2367 | 14.1733 | 7.6433 | 17.9133 | 10.33 | 893 | 100 | 32.8207
2019-10-15 21:15:00 | 4.7027 | 41.7427 | 5.4087 | 45.864 | 7.752 | 9.1687 | 8.076 | 17.9853 | 10.3413 | 893 | 100 | 36.5487
2019-10-15 21:30:00 | 4.88 | 187.8067 | 5.6167 | 206.3733 | 7.9267 | 3.2567 | 8.14 | 9.72 | 10.368 | 893 | 100 | 38.486
2019-10-15 21:45:00 | 4.94 | 201.81 | 5.6933 | 221.77 | 8.0533 | 233.67 | 8.0867 | 17.53 | 10.3627 | 893 | 100 | 39.8473
2019-10-15 22:00:00 | 5.1667 | 199.15 | 5.9467 | 218.8367 | 8.8333 | 229.9367 | 9.0733 | 29.1967 | 10.332 | 893.4 | 100 | 42.5327
2019-10-15 22:15:00 | 5.5533 | 94.86 | 6.3867 | 104.2333 | 9.6 | 8.0267 | 9.5367 | 17.1767 | 10.2267 | 894 | 100 | 44.194
2019-10-15 22:30:00 | 5.9133 | 149.7933 | 6.8 | 164.6 | 10.3333 | 15.4933 | 10.3967 | 18.2633 | 10.1467 | 894 | 100 | 43.998
2019-10-15 22:45:00 | 5.8333 | 170.5567 | 6.7233 | 187.4267 | 9.7767 | 10.38 | 9.9167 | 13.4333 | 10.0567 | 894 | 100 | 45.566
2019-10-15 23:00:00 | 6.3267 | 29.19 | 7.2833 | 32.0667 | 10.61 | 11.66 | 10.7433 | 11.1667 | 10.01 | 894 | 100 | 46.6753
2019-10-15 23:15:00 | 6.84 | 290.8767 | 7.8767 | 319.6333 | 11.72 | 14.5933 | 11.7333 | 20.2133 | 9.94 | 894 | 100 | 50.0287
2019-10-15 23:30:00 | 7.5 | 151.5233 | 8.6233 | 166.5 | 12.94 | 14.7733 | 12.8067 | 22.4 | 9.88 | 894 | 100 | 52.4833
2019-10-15 23:45:00 | 7.89 | 123.9633 | 9.0733 | 136.2133 | 13.1333 | 16.03 | 13.3767 | 11.6867 | 9.8067 | 893.2667 | 100 | 52.9567