## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2019-10-16 00:00:00 | 7.7664 | 36.695 | 8.94 | 40.32 | 12.95 | 7.635 | 12.895 | 2.78 | 9.77 | 893 | 100 | 53.5307
2019-10-16 00:15:00 | 7.202 | 166.04 | 8.288 | 182.46 | 12.656 | 3.978 | 12.544 | 7.004 | 9.7407 | 893 | 100 | 52.928
2019-10-16 00:30:00 | 6.2033 | 241.12 | 7.14 | 264.9667 | 11.06 | 12.9033 | 10.5067 | 13.8 | 9.746 | 893 | 100 | 52.6267
2019-10-16 00:45:00 | 5.79 | 316.6267 | 6.66 | 347.9333 | 9.91 | 25.3133 | 9.9767 | 10.16 | 9.7193 | 893 | 100 | 52.946
2019-10-16 01:00:00 | 5.85 | 104.62 | 6.7267 | 114.96 | 9.8167 | 11.34 | 9.9767 | 9.16 | 9.6967 | 893 | 100 | 53.508
2019-10-16 01:15:00 | 6.4333 | 186.46 | 7.4033 | 204.9 | 11.2433 | 18.3967 | 11.1733 | 20.5767 | 9.6 | 893 | 100 | 52.1867
2019-10-16 01:30:00 | 6.6867 | 191.92 | 7.69 | 210.9 | 11.97 | 8.75 | 11.6733 | 20.2233 | 9.5133 | 893 | 100 | 50.9267
2019-10-16 01:45:00 | 6.0467 | 171.8467 | 6.96 | 188.8333 | 11.3267 | 14.64 | 11.4567 | 17.2867 | 9.4567 | 893 | 100 | 53.6033
2019-10-16 02:00:00 | 6.02 | 250.7133 | 6.9267 | 275.5 | 11.1467 | 11.7 | 11.6367 | 16.04 | 9.426 | 893 | 100 | 54.7333
2019-10-16 02:15:00 | 6.0867 | 304.4533 | 6.9967 | 334.5667 | 11.2733 | 123.62 | 11.4967 | 12.5633 | 9.45 | 893 | 100 | 52.7087
2019-10-16 02:30:00 | 6.3733 | 168.14 | 7.33 | 184.7667 | 11.3867 | 122.9867 | 11.3567 | 15.2033 | 9.454 | 893 | 100 | 51.7927
2019-10-16 02:45:00 | 6.2733 | 45.98 | 7.2133 | 50.52 | 10.8033 | 11.8033 | 10.7467 | 16.7367 | 9.4233 | 893 | 100 | 56.33
2019-10-16 03:00:00 | 6.4467 | 70.5867 | 7.4133 | 77.56 | 12.01 | 11.2633 | 11.8733 | 18.99 | 9.3633 | 893 | 100 | 55.9273
2019-10-16 03:15:00 | 6.8833 | 130.4633 | 7.9133 | 143.36 | 12.87 | 17.9833 | 12.8333 | 15.3733 | 9.22 | 892.2667 | 100 | 56.856
2019-10-16 03:30:00 | 6.9367 | 104.63 | 7.9867 | 114.9733 | 12.07 | 7.79 | 11.7533 | 17.0467 | 9.2 | 892 | 100 | 56.394
2019-10-16 03:45:00 | 5.9467 | 153.6433 | 6.84 | 168.8333 | 10.29 | 356.1 | 10.15 | 10.7567 | 9.16 | 892 | 100 | 56.6667
2019-10-16 04:00:00 | 6.1733 | 268.0567 | 7.1 | 294.5667 | 10.9367 | 129.5 | 10.7567 | 14.0433 | 9.1133 | 892 | 100 | 56.128
2019-10-16 04:15:00 | 6.2267 | 169.84 | 7.1667 | 186.6333 | 11.5267 | 4.94 | 11.4667 | 21.1233 | 9.01 | 892 | 100 | 54.6047
2019-10-16 04:30:00 | 6.4267 | 194.54 | 7.4 | 213.7667 | 11.6333 | 12.7867 | 11.78 | 22.2367 | 9.0167 | 892 | 100 | 55.3233
2019-10-16 04:45:00 | 6.7933 | 104.0333 | 7.8167 | 114.32 | 12.4767 | 15.7933 | 12.55 | 23.8633 | 8.98 | 892 | 100 | 56.5473
2019-10-16 05:00:00 | 7.3267 | 120.8333 | 8.43 | 132.7867 | 13.1967 | 8.8867 | 12.9167 | 22.6767 | 8.9133 | 892 | 100 | 55.6153
2019-10-16 05:15:00 | 7.1433 | 118.3467 | 8.2267 | 130.0467 | 12.85 | 10.7133 | 12.3333 | 15.28 | 8.8333 | 892 | 100 | 55.4993
2019-10-16 05:30:00 | 7.09 | 253.5267 | 8.1533 | 278.6 | 12.63 | 7.64 | 12.44 | 10.4933 | 8.7733 | 892 | 100 | 55.7873
2019-10-16 05:45:00 | 6.8533 | 211.1533 | 7.8833 | 232.0333 | 12.95 | 6.58 | 13.2333 | 22.5967 | 8.68 | 892 | 100 | 57.17
2019-10-16 06:00:00 | 6.82 | 218.38 | 7.85 | 239.9667 | 12.8167 | 13.1 | 13.0733 | 20.9567 | 8.5867 | 892 | 100 | 58.912
2019-10-16 06:15:00 | 6.8467 | 249.53 | 7.88 | 274.2 | 12.8767 | 10.9233 | 12.8567 | 23.6167 | 8.47 | 892.7333 | 100 | 58.666
2019-10-16 06:30:00 | 6.62 | 122.3767 | 7.6133 | 134.4667 | 12.4633 | 14.3167 | 12.3167 | 17.67 | 8.3767 | 893 | 100 | 57.9647
2019-10-16 06:45:00 | 6.7773 | 128.936 | 7.802 | 141.68 | 12.5827 | 6.4567 | 12.376 | 20.1 | 8.3193 | 893 | 100 | 58.114
2019-10-16 07:00:00 | 6.72 | 250.155 | 7.74 | 274.9 | 12.495 | 9.64 | 12.38 | 23.035 | 8.27 | 893 | 100 | 57.675
2019-10-16 07:15:00 | 7.08 | 192.5567 | 8.14 | 211.6 | 12.9113 | 14.3867 | 12.87 | 16.8767 | 8.3133 | 893 | 100 | 57.5913
2019-10-16 07:30:00 | 7.0933 | 257.4767 | 8.1667 | 282.9333 | 12.934 | 18.18 | 12.93 | 13.15 | 8.336 | 893 | 100 | 55.8687
2019-10-16 07:45:00 | 6.96 | 106.19 | 8.01 | 116.68 | 12.51 | 12.8133 | 12.6567 | 18.64 | 8.6867 | 893 | 100 | 56.6747
2019-10-16 08:00:00 | 6.5 | 254.4967 | 7.4833 | 279.6667 | 12.1967 | 3.9667 | 12.1567 | 15.3 | 9.2333 | 893.4 | 100 | 57.7233
2019-10-16 08:15:00 | 6.7667 | 236.6567 | 7.78 | 260.0667 | 12.79 | 14.0133 | 12.93 | 23.35 | 10.0933 | 894 | 99.1933 | 56.3793
2019-10-16 08:30:00 | 6.9067 | 198.69 | 7.94 | 218.3333 | 12.9167 | 12.62 | 13.1567 | 28.9767 | 10.8067 | 894 | 96.1667 | 55.3213
2019-10-16 08:45:00 | 7.46 | 187.7133 | 8.5867 | 206.2667 | 13.4233 | 17.4067 | 14.21 | 26.2 | 11.44 | 894.7333 | 91.3 | 55.412
2019-10-16 09:00:00 | 7.8533 | 209.4267 | 9.0333 | 230.1333 | 14.3433 | 28.8333 | 14.7433 | 26.28 | 12.14 | 895 | 88.9 | 55.414
2019-10-16 09:15:00 | 7.66 | 34.9467 | 8.81 | 38.3933 | 13.8833 | 23.5667 | 14.38 | 28.1367 | 13.1 | 895.7333 | 84.0333 | 54.472
2019-10-16 09:30:00 | 7.7 | 199.1067 | 8.8567 | 218.8 | 13.7033 | 21.6 | 14.08 | 33.0633 | 13.7467 | 896 | 80.0867 | 53.3653
2019-10-16 09:45:00 | 7.6233 | 246.0967 | 8.7633 | 270.4333 | 13.5533 | 15.9133 | 14.0233 | 21.4367 | 14.4033 | 896 | 75.23 | 52.738
2019-10-16 10:00:00 | 7.7833 | 253.3233 | 8.9567 | 278.3667 | 13.6933 | 9.9 | 13.77 | 25.7633 | 14.754 | 896.4 | 70.47 | 49.666
2019-10-16 10:15:00 | 6.8467 | 241.76 | 7.8767 | 265.6667 | 12.0233 | 14.4533 | 12.3433 | 26.1933 | 15.2367 | 897 | 67.6367 | 45.156
2019-10-16 10:30:00 | 6.18 | 40.96 | 7.11 | 45 | 11.0233 | 27.04 | 11.25 | 28.2 | 15.93 | 897 | 65.3767 | 48.802
2019-10-16 10:45:00 | 6.4733 | 226.52 | 7.4467 | 248.91 | 11.3267 | 23.2667 | 11.5267 | 30.8967 | 16.1133 | 897 | 64.0533 | 51.554
2019-10-16 11:00:00 | 6.46 | 224.7 | 7.44 | 246.91 | 11.2933 | 19.8333 | 11.5 | 31.17 | 16.1933 | 897 | 63.9733 | 50.3533
2019-10-16 11:15:00 | 6.44 | 18.94 | 7.4033 | 20.8133 | 11.31 | 21.15 | 11.7967 | 31.3567 | 15.6033 | 897 | 64.5067 | 48.786
2019-10-16 11:30:00 | 6.3 | 74.7267 | 7.2433 | 82.1133 | 11.1967 | 21.9767 | 11.5167 | 31.99 | 15.8433 | 897 | 64.4667 | 48.768
2019-10-16 11:45:00 | 6.43 | 177.09 | 7.3933 | 194.5967 | 11.27 | 27.6067 | 11.8233 | 36.1833 | 16.1733 | 897 | 63.4367 | 47.3447
2019-10-16 12:00:00 | 6.6967 | 222.77 | 7.7 | 244.7967 | 11.7433 | 26.52 | 12.2367 | 34.0967 | 16.34 | 897 | 63.19 | 48.226
2019-10-16 12:15:00 | 6.7333 | 163.0467 | 7.7533 | 179.1667 | 12.0133 | 22.2167 | 12.1767 | 28.1233 | 16.67 | 896.2667 | 62.2833 | 50.2407
2019-10-16 12:30:00 | 6.6533 | 306.5267 | 7.6533 | 336.8333 | 11.8467 | 15.2833 | 12.51 | 31.1567 | 16.97 | 896 | 60.9167 | 49.2587
2019-10-16 12:45:00 | 7.0933 | 202.63 | 8.1567 | 222.6667 | 12.434 | 30.4933 | 13.2213 | 41.9793 | 16.932 | 896 | 59.4213 | 48.6413
2019-10-16 13:00:00 | 6.4767 | 214.0767 | 7.4567 | 235.25 | 11.1567 | 13.1533 | 11.1867 | 28.2733 | 17.258 | 896 | 57.9567 | 46.6047
2019-10-16 13:15:00 | 6.7533 | 290.75 | 7.7733 | 319.5 | 11.7467 | 32.2833 | 11.7733 | 38.6 | 17.33 | 896 | 56.68 | 41.3513
2019-10-16 13:30:00 | 6.6 | 249.25 | 7.6 | 273.9 | 11.4533 | 31.8633 | 12.18 | 31.76 | 17.3633 | 895.6 | 56.18 | 30.9
2019-10-16 13:45:00 | 5.7567 | 164.9867 | 6.62 | 181.3 | 9.9633 | 19.3567 | 10.33 | 37.3733 | 17.7333 | 895 | 55.12 | 28.6
2019-10-16 14:00:00 | 6.05 | 110.2467 | 6.96 | 121.1467 | 10.5367 | 10.9967 | 10.3767 | 39.5667 | 17.9733 | 895 | 54.1 | 29.4287
2019-10-16 14:15:00 | 5.9867 | 90.08 | 6.89 | 98.99 | 10.39 | 28.7633 | 10.1233 | 38.1933 | 18.152 | 895 | 53.2933 | 29.4567
2019-10-16 14:30:00 | 5.76 | 220.22 | 6.63 | 241.99 | 10.1833 | 30.6567 | 10.1567 | 35.6333 | 18.46 | 895 | 53.2467 | 24.542
2019-10-16 14:45:00 | 4.9767 | 146.2167 | 5.7267 | 160.6667 | 8.6967 | 39.3467 | 8.4633 | 30.06 | 18.9633 | 895 | 51.69 | 27.0053
2019-10-16 15:00:00 | 5.4833 | 105.31 | 6.3067 | 115.72 | 9.7367 | 34 | 9.13 | 28.7 | 18.99 | 895 | 51.23 | 27.886
2019-10-16 15:15:00 | 4.516 | 54.39 | 5.1967 | 59.7673 | 8.178 | 19.396 | 7.92 | 25.9493 | 18.712 | 895 | 52.1547 | 23.0047
2019-10-16 15:30:00 | 4.1933 | 116.7133 | 4.8233 | 128.25 | 7.7067 | 14.6967 | 7.7267 | 27.49 | 19.4867 | 895 | 51.02 | 19.1733
2019-10-16 15:45:00 | 4.2167 | 223.5267 | 4.8533 | 245.6333 | 7.6133 | 24.97 | 7.3533 | 23.5433 | 20.5167 | 895 | 48.1033 | 21.0353
2019-10-16 16:00:00 | 4.2433 | 160.0733 | 4.88 | 175.9 | 7.6667 | 25.57 | 6.6733 | 45.2367 | 20.4633 | 895 | 46.7367 | 16.6953
2019-10-16 16:15:00 | 3.9467 | 27.7333 | 4.54 | 30.48 | 7.1673 | 33.74 | 6.8667 | 31.38 | 20.11 | 895.7333 | 47.9367 | 16.0547
2019-10-16 16:30:00 | 3.8733 | 153.64 | 4.4667 | 168.8333 | 7.2233 | 27.5 | 6.8667 | 30.5533 | 19.8567 | 896 | 49.37 | 16.852
2019-10-16 16:45:00 | 4.4267 | 98.3433 | 5.0933 | 108.0667 | 8.02 | 23.86 | 7.75 | 25.0767 | 17.9267 | 895.2667 | 55.6067 | 16.9853
2019-10-16 17:00:00 | 4.0267 | 211.9167 | 4.6333 | 232.8667 | 7.4333 | 28.24 | 7.4033 | 25.73 | 17.1067 | 895 | 59.2867 | 16.1947
2019-10-16 17:15:00 | 4.0253 | 174.9867 | 4.6367 | 192.2867 | 7.6847 | 20.8153 | 7.5627 | 21.9107 | 16.868 | 894.9333 | 61.7127 | 17.94
2019-10-16 17:30:00 | 4.0733 | 213.58 | 4.6833 | 234.7 | 7.67 | 12.3967 | 7.4733 | 19.7 | 16.3867 | 894 | 62.8967 | 15.8767
2019-10-16 17:45:00 | 3.7133 | 40.95 | 4.27 | 44.9933 | 6.7833 | 242.1467 | 6.46 | 21.41 | 15.9233 | 894 | 64.1067 | 15.6707
2019-10-16 18:00:00 | 3.3467 | 42.89 | 3.8567 | 47.1333 | 6.21 | 17.84 | 6.26 | 16.31 | 15.6633 | 894 | 65.48 | 15.3693
2019-10-16 18:15:00 | 3.3133 | 320.81 | 3.8133 | 352.5333 | 5.9233 | 353.28 | 5.74 | 0.92667 | 15.33 | 894 | 66.322 | 12.7873
2019-10-16 18:30:00 | 2.9067 | 109.21 | 3.34 | 120.0133 | 5.4367 | 343.1333 | 5.34 | 15.1467 | 15.0767 | 894 | 66.8167 | 11.7673
2019-10-16 18:45:00 | 3.16 | 171.7167 | 3.6367 | 188.7 | 5.8967 | 120.9067 | 5.4267 | 266.2 | 14.8267 | 894 | 67.3693 | 14.356
2019-10-16 19:00:00 | 3.06 | 260.6567 | 3.5167 | 286.4333 | 5.6767 | 122.2867 | 5.4933 | 36.58 | 14.7467 | 893.6 | 68.2933 | 11.302
2019-10-16 19:15:00 | 2.7467 | 157.2467 | 3.1633 | 172.8 | 5.2133 | 11.5 | 5.11 | 19.0633 | 14.3567 | 893.7333 | 72.7367 | 10.354
2019-10-16 19:30:00 | 2.6733 | 178.3067 | 3.0767 | 195.9333 | 4.52 | 233.4533 | 4.3833 | 3.1967 | 14.2233 | 894 | 73.3367 | 10.656
2019-10-16 19:45:00 | 2.912 | 264.0227 | 3.3507 | 290.1333 | 4.946 | 0.15 | 4.8267 | 16.7453 | 14.2447 | 894 | 73.97 | 13.9547
2019-10-16 20:00:00 | 2.94 | 199.6233 | 3.39 | 219.3667 | 5.07 | 2.43 | 5.0633 | 15.76 | 14.08 | 894 | 75.8733 | 14.9487
2019-10-16 20:15:00 | 2.93 | 99.58 | 3.3667 | 109.4333 | 5.1467 | 2.1667 | 5.0933 | 13.86 | 13.7967 | 894 | 78.2367 | 17.3407
2019-10-16 20:30:00 | 3.03 | 281.1067 | 3.48 | 308.9 | 5.64 | 1.2 | 5.5133 | 11.4667 | 13.5767 | 894 | 79.5233 | 21.21
2019-10-16 20:45:00 | 3.7067 | 108.89 | 4.26 | 119.6533 | 6.58 | 119.0333 | 6.3667 | 8.38 | 13.5613 | 894 | 78.9967 | 23.934
2019-10-16 21:00:00 | 4 | 316.4433 | 4.6 | 347.7333 | 7.1533 | 122.4467 | 7.0933 | 9.8267 | 13.5667 | 894 | 79.97 | 23.0387
2019-10-16 21:15:00 | 4.11 | 50.96 | 4.7233 | 56 | 7.1667 | 228.9367 | 6.9867 | 11.6233 | 13.4933 | 894 | 79.6133 | 14.6167
2019-10-16 21:30:00 | 3.49 | 208.6133 | 4.01 | 229.24 | 5.7667 | 1.97 | 5.8933 | 7.0233 | 13.6533 | 894.4 | 78.4267 | 8.7787
2019-10-16 21:45:00 | 2.9067 | 114.6367 | 3.34 | 125.96 | 4.94 | 7.8967 | 4.97 | 16.14 | 13.6127 | 895 | 78.8333 | 4.538
2019-10-16 22:00:00 | 2.76 | 104.5033 | 3.1733 | 114.8267 | 4.4867 | 4.9367 | 4.4567 | 15.86 | 13.4233 | 895 | 79.8533 | 1.5467
2019-10-16 22:15:00 | 3.3367 | 318.3167 | 3.8367 | 349.8 | 4.2133 | 6.9833 | 4.0667 | 11.4033 | 13.66 | 895 | 77.3533 | 4.178
2019-10-16 22:30:00 | 3.53 | 317.89 | 4.07 | 349.3333 | 4.4533 | 13.7433 | 4.3867 | 12.0833 | 13.56 | 895 | 77.98 | 6.8307
2019-10-16 22:45:00 | 3.3967 | 314.5993 | 3.9067 | 345.7133 | 4.9333 | 349.5333 | 4.6733 | 10.19 | 13.37 | 895 | 79.32 | 7.2567
2019-10-16 23:00:00 | 3.7567 | 98.4033 | 4.3267 | 108.1333 | 5.3733 | 123.9867 | 5.1667 | 18.7167 | 13.1833 | 895 | 80.2667 | 8.0333
2019-10-16 23:15:00 | 3.6033 | 292.3267 | 4.1433 | 321.2333 | 6.1167 | 9.82 | 6.2767 | 15.3433 | 12.7333 | 895 | 83.6667 | 11.636
2019-10-16 23:30:00 | 3.89 | 269.1467 | 4.4833 | 295.7667 | 6.9967 | 13.6267 | 6.8967 | 14.5033 | 12.34 | 895 | 86.4667 | 13.9547
2019-10-16 23:45:00 | 4.184 | 303.82 | 4.814 | 333.86 | 7.228 | 11.516 | 7.148 | 13.46 | 12.182 | 895 | 87.22 | 17.1467