## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2019-10-17 00:00:00 | 4.3021 | 291.3564 | 4.9529 | 320.1643 | 6.9621 | 18.9029 | 7.0343 | 3.6871 | 12.0314 | 895 | 87.6643 | 16.4343
2019-10-17 00:15:00 | 4.49 | 223.35 | 5.1667 | 245.4367 | 7.0747 | 331.244 | 7.334 | 4.4193 | 12.154 | 895 | 86.48 | 16.998
2019-10-17 00:30:00 | 4.22 | 11.2233 | 4.86 | 12.3233 | 7.2067 | 125.6667 | 7.42 | 14.63 | 12.1033 | 895 | 87.0667 | 16.714
2019-10-17 00:45:00 | 4.252 | 219.582 | 4.9 | 241.286 | 6.644 | 347.92 | 6.438 | 28.148 | 12.002 | 895 | 87.44 | 15.7813
2019-10-17 01:00:00 | 4.0733 | 12.5567 | 4.6867 | 13.7967 | 6.3533 | 351 | 6.0233 | 241.7667 | 11.9033 | 895 | 88.0667 | 14.572
2019-10-17 01:15:00 | 4.28 | 33.85 | 4.9333 | 37.1933 | 6.9667 | 232.5833 | 6.6 | 15 | 11.7893 | 895 | 89.0667 | 15.694
2019-10-17 01:30:00 | 4.2267 | 31.274 | 4.8733 | 34.36 | 7.2133 | 0.76333 | 6.8267 | 10.3667 | 11.7 | 895 | 89.5333 | 17.9093
2019-10-17 01:45:00 | 4.5533 | 161.38 | 5.25 | 177.3333 | 7.7967 | 343.7667 | 7.3567 | 11.71 | 11.5533 | 894.9333 | 90.5 | 18.2373
2019-10-17 02:00:00 | 4.5867 | 285.8667 | 5.2767 | 314.1333 | 7.8633 | 354.1 | 7.57 | 13.0567 | 11.48 | 894 | 90.9 | 18.782
2019-10-17 02:15:00 | 4.7067 | 121.0567 | 5.4167 | 133.0267 | 7.6933 | 27.5367 | 7.3667 | 8.3133 | 11.4353 | 894 | 90.8667 | 17.9787
2019-10-17 02:30:00 | 4.76 | 106.89 | 5.4833 | 117.4533 | 7.2867 | 252.5833 | 6.68 | 10.9067 | 11.418 | 894 | 90.6667 | 17.6153
2019-10-17 02:45:00 | 4.5333 | 297.6867 | 5.2167 | 327.1333 | 7.7367 | 37 | 7.4167 | 1.61 | 11.3633 | 894 | 91 | 17.794
2019-10-17 03:00:00 | 4.6133 | 283.5 | 5.3167 | 311.5333 | 8.3433 | 0.43333 | 8.0967 | 3.4633 | 11.2767 | 894 | 91.24 | 19.9053
2019-10-17 03:15:00 | 5.6133 | 298.43 | 6.4533 | 327.9333 | 9.9067 | 27.6667 | 9.51 | 12.91 | 11.266 | 894.7333 | 91.0667 | 20.108
2019-10-17 03:30:00 | 5.8467 | 289.4433 | 6.7267 | 318.0667 | 10.1533 | 8.3467 | 9.7833 | 16.1633 | 11.21 | 895 | 91.5333 | 20.176
2019-10-17 03:45:00 | 5.8453 | 53.3833 | 6.7267 | 58.654 | 9.9767 | 12.7787 | 9.53 | 14.214 | 11.1367 | 895 | 92.06 | 20.6587
2019-10-17 04:00:00 | 5.7933 | 11.2833 | 6.6733 | 12.3967 | 9.9833 | 19.7867 | 9.6167 | 14.5567 | 11.09 | 895 | 92.34 | 20.2707
2019-10-17 04:15:00 | 5.3833 | 231.2 | 6.1967 | 254.0667 | 9.5033 | 11.0233 | 9.26 | 9.2633 | 11.0107 | 895 | 92.8333 | 20.3973
2019-10-17 04:30:00 | 5.0367 | 91.8933 | 5.7967 | 100.9733 | 8.4367 | 2.43 | 8.1733 | 14.03 | 11.028 | 895 | 92.7 | 20.6127
2019-10-17 04:45:00 | 4.7033 | 82.27 | 5.4167 | 90.4 | 8.2967 | 122.1933 | 8.0533 | 4.66 | 11.0087 | 895 | 93.1667 | 20.448
2019-10-17 05:00:00 | 4.8033 | 158.19 | 5.53 | 173.8333 | 8.4967 | 121.8667 | 8.2 | 11.92 | 10.9433 | 895 | 93.54 | 20.2467
2019-10-17 05:15:00 | 4.0933 | 219.7667 | 4.72 | 241.4933 | 7.1533 | 5.1033 | 7.1433 | 15.0267 | 10.8633 | 895 | 94.7667 | 19.4373
2019-10-17 05:30:00 | 3.9067 | 192.7667 | 4.5 | 211.8267 | 7.0867 | 237.8567 | 6.95 | 11.62 | 10.75 | 895 | 95.7667 | 17.828
2019-10-17 05:45:00 | 3.48 | 173.34 | 4.0067 | 190.4867 | 6.17 | 240.5767 | 5.7867 | 16.0533 | 10.6067 | 895 | 97.2 | 16.282
2019-10-17 06:00:00 | 2.9067 | 79.6733 | 3.3467 | 87.5533 | 4.63 | 11.6367 | 4.7933 | 18.2267 | 10.4667 | 895 | 98.2667 | 5.7007
2019-10-17 06:15:00 | 3.3533 | 145.8733 | 3.86 | 160.3 | 4.3733 | 182.2 | 4.9833 | 166.1667 | 10.7767 | 894.2667 | 95.6333 | 13.8647
2019-10-17 06:30:00 | 6.1867 | 168.6933 | 7.1267 | 185.3667 | 7.56 | 181.9333 | 8.1367 | 178.9667 | 10.7367 | 893.6 | 95.9 | 16.654
2019-10-17 06:45:00 | 4.5167 | 186.4667 | 5.1967 | 204.9 | 5.6533 | 225.4 | 6.5167 | 214.1667 | 10.63 | 893 | 97.9 | 2.5727
2019-10-17 07:00:00 | 2.0833 | 287.2867 | 2.4033 | 315.7 | 2.8933 | 302.3333 | 2.4767 | 302.3667 | 10.4967 | 893.4 | 98.6333 | 1.6153
2019-10-17 07:15:00 | 3.2433 | 6.8233 | 3.74 | 7.49 | 5.66 | 8.3933 | 5.6067 | 14.9167 | 10.3133 | 894 | 99.5667 | 9.4807
2019-10-17 07:30:00 | 3.1967 | 13.1967 | 3.68 | 14.5033 | 6.04 | 20.42 | 5.88 | 21.2233 | 10.2067 | 894 | 99.94 | 11.868
2019-10-17 07:45:00 | 3.5467 | 111.1367 | 4.08 | 122.1267 | 6.8433 | 16.57 | 6.4667 | 22.0967 | 10.1293 | 894 | 100 | 14.1287
2019-10-17 08:00:00 | 3.3533 | 93.8833 | 3.86 | 103.1667 | 6.0233 | 13.7033 | 6.3733 | 22.23 | 10.1467 | 894 | 100 | 14.59
2019-10-17 08:15:00 | 3.312 | 232.3167 | 3.8093 | 255.292 | 6.0533 | 109.4613 | 6.3953 | 20.6007 | 10.2207 | 894.7333 | 100 | 10.5693
2019-10-17 08:30:00 | 3.2433 | 29.6133 | 3.7333 | 32.54 | 5.6267 | 119.9067 | 5.9133 | 233.7767 | 10.27 | 895 | 100 | 5.8333
2019-10-17 08:45:00 | 3.1867 | 320.93 | 3.6633 | 352.6667 | 4.7367 | 5.7367 | 4.8867 | 120.1467 | 10.4167 | 895 | 100 | 2.9093
2019-10-17 09:00:00 | 3.0533 | 105.9433 | 3.51 | 116.42 | 4.3767 | 9.1433 | 4.5733 | 125.7333 | 10.63 | 895 | 100 | 1.5893
2019-10-17 09:15:00 | 3.0533 | 104.38 | 3.5233 | 114.7 | 4.3 | 11.93 | 4.33 | 19.55 | 11.1333 | 895.0667 | 99.66 | 0.14
2019-10-17 09:30:00 | 2.4933 | 104.7467 | 2.8767 | 115.1 | 3.8867 | 9.79 | 3.8833 | 24.33 | 11.46 | 896 | 98.3 | 0
2019-10-17 09:45:00 | 2.6467 | 10.8367 | 3.04 | 11.9067 | 3.6367 | 14.8967 | 3.61 | 24.9933 | 11.5167 | 896 | 97.1 | 0
2019-10-17 10:00:00 | 2.7133 | 9.2967 | 3.1267 | 10.2067 | 3.5367 | 19.2567 | 3.4633 | 31.2333 | 11.8833 | 896 | 96.2333 | 0
2019-10-17 10:15:00 | 2.6467 | 317.3567 | 3.04 | 348.7333 | 3.29 | 15.4467 | 3.15 | 23.2533 | 12.4087 | 896 | 93.5 | 0
2019-10-17 10:30:00 | 2.1267 | 304.1833 | 2.4467 | 334.2667 | 2.5567 | 10.58 | 2.3767 | 26.7667 | 12.75 | 896 | 90.8333 | 0
2019-10-17 10:45:00 | 1.348 | 4.0447 | 1.5487 | 4.448 | 1.05 | 6.7353 | 0.91933 | 48.2427 | 13.4427 | 896 | 85.72 | 0
2019-10-17 11:00:00 | 0.92667 | 1.5067 | 1.0733 | 1.6567 | 0.61333 | 53.4 | 0.41667 | 134.7 | 14.1633 | 896 | 85.1333 | 0
2019-10-17 11:15:00 | 0.82667 | 132.0833 | 0.95 | 145.1333 | 0.87667 | 120.4 | 0.97667 | 134.6 | 15.162 | 896 | 81.1 | 0
2019-10-17 11:30:00 | 2.06 | 174.49 | 2.3767 | 191.7333 | 2.3767 | 178.5333 | 2.4033 | 162.1333 | 15.5233 | 896 | 79.8467 | 0
2019-10-17 11:45:00 | 2.6867 | 163.2667 | 3.09 | 179.4 | 2.9133 | 145 | 2.9667 | 177.6333 | 15.8767 | 896 | 77.39 | 0
2019-10-17 12:00:00 | 3.4067 | 165.7467 | 3.9167 | 182.1333 | 3.7133 | 161.9333 | 3.7067 | 169.9 | 15.994 | 896 | 76.4167 | 0
2019-10-17 12:15:00 | 3.5733 | 134.9567 | 4.1133 | 148.3 | 4.0693 | 169.2667 | 4.12 | 174.7 | 16.2 | 896 | 74.01 | 1.1333
2019-10-17 12:30:00 | 3.3867 | 142.2367 | 3.9 | 156.3 | 4.0467 | 185.9333 | 4.16 | 161.6333 | 16.5533 | 896 | 71.81 | 1.7
2019-10-17 12:45:00 | 3.1733 | 129.3733 | 3.6567 | 142.1667 | 3.6833 | 178.5667 | 3.6333 | 186.72 | 16.8333 | 895.9333 | 70.2707 | 2.7253
2019-10-17 13:00:00 | 3.0533 | 119.2467 | 3.51 | 131.0333 | 3.51 | 187.8333 | 3.3733 | 191.5333 | 17.06 | 895 | 70.4533 | 3.5173
2019-10-17 13:15:00 | 3.1867 | 175.9367 | 3.6633 | 193.3333 | 3.7367 | 216.0667 | 3.9733 | 216.3667 | 17.46 | 895 | 69.8 | 6.03
2019-10-17 13:30:00 | 3.6133 | 113.9367 | 4.1633 | 125.2 | 4.33 | 201.4667 | 4.5667 | 213.5 | 17.78 | 895 | 68.4333 | 7.996
2019-10-17 13:45:00 | 3.4633 | 136.8967 | 3.98 | 150.4333 | 4.29 | 183.0667 | 4.3067 | 212.5 | 18.1367 | 895 | 67.3167 | 7.358
2019-10-17 14:00:00 | 3.5033 | 151.2167 | 4.0267 | 166.1667 | 4.2233 | 184.0667 | 4.18 | 182.2333 | 18.61 | 895 | 65.91 | 9.438
2019-10-17 14:15:00 | 4.0067 | 110.8967 | 4.61 | 121.8667 | 4.8067 | 150.5 | 4.7333 | 186.8 | 18.53 | 895 | 64.4867 | 9.832
2019-10-17 14:30:00 | 3.8667 | 121.4033 | 4.45 | 133.4 | 4.76 | 170.1667 | 4.7 | 197 | 18.6033 | 894.6 | 65.4933 | 9.2267
2019-10-17 14:45:00 | 3.73 | 115.1767 | 4.2967 | 126.5667 | 4.4867 | 153.1 | 4.41 | 189.5333 | 18.7267 | 894 | 64.26 | 7.378
2019-10-17 15:00:00 | 3.2033 | 154.07 | 3.6833 | 169.3 | 3.8733 | 160.9667 | 4.1033 | 177.9333 | 19.1667 | 894 | 62.8933 | 8.7507
2019-10-17 15:15:00 | 4.0733 | 140.2367 | 4.6967 | 154.1 | 4.8593 | 181.8667 | 5.2667 | 182.9333 | 19.0433 | 894 | 61.0667 | 10.3187
2019-10-17 15:30:00 | 3.9867 | 126.3367 | 4.5967 | 138.8333 | 4.7167 | 174.3333 | 4.8067 | 179.9333 | 19.0633 | 894 | 61 | 10.2593
2019-10-17 15:45:00 | 4.0133 | 153.52 | 4.6133 | 168.7 | 4.94 | 159.5667 | 5.0767 | 175.6667 | 19.1367 | 894 | 61.85 | 8.044
2019-10-17 16:00:00 | 3.52 | 133.3133 | 4.0467 | 146.5 | 4.2667 | 156.5667 | 4.1167 | 159.4 | 18.7567 | 894 | 63.4833 | 3.4953
2019-10-17 16:15:00 | 2.5033 | 99.2867 | 2.89 | 109.1 | 2.9767 | 175.5333 | 3.2067 | 178.9333 | 18.02 | 894 | 65.79 | 1.7493
2019-10-17 16:30:00 | 1.89 | 135.5067 | 2.1833 | 148.9 | 2.4233 | 185.7333 | 2.8133 | 194.5333 | 17.7267 | 893.6 | 68.3967 | 4.1453
2019-10-17 16:45:00 | 2.9447 | 164.89 | 3.3867 | 181.1933 | 3.6507 | 192.3867 | 4.1453 | 182.58 | 17.668 | 893 | 66.8967 | 6.494
2019-10-17 17:00:00 | 1.39 | 130.0433 | 1.6 | 142.9 | 2.0067 | 212.4667 | 2.36 | 173 | 17.58 | 893 | 69.0367 | 7.4627
2019-10-17 17:15:00 | 2.6933 | 156.19 | 3.1067 | 171.6333 | 3.7233 | 198.8667 | 3.9667 | 203.7 | 17.4 | 893 | 69.5653 | 10.2267
2019-10-17 17:30:00 | 3 | 173.7767 | 3.46 | 190.9667 | 3.85 | 213.6 | 4.06 | 212.5 | 17.2667 | 893 | 69.1467 | 9.794
2019-10-17 17:45:00 | 2.2767 | 166.1493 | 2.6167 | 182.58 | 2.99 | 207.6667 | 3.2067 | 210.1667 | 17.1067 | 893 | 70.0833 | 9.4713
2019-10-17 18:00:00 | 2.4033 | 185.7933 | 2.7633 | 204.1667 | 3.07 | 186.8667 | 3.76 | 189.9667 | 16.96 | 893 | 70.5833 | 8.5793
2019-10-17 18:15:00 | 1.9733 | 161.19 | 2.27 | 177.1333 | 2.6367 | 201.4333 | 2.9367 | 202.9333 | 16.7733 | 893 | 71.9433 | 7.8747
2019-10-17 18:30:00 | 1.8267 | 173.21 | 2.1033 | 190.3333 | 2.4767 | 198.7 | 2.5167 | 202.2 | 16.58 | 893 | 73.61 | 5.6273
2019-10-17 18:45:00 | 2.1387 | 173.3993 | 2.456 | 190.54 | 2.8453 | 188.2267 | 3.196 | 196.36 | 16.432 | 893 | 74.648 | 5.4367
2019-10-17 19:00:00 | 2.0933 | 173.1533 | 2.4133 | 190.2667 | 2.6933 | 193.5 | 3.18 | 206.4667 | 16.3267 | 893 | 75.492 | 4.866
2019-10-17 19:15:00 | 1.61 | 187.7633 | 1.86 | 206.3333 | 2.2 | 218.5 | 2.34 | 191.5667 | 16.2647 | 893 | 75.886 | 4.1847
2019-10-17 19:30:00 | 1.69 | 170.9033 | 1.9533 | 187.8 | 2.4067 | 214.3 | 2.6733 | 206.7 | 16.1367 | 893 | 77.0233 | 5.0227
2019-10-17 19:45:00 | 2.3533 | 164.53 | 2.71 | 180.8 | 3.1533 | 196.1667 | 3.34 | 200.7333 | 15.9867 | 893 | 77.81 | 5.5413
2019-10-17 20:00:00 | 1.9867 | 147.0033 | 2.2833 | 161.5333 | 2.5067 | 210.7667 | 2.8267 | 209.4667 | 16.0467 | 893.4 | 76.6167 | 4.968
2019-10-17 20:15:00 | 1.7133 | 171.9967 | 1.97 | 189 | 2.16 | 213.3333 | 2.49 | 227.6333 | 15.91 | 894 | 76.3767 | 4.416
2019-10-17 20:30:00 | 2.0733 | 169.69 | 2.3833 | 186.4667 | 2.5267 | 215.5333 | 2.9967 | 227.7 | 15.79 | 894 | 76.41 | 3.6867
2019-10-17 20:45:00 | 2.1667 | 171.75 | 2.4933 | 188.7333 | 2.7 | 215.5 | 3.1467 | 213.1333 | 15.7553 | 894 | 75.24 | 3.0607
2019-10-17 21:00:00 | 2.5867 | 171.75 | 2.98 | 188.7333 | 3.4067 | 209.0333 | 3.66 | 210.5333 | 15.5233 | 894 | 76.5467 | 4.6107
2019-10-17 21:15:00 | 2.6267 | 168.63 | 3.0267 | 185.3 | 3.3967 | 181.6667 | 3.6333 | 182.9 | 15.15 | 894 | 80.7 | 4.8653
2019-10-17 21:30:00 | 2.24 | 142.7767 | 2.58 | 156.9 | 2.83 | 173.5333 | 3.32 | 190.4333 | 15.0233 | 894 | 82.6333 | 5.986
2019-10-17 21:45:00 | 2.8667 | 124.52 | 3.31 | 136.8333 | 3.5833 | 170.3333 | 3.8367 | 182 | 14.8767 | 894 | 84.5 | 7.77
2019-10-17 22:00:00 | 3.2933 | 173.4267 | 3.79 | 190.5667 | 4.0633 | 172.8667 | 4.4567 | 182.4 | 14.7767 | 894 | 85.7 | 10.0953
2019-10-17 22:15:00 | 3.2067 | 167.05 | 3.6967 | 183.5667 | 3.94 | 185.1667 | 4.64 | 185.2667 | 14.696 | 894 | 86.6667 | 8.2073
2019-10-17 22:30:00 | 3.0067 | 158.9767 | 3.4567 | 174.7 | 3.82 | 177.6333 | 4.5 | 189.0667 | 14.48 | 894 | 87.9333 | 7.8913
2019-10-17 22:45:00 | 2.96 | 160.2833 | 3.4 | 176.1333 | 3.74 | 170.6333 | 4.3333 | 190.1667 | 14.2933 | 894 | 89.1 | 7.9467
2019-10-17 23:00:00 | 3.3067 | 164.7767 | 3.8 | 181.0667 | 4.0133 | 179.0333 | 4.4533 | 181.6333 | 14.2933 | 894 | 89.26 | 7.166
2019-10-17 23:15:00 | 3.26 | 170.3933 | 3.75 | 187.2333 | 4.0233 | 174.9667 | 4.61 | 180.6333 | 14.2487 | 894 | 89.6333 | 6.7287
2019-10-17 23:30:00 | 3.1933 | 160.3133 | 3.6767 | 176.1667 | 3.9433 | 163.5 | 4.2833 | 183.9667 | 14.1167 | 894 | 90.3 | 7.2093
2019-10-17 23:45:00 | 3.1533 | 164.4467 | 3.63 | 180.7 | 3.7867 | 177.1333 | 4.21 | 173.3333 | 13.9933 | 894 | 91 | 7.3487