## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2019-10-18 00:00:00 | 3.3743 | 144.3993 | 3.89 | 158.6786 | 4.1714 | 183.8071 | 4.6743 | 183.0857 | 13.9279 | 894 | 91.35 | 7.1807
2019-10-18 00:15:00 | 3.0133 | 183.2467 | 3.4633 | 201.3667 | 3.76 | 183.1 | 4.2367 | 181.3667 | 13.8033 | 894 | 92.1 | 6.9593
2019-10-18 00:30:00 | 3.1267 | 163.2267 | 3.5967 | 179.3667 | 3.8533 | 180.7 | 4.3833 | 182.6333 | 13.6967 | 894 | 92.7 | 7.248
2019-10-18 00:45:00 | 3.3267 | 134.39 | 3.8267 | 147.6667 | 4.09 | 181 | 4.3967 | 180.5667 | 13.7067 | 894 | 92.6667 | 7.412
2019-10-18 01:00:00 | 3.38 | 150.3367 | 3.8867 | 165.2 | 4.0767 | 177.8667 | 4.3967 | 181.5 | 13.66 | 894 | 92.8 | 7.5207
2019-10-18 01:15:00 | 3.3333 | 175.0633 | 3.84 | 192.3667 | 4.0233 | 172.6667 | 4.3867 | 190 | 13.57 | 893.9333 | 93.2333 | 8.4533
2019-10-18 01:30:00 | 3.5533 | 170.5633 | 4.1 | 187.4333 | 4.1833 | 175.2667 | 4.5933 | 182.1333 | 13.6833 | 893 | 92.3 | 9.16
2019-10-18 01:45:00 | 3.3733 | 129.1867 | 3.88 | 141.9667 | 3.9767 | 172.1667 | 4.3333 | 185.4667 | 13.76 | 893 | 91.76 | 8.5433
2019-10-18 02:00:00 | 3.08 | 131.56 | 3.5467 | 144.5667 | 3.59 | 182.0333 | 4.0867 | 180.4667 | 13.776 | 893 | 91.44 | 7.3173
2019-10-18 02:15:00 | 3.218 | 143.1713 | 3.7007 | 157.3267 | 3.8407 | 182.3267 | 4.0867 | 184.56 | 13.694 | 893 | 91.9667 | 7.2633
2019-10-18 02:30:00 | 3.1333 | 156.2867 | 3.6133 | 171.7333 | 3.7833 | 177.8 | 4.2 | 183.5333 | 13.63 | 893 | 92.1333 | 6.5947
2019-10-18 02:45:00 | 3.1867 | 144.06 | 3.6667 | 158.3 | 3.8533 | 166.3667 | 4.2067 | 170.8 | 13.594 | 893 | 92.3667 | 5.93
2019-10-18 03:00:00 | 3.0067 | 133.38 | 3.46 | 146.5667 | 3.6667 | 174.6333 | 4.1333 | 179.7333 | 13.542 | 893 | 92.74 | 5.5007
2019-10-18 03:15:00 | 2.972 | 150.76 | 3.42 | 165.66 | 3.584 | 187.3133 | 4.0767 | 181.4133 | 13.4513 | 893 | 93.16 | 7.0573
2019-10-18 03:30:00 | 2.9533 | 135.1467 | 3.4 | 148.5 | 3.52 | 184.5667 | 4.11 | 191.2 | 13.3233 | 893 | 93.8667 | 7.378
2019-10-18 03:45:00 | 2.94 | 141.0467 | 3.38 | 155 | 3.52 | 170.8667 | 4.1567 | 190.56 | 13.2033 | 892.9333 | 94.5 | 7.4187
2019-10-18 04:00:00 | 2.6667 | 162.4667 | 3.0667 | 178.5333 | 3.12 | 185.4667 | 3.5367 | 191 | 13.1367 | 892 | 94.9667 | 6.1913
2019-10-18 04:15:00 | 2.8533 | 166.36 | 3.2833 | 182.8 | 3.3267 | 169.5 | 3.6 | 188.5 | 13.06 | 892 | 95.5333 | 6.2067
2019-10-18 04:30:00 | 3.1133 | 157.3733 | 3.59 | 172.9333 | 3.64 | 180.0333 | 3.9733 | 176.7667 | 13 | 892 | 95.9333 | 5.9307
2019-10-18 04:45:00 | 2.9533 | 152.1867 | 3.3933 | 167.2333 | 3.58 | 179.9 | 4.0833 | 180.7667 | 12.9853 | 892 | 96.2 | 5.4447
2019-10-18 05:00:00 | 3.0133 | 175.9133 | 3.4733 | 193.3 | 3.6667 | 175.6333 | 3.93 | 181.6333 | 13.02 | 892 | 96.16 | 5.6127
2019-10-18 05:15:00 | 2.7267 | 156.7333 | 3.1367 | 172.2333 | 3.2233 | 182.4 | 3.61 | 189.8 | 13.0373 | 892 | 96.1 | 4.7087
2019-10-18 05:30:00 | 2.6067 | 147.2133 | 3.0033 | 161.7667 | 3.1233 | 176.6 | 3.5033 | 196.4667 | 13.02 | 892 | 96.2333 | 5.4047
2019-10-18 05:45:00 | 2.7733 | 154.8 | 3.2 | 170.1 | 3.38 | 189.4333 | 3.4567 | 184.1 | 12.9267 | 892 | 96.6333 | 5.5413
2019-10-18 06:00:00 | 2.24 | 153.2133 | 2.5733 | 168.3667 | 2.6533 | 173.9667 | 2.8433 | 195.4333 | 12.8267 | 892 | 97.3 | 5.068
2019-10-18 06:15:00 | 1.8167 | 133.1033 | 2.0933 | 146.2667 | 2.1067 | 181.3333 | 2.74 | 206.8667 | 12.73 | 892 | 97.9667 | 4.784
2019-10-18 06:30:00 | 1.8167 | 133.83 | 2.0867 | 147.0667 | 2.08 | 185.4667 | 2.7467 | 188.4667 | 12.6833 | 892 | 98.3 | 4.4027
2019-10-18 06:45:00 | 1.8867 | 128.86 | 2.1667 | 141.6 | 2.32 | 174.5333 | 3.0133 | 204.3667 | 12.642 | 892 | 98.6667 | 5.394
2019-10-18 07:00:00 | 2.0333 | 138.9267 | 2.3467 | 152.6667 | 2.5867 | 188.3333 | 3.2467 | 199.8333 | 12.602 | 892 | 98.84 | 4.8313
2019-10-18 07:15:00 | 1.87 | 151.1773 | 2.1467 | 166.12 | 2.2467 | 215.2667 | 2.8167 | 203.2333 | 12.6313 | 892 | 98.5933 | 4.6147
2019-10-18 07:30:00 | 2.5567 | 157.2467 | 2.94 | 172.8 | 3.0867 | 187.4667 | 3.4633 | 188.8333 | 12.5967 | 892 | 98.7667 | 3.888
2019-10-18 07:45:00 | 3.22 | 159.7733 | 3.7033 | 175.5667 | 3.86 | 184.7333 | 3.62 | 189.8667 | 12.5653 | 892.7333 | 98.9067 | 3.4567
2019-10-18 08:00:00 | 3.0267 | 136.5933 | 3.4833 | 150.1 | 3.7333 | 187.7333 | 3.6467 | 188.1333 | 12.58 | 893 | 99.04 | 4.282
2019-10-18 08:15:00 | 3.14 | 175.42 | 3.6067 | 192.7667 | 3.6633 | 181.9 | 3.7867 | 186.2667 | 12.572 | 893 | 99.3 | 4.614
2019-10-18 08:30:00 | 2.7 | 152.12 | 3.1067 | 167.1667 | 3.0967 | 188.7 | 3.3333 | 180.9333 | 12.58 | 893 | 99.34 | 5.0933
2019-10-18 08:45:00 | 2.8 | 164.7467 | 3.2233 | 181.0333 | 3.2733 | 187.0667 | 3.5167 | 191.1 | 12.6033 | 893 | 99.32 | 5.7933
2019-10-18 09:00:00 | 2.6667 | 151.52 | 3.07 | 166.5 | 3.1533 | 189.5333 | 3.19 | 183.9667 | 12.6833 | 893 | 99.2 | 6.4473
2019-10-18 09:15:00 | 2.7033 | 155.2167 | 3.1067 | 170.5667 | 3.0967 | 170.4333 | 3.42 | 190.4 | 12.8567 | 893.0667 | 98.7 | 6.7667
2019-10-18 09:30:00 | 2.816 | 167.316 | 3.24 | 183.86 | 3.318 | 191.24 | 3.53 | 196.82 | 13.048 | 894 | 98.06 | 7.3193
2019-10-18 09:45:00 | 2.9333 | 136.63 | 3.38 | 150.1333 | 3.4 | 201 | 3.84 | 207.3667 | 13.1347 | 894 | 97.5 | 6.8287
2019-10-18 10:00:00 | 2.8667 | 154.6433 | 3.3 | 169.9333 | 3.36 | 198.2 | 4.024 | 205.7 | 13.184 | 894 | 97.46 | 7.9487
2019-10-18 10:15:00 | 3.4733 | 168.17 | 3.9933 | 184.8 | 4.11 | 208.1333 | 4.7567 | 198.6 | 13.2767 | 894 | 96.9333 | 7.9833
2019-10-18 10:30:00 | 3.2133 | 158.2767 | 3.6933 | 173.9333 | 3.7567 | 190.5333 | 4.39 | 198.9333 | 13.33 | 894 | 96.84 | 8.3487
2019-10-18 10:45:00 | 3.6067 | 164.9267 | 4.15 | 181.2333 | 4.24 | 180.3 | 4.7933 | 193.9 | 13.3913 | 894 | 96.9667 | 8.3933
2019-10-18 11:00:00 | 3.788 | 153.788 | 4.358 | 169 | 4.46 | 175.68 | 5.268 | 190.84 | 13.53 | 894 | 96.72 | 7.48
2019-10-18 11:15:00 | 3.46 | 164.29 | 3.9867 | 180.5333 | 4.1433 | 191.6667 | 4.67 | 197.2 | 13.63 | 894 | 96.7933 | 7.658
2019-10-18 11:30:00 | 3.3733 | 148.57 | 3.88 | 163.2667 | 4.0567 | 190.0667 | 4.5567 | 193.6667 | 13.6967 | 894 | 96.7 | 9.18
2019-10-18 11:45:00 | 3.2233 | 154.2833 | 3.7033 | 169.5333 | 3.76 | 193.2 | 4.2567 | 190.4333 | 13.8667 | 894 | 96.1933 | 8.252
2019-10-18 12:00:00 | 3.0367 | 156.71 | 3.4967 | 172.2 | 3.4467 | 180.8667 | 3.8167 | 172.3667 | 14.02 | 894 | 96.1 | 7.83
2019-10-18 12:15:00 | 3.2867 | 147.4087 | 3.7813 | 161.9733 | 3.9307 | 173.7133 | 4.1153 | 183.6467 | 14.0193 | 894 | 96.58 | 7.7253
2019-10-18 12:30:00 | 3.54 | 160.77 | 4.0733 | 176.6667 | 4.0933 | 196.4333 | 4.2233 | 182.2333 | 14.25 | 893.6 | 95.7667 | 7.76
2019-10-18 12:45:00 | 2.8733 | 121.6433 | 3.3067 | 133.6667 | 3.5633 | 180.3 | 3.6933 | 190.2667 | 14.6267 | 893 | 94.4333 | 7.824
2019-10-18 13:00:00 | 2.5 | 114.7833 | 2.88 | 126.1333 | 3.07 | 163.2333 | 2.9133 | 203.8667 | 14.788 | 893 | 93.5667 | 7.8447
2019-10-18 13:15:00 | 2.4467 | 170.6867 | 2.8167 | 187.5667 | 3.0733 | 174.3667 | 3.0933 | 193.7333 | 14.7067 | 893 | 93.3 | 7.5613
2019-10-18 13:30:00 | 3 | 184.34 | 3.4567 | 202.5667 | 3.6667 | 180.7667 | 3.7467 | 213.6667 | 14.664 | 893 | 92.6333 | 5.7547
2019-10-18 13:45:00 | 2.66 | 166.65 | 3.06 | 183.1333 | 3.17 | 203.1333 | 3.6833 | 207.3667 | 15.16 | 893 | 90.1667 | 4.4613
2019-10-18 14:00:00 | 2.3 | 148.45 | 2.6467 | 163.1333 | 2.91 | 226.8667 | 3.07 | 232.5 | 15.6267 | 892.6 | 88.5 | 4.8787
2019-10-18 14:15:00 | 2.6 | 167.35 | 2.9933 | 183.9 | 3.3167 | 216.6333 | 3.1833 | 223.1333 | 16.06 | 892 | 87.5 | 3.9313
2019-10-18 14:30:00 | 3.0133 | 135.45 | 3.48 | 148.8333 | 3.6167 | 179.2333 | 3.3833 | 191 | 16.42 | 892 | 86.4333 | 3.1293
2019-10-18 14:45:00 | 2.7433 | 174.2067 | 3.1567 | 191.4333 | 3.2433 | 169.4667 | 3.2433 | 209.2 | 16.476 | 892 | 85.4667 | 2.4973
2019-10-18 15:00:00 | 2.39 | 185.8 | 2.75 | 204.1667 | 2.8767 | 185 | 2.93 | 209.1333 | 16.3467 | 892 | 85.3333 | 1.0847
2019-10-18 15:15:00 | 2.23 | 164.9233 | 2.5633 | 181.2333 | 2.67 | 183.8667 | 2.7633 | 186.4 | 16.1767 | 892 | 86.1667 | 0.784
2019-10-18 15:30:00 | 2.2767 | 163.2233 | 2.63 | 179.3667 | 2.8167 | 196.6 | 3.1167 | 199.6 | 16.1967 | 892 | 86.1667 | 0.19333
2019-10-18 15:45:00 | 2.01 | 164.1067 | 2.3133 | 180.3333 | 2.4733 | 175.9667 | 2.62 | 201.2267 | 16.03 | 892 | 86.3667 | 0
2019-10-18 16:00:00 | 1.77 | 156.1 | 2.0467 | 171.5333 | 2.3267 | 179.6333 | 2.8067 | 189.0667 | 15.8833 | 891.6 | 87.5667 | 0.004
2019-10-18 16:15:00 | 1.7413 | 183.0527 | 2.0047 | 201.1467 | 2.2547 | 184.14 | 2.5527 | 185.6933 | 15.9113 | 891 | 88.14 | 1.122
2019-10-18 16:30:00 | 1.82 | 179.2733 | 2.0933 | 197 | 2.4567 | 186.8 | 2.7833 | 203.6 | 15.85 | 891 | 87.7 | 1.6813
2019-10-18 16:45:00 | 2.0833 | 167.1167 | 2.4 | 183.6333 | 2.6667 | 192.2333 | 3.08 | 197.1 | 15.6567 | 891 | 88.3333 | 2.7107
2019-10-18 17:00:00 | 1.6833 | 129.3167 | 1.94 | 142.1 | 2.1467 | 170.3667 | 2.8333 | 185.6333 | 15.57 | 891 | 88.6 | 3.37
2019-10-18 17:15:00 | 2.0467 | 156.826 | 2.3533 | 172.3267 | 2.584 | 185.2467 | 2.9467 | 192.2467 | 15.5373 | 891 | 88.2267 | 3.4507
2019-10-18 17:30:00 | 1.9667 | 165.2367 | 2.2667 | 181.5667 | 2.46 | 185.5 | 3.0733 | 175.5667 | 15.556 | 891 | 87.3333 | 3.894
2019-10-18 17:45:00 | 1.9 | 170.21 | 2.1967 | 187.0333 | 2.5633 | 201.4667 | 2.7467 | 179.9333 | 15.5633 | 891 | 87.2067 | 3.6267
2019-10-18 18:00:00 | 2.1667 | 176.1433 | 2.5033 | 193.5667 | 2.8033 | 203.6 | 3.1867 | 201.2 | 15.562 | 891 | 86.8333 | 3.4573
2019-10-18 18:15:00 | 2.1567 | 185.4067 | 2.49 | 203.7333 | 2.68 | 212.7667 | 2.88 | 191 | 15.608 | 891 | 86.1667 | 3.1627
2019-10-18 18:30:00 | 2.2633 | 167.4467 | 2.6033 | 184 | 2.8467 | 192.9 | 3.1933 | 193.2667 | 15.632 | 891 | 85.7 | 4.542
2019-10-18 18:45:00 | 2.2733 | 183.1 | 2.6133 | 201.2 | 3.0367 | 213.7333 | 3.2433 | 201.8 | 15.5467 | 891 | 85.9067 | 4.6367
2019-10-18 19:00:00 | 2.22 | 181.7667 | 2.5533 | 199.7333 | 2.8567 | 184.8 | 3.3633 | 188.0667 | 15.488 | 891 | 85.6667 | 4.568
2019-10-18 19:15:00 | 2.1833 | 132.4133 | 2.5133 | 145.5 | 2.6967 | 199.3 | 2.91 | 201.0667 | 15.57 | 891 | 84.8067 | 4.8047
2019-10-18 19:30:00 | 2.2167 | 153.58 | 2.5467 | 168.7667 | 2.7633 | 209.7667 | 3.0033 | 205.7333 | 15.578 | 891 | 84.4333 | 4.7787
2019-10-18 19:45:00 | 2.4847 | 167.9573 | 2.8567 | 184.5667 | 3.3053 | 200.8133 | 3.842 | 196.7933 | 15.6133 | 891 | 84.1933 | 5.3467
2019-10-18 20:00:00 | 2.5367 | 175.9067 | 2.9167 | 193.3 | 3.28 | 202.0667 | 3.57 | 206.9667 | 15.56 | 891.4 | 84.9 | 6.9127
2019-10-18 20:15:00 | 2.5133 | 164.1033 | 2.8967 | 180.3333 | 3.26 | 195.0333 | 3.4933 | 204.1667 | 15.3967 | 892 | 86.1 | 7.9867
2019-10-18 20:30:00 | 2.98 | 157.0033 | 3.43 | 172.5333 | 3.88 | 199.7 | 4.1933 | 199.5 | 15.334 | 892 | 85.9667 | 7.858
2019-10-18 20:45:00 | 2.8433 | 165.2967 | 3.2667 | 181.6333 | 3.55 | 191.1333 | 3.89 | 201.2 | 15.4267 | 892 | 84.8067 | 7.1893
2019-10-18 21:00:00 | 2.6767 | 163.29 | 3.08 | 179.4333 | 3.4767 | 204.4667 | 3.7033 | 204.5333 | 15.412 | 892 | 84.86 | 5.7153
2019-10-18 21:15:00 | 2.424 | 165.1 | 2.796 | 181.42 | 3.154 | 215.16 | 3.336 | 181.72 | 15.312 | 892 | 85.4 | 5.8827
2019-10-18 21:30:00 | 2.3333 | 167.72 | 2.6933 | 184.3 | 2.95 | 191 | 3.0733 | 195.8667 | 15.332 | 892 | 85.7333 | 6.2933
2019-10-18 21:45:00 | 2.6433 | 172.8167 | 3.05 | 189.9 | 3.4467 | 194.0667 | 3.5833 | 195.8 | 15.26 | 892 | 86.6667 | 6.5807
2019-10-18 22:00:00 | 2.5233 | 174.45 | 2.9033 | 191.7 | 3.2267 | 200.8 | 3.47 | 191.6667 | 15.1533 | 892 | 87.7333 | 7.7427
2019-10-18 22:15:00 | 2.74 | 149.7333 | 3.1467 | 164.5333 | 3.29 | 201.9667 | 3.5467 | 206.2333 | 15.0367 | 892 | 89.2667 | 9.5013
2019-10-18 22:30:00 | 2.72 | 167.68 | 3.1267 | 184.2667 | 3.2767 | 196.8333 | 3.4133 | 182.1 | 14.962 | 892 | 90.2667 | 9.4767
2019-10-18 22:45:00 | 2.7067 | 163.7967 | 3.1133 | 180 | 3.2733 | 194.9 | 3.3267 | 203.9667 | 14.8633 | 892 | 91.1667 | 7.812
2019-10-18 23:00:00 | 2.4267 | 167.9233 | 2.7867 | 184.5333 | 2.92 | 190.82 | 3.0267 | 197.3667 | 14.77 | 892 | 91.9667 | 8.3047
2019-10-18 23:15:00 | 2.41 | 183.73 | 2.7767 | 201.9 | 2.9833 | 193.6333 | 3.0267 | 202.7667 | 14.67 | 892 | 91.9333 | 8.0947
2019-10-18 23:30:00 | 2.9967 | 149.4567 | 3.4433 | 164.2333 | 3.5633 | 168.9667 | 3.68 | 203.8333 | 14.6633 | 892 | 91.6667 | 7.4593
2019-10-18 23:45:00 | 2.94 | 153.58 | 3.38 | 168.7667 | 3.5067 | 191.7333 | 3.7933 | 189.3333 | 14.5033 | 892 | 92.6667 | 7.4067