## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2019-10-19 00:00:00 | 2.7679 | 153.4536 | 3.1814 | 168.6214 | 3.3021 | 187.1857 | 3.8414 | 201.4214 | 14.385 | 892 | 93 | 8.2821
2019-10-19 00:15:00 | 2.67 | 155.6467 | 3.07 | 171.0333 | 3.23 | 178.6 | 3.6067 | 183.8333 | 14.3153 | 892 | 92.8 | 8.0073
2019-10-19 00:30:00 | 2.5367 | 174.94 | 2.9167 | 192.2333 | 3.0767 | 196.6667 | 3.54 | 201.9 | 14.2833 | 892 | 92.6 | 8.1347
2019-10-19 00:45:00 | 2.9733 | 159.6733 | 3.42 | 175.4667 | 3.8367 | 208.4 | 4.1967 | 205.3667 | 14.3967 | 892 | 91.4 | 8.916
2019-10-19 01:00:00 | 2.7933 | 154.1 | 3.22 | 169.3333 | 3.5033 | 221.0667 | 3.51 | 207.94 | 14.53 | 892 | 90.4 | 7.528
2019-10-19 01:15:00 | 2.6533 | 170.54 | 3.0567 | 187.4 | 3.2567 | 204.1333 | 3.61 | 201.4667 | 14.4867 | 892 | 90.7 | 8.082
2019-10-19 01:30:00 | 2.54 | 150.4 | 2.9233 | 165.2667 | 3.29 | 207.1333 | 3.63 | 204.4667 | 14.416 | 892 | 90.9 | 8.786
2019-10-19 01:45:00 | 2.7133 | 161.9867 | 3.12 | 178 | 3.14 | 190.4333 | 3.54 | 205.4333 | 14.24 | 891.2667 | 92.0333 | 9.5953
2019-10-19 02:00:00 | 2.9107 | 145.1287 | 3.3473 | 159.4733 | 3.28 | 193.9333 | 3.7407 | 209.3267 | 14.112 | 891 | 92.5933 | 9.968
2019-10-19 02:15:00 | 2.7333 | 152.1833 | 3.1433 | 167.2333 | 3.26 | 181.0667 | 3.5333 | 203.0333 | 13.9893 | 891 | 93.2 | 9.6213
2019-10-19 02:30:00 | 2.8933 | 166.4367 | 3.3367 | 182.9 | 3.58 | 197.3333 | 3.8067 | 197.7 | 14.0133 | 891 | 92.7333 | 9.5507
2019-10-19 02:45:00 | 2.6 | 163.4933 | 2.9933 | 179.6667 | 3.0733 | 205.3333 | 3.3333 | 205.9667 | 14.05 | 891 | 92.4333 | 10.3027
2019-10-19 03:00:00 | 2.6533 | 159.0133 | 3.0533 | 174.7333 | 3.1333 | 193.1333 | 3.76 | 194.7 | 13.9233 | 891 | 93.1667 | 9.4033
2019-10-19 03:15:00 | 3.1333 | 148.7367 | 3.6133 | 163.4333 | 3.7067 | 177.1667 | 4.21 | 177.4333 | 13.8367 | 891 | 93.3667 | 9.296
2019-10-19 03:30:00 | 3.0267 | 175.1767 | 3.48 | 192.5 | 3.6867 | 189.0333 | 4.25 | 196.2333 | 13.818 | 891 | 93.1667 | 9.364
2019-10-19 03:45:00 | 3.1567 | 145.4 | 3.64 | 159.7667 | 3.8133 | 186.6667 | 4.3467 | 187.2 | 13.8833 | 890.9333 | 92.6667 | 10.2907
2019-10-19 04:00:00 | 3.09 | 144.1133 | 3.5533 | 158.3667 | 3.7 | 192 | 4.1133 | 203 | 13.906 | 890 | 92.44 | 9.2533
2019-10-19 04:15:00 | 3.22 | 159.5267 | 3.7033 | 175.3 | 3.9067 | 193.8333 | 4.1133 | 199.4 | 13.8687 | 890 | 92.5733 | 9.8273
2019-10-19 04:30:00 | 2.84 | 172.3933 | 3.2633 | 189.4333 | 3.4067 | 180.6333 | 3.78 | 194.8 | 13.7633 | 890 | 93.0667 | 9.5147
2019-10-19 04:45:00 | 3.0667 | 163.74 | 3.5367 | 179.9333 | 3.6733 | 186.1667 | 4.4333 | 187.0667 | 13.53 | 890 | 94.3333 | 10.1047
2019-10-19 05:00:00 | 3.1067 | 154.4067 | 3.57 | 169.6667 | 3.74 | 184.9 | 4.5 | 187.1333 | 13.45 | 890 | 94.6 | 11.488
2019-10-19 05:15:00 | 2.7667 | 162.86 | 3.1833 | 178.9667 | 3.34 | 192.6 | 3.89 | 205.8667 | 13.41 | 890 | 94.6667 | 11.3627
2019-10-19 05:30:00 | 3.06 | 127.6733 | 3.5233 | 140.3 | 3.66 | 185.2 | 3.8833 | 201.7333 | 13.41 | 890 | 94.56 | 11.1373
2019-10-19 05:45:00 | 3.0933 | 154.4667 | 3.5667 | 169.7333 | 3.7133 | 201.0333 | 4.2333 | 191.6667 | 13.4507 | 890 | 94.1 | 10.3553
2019-10-19 06:00:00 | 3.0533 | 167.44 | 3.52 | 184 | 3.6267 | 194.1667 | 4.18 | 188.4 | 13.3533 | 890 | 94.7667 | 9.9453
2019-10-19 06:15:00 | 3.57 | 164.0733 | 4.1067 | 180.3 | 4.0767 | 182.9 | 4.41 | 191.6667 | 13.1267 | 890 | 95.7 | 9.1827
2019-10-19 06:30:00 | 3.4633 | 167.2267 | 3.98 | 183.7667 | 4.0233 | 181.1667 | 4.3367 | 197.9333 | 13.0733 | 890 | 95.6333 | 9.258
2019-10-19 06:45:00 | 3.1533 | 158.3133 | 3.6233 | 173.9667 | 3.6467 | 186.7333 | 4.2233 | 196.5667 | 13 | 890.7333 | 95.7733 | 9.4333
2019-10-19 07:00:00 | 2.72 | 164.02 | 3.13 | 180.2333 | 3.0867 | 189.5333 | 3.81 | 194.7667 | 12.7733 | 891 | 96.8667 | 10.142
2019-10-19 07:15:00 | 2.7733 | 147.64 | 3.19 | 162.2333 | 3.2867 | 189.4333 | 3.9033 | 203.5333 | 12.6293 | 891 | 97.7667 | 10.5547
2019-10-19 07:30:00 | 3.18 | 150.8467 | 3.6567 | 165.7667 | 3.7733 | 182.7 | 4.1833 | 195.0667 | 12.7 | 891 | 97.4333 | 9.6027
2019-10-19 07:45:00 | 3.1667 | 148.7967 | 3.6433 | 163.5 | 3.6967 | 186.8 | 4.01 | 192.7667 | 12.85 | 891 | 96.4333 | 10.7527
2019-10-19 08:00:00 | 3.1133 | 153.8233 | 3.5767 | 169.0333 | 3.6833 | 181.3333 | 3.85 | 201.7 | 12.878 | 891 | 96.26 | 10.864
2019-10-19 08:15:00 | 3.1867 | 167.3467 | 3.6633 | 183.9 | 3.7333 | 187.4 | 3.8633 | 199.5333 | 12.902 | 891 | 96.1067 | 9.3427
2019-10-19 08:30:00 | 3.1867 | 176.4467 | 3.6633 | 193.9 | 3.72 | 180.3333 | 4.0633 | 197.4667 | 12.97 | 891 | 95.76 | 7.882
2019-10-19 08:45:00 | 3.3167 | 159.74 | 3.8167 | 175.5333 | 3.97 | 185.3 | 4.28 | 197 | 12.9867 | 891 | 95.7067 | 8.662
2019-10-19 09:00:00 | 3.5233 | 160.9533 | 4.05 | 176.8667 | 4.25 | 187.9667 | 5.1267 | 191.8667 | 12.972 | 891 | 95.56 | 8.268
2019-10-19 09:15:00 | 3.5867 | 116.2433 | 4.1267 | 127.7333 | 4.16 | 196.6 | 4.7367 | 196.2667 | 13.09 | 891.0667 | 94.8667 | 7.3847
2019-10-19 09:30:00 | 2.7733 | 151.37 | 3.1867 | 166.3333 | 3.1867 | 195.6667 | 4.0767 | 192.8 | 13.19 | 892 | 94.4 | 7.0307
2019-10-19 09:45:00 | 2.2667 | 157.2867 | 2.6033 | 172.8333 | 2.6967 | 194.5333 | 3.46 | 201.5267 | 13.2833 | 892 | 95.0333 | 7.0973
2019-10-19 10:00:00 | 2.2067 | 135.9267 | 2.5433 | 149.3667 | 2.6033 | 209.4 | 3.2667 | 199.3 | 13.4633 | 892 | 94.9 | 7.124
2019-10-19 10:15:00 | 2.0667 | 138.5767 | 2.3833 | 152.2667 | 2.3733 | 193.2667 | 3.1467 | 211.3333 | 13.5967 | 892 | 94.6667 | 6.1473
2019-10-19 10:30:00 | 2.3933 | 147.1233 | 2.75 | 161.6667 | 2.8133 | 209.5333 | 3.3133 | 197 | 13.634 | 892 | 95 | 6.474
2019-10-19 10:45:00 | 2.39 | 132.6533 | 2.75 | 145.7667 | 2.6933 | 200.0667 | 3.3833 | 202.2 | 13.5707 | 892 | 95.1067 | 4.7473
2019-10-19 11:00:00 | 2.5433 | 164.6267 | 2.9233 | 180.9 | 2.9667 | 196.4667 | 3.7233 | 191.3333 | 13.6867 | 892 | 94.6667 | 4.0467
2019-10-19 11:15:00 | 2.4 | 170.276 | 2.7613 | 187.1133 | 2.9293 | 217.4067 | 3.2587 | 195.0333 | 14.074 | 892 | 93.5933 | 3.9873
2019-10-19 11:30:00 | 2.4133 | 171.3633 | 2.78 | 188.3 | 2.99 | 223.1 | 2.9633 | 198.0333 | 14.4267 | 892 | 92.6333 | 3.6753
2019-10-19 11:45:00 | 2.2433 | 156.7 | 2.5867 | 172.2 | 2.97 | 219.3667 | 3.3133 | 195.1333 | 14.76 | 892 | 91.1 | 3.1813
2019-10-19 12:00:00 | 2.1167 | 168.2933 | 2.4333 | 184.9333 | 2.7433 | 229.5667 | 3 | 186.5333 | 14.9933 | 892 | 90.3667 | 2.3493
2019-10-19 12:15:00 | 1.92 | 156.5533 | 2.21 | 172.0333 | 2.38 | 197.6667 | 2.766 | 202.6667 | 15.1967 | 892 | 88.8 | 1.4053
2019-10-19 12:30:00 | 1.7533 | 149.6333 | 2.0233 | 164.4333 | 2.0133 | 203.2667 | 2.33 | 183.5333 | 15.31 | 892 | 87.8667 | 0.83733
2019-10-19 12:45:00 | 1.59 | 157.71 | 1.8267 | 173.3 | 1.9667 | 180.5667 | 2.1967 | 209.1333 | 15.7067 | 892 | 86.6 | 0
2019-10-19 13:00:00 | 1.49 | 100.99 | 1.72 | 110.9667 | 1.8 | 169.1 | 1.8833 | 205.4 | 15.7933 | 892 | 85.84 | 0
2019-10-19 13:15:00 | 1.5333 | 129.07 | 1.7667 | 141.8333 | 1.96 | 161.3 | 2.0133 | 214.0333 | 15.9067 | 892 | 85.5667 | 0
2019-10-19 13:30:00 | 1.5067 | 130.9567 | 1.74 | 143.9 | 1.8867 | 194.9 | 2.2067 | 193.3667 | 15.988 | 892 | 84.1667 | 0
2019-10-19 13:45:00 | 1.2733 | 135.23 | 1.4767 | 148.6 | 1.7333 | 202.8333 | 1.9633 | 200.9333 | 16.022 | 892 | 83.46 | 0
2019-10-19 14:00:00 | 1.62 | 170.3753 | 1.8673 | 187.2267 | 1.976 | 193.2067 | 2.174 | 206.1467 | 16.086 | 892 | 82.26 | 0
2019-10-19 14:15:00 | 1.1533 | 177.0033 | 1.33 | 194.5 | 1.6667 | 205.8333 | 1.9567 | 200.1 | 16.2833 | 892 | 81.1333 | 0
2019-10-19 14:30:00 | 1.0467 | 149.7567 | 1.2167 | 164.5667 | 1.4133 | 184.98 | 1.7167 | 162.3 | 16.5433 | 892 | 79.5933 | 0
2019-10-19 14:45:00 | 0.62667 | 145.3033 | 0.72333 | 159.6667 | 0.88333 | 139.8 | 0.76333 | 159.9667 | 16.66 | 892 | 77.9333 | 0
2019-10-19 15:00:00 | 0.432 | 80.792 | 0.5 | 88.776 | 0.564 | 55.29 | 0.382 | 64.182 | 16.648 | 892 | 79.222 | 0
2019-10-19 15:15:00 | 0.81667 | 19.0933 | 0.95 | 20.9733 | 1.1067 | 341.8 | 0.92333 | 327.9667 | 16.5187 | 892 | 80.8333 | 0
2019-10-19 15:30:00 | 0.94333 | 29.24 | 1.0967 | 32.1333 | 1.5933 | 120.4933 | 1.4167 | 121.5733 | 16.5 | 892 | 82.8333 | 0
2019-10-19 15:45:00 | 1.68 | 29.73 | 1.9367 | 32.6633 | 3.1067 | 3.9567 | 2.7133 | 17.8933 | 16.5667 | 891.9333 | 83.9667 | 0
2019-10-19 16:00:00 | 2.0067 | 20.41 | 2.31 | 22.4233 | 3.82 | 12.33 | 3.3867 | 8.7067 | 16.472 | 891 | 84.54 | 0
2019-10-19 16:15:00 | 2.1467 | 323.8067 | 2.47 | 355.8333 | 4.1767 | 14.9233 | 3.95 | 18.8333 | 16.5087 | 891 | 84.5267 | 0.17933
2019-10-19 16:30:00 | 2.3 | 316.6467 | 2.6433 | 347.9667 | 4.5033 | 11.6967 | 4.3233 | 15.9 | 16.45 | 891 | 84.8333 | 1.6693
2019-10-19 16:45:00 | 2.5633 | 186.5867 | 2.9467 | 205.0333 | 5.0067 | 7.8233 | 4.99 | 17.4033 | 16.2233 | 891 | 85.7667 | 3.5113
2019-10-19 17:00:00 | 2.83 | 153.0933 | 3.2533 | 168.2333 | 5.38 | 18.5833 | 5.1767 | 244.51 | 15.93 | 891 | 86.5667 | 4.8307
2019-10-19 17:15:00 | 2.8867 | 193.3133 | 3.3167 | 212.4333 | 5.3533 | 10.3567 | 5.3433 | 18.6133 | 15.49 | 891 | 87.7 | 6.0647
2019-10-19 17:30:00 | 3.02 | 25.64 | 3.47 | 28.1667 | 5.436 | 11.75 | 5.6033 | 20.72 | 15.19 | 891 | 88.3 | 7.836
2019-10-19 17:45:00 | 2.82 | 163.2867 | 3.2433 | 179.4333 | 5.0033 | 135.0933 | 4.9967 | 25.7933 | 14.96 | 891 | 89.2333 | 8.5873
2019-10-19 18:00:00 | 2.8533 | 98.54 | 3.29 | 108.2867 | 5.0967 | 121.42 | 5.0367 | 16.38 | 14.82 | 891 | 89.9 | 9.3353
2019-10-19 18:15:00 | 2.944 | 284.0933 | 3.386 | 312.1867 | 5.3693 | 258.2827 | 4.992 | 13.8313 | 14.666 | 891 | 90.8067 | 10.0067
2019-10-19 18:30:00 | 3.1767 | 128.17 | 3.6567 | 140.84 | 5.34 | 226.3533 | 5.2867 | 14.29 | 14.5667 | 891 | 90.6333 | 9.7953
2019-10-19 18:45:00 | 2.7933 | 166.0067 | 3.21 | 182.4267 | 4.7433 | 114.9333 | 4.66 | 7.0533 | 14.5267 | 891 | 90.6 | 7.188
2019-10-19 19:00:00 | 2.3533 | 19.0933 | 2.7033 | 20.98 | 4.2767 | 117.6333 | 4.1133 | 14.64 | 14.4467 | 891 | 90.8667 | 6.0667
2019-10-19 19:15:00 | 1.84 | 311.07 | 2.1233 | 341.8333 | 3.6267 | 18.65 | 3.81 | 16.74 | 14.2867 | 891 | 92.2333 | 6.686
2019-10-19 19:30:00 | 2.24 | 319.81 | 2.59 | 351.4333 | 4.4 | 255.35 | 4.6167 | 13.6933 | 14.1733 | 891 | 93.0333 | 8.984
2019-10-19 19:45:00 | 2.5933 | 214.2767 | 2.9867 | 235.4667 | 5.04 | 126.5133 | 5.1267 | 7.19 | 14.0693 | 891 | 93.4333 | 10.3373
2019-10-19 20:00:00 | 2.6467 | 247.3433 | 3.0467 | 271.8 | 4.9733 | 350.4 | 4.8533 | 7.7767 | 14.1533 | 891 | 92.0333 | 9.8927
2019-10-19 20:15:00 | 2.3267 | 279.8867 | 2.68 | 307.5667 | 4.4667 | 341.7 | 4.33 | 8.0767 | 14.194 | 891 | 91.78 | 9.894
2019-10-19 20:30:00 | 2.4933 | 111.8867 | 2.8733 | 122.9533 | 4.3333 | 127.1667 | 4.3033 | 14.1367 | 14.17 | 891 | 92.3667 | 9.1387
2019-10-19 20:45:00 | 2.6533 | 291.9667 | 3.06 | 320.8333 | 4.1567 | 129.4133 | 4.0667 | 1.9667 | 14.2807 | 891 | 91.1667 | 9.1587
2019-10-19 21:00:00 | 2.7733 | 124.42 | 3.1933 | 136.72 | 4.55 | 343.2667 | 4.2667 | 9.08 | 14.2567 | 891.4 | 91.5667 | 9.272
2019-10-19 21:15:00 | 2.6067 | 2.7033 | 2.9967 | 2.9633 | 4.2167 | 123.7933 | 4.2333 | 5.04 | 14.2087 | 892 | 92.1333 | 9.5673
2019-10-19 21:30:00 | 2.5133 | 12.6833 | 2.8967 | 13.9367 | 4.3167 | 126.16 | 4.3733 | 6.56 | 14.15 | 892 | 92.6 | 9.646
2019-10-19 21:45:00 | 2.54 | 189.6433 | 2.9333 | 208.3933 | 4.4733 | 18.7933 | 4.5267 | 16.5067 | 14.0507 | 892 | 93 | 10.5267
2019-10-19 22:00:00 | 2.8333 | 34.5167 | 3.2667 | 37.9333 | 4.7133 | 13.3467 | 4.8533 | 11.7133 | 14.056 | 892 | 92.9333 | 9.528
2019-10-19 22:15:00 | 3.0133 | 308.7667 | 3.4733 | 339.3 | 5.026 | 245.4833 | 5.16 | 14.7433 | 14.056 | 892 | 93.14 | 10.9353
2019-10-19 22:30:00 | 2.9467 | 298.8867 | 3.4 | 328.4333 | 5.2233 | 23.7967 | 5.4533 | 3.27 | 14 | 892 | 93.7667 | 11.1993
2019-10-19 22:45:00 | 3.0133 | 112.2033 | 3.4733 | 123.2933 | 5.4067 | 4.6333 | 5.55 | 4.1333 | 13.9353 | 892 | 94.1733 | 12.0227
2019-10-19 23:00:00 | 3.22 | 309.43 | 3.7 | 340.0333 | 5.1533 | 7.0667 | 5.2567 | 8.6067 | 13.89 | 892 | 94.5333 | 13.2773
2019-10-19 23:15:00 | 3.2 | 76.3467 | 3.6833 | 83.8867 | 5.45 | 7.3667 | 5.4233 | 15.4233 | 13.9033 | 892 | 94.4667 | 14.5553
2019-10-19 23:30:00 | 3.12 | 248.8267 | 3.59 | 273.4333 | 5.79 | 7.66 | 5.6233 | 8.2633 | 13.7767 | 892 | 95.4667 | 12.6167
2019-10-19 23:45:00 | 2.88 | 310.8867 | 3.3233 | 341.6333 | 5.25 | 236.5667 | 5.3333 | 11.8833 | 13.6433 | 892 | 96.0067 | 15.1013