## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2019-10-20 00:00:00 | 3.3714 | 313.5971 | 3.8786 | 344.6143 | 5.6957 | 207.9857 | 5.9086 | 11.5014 | 13.6386 | 892 | 95.7 | 14.9543
2019-10-20 00:15:00 | 3.46 | 314.6 | 3.99 | 345.7 | 6.05 | 10.89 | 6.15 | 15.07 | 13.72 | 892 | 95.2 | 16.143
2019-10-20 00:30:00 | 3.48 | 24.16 | 4 | 26.54 | 6.39 | 0.15 | 6.41 | 6.61 | 13.64 | 892 | 95.9 | 17.284
2019-10-20 00:45:00 | 3.7867 | 215.8533 | 4.3567 | 237.2 | 5.88 | 238.1267 | 6.1533 | 15.0133 | 13.6713 | 892 | 95.4 | 19.388
2019-10-20 01:00:00 | 3.88 | 5.8733 | 4.4633 | 6.4467 | 6.1867 | 5.5067 | 6.4533 | 18.7533 | 13.7367 | 892 | 94.8 | 22.2693
2019-10-20 01:15:00 | 3.8733 | 199.4833 | 4.4533 | 219.21 | 6.56 | 13.32 | 6.7667 | 13.9167 | 13.6167 | 892 | 96 | 22.0033
2019-10-20 01:30:00 | 4.2067 | 199.3033 | 4.8467 | 219.01 | 6.44 | 17.84 | 6.62 | 16.9833 | 13.554 | 892 | 96.36 | 21.66
2019-10-20 01:45:00 | 4.1467 | 118.6867 | 4.7733 | 130.4133 | 6.9133 | 16.59 | 7.2367 | 12.2267 | 13.5 | 891.9333 | 96.6333 | 25.1453
2019-10-20 02:00:00 | 4.56 | 142.7 | 5.2467 | 156.8067 | 8.0467 | 17.5967 | 8.0567 | 28.56 | 13.44 | 891 | 97.3 | 28.4467
2019-10-20 02:15:00 | 4.4633 | 118.46 | 5.1367 | 130.1733 | 8.2933 | 15.65 | 8.2067 | 16.4833 | 13.3433 | 891 | 97.64 | 30.3453
2019-10-20 02:30:00 | 4.39 | 97.6133 | 5.05 | 107.2667 | 7.92 | 11.2433 | 7.904 | 14.8033 | 13.302 | 891 | 98 | 30.6147
2019-10-20 02:45:00 | 4.1333 | 101.3867 | 4.7633 | 111.4 | 7.0333 | 15.5367 | 7.08 | 21.4867 | 13.2767 | 891 | 98.1667 | 24.7913
2019-10-20 03:00:00 | 3.7467 | 277.98 | 4.31 | 305.4667 | 5.984 | 13.11 | 5.796 | 19.9 | 13.27 | 891 | 98.14 | 23.1813
2019-10-20 03:15:00 | 4.2613 | 60.722 | 4.912 | 66.7213 | 7.7847 | 96.716 | 7.4793 | 2.304 | 13.2453 | 891 | 98.1933 | 32.232
2019-10-20 03:30:00 | 4.5333 | 222.4333 | 5.22 | 244.4333 | 8.206 | 129.1267 | 8.3733 | 11.34 | 13.244 | 891 | 98.06 | 33.6007
2019-10-20 03:45:00 | 4.348 | 306.956 | 5.002 | 337.3 | 7.422 | 75.496 | 7.542 | 21.008 | 13.198 | 890.2667 | 98.36 | 37.0793
2019-10-20 04:00:00 | 5.2467 | 313.62 | 6.0433 | 344.6333 | 8.6033 | 352.9333 | 8.5567 | 15.8 | 13.146 | 890 | 98.7333 | 35.9473
2019-10-20 04:15:00 | 4.76 | 299.58 | 5.4833 | 329.2 | 8.23 | 348.0333 | 7.88 | 12.38 | 13.05 | 890 | 99.1667 | 34.088
2019-10-20 04:30:00 | 4.64 | 103.7467 | 5.3433 | 114 | 8.3433 | 128.7067 | 8.28 | 16.56 | 12.9767 | 890 | 99.4333 | 34.4953
2019-10-20 04:45:00 | 4.4667 | 312.4667 | 5.14 | 343.3667 | 7.9533 | 7.8433 | 8.1367 | 17.9967 | 12.966 | 890 | 99.5667 | 32.7187
2019-10-20 05:00:00 | 4.04 | 313.92 | 4.6467 | 344.9667 | 6.9133 | 6.9367 | 7.1567 | 9.05 | 12.958 | 890 | 99.66 | 33.588
2019-10-20 05:15:00 | 3.9133 | 293.6567 | 4.5 | 322.7 | 7.05 | 120.9933 | 7.2567 | 8.4667 | 12.954 | 890 | 99.5267 | 33.65
2019-10-20 05:30:00 | 4.2733 | 81.77 | 4.9133 | 89.8467 | 7.53 | 355.1 | 7.5433 | 5.4667 | 12.95 | 890 | 99.3 | 33.2787
2019-10-20 05:45:00 | 4.4 | 200.0167 | 5.0633 | 219.7967 | 7.76 | 6.79 | 7.97 | 15.7533 | 12.9287 | 890 | 99.5333 | 34.238
2019-10-20 06:00:00 | 4.42 | 28.9767 | 5.0833 | 31.8367 | 7.4067 | 6.5633 | 7.79 | 9.8533 | 12.87 | 890 | 99.84 | 34.7093
2019-10-20 06:15:00 | 4.4633 | 2.1167 | 5.1433 | 2.3167 | 6.9633 | 6.5767 | 7.46 | 237.9967 | 12.8533 | 890 | 99.9733 | 37.1247
2019-10-20 06:30:00 | 4.73 | 203.43 | 5.4367 | 223.55 | 7.9233 | 12.1367 | 8.2467 | 15.6833 | 12.864 | 890.4 | 99.92 | 37.91
2019-10-20 06:45:00 | 4.2667 | 15.1233 | 4.9167 | 16.62 | 7.1667 | 118.64 | 7.2833 | 8.77 | 12.9187 | 891 | 99.2933 | 36.044
2019-10-20 07:00:00 | 4.2133 | 225.2767 | 4.85 | 247.5533 | 7.4067 | 345.6667 | 7.4633 | 241.73 | 12.86 | 891 | 99.16 | 34.5987
2019-10-20 07:15:00 | 4.5467 | 229.37 | 5.23 | 252.05 | 7.8133 | 338.2667 | 7.4567 | 8.4833 | 12.7793 | 891 | 99.4 | 36.392
2019-10-20 07:30:00 | 5.1867 | 198.37 | 5.97 | 217.9833 | 8.3333 | 340.3333 | 8.2767 | 8.1433 | 12.79 | 891 | 99.56 | 40.126
2019-10-20 07:45:00 | 4.94 | 247.9133 | 5.6867 | 272.4333 | 8.6367 | 14.1567 | 9.03 | 13.9533 | 12.83 | 891 | 99.3 | 39.9133
2019-10-20 08:00:00 | 5.0267 | 40.4867 | 5.78 | 44.48 | 8.77 | 19.21 | 9.21 | 12.1667 | 12.8433 | 891 | 99.7 | 42.026
2019-10-20 08:15:00 | 4.95 | 289.8967 | 5.7033 | 318.5667 | 8.4 | 3.93 | 8.41 | 11.8133 | 13.0133 | 891 | 99.2333 | 39.766
2019-10-20 08:30:00 | 4.47 | 132.7567 | 5.15 | 145.88 | 7.4267 | 9.23 | 7.51 | 11.02 | 13.2067 | 891.4 | 98.5 | 38.1787
2019-10-20 08:45:00 | 4.2467 | 320.1133 | 4.89 | 351.7667 | 7.21 | 6.6733 | 7.2767 | 10.6933 | 13.3967 | 892 | 97.8333 | 41.6267
2019-10-20 09:00:00 | 4.3267 | 117.1733 | 4.99 | 128.7533 | 7.21 | 8.96 | 7.43 | 16.5467 | 13.5433 | 892 | 97.1667 | 41.2527
2019-10-20 09:15:00 | 4.4807 | 321.9333 | 5.16 | 353.7667 | 7.72 | 134.8267 | 7.6133 | 12.3133 | 13.7733 | 892 | 96.6667 | 41.9373
2019-10-20 09:30:00 | 4.6167 | 301.4267 | 5.3067 | 331.2333 | 8 | 128.8 | 8.1467 | 18.4067 | 13.9933 | 892 | 95.8667 | 37.9767
2019-10-20 09:45:00 | 4.6333 | 199.2 | 5.3333 | 218.8867 | 7.88 | 132.38 | 7.8967 | 8.1267 | 14.47 | 892.7333 | 94.1 | 38.9933
2019-10-20 10:00:00 | 4.34 | 19.68 | 4.9933 | 21.62 | 7.1467 | 340.5333 | 7.03 | 17.5067 | 14.9567 | 893 | 92.5667 | 34.9953
2019-10-20 10:15:00 | 4.0833 | 188.7467 | 4.7067 | 207.4033 | 6.75 | 7.6 | 6.74 | 13.3433 | 15.5107 | 893 | 89.8333 | 32.39
2019-10-20 10:30:00 | 4.1433 | 197.3 | 4.7667 | 216.8033 | 7.0433 | 6.7067 | 6.9267 | 5.3567 | 15.5867 | 893 | 89.4333 | 28.3873
2019-10-20 10:45:00 | 4.19 | 279.1233 | 4.8233 | 306.7333 | 7.06 | 10.8233 | 6.9267 | 12.8933 | 16.56 | 893 | 86.0333 | 24.59
2019-10-20 11:00:00 | 4.6433 | 287.3767 | 5.3433 | 315.8 | 8.1 | 14.2567 | 7.8867 | 36.4533 | 18.7 | 893 | 78.6267 | 22.858
2019-10-20 11:15:00 | 4.5633 | 8.5333 | 5.2533 | 9.3733 | 8.3833 | 15.23 | 8.3233 | 26.3867 | 19.8433 | 893 | 73.35 | 18.7713
2019-10-20 11:30:00 | 4.0367 | 183 | 4.64 | 201.0867 | 7.57 | 11.3433 | 7.6033 | 33.48 | 20.67 | 893 | 69.81 | 15.324
2019-10-20 11:45:00 | 3.5 | 119.5067 | 4.0233 | 131.3267 | 6.39 | 19.1433 | 6.3767 | 34.7133 | 21.2027 | 893.0667 | 67.2267 | 10.8107
2019-10-20 12:00:00 | 3.2733 | 142.9933 | 3.7633 | 157.1333 | 5.5967 | 22.6767 | 5.53 | 28.8933 | 20.98 | 893.6 | 65.9733 | 7.4593
2019-10-20 12:15:00 | 3.0733 | 81.0267 | 3.5367 | 89.0333 | 5.28 | 11.2833 | 5.1567 | 17.1567 | 21.1633 | 893 | 65.9767 | 5.694
2019-10-20 12:30:00 | 3.1467 | 25.58 | 3.6233 | 28.1067 | 5.3133 | 14.6833 | 5.1167 | 17.59 | 21.51 | 893 | 63.7833 | 6.068
2019-10-20 12:45:00 | 2.9633 | 8.37 | 3.4067 | 9.1867 | 4.7767 | 16.33 | 4.5333 | 25.9633 | 21.3467 | 893 | 62.1467 | 5.956
2019-10-20 13:00:00 | 2.95 | 62.0767 | 3.4 | 68.2133 | 5.33 | 10.9033 | 4.9733 | 15.63 | 21.7133 | 893 | 61.8 | 5.4973
2019-10-20 13:15:00 | 2.68 | 197.56 | 3.0867 | 217.0967 | 4.9133 | 8.3 | 4.6 | 11.24 | 22.6 | 893 | 58.4833 | 5.4887
2019-10-20 13:30:00 | 2.98 | 181.0067 | 3.4267 | 198.8967 | 5.38 | 15.7533 | 5.0733 | 15.2933 | 23.06 | 893 | 57.57 | 4.558
2019-10-20 13:45:00 | 2.844 | 21.2767 | 3.2713 | 23.3793 | 4.814 | 19.0293 | 4.678 | 26.8367 | 23.2453 | 893 | 54.2827 | 5.1373
2019-10-20 14:00:00 | 2.5333 | 208.0767 | 2.92 | 228.6533 | 4.57 | 14.23 | 4.49 | 14.24 | 23.14 | 893 | 55.28 | 4.932
2019-10-20 14:15:00 | 2.9133 | 53.94 | 3.3467 | 59.2667 | 5.3067 | 15.97 | 5.0133 | 21.3833 | 23.5867 | 893 | 54.0233 | 6.118
2019-10-20 14:30:00 | 3.1467 | 195.78 | 3.6267 | 215.1333 | 5.8733 | 9.4767 | 5.3333 | 9.41 | 23.62 | 892.6 | 54.19 | 7.9073
2019-10-20 14:45:00 | 3.4933 | 57.93 | 4.02 | 63.6567 | 6.5 | 13.5867 | 6.1533 | 19.4267 | 23.586 | 892 | 53.3967 | 8.1413
2019-10-20 15:00:00 | 3.2667 | 75.3033 | 3.76 | 82.75 | 5.98 | 15.9 | 5.8 | 20.2333 | 23.6633 | 892 | 52.7633 | 10.108
2019-10-20 15:15:00 | 3.76 | 159.41 | 4.33 | 175.17 | 6.79 | 14.0367 | 6.5533 | 21.01 | 23.1733 | 892 | 52.2033 | 8.766
2019-10-20 15:30:00 | 3.5267 | 92.3767 | 4.0633 | 101.5033 | 6.3633 | 9.6633 | 6.06 | 11.5367 | 23.22 | 892 | 51.6167 | 4.91
2019-10-20 15:45:00 | 3.01 | 211.85 | 3.46 | 232.8 | 5.4867 | 11.0467 | 5.21 | 26.7733 | 23.5733 | 892 | 51.4567 | 4.6067
2019-10-20 16:00:00 | 3.2367 | 216.3367 | 3.72 | 237.7333 | 5.74 | 17.7333 | 5.27 | 22.4333 | 23.5333 | 892 | 50.6767 | 3.836
2019-10-20 16:15:00 | 2.51 | 297.9667 | 2.8933 | 327.4333 | 4.7733 | 7.52 | 4.2567 | 12.1133 | 23.2533 | 892 | 50.7887 | 0.976
2019-10-20 16:30:00 | 2.15 | 203.2067 | 2.48 | 223.3 | 4.1333 | 17.8667 | 3.7967 | 10.8667 | 23.1133 | 892 | 51.71 | 0.60133
2019-10-20 16:45:00 | 2.4733 | 180.4867 | 2.848 | 198.336 | 4.6347 | 17.3453 | 4.4167 | 14.2933 | 22.8413 | 892 | 52.188 | 1.5433
2019-10-20 17:00:00 | 2.54 | 53.7133 | 2.92 | 59.0233 | 4.79 | 16.3533 | 4.53 | 22.53 | 22.34 | 892 | 52.51 | 3.2587
2019-10-20 17:15:00 | 3.28 | 213.4567 | 3.77 | 234.5667 | 6.1733 | 16.4533 | 6.1067 | 30.1533 | 20.4233 | 891.9333 | 58.87 | 5.3327
2019-10-20 17:30:00 | 2.9867 | 189.4367 | 3.4433 | 208.1667 | 5.8667 | 11.5 | 5.7933 | 24.52 | 19.17 | 891 | 64.37 | 3.6707
2019-10-20 17:45:00 | 1.9933 | 119.4733 | 2.3033 | 131.28 | 3.4867 | 19.37 | 3.4467 | 236.2133 | 18.5633 | 891 | 63.9867 | 1.9753
2019-10-20 18:00:00 | 1.3867 | 103.8067 | 1.5967 | 114.0733 | 2.4467 | 9.0033 | 2.5867 | 28 | 18.37 | 890.6 | 64.356 | 0.69133
2019-10-20 18:15:00 | 0.72 | 247.0433 | 0.83 | 271.4667 | 1.2733 | 59.6667 | 1.3433 | 54.76 | 18.14 | 890 | 65.0733 | 0.084
2019-10-20 18:30:00 | 2.0267 | 140.0833 | 2.3367 | 153.9333 | 2.76 | 173.2333 | 3.1033 | 163.2 | 18.1467 | 890 | 67.6133 | 0.28467
2019-10-20 18:45:00 | 2.11 | 128.5667 | 2.4233 | 141.2667 | 2.7367 | 149.3333 | 3.04 | 163.1 | 18.0667 | 890 | 71.17 | 0.88533
2019-10-20 19:00:00 | 2.3833 | 150.1 | 2.7433 | 164.9333 | 3.0233 | 170.2667 | 3.2733 | 177.9667 | 17.82 | 890 | 73.67 | 1.1653
2019-10-20 19:15:00 | 2.2667 | 149.5233 | 2.6033 | 164.3 | 3.18 | 171 | 3.4033 | 180.2 | 17.47 | 890.0667 | 77.6067 | 1.866
2019-10-20 19:30:00 | 2.9787 | 150.3087 | 3.4247 | 165.1667 | 3.952 | 175.4 | 4.3687 | 182.9733 | 17.266 | 891 | 79.5587 | 2.4833
2019-10-20 19:45:00 | 2.4327 | 154.9227 | 2.796 | 170.2333 | 3.0793 | 174.4067 | 3.3987 | 186.8933 | 17.3087 | 891 | 80.2333 | 3.286
2019-10-20 20:00:00 | 2.78 | 144.24 | 3.2 | 158.5 | 3.505 | 189.6 | 3.655 | 185.75 | 17.248 | 891 | 80.7 | 3.462
2019-10-20 20:15:00 | 2.3133 | 139.2267 | 2.67 | 153 | 2.97 | 168.4667 | 3.51 | 175.8 | 17.1167 | 891 | 81.6 | 1.604
2019-10-20 20:30:00 | 1.98 | 170.8467 | 2.29 | 187.7333 | 2.5767 | 181.32 | 3.1233 | 178.2667 | 16.9767 | 891 | 82.6667 | 0.63533
2019-10-20 20:45:00 | 1.7933 | 145.79 | 2.0767 | 160.2 | 2.3833 | 171.0667 | 2.7033 | 174.3333 | 16.96 | 891 | 82.9 | 0.23133
2019-10-20 21:00:00 | 1.76 | 165.81 | 2.03 | 182.2 | 2.27 | 186.7333 | 2.59 | 175.4667 | 16.9133 | 891 | 83.3667 | 0.34733
2019-10-20 21:15:00 | 2.3867 | 170.8733 | 2.7467 | 187.7667 | 3.1233 | 203.9333 | 3.4033 | 194.6667 | 16.8067 | 891 | 83.6667 | 1.888
2019-10-20 21:30:00 | 2.92 | 175.42 | 3.36 | 192.7667 | 3.91 | 216.0667 | 3.8567 | 222.2667 | 16.68 | 891 | 84.7333 | 3.9987
2019-10-20 21:45:00 | 2.69 | 172.9 | 3.0967 | 190 | 3.8733 | 219 | 3.77 | 217.8 | 16.0967 | 891.0667 | 90.4 | 2.6953
2019-10-20 22:00:00 | 2.35 | 138.26 | 2.7033 | 151.9333 | 3.4467 | 216.1333 | 3.55 | 207.5333 | 15.4433 | 891.6 | 95.2667 | 2.098
2019-10-20 22:15:00 | 2.4133 | 168.42 | 2.7767 | 185.0667 | 3.1333 | 198 | 3.55 | 197.9333 | 15.13 | 891 | 97.2 | 0.98733
2019-10-20 22:30:00 | 2.44 | 171.76 | 2.8033 | 188.7333 | 3.1733 | 189.8 | 3.55 | 189.0667 | 15.0633 | 891 | 97.6 | 0.842
2019-10-20 22:45:00 | 1.3733 | 168.3833 | 1.58 | 185.0333 | 1.9767 | 201.7 | 2.4667 | 198.7333 | 14.97 | 891 | 97.8733 | 0
2019-10-20 23:00:00 | 0.7 | 192.8367 | 0.81333 | 211.9 | 1.3233 | 202.3 | 1.98 | 209.5333 | 14.942 | 891 | 97.86 | 0
2019-10-20 23:15:00 | 0.68667 | 194.9347 | 0.8 | 214.2133 | 1.2867 | 195.1 | 2.0933 | 206.6 | 14.8693 | 891 | 98.0067 | 0
2019-10-20 23:30:00 | 0.54 | 194.74 | 0.62 | 214 | 0.96 | 187.7 | 1.36 | 191 | 14.8333 | 891 | 98.3667 | 0
2019-10-20 23:45:00 | 0.50667 | 194.74 | 0.58333 | 214 | 0.95333 | 194.08 | 1.2667 | 202.1667 | 14.78 | 891 | 98.8 | 0.026