## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2019-10-21 00:00:00 | 0.70357 | 187.9514 | 0.80643 | 206.5429 | 1.2443 | 210.0571 | 1.4579 | 199.5714 | 14.7671 | 891 | 98.79 | 0
2019-10-21 00:15:00 | 0.22 | 75.9633 | 0.25 | 83.4667 | 0.37333 | 159.3 | 0.73 | 180 | 14.7 | 890.2667 | 98.64 | 0
2019-10-21 00:30:00 | 0.28667 | 29.95 | 0.33 | 32.9133 | 0.22667 | 64.38 | 0.44333 | 211 | 14.4867 | 890 | 96.5333 | 0
2019-10-21 00:45:00 | 0.752 | 69.5307 | 0.86533 | 76.4093 | 1.4207 | 204.6013 | 1.4493 | 219.6 | 14.3287 | 890 | 96.4333 | 0.18533
2019-10-21 01:00:00 | 1.44 | 191.5033 | 1.6567 | 210.4333 | 2.6733 | 220.4 | 2.7167 | 223.7333 | 14.4533 | 890 | 98.8333 | 0
2019-10-21 01:15:00 | 0.75333 | 143.79 | 0.87333 | 158 | 1.42 | 197.9 | 1.12 | 207.3 | 14.5293 | 890 | 99.7 | 0
2019-10-21 01:30:00 | 0.728 | 51.132 | 0.838 | 56.178 | 0.688 | 76.314 | 0.102 | 126.48 | 14.286 | 890 | 99.6 | 0
2019-10-21 01:45:00 | 2.2 | 292.8067 | 2.54 | 321.7667 | 3.01 | 23.0067 | 2.21 | 35.2567 | 13.6133 | 889.9333 | 99.4933 | 0
2019-10-21 02:00:00 | 2.26 | 250.9467 | 2.6067 | 275.7667 | 3.6767 | 14.3067 | 3.8767 | 14.5833 | 13.3067 | 889 | 99.9333 | 0
2019-10-21 02:15:00 | 2.3333 | 299.7333 | 2.69 | 329.3667 | 2.97 | 18.1167 | 2.78 | 13.3833 | 13.1367 | 889 | 100 | 0
2019-10-21 02:30:00 | 2.44 | 98.8467 | 2.8033 | 108.6133 | 3.95 | 9.8833 | 3.64 | 5.8967 | 13.086 | 889 | 100 | 0.322
2019-10-21 02:45:00 | 2.76 | 112.0067 | 3.1733 | 123.08 | 4.4367 | 6.3367 | 3.8867 | 21.5967 | 13.0133 | 888.9333 | 100 | 0.73
2019-10-21 03:00:00 | 2.6 | 304.6467 | 2.9933 | 334.7667 | 4.2167 | 11.55 | 4.0333 | 14.4833 | 12.9333 | 888 | 100 | 0.87333
2019-10-21 03:15:00 | 2.9533 | 315.8 | 3.4 | 347.0333 | 4.02 | 239.45 | 3.49 | 8.2333 | 12.85 | 888 | 100 | 0.17333
2019-10-21 03:30:00 | 3.0867 | 301.9667 | 3.5533 | 331.8333 | 3.92 | 7.7767 | 3.5167 | 2.3333 | 12.7633 | 888 | 100 | 0.38
2019-10-21 03:45:00 | 3.0533 | 217.5767 | 3.51 | 239.0967 | 3.5867 | 16.2833 | 3.1067 | 17.53 | 12.7253 | 888 | 100 | 0.626
2019-10-21 04:00:00 | 2.78 | 6.0233 | 3.1967 | 6.61 | 3.1667 | 8.33 | 3.08 | 5.8633 | 12.712 | 888 | 100 | 0.71133
2019-10-21 04:15:00 | 2.8 | 215.9833 | 3.22 | 237.34 | 4.1533 | 14.4567 | 3.7467 | 16.7067 | 12.6847 | 888 | 100 | 0.59933
2019-10-21 04:30:00 | 2.82 | 204.09 | 3.2467 | 224.2733 | 3.8 | 15.5233 | 3.62 | 12.3333 | 12.662 | 888 | 100 | 0.29133
2019-10-21 04:45:00 | 2.81 | 216.4067 | 3.2333 | 237.8067 | 3.7133 | 109.84 | 3.5167 | 12.0067 | 12.6487 | 888 | 100 | 0.756
2019-10-21 05:00:00 | 2.7567 | 219.9867 | 3.18 | 241.74 | 3.92 | 116.32 | 3.6633 | 8.2933 | 12.63 | 888 | 100 | 0.88733
2019-10-21 05:15:00 | 2.4033 | 20.89 | 2.7667 | 22.96 | 3.9367 | 13.01 | 3.69 | 12.1667 | 12.6147 | 888 | 100 | 0.346
2019-10-21 05:30:00 | 2.4033 | 164.9633 | 2.7667 | 181.2733 | 3.47 | 9.5433 | 3.1567 | 14.2733 | 12.592 | 887.6 | 100 | 0.12133
2019-10-21 05:45:00 | 2.58 | 319.7167 | 2.97 | 351.3333 | 3.64 | 14.76 | 3.4533 | 11.2433 | 12.5653 | 887 | 100 | 0.712
2019-10-21 06:00:00 | 2.6 | 319.7167 | 2.99 | 351.3333 | 3.8067 | 15.7 | 3.6867 | 8.6833 | 12.556 | 887 | 100 | 1.262
2019-10-21 06:15:00 | 2.7267 | 322.636 | 3.14 | 354.54 | 4.76 | 10.6633 | 4.5733 | 14.5067 | 12.5473 | 887 | 100 | 1.554
2019-10-21 06:30:00 | 2.6333 | 116.2 | 3.04 | 127.68 | 4.1533 | 16.01 | 3.94 | 16.6667 | 12.526 | 887 | 100 | 1.5947
2019-10-21 06:45:00 | 2.7533 | 113.4333 | 3.1667 | 124.6467 | 4.49 | 16.6733 | 4.3633 | 7.5967 | 12.506 | 887 | 100 | 1.858
2019-10-21 07:00:00 | 2.74 | 108.46 | 3.1467 | 119.1867 | 4.5767 | 16.0467 | 4.3967 | 18.1167 | 12.51 | 887 | 100 | 1.654
2019-10-21 07:15:00 | 2.6733 | 7.44 | 3.0867 | 8.17 | 4.26 | 8.8833 | 4.28 | 20.3333 | 12.502 | 887 | 100 | 3.0907
2019-10-21 07:30:00 | 3.02 | 214.5267 | 3.4733 | 235.7367 | 5.3267 | 14.13 | 5.2733 | 17.3733 | 12.49 | 887 | 100 | 4.93
2019-10-21 07:45:00 | 3.2133 | 241.7933 | 3.7067 | 265.7 | 5.4433 | 12.1833 | 5.5333 | 13.32 | 12.4467 | 887.0667 | 100 | 4.7813
2019-10-21 08:00:00 | 3.08 | 313.0667 | 3.54 | 344.0333 | 5.0167 | 8.7833 | 4.98 | 8.2133 | 12.416 | 888 | 100 | 3.438
2019-10-21 08:15:00 | 3.47 | 120.678 | 3.992 | 132.604 | 4.186 | 2.098 | 3.976 | 16.77 | 12.3807 | 888 | 100 | 3.4987
2019-10-21 08:30:00 | 3.2967 | 281.41 | 3.7933 | 309.2333 | 5.05 | 8.65 | 4.6867 | 17.2833 | 12.398 | 888 | 100 | 5.4927
2019-10-21 08:45:00 | 3.3 | 193.5033 | 3.8033 | 212.64 | 5.3167 | 4.8867 | 4.8833 | 18.08 | 12.4087 | 888 | 100 | 4.4907
2019-10-21 09:00:00 | 3.4733 | 211.9567 | 3.9967 | 232.9067 | 5.2167 | 9.2933 | 4.7967 | 10.6533 | 12.386 | 888 | 100 | 4.7567
2019-10-21 09:15:00 | 3.8067 | 289.96 | 4.3767 | 318.6333 | 5.1533 | 1.3567 | 4.8567 | 10.0733 | 12.4147 | 888 | 100 | 6.1427
2019-10-21 09:30:00 | 3.46 | 278.98 | 3.9767 | 306.5667 | 5.8133 | 2.41 | 5.7167 | 9.02 | 12.5133 | 888 | 100 | 8.966
2019-10-21 09:45:00 | 3.51 | 211.9567 | 4.0367 | 232.9167 | 6.08 | 4.7033 | 6.18 | 14.3833 | 12.5233 | 888 | 100 | 13.088
2019-10-21 10:00:00 | 3.7967 | 309.5533 | 4.37 | 340.1667 | 6.32 | 15.61 | 6.6533 | 9.51 | 12.55 | 888 | 100 | 12.212
2019-10-21 10:15:00 | 3.4033 | 222.6333 | 3.9133 | 244.65 | 5.8 | 10.85 | 6.1 | 127.7867 | 12.5267 | 888 | 100 | 11.2573
2019-10-21 10:30:00 | 3.4433 | 217.2333 | 3.96 | 238.7167 | 6.02 | 226.0167 | 6.1533 | 125.4067 | 12.568 | 888 | 100 | 10.614
2019-10-21 10:45:00 | 3.3533 | 107.93 | 3.8567 | 118.6 | 6.03 | 2.04 | 6.2407 | 8.4567 | 12.7467 | 888 | 100 | 10.2447
2019-10-21 11:00:00 | 3.22 | 156.1367 | 3.7033 | 171.5667 | 5.61 | 2.1667 | 6.0633 | 13.1567 | 12.7533 | 888 | 100 | 9.4533
2019-10-21 11:15:00 | 3.4767 | 32.6667 | 3.9967 | 35.8867 | 5.23 | 119.78 | 5.3467 | 11.65 | 12.7653 | 888 | 100 | 9.312
2019-10-21 11:30:00 | 3.39 | 43.0867 | 3.9033 | 47.34 | 5.4633 | 124.9467 | 5.5133 | 9.71 | 12.9333 | 888 | 100 | 11.432
2019-10-21 11:45:00 | 3.5467 | 310.3667 | 4.08 | 341.0667 | 5.7933 | 16.2867 | 6.13 | 2.91 | 13.0367 | 888 | 100 | 12.8893
2019-10-21 12:00:00 | 3.3933 | 313.5933 | 3.9 | 344.6 | 5.7333 | 64.08 | 5.9567 | 4.1767 | 12.954 | 888 | 100 | 11.5147
2019-10-21 12:15:00 | 3.2333 | 222.1033 | 3.72 | 244.06 | 5.4533 | 1.6533 | 5.9967 | 13.96 | 13.1233 | 887.2667 | 100 | 13.5093
2019-10-21 12:30:00 | 3.42 | 214.33 | 3.94 | 235.5267 | 5.7 | 3.6467 | 5.79 | 10.4933 | 13.1367 | 887 | 100 | 13.828
2019-10-21 12:45:00 | 3.4667 | 214.4667 | 3.9867 | 235.6667 | 5.62 | 11.72 | 5.8733 | 18.5533 | 13.0567 | 887 | 100 | 14.696
2019-10-21 13:00:00 | 3.3 | 155.74 | 3.7933 | 171.1333 | 5.9467 | 7.0267 | 6.1933 | 15.28 | 13.15 | 887 | 100 | 13.6533
2019-10-21 13:15:00 | 3.0133 | 110.6867 | 3.47 | 121.6267 | 5.4633 | 15.13 | 5.7267 | 20.5933 | 13.27 | 886.9333 | 100 | 13.086
2019-10-21 13:30:00 | 2.92 | 276.16 | 3.37 | 303.4667 | 5.41 | 8.2967 | 5.7533 | 12.98 | 13.53 | 886 | 100 | 13.7173
2019-10-21 13:45:00 | 3.0767 | 319.0433 | 3.54 | 350.6 | 5.56 | 14.3333 | 5.8607 | 22.0033 | 13.6433 | 886 | 100 | 17.3127
2019-10-21 14:00:00 | 3.4833 | 108.7633 | 4.0067 | 119.5133 | 5.74 | 6.8133 | 5.9033 | 6.2367 | 13.4633 | 886 | 100 | 18.8433
2019-10-21 14:15:00 | 3.53 | 292.5133 | 4.0567 | 321.4333 | 6.1533 | 241.7 | 6.5067 | 20.8267 | 13.3693 | 886 | 100 | 20.532
2019-10-21 14:30:00 | 3.8567 | 293.12 | 4.4367 | 322.1 | 6.9267 | 13.14 | 7.3533 | 20.34 | 13.4133 | 886 | 100 | 23.5947
2019-10-21 14:45:00 | 3.84 | 253.56 | 4.4167 | 278.6333 | 7.1267 | 20.6967 | 7.38 | 18.16 | 13.4787 | 885.9333 | 100 | 24.2807
2019-10-21 15:00:00 | 4.1133 | 86.0933 | 4.73 | 94.6067 | 7.5 | 15.5167 | 7.7733 | 15.8133 | 13.576 | 885 | 100 | 29.3533
2019-10-21 15:15:00 | 4.5833 | 213.93 | 5.2667 | 235.0833 | 6.8033 | 327.5667 | 6.6533 | 14.9067 | 13.4433 | 885 | 100 | 30.4267
2019-10-21 15:30:00 | 4.1967 | 13.3633 | 4.8333 | 14.6767 | 6.77 | 120.1467 | 6.82 | 15.5067 | 13.5567 | 885 | 100 | 34.4573
2019-10-21 15:45:00 | 4.676 | 98.2673 | 5.374 | 107.978 | 7.59 | 8.544 | 7.934 | 14.3313 | 13.6167 | 885 | 100 | 32.7753
2019-10-21 16:00:00 | 4.7433 | 115.74 | 5.45 | 127.18 | 8.17 | 16.6567 | 8.4167 | 21.3233 | 13.572 | 885 | 100 | 33.2193
2019-10-21 16:15:00 | 4.5933 | 28.0267 | 5.2833 | 30.79 | 7.7167 | 11.1467 | 7.9333 | 21.9567 | 13.48 | 885 | 100 | 37.4533
2019-10-21 16:30:00 | 4.8733 | 207.9667 | 5.6033 | 228.53 | 8.1633 | 232.56 | 8.4933 | 244.4767 | 13.3933 | 885 | 100 | 40.5147
2019-10-21 16:45:00 | 5.2733 | 249.55 | 6.0733 | 274.2333 | 9.2567 | 17.91 | 9.66 | 23.4433 | 13.3287 | 885 | 99.6667 | 40.0673
2019-10-21 17:00:00 | 4.96 | 108.5033 | 5.7067 | 119.2333 | 9.2967 | 16.7767 | 9.7267 | 22.6033 | 13.274 | 885 | 99.9333 | 37.526
2019-10-21 17:15:00 | 4.5267 | 215.86 | 5.2033 | 237.2 | 7.9133 | 10.1067 | 8.4933 | 25.81 | 13.2107 | 885 | 99.7333 | 33.87
2019-10-21 17:30:00 | 4.2667 | 106.98 | 4.9167 | 117.5533 | 7.1267 | 236.02 | 7.32 | 19.9767 | 13.26 | 885 | 98.8 | 37.7993
2019-10-21 17:45:00 | 4.9133 | 303.4933 | 5.65 | 333.5 | 8.3333 | 351.7 | 8.3167 | 6.8833 | 13.2667 | 885 | 98.3667 | 43.1773
2019-10-21 18:00:00 | 5.5067 | 306.8267 | 6.3367 | 337.1667 | 9.5733 | 343.3667 | 9.21 | 8.5567 | 13.1133 | 885 | 98.46 | 46.6473
2019-10-21 18:15:00 | 5.93 | 253.5067 | 6.82 | 278.5667 | 10.4633 | 15.3633 | 10.5733 | 20.2533 | 12.9467 | 885 | 98.4667 | 44.1513
2019-10-21 18:30:00 | 5.4167 | 171.6 | 6.2267 | 188.5667 | 9.7767 | 10.2167 | 10.0933 | 22.1 | 12.74 | 884.6 | 98.8667 | 42.5653
2019-10-21 18:45:00 | 5.0867 | 270.36 | 5.8533 | 297.1 | 9.09 | 27.0767 | 8.9733 | 26.1667 | 12.6693 | 884 | 98.5 | 41.526
2019-10-21 19:00:00 | 4.86 | 270.7333 | 5.6 | 297.5 | 8.3567 | 18.3433 | 8.1533 | 21.78 | 12.64 | 884 | 98.5 | 41.9333
2019-10-21 19:15:00 | 5.12 | 259.45 | 5.89 | 285.1 | 8.58 | 7.85 | 8.4 | 21.15 | 12.68 | 884.6 | 98 | 45.221
2019-10-21 19:30:00 | 5.7967 | 321.08 | 6.6667 | 352.8333 | 10.1833 | 348.8 | 9.8433 | 10.58 | 12.5867 | 885 | 98.1667 | 45.948
2019-10-21 19:45:00 | 5.7767 | 108.76 | 6.65 | 119.5067 | 10.71 | 16.7867 | 10.6033 | 20.8467 | 12.57 | 885 | 98.0667 | 44.546
2019-10-21 20:00:00 | 5.19 | 270.095 | 5.97 | 296.8 | 9.69 | 18.985 | 9.785 | 22.68 | 12.425 | 885 | 98.85 | 41.386
2019-10-21 20:15:00 | 4.72 | 33.44 | 5.43 | 36.75 | 8.41 | 3.45 | 8.51 | 20.98 | 12.28 | 885 | 99.3 | 35.922
2019-10-21 20:30:00 | 4.58 | 96.73 | 5.265 | 106.295 | 8.02 | 20.575 | 7.82 | 24.95 | 12.272 | 885.1 | 98.9 | 36.479
2019-10-21 20:45:00 | 4.9913 | 78.3287 | 5.744 | 86.0733 | 8.4753 | 16.058 | 8.492 | 16.7173 | 12.35 | 886 | 98.1333 | 40.118
2019-10-21 21:00:00 | 5.15 | 7.9667 | 5.9267 | 8.7467 | 8.7433 | 11.6867 | 8.456 | 12.0167 | 12.4 | 886 | 97.5 | 39.6553
2019-10-21 21:15:00 | 5.46 | 13.4867 | 6.28 | 14.8067 | 8.8967 | 233.9433 | 8.67 | 15.0633 | 12.49 | 886 | 96.4333 | 38.4833
2019-10-21 21:30:00 | 5.06 | 190.7733 | 5.8267 | 209.6333 | 8.7633 | 4.3033 | 8.91 | 12.4233 | 12.5167 | 886 | 96.1 | 38.8387
2019-10-21 21:45:00 | 5.1267 | 276.9167 | 5.8933 | 304.3 | 9.1367 | 16.7633 | 9.4167 | 20.37 | 12.3767 | 886 | 96.6667 | 35.634
2019-10-21 22:00:00 | 5.0667 | 74.61 | 5.8333 | 81.98 | 8.7167 | 28.01 | 8.4167 | 18.1167 | 12.3567 | 886 | 96.6 | 37.86
2019-10-21 22:15:00 | 4.8667 | 199.1667 | 5.6067 | 218.8633 | 8.5233 | 332.9667 | 8.3767 | 9.18 | 12.4067 | 886.6667 | 96.0333 | 38.6747
2019-10-21 22:30:00 | 4.6333 | 166.8933 | 5.3267 | 183.3967 | 8.33 | 123.0533 | 8.33 | 18.2067 | 12.32 | 886 | 96.5667 | 39.0013
2019-10-21 22:45:00 | 4.5533 | 17.2033 | 5.24 | 18.8967 | 8.3833 | 22.17 | 8.59 | 28.24 | 12.1467 | 886 | 97.6 | 41.312
2019-10-21 23:00:00 | 4.55 | 47.43 | 5.235 | 52.115 | 8.795 | 17.445 | 8.925 | 20.215 | 12.015 | 885.9 | 98.1 | 40.996
2019-10-21 23:15:00 | 4.58 | 23.2 | 5.27 | 25.5 | 7.67 | 11.81 | 7.77 | 25.67 | 12.04 | 885.6 | 97.3 | 42.38
2019-10-21 23:30:00 | 4.28 | 300.76 | 4.93 | 330.5 | 7.83 | 9.87 | 8.02 | 16.65 | 12.09 | 885 | 97.2 | 46.75
2019-10-21 23:45:00 | 4.28 | 300.76 | 4.93 | 330.5 | 7.83 | 9.87 | 8.02 | 16.65 | 12.09 | 885 | 97.2 | 46.75