## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2019-10-23 00:00:00 | 2.7 | 292.56 | 3.1 | 321.5 | 5.15 | 25.01 | 4.71 | 30.77 | 13.73 | 888 | 92.9 | 1.834
2019-10-23 00:15:00 | 2.35 | 254.99 | 2.7 | 280.2 | 4.64 | 25.57 | 4.35 | 20.17 | 13.37 | 888 | 94.6 | 0.792
2019-10-23 00:30:00 | 2.35 | 254.99 | 2.7 | 280.2 | 4.64 | 25.57 | 4.35 | 20.17 | 13.37 | 888 | 94.6 | 0.792
2019-10-23 00:45:00 | 2.02 | 320.97 | 2.32 | 352.7 | 3.5 | 1.02 | 3.26 | 8.85 | 13.218 | 887 | 94.8 | 0.342
2019-10-23 01:00:00 | 2.08 | 308.04 | 2.4 | 338.5 | 3.595 | 1.58 | 3.5 | 13.31 | 13.275 | 887 | 93.95 | 0
2019-10-23 01:15:00 | 2.08 | 308.04 | 2.4 | 338.5 | 3.595 | 1.58 | 3.5 | 13.31 | 13.275 | 887 | 93.95 | 0
2019-10-23 01:30:00 | 1.84 | 306.22 | 2.13 | 336.5 | 2.82 | 17.69 | 2.72 | 23.29 | 13.32 | 887 | 93.1 | 0
2019-10-23 01:45:00 | 1.84 | 306.22 | 2.13 | 336.5 | 2.82 | 17.69 | 2.72 | 23.29 | 13.32 | 887 | 93.1 | 0
2019-10-23 02:00:00 | 1.9 | 308.85 | 2.18 | 339.4 | 2.43 | 4.42 | 2.56 | 15.63 | 13.32 | 887 | 92.8 | 0
2019-10-23 02:15:00 | 1.8067 | 323.5793 | 2.0867 | 355.5667 | 2.35 | 226.8333 | 1.9133 | 240.7833 | 13.2973 | 886 | 92.5 | 0
2019-10-23 02:30:00 | 2.1533 | 299.49 | 2.48 | 329.1 | 3.83 | 9.8067 | 4.14 | 7.5167 | 13.1467 | 886 | 94.9667 | 3.2787
2019-10-23 02:45:00 | 2.3867 | 280.7933 | 2.75 | 308.5667 | 4.47 | 117.8333 | 4.7 | 4.43 | 13 | 886 | 96.4333 | 5.8293
2019-10-23 03:00:00 | 2.6 | 300.9467 | 2.9967 | 330.7 | 4.9433 | 123.86 | 5.24 | 12.3233 | 12.952 | 886 | 97.1667 | 8.332
2019-10-23 03:15:00 | 3.04 | 43.5133 | 3.4933 | 47.82 | 5.68 | 27.1067 | 5.8133 | 243.4733 | 12.88 | 886 | 97.6 | 10.05
2019-10-23 03:30:00 | 2.8933 | 188.7067 | 3.3267 | 207.3733 | 4.62 | 26.3467 | 4.9067 | 14.1467 | 12.864 | 886 | 97.3333 | 10.032
2019-10-23 03:45:00 | 3.2 | 36.41 | 3.68 | 40.01 | 5.4 | 8.65 | 5.27 | 16.26 | 12.864 | 886 | 97.14 | 9.679
2019-10-23 04:00:00 | 2.9933 | 19.5 | 3.44 | 21.42 | 5.22 | 231.5933 | 5.08 | 236.4633 | 12.8533 | 886 | 96.8333 | 8.1247
2019-10-23 04:15:00 | 2.3867 | 15.48 | 2.7433 | 17.0067 | 4.4267 | 231.6067 | 4.3633 | 7.04 | 12.8327 | 886 | 96.9067 | 2.5367
2019-10-23 04:30:00 | 2.0533 | 205.8933 | 2.37 | 226.26 | 2.9267 | 1.1333 | 3.27 | 27.4267 | 12.838 | 886 | 96.6 | 0
2019-10-23 04:45:00 | 2.3933 | 218.08 | 2.7533 | 239.6367 | 3.2167 | 154.8733 | 3.0667 | 26.56 | 12.9533 | 886 | 95.5333 | 0
2019-10-23 05:00:00 | 1.6 | 188.5933 | 1.8467 | 207.2367 | 2.89 | 119.0333 | 2.8933 | 6.5467 | 13 | 886 | 95.8 | 0
2019-10-23 05:15:00 | 1.8533 | 299.1733 | 2.13 | 328.7667 | 2.92 | 2.6133 | 2.8267 | 0.27333 | 12.8967 | 886 | 96.4667 | 0
2019-10-23 05:30:00 | 1.76 | 99.3133 | 2.03 | 109.1333 | 3.2133 | 11.1667 | 2.6733 | 0.37333 | 12.8367 | 886 | 97.2667 | 0
2019-10-23 05:45:00 | 1.9533 | 309.8333 | 2.2533 | 340.4667 | 3.7467 | 15.9133 | 3.34 | 76.87 | 12.7267 | 886 | 98.4667 | 0
2019-10-23 06:00:00 | 1.8467 | 298.72 | 2.1267 | 328.2667 | 3.3333 | 10.24 | 3.2133 | 16.0567 | 12.64 | 886 | 99.0667 | 0.148
2019-10-23 06:15:00 | 2.08 | 214.4767 | 2.39 | 235.68 | 3.2433 | 30.5833 | 3.2633 | 5.51 | 12.5767 | 886 | 99.7 | 0.72733
2019-10-23 06:30:00 | 2.06 | 212.8367 | 2.37 | 233.88 | 2.8167 | 240.0767 | 3.05 | 14.5167 | 12.5167 | 886 | 99.94 | 0.79333
2019-10-23 06:45:00 | 2.54 | 313.7333 | 2.93 | 344.7667 | 3.3233 | 2.4667 | 3.4167 | 14.76 | 12.45 | 886 | 100 | 0.68867
2019-10-23 07:00:00 | 2.74 | 321.9267 | 3.15 | 353.7667 | 3.63 | 5.4467 | 3.67 | 11.4267 | 12.426 | 886 | 100 | 1.3213
2019-10-23 07:15:00 | 2.8333 | 1.96 | 3.2667 | 2.1567 | 4.2267 | 3.8733 | 4.2633 | 8.1367 | 12.428 | 886 | 100 | 1.3327
2019-10-23 07:30:00 | 2.74 | 206 | 3.1467 | 226.3633 | 4.2133 | 236.0667 | 4.05 | 3.37 | 12.44 | 886.4 | 100 | 0.61867
2019-10-23 07:45:00 | 2.7367 | 121.2333 | 3.15 | 133.22 | 4.0467 | 4.34 | 3.64 | 4.26 | 12.4553 | 887 | 100 | 1.002
2019-10-23 08:00:00 | 2.8567 | 108.5133 | 3.29 | 119.24 | 3.7 | 3.7267 | 3.6 | 28.02 | 12.478 | 887 | 100 | 0.17933
2019-10-23 08:15:00 | 2.542 | 300.3207 | 2.9287 | 330.0207 | 3.6273 | 124.0273 | 3.4513 | 3.098 | 12.5507 | 887 | 100 | 0
2019-10-23 08:30:00 | 2.42 | 312.7067 | 2.7833 | 343.6333 | 3.0067 | 353 | 3.17 | 8.5733 | 12.66 | 887 | 100 | 0
2019-10-23 08:45:00 | 2.6267 | 207.6233 | 3.02 | 228.15 | 3.1467 | 22.5567 | 3.2533 | 6.97 | 12.84 | 887 | 100 | 0
2019-10-23 09:00:00 | 2.3973 | 1.2073 | 2.756 | 1.3193 | 3.3173 | 3.2407 | 3.4413 | 5.7007 | 12.9627 | 887.4 | 99.92 | 0.085333
2019-10-23 09:15:00 | 2.4467 | 319.9 | 2.82 | 351.5333 | 2.8467 | 115.4 | 2.9933 | 7.7267 | 13.0633 | 888 | 99.2 | 0
2019-10-23 09:30:00 | 2.234 | 313.272 | 2.574 | 344.26 | 2.996 | 133.238 | 3.02 | 0.24 | 13.238 | 888 | 98.82 | 0
2019-10-23 09:45:00 | 1.9267 | 212.01 | 2.2267 | 232.9767 | 2.6107 | 1.2833 | 2.68 | 20.2333 | 13.5567 | 888.0667 | 98.0333 | 0
2019-10-23 10:00:00 | 1.5067 | 217.47 | 1.7333 | 238.9767 | 1.9533 | 3.65 | 1.94 | 10.5867 | 13.8233 | 889 | 97.1667 | 0
2019-10-23 10:15:00 | 1.2867 | 18.3767 | 1.49 | 20.1867 | 1.5567 | 121.9 | 1.14 | 8.7 | 14.1333 | 889 | 96.1 | 0
2019-10-23 10:30:00 | 1.02 | 18.49 | 1.1767 | 20.3133 | 0.71667 | 353.78 | 0.69333 | 208.3067 | 14.1333 | 889 | 94.9667 | 0
2019-10-23 10:45:00 | 0.63333 | 184.45 | 0.73 | 202.6833 | 0.45 | 117.9 | 0.32333 | 171.02 | 14.56 | 889 | 94.4333 | 0
2019-10-23 11:00:00 | 0.3 | 11.95 | 0.35 | 13.1233 | 0.20333 | 124.8467 | 0.11 | 144.92 | 15.02 | 889 | 92.7 | 0
2019-10-23 11:15:00 | 0.564 | 76.5227 | 0.64667 | 84.0887 | 0.68733 | 69.312 | 0.56067 | 73.6373 | 16.1747 | 889 | 88.9267 | 0
2019-10-23 11:30:00 | 1.52 | 175.0033 | 1.7567 | 192.3 | 1.7667 | 167.5333 | 1.64 | 137.7667 | 16.9867 | 889 | 85.2 | 0
2019-10-23 11:45:00 | 2.1933 | 131.7667 | 2.5233 | 144.8 | 2.4967 | 170.9333 | 2.3567 | 176.7 | 17.1467 | 889 | 83.6 | 0
2019-10-23 12:00:00 | 2.26 | 123.9467 | 2.5967 | 136.2 | 2.6033 | 161.4 | 2.6167 | 181.1 | 17.56 | 889 | 80.92 | 0.031333
2019-10-23 12:15:00 | 2.92 | 147.54 | 3.3633 | 162.1333 | 3.31 | 177.5667 | 3.4267 | 183.0333 | 17.4133 | 889 | 78.7633 | 1.484
2019-10-23 12:30:00 | 3.2867 | 157.0133 | 3.7833 | 172.5333 | 3.8767 | 165.6333 | 3.7933 | 182.4333 | 17.36 | 889 | 79.51 | 1.5313
2019-10-23 12:45:00 | 2.4533 | 153.34 | 2.8233 | 168.5 | 2.9233 | 166.6 | 3.17 | 174.3 | 17.27 | 889 | 80.7 | 0.80467
2019-10-23 13:00:00 | 2.5133 | 138.9667 | 2.9033 | 152.7 | 3.19 | 164.2 | 3.2567 | 198.9 | 17.2967 | 889 | 82.0333 | 1.0807
2019-10-23 13:15:00 | 3.33 | 161.0433 | 3.8267 | 176.9667 | 3.83 | 177.1333 | 3.68 | 183.0667 | 17.51 | 889 | 81.0667 | 1.5793
2019-10-23 13:30:00 | 3.21 | 144.6633 | 3.7 | 158.9667 | 3.8233 | 167.2667 | 3.82 | 190.8667 | 17.2367 | 888.6 | 81.76 | 1.11
2019-10-23 13:45:00 | 2.7633 | 158.6533 | 3.1833 | 174.3333 | 3.4733 | 198.3 | 3.8633 | 204.4333 | 16.93 | 888 | 82.8333 | 0.80133
2019-10-23 14:00:00 | 2.7633 | 123.52 | 3.1833 | 135.7333 | 3.2933 | 191.3667 | 3.4833 | 196.7667 | 16.5367 | 888 | 84.8333 | 1.2047
2019-10-23 14:15:00 | 2.514 | 137.4153 | 2.8933 | 151 | 3.088 | 176.2133 | 3.2893 | 188.0267 | 16.1627 | 887.2667 | 87.34 | 0.99467
2019-10-23 14:30:00 | 2.2233 | 125.2233 | 2.5667 | 137.6 | 2.7533 | 161.6667 | 2.72 | 188.2667 | 15.9133 | 887 | 88.9667 | 0
2019-10-23 14:45:00 | 2.34 | 127.1333 | 2.69 | 139.7 | 2.7933 | 160.9 | 2.9933 | 164.9333 | 15.63 | 887 | 89.4333 | 1.2193
2019-10-23 15:00:00 | 2.76 | 152.4867 | 3.1833 | 167.5667 | 3.4067 | 154.9667 | 3.72 | 161.0667 | 15.4567 | 887 | 90.14 | 1.7047
2019-10-23 15:15:00 | 2.2733 | 136.42 | 2.6133 | 149.9 | 2.79 | 160.4867 | 3 | 174.4 | 15.2267 | 887 | 91.7 | 1.8967
2019-10-23 15:30:00 | 2.5333 | 140.4133 | 2.92 | 154.3 | 3.19 | 152.4333 | 3.4733 | 169.5333 | 15.0333 | 887 | 93.1 | 2.6187
2019-10-23 15:45:00 | 2.4633 | 146.9 | 2.84 | 161.4333 | 3.1333 | 181.7667 | 3.7333 | 178.0333 | 14.7567 | 886.3333 | 93.8933 | 1.5
2019-10-23 16:00:00 | 2.01 | 174.8067 | 2.32 | 192.1 | 2.6667 | 174.1 | 2.9867 | 184.8333 | 14.5833 | 887 | 94.84 | 2.3807
2019-10-23 16:15:00 | 1.9333 | 163.4467 | 2.23 | 179.6 | 2.5767 | 203 | 2.8 | 203.4333 | 14.5 | 886.9333 | 95.9333 | 3.686
2019-10-23 16:30:00 | 2.2867 | 169.94 | 2.63 | 186.7333 | 3.0433 | 205.9333 | 3.1133 | 201.8333 | 14.5133 | 886 | 95.6667 | 4.5367
2019-10-23 16:45:00 | 2.52 | 159.7333 | 2.9 | 175.5333 | 3.32 | 203.3267 | 3.4567 | 195.0667 | 14.64 | 886.0667 | 94.34 | 5.5907
2019-10-23 17:00:00 | 1.96 | 156.28 | 2.2667 | 171.7333 | 2.4067 | 177.7 | 2.9233 | 198.2 | 14.8533 | 887 | 92.74 | 7.0447
2019-10-23 17:15:00 | 1.8 | 125.5767 | 2.08 | 138 | 2.22 | 193.6333 | 2.84 | 184.2667 | 14.9153 | 887 | 92.3667 | 7.438
2019-10-23 17:30:00 | 2.0467 | 154.77 | 2.3533 | 170.0667 | 2.64 | 204.7 | 3.1 | 182.6 | 14.9633 | 887 | 91.3 | 6.8107
2019-10-23 17:45:00 | 2.0133 | 141.4467 | 2.3167 | 155.4333 | 2.4967 | 187.2667 | 3.076 | 189.2667 | 15.008 | 887 | 91.4333 | 5.6867
2019-10-23 18:00:00 | 1.8867 | 150.5467 | 2.17 | 165.4333 | 2.21 | 180.2667 | 2.66 | 186.2 | 14.96 | 887 | 91.3 | 6.5593
2019-10-23 18:15:00 | 2.0533 | 170.99 | 2.3667 | 187.9 | 2.35 | 180.3 | 2.65 | 199.9333 | 14.9253 | 887 | 90.6667 | 6.6007
2019-10-23 18:30:00 | 2.32 | 168.9233 | 2.6667 | 185.6333 | 2.73 | 184.5667 | 2.9033 | 202.2 | 14.92 | 887 | 90.36 | 5.208
2019-10-23 18:45:00 | 2.2433 | 164.5267 | 2.5767 | 180.8 | 2.6533 | 190.9867 | 3.0333 | 183.9333 | 14.89 | 887 | 90.6333 | 5.8607
2019-10-23 19:00:00 | 2.33 | 148.82 | 2.6767 | 163.5333 | 2.7867 | 191.7333 | 2.92 | 191.1333 | 14.9167 | 887 | 90.5 | 5.1113
2019-10-23 19:15:00 | 2.2413 | 170.6067 | 2.5773 | 187.4733 | 2.6527 | 206.34 | 2.832 | 187.2467 | 15.002 | 887 | 90.3 | 4.676
2019-10-23 19:30:00 | 2.4533 | 165.83 | 2.8267 | 182.2333 | 2.82 | 198.1333 | 3.0533 | 197.0333 | 15.026 | 887.4 | 90.5667 | 4.774
2019-10-23 19:45:00 | 2.4833 | 167.7433 | 2.8567 | 184.3333 | 3 | 188.1667 | 3.4733 | 195.4333 | 14.9467 | 888 | 91.3667 | 4.474
2019-10-23 20:00:00 | 2.355 | 164.255 | 2.71 | 180.5 | 3 | 192.1 | 3.45 | 195.55 | 14.94 | 888 | 91.2 | 3.707
2019-10-23 20:15:00 | 1.04 | 166.26 | 1.21 | 182.7 | 1.72 | 206.4 | 2.05 | 198.5 | 14.954 | 888 | 90.7 | 2.7
2019-10-23 20:30:00 | 0.92 | 156.74 | 1.06 | 172.2333 | 1.4767 | 201.4333 | 1.9967 | 199.3667 | 14.85 | 888 | 90.84 | 2.716
2019-10-23 20:45:00 | 1.3233 | 165.5033 | 1.53 | 181.8667 | 1.9233 | 189.7 | 2.16 | 200.5 | 14.8 | 888.0667 | 90.9267 | 1.8
2019-10-23 21:00:00 | 1.2393 | 138.9407 | 1.43 | 152.68 | 1.8073 | 176.7533 | 2.0293 | 195.7933 | 14.7787 | 889 | 91.4733 | 1.6307
2019-10-23 21:15:00 | 1.142 | 141.5 | 1.3273 | 155.5 | 2.0207 | 169.7667 | 2.0627 | 184.66 | 14.626 | 889 | 92.48 | 1.1673
2019-10-23 21:30:00 | 1.1967 | 141.576 | 1.3833 | 155.58 | 2.01 | 165.5333 | 2.2867 | 178.42 | 14.52 | 889 | 92.74 | 1.108
2019-10-23 21:45:00 | 1.6733 | 173.3267 | 1.92 | 190.4667 | 2.2467 | 168.7667 | 2.7167 | 179.9667 | 14.5133 | 889 | 92.6067 | 2.474
2019-10-23 22:00:00 | 1.92 | 165.6267 | 2.2067 | 182 | 2.6467 | 179.9667 | 3.1433 | 197.5667 | 14.5067 | 889 | 92.9667 | 1.7693
2019-10-23 22:15:00 | 2.1633 | 178.7147 | 2.49 | 196.3933 | 2.7933 | 187.8 | 3.2367 | 193.5333 | 14.506 | 889 | 92.9333 | 2.2947
2019-10-23 22:30:00 | 2.182 | 180.326 | 2.51 | 198.16 | 2.778 | 188.48 | 2.794 | 199.1 | 14.558 | 889 | 92.6 | 2.2533
2019-10-23 22:45:00 | 1.9867 | 172.5333 | 2.2833 | 189.6 | 2.4867 | 185.3667 | 2.5633 | 193.2333 | 14.5267 | 889 | 93 | 0.90267
2019-10-23 23:00:00 | 1.5667 | 170.78 | 1.8033 | 187.6667 | 2.2333 | 180.0333 | 2.5567 | 182.7667 | 14.42 | 889 | 94.2 | 0.78467
2019-10-23 23:15:00 | 0.28667 | 174.1833 | 0.34333 | 191.4133 | 0.53333 | 181.6333 | 1.3533 | 175.2667 | 14.2167 | 889 | 95.4 | 0.52533
2019-10-23 23:30:00 | 0.046667 | 174.326 | 0.056667 | 191.56 | 0.093333 | 136.6333 | 0.22 | 145.4667 | 14.182 | 889 | 95.5333 | 0
2019-10-23 23:45:00 | 0.40667 | 276.5467 | 0.46667 | 303.9 | 0.54 | 15.0667 | 0.55333 | 62.9633 | 14.1547 | 889 | 95.4333 | 0