## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2019-10-24 00:00:00 | 1.48 | 316.59 | 1.705 | 347.9 | 2.095 | 3.67 | 2.03 | 19.15 | 14.138 | 889 | 95.8286 | 0
2019-10-24 00:15:00 | 1.84 | 302.12 | 2.13 | 332 | 2.66 | 0.15 | 2.43 | 1.36 | 14.05 | 889 | 96.4 | 0
2019-10-24 00:30:00 | 2.35 | 297.02 | 2.7 | 326.4 | 3.78 | 14.34 | 3.36 | 25.64 | 13.99 | 889 | 97.7 | 0
2019-10-24 00:45:00 | 2.35 | 297.02 | 2.7 | 326.4 | 3.78 | 14.34 | 3.36 | 25.64 | 13.99 | 889 | 97.7 | 0
2019-10-24 01:00:00 | 2.29 | 305.67 | 2.635 | 335.9 | 2.745 | 178.22 | 2.955 | 12.945 | 13.678 | 889 | 99.4 | 0.404
2019-10-24 01:15:00 | 2.55 | 319.06 | 2.93 | 350.6 | 4.44 | 12.54 | 4.47 | 9.92 | 13.6 | 889 | 99.4 | 5.213
2019-10-24 01:30:00 | 2.785 | 10.715 | 3.21 | 11.76 | 5.145 | 48.23 | 4.845 | 10.345 | 13.465 | 889 | 98.99 | 7.472
2019-10-24 01:45:00 | 2.785 | 10.715 | 3.21 | 11.76 | 5.145 | 48.23 | 4.845 | 10.345 | 13.465 | 889 | 98.99 | 7.472
2019-10-24 02:00:00 | 3.055 | 150.815 | 3.515 | 165.72 | 5.025 | 180.935 | 5.08 | 11.615 | 13.365 | 889 | 98.7 | 5.88
2019-10-24 02:15:00 | 3.24 | 9.12 | 3.73 | 10.01 | 4.95 | 11.45 | 5 | 9.19 | 13.338 | 889 | 99 | 6.753
2019-10-24 02:30:00 | 3.195 | 175.505 | 3.68 | 192.865 | 5.185 | 7.4 | 5.37 | 12.055 | 13.28 | 889 | 99.1 | 8.13
2019-10-24 02:45:00 | 3.18 | 37.37 | 3.66 | 41.07 | 5.64 | 11.33 | 5.65 | 13.42 | 13.23 | 889 | 99.16 | 11.146
2019-10-24 03:00:00 | 3.235 | 172.14 | 3.72 | 189.155 | 5.62 | 4.815 | 5.55 | 10.04 | 13.192 | 888.9 | 99.51 | 9.658
2019-10-24 03:15:00 | 3.09 | 305.95 | 3.55 | 336.2 | 5.57 | 6.2 | 5.82 | 12.93 | 13.21 | 888 | 99.4 | 5.982
2019-10-24 03:30:00 | 3.17 | 150.38 | 3.65 | 165.245 | 5.17 | 2.36 | 4.93 | 16.115 | 13.232 | 889 | 99.2 | 4.407
2019-10-24 03:45:00 | 3.42 | 302.94 | 3.94 | 332.9 | 4.47 | 348.4 | 4.54 | 11.64 | 13.31 | 888.8 | 98.5 | 5.268
2019-10-24 04:00:00 | 3.412 | 3.864 | 3.928 | 4.24 | 4.708 | 10.766 | 4.66 | 13.976 | 13.322 | 888 | 98.3 | 4.9267
2019-10-24 04:15:00 | 3.07 | 300.86 | 3.53 | 330.6 | 5.34 | 5.64 | 5.11 | 13.42 | 13.27 | 888 | 98.7 | 4.005
2019-10-24 04:30:00 | 2.94 | 160.375 | 3.38 | 176.225 | 5.32 | 180.44 | 4.975 | 3.43 | 13.195 | 888 | 99.1 | 5.007
2019-10-24 04:45:00 | 2.96 | 310.31 | 3.4 | 341 | 4.43 | 356.7 | 4.34 | 12.32 | 13.15 | 888 | 99.16 | 5.079
2019-10-24 05:00:00 | 2.9067 | 117.4233 | 3.3533 | 129.0267 | 5.1433 | 120.8133 | 5.1067 | 10.7067 | 13.142 | 888.6 | 99.3 | 8.5493
2019-10-24 05:15:00 | 2.98 | 0.78 | 3.43 | 0.85 | 5.57 | 1.94 | 5.36 | 3.55 | 13.16 | 888.6 | 99.3 | 10.205
2019-10-24 05:30:00 | 2.945 | 142.07 | 3.385 | 156.12 | 5.345 | 189.22 | 5.38 | 14.39 | 13.151 | 889 | 99.29 | 12.661
2019-10-24 05:45:00 | 2.92 | 319.68 | 3.37 | 351.3 | 5.05 | 18.16 | 5.13 | 29.7 | 13.154 | 889 | 99.4 | 12.672
2019-10-24 06:00:00 | 2.99 | 188.0467 | 3.45 | 206.6433 | 5.5733 | 5.6067 | 5.7167 | 18.2933 | 13.086 | 889 | 99.9 | 14.1313
2019-10-24 06:15:00 | 3.2733 | 25.27 | 3.7733 | 27.7633 | 5.4267 | 116.6533 | 5.2133 | 15.9267 | 13.066 | 889 | 100 | 20.998
2019-10-24 06:30:00 | 3.7667 | 45.1167 | 4.3333 | 49.5767 | 6.38 | 352.4667 | 6.0133 | 240.98 | 13.07 | 889.4 | 100 | 35.216
2019-10-24 06:45:00 | 4.5267 | 22.3667 | 5.21 | 24.5633 | 7.6233 | 2.94 | 7.68 | 14.1333 | 13.0453 | 890 | 100 | 41.1153
2019-10-24 07:00:00 | 4.86 | 123.68 | 5.5967 | 135.8967 | 8.97 | 17.7667 | 9.26 | 19.5733 | 13.016 | 890 | 100 | 46.6653
2019-10-24 07:15:00 | 6.372 | 190.854 | 7.33 | 209.7233 | 11.5713 | 18.4733 | 12.2753 | 26.278 | 12.91 | 890 | 100 | 58.4073
2019-10-24 07:30:00 | 7.7967 | 218.3667 | 8.9667 | 239.9633 | 13.6933 | 20.9833 | 14.0467 | 30.5767 | 11.8767 | 890.4 | 100 | 59.8767
2019-10-24 07:45:00 | 7.98 | 81.2533 | 9.18 | 89.28 | 14.1033 | 24.5667 | 14.4767 | 41.9567 | 9.9367 | 891 | 99.8467 | 61.954
2019-10-24 08:00:00 | 8.0533 | 272.16 | 9.26 | 299.0667 | 14.3433 | 20.42 | 14.2833 | 34.0167 | 8.9233 | 891 | 99.9 | 63.45
2019-10-24 08:15:00 | 8.9367 | 187.13 | 10.2767 | 205.64 | 16.1667 | 18.5 | 16.3633 | 30.8733 | 8.2033 | 891 | 100 | 63.2967
2019-10-24 08:30:00 | 10.21 | 204.9167 | 11.7433 | 225.1733 | 18.36 | 24.2867 | 18.8833 | 33.3533 | 7.7633 | 891 | 100 | 63.178
2019-10-24 08:45:00 | 10.0067 | 22.7167 | 11.51 | 24.9633 | 18.1 | 21.1733 | 18.3067 | 30.14 | 7.42 | 891 | 100 | 63.736
2019-10-24 09:00:00 | 10.0333 | 18.0967 | 11.5367 | 19.89 | 18.2067 | 21.9333 | 18.9667 | 33.7867 | 7.2933 | 891 | 100 | 63.3673
2019-10-24 09:15:00 | 10.1967 | 41.98 | 11.7233 | 46.1333 | 18.61 | 7.6267 | 18.84 | 26.6767 | 7.2387 | 891.0667 | 100 | 62.856
2019-10-24 09:30:00 | 9.8633 | 32.4733 | 11.3433 | 35.68 | 17.8967 | 18.3133 | 18.1267 | 24.75 | 7.2 | 892 | 100 | 63.4313
2019-10-24 09:45:00 | 9.1433 | 221.0767 | 10.5167 | 242.93 | 16.5633 | 15.9367 | 16.7967 | 23.9933 | 7.1993 | 892 | 100 | 63.664
2019-10-24 10:00:00 | 9.4513 | 22.73 | 10.8687 | 24.9633 | 17.0993 | 19.234 | 17.3313 | 26.268 | 7.234 | 892 | 100 | 62.8067
2019-10-24 10:15:00 | 9.0767 | 106.72 | 10.44 | 117.2667 | 16.48 | 19.4367 | 16.5633 | 21.74 | 7.2133 | 892 | 100 | 63.632
2019-10-24 10:30:00 | 8.93 | 289.5733 | 10.2667 | 318.2 | 16.2733 | 4.13 | 16.79 | 33.04 | 7.26 | 892 | 100 | 63.308
2019-10-24 10:45:00 | 9.3867 | 267.64 | 10.81 | 294.1 | 16.9493 | 20.5833 | 17.15 | 31.4833 | 7.4267 | 892 | 100 | 63.7247
2019-10-24 11:00:00 | 9.308 | 235.66 | 10.714 | 258.9667 | 17.1533 | 19.1433 | 17.29 | 29.5567 | 7.56 | 892 | 100 | 62.8727
2019-10-24 11:15:00 | 9.3233 | 246.1333 | 10.7267 | 270.4667 | 16.9733 | 14.59 | 17.1033 | 21.5067 | 7.5167 | 892 | 100 | 62.9907
2019-10-24 11:30:00 | 9.17 | 226.8333 | 10.5467 | 249.2667 | 16.6067 | 23.67 | 16.9567 | 35.0133 | 7.4167 | 892 | 99.6 | 62.9627
2019-10-24 11:45:00 | 8.94 | 23.6767 | 10.29 | 26.0167 | 16.2033 | 12.0367 | 16.3833 | 23.6267 | 7.44 | 892 | 98.6333 | 62.8153
2019-10-24 12:00:00 | 9.18 | 41.5633 | 10.5633 | 45.67 | 16.79 | 12.57 | 16.67 | 22.5267 | 7.5267 | 892 | 98.34 | 62.8847
2019-10-24 12:15:00 | 8.6133 | 190.39 | 9.9067 | 209.22 | 15.8667 | 23.3133 | 16.0767 | 21.3767 | 7.7267 | 892 | 98.1667 | 62.844
2019-10-24 12:30:00 | 8.84 | 24.3033 | 10.1667 | 26.7 | 16.3 | 7.0667 | 16.2433 | 21.49 | 7.9067 | 892 | 97.5667 | 63.1673
2019-10-24 12:45:00 | 9.31 | 166.4767 | 10.7167 | 182.9333 | 16.8773 | 21.12 | 17.1833 | 27.51 | 7.8533 | 892 | 98.2333 | 63.6307
2019-10-24 13:00:00 | 9.79 | 239.03 | 11.2567 | 262.6667 | 17.7467 | 22.3667 | 17.7433 | 28.1767 | 7.7867 | 891.6 | 98.7 | 63.5873
2019-10-24 13:15:00 | 9.7453 | 135.4167 | 11.2127 | 148.8067 | 17.7947 | 17.7767 | 18.01 | 25.7633 | 7.7733 | 891 | 98.2333 | 63.728
2019-10-24 13:30:00 | 9.884 | 11.09 | 11.37 | 12.182 | 17.786 | 17.998 | 18.12 | 29.348 | 7.798 | 891 | 97.4 | 62.924
2019-10-24 13:45:00 | 9.7133 | 307 | 11.1767 | 337.3667 | 17.4833 | 15.56 | 17.83 | 27.3267 | 7.8633 | 891 | 96.2 | 63.0667
2019-10-24 14:00:00 | 9.7933 | 305.0667 | 11.27 | 335.2333 | 17.782 | 16.2733 | 17.798 | 30.3467 | 7.7233 | 891 | 96.6667 | 63.2747
2019-10-24 14:15:00 | 9.5333 | 89.62 | 10.96 | 98.4867 | 17.36 | 21.7967 | 17.4133 | 21.8367 | 7.7367 | 891 | 97.8333 | 63.3873
2019-10-24 14:30:00 | 9.44 | 113.8467 | 10.86 | 125.1 | 17.2467 | 19.1833 | 17.3533 | 26.5167 | 7.5033 | 890.6 | 99.1 | 62.8953
2019-10-24 14:45:00 | 9.5133 | 221.8367 | 10.9367 | 243.7667 | 17.2867 | 19.6067 | 17.45 | 25.2633 | 7.3867 | 890 | 100 | 63.4687
2019-10-24 15:00:00 | 8.9933 | 197.0767 | 10.35 | 216.5667 | 16.4467 | 17.76 | 16.5633 | 24.7633 | 7.3933 | 890 | 100 | 62.7413
2019-10-24 15:15:00 | 8.74 | 113.4067 | 10.0507 | 124.6167 | 16.156 | 20.8133 | 16.1167 | 28.3067 | 7.3633 | 890 | 100 | 62.1773
2019-10-24 15:30:00 | 8.6733 | 5.16 | 9.9867 | 5.6633 | 15.9533 | 20.78 | 15.8967 | 37.58 | 7.35 | 890.4 | 100 | 62.258
2019-10-24 15:45:00 | 8.4267 | 137.5067 | 9.7033 | 151.0933 | 15.5133 | 19.2733 | 15.5233 | 25.94 | 7.4633 | 891 | 99.9933 | 62.8547
2019-10-24 16:00:00 | 8.1 | 241.6733 | 9.326 | 265.5667 | 14.9 | 17.96 | 14.83 | 22.52 | 7.5233 | 891 | 99.94 | 62.332
2019-10-24 16:15:00 | 8.2733 | 198.6767 | 9.5167 | 218.3233 | 14.9633 | 10.7167 | 14.97 | 32.1733 | 7.42 | 891 | 99.92 | 62.55
2019-10-24 16:30:00 | 8.46 | 105.3167 | 9.7367 | 115.7233 | 15.65 | 19.2967 | 15.5433 | 25.1667 | 7.4 | 890.6 | 100 | 63.092
2019-10-24 16:45:00 | 8.8167 | 223.0267 | 10.15 | 245.08 | 16.0647 | 18.32 | 16.1733 | 28.1967 | 7.2933 | 890.0667 | 100 | 62.9193
2019-10-24 17:00:00 | 8.8967 | 182.26 | 10.2433 | 200.28 | 16.19 | 27.6133 | 15.9333 | 35.35 | 7.1667 | 891 | 100 | 62.854
2019-10-24 17:15:00 | 8.628 | 261.508 | 9.936 | 287.37 | 15.562 | 16.664 | 15.682 | 24.7 | 7.038 | 890.9333 | 100 | 63.342
2019-10-24 17:30:00 | 8.9533 | 128.88 | 10.3 | 141.6167 | 16.374 | 20.8467 | 16.25 | 29.3867 | 6.97 | 890.4 | 100 | 62.848
2019-10-24 17:45:00 | 8.78 | 252.6733 | 10.1 | 277.6667 | 15.84 | 12.4733 | 15.6167 | 14.0033 | 6.8333 | 891 | 100 | 62.7473
2019-10-24 18:00:00 | 8.5333 | 144.3867 | 9.82 | 158.6667 | 15.6533 | 16.5467 | 15.446 | 16.3833 | 6.7933 | 891 | 100 | 63.244
2019-10-24 18:15:00 | 8.6533 | 190.61 | 9.9667 | 209.4667 | 15.5733 | 14.2033 | 15.2533 | 20.4033 | 6.7 | 891 | 100 | 63.2633
2019-10-24 18:30:00 | 8.2267 | 237.93 | 9.4733 | 261.4667 | 15.064 | 14.93 | 14.74 | 16.8367 | 6.64 | 891 | 100 | 63.816
2019-10-24 18:45:00 | 8.296 | 191.8853 | 9.548 | 210.8667 | 15.1647 | 12.0347 | 14.9673 | 14.578 | 6.5953 | 891 | 100 | 63.76
2019-10-24 19:00:00 | 8.4067 | 138.7867 | 9.68 | 152.5133 | 15.3167 | 15.9133 | 15.0367 | 20.21 | 6.51 | 891 | 100 | 64.0253
2019-10-24 19:15:00 | 8.6433 | 94.91 | 9.9433 | 104.3 | 15.6633 | 13.0167 | 15.5433 | 21.3767 | 6.4233 | 891 | 100 | 63.712
2019-10-24 19:30:00 | 8.6633 | 123.1833 | 9.9767 | 135.3667 | 15.9833 | 14.8967 | 15.81 | 23.4633 | 6.3567 | 891 | 100 | 63.5727
2019-10-24 19:45:00 | 8.8933 | 150.5233 | 10.23 | 165.4 | 16.1033 | 4.7567 | 15.7433 | 14.1867 | 6.2567 | 891.7333 | 100 | 63.8453
2019-10-24 20:00:00 | 8.7733 | 200.63 | 10.09 | 220.4667 | 15.9033 | 8.0633 | 15.71 | 19.1667 | 6.214 | 892 | 100 | 64.33
2019-10-24 20:15:00 | 8.5733 | 65.9867 | 9.86 | 72.5 | 15.8633 | 18.1567 | 15.7593 | 13.9667 | 6.1893 | 892.0667 | 100 | 64.0913
2019-10-24 20:30:00 | 8.8267 | 216.6733 | 10.1533 | 238.1 | 16.41 | 16.1167 | 16.31 | 21.36 | 6.16 | 892.6 | 100 | 63.298
2019-10-24 20:45:00 | 9.0167 | 154.3167 | 10.3767 | 169.57 | 16.73 | 14.3133 | 16.6387 | 17.6933 | 6.0867 | 892.0667 | 100 | 62.6387
2019-10-24 21:00:00 | 9.0967 | 221.11 | 10.4633 | 242.97 | 16.63 | 17.22 | 16.7267 | 22.46 | 6.0067 | 893 | 100 | 61.8993
2019-10-24 21:15:00 | 9.1667 | 212.92 | 10.5467 | 233.9667 | 16.75 | 10.6733 | 16.91 | 26.5467 | 5.96 | 893 | 100 | 61.962
2019-10-24 21:30:00 | 9.44 | 298.94 | 10.8667 | 328.5 | 17.0967 | 20.6 | 17.3567 | 21.78 | 5.9267 | 893 | 100 | 61.8407
2019-10-24 21:45:00 | 9.29 | 186.7933 | 10.69 | 205.2667 | 16.8133 | 19.6967 | 16.75 | 22.27 | 5.84 | 893 | 100 | 61.9293
2019-10-24 22:00:00 | 9.13 | 144.0267 | 10.4967 | 158.2667 | 16.58 | 9.0433 | 16.2633 | 16.19 | 5.82 | 893 | 100 | 62.0667
2019-10-24 22:15:00 | 9.0267 | 115.62 | 10.3813 | 127.0467 | 16.3033 | 15.4067 | 16.1033 | 21.71 | 5.8027 | 893 | 100 | 61.7933
2019-10-24 22:30:00 | 9.04 | 292.108 | 10.4 | 321 | 16.15 | 17.756 | 16.09 | 17.43 | 5.764 | 893 | 100 | 61.1667
2019-10-24 22:45:00 | 9.54 | 181.06 | 10.98 | 198.9667 | 16.6967 | 13.0333 | 16.0267 | 9.43 | 5.6867 | 893 | 100 | 61.952
2019-10-24 23:00:00 | 8.92 | 255.732 | 10.264 | 281.02 | 15.99 | 11.452 | 15.716 | 14.742 | 5.68 | 893 | 100 | 61.494
2019-10-24 23:15:00 | 8.4733 | 203.6567 | 9.7567 | 223.7933 | 15.4867 | 17.9133 | 15.52 | 28.9133 | 5.65 | 893 | 100 | 61.942
2019-10-24 23:30:00 | 8.7667 | 108.7767 | 10.0833 | 119.5267 | 15.84 | 19.1667 | 15.6133 | 20.6467 | 5.5433 | 893 | 100 | 60.9893
2019-10-24 23:45:00 | 9.08 | 128.8267 | 10.45 | 141.5667 | 15.9567 | 15.9533 | 15.7767 | 25.4433 | 5.4433 | 893 | 100 | 61.528