## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2019-10-25 00:00:00 | 9 | 121.8657 | 10.35 | 133.9071 | 15.8357 | 17.0279 | 15.4671 | 18.0679 | 5.3907 | 893.1 | 100 | 61.6921
2019-10-25 00:15:00 | 8.6867 | 230.8633 | 10.0033 | 253.6967 | 15.6067 | 20.9267 | 15.4707 | 24.0467 | 5.3493 | 893.2667 | 100 | 61.8267
2019-10-25 00:30:00 | 8.656 | 193.25 | 9.9567 | 212.3633 | 15.68 | 16.0667 | 15.5133 | 22.7133 | 5.28 | 893 | 100 | 61.868
2019-10-25 00:45:00 | 8.6333 | 161.92 | 9.93 | 177.9333 | 15.1967 | 8.13 | 15.5007 | 25.7767 | 5.2067 | 893 | 100 | 61.316
2019-10-25 01:00:00 | 8.52 | 218.1 | 9.81 | 239.6667 | 15.29 | 17.89 | 15.0833 | 11.77 | 5.18 | 893 | 100 | 61.5207
2019-10-25 01:15:00 | 8.3267 | 31.3367 | 9.5867 | 34.43 | 15.2533 | 17.4867 | 15.13 | 22.2433 | 5.14 | 893 | 100 | 61.5553
2019-10-25 01:30:00 | 8.6333 | 70.4967 | 9.94 | 77.4633 | 15.7 | 3.3133 | 15.5833 | 19.0833 | 5.1 | 893 | 100 | 61.3773
2019-10-25 01:45:00 | 8.7933 | 234.8 | 10.1133 | 258.0233 | 15.6833 | 7.84 | 15.64 | 21.64 | 5 | 893 | 100 | 61.422
2019-10-25 02:00:00 | 8.38 | 145.62 | 9.6467 | 160.0233 | 15.102 | 13.6133 | 15.14 | 18.8667 | 4.9867 | 893 | 100 | 61.452
2019-10-25 02:15:00 | 8.4967 | 176.8533 | 9.78 | 194.3333 | 15.3033 | 11.6233 | 15.27 | 26.2733 | 4.9633 | 893 | 100 | 61.006
2019-10-25 02:30:00 | 8.59 | 195.36 | 9.88 | 214.6667 | 15.17 | 12.3233 | 14.9633 | 22.5733 | 4.91 | 893 | 100 | 61.3073
2019-10-25 02:45:00 | 8.05 | 172.5367 | 9.2667 | 189.6 | 14.54 | 9.7933 | 14.4933 | 20.2167 | 4.8907 | 893 | 100 | 61.6193
2019-10-25 03:00:00 | 8.17 | 182.8567 | 9.3933 | 200.9333 | 14.74 | 14.2 | 14.7867 | 22.7967 | 4.86 | 893 | 100 | 61.5387
2019-10-25 03:15:00 | 8.4333 | 201.0533 | 9.7033 | 220.9333 | 14.96 | 7.4933 | 14.7067 | 17.6067 | 4.85 | 893 | 100 | 61.4273
2019-10-25 03:30:00 | 8.0933 | 183.2133 | 9.3167 | 201.3333 | 14.7533 | 10.12 | 14.4667 | 19.4533 | 4.87 | 893 | 100 | 61.2747
2019-10-25 03:45:00 | 8.5933 | 152.4967 | 9.8933 | 167.5667 | 15.28 | 9.84 | 15.0533 | 21.5067 | 4.82 | 893 | 100 | 61.5493
2019-10-25 04:00:00 | 8.7667 | 64.3033 | 10.0867 | 70.6533 | 15.5 | 13.86 | 15.2867 | 22.6267 | 4.7867 | 893 | 100 | 61.5507
2019-10-25 04:15:00 | 8.5933 | 135.5567 | 9.8867 | 148.96 | 15.5153 | 65.5 | 15.3067 | 19.3333 | 4.8133 | 892.9333 | 100 | 60.2827
2019-10-25 04:30:00 | 8.6733 | 275.3367 | 9.9867 | 302.5667 | 15.346 | 68.4467 | 15.152 | 20.94 | 4.816 | 892.4 | 100 | 59.072
2019-10-25 04:45:00 | 8.5067 | 159.4333 | 9.7833 | 175.2 | 15.04 | 9.6867 | 14.7267 | 19.22 | 4.7893 | 892.2667 | 100 | 59.3127
2019-10-25 05:00:00 | 8.1667 | 246.8533 | 9.39 | 271.2667 | 14.1733 | 14.02 | 13.9533 | 12.4133 | 4.7933 | 892.4 | 100 | 59.2493
2019-10-25 05:15:00 | 8.1267 | 243.3933 | 9.3533 | 267.4667 | 14.35 | 12.3967 | 14.0067 | 13.6433 | 4.8267 | 892.2667 | 100 | 59.0853
2019-10-25 05:30:00 | 8.3267 | 74.0467 | 9.58 | 81.36 | 14.5033 | 8.0167 | 14.1933 | 7.5967 | 4.8533 | 892 | 100 | 59.3033
2019-10-25 05:45:00 | 8 | 129.9567 | 9.2133 | 142.8 | 13.9633 | 12.3633 | 13.9267 | 14.9167 | 4.8593 | 892 | 100 | 59.3667
2019-10-25 06:00:00 | 7.8267 | 268.8167 | 9.0067 | 295.4 | 13.8367 | 15.93 | 13.7267 | 16.23 | 4.8833 | 892 | 100 | 60.0007
2019-10-25 06:15:00 | 7.81 | 226.93 | 8.9867 | 249.36 | 13.78 | 12.06 | 13.76 | 27.3367 | 4.97 | 892 | 100 | 60.6053
2019-10-25 06:30:00 | 7.6233 | 46.87 | 8.7667 | 51.4933 | 13.4933 | 19.9067 | 13.5 | 20.6367 | 5.05 | 892 | 100 | 60.4713
2019-10-25 06:45:00 | 7.6033 | 243.7033 | 8.7533 | 267.8 | 13.11 | 12.6933 | 12.93 | 18.37 | 5.1033 | 892 | 100 | 60.6553
2019-10-25 07:00:00 | 7.3233 | 283.4367 | 8.4267 | 311.4667 | 12.61 | 230.6867 | 12.2033 | 8.45 | 5.15 | 892 | 100 | 60.546
2019-10-25 07:15:00 | 7.3833 | 128.0633 | 8.4933 | 140.7267 | 12.87 | 11.1767 | 12.5867 | 12.5567 | 5.2 | 892 | 99.7533 | 60.2587
2019-10-25 07:30:00 | 7.73 | 133.51 | 8.8933 | 146.7133 | 13.3833 | 6.0367 | 12.9267 | 12.83 | 5.2867 | 892.4 | 98.9667 | 60.3667
2019-10-25 07:45:00 | 7.3933 | 323.06 | 8.5067 | 355 | 12.8933 | 11.1967 | 12.61 | 14.0333 | 5.3467 | 893 | 98.6333 | 59.8713
2019-10-25 08:00:00 | 7.406 | 134.88 | 8.518 | 148.216 | 12.872 | 8.1 | 12.65 | 25.574 | 5.438 | 893 | 98.1 | 60.4533
2019-10-25 08:15:00 | 7.4767 | 227.1933 | 8.6 | 249.6667 | 13.0867 | 6.9233 | 12.9387 | 22.85 | 5.6033 | 893 | 96.9 | 60.2707
2019-10-25 08:30:00 | 7.6567 | 75.6533 | 8.8067 | 83.1333 | 13.46 | 9.1767 | 12.9933 | 18.1967 | 5.7767 | 893 | 95.9 | 60.2813
2019-10-25 08:45:00 | 7.72 | 66.0867 | 8.8833 | 72.62 | 13.5033 | 5.1733 | 13.2233 | 22.8533 | 5.96 | 893.0667 | 95.1667 | 60.478
2019-10-25 09:00:00 | 7.56 | 191.96 | 8.7033 | 210.9333 | 13.41 | 2.6733 | 12.9033 | 16.4133 | 6.1933 | 894 | 93.5667 | 58.95
2019-10-25 09:15:00 | 7.0767 | 76.7233 | 8.14 | 84.3 | 12.63 | 10.6033 | 12.3367 | 7.93 | 6.4033 | 894 | 93.0667 | 58.5627
2019-10-25 09:30:00 | 7.01 | 267.0967 | 8.06 | 293.5 | 12.4367 | 8.8367 | 12.206 | 19.8233 | 6.63 | 894 | 92.6 | 58.036
2019-10-25 09:45:00 | 6.9467 | 276.6667 | 7.99 | 304.0333 | 12.16 | 20.0067 | 11.9033 | 16.0433 | 6.8367 | 894 | 92.2667 | 57.79
2019-10-25 10:00:00 | 7.04 | 191.56 | 8.0967 | 210.5 | 12.3867 | 13.78 | 12.1167 | 16.4633 | 7.0433 | 894 | 90.9333 | 56.9547
2019-10-25 10:15:00 | 6.9133 | 253.62 | 7.95 | 278.7 | 12.3967 | 15.54 | 12.2267 | 21.71 | 7.4167 | 894.7333 | 89.8 | 56.2673
2019-10-25 10:30:00 | 7.1067 | 196.5933 | 8.17 | 216.0333 | 12.6033 | 15.2133 | 12.5667 | 17.23 | 7.7567 | 895 | 88.9333 | 56.4533
2019-10-25 10:45:00 | 7.04 | 315.45 | 8.1 | 346.6333 | 12.4533 | 14.8767 | 12.1333 | 25.5633 | 8.1033 | 895 | 86.7333 | 56.0987
2019-10-25 11:00:00 | 7.0733 | 106.91 | 8.14 | 117.48 | 12.54 | 13.3033 | 12.2 | 24.3767 | 8.29 | 895 | 86.7333 | 55.8707
2019-10-25 11:15:00 | 7.3067 | 210.1167 | 8.4133 | 230.9 | 13.0067 | 15.1767 | 12.8167 | 19.0867 | 8.4433 | 895 | 86.2333 | 53.4367
2019-10-25 11:30:00 | 7.24 | 173.11 | 8.3333 | 190.2333 | 12.94 | 22.2433 | 12.8233 | 27.7733 | 8.5233 | 895 | 85.1667 | 52.1047
2019-10-25 11:45:00 | 6.7833 | 203.1767 | 7.8033 | 223.2667 | 11.9267 | 14.4433 | 11.9267 | 12.99 | 8.5967 | 895 | 85.0267 | 52.016
2019-10-25 12:00:00 | 6.7233 | 208.33 | 7.7367 | 228.9333 | 11.8533 | 24.2167 | 11.6533 | 13.4633 | 8.5433 | 895 | 85.36 | 52.478
2019-10-25 12:15:00 | 6.82 | 121.14 | 7.85 | 133.1167 | 12.0013 | 9.9033 | 11.4933 | 15.9 | 8.6033 | 894.2667 | 85.4 | 51.7787
2019-10-25 12:30:00 | 6.3133 | 121.0733 | 7.2633 | 133.05 | 11.4 | 5.8367 | 11.0733 | 25.0267 | 8.89 | 894 | 86.0667 | 51.178
2019-10-25 12:45:00 | 6.21 | 50.99 | 7.14 | 56.03 | 11.34 | 17.2733 | 11.0333 | 24.2167 | 9.3233 | 894 | 85.0667 | 51.1107
2019-10-25 13:00:00 | 6.0833 | 130.6233 | 6.9933 | 143.5367 | 11.26 | 7.82 | 11.1467 | 30.1433 | 9.49 | 894 | 84.6667 | 50.026
2019-10-25 13:15:00 | 6.1133 | 44.6733 | 7.0333 | 49.0933 | 11.29 | 15.9767 | 11.6967 | 28.5533 | 9.8033 | 894 | 83.9 | 49.478
2019-10-25 13:30:00 | 6.7267 | 50.56 | 7.74 | 55.56 | 12.2367 | 10.0833 | 11.99 | 23.82 | 10.0767 | 894 | 82.5667 | 49.3007
2019-10-25 13:45:00 | 6.3 | 131.5067 | 7.2433 | 144.5 | 11.5833 | 13.8867 | 11.7833 | 21.91 | 10.07 | 894 | 83.6 | 46.7893
2019-10-25 14:00:00 | 5.8133 | 109.9 | 6.6833 | 120.7667 | 10.69 | 15.9133 | 10.7633 | 28.15 | 9.9767 | 894 | 82.44 | 46.0787
2019-10-25 14:15:00 | 5.7 | 186.1867 | 6.5633 | 204.6 | 10.6667 | 14.6967 | 10.83 | 28.8967 | 9.9233 | 893.2667 | 84.1 | 49.5153
2019-10-25 14:30:00 | 5.7267 | 248.3733 | 6.5967 | 272.9333 | 10.8067 | 19.3367 | 10.9433 | 21.7633 | 9.926 | 893 | 84.26 | 50.028
2019-10-25 14:45:00 | 5.9933 | 185.8267 | 6.8933 | 204.2 | 10.9673 | 23.4833 | 11.2233 | 36.48 | 9.9267 | 893 | 84.0067 | 49.5813
2019-10-25 15:00:00 | 6.1467 | 79.5067 | 7.0667 | 87.3667 | 11.15 | 15.6567 | 11.1567 | 23.6133 | 9.9133 | 893 | 83.7667 | 46.5073
2019-10-25 15:15:00 | 6.0067 | 41.0433 | 6.9167 | 45.0933 | 10.9367 | 13.3167 | 10.8433 | 26.61 | 9.78 | 893 | 84.3333 | 48.4627
2019-10-25 15:30:00 | 6.0933 | 39.4167 | 7.0033 | 43.3133 | 10.9167 | 21.29 | 10.8833 | 30.11 | 9.6867 | 892.6 | 84.2 | 48.624
2019-10-25 15:45:00 | 6.3733 | 14.3433 | 7.3393 | 15.7567 | 11.4533 | 18.6233 | 11.3067 | 27.51 | 9.57 | 892 | 85.6667 | 48.5073
2019-10-25 16:00:00 | 5.9867 | 101.39 | 6.8967 | 111.41 | 11.0733 | 16.0633 | 10.8267 | 23.2967 | 9.49 | 892 | 87.0667 | 48.0687
2019-10-25 16:15:00 | 5.7667 | 176.3633 | 6.63 | 193.8 | 10.8967 | 16.2667 | 10.6767 | 18.98 | 9.3767 | 892 | 89.2667 | 48.0293
2019-10-25 16:30:00 | 5.6667 | 89.63 | 6.5233 | 98.4867 | 10.69 | 18.9733 | 10.49 | 21.26 | 9.25 | 892 | 89.9333 | 50.026
2019-10-25 16:45:00 | 5.76 | 196.7233 | 6.6267 | 216.18 | 10.87 | 23.5633 | 10.6367 | 19.0767 | 9.0667 | 892 | 90.2933 | 49.842
2019-10-25 17:00:00 | 5.8 | 39.29 | 6.68 | 43.1667 | 10.9033 | 12.33 | 10.9033 | 22.53 | 8.9 | 892 | 91.1333 | 53.4573
2019-10-25 17:15:00 | 5.8047 | 188.018 | 6.6833 | 206.612 | 10.9067 | 12.344 | 10.8767 | 22.8847 | 8.6953 | 892 | 91.84 | 54.484
2019-10-25 17:30:00 | 6.06 | 154.6733 | 6.97 | 169.9667 | 11.23 | 11.1267 | 10.9167 | 13.4533 | 8.5667 | 892 | 91.8667 | 55.058
2019-10-25 17:45:00 | 5.8267 | 147.5533 | 6.7033 | 162.1433 | 10.9987 | 13.9767 | 10.6993 | 10.4 | 8.47 | 892 | 92.6667 | 53.4733
2019-10-25 18:00:00 | 5.88 | 12.4667 | 6.77 | 13.6967 | 10.78 | 16.1767 | 10.682 | 15.7467 | 8.41 | 892 | 92.8 | 54.608
2019-10-25 18:15:00 | 6.0633 | 115.9067 | 6.98 | 127.3667 | 10.9967 | 20.52 | 10.71 | 20.86 | 8.34 | 892 | 93.0267 | 53.4207
2019-10-25 18:30:00 | 5.8767 | 70.64 | 6.7733 | 77.62 | 10.7633 | 12.4467 | 10.5633 | 21.0533 | 8.2667 | 892 | 94.2 | 53.8087
2019-10-25 18:45:00 | 6.2567 | 173.36 | 7.1933 | 190.5 | 11.5567 | 16.67 | 11.17 | 19.52 | 8.1067 | 892 | 95 | 54.496
2019-10-25 19:00:00 | 5.95 | 210.1267 | 6.8467 | 230.9 | 11.29 | 16.15 | 11.1767 | 22.8933 | 8.084 | 892 | 94.8667 | 53.1127
2019-10-25 19:15:00 | 6.26 | 91.0367 | 7.2067 | 100.0333 | 11.386 | 6.7367 | 11.23 | 15.28 | 8.096 | 892 | 94.1667 | 53.2207
2019-10-25 19:30:00 | 6.7733 | 110.81 | 7.7933 | 121.7667 | 11.9167 | 10.5767 | 11.63 | 10.06 | 8.1933 | 892 | 92.8333 | 54.5847
2019-10-25 19:45:00 | 6.7367 | 111.3133 | 7.75 | 122.3233 | 11.86 | 17.91 | 11.5267 | 15.2 | 8.3167 | 892.0667 | 91.5 | 54.8987
2019-10-25 20:00:00 | 6.99 | 28.4533 | 8.0367 | 31.27 | 12.1333 | 14.85 | 11.8733 | 12.3267 | 8.3767 | 893 | 91.0333 | 54.202
2019-10-25 20:15:00 | 6.72 | 132.6867 | 7.73 | 145.8133 | 11.6967 | 19.22 | 11.4233 | 15.46 | 8.45 | 893 | 89.8333 | 54.6307
2019-10-25 20:30:00 | 6.5867 | 60.04 | 7.5767 | 65.98 | 11.5967 | 17.0933 | 11.59 | 19.5133 | 8.47 | 893 | 88.9667 | 55.1507
2019-10-25 20:45:00 | 6.62 | 212.3 | 7.62 | 233.2933 | 11.7667 | 9.71 | 11.55 | 21.7733 | 8.4793 | 893 | 88.5733 | 55.6733
2019-10-25 21:00:00 | 6.84 | 114.6267 | 7.8667 | 125.96 | 11.98 | 10.3767 | 11.85 | 25.86 | 8.4833 | 893 | 88 | 55.1313
2019-10-25 21:15:00 | 6.7933 | 156.9353 | 7.8247 | 172.4467 | 12.0887 | 13.6647 | 11.996 | 18.434 | 8.5033 | 893 | 87.7867 | 55.1407
2019-10-25 21:30:00 | 7.26 | 186.3733 | 8.3633 | 204.8 | 12.62 | 13.2667 | 12.3733 | 15.61 | 8.534 | 893.4 | 86.9333 | 54.216
2019-10-25 21:45:00 | 7.14 | 186.86 | 8.21 | 205.3333 | 12.4967 | 5.26 | 12.37 | 14.06 | 8.6007 | 893.9333 | 86.2 | 56.252
2019-10-25 22:00:00 | 7.218 | 162.386 | 8.3 | 178.44 | 12.616 | 29.648 | 12.77 | 20.276 | 8.634 | 893 | 85.76 | 54.6733
2019-10-25 22:15:00 | 7.2667 | 146.6933 | 8.3667 | 161.2 | 12.8433 | 9.0433 | 12.9467 | 20.5333 | 8.67 | 893.7333 | 85.4 | 55.1493
2019-10-25 22:30:00 | 7.1467 | 242.36 | 8.22 | 266.3333 | 12.4167 | 13.81 | 12.4467 | 16.3133 | 8.674 | 894 | 85.1333 | 54.988
2019-10-25 22:45:00 | 6.85 | 161.8367 | 7.8833 | 177.8333 | 12.1133 | 13.2867 | 12.1233 | 15.3767 | 8.6707 | 893.9333 | 85.2267 | 55.7847
2019-10-25 23:00:00 | 6.87 | 184.6967 | 7.9033 | 202.9667 | 12.4867 | 12.3933 | 12.57 | 19.8167 | 8.62 | 893 | 85.6 | 54.704
2019-10-25 23:15:00 | 7.02 | 179.6333 | 8.0733 | 197.4 | 12.68 | 17.7033 | 12.9 | 19.3533 | 8.618 | 893.7333 | 85.5067 | 54.9507
2019-10-25 23:30:00 | 7.06 | 151.5533 | 8.12 | 166.5333 | 12.3267 | 12.7233 | 12.36 | 22.5667 | 8.5567 | 894 | 86.9333 | 54.646
2019-10-25 23:45:00 | 6.8 | 179.9133 | 7.82 | 197.7 | 12.0833 | 18.24 | 12.2033 | 21.6533 | 8.2733 | 894 | 89.7667 | 56.054