## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2019-10-26 00:00:00 | 7.3571 | 154.6357 | 8.4636 | 169.9214 | 12.7607 | 20.8329 | 12.6707 | 13.225 | 8.2329 | 894 | 89.7071 | 55.69
2019-10-26 00:15:00 | 6.8133 | 111.9333 | 7.8333 | 123 | 12.14 | 12.3133 | 12.0833 | 18.63 | 8.1933 | 894 | 90.9333 | 55.1987
2019-10-26 00:30:00 | 6.94 | 141.5933 | 7.98 | 155.6 | 12.1667 | 8.18 | 12.37 | 18.1433 | 7.9067 | 894 | 93.9333 | 55.628
2019-10-26 00:45:00 | 7.4733 | 143.7333 | 8.59 | 157.9333 | 13.04 | 10.45 | 13.1233 | 21.81 | 7.65 | 894 | 96.1667 | 56.4347
2019-10-26 01:00:00 | 7.2333 | 175.7533 | 8.3167 | 193.1333 | 12.9933 | 19.9767 | 13.302 | 16.6233 | 7.4767 | 894 | 97.8333 | 56.19
2019-10-26 01:15:00 | 7.1933 | 79.9367 | 8.2733 | 87.8333 | 13.05 | 7.52 | 13.1467 | 22.6667 | 7.3893 | 894 | 98.7067 | 56.2933
2019-10-26 01:30:00 | 7.46 | 179.3633 | 8.58 | 197.1 | 13.2233 | 14.5067 | 13.4667 | 20.84 | 7.3467 | 893.6 | 99 | 56.2307
2019-10-26 01:45:00 | 7.6 | 237.2433 | 8.7433 | 260.7 | 13.7967 | 13.85 | 13.9567 | 24.5567 | 7.3733 | 893 | 99.1267 | 56.4647
2019-10-26 02:00:00 | 7.7467 | 167.8967 | 8.9233 | 184.5 | 13.97 | 11.6167 | 14.4833 | 18.17 | 7.364 | 893 | 99.3 | 56.064
2019-10-26 02:15:00 | 8.0867 | 72.4467 | 9.3067 | 79.6133 | 14.6 | 128.94 | 14.7333 | 22.79 | 7.4133 | 893 | 98.9 | 56.0707
2019-10-26 02:30:00 | 7.9133 | 178.2667 | 9.1133 | 195.9 | 14.16 | 131.3667 | 14.4933 | 22.5633 | 7.4867 | 893 | 98.2333 | 55.9187
2019-10-26 02:45:00 | 7.9867 | 169.56 | 9.1867 | 186.3333 | 14.1867 | 11.08 | 14.3567 | 21.2833 | 7.5407 | 893 | 97.86 | 56.3607
2019-10-26 03:00:00 | 7.9533 | 212.28 | 9.1533 | 233.2667 | 14.14 | 12.4933 | 14.4167 | 22.05 | 7.5367 | 893 | 97.8333 | 56.4187
2019-10-26 03:15:00 | 7.8733 | 207.9967 | 9.06 | 228.5667 | 14.0267 | 14.8433 | 14.4253 | 20.3433 | 7.5033 | 893 | 97.8733 | 56.3313
2019-10-26 03:30:00 | 7.9733 | 181.1833 | 9.1733 | 199.1 | 14.168 | 12.6033 | 14.28 | 22.4833 | 7.53 | 893 | 97.66 | 56.3313
2019-10-26 03:45:00 | 7.7267 | 216.6033 | 8.8833 | 238.02 | 14.5067 | 7.5833 | 14.4933 | 19.3033 | 7.5467 | 893 | 97.5333 | 56.0733
2019-10-26 04:00:00 | 7.7067 | 202.65 | 8.87 | 222.6867 | 14.5467 | 11.7167 | 14.2733 | 23.05 | 7.4733 | 893 | 98 | 56.3293
2019-10-26 04:15:00 | 7.7067 | 202.65 | 8.87 | 222.6867 | 14.5467 | 11.7167 | 14.2733 | 23.05 | 7.4733 | 893 | 98 | 56.3293
2019-10-26 04:30:00 | 7.7067 | 202.65 | 8.87 | 222.6867 | 14.5467 | 11.7167 | 14.2733 | 23.05 | 7.4733 | 893 | 98 | 56.3293
2019-10-26 04:45:00 | 7.7067 | 202.65 | 8.87 | 222.6867 | 14.5467 | 11.7167 | 14.2733 | 23.05 | 7.4733 | 893 | 98 | 56.3293
2019-10-26 05:00:00 | 7.7067 | 202.65 | 8.87 | 222.6867 | 14.5467 | 11.7167 | 14.2733 | 23.05 | 7.4733 | 893 | 98 | 56.3293
2019-10-26 05:15:00 | 7.7067 | 202.65 | 8.87 | 222.6867 | 14.5467 | 11.7167 | 14.2733 | 23.05 | 7.4733 | 893 | 98 | 56.3293
2019-10-26 05:30:00 | 7.1867 | 159.8933 | 8.2667 | 175.7067 | 12.8333 | 13.7967 | 12.52 | 18.13 | 7.946 | 892 | 93.5 | 55.8927
2019-10-26 05:45:00 | 7.1867 | 159.8933 | 8.2667 | 175.7067 | 12.8333 | 13.7967 | 12.52 | 18.13 | 7.946 | 892 | 93.5 | 55.8927
2019-10-26 06:00:00 | 7.1867 | 159.8933 | 8.2667 | 175.7067 | 12.8333 | 13.7967 | 12.52 | 18.13 | 7.946 | 892 | 93.5 | 55.8927
2019-10-26 06:15:00 | 7.1867 | 159.8933 | 8.2667 | 175.7067 | 12.8333 | 13.7967 | 12.52 | 18.13 | 7.946 | 892 | 93.5 | 55.8927
2019-10-26 06:30:00 | 7.1867 | 159.8933 | 8.2667 | 175.7067 | 12.8333 | 13.7967 | 12.52 | 18.13 | 7.946 | 892 | 93.5 | 55.8927
2019-10-26 06:45:00 | 6.4187 | 259.038 | 7.3873 | 284.66 | 12.0467 | 7.8533 | 12.436 | 17.8533 | 7.9107 | 892 | 93.94 | 55.6613
2019-10-26 07:00:00 | 6.37 | 201.3833 | 7.3267 | 221.3 | 11.96 | 12.54 | 12.22 | 20.5867 | 7.8567 | 892 | 94.5667 | 55.1293
2019-10-26 07:15:00 | 6.3467 | 178.2433 | 7.3 | 195.8667 | 11.5333 | 14.0533 | 11.78 | 13.5867 | 7.89 | 892.0667 | 93.7333 | 54.4533
2019-10-26 07:30:00 | 6.0133 | 215.3033 | 6.9267 | 236.6 | 11.0333 | 15.0267 | 11.2867 | 10.88 | 7.9433 | 892.6 | 93.4 | 53.9773
2019-10-26 07:45:00 | 6.55 | 238.1567 | 7.5333 | 261.7 | 11.34 | 9.27 | 11.16 | 13.05 | 7.956 | 892.7333 | 93.4067 | 54.3527
2019-10-26 08:00:00 | 6.59 | 274.1233 | 7.5867 | 301.2333 | 11.4467 | 16.4367 | 11.1333 | 17.9167 | 8.0533 | 893 | 92.2333 | 53.2927
2019-10-26 08:15:00 | 6.1267 | 210.04 | 7.0533 | 230.8 | 10.9533 | 14.1033 | 10.5067 | 15.92 | 8.1767 | 893 | 91.7333 | 51.7147
2019-10-26 08:30:00 | 6.3467 | 320.9267 | 7.3067 | 352.6667 | 11.3533 | 11.8967 | 10.66 | 10.3933 | 8.2433 | 893 | 91.5333 | 48.4053
2019-10-26 08:45:00 | 6.6667 | 159.0067 | 7.6667 | 174.7333 | 11.8467 | 9.28 | 11.5033 | 21.2033 | 8.3867 | 893.0667 | 90.7667 | 47.1833
2019-10-26 09:00:00 | 6.3733 | 136.68 | 7.3333 | 150.2 | 10.96 | 11.52 | 11.0767 | 26.3433 | 8.54 | 894 | 89.6333 | 46.6067
2019-10-26 09:15:00 | 5.91 | 151.68 | 6.7967 | 166.6667 | 10.4733 | 9.0667 | 11.3433 | 20.4767 | 8.7467 | 894 | 89.1667 | 48.9133
2019-10-26 09:30:00 | 5.83 | 157.7467 | 6.7167 | 173.3333 | 10.7867 | 3.1867 | 11.03 | 18.4833 | 9.0467 | 894 | 88.9 | 47.792
2019-10-26 09:45:00 | 5.6333 | 216.1267 | 6.48 | 237.5 | 10.46 | 11.8733 | 10.56 | 19.7133 | 9.47 | 894.0667 | 88.6067 | 46.1113
2019-10-26 10:00:00 | 5.4333 | 193.6267 | 6.26 | 212.7667 | 10.1733 | 9.54 | 10.22 | 12.8667 | 9.75 | 895 | 87.4333 | 39.9813
2019-10-26 10:15:00 | 5.016 | 185.9433 | 5.7647 | 204.3267 | 9.2867 | 14.31 | 9.4887 | 19.9667 | 9.938 | 895 | 85.58 | 34.8147
2019-10-26 10:30:00 | 4.92 | 171.8167 | 5.6633 | 188.8 | 8.8133 | 14.74 | 9.0067 | 19.74 | 10.11 | 895 | 84.9333 | 29.1153
2019-10-26 10:45:00 | 4.34 | 176.198 | 5.0027 | 193.62 | 7.928 | 8.4573 | 8.0047 | 19.02 | 10.0793 | 895 | 84.8933 | 25.7293
2019-10-26 11:00:00 | 4.39 | 149.58 | 5.06 | 164.3667 | 7.8933 | 6.6567 | 7.98 | 23.9733 | 10.57 | 895 | 83.9333 | 25.5753
2019-10-26 11:15:00 | 4.6267 | 189.4633 | 5.3233 | 208.2 | 8.4433 | 6.5 | 8.5067 | 21.9133 | 11.1367 | 895 | 80.9633 | 32.356
2019-10-26 11:30:00 | 4.48 | 193.1033 | 5.1633 | 212.2 | 8.3767 | 13.4667 | 8.8867 | 17.7133 | 11.4433 | 895 | 80.2967 | 30.956
2019-10-26 11:45:00 | 4.6887 | 156.0953 | 5.4007 | 171.5333 | 8.7767 | 18.2247 | 9.594 | 33.7493 | 12.3473 | 895 | 78.95 | 31.66
2019-10-26 12:00:00 | 4.9533 | 164.2567 | 5.7 | 180.5 | 9.3067 | 13.3133 | 10 | 28.2367 | 13.0767 | 895 | 76.35 | 30.936
2019-10-26 12:15:00 | 4.8693 | 209.8967 | 5.602 | 230.6533 | 9.228 | 3.51 | 9.546 | 25.2873 | 13.4287 | 895 | 74.018 | 33.0507
2019-10-26 12:30:00 | 4.8267 | 247.0433 | 5.56 | 271.4667 | 9.0867 | 14.2033 | 9.3167 | 22.4933 | 13.3033 | 895 | 73.0333 | 33.4973
2019-10-26 12:45:00 | 4.94 | 147.494 | 5.6827 | 162.0733 | 9.2493 | 3.9493 | 9.626 | 22.746 | 12.7533 | 895 | 74.228 | 32.17
2019-10-26 13:00:00 | 4.8667 | 223.9233 | 5.5967 | 246.0667 | 9.2733 | 3.6267 | 9.61 | 25.3167 | 12.9367 | 895 | 74.4567 | 32.5053
2019-10-26 13:15:00 | 5.0233 | 278.3067 | 5.79 | 305.8333 | 9.5733 | 12.6033 | 9.2933 | 17.72 | 13.3733 | 894.9333 | 72.81 | 29.0907
2019-10-26 13:30:00 | 5.014 | 232.5733 | 5.77 | 255.5667 | 9.3467 | 11.5033 | 8.98 | 20.1 | 13.4933 | 894 | 71.61 | 26.918
2019-10-26 13:45:00 | 4.76 | 223.1 | 5.4767 | 245.1667 | 8.8767 | 6.5267 | 8.9333 | 17.9 | 13.6833 | 894 | 70.6667 | 25.14
2019-10-26 14:00:00 | 4.94 | 199.44 | 5.6833 | 219.1667 | 9.2033 | 7.78 | 9.3733 | 25.4 | 14.2167 | 894 | 68.46 | 27.2207
2019-10-26 14:15:00 | 5.05 | 112.66 | 5.8133 | 123.8 | 9.5467 | 42.4933 | 9.92 | 24.4133 | 13.7867 | 894 | 69.1167 | 27.7873
2019-10-26 14:30:00 | 4.91 | 228.5 | 5.6533 | 251.1 | 9.4133 | 57.4133 | 9.8533 | 23.78 | 13.5333 | 894 | 71.33 | 27.3527
2019-10-26 14:45:00 | 4.7067 | 207.1667 | 5.42 | 227.6533 | 9.0967 | 11.97 | 9.1933 | 11.1567 | 13.11 | 893.2667 | 72.0533 | 22.912
2019-10-26 15:00:00 | 4.3067 | 221.06 | 4.96 | 242.92 | 8.4567 | 23.3633 | 8.6 | 26.3033 | 12.67 | 893 | 75.9067 | 18.8733
2019-10-26 15:15:00 | 4.0467 | 20.8367 | 4.6667 | 22.8833 | 7.9467 | 16.9033 | 8.22 | 21.5733 | 12.3067 | 893 | 77.3667 | 16.2627
2019-10-26 15:30:00 | 3.78 | 122.6833 | 4.36 | 134.8033 | 7.4667 | 10.39 | 7.7733 | 19.5333 | 12.0733 | 893 | 78.2133 | 16.1247
2019-10-26 15:45:00 | 3.8633 | 194.7733 | 4.45 | 214.0333 | 7.4867 | 9.2933 | 7.8667 | 41.1033 | 11.81 | 892.9333 | 78.13 | 16.8947
2019-10-26 16:00:00 | 3.9567 | 165.72 | 4.5633 | 182.1 | 7.44 | 2.36 | 7.72 | 25.6633 | 11.69 | 892 | 76.5233 | 16.4193
2019-10-26 16:15:00 | 3.8133 | 175.4067 | 4.3867 | 192.7433 | 7.0833 | 10.4133 | 7.2767 | 22.0133 | 11.6427 | 892 | 75.95 | 15.866
2019-10-26 16:30:00 | 4.0267 | 176.4267 | 4.6267 | 193.8767 | 7.1633 | 9.2933 | 7.27 | 10.0867 | 11.5933 | 892 | 75.87 | 18.6527
2019-10-26 16:45:00 | 4.2433 | 242.4 | 4.88 | 266.3667 | 7.9833 | 10.6967 | 8 | 31.77 | 11.5033 | 892 | 76.58 | 23.1793
2019-10-26 17:00:00 | 4.3833 | 156.8533 | 5.04 | 172.3667 | 8.0233 | 15.75 | 8.56 | 22.97 | 11.442 | 892 | 76.5333 | 19.2013
2019-10-26 17:15:00 | 4.2667 | 162.1367 | 4.91 | 178.1667 | 7.57 | 17.4967 | 8.2467 | 24.99 | 11.4133 | 892 | 77.0767 | 21.388
2019-10-26 17:30:00 | 4.4867 | 180.5233 | 5.17 | 198.3667 | 8.19 | 11.3367 | 8.5933 | 30.21 | 11.3067 | 892 | 78.41 | 25.206
2019-10-26 17:45:00 | 4.4767 | 170.0533 | 5.1467 | 186.8667 | 8.2533 | 17.2733 | 8.83 | 23.47 | 11.14 | 892 | 78.8327 | 22.8927
2019-10-26 18:00:00 | 4.1167 | 164.7133 | 4.7333 | 181 | 7.3867 | 5.5133 | 8.1567 | 23.1433 | 11.1 | 892 | 77.8833 | 15.9473
2019-10-26 18:15:00 | 3.2667 | 189.0767 | 3.7633 | 207.7667 | 6.06 | 7.8333 | 6.24 | 24.3533 | 11.0513 | 892 | 78.4633 | 15.092
2019-10-26 18:30:00 | 2.6733 | 293.3633 | 3.0767 | 322.3667 | 4.92 | 13.0533 | 4.9133 | 18.9067 | 10.8367 | 892 | 80.37 | 13.4693
2019-10-26 18:45:00 | 2.5333 | 314.7367 | 2.92 | 345.8667 | 4.5867 | 123.1133 | 4.5267 | 16.8867 | 10.7567 | 892 | 81.6 | 11.1173
2019-10-26 19:00:00 | 2.34 | 323.4233 | 2.6933 | 355.4 | 4.0533 | 125.1867 | 4.06 | 12.56 | 10.6433 | 892 | 82.0667 | 8.4733
2019-10-26 19:15:00 | 2.18 | 102.9267 | 2.5133 | 113.1 | 4.2633 | 134.4267 | 4.4733 | 16.4733 | 10.4333 | 892 | 83.9333 | 6.5053
2019-10-26 19:30:00 | 2.0533 | 278.9533 | 2.3733 | 306.5333 | 4.0033 | 118.9667 | 3.9267 | 6.88 | 10.2067 | 892 | 85.5333 | 4.866
2019-10-26 19:45:00 | 1.94 | 290.0567 | 2.2267 | 318.7333 | 3.8173 | 5.8367 | 3.8133 | 14.82 | 10.1293 | 892 | 86.6667 | 4.4627
2019-10-26 20:00:00 | 2.1533 | 100.3767 | 2.4733 | 110.3 | 4.2133 | 2.37 | 4.2467 | 9.36 | 10.0067 | 892 | 87.5333 | 5.2873
2019-10-26 20:15:00 | 2.3333 | 204.9933 | 2.6833 | 225.2567 | 4.3733 | 123.7267 | 4.4867 | 34.82 | 9.9533 | 892 | 86.3 | 5.582
2019-10-26 20:30:00 | 2.3 | 8.3067 | 2.6567 | 9.1167 | 3.88 | 153.5333 | 3.9 | 31.2667 | 10.2333 | 892 | 84.0333 | 5.6187
2019-10-26 20:45:00 | 2.26 | 306.6133 | 2.6 | 336.9333 | 4.11 | 9.1867 | 4.2267 | 11.2467 | 10.3067 | 892 | 84.8667 | 5.766
2019-10-26 21:00:00 | 2.28 | 108.2533 | 2.62 | 118.96 | 4.19 | 5.54 | 4.1933 | 5.6733 | 10.1467 | 892 | 86.0667 | 7.8933
2019-10-26 21:15:00 | 2.36 | 294.9933 | 2.72 | 324.1667 | 4.4033 | 6.1733 | 4.6733 | 14.2 | 10.0433 | 892 | 86.9667 | 5.0547
2019-10-26 21:30:00 | 2.3733 | 104.6533 | 2.74 | 115 | 4.3433 | 2.6267 | 4.32 | 14.0533 | 9.95 | 892.4 | 87.66 | 5.1113
2019-10-26 21:45:00 | 2.4267 | 202.4367 | 2.8 | 222.4567 | 4.27 | 231.44 | 4.3767 | 16.1667 | 10.0093 | 892.3333 | 86.5667 | 5.5247
2019-10-26 22:00:00 | 2.4933 | 220.6367 | 2.8733 | 242.4567 | 4.5433 | 11.4133 | 4.7633 | 17.06 | 9.996 | 892.6 | 86.8333 | 7.296
2019-10-26 22:15:00 | 2.5067 | 188.98 | 2.8867 | 207.6733 | 4.6367 | 28.6367 | 4.7233 | 21.67 | 9.8767 | 892 | 87.9333 | 5.5993
2019-10-26 22:30:00 | 2.3867 | 14.2533 | 2.7467 | 15.66 | 4.3967 | 10.5633 | 4.4833 | 20.81 | 9.79 | 892 | 88.3333 | 4.258
2019-10-26 22:45:00 | 2.4347 | 173.6413 | 2.804 | 190.8053 | 4.1993 | 214.4447 | 4.458 | 16.842 | 9.6967 | 892 | 88.62 | 4.478
2019-10-26 23:00:00 | 2.7167 | 7.3167 | 3.1267 | 8.04 | 4.41 | 240.67 | 4.6 | 8.4267 | 9.8133 | 892 | 87.5 | 5.3373
2019-10-26 23:15:00 | 2.8433 | 24.5367 | 3.2667 | 26.9633 | 4.8 | 239.2233 | 4.81 | 16.06 | 9.77 | 892 | 88.5 | 4.3393
2019-10-26 23:30:00 | 2.6167 | 24.9167 | 3.0133 | 27.37 | 4.3533 | 7.09 | 4.47 | 15.8 | 9.7167 | 892 | 88.86 | 4.8533
2019-10-26 23:45:00 | 2.4133 | 115.2933 | 2.78 | 126.6867 | 4.32 | 11.12 | 4.8167 | 18.8633 | 9.6093 | 892 | 89.5933 | 4.9967