## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2019-10-27 00:00:00 | 2.4514 | 125.3236 | 2.8243 | 137.7171 | 4.53 | 17.97 | 4.9421 | 26.7929 | 9.5421 | 892 | 90.4 | 7.6729
2019-10-27 00:15:00 | 2.4733 | 288.9333 | 2.8467 | 317.5 | 4.83 | 12.6733 | 5.1533 | 21.2133 | 9.3433 | 892 | 92.7333 | 4.5807
2019-10-27 00:30:00 | 2.4267 | 300.46 | 2.8 | 330.1667 | 4.7233 | 16.5667 | 4.8467 | 23.1267 | 9.23 | 892 | 93.2667 | 5.0953
2019-10-27 00:45:00 | 2.4333 | 233.4867 | 2.8067 | 256.5667 | 4.8 | 18.19 | 5.0733 | 22.8733 | 9.1833 | 891.3333 | 93.54 | 4.502
2019-10-27 01:00:00 | 2.5333 | 102.5067 | 2.9133 | 112.6333 | 5.0267 | 17.51 | 4.8267 | 14.46 | 9.1367 | 891.6 | 95.2333 | 4.522
2019-10-27 01:15:00 | 2.5033 | 108.9067 | 2.8767 | 119.68 | 4.8533 | 15.6133 | 4.9167 | 13.5233 | 9.0533 | 891 | 95.8 | 5.6927
2019-10-27 01:30:00 | 2.4633 | 276.1533 | 2.8367 | 303.4667 | 4.7933 | 15.16 | 4.7633 | 16.1367 | 9.0133 | 891 | 96.1333 | 4.1453
2019-10-27 01:45:00 | 2.3567 | 296.2853 | 2.7133 | 325.5733 | 3.74 | 7.6 | 4.3533 | 19.19 | 9.1333 | 891 | 94.4333 | 1.1307
2019-10-27 02:00:00 | 1.9367 | 303.0933 | 2.2333 | 333.0667 | 3.7733 | 10.4533 | 4.3067 | 22.3033 | 9.16 | 891 | 95.3 | 3.1487
2019-10-27 02:15:00 | 2.6433 | 287.0433 | 3.04 | 315.4333 | 4.98 | 235.2467 | 5.3867 | 16.18 | 8.9967 | 891 | 95.9333 | 9.9353
2019-10-27 02:30:00 | 2.99 | 307.61 | 3.44 | 338.0333 | 5.3 | 9.0133 | 5.62 | 16.3867 | 8.9967 | 891 | 95.1333 | 11.0333
2019-10-27 02:45:00 | 2.94 | 307.2433 | 3.3833 | 337.6333 | 5.2267 | 240.2867 | 5.6333 | 14.9633 | 8.9867 | 891 | 95.8 | 9.5787
2019-10-27 03:00:00 | 2.94 | 273.306 | 3.3833 | 300.34 | 5.3933 | 5.1667 | 5.8867 | 16.39 | 8.92 | 890.6 | 96.3333 | 9.7953
2019-10-27 03:15:00 | 2.8507 | 138.5247 | 3.2867 | 152.2207 | 5.1287 | 3.404 | 5.758 | 9.946 | 8.83 | 890 | 97.16 | 10.6713
2019-10-27 03:30:00 | 2.6867 | 17.57 | 3.0933 | 19.3033 | 5.13 | 16.41 | 5.3333 | 25.16 | 8.7167 | 890 | 97.8667 | 11.618
2019-10-27 03:45:00 | 3.2333 | 201.08 | 3.72 | 220.9667 | 6.23 | 14.0367 | 5.93 | 16.7033 | 8.6233 | 890 | 98.5333 | 13.9527
2019-10-27 04:00:00 | 3.38 | 306.88 | 3.8867 | 337.2333 | 6.0767 | 13.0833 | 6.2567 | 16.7833 | 8.59 | 890 | 98.6667 | 17.1033
2019-10-27 04:15:00 | 3.3067 | 36.33 | 3.81 | 39.91 | 6.4233 | 9.5633 | 6.4333 | 15.9033 | 8.5333 | 889.2667 | 98.5267 | 15.4047
2019-10-27 04:30:00 | 3.0133 | 166.9767 | 3.4767 | 183.49 | 5.6767 | 4.4767 | 5.7933 | 14.6367 | 8.52 | 889 | 98.46 | 8.674
2019-10-27 04:45:00 | 2.7167 | 28.1767 | 3.1333 | 30.96 | 5.0467 | 9.5767 | 5.4267 | 19.24 | 8.4633 | 889 | 98.5733 | 5.9873
2019-10-27 05:00:00 | 2.57 | 31.4367 | 2.9533 | 34.54 | 4.6067 | 2.71 | 4.9267 | 19.9533 | 8.4167 | 889 | 98.6667 | 8.1247
2019-10-27 05:15:00 | 2.7467 | 294.81 | 3.16 | 323.9667 | 4.83 | 13.4733 | 5.1733 | 16.86 | 8.4433 | 889 | 98.3667 | 8.7293
2019-10-27 05:30:00 | 2.6267 | 293.4833 | 3.02 | 322.5 | 4.8433 | 15.2533 | 4.9267 | 21.5933 | 8.426 | 889 | 98.7667 | 6.614
2019-10-27 05:45:00 | 2.4367 | 136.6267 | 2.8033 | 150.1333 | 4.38 | 16.7833 | 4.32 | 16.93 | 8.3993 | 889 | 99.1 | 7.7293
2019-10-27 06:00:00 | 2.69 | 275.4933 | 3.0967 | 302.7333 | 4.82 | 15.23 | 4.9 | 19.1033 | 8.37 | 889 | 99.2333 | 12.4133
2019-10-27 06:15:00 | 2.85 | 313.0833 | 3.2767 | 344.0333 | 5.44 | 8.72 | 5.5033 | 10.8733 | 8.2033 | 889 | 99.6 | 8.5053
2019-10-27 06:30:00 | 2.6233 | 309.25 | 3.0167 | 339.8333 | 4.64 | 10.28 | 4.6433 | 10.3733 | 8.11 | 889 | 99.9333 | 4.4633
2019-10-27 06:45:00 | 2.2067 | 304.58 | 2.5433 | 334.7 | 4.1267 | 15.97 | 4.36 | 24.7233 | 8.02 | 889 | 100 | 8.7533
2019-10-27 07:00:00 | 2.5533 | 105.38 | 2.9367 | 115.8 | 4.88 | 11.75 | 5.12 | 20.7967 | 7.9 | 889 | 100 | 14.0053
2019-10-27 07:15:00 | 3.24 | 115.89 | 3.7267 | 127.3533 | 5.81 | 7.2767 | 6.3133 | 17.3433 | 7.86 | 889 | 100 | 15.03
2019-10-27 07:30:00 | 3.36 | 304.49 | 3.8667 | 334.6 | 5.95 | 229.73 | 6.4933 | 23.07 | 7.8067 | 889 | 100 | 11.6753
2019-10-27 07:45:00 | 2.9233 | 298.3567 | 3.3633 | 327.8667 | 5.3067 | 227.8233 | 5.4233 | 12.83 | 7.7967 | 889.7333 | 100 | 15.8173
2019-10-27 08:00:00 | 3.13 | 304.0633 | 3.61 | 334.1333 | 5.58 | 7.7433 | 5.69 | 10.6767 | 7.95 | 890 | 100 | 22.912
2019-10-27 08:15:00 | 3.4367 | 40.0933 | 3.95 | 44.0533 | 6.6133 | 13.85 | 6.5333 | 8.8033 | 8.2 | 890 | 100 | 19.886
2019-10-27 08:30:00 | 3.6767 | 35.76 | 4.23 | 39.2867 | 6.74 | 18.65 | 6.6867 | 12.4033 | 8.4467 | 890 | 100 | 17.6107
2019-10-27 08:45:00 | 3.6067 | 292.0267 | 4.1467 | 320.9 | 6.5167 | 8.3067 | 6.4833 | 9.0467 | 8.5267 | 890.0667 | 100 | 15.288
2019-10-27 09:00:00 | 3.3133 | 249.3667 | 3.8133 | 274.0333 | 6.09 | 8.3067 | 6.1633 | 14.5533 | 8.8333 | 891 | 100 | 12.136
2019-10-27 09:15:00 | 3.46 | 48.1467 | 3.9867 | 52.9 | 5.99 | 3.5333 | 6.0333 | 15.3667 | 10.17 | 891 | 96.2333 | 10.392
2019-10-27 09:30:00 | 3.4 | 224.4533 | 3.9067 | 246.6467 | 5.5633 | 13.3067 | 6.06 | 16.4667 | 10.13 | 891 | 93.3 | 8.2247
2019-10-27 09:45:00 | 3.04 | 230.67 | 3.5033 | 253.4767 | 5.4467 | 14.9433 | 5.6293 | 14.8933 | 10.4567 | 891 | 92.2667 | 7.4787
2019-10-27 10:00:00 | 2.8933 | 21.0033 | 3.33 | 23.0767 | 4.9933 | 17.2767 | 5.0467 | 12.2867 | 10.9633 | 891.4 | 89.8667 | 5.8973
2019-10-27 10:15:00 | 2.94 | 28.25 | 3.3867 | 31.0467 | 4.47 | 5.9733 | 4.6167 | 33.5867 | 10.5033 | 892 | 89.9333 | 2.298
2019-10-27 10:30:00 | 2.6533 | 39.3167 | 3.0533 | 43.2 | 4.2633 | 242.2333 | 4.43 | 28.84 | 10.7367 | 892 | 89.5333 | 0.91733
2019-10-27 10:45:00 | 2.84 | 217.4133 | 3.27 | 238.9133 | 4.19 | 9.1567 | 4.0867 | 8.3833 | 11.2867 | 892 | 87.5 | 1.376
2019-10-27 11:00:00 | 2.62 | 36.5533 | 3.0167 | 40.1667 | 4.29 | 10.37 | 4.1867 | 14.09 | 11.5133 | 892 | 86.1667 | 0.064667
2019-10-27 11:15:00 | 2.3 | 18.018 | 2.6587 | 19.8007 | 3.732 | 15.978 | 3.406 | 14.6967 | 11.8907 | 892 | 85.36 | 0
2019-10-27 11:30:00 | 2.4133 | 10.41 | 2.7867 | 11.4367 | 3.2933 | 10.89 | 2.8567 | 6.07 | 12.08 | 892 | 84.2667 | 0
2019-10-27 11:45:00 | 1.9067 | 3.7667 | 2.1933 | 4.1333 | 2.3267 | 19.25 | 2.1367 | 1.11 | 12.13 | 892 | 81.6333 | 0
2019-10-27 12:00:00 | 1.1733 | 217.1867 | 1.36 | 238.6667 | 1.5133 | 224.13 | 1.2033 | 237.9367 | 12.73 | 892 | 79.6467 | 0
2019-10-27 12:15:00 | 1.0633 | 58.896 | 1.2307 | 64.7193 | 1.2373 | 67.088 | 0.88467 | 60.882 | 12.9147 | 892 | 78.1453 | 0
2019-10-27 12:30:00 | 1.2967 | 28.8933 | 1.4867 | 31.75 | 1.4667 | 14.7267 | 0.91 | 241.4633 | 13.26 | 892 | 73.9333 | 0
2019-10-27 12:45:00 | 1.5667 | 32.4667 | 1.8067 | 35.6767 | 2.3033 | 17.2867 | 1.72 | 28.7233 | 13.7567 | 891.2667 | 75.9333 | 0
2019-10-27 13:00:00 | 0.88667 | 226 | 1.0267 | 248.35 | 1.0367 | 243.3667 | 0.53333 | 13.2833 | 13.8033 | 891 | 72.9867 | 0
2019-10-27 13:15:00 | 1.3667 | 143.02 | 1.5733 | 157.1667 | 1.7267 | 185.0333 | 1.5467 | 199.2667 | 14.4833 | 891 | 69.3333 | 0
2019-10-27 13:30:00 | 1.8 | 106.62 | 2.08 | 117.1667 | 2.06 | 167.7 | 1.88 | 203.1333 | 14.8633 | 891 | 67.9867 | 0
2019-10-27 13:45:00 | 2.0867 | 172.6367 | 2.4033 | 189.7 | 2.4067 | 160.3667 | 2.1367 | 176 | 14.76 | 891 | 69.93 | 0
2019-10-27 14:00:00 | 2.5 | 158.9833 | 2.8767 | 174.7 | 2.7533 | 170.5 | 2.2833 | 180.7333 | 14.8867 | 891 | 70.682 | 0
2019-10-27 14:15:00 | 2.6033 | 139.78 | 2.9933 | 153.6 | 2.964 | 177.6 | 2.6 | 175.9667 | 14.998 | 890.2667 | 71.2 | 0
2019-10-27 14:30:00 | 2.4433 | 170.84 | 2.82 | 187.7333 | 2.66 | 168 | 2.2333 | 177.1667 | 14.8767 | 890 | 69.9733 | 0
2019-10-27 14:45:00 | 2.5733 | 136.5 | 2.96 | 150 | 2.9333 | 171.6933 | 2.5633 | 192.5 | 15.11 | 890 | 70.1167 | 0
2019-10-27 15:00:00 | 2.8533 | 150.2067 | 3.28 | 165.0667 | 3.2667 | 170.6667 | 2.9433 | 190.5667 | 15.286 | 890 | 68.6967 | 0
2019-10-27 15:15:00 | 3.2973 | 157.9693 | 3.792 | 173.58 | 3.7687 | 174.42 | 3.4587 | 192.16 | 15.2367 | 890 | 66.6373 | 0
2019-10-27 15:30:00 | 2.58 | 166.1133 | 2.9733 | 182.5333 | 3.01 | 165 | 2.6867 | 185.3333 | 15.2767 | 890 | 64.66 | 0
2019-10-27 15:45:00 | 2.5533 | 161.8067 | 2.9333 | 177.8 | 3.2333 | 189.6667 | 2.9567 | 219.4 | 15.6867 | 890 | 62.07 | 0.21933
2019-10-27 16:00:00 | 2.8733 | 161.56 | 3.3133 | 177.5333 | 3.7667 | 204.7333 | 3.6833 | 222.4 | 15.3267 | 890 | 60.8633 | 1.4267
2019-10-27 16:15:00 | 2.96 | 167.1827 | 3.4087 | 183.7067 | 3.832 | 214.78 | 3.85 | 224.0133 | 14.638 | 890 | 64.1653 | 1.3513
2019-10-27 16:30:00 | 2.5933 | 168.7267 | 2.9833 | 185.4 | 3.2733 | 217.9667 | 3.3767 | 227.5333 | 14.1567 | 889.6 | 66.98 | 1.2133
2019-10-27 16:45:00 | 2.3267 | 163.38 | 2.68 | 179.5333 | 3.4067 | 218.6333 | 3.6967 | 227.1333 | 14.0033 | 889 | 68.8233 | 1.9553
2019-10-27 17:00:00 | 2.5067 | 184.7867 | 2.8867 | 203.0667 | 3.6067 | 220.3 | 3.9367 | 228.08 | 14.07 | 889 | 68.19 | 2.5787
2019-10-27 17:15:00 | 2.2133 | 176.1687 | 2.5467 | 193.5867 | 3.3833 | 218.5333 | 3.6067 | 221.9 | 13.81 | 889 | 71.0633 | 1.7913
2019-10-27 17:30:00 | 2.0133 | 169.1433 | 2.3133 | 185.8667 | 3.0233 | 211.8 | 3.28 | 226.6333 | 13.39 | 889 | 73.5633 | 0.64667
2019-10-27 17:45:00 | 1.6733 | 174.6967 | 1.9267 | 191.9667 | 2.5 | 211.4333 | 2.6667 | 218.8667 | 13.2753 | 889 | 73.7087 | 0.77867
2019-10-27 18:00:00 | 1.98 | 172.5767 | 2.28 | 189.6333 | 2.6333 | 199.5667 | 2.64 | 208.0667 | 13.11 | 889 | 72.13 | 0.265
2019-10-27 18:15:00 | 1.1433 | 168.1133 | 1.32 | 184.7333 | 1.5433 | 188.9 | 1.7467 | 201.9067 | 12.9867 | 889 | 71.1467 | 0
2019-10-27 18:30:00 | 1.7367 | 163.74 | 1.9933 | 179.9333 | 2.15 | 189.7 | 2.1333 | 205 | 12.9333 | 889.4 | 70.6467 | 0.57867
2019-10-27 18:45:00 | 2.3 | 177.0253 | 2.654 | 194.5267 | 3.0747 | 195.9467 | 3.038 | 210.0533 | 12.836 | 889.2667 | 70.13 | 0.164
2019-10-27 19:00:00 | 2.3667 | 167.41 | 2.7233 | 183.9667 | 3.7567 | 227.5333 | 3.42 | 226.9667 | 12.6033 | 889.4 | 73.8633 | 0.52333
2019-10-27 19:15:00 | 2.3133 | 186.5 | 2.6667 | 204.9333 | 3.3567 | 225.84 | 3.0733 | 230.48 | 12.45 | 890 | 78.5033 | 0
2019-10-27 19:30:00 | 1.84 | 155.3133 | 2.12 | 170.6667 | 3.0367 | 228.2667 | 2.5333 | 227.6667 | 12.3833 | 890 | 79.17 | 0
2019-10-27 19:45:00 | 0.7 | 254.5667 | 0.81667 | 279.7333 | 0.72 | 246.7667 | 0.20667 | 224.1 | 12.5633 | 890.0667 | 78.5967 | 0
2019-10-27 20:00:00 | 0.31333 | 260.44 | 0.37 | 286.2 | 0.26 | 255.74 | 0.006667 | 224.1 | 12.87 | 891 | 75.5033 | 0
2019-10-27 20:15:00 | 0.81333 | 262.8033 | 0.94333 | 288.8 | 1.3467 | 301.3667 | 0.79 | 311.4667 | 13.07 | 891.7333 | 75.12 | 0
2019-10-27 20:30:00 | 1 | 280.0367 | 1.15 | 307.7333 | 1.7133 | 333.0333 | 1.6233 | 340.9333 | 12.8833 | 892 | 76.984 | 0.14
2019-10-27 20:45:00 | 1.4433 | 316.53 | 1.6667 | 347.8333 | 2.6167 | 259.2067 | 2.9933 | 349.3 | 12.712 | 892.7333 | 78.86 | 1.4087
2019-10-27 21:00:00 | 1.2967 | 248.89 | 1.5 | 273.5 | 2.5167 | 256.0067 | 3.0467 | 251.9667 | 12.3067 | 893 | 81.1 | 0.946
2019-10-27 21:15:00 | 0.32 | 213.7067 | 0.37333 | 234.8333 | 0.61333 | 300.8333 | 0.91 | 5.04 | 12.12 | 893 | 79.3633 | 0.057333
2019-10-27 21:30:00 | 0.54667 | 79.9867 | 0.63333 | 87.8933 | 0.76667 | 69.1467 | 0.84333 | 15.82 | 12.32 | 893 | 75.4567 | 1.934
2019-10-27 21:45:00 | 1.676 | 35.368 | 1.928 | 38.86 | 2.858 | 10.528 | 3.132 | 71.7 | 12.298 | 893 | 78.892 | 1.686
2019-10-27 22:00:00 | 0.66 | 103.48 | 0.77333 | 113.7067 | 1.1433 | 51.2133 | 1.0933 | 52 | 11.9767 | 893 | 78.2333 | 1.2947
2019-10-27 22:15:00 | 0.64333 | 94.46 | 0.74667 | 103.8 | 1.1033 | 126.3667 | 1.0067 | 146.8067 | 12.1733 | 892.2667 | 77.0333 | 0.58267
2019-10-27 22:30:00 | 0.43 | 115.6267 | 0.49333 | 127.0667 | 0.77 | 168.1 | 0.54667 | 146.9 | 12.1733 | 892 | 78.9333 | 0.66733
2019-10-27 22:45:00 | 0.28667 | 86.0533 | 0.33 | 94.5633 | 0.38333 | 164.3 | 0.29333 | 146.8933 | 12.1467 | 892 | 80.9333 | 0.786
2019-10-27 23:00:00 | 0.44667 | 215.2133 | 0.51 | 236.4967 | 0.39 | 66.3067 | 0.64 | 276.4667 | 12.04 | 892 | 81.4667 | 1.844
2019-10-27 23:15:00 | 0.22 | 300.4233 | 0.25333 | 330.1333 | 0.4 | 17.31 | 0.44667 | 86.0667 | 11.9533 | 892 | 82.0067 | 1.966
2019-10-27 23:30:00 | 1.3 | 316.4367 | 1.5067 | 347.7333 | 1.9667 | 15.2033 | 1.8267 | 46.0267 | 11.8467 | 892 | 81.9 | 2.3773
2019-10-27 23:45:00 | 2.0133 | 317.74 | 2.32 | 349.1667 | 3.0633 | 7.81 | 3.4067 | 15.1367 | 11.4667 | 892 | 82.2 | 2.3013