## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2019-10-28 00:00:00 | 2.1986 | 285.12 | 2.5386 | 313.3143 | 2.91 | 15.0843 | 3.4536 | 43.4393 | 11.2093 | 892 | 83.35 | 1.7857
2019-10-28 00:15:00 | 2.22 | 311.74 | 2.5567 | 342.5667 | 2.8067 | 39.5267 | 3.14 | 16.1267 | 11.2367 | 892 | 82.8333 | 1.072
2019-10-28 00:30:00 | 2.1133 | 104.1667 | 2.4367 | 114.4667 | 3.02 | 17.2267 | 2.76 | 39.3067 | 11.2167 | 892 | 82.9667 | 2.7893
2019-10-28 00:45:00 | 2.4633 | 294.24 | 2.8367 | 323.3333 | 3.94 | 7 | 5.0367 | 26.5633 | 10.9 | 892 | 85.2667 | 6.6833
2019-10-28 01:00:00 | 2.75 | 248.1933 | 3.1633 | 272.7333 | 5.22 | 16.9867 | 5.91 | 22.01 | 10.4733 | 892 | 87.6 | 9.02
2019-10-28 01:15:00 | 2.94 | 208.62 | 3.39 | 229.24 | 5.5367 | 10.9233 | 6.2333 | 18.93 | 9.88 | 892 | 90.3333 | 10.586
2019-10-28 01:30:00 | 2.9667 | 202.4933 | 3.4167 | 222.5067 | 5.4833 | 15.6233 | 6.0933 | 19.1567 | 9.6867 | 892 | 91.3333 | 9.7273
2019-10-28 01:45:00 | 2.9467 | 296.5167 | 3.39 | 325.8333 | 5.08 | 17.0667 | 5.4067 | 33.07 | 9.81 | 892 | 91.1333 | 7.5267
2019-10-28 02:00:00 | 2.5467 | 105.6433 | 2.93 | 116.0867 | 4.46 | 11.04 | 4.9067 | 10.2233 | 9.6767 | 892 | 92.4667 | 6.64
2019-10-28 02:15:00 | 2.48 | 294.58 | 2.8533 | 323.7 | 4.5433 | 10.0667 | 5.1567 | 15.5933 | 9.6027 | 892 | 92.9067 | 8.078
2019-10-28 02:30:00 | 2.8 | 301.9133 | 3.2267 | 331.7667 | 5.0033 | 8.96 | 5.5967 | 12.7733 | 9.6 | 892 | 92.5333 | 11.3307
2019-10-28 02:45:00 | 3.1867 | 163.0767 | 3.6667 | 179.1967 | 5.8533 | 11.64 | 5.8833 | 16.3233 | 9.3833 | 892 | 93.3667 | 15.1987
2019-10-28 03:00:00 | 3.3733 | 202.9233 | 3.88 | 222.9967 | 6.1133 | 9.5933 | 6.3367 | 17.2967 | 9.2367 | 891.6 | 94.1 | 15.1367
2019-10-28 03:15:00 | 3.3733 | 12.8633 | 3.8933 | 14.13 | 6.3767 | 8.9333 | 6.31 | 19.2267 | 8.9633 | 891 | 95.1 | 12.334
2019-10-28 03:30:00 | 3.16 | 2.0633 | 3.64 | 2.2633 | 6.1033 | 7.9933 | 6.1233 | 10.7333 | 8.73 | 891 | 96.1 | 13.5267
2019-10-28 03:45:00 | 3.3467 | 280.6833 | 3.85 | 308.4333 | 5.9833 | 13.0767 | 5.9633 | 10.28 | 8.69 | 891 | 96.8333 | 20.2893
2019-10-28 04:00:00 | 3.62 | 159.21 | 4.165 | 174.95 | 6.625 | 3.05 | 6.945 | 14.48 | 8.795 | 891 | 96.05 | 21.864
2019-10-28 04:15:00 | 3.62 | 159.21 | 4.165 | 174.95 | 6.625 | 3.05 | 6.945 | 14.48 | 8.795 | 891 | 96.05 | 21.864
2019-10-28 04:30:00 | 3.62 | 159.21 | 4.165 | 174.95 | 6.625 | 3.05 | 6.945 | 14.48 | 8.795 | 891 | 96.05 | 21.864
2019-10-28 04:45:00 | 3.62 | 159.21 | 4.165 | 174.95 | 6.625 | 3.05 | 6.945 | 14.48 | 8.795 | 891 | 96.05 | 21.864
2019-10-28 05:00:00 | 3.62 | 159.21 | 4.165 | 174.95 | 6.625 | 3.05 | 6.945 | 14.48 | 8.795 | 891 | 96.05 | 21.864
2019-10-28 05:15:00 | 4.06 | 5.0967 | 4.67 | 5.5933 | 7.1033 | 9.21 | 7.7067 | 22.3133 | 8.4167 | 891 | 97.5 | 18.4013
2019-10-28 05:30:00 | 4.06 | 5.0967 | 4.67 | 5.5933 | 7.1033 | 9.21 | 7.7067 | 22.3133 | 8.4167 | 891 | 97.5 | 18.4013
2019-10-28 05:45:00 | 4.06 | 5.0967 | 4.67 | 5.5933 | 7.1033 | 9.21 | 7.7067 | 22.3133 | 8.4167 | 891 | 97.5 | 18.4013
2019-10-28 06:00:00 | 4.06 | 5.0967 | 4.67 | 5.5933 | 7.1033 | 9.21 | 7.7067 | 22.3133 | 8.4167 | 891 | 97.5 | 18.4013
2019-10-28 06:15:00 | 4.06 | 5.0967 | 4.67 | 5.5933 | 7.1033 | 9.21 | 7.7067 | 22.3133 | 8.4167 | 891 | 97.5 | 18.4013
2019-10-28 06:30:00 | 3.7133 | 7.8967 | 4.27 | 8.6733 | 6.5033 | 11.09 | 7.08 | 20.16 | 8.374 | 891.4 | 97.7667 | 14.1567
2019-10-28 06:45:00 | 3.2033 | 139.8467 | 3.6867 | 153.68 | 6.1233 | 13.05 | 7.2833 | 19.3733 | 8.11 | 892 | 98.2 | 14.0307
2019-10-28 07:00:00 | 3.1033 | 113.6533 | 3.5667 | 124.8867 | 5.9033 | 8.9833 | 7.1033 | 15.1267 | 7.93 | 892 | 98.8667 | 15.3013
2019-10-28 07:15:00 | 3.2033 | 290.8333 | 3.6833 | 319.6 | 6.0667 | 11.9233 | 6.4567 | 71.6333 | 7.8 | 892 | 99.2667 | 16.1653
2019-10-28 07:30:00 | 3.3233 | 288.2933 | 3.8233 | 316.8 | 6.392 | 4.5167 | 6.6833 | 61.3733 | 7.72 | 892 | 99.5333 | 14.8867
2019-10-28 07:45:00 | 3.02 | 299.9367 | 3.4733 | 329.6 | 5.8033 | 4.9267 | 6.04 | 6.8167 | 7.7 | 892 | 99.8667 | 13.1573
2019-10-28 08:00:00 | 3.18 | 104.1767 | 3.6533 | 114.4733 | 5.0633 | 3.5333 | 5.5667 | 14.3233 | 7.7 | 892 | 100 | 10.254
2019-10-28 08:15:00 | 3.26 | 291.17 | 3.7533 | 319.9667 | 5.0867 | 12.0067 | 5.9567 | 22.0267 | 7.9767 | 892.0667 | 100 | 8.8733
2019-10-28 08:30:00 | 3.0333 | 275.5767 | 3.4933 | 302.8333 | 5.38 | 13.24 | 5.93 | 22.9333 | 8.7633 | 893 | 99.2667 | 8.8507
2019-10-28 08:45:00 | 3.0733 | 312.6267 | 3.5367 | 343.5333 | 5.05 | 3.7233 | 6.04 | 21.8367 | 9.8767 | 893.0667 | 92.4 | 7.6867
2019-10-28 09:00:00 | 2.9133 | 310.3733 | 3.3633 | 341.0667 | 4.8967 | 9.67 | 5.9867 | 23.0367 | 10.6433 | 894 | 88.9333 | 6.8267
2019-10-28 09:15:00 | 3.06 | 97.3367 | 3.5167 | 106.9533 | 4.4633 | 22.57 | 5.9867 | 33.73 | 10.7733 | 894 | 87.6667 | 5.1687
2019-10-28 09:30:00 | 3.28 | 95.9967 | 3.77 | 105.48 | 4.9033 | 17.3833 | 6.2333 | 27.8433 | 10.9133 | 894 | 87.0667 | 5.504
2019-10-28 09:45:00 | 3.7 | 22.6367 | 4.2633 | 24.8733 | 5.7867 | 17 | 5.9933 | 21.38 | 11.1833 | 894.7333 | 85.1667 | 6.538
2019-10-28 10:00:00 | 3.4667 | 24.3167 | 3.99 | 26.72 | 5.6533 | 7.2133 | 6.0933 | 27.6333 | 12.23 | 895 | 81.4333 | 5.7247
2019-10-28 10:15:00 | 3.3533 | 102.1633 | 3.86 | 112.26 | 4.9433 | 5.28 | 5.7833 | 29.6633 | 12.7133 | 895 | 78.6553 | 5.314
2019-10-28 10:30:00 | 3.18 | 294.5367 | 3.66 | 323.6667 | 4.9233 | 11.8133 | 6.03 | 31.8967 | 13.32 | 895 | 76.89 | 5.3773
2019-10-28 10:45:00 | 2.9473 | 215.9573 | 3.3867 | 237.31 | 4.684 | 10.4607 | 5.6847 | 32.9973 | 13.334 | 895.6667 | 77.5847 | 5.0193
2019-10-28 11:00:00 | 2.6533 | 16.2433 | 3.05 | 17.8367 | 4.0933 | 12.67 | 5.0933 | 30.1267 | 13.7 | 895 | 76.2733 | 4.1213
2019-10-28 11:15:00 | 2.5367 | 212.57 | 2.9167 | 233.5967 | 3.8767 | 7.2267 | 4.8033 | 20.79 | 13.7867 | 895 | 75.3267 | 2.9533
2019-10-28 11:30:00 | 2.87 | 16.51 | 3.3033 | 18.1433 | 4.07 | 4.9733 | 4.8567 | 16.9967 | 13.8733 | 895 | 73.6867 | 2.36
2019-10-28 11:45:00 | 2.5533 | 222.8633 | 2.9333 | 244.8933 | 4.08 | 161.6867 | 4.4067 | 13.4333 | 14.6 | 895 | 72.38 | 1.556
2019-10-28 12:00:00 | 2.4867 | 25.61 | 2.8667 | 28.14 | 3.5333 | 125.56 | 4.1867 | 18.1133 | 15.1867 | 895 | 68.1533 | 0
2019-10-28 12:15:00 | 2.3033 | 16.8833 | 2.65 | 18.55 | 3.3267 | 20.8833 | 3.87 | 31.55 | 15.8967 | 895 | 65.76 | 0
2019-10-28 12:30:00 | 2.23 | 16.3167 | 2.57 | 17.9233 | 3.3867 | 15.7167 | 3.65 | 29.9167 | 16.6033 | 895 | 62.42 | 0
2019-10-28 12:45:00 | 2.24 | 73.14 | 2.58 | 80.3733 | 3.25 | 130.0533 | 3.1433 | 11.4667 | 17.18 | 895 | 55.0667 | 0
2019-10-28 13:00:00 | 1.9 | 34.52 | 2.1867 | 37.9267 | 2.5433 | 129.76 | 2.69 | 12.0867 | 17.1467 | 895 | 53.84 | 0
2019-10-28 13:15:00 | 1.9333 | 26.0233 | 2.22 | 28.5933 | 2.5067 | 11.44 | 2.5033 | 18.8733 | 17.6333 | 895 | 49.8967 | 0
2019-10-28 13:30:00 | 1.8733 | 212.8233 | 2.1533 | 233.8733 | 2.4067 | 3.0133 | 2.6567 | 11.6333 | 17.768 | 895 | 45.67 | 0
2019-10-28 13:45:00 | 1.5467 | 203.1967 | 1.79 | 223.2867 | 1.94 | 111.4933 | 1.86 | 119.6267 | 18.7867 | 894.2667 | 38.6633 | 0
2019-10-28 14:00:00 | 0.60667 | 202.1633 | 0.71 | 222.1533 | 0.68 | 111.5533 | 0.6 | 166.92 | 19.52 | 894 | 33.8833 | 0
2019-10-28 14:15:00 | 1.1133 | 119.06 | 1.2833 | 130.8333 | 1.43 | 177.6333 | 1.5867 | 184.3333 | 19.87 | 894 | 41.0067 | 0
2019-10-28 14:30:00 | 2.08 | 132.4667 | 2.4033 | 145.5667 | 2.3433 | 175.4333 | 2.02 | 169.1333 | 19.41 | 894.4 | 52.2 | 0
2019-10-28 14:45:00 | 2.9733 | 132.8333 | 3.43 | 145.9667 | 3.41 | 167.6667 | 3.0933 | 186.1667 | 19.15 | 894.2667 | 58.0933 | 0
2019-10-28 15:00:00 | 3.48 | 150.8467 | 4.0033 | 165.7667 | 3.8433 | 173.4 | 3.76 | 183.9667 | 18.8833 | 894 | 57.14 | 1.8713
2019-10-28 15:15:00 | 3.1467 | 150.7667 | 3.6267 | 165.6667 | 3.62 | 173.6 | 3.52 | 222.1667 | 19.13 | 894 | 53.7833 | 2.2293
2019-10-28 15:30:00 | 3.02 | 147.2467 | 3.48 | 161.8 | 3.64 | 202.3333 | 3.58 | 215.3 | 19.5767 | 894 | 49.5567 | 2.8153
2019-10-28 15:45:00 | 3.12 | 163.84 | 3.59 | 180.0333 | 3.9167 | 210.2333 | 3.8267 | 226.2667 | 20.19 | 894 | 46.26 | 5.1133
2019-10-28 16:00:00 | 3.1667 | 162.32 | 3.6433 | 178.3667 | 4.05 | 226.2333 | 4.04 | 220.1333 | 20.3833 | 894 | 45.54 | 5.0813
2019-10-28 16:15:00 | 3.0267 | 162.1667 | 3.4933 | 178.2 | 3.8533 | 208.0667 | 3.9767 | 226.6 | 19.9933 | 894 | 34.5133 | 5.9093
2019-10-28 16:30:00 | 2.98 | 144.8733 | 3.4333 | 159.2 | 3.7667 | 209.2 | 4.2167 | 216.4 | 20.096 | 894 | 40.0133 | 7.0633
2019-10-28 16:45:00 | 2.8567 | 160.8633 | 3.2833 | 176.7667 | 3.5933 | 212.1333 | 3.61 | 224.0667 | 19.54 | 894 | 38.4367 | 6.122
2019-10-28 17:00:00 | 3.0033 | 179.67 | 3.45 | 197.4333 | 4.04 | 217.8 | 4.05 | 227.6667 | 19.3 | 894 | 36.6033 | 7.048
2019-10-28 17:15:00 | 2.8967 | 179.4233 | 3.34 | 197.1667 | 4.0433 | 211.1333 | 4.3733 | 218.0667 | 18.1 | 894 | 37.07 | 11.1607
2019-10-28 17:30:00 | 3.1433 | 172.4433 | 3.6133 | 189.5 | 4.31 | 209.9333 | 4.7133 | 214.2667 | 17.4333 | 893.6 | 39.4233 | 15.5107
2019-10-28 17:45:00 | 3.5367 | 168.5 | 4.0633 | 185.1667 | 4.73 | 219.2333 | 5.25 | 223.3667 | 16.94 | 893 | 44.23 | 20.0307
2019-10-28 18:00:00 | 3.75 | 163.72 | 4.31 | 179.9 | 4.97 | 209.4333 | 5.7367 | 211.8333 | 16.62 | 893 | 46.57 | 17.2313
2019-10-28 18:15:00 | 3.8367 | 168.1733 | 4.41 | 184.8 | 5.1033 | 217.5667 | 5.1733 | 214.3667 | 16.32 | 892.9333 | 48.2667 | 14.6247
2019-10-28 18:30:00 | 3.1833 | 165.2 | 3.67 | 181.5333 | 3.97 | 201.5667 | 4.0867 | 204.6333 | 16.14 | 892 | 50.5733 | 14.1947
2019-10-28 18:45:00 | 3.11 | 161.4367 | 3.5733 | 177.4 | 3.9333 | 185.9667 | 4.2533 | 196.2 | 15.7267 | 892 | 52.29 | 14.1987
2019-10-28 19:00:00 | 3.05 | 167.45 | 3.5067 | 184 | 3.8667 | 195.6333 | 4.6133 | 200.4 | 15.5067 | 892 | 53.2967 | 18.2833
2019-10-28 19:15:00 | 4.4467 | 208.9967 | 5.12 | 229.6667 | 5.5467 | 197.7 | 5.9833 | 195.9333 | 15.42 | 892.0667 | 55.78 | 15.8533
2019-10-28 19:30:00 | 4.14 | 179.1567 | 4.7667 | 196.8667 | 4.9133 | 190.1 | 5.3967 | 194.3333 | 15.24 | 893 | 60.2 | 13.4307
2019-10-28 19:45:00 | 3.8867 | 170.02 | 4.47 | 186.8333 | 4.75 | 172.3333 | 5.26 | 193.1 | 14.6067 | 893 | 68.5833 | 12.6707
2019-10-28 20:00:00 | 3.9533 | 173.7267 | 4.5567 | 190.9 | 4.7367 | 184.5333 | 5.2533 | 186.0333 | 14.2733 | 893 | 75.81 | 12.6627
2019-10-28 20:15:00 | 3.76 | 149.67 | 4.3267 | 164.4667 | 4.56 | 194.7333 | 5.3267 | 179.0667 | 13.8733 | 893 | 82.1 | 13.7287
2019-10-28 20:30:00 | 3.88 | 159.9833 | 4.46 | 175.8 | 4.6667 | 165.4667 | 5.3133 | 192.8667 | 13.62 | 893 | 85.5 | 13.6153
2019-10-28 20:45:00 | 3.8467 | 157.6833 | 4.4233 | 173.2667 | 4.5767 | 171.7667 | 5.3133 | 184.9667 | 13.3433 | 893 | 88.2667 | 14.4693
2019-10-28 21:00:00 | 3.9067 | 165.7433 | 4.5033 | 182.1333 | 4.6967 | 174.5 | 5.2133 | 180.1667 | 13.17 | 893 | 89.9333 | 14.9213
2019-10-28 21:15:00 | 3.94 | 148.3667 | 4.5333 | 163.0333 | 4.5667 | 194.9667 | 5.1167 | 180.8333 | 12.98 | 893 | 91.6667 | 15.4907
2019-10-28 21:30:00 | 4.1267 | 151.6333 | 4.7467 | 166.6333 | 4.7733 | 178.1667 | 5.4633 | 175.5667 | 12.8467 | 893 | 92.6667 | 18.2947
2019-10-28 21:45:00 | 4.4967 | 176.88 | 5.1767 | 194.3667 | 5.3533 | 189.6 | 5.67 | 192.2667 | 12.7393 | 893 | 93.4067 | 15.6307
2019-10-28 22:00:00 | 4.1633 | 149.5133 | 4.7967 | 164.3 | 5 | 199.8667 | 5.23 | 192 | 12.6233 | 893 | 94.0333 | 13.638
2019-10-28 22:15:00 | 4.6167 | 161.5333 | 5.3067 | 177.5 | 5.72 | 202.2 | 6.2733 | 190.1333 | 12.53 | 893 | 94.8933 | 11.6893
2019-10-28 22:30:00 | 4.19 | 153.8267 | 4.82 | 169.0333 | 5.1333 | 194.3333 | 5.6067 | 196 | 12.5033 | 893 | 95 | 9.8127
2019-10-28 22:45:00 | 4.04 | 163.86 | 4.6533 | 180.0667 | 4.77 | 194.3 | 5.0133 | 195.9 | 12.4113 | 893 | 95.6 | 8.6367
2019-10-28 23:00:00 | 3.3733 | 162.1067 | 3.8933 | 178.1333 | 4.1233 | 193.8333 | 4.2067 | 211.2333 | 12.422 | 893 | 95.8 | 8.646
2019-10-28 23:15:00 | 3.504 | 172.796 | 4.032 | 189.88 | 4.414 | 224.48 | 4.884 | 223.44 | 12.4093 | 893 | 96.1 | 9.284
2019-10-28 23:30:00 | 3.2533 | 169.14 | 3.7533 | 185.8667 | 3.99 | 190.8667 | 4.5 | 202.8 | 12.38 | 893 | 96.14 | 6.6333
2019-10-28 23:45:00 | 3.3067 | 163.4667 | 3.8033 | 179.6333 | 3.9933 | 179.4 | 4.47 | 204.8333 | 12.2887 | 893 | 96.5 | 5.92