## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2019-10-29 00:00:00 | 3.1236 | 155.9057 | 3.5943 | 171.3214 | 3.6686 | 189.0929 | 4.1357 | 191.25 | 12.225 | 893 | 96.675 | 6.1593
2019-10-29 00:15:00 | 3.2833 | 162.96 | 3.7733 | 179.0667 | 3.7867 | 189.5333 | 4.1967 | 196.8 | 12.1747 | 893 | 96.86 | 6.3047
2019-10-29 00:30:00 | 3.0967 | 157.0067 | 3.56 | 172.5333 | 3.54 | 183.9333 | 3.8767 | 189.4 | 12.0733 | 893 | 97.3 | 4.806
2019-10-29 00:45:00 | 2.7867 | 159.7767 | 3.21 | 175.5667 | 3.34 | 197.3333 | 3.7533 | 183.2 | 12.036 | 893 | 97.4667 | 4.8173
2019-10-29 01:00:00 | 3.184 | 154.638 | 3.668 | 169.92 | 3.826 | 193.18 | 4.388 | 190.34 | 11.958 | 893 | 97.72 | 3.2873
2019-10-29 01:15:00 | 2.9767 | 154.22 | 3.42 | 169.4667 | 3.4867 | 181.5667 | 3.78 | 191.1333 | 11.8893 | 893 | 98.0067 | 3.4247
2019-10-29 01:30:00 | 2.83 | 166.48 | 3.26 | 182.9333 | 3.3 | 181.1 | 3.72 | 185.4667 | 11.88 | 893 | 98.1 | 4.0687
2019-10-29 01:45:00 | 2.5667 | 176.8467 | 2.9533 | 194.3333 | 3.0767 | 191.4667 | 3.51 | 190 | 11.9313 | 892.2667 | 97.8333 | 3.9847
2019-10-29 02:00:00 | 2.3067 | 169.7533 | 2.6533 | 186.5333 | 2.73 | 199.6 | 3.0967 | 202.3333 | 11.942 | 892 | 97.74 | 4.07
2019-10-29 02:15:00 | 3.0033 | 154.1267 | 3.4533 | 169.3667 | 3.58 | 169.3 | 3.7333 | 182.4667 | 11.86 | 892 | 97.7333 | 2.5007
2019-10-29 02:30:00 | 3.1367 | 153.58 | 3.6133 | 168.7667 | 3.72 | 180.0333 | 3.8533 | 184.9333 | 11.78 | 892 | 97.9333 | 2.628
2019-10-29 02:45:00 | 3.0933 | 150.2767 | 3.56 | 165.1333 | 3.6567 | 180.6333 | 3.8233 | 183.8133 | 11.7307 | 892 | 98.3067 | 2.3473
2019-10-29 03:00:00 | 3.0933 | 141.7833 | 3.56 | 155.8 | 3.5567 | 188.9 | 3.69 | 191.8 | 11.748 | 892 | 98.36 | 1.984
2019-10-29 03:15:00 | 2.6467 | 178.9033 | 3.0467 | 196.6 | 3.2933 | 189.2 | 3.5467 | 179.3667 | 11.776 | 892 | 98.3667 | 1.142
2019-10-29 03:30:00 | 2.66 | 169.0767 | 3.06 | 185.8 | 3.2467 | 191.4667 | 3.4467 | 179.9 | 11.78 | 892 | 98.5 | 1.5213
2019-10-29 03:45:00 | 2.98 | 175.9333 | 3.4333 | 193.3333 | 3.6433 | 184.2667 | 3.8233 | 190.1333 | 11.7787 | 891.9333 | 98.4933 | 1.9847
2019-10-29 04:00:00 | 3.14 | 158.8933 | 3.6133 | 174.6 | 3.71 | 189.8667 | 4.05 | 184.5333 | 11.828 | 891 | 98.36 | 2.056
2019-10-29 04:15:00 | 3.3833 | 152.2467 | 3.8967 | 167.3 | 3.9133 | 185 | 4.14 | 186.6 | 11.8267 | 891 | 98.2333 | 1.766
2019-10-29 04:30:00 | 3.03 | 163.6 | 3.4833 | 179.7667 | 3.48 | 180.1333 | 3.98 | 196.8 | 11.844 | 891 | 98.06 | 1.488
2019-10-29 04:45:00 | 2.94 | 152.4867 | 3.3833 | 167.5667 | 3.3933 | 187.7333 | 3.7767 | 205.3 | 11.844 | 891 | 97.92 | 1.2773
2019-10-29 05:00:00 | 2.8867 | 168.9867 | 3.3167 | 185.7 | 3.4733 | 187.9333 | 3.7167 | 198.8333 | 11.8333 | 891 | 98 | 1.5613
2019-10-29 05:15:00 | 3.484 | 141.9133 | 4.008 | 155.9333 | 4.09 | 184.36 | 4.4067 | 184.3867 | 11.782 | 891 | 98.1733 | 1.1347
2019-10-29 05:30:00 | 2.9867 | 165.5033 | 3.4333 | 181.8667 | 3.4333 | 169.3 | 3.7333 | 186.0333 | 11.76 | 891 | 98.3333 | 0.66533
2019-10-29 05:45:00 | 2.9613 | 150.6047 | 3.414 | 165.5 | 3.4407 | 182.6267 | 3.5607 | 185.0133 | 11.7527 | 891 | 98.48 | 1.0367
2019-10-29 06:00:00 | 2.9467 | 165.5967 | 3.39 | 181.9667 | 3.53 | 211.8667 | 3.5233 | 197.6667 | 11.746 | 891 | 98.6 | 1.3893
2019-10-29 06:15:00 | 3.0147 | 163.478 | 3.472 | 179.6333 | 3.5073 | 177.6867 | 3.688 | 182.9867 | 11.6667 | 891 | 98.8533 | 0.73733
2019-10-29 06:30:00 | 2.9933 | 173.9967 | 3.4533 | 191.2 | 3.46 | 186.5333 | 3.71 | 189.2333 | 11.5567 | 891 | 99.2667 | 1.452
2019-10-29 06:45:00 | 2.9367 | 166.66 | 3.3767 | 183.1333 | 3.4167 | 189.6 | 3.6667 | 195.02 | 11.4333 | 891 | 99.9067 | 1.5893
2019-10-29 07:00:00 | 3.0767 | 176.3 | 3.5367 | 193.7333 | 3.5167 | 182.0667 | 3.78 | 202.7667 | 11.3667 | 891 | 100 | 2.3813
2019-10-29 07:15:00 | 3.1867 | 164.8433 | 3.67 | 181.1333 | 3.9033 | 188.9333 | 4 | 189.8333 | 11.2987 | 891 | 100 | 3.1753
2019-10-29 07:30:00 | 3.26 | 158.35 | 3.75 | 174 | 4.0567 | 178.3333 | 4.1733 | 190.5667 | 11.284 | 891 | 100 | 2.1793
2019-10-29 07:45:00 | 3.0367 | 168.9567 | 3.49 | 185.6667 | 3.59 | 187.2667 | 3.7233 | 192.5 | 11.3053 | 891 | 100 | 2.1693
2019-10-29 08:00:00 | 3.0767 | 164.29 | 3.5433 | 180.5333 | 3.7233 | 182.5333 | 3.7367 | 191.5667 | 11.32 | 891.4 | 100 | 2.852
2019-10-29 08:15:00 | 2.5667 | 158.082 | 2.9633 | 173.7133 | 3.1167 | 187.7667 | 3.4 | 193.4667 | 11.3447 | 892 | 100 | 3.818
2019-10-29 08:30:00 | 2.3933 | 136.59 | 2.7633 | 150.1 | 2.8633 | 189.8333 | 2.8733 | 197.2667 | 11.37 | 892 | 100 | 3.8667
2019-10-29 08:45:00 | 2.2933 | 165.4767 | 2.64 | 181.8333 | 2.7033 | 171.8667 | 2.9567 | 209.8333 | 11.378 | 892 | 100 | 3.468
2019-10-29 09:00:00 | 2.4133 | 162.1367 | 2.7733 | 178.1667 | 2.75 | 193.1333 | 3.0233 | 191.1667 | 11.4367 | 892 | 100 | 3.678
2019-10-29 09:15:00 | 2.7 | 156.1 | 3.1133 | 171.5333 | 3.26 | 189.7 | 3.66 | 178.1 | 11.5 | 892.0667 | 100 | 3.9753
2019-10-29 09:30:00 | 2.6867 | 166.7733 | 3.1 | 183.2667 | 3.0667 | 191.0333 | 3.36 | 185.9 | 11.52 | 893 | 100 | 3.0307
2019-10-29 09:45:00 | 2.3333 | 152.4333 | 2.6867 | 167.5 | 2.7567 | 188.8667 | 2.7133 | 189.1 | 11.63 | 893 | 100 | 2.014
2019-10-29 10:00:00 | 2.48 | 172.6933 | 2.8533 | 189.7667 | 2.93 | 173 | 2.9733 | 199.2333 | 11.7167 | 893 | 100 | 2.3853
2019-10-29 10:15:00 | 2.4233 | 168.44 | 2.7867 | 185.1 | 2.87 | 178.4 | 2.6833 | 192.4333 | 11.8433 | 893 | 100 | 2.7153
2019-10-29 10:30:00 | 2.59 | 169.9533 | 2.98 | 186.7667 | 2.9833 | 183.7333 | 2.9033 | 193.7 | 11.97 | 893 | 99.96 | 2.714
2019-10-29 10:45:00 | 2.68 | 133.1433 | 3.0833 | 146.3 | 3.1667 | 173.1333 | 3.0233 | 196.9 | 12.2267 | 893 | 99.2333 | 3.9013
2019-10-29 11:00:00 | 3.1067 | 134.3567 | 3.57 | 147.6333 | 3.5867 | 186.0667 | 3.73 | 189.7667 | 12.4067 | 893 | 98.5 | 3.1447
2019-10-29 11:15:00 | 2.7 | 127.7367 | 3.1067 | 140.3667 | 3.14 | 174.6333 | 3.0667 | 172.5667 | 12.7567 | 893 | 97.1667 | 2.6987
2019-10-29 11:30:00 | 2.84 | 126.1633 | 3.2667 | 138.6333 | 3.3067 | 160.9667 | 3.0333 | 169.9667 | 13.1367 | 893 | 95.6333 | 2.4027
2019-10-29 11:45:00 | 3.2267 | 165.9033 | 3.72 | 182.3 | 3.71 | 183.8333 | 3.4967 | 197.3667 | 13.3 | 893 | 94.1333 | 2.6587
2019-10-29 12:00:00 | 3.1133 | 163.29 | 3.5867 | 179.4333 | 3.63 | 182.0333 | 3.6633 | 185.5667 | 13.5 | 893 | 93.3333 | 2.2813
2019-10-29 12:15:00 | 2.68 | 146.1233 | 3.09 | 160.5667 | 3.49 | 191.4 | 3.61 | 171.7333 | 13.6373 | 893 | 92.4667 | 2.5233
2019-10-29 12:30:00 | 3.4267 | 132.41 | 3.9367 | 145.5 | 4.2033 | 153.6667 | 4.3033 | 175.3333 | 13.56 | 893 | 92.96 | 2.4993
2019-10-29 12:45:00 | 3.0567 | 125.5867 | 3.5233 | 138 | 3.76 | 164.6333 | 3.27 | 165.6 | 14.0133 | 893 | 91.0333 | 3.238
2019-10-29 13:00:00 | 3.42 | 148.664 | 3.938 | 163.36 | 4.226 | 147.8 | 3.732 | 183.48 | 14.192 | 893 | 89.98 | 3.036
2019-10-29 13:15:00 | 3.1467 | 149.2433 | 3.6267 | 164 | 3.6967 | 188.2667 | 3.55 | 198.4 | 14.3367 | 892.2667 | 88.4333 | 2.5413
2019-10-29 13:30:00 | 2.9467 | 125.2233 | 3.3867 | 137.6 | 3.61 | 162 | 3.41 | 207.6667 | 14.7633 | 892 | 87.2333 | 4.022
2019-10-29 13:45:00 | 2.9133 | 130.28 | 3.35 | 143.1667 | 3.6867 | 168.8333 | 3.6967 | 178.5333 | 15.14 | 892 | 85.2 | 2.9013
2019-10-29 14:00:00 | 2.68 | 141.9267 | 3.0833 | 155.9667 | 3.2333 | 162.9667 | 3.2033 | 174.4 | 15.188 | 892 | 84.2667 | 4.1
2019-10-29 14:15:00 | 3.1367 | 159.7433 | 3.6133 | 175.5333 | 3.74 | 189.8 | 3.5967 | 194.2667 | 14.8733 | 892 | 84.3667 | 4.8173
2019-10-29 14:30:00 | 3.2233 | 141.4767 | 3.7067 | 155.4667 | 3.8533 | 163.2 | 3.7767 | 195.3333 | 15.0333 | 892 | 84.4333 | 3.402
2019-10-29 14:45:00 | 3.0133 | 141.7267 | 3.4667 | 155.7333 | 3.71 | 179.5667 | 3.59 | 190.1667 | 15.6833 | 892 | 81.8 | 3.4513
2019-10-29 15:00:00 | 2.8333 | 141.12 | 3.26 | 155.0667 | 3.5967 | 158.3 | 3.6967 | 167.1 | 15.8567 | 892 | 80.8 | 3.016
2019-10-29 15:15:00 | 3.27 | 167.5 | 3.7567 | 184.0667 | 4.03 | 187.2 | 3.8533 | 187.2333 | 15.6467 | 892 | 81.8667 | 2.12
2019-10-29 15:30:00 | 2.71 | 147.06 | 3.1167 | 161.6 | 3.4033 | 168.0667 | 3.26 | 177.3 | 15.96 | 892 | 80.6333 | 2.4613
2019-10-29 15:45:00 | 2.84 | 169.2633 | 3.2733 | 186 | 3.3933 | 168.9 | 3.1233 | 192.3333 | 15.8633 | 891.9333 | 79.5 | 1.68
2019-10-29 16:00:00 | 2.2667 | 166.47 | 2.6133 | 182.9333 | 2.96 | 225.4333 | 2.99 | 225.2667 | 15.4967 | 891 | 81.5333 | 0.79733
2019-10-29 16:15:00 | 2.2367 | 184.3367 | 2.58 | 202.5667 | 2.93 | 225 | 3.02 | 216.8333 | 16.8267 | 891.0667 | 76.2833 | 1.4947
2019-10-29 16:30:00 | 2.7967 | 160.4967 | 3.22 | 176.3667 | 3.65 | 220.2 | 3.6933 | 221.9667 | 16.94 | 892 | 73.83 | 1.3453
2019-10-29 16:45:00 | 2.3933 | 171.7733 | 2.7567 | 188.7667 | 3.0533 | 217.28 | 3.1267 | 218.1667 | 16.0533 | 892 | 76.6833 | 0.88533
2019-10-29 17:00:00 | 2.34 | 162.2533 | 2.6967 | 178.3 | 3.2067 | 220.2 | 3.16 | 219.6333 | 15.4733 | 891.6 | 79.4433 | 1.1347
2019-10-29 17:15:00 | 2.6333 | 146.1733 | 3.0267 | 160.6333 | 3.6467 | 210.3667 | 3.66 | 212.7333 | 14.8633 | 891 | 82.0667 | 0.76
2019-10-29 17:30:00 | 2.3933 | 153.5733 | 2.7533 | 168.7667 | 3.2733 | 202.3667 | 3.2333 | 207.3333 | 14.5233 | 891 | 83.6 | 1.3973
2019-10-29 17:45:00 | 2.4467 | 147.8733 | 2.8133 | 162.5 | 3.69 | 205.8 | 3.7033 | 202.5267 | 14.37 | 891 | 84.4667 | 1.3233
2019-10-29 18:00:00 | 2.46 | 171.3 | 2.8333 | 188.2333 | 3.6233 | 208.1333 | 3.5633 | 204.7 | 14.21 | 891 | 85.2 | 0.53
2019-10-29 18:15:00 | 2.36 | 178.3333 | 2.72 | 195.9667 | 3.3967 | 211.4333 | 3.3833 | 209.0333 | 13.9467 | 891 | 85.1 | 0.72067
2019-10-29 18:30:00 | 2.3867 | 173.6067 | 2.7467 | 190.7667 | 3.5633 | 196.1 | 3.5633 | 199.7 | 13.8333 | 891 | 84.9667 | 1.9813
2019-10-29 18:45:00 | 2.5933 | 142.9933 | 2.98 | 157.1333 | 3.35 | 187.3333 | 3.4567 | 186 | 13.828 | 890.9333 | 85.2067 | 2.28
2019-10-29 19:00:00 | 2.3333 | 140.8133 | 2.68 | 154.7333 | 3.0033 | 200.1333 | 3.2633 | 195.5333 | 13.88 | 890 | 85.06 | 0.86733
2019-10-29 19:15:00 | 1.316 | 171.87 | 1.518 | 188.86 | 2.218 | 227.9 | 2.152 | 209.46 | 13.838 | 890.7333 | 85.06 | 0
2019-10-29 19:30:00 | 0.96667 | 201.75 | 1.1233 | 221.7 | 1.63 | 220.7 | 1.72 | 221.1667 | 13.77 | 891 | 85.1 | 0
2019-10-29 19:45:00 | 0.42333 | 267.19 | 0.48333 | 293.6 | 0.53667 | 255.8667 | 0.61 | 282.2 | 13.8467 | 891 | 84.6933 | 0
2019-10-29 20:00:00 | 0.42333 | 297.8233 | 0.48333 | 327.2667 | 0.63667 | 345.6667 | 0.33667 | 309.24 | 13.7933 | 891 | 85 | 0
2019-10-29 20:15:00 | 0.58 | 301.1707 | 0.668 | 330.9533 | 0.87133 | 341.4933 | 0.31333 | 315.24 | 13.7133 | 891 | 84.6667 | 0
2019-10-29 20:30:00 | 0.67333 | 297.3067 | 0.77333 | 326.7 | 0.99667 | 332.5333 | 0.48333 | 327 | 13.6967 | 891.4 | 84.46 | 0
2019-10-29 20:45:00 | 0.42 | 294.4767 | 0.48667 | 323.6 | 0.49 | 332.86 | 0.32 | 327.0667 | 13.7113 | 892 | 84.1 | 0
2019-10-29 21:00:00 | 0.006667 | 284.65 | 0.006667 | 312.8 | 0.01 | 341.46 | 0.22667 | 276.0667 | 13.734 | 892 | 84.1 | 0
2019-10-29 21:15:00 | 0.9 | 185.04 | 1.0433 | 203.3333 | 1.52 | 226.6667 | 1.3733 | 225.9333 | 13.9787 | 892 | 83.5 | 0
2019-10-29 21:30:00 | 1.1267 | 205.48 | 1.2967 | 225.8 | 1.82 | 216.8667 | 1.7333 | 215.4667 | 13.8333 | 892 | 85.0333 | 0
2019-10-29 21:45:00 | 0.74667 | 207.1467 | 0.86333 | 227.6333 | 1.19 | 205.0667 | 1.1033 | 235.0667 | 13.8167 | 892 | 85.2333 | 0
2019-10-29 22:00:00 | 0.51333 | 169.72 | 0.59 | 186.5 | 0.81 | 183.4 | 0.56333 | 207.4 | 13.6567 | 892 | 86.1 | 0
2019-10-29 22:15:00 | 0.086 | 220.6867 | 0.098 | 242.5067 | 0.12067 | 145.19 | 0.056667 | 151.44 | 13.432 | 892 | 86.9733 | 0
2019-10-29 22:30:00 | 1.5133 | 318.7467 | 1.75 | 350.2667 | 1.89 | 13.8033 | 1.5133 | 19.8333 | 13.1967 | 892 | 88.6667 | 0
2019-10-29 22:45:00 | 2.56 | 0.05 | 2.95 | 0.05 | 3.7 | 3.6767 | 3.89 | 3.67 | 12.58 | 892 | 92.3667 | 0.84533
2019-10-29 23:00:00 | 2.4067 | 216.5367 | 2.77 | 237.95 | 4.1533 | 20.71 | 4.11 | 14.1567 | 12.38 | 892 | 93.1667 | 0.854
2019-10-29 23:15:00 | 2.3933 | 216.1333 | 2.75 | 237.5033 | 3.8833 | 13.5467 | 3.6967 | 27.6967 | 12.2633 | 892 | 93.1267 | 0.38867
2019-10-29 23:30:00 | 2.7267 | 218.7333 | 3.1367 | 240.37 | 3.9233 | 13.3867 | 3.8033 | 28.93 | 12.1833 | 892 | 93.5667 | 0.78467
2019-10-29 23:45:00 | 2.7133 | 301.4267 | 3.1333 | 331.2333 | 3.8267 | 121.2067 | 3.85 | 8.1667 | 12.31 | 892 | 93.0333 | 1.446