## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2019-10-30 00:00:00 | 2.3657 | 302.95 | 2.7343 | 332.9071 | 3.6521 | 132.7164 | 3.8707 | 8.0607 | 12.075 | 892 | 94.1 | 2.6621
2019-10-30 00:15:00 | 2.4933 | 291.0567 | 2.87 | 319.8333 | 4.6533 | 11.38 | 4.8433 | 8.2467 | 11.7 | 892.6667 | 95.9 | 4.1887
2019-10-30 00:30:00 | 2.7067 | 102.85 | 3.1233 | 113.0133 | 5.1467 | 5.12 | 5.1767 | 7.1467 | 11.3333 | 892 | 97.0333 | 6.1247
2019-10-30 00:45:00 | 3 | 10.32 | 3.4533 | 11.34 | 5.2167 | 9.0267 | 5.3467 | 21.6433 | 11.19 | 892 | 98.0667 | 7.3173
2019-10-30 01:00:00 | 3.2333 | 19.6 | 3.72 | 21.5333 | 5.3833 | 9.4 | 5.7267 | 20.2967 | 11.174 | 892 | 98.24 | 8.81
2019-10-30 01:15:00 | 3.6333 | 219.77 | 4.18 | 241.4967 | 6.4 | 236.0233 | 6.6433 | 11.5067 | 10.99 | 892 | 98.38 | 9.5427
2019-10-30 01:30:00 | 3.6133 | 217.65 | 4.16 | 239.1633 | 6.52 | 230.6233 | 6.77 | 11.3133 | 10.89 | 892 | 98.6333 | 10.284
2019-10-30 01:45:00 | 4.24 | 114.51 | 4.8767 | 125.8267 | 7.2133 | 7.17 | 7.5187 | 14.6133 | 10.8433 | 892 | 98.8667 | 10.8373
2019-10-30 02:00:00 | 4.42 | 298.9967 | 5.0833 | 328.5667 | 6.8733 | 105.8433 | 7.1067 | 13.9933 | 10.9167 | 892 | 98.3333 | 10.4653
2019-10-30 02:15:00 | 4.0833 | 17.7667 | 4.7 | 19.5167 | 6.6233 | 348.9333 | 6.8 | 232.6 | 10.8967 | 892 | 97.9 | 9.388
2019-10-30 02:30:00 | 3.95 | 206.9867 | 4.5467 | 227.45 | 6.6567 | 118.24 | 6.76 | 8.04 | 10.7367 | 892 | 98.3 | 9.3653
2019-10-30 02:45:00 | 4.0733 | 216.2 | 4.6867 | 237.5833 | 7.1133 | 6.84 | 7.38 | 19.42 | 10.57 | 892 | 98.8 | 9.5367
2019-10-30 03:00:00 | 3.62 | 152.56 | 4.1733 | 167.65 | 6.7867 | 231.1467 | 7.3733 | 14.1667 | 10.4033 | 892 | 99.2 | 9.8467
2019-10-30 03:15:00 | 3.8333 | 9.0533 | 4.4133 | 9.9533 | 6.53 | 231.6333 | 6.9367 | 12.64 | 10.2067 | 892 | 99.8 | 9.632
2019-10-30 03:30:00 | 4.1267 | 14.5267 | 4.7533 | 15.9667 | 7.5167 | 8.2733 | 7.534 | 17.0533 | 10.0667 | 892 | 100 | 9.7593
2019-10-30 03:45:00 | 4.4133 | 213.44 | 5.0867 | 234.54 | 7.6367 | 133.7667 | 7.3767 | 8.3433 | 10.0087 | 892 | 100 | 9.8867
2019-10-30 04:00:00 | 3.8933 | 213.1333 | 4.4867 | 234.2067 | 7.0433 | 122.1133 | 7.2433 | 6.89 | 9.9567 | 892 | 100 | 10.1893
2019-10-30 04:15:00 | 3.5147 | 322.25 | 4.0553 | 354.1133 | 6.78 | 5.9613 | 7.236 | 12.3307 | 9.7733 | 891.9333 | 100 | 10.3947
2019-10-30 04:30:00 | 3.8133 | 136.4333 | 4.39 | 149.9267 | 6.85 | 3.0967 | 7.2333 | 12.16 | 9.6733 | 891 | 100 | 10.3793
2019-10-30 04:45:00 | 3.79 | 217.8033 | 4.3567 | 239.34 | 6.4367 | 7.7267 | 6.9067 | 15 | 9.7167 | 891 | 100 | 10.1267
2019-10-30 05:00:00 | 3.89 | 204.3967 | 4.4833 | 224.6067 | 7.1433 | 9.7333 | 7.36 | 17.3533 | 9.61 | 891 | 100 | 10.23
2019-10-30 05:15:00 | 3.82 | 212.0467 | 4.3933 | 233.0067 | 6.9733 | 7.8067 | 7.0967 | 15.4467 | 9.54 | 891 | 100 | 10.254
2019-10-30 05:30:00 | 3.86 | 212.1067 | 4.44 | 233.0733 | 7.0467 | 13.7733 | 7.29 | 11.6267 | 9.4733 | 891 | 100 | 10.286
2019-10-30 05:45:00 | 4.5067 | 5.6067 | 5.1833 | 6.1533 | 6.8967 | 24.4867 | 7.5233 | 17.3767 | 9.5533 | 891 | 100 | 9.948
2019-10-30 06:00:00 | 4.12 | 167.8133 | 4.7433 | 184.4 | 6.6433 | 9.36 | 7.39 | 15.0433 | 9.5 | 891.4 | 100 | 10.058
2019-10-30 06:15:00 | 4.1733 | 18.0533 | 4.8067 | 19.84 | 6.95 | 10.3733 | 7.7267 | 17.36 | 9.4393 | 892 | 100 | 10.0967
2019-10-30 06:30:00 | 3.9333 | 23.54 | 4.5333 | 25.8667 | 6.69 | 11.9933 | 7.384 | 21.5267 | 9.3833 | 892 | 100 | 10.2633
2019-10-30 06:45:00 | 4.3033 | 312.7667 | 4.9567 | 343.7 | 7.2033 | 12.6567 | 7.76 | 29.76 | 9.3333 | 892 | 100 | 10.43
2019-10-30 07:00:00 | 4.3167 | 318.8933 | 4.97 | 350.4333 | 7.2767 | 238.89 | 8.06 | 19.6133 | 9.28 | 892 | 100 | 10.5407
2019-10-30 07:15:00 | 4.3133 | 132.0267 | 4.97 | 145.0867 | 7.1667 | 3.7367 | 7.7733 | 7.5533 | 9.2033 | 892 | 100 | 10.2647
2019-10-30 07:30:00 | 4.14 | 276.7333 | 4.7633 | 304.1 | 7.14 | 7.1367 | 7.9533 | 13.5533 | 9.1767 | 892 | 100 | 10.2753
2019-10-30 07:45:00 | 3.9133 | 58.2867 | 4.5 | 64.05 | 6.6867 | 241.6767 | 7.0733 | 8.9033 | 9.2167 | 892 | 100 | 9.7133
2019-10-30 08:00:00 | 3.8533 | 25.06 | 4.4267 | 27.53 | 6.64 | 3.8433 | 6.94 | 15.4967 | 9.254 | 892 | 100 | 19.6973
2019-10-30 08:15:00 | 4.3667 | 1.1567 | 5.0333 | 1.2633 | 7.2267 | 16.0433 | 7.6667 | 17.4467 | 9.2633 | 892.0667 | 100 | 32.828
2019-10-30 08:30:00 | 4.4933 | 1.6433 | 5.18 | 1.8033 | 7.8533 | 14.9033 | 7.8067 | 11.1467 | 9.346 | 893 | 100 | 33.742
2019-10-30 08:45:00 | 4.61 | 102.02 | 5.3 | 112.1 | 7.46 | 11.4533 | 7.6767 | 13.6633 | 9.3867 | 893 | 100 | 33.496
2019-10-30 09:00:00 | 4.87 | 298.9733 | 5.6067 | 328.5333 | 7.66 | 19.6667 | 7.7433 | 8.9167 | 9.32 | 893 | 100 | 34.8427
2019-10-30 09:15:00 | 5.0333 | 26.2733 | 5.79 | 28.8733 | 7.2367 | 3.5567 | 7.5067 | 22.4667 | 9.3467 | 893 | 100 | 36.0827
2019-10-30 09:30:00 | 4.5 | 203.264 | 5.18 | 223.36 | 6.696 | 216.696 | 7.202 | 13.072 | 9.492 | 893.4 | 100 | 35.6367
2019-10-30 09:45:00 | 4.5067 | 108.29 | 5.18 | 119 | 6.7467 | 350.4333 | 7.04 | 9.6267 | 9.8267 | 894 | 100 | 32.0373
2019-10-30 10:00:00 | 4.2 | 276.6767 | 4.84 | 304.0333 | 6.1533 | 350.1667 | 6.86 | 8.98 | 10.16 | 894 | 100 | 27.0427
2019-10-30 10:15:00 | 3.9067 | 7.4767 | 4.4933 | 8.2133 | 5.8833 | 3.48 | 6.7633 | 23.19 | 10.7167 | 894.0667 | 100 | 21.1993
2019-10-30 10:30:00 | 4.072 | 133.07 | 4.684 | 146.224 | 5.934 | 210.848 | 6.552 | 21.368 | 11.046 | 895 | 100 | 22.6487
2019-10-30 10:45:00 | 4.3453 | 26.3613 | 5.008 | 28.9633 | 6.2227 | 105.2407 | 7.0307 | 5.7593 | 11.7287 | 895 | 99.44 | 21.0053
2019-10-30 11:00:00 | 4.5733 | 15.6633 | 5.2633 | 17.21 | 6.6767 | 354.3333 | 7.4467 | 4.3133 | 12.63 | 895 | 93.9 | 20.6173
2019-10-30 11:15:00 | 4.2367 | 49.05 | 4.8733 | 53.8933 | 7.1133 | 10.84 | 7.7833 | 13.6333 | 13.6267 | 895 | 89.9667 | 20.594
2019-10-30 11:30:00 | 4.1833 | 46.4567 | 4.8133 | 51.0533 | 7.3533 | 14.3867 | 7.5633 | 11.04 | 14.86 | 895 | 85.9 | 18.14
2019-10-30 11:45:00 | 3.9467 | 10.5167 | 4.5433 | 11.5533 | 6.6167 | 4.4 | 6.5267 | 14.5 | 15.81 | 895 | 80.87 | 12.5807
2019-10-30 12:00:00 | 3.8533 | 200.6033 | 4.4367 | 220.4333 | 6.0567 | 5.7267 | 5.8667 | 15.9267 | 15.4567 | 895 | 80.27 | 9.21
2019-10-30 12:15:00 | 3.28 | 211.7667 | 3.78 | 232.71 | 5.1933 | 6.0833 | 5.1633 | 13.6567 | 15.9433 | 895 | 78.61 | 9.23
2019-10-30 12:30:00 | 3.5133 | 213.04 | 4.04 | 234.11 | 5.44 | 6.1167 | 5.61 | 5.49 | 16.31 | 895 | 76.79 | 5.0467
2019-10-30 12:45:00 | 3.2 | 118.6067 | 3.6767 | 130.3267 | 5.09 | 3.9 | 5.3033 | 240.5433 | 16.8667 | 895 | 75.7033 | 4.264
2019-10-30 13:00:00 | 3.3467 | 304.7267 | 3.8567 | 334.8667 | 5.05 | 50.74 | 5.2167 | 5.2233 | 17.38 | 895 | 72.4567 | 4.656
2019-10-30 13:15:00 | 3.54 | 40.17 | 4.08 | 44.1367 | 5.8433 | 12.2633 | 5.6733 | 128.1333 | 18.19 | 894.2667 | 69.3633 | 3.1853
2019-10-30 13:30:00 | 3.02 | 221.3633 | 3.48 | 243.2433 | 5.1033 | 8.8167 | 4.92 | 131.0533 | 19.2967 | 894 | 65.5833 | 1.8707
2019-10-30 13:45:00 | 2.86 | 235.0233 | 3.2933 | 258.2567 | 4.9833 | 22.64 | 4.8167 | 11.8867 | 19.9367 | 894 | 62.62 | 0.722
2019-10-30 14:00:00 | 2.7533 | 25.8633 | 3.1733 | 28.41 | 4.5767 | 12.0133 | 4.3967 | 11.0933 | 19.89 | 894 | 61.1733 | 0.386
2019-10-30 14:15:00 | 2.4933 | 45.64 | 2.8733 | 50.15 | 4.4833 | 7.5 | 4.2833 | 18.23 | 20.7067 | 894 | 58.54 | 0
2019-10-30 14:30:00 | 2.0667 | 16.5533 | 2.38 | 18.1767 | 3.7367 | 15.18 | 3.49 | 12.1567 | 20.8867 | 894 | 55.9867 | 0
2019-10-30 14:45:00 | 1.49 | 218.6233 | 1.7133 | 240.24 | 2.45 | 9.8133 | 1.7 | 128.1733 | 20.8733 | 894 | 52.0667 | 0
2019-10-30 15:00:00 | 1.27 | 197.15 | 1.4733 | 216.64 | 1.9033 | 20.4733 | 1.36 | 124.4933 | 20.7867 | 894 | 51.42 | 0
2019-10-30 15:15:00 | 1.3167 | 107.1067 | 1.5133 | 117.6933 | 2.15 | 13.4433 | 1.55 | 7.0767 | 21.1433 | 894 | 51.3133 | 0
2019-10-30 15:30:00 | 1.3433 | 117.04 | 1.5533 | 128.6067 | 2.0833 | 4.5367 | 1.85 | 236.7633 | 21.5967 | 894 | 49.6667 | 0
2019-10-30 15:45:00 | 1.0067 | 299.8467 | 1.16 | 329.5 | 1.8267 | 22.57 | 1.67 | 26.6067 | 21.9867 | 894 | 48.32 | 0
2019-10-30 16:00:00 | 1.2667 | 288.344 | 1.4667 | 316.86 | 2.46 | 18.09 | 2.3367 | 12.08 | 21.62 | 894 | 51.0267 | 0
2019-10-30 16:15:00 | 1.32 | 319.51 | 1.53 | 351.1 | 2.6133 | 5.7533 | 2.58 | 12.0633 | 20.64 | 894 | 56.5133 | 0
2019-10-30 16:30:00 | 1.3733 | 319.546 | 1.5833 | 351.14 | 2.7467 | 22.34 | 2.8533 | 26.8233 | 19.7133 | 894 | 60.58 | 0
2019-10-30 16:45:00 | 1.3 | 14.8033 | 1.5067 | 16.2633 | 2.59 | 14.81 | 2.69 | 24.4467 | 19.1067 | 893.2667 | 62.34 | 0
2019-10-30 17:00:00 | 1.24 | 14.77 | 1.44 | 16.23 | 2.47 | 18.11 | 2.49 | 22.68 | 18.8933 | 893 | 58.6867 | 0
2019-10-30 17:15:00 | 1.2733 | 14.708 | 1.4767 | 16.158 | 2.5467 | 10.92 | 2.6667 | 24.3867 | 18.5767 | 893 | 60.1967 | 0
2019-10-30 17:30:00 | 1.42 | 200.6733 | 1.6433 | 220.51 | 2.8267 | 9.6867 | 2.9733 | 23.928 | 18.25 | 893 | 62.5433 | 0
2019-10-30 17:45:00 | 1.6867 | 300.0207 | 1.9433 | 329.68 | 3.3167 | 9.4333 | 3.45 | 22.1567 | 17.5967 | 892.2667 | 63.53 | 0.16067
2019-10-30 18:00:00 | 1.7733 | 314.8033 | 2.0433 | 345.9333 | 3.49 | 7.2267 | 3.79 | 22.6433 | 17.03 | 892 | 64.3967 | 1.652
2019-10-30 18:15:00 | 1.9733 | 87.2833 | 2.2667 | 95.9067 | 3.64 | 19.2333 | 4.2333 | 29.74 | 16.5633 | 892 | 67.0733 | 2.7693
2019-10-30 18:30:00 | 2.1067 | 259.3567 | 2.4333 | 285 | 4.16 | 17.58 | 4.3667 | 27.34 | 16.21 | 892 | 70.0133 | 2.358
2019-10-30 18:45:00 | 2.296 | 239.6067 | 2.6393 | 263.3027 | 3.81 | 98.1967 | 3.6287 | 14.3133 | 16.014 | 892 | 69.738 | 1.3887
2019-10-30 19:00:00 | 2.5467 | 17.9033 | 2.9267 | 19.67 | 4.1 | 113.6533 | 3.8767 | 0.96333 | 16.0767 | 892 | 69.34 | 0.882
2019-10-30 19:15:00 | 2.0833 | 211.2633 | 2.3967 | 232.1467 | 3.8 | 10.9367 | 3.7333 | 6.6133 | 15.5733 | 892 | 72.5433 | 0.67133
2019-10-30 19:30:00 | 2.0967 | 202.2233 | 2.41 | 222.2133 | 3.9667 | 11.6833 | 3.8867 | 14.0467 | 15.3867 | 892 | 74.33 | 1.01
2019-10-30 19:45:00 | 2.32 | 4.2767 | 2.6667 | 4.7 | 4.1467 | 10.67 | 4.1067 | 11.66 | 15.35 | 892 | 75.5433 | 0.874
2019-10-30 20:00:00 | 2.44 | 209.7633 | 2.8067 | 230.5133 | 3.8467 | 14.7367 | 4.16 | 16.9067 | 15.45 | 892 | 75.07 | 1.6887
2019-10-30 20:15:00 | 2.28 | 243.7 | 2.62 | 267.8 | 3.84 | 18.71 | 3.77 | 10.13 | 15.31 | 892 | 75.83 | 1.863
2019-10-30 20:30:00 | 2.5467 | 304.88 | 2.9367 | 335.0333 | 4.23 | 8.7633 | 4.38 | 8.8167 | 15.2933 | 892 | 75.8633 | 3.666
2019-10-30 20:45:00 | 2.768 | 293.526 | 3.1853 | 322.5467 | 4.6387 | 8.5387 | 4.6867 | 10.4827 | 15.1573 | 892 | 76.8727 | 2.7187
2019-10-30 21:00:00 | 2.68 | 126.666 | 3.082 | 139.19 | 4.47 | 7.928 | 4.484 | 8.334 | 14.988 | 892 | 78.026 | 2.3387
2019-10-30 21:15:00 | 2.7333 | 26.0767 | 3.1467 | 28.6533 | 4.6667 | 7.2533 | 4.8133 | 10 | 14.8367 | 892 | 78.88 | 2.918
2019-10-30 21:30:00 | 2.7467 | 208.05 | 3.1667 | 228.62 | 4.4333 | 4.2733 | 4.6867 | 11.4267 | 14.906 | 892 | 78.56 | 1.3367
2019-10-30 21:45:00 | 2.8367 | 17.5033 | 3.26 | 19.2333 | 4.33 | 9.1367 | 4.47 | 11.4933 | 14.8833 | 892.7333 | 78.8433 | 1.4333
2019-10-30 22:00:00 | 2.7833 | 19.27 | 3.2067 | 21.1733 | 4.7567 | 11.6967 | 4.7033 | 16.5 | 14.6767 | 893 | 80.41 | 2.4927
2019-10-30 22:15:00 | 2.7333 | 219.8 | 3.1467 | 241.53 | 4.4633 | 10.37 | 4.3967 | 6.63 | 14.6213 | 893 | 80.5 | 3.3127
2019-10-30 22:30:00 | 2.464 | 194.36 | 2.838 | 213.576 | 4.4 | 14.448 | 4.388 | 12.664 | 14.496 | 893 | 81.32 | 2.9193
2019-10-30 22:45:00 | 2.6233 | 308.2133 | 3.0167 | 338.7 | 4.2833 | 10.7567 | 4.3167 | 14.1967 | 14.2267 | 893 | 82.4667 | 2.29
2019-10-30 23:00:00 | 2.854 | 318.16 | 3.28 | 349.62 | 4.502 | 18.216 | 4.532 | 20.226 | 14.224 | 893 | 82.42 | 2.4973
2019-10-30 23:15:00 | 2.8667 | 313.04 | 3.3 | 344 | 4.79 | 20.47 | 4.63 | 23.38 | 14.21 | 893 | 82.4333 | 2.824
2019-10-30 23:30:00 | 2.6667 | 309.04 | 3.0733 | 339.6 | 4.7033 | 14.5433 | 4.4033 | 15.9267 | 14.0633 | 893 | 83.3 | 3.726
2019-10-30 23:45:00 | 2.76 | 304.07 | 3.18 | 334.1333 | 4.5 | 8.36 | 4.8433 | 12.44 | 13.9307 | 893 | 83.5 | 2.8187