## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2019-10-31 00:00:00 | 3.0757 | 320.655 | 3.535 | 352.3643 | 4.37 | 5.095 | 4.7643 | 17.5643 | 13.9721 | 892.75 | 82.6083 | 3.405
2019-10-31 00:15:00 | 2.942 | 211.336 | 3.3927 | 232.2367 | 4.862 | 3.6367 | 5.144 | 6.562 | 13.7227 | 892 | 84.3333 | 3.2693
2019-10-31 00:30:00 | 3.0367 | 14.5667 | 3.5 | 16.0033 | 4.6133 | 2.59 | 4.8233 | 7.5167 | 13.534 | 892 | 85.3667 | 4.3907
2019-10-31 00:45:00 | 3.1267 | 289.9567 | 3.5967 | 318.6333 | 4.62 | 3.3333 | 5.1033 | 12.7033 | 13.5933 | 892 | 85.16 | 3.9813
2019-10-31 01:00:00 | 2.8733 | 300.1567 | 3.3033 | 329.8333 | 4.86 | 7.9333 | 5.01 | 9.8167 | 13.5733 | 892 | 85.3333 | 4.01
2019-10-31 01:15:00 | 2.8233 | 2.41 | 3.25 | 2.6433 | 4.6967 | 238.2733 | 4.9933 | 4.02 | 13.4467 | 892 | 85.7667 | 4.968
2019-10-31 01:30:00 | 2.93 | 162.11 | 3.37 | 178.1433 | 4.95 | 11.4733 | 5.26 | 13.6133 | 13.3267 | 892 | 86.5 | 5.6007
2019-10-31 01:45:00 | 3.0633 | 215.9467 | 3.5233 | 237.29 | 5.4967 | 7.94 | 5.42 | 118 | 13.0433 | 892 | 88.4 | 6.314
2019-10-31 02:00:00 | 3.49 | 216.18 | 4.01 | 237.5567 | 5.5233 | 235.2 | 5.58 | 36.26 | 12.9767 | 892 | 87.3333 | 6.3147
2019-10-31 02:15:00 | 3.4433 | 227.3767 | 3.96 | 249.86 | 5.68 | 9.79 | 5.6567 | 9.13 | 12.9267 | 892 | 86.7667 | 6.6393
2019-10-31 02:30:00 | 3.15 | 180.6033 | 3.62 | 198.46 | 5.1533 | 12.2167 | 5.31 | 20.0233 | 12.8267 | 892 | 87.1 | 5.9487
2019-10-31 02:45:00 | 3.5033 | 318.9867 | 4.0333 | 350.5333 | 4.9507 | 120.8567 | 5.1167 | 6.6533 | 12.9933 | 891.9333 | 85.4 | 5.536
2019-10-31 03:00:00 | 3.6367 | 316.26 | 4.1867 | 347.5333 | 4.8467 | 6.87 | 4.8633 | 10.9467 | 12.9667 | 891 | 85.6 | 4.4227
2019-10-31 03:15:00 | 4.0833 | 295.6567 | 4.7067 | 324.9 | 5.4 | 6.97 | 5.4233 | 13.8733 | 12.83 | 891 | 86.3667 | 6.962
2019-10-31 03:30:00 | 3.87 | 116.1033 | 4.46 | 127.58 | 5.72 | 6.87 | 5.9367 | 12.54 | 12.6767 | 891 | 87.4333 | 2.8273
2019-10-31 03:45:00 | 3.8033 | 299.24 | 4.3767 | 328.8333 | 5.3067 | 48.0867 | 5.4233 | 7.2633 | 12.62 | 891 | 87 | 4.95
2019-10-31 04:00:00 | 3.7233 | 307.3667 | 4.29 | 337.7667 | 5.9133 | 10.38 | 6.05 | 13.7433 | 12.5733 | 891 | 86.8 | 6.9507
2019-10-31 04:15:00 | 3.8227 | 317.532 | 4.4007 | 348.94 | 6.1833 | 1.3553 | 6.3973 | 14.8133 | 12.4287 | 891 | 87.56 | 10.186
2019-10-31 04:30:00 | 3.8467 | 323.6267 | 4.4267 | 355.6333 | 5.7467 | 7.7967 | 6.2333 | 16.0467 | 12.25 | 891 | 88.6 | 9.0047
2019-10-31 04:45:00 | 3.54 | 122.85 | 4.08 | 134.9867 | 6.0933 | 255.4233 | 6.29 | 9.87 | 12.1507 | 891 | 89.56 | 8.4473
2019-10-31 05:00:00 | 3.16 | 144.1567 | 3.6333 | 158.4 | 5.9 | 19.6567 | 6.3433 | 4.1967 | 11.9267 | 891 | 91.7333 | 10.9813
2019-10-31 05:15:00 | 3.08 | 113.8333 | 3.54 | 125.0867 | 6.0533 | 26.8233 | 6.3667 | 12.31 | 11.6567 | 891 | 94.7667 | 15.6313
2019-10-31 05:30:00 | 3.3 | 103.8933 | 3.7933 | 114.1667 | 6.3733 | 27.31 | 6.6 | 11.8567 | 11.4233 | 891 | 96.3 | 18.72
2019-10-31 05:45:00 | 3.28 | 309.77 | 3.78 | 340.4 | 5.99 | 8.3333 | 6.3167 | 13.8333 | 11.1933 | 891 | 97.1 | 18.202
2019-10-31 06:00:00 | 3.4667 | 149.37 | 3.9867 | 164.1333 | 5.7433 | 241.7867 | 6.1167 | 16.9467 | 11.0733 | 891 | 97.0333 | 20.99
2019-10-31 06:15:00 | 3.88 | 11.25 | 4.4633 | 12.36 | 6.75 | 18.6667 | 6.9867 | 17.99 | 10.9933 | 890.2667 | 96.8933 | 25.1733
2019-10-31 06:30:00 | 4.0267 | 217.0833 | 4.63 | 238.5467 | 6.9033 | 12.5133 | 7.26 | 13.0633 | 10.964 | 890 | 97.04 | 16.9833
2019-10-31 06:45:00 | 3.6267 | 119.94 | 4.1733 | 131.8067 | 5.7733 | 10.4133 | 6.0967 | 15.2667 | 11.0033 | 890 | 96.96 | 12.0673
2019-10-31 07:00:00 | 3.44 | 122.56 | 3.96 | 134.6733 | 5.3733 | 4.5467 | 5.6967 | 14.28 | 11.01 | 890.4 | 97.3333 | 6.362
2019-10-31 07:15:00 | 3.6167 | 92.91 | 4.17 | 102.1 | 5.16 | 3.6433 | 5.1967 | 11.3067 | 10.9707 | 891 | 97.5333 | 2.842
2019-10-31 07:30:00 | 2.79 | 292.4833 | 3.21 | 321.4 | 4.1267 | 9.3033 | 4.3033 | 16.7667 | 10.88 | 891 | 98.2 | 1.644
2019-10-31 07:45:00 | 3.1267 | 5.5033 | 3.5933 | 6.0433 | 4.03 | 3.0933 | 4.1767 | 9.2367 | 10.812 | 891 | 98.8 | 2.98
2019-10-31 08:00:00 | 3.5 | 216.9767 | 4.0267 | 238.4367 | 4.51 | 0.20667 | 4.2367 | 7.8967 | 10.74 | 891 | 99.4667 | 1.4773
2019-10-31 08:15:00 | 3.0733 | 311.95 | 3.5367 | 342.8 | 3.49 | 2.74 | 3.18 | 12.5467 | 10.7033 | 891 | 100 | 0.072667
2019-10-31 08:30:00 | 2.98 | 105.43 | 3.43 | 115.8467 | 3.3233 | 3.82 | 2.98 | 10.4733 | 10.7767 | 891 | 100 | 0
2019-10-31 08:45:00 | 2.0733 | 312.4 | 2.3967 | 343.3 | 2.39 | 122.0067 | 2.65 | 132.7267 | 11.0033 | 891.7333 | 100 | 0
2019-10-31 09:00:00 | 1.76 | 214.4267 | 2.0367 | 235.6333 | 2.2367 | 348.3 | 2.51 | 349.4333 | 11.0967 | 892 | 100 | 0
2019-10-31 09:15:00 | 1.7 | 108.5767 | 1.9567 | 119.3133 | 2.36 | 236.4933 | 2.5367 | 240.3767 | 11.15 | 892 | 100 | 0
2019-10-31 09:30:00 | 1.9533 | 119.45 | 2.2567 | 131.2533 | 2.6267 | 11.3467 | 2.7033 | 11.4567 | 11.09 | 892 | 100 | 0.35933
2019-10-31 09:45:00 | 2.8067 | 95.5133 | 3.23 | 104.96 | 4.1267 | 15.96 | 3.6733 | 21.5233 | 10.9167 | 892 | 100 | 0.798
2019-10-31 10:00:00 | 3.0667 | 97.2867 | 3.53 | 106.9067 | 4.0733 | 240.9733 | 3.7867 | 8.0367 | 10.7767 | 892 | 100 | 3.7167
2019-10-31 10:15:00 | 3.28 | 310.7967 | 3.7833 | 341.5333 | 5.8667 | 5.8067 | 5.5533 | 3.1 | 10.8167 | 892 | 100 | 8.514
2019-10-31 10:30:00 | 3.5133 | 121.03 | 4.0433 | 132.9933 | 5.6867 | 12.9533 | 5.4533 | 9.4533 | 10.866 | 892 | 100 | 9.064
2019-10-31 10:45:00 | 3.5533 | 236.27 | 4.09 | 259.6333 | 4.9267 | 0.60667 | 5.0133 | 14.94 | 10.8627 | 892 | 100 | 6.7553
2019-10-31 11:00:00 | 3.3533 | 243.19 | 3.8633 | 267.2333 | 4.94 | 1.16 | 4.7867 | 4.3067 | 10.88 | 892 | 100 | 5.504
2019-10-31 11:15:00 | 3 | 19.1033 | 3.45 | 20.9867 | 4.7933 | 8.62 | 4.6133 | 8.27 | 10.85 | 892 | 100 | 4.1473
2019-10-31 11:30:00 | 2.9867 | 2.5833 | 3.43 | 2.84 | 4.9533 | 21.62 | 4.8133 | 8.9233 | 10.9033 | 892 | 100 | 4.014
2019-10-31 11:45:00 | 2.8133 | 193.8867 | 3.2367 | 213.0533 | 4.6633 | 21.2033 | 4.7567 | 11.96 | 10.914 | 891.9333 | 100 | 3.8233
2019-10-31 12:00:00 | 2.5733 | 44.9 | 2.9567 | 49.34 | 4.4233 | 4.91 | 4.67 | 14.9733 | 10.99 | 891 | 100 | 1.7773
2019-10-31 12:15:00 | 2.1467 | 107.9833 | 2.47 | 118.6533 | 3.7733 | 11.25 | 4.16 | 15.5567 | 11.0033 | 891 | 100 | 0.76267
2019-10-31 12:30:00 | 1.84 | 309.5633 | 2.13 | 340.1667 | 3.1467 | 11.0567 | 3.7067 | 17.1167 | 10.93 | 891 | 100 | 0
2019-10-31 12:45:00 | 1.7033 | 305.16 | 1.9667 | 335.3333 | 2.7667 | 13.9067 | 3.2667 | 16.7067 | 10.8487 | 891 | 100 | 1.576
2019-10-31 13:00:00 | 2.0767 | 101.2867 | 2.3933 | 111.3 | 3.2733 | 7.7467 | 3.62 | 26.68 | 10.83 | 891 | 100 | 3.0187
2019-10-31 13:15:00 | 2.9233 | 107.6633 | 3.37 | 118.3067 | 4.95 | 8.6233 | 4.97 | 23.3067 | 10.8233 | 891 | 100 | 3.6487
2019-10-31 13:30:00 | 3.5367 | 303.85 | 4.0767 | 333.9 | 5.1233 | 13.5633 | 5.2167 | 30.4533 | 10.7767 | 890.6 | 100 | 5.064
2019-10-31 13:45:00 | 3.35 | 225.1733 | 3.85 | 247.43 | 5.3167 | 236.9033 | 5.2333 | 18.4233 | 10.7993 | 890 | 100 | 4.9693
2019-10-31 14:00:00 | 3.19 | 40.4733 | 3.67 | 44.47 | 4.7767 | 238.17 | 4.7667 | 5.3633 | 10.8167 | 890 | 100 | 2.6533
2019-10-31 14:15:00 | 3.0167 | 110.7567 | 3.4667 | 121.7067 | 4.5733 | 123.2133 | 4.4067 | 3.1467 | 10.852 | 890 | 100 | 2.83
2019-10-31 14:30:00 | 2.9833 | 108.2367 | 3.4333 | 118.9333 | 4.6267 | 126.3867 | 4.7267 | 4.28 | 10.94 | 890 | 100 | 2.958
2019-10-31 14:45:00 | 3.06 | 106.9433 | 3.5167 | 117.52 | 4.59 | 352.5667 | 4.73 | 28.4233 | 10.9207 | 890 | 100 | 4.4
2019-10-31 15:00:00 | 2.86 | 114.9833 | 3.29 | 126.3533 | 4.6833 | 126.3667 | 4.81 | 14.2433 | 10.95 | 890 | 100 | 4.6893
2019-10-31 15:15:00 | 2.9 | 6.52 | 3.3433 | 7.1667 | 4.6107 | 351.9333 | 4.7733 | 132.7733 | 10.998 | 889.2667 | 100 | 4.9553
2019-10-31 15:30:00 | 3.052 | 103.288 | 3.512 | 113.5 | 5.022 | 146.036 | 5.064 | 149.692 | 11.098 | 889 | 100 | 6.0147
2019-10-31 15:45:00 | 3.18 | 178.4133 | 3.6633 | 196.05 | 5.19 | 23.3633 | 5.5433 | 10.85 | 11.1453 | 889 | 100 | 6.0193
2019-10-31 16:00:00 | 3.02 | 230.0333 | 3.4767 | 252.7833 | 4.9833 | 7.3967 | 5.2767 | 12.7633 | 11.2267 | 889 | 100 | 6.8953
2019-10-31 16:15:00 | 2.6533 | 100.1333 | 3.0533 | 110.0333 | 4.9433 | 7.39 | 5.09 | 14.75 | 11.33 | 889 | 100 | 8.6153
2019-10-31 16:30:00 | 2.7533 | 313.28 | 3.1667 | 344.2667 | 5.0367 | 6.7767 | 5.25 | 19.09 | 11.31 | 889 | 100 | 8.094
2019-10-31 16:45:00 | 3.2033 | 303.55 | 3.6867 | 333.5667 | 5.19 | 6.5467 | 5.3667 | 13.3033 | 11.17 | 889 | 100 | 8.508
2019-10-31 17:00:00 | 3.118 | 124.41 | 3.584 | 136.706 | 5.156 | 5.148 | 5.584 | 17.178 | 11.13 | 889 | 100 | 11.7393
2019-10-31 17:15:00 | 3.4067 | 127.15 | 3.92 | 139.72 | 5.7133 | 288.4 | 6.27 | 9.07 | 11.106 | 889 | 100 | 15.8247
2019-10-31 17:30:00 | 3.7067 | 296.0033 | 4.2667 | 325.2667 | 5.9333 | 63.0467 | 6.4833 | 4.61 | 11.0433 | 889 | 100 | 19.1853
2019-10-31 17:45:00 | 3.5933 | 324.2 | 4.1333 | 356.2667 | 6.15 | 10.7467 | 6.45 | 125.0867 | 11.0213 | 889 | 100 | 17.9293
2019-10-31 18:00:00 | 3.54 | 121.96 | 4.0733 | 134.0133 | 5.8433 | 15.8467 | 6.0033 | 124.3733 | 10.996 | 889 | 100 | 19.7207
2019-10-31 18:15:00 | 3.8933 | 114.06 | 4.4767 | 125.34 | 5.91 | 6.7433 | 6.2533 | 15.0767 | 10.984 | 889 | 100 | 19.4147
2019-10-31 18:30:00 | 3.5467 | 282.2933 | 4.0767 | 310.2 | 6.0033 | 1.91 | 6.6067 | 9.4367 | 11.008 | 889 | 100 | 20.5947
2019-10-31 18:45:00 | 3.98 | 17.82 | 4.5733 | 19.5733 | 6.22 | 129.7467 | 6.5433 | 13.41 | 10.97 | 889 | 100 | 21.1047
2019-10-31 19:00:00 | 3.94 | 212.18 | 4.54 | 233.16 | 6.6067 | 115.3067 | 6.8033 | 12.73 | 10.958 | 889 | 100 | 23.4727
2019-10-31 19:15:00 | 3.9693 | 222.7573 | 4.5753 | 244.79 | 6.2647 | 122.564 | 6.6793 | 10.4547 | 10.9767 | 889.0667 | 100 | 21.422
2019-10-31 19:30:00 | 3.92 | 226.92 | 4.5133 | 249.3633 | 6.1633 | 354.6333 | 6.4967 | 4.9567 | 10.99 | 890 | 100 | 23.0627
2019-10-31 19:45:00 | 3.64 | 301.0533 | 4.19 | 330.8333 | 6.54 | 356.7667 | 6.9433 | 3.4767 | 11.0087 | 890 | 100 | 24.1953
2019-10-31 20:00:00 | 3.6733 | 308.4067 | 4.23 | 338.9 | 6.18 | 124.9333 | 6.61 | 8.4233 | 11.038 | 890 | 100 | 26.5553
2019-10-31 20:15:00 | 3.9167 | 20.29 | 4.5067 | 22.29 | 6.3267 | 234.6233 | 6.6833 | 13.2 | 11.0487 | 890 | 100 | 29.9053
2019-10-31 20:30:00 | 3.97 | 10.13 | 4.58 | 11.1233 | 6.48 | 5.7833 | 7.0833 | 22.1467 | 11.026 | 890 | 100 | 30.2533
2019-10-31 20:45:00 | 4.22 | 131.7833 | 4.8567 | 144.82 | 6.9933 | 240.0067 | 7.24 | 23.21 | 11.012 | 890 | 100 | 32.1233
2019-10-31 21:00:00 | 4.2133 | 309.0033 | 4.8567 | 339.5667 | 7.0667 | 10.2067 | 7.5467 | 15.2967 | 10.996 | 890 | 100 | 33.7433
2019-10-31 21:15:00 | 4.64 | 33.3667 | 5.34 | 36.67 | 7.1467 | 131.2267 | 7.6233 | 13.59 | 10.9753 | 890 | 100 | 35.48
2019-10-31 21:30:00 | 4.8 | 210.0733 | 5.5333 | 230.85 | 7.0733 | 341.4 | 7.5167 | 12.4233 | 10.966 | 890 | 100 | 34.3293
2019-10-31 21:45:00 | 4.2867 | 94.9767 | 4.9433 | 104.3667 | 6.8167 | 238.6133 | 7.1267 | 13.2267 | 10.9607 | 890 | 100 | 33.5547
2019-10-31 22:00:00 | 4.0933 | 128.3967 | 4.7167 | 141.0933 | 7.0433 | 3.76 | 7.7 | 6.6933 | 10.966 | 890 | 100 | 34.3033
2019-10-31 22:15:00 | 4.1947 | 132.2753 | 4.8293 | 145.356 | 6.866 | 5.636 | 7.4593 | 117.6107 | 10.952 | 890 | 100 | 34.432
2019-10-31 22:30:00 | 4.6833 | 142.3767 | 5.39 | 156.4533 | 7.2933 | 77.3133 | 7.6267 | 123.1933 | 10.936 | 890 | 100 | 35.5673
2019-10-31 22:45:00 | 4.5467 | 110.15 | 5.2333 | 121.0467 | 7.2767 | 11.2367 | 7.6567 | 16.6167 | 10.9227 | 890 | 100 | 34.5053
2019-10-31 23:00:00 | 4.7973 | 156.8327 | 5.532 | 172.3373 | 7.3433 | 8.9807 | 7.7273 | 12.322 | 10.92 | 890 | 100 | 34.8913
2019-10-31 23:15:00 | 4.66 | 208.23 | 5.36 | 228.8167 | 7.6433 | 354.4 | 7.7367 | 10.4567 | 10.9133 | 890 | 100 | 33.7973
2019-10-31 23:30:00 | 4.5067 | 200.1567 | 5.18 | 219.95 | 7.63 | 346.5333 | 7.63 | 12.5767 | 10.912 | 890 | 100 | 33.7773
2019-10-31 23:45:00 | 4.3667 | 206.4933 | 5.03 | 226.91 | 7.28 | 119.1467 | 7.6333 | 11.78 | 10.8993 | 890 | 100 | 32.6987