## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2019-11-01 00:00:00 | 4.0929 | 81.7079 | 4.7107 | 89.7821 | 7.1936 | 128.9621 | 7.8114 | 11.7593 | 10.8829 | 890 | 100 | 32.5057
2019-11-01 00:15:00 | 4.3833 | 43.0033 | 5.0533 | 47.2467 | 7.1967 | 5.2933 | 7.6407 | 16.3933 | 10.8553 | 890 | 100 | 34.2873
2019-11-01 00:30:00 | 4.81 | 63.4433 | 5.5333 | 69.72 | 7.4367 | 10.4 | 7.9033 | 241.1733 | 10.846 | 890 | 100 | 33.8073
2019-11-01 00:45:00 | 4.6933 | 162.47 | 5.41 | 178.5333 | 7.4133 | 120.3067 | 8.0767 | 13.5067 | 10.84 | 890 | 100 | 26.086
2019-11-01 01:00:00 | 3.4267 | 108.2633 | 3.9433 | 118.9667 | 5.8267 | 116.08 | 6.37 | 14.08 | 10.84 | 890 | 100 | 25.7387
2019-11-01 01:15:00 | 3.9533 | 43.29 | 4.5533 | 47.5667 | 6.5433 | 8.5767 | 7.2567 | 15.88 | 10.8247 | 890 | 100 | 32.7373
2019-11-01 01:30:00 | 4.2667 | 36.8767 | 4.92 | 40.5133 | 7.3633 | 226.37 | 7.59 | 9.4333 | 10.802 | 890 | 100 | 31.622
2019-11-01 01:45:00 | 4.1667 | 37.12 | 4.79 | 40.78 | 7.5167 | 2.5367 | 7.6767 | 10.3933 | 10.7853 | 890 | 100 | 32.322
2019-11-01 02:00:00 | 4.0467 | 198.1067 | 4.6567 | 217.6867 | 7.0167 | 4.79 | 7.23 | 11.1667 | 10.804 | 890 | 100 | 33.1293
2019-11-01 02:15:00 | 4.3253 | 95.3473 | 4.9747 | 104.776 | 7.4027 | 9.5727 | 8.06 | 108.7593 | 10.8013 | 889.9333 | 100 | 33.0853
2019-11-01 02:30:00 | 4.886 | 275.3633 | 5.62 | 302.6 | 8.3967 | 235.4467 | 8.7367 | 355.7 | 10.772 | 889.4 | 100 | 32.7067
2019-11-01 02:45:00 | 4.3233 | 197.5033 | 4.98 | 217.04 | 7.7633 | 0.05 | 7.8467 | 4.0833 | 10.7293 | 890 | 100 | 31.848
2019-11-01 03:00:00 | 4.71 | 19.6433 | 5.42 | 21.58 | 7.6367 | 30.4567 | 7.5933 | 6.3033 | 10.724 | 890 | 100 | 34.172
2019-11-01 03:15:00 | 4.7167 | 109.73 | 5.4333 | 120.5733 | 7.6833 | 111.88 | 8.1233 | 118.4067 | 10.7273 | 889.2667 | 100 | 33.91
2019-11-01 03:30:00 | 4.5233 | 109.7167 | 5.2133 | 120.56 | 7.69 | 337.1 | 8.07 | 118.96 | 10.702 | 889 | 100 | 27.7653
2019-11-01 03:45:00 | 3.9733 | 134.59 | 4.5733 | 147.8933 | 7.1233 | 0.15 | 7.5167 | 4.6967 | 10.6487 | 889.7333 | 100 | 28.8527
2019-11-01 04:00:00 | 3.776 | 31.572 | 4.352 | 34.696 | 6.664 | 2.28 | 7.252 | 8.432 | 10.63 | 890 | 100 | 32.2633
2019-11-01 04:15:00 | 4.1667 | 299.3367 | 4.7967 | 328.9333 | 7.0033 | 129.5933 | 7.57 | 15.7067 | 10.6213 | 889.2667 | 100 | 34.1313
2019-11-01 04:30:00 | 4.0467 | 125.31 | 4.6567 | 137.7 | 6.8033 | 122.7867 | 7.37 | 16.4533 | 10.592 | 889 | 100 | 34.2513
2019-11-01 04:45:00 | 4.42 | 19.15 | 5.0933 | 21.0433 | 6.8407 | 116.3333 | 7.1533 | 16.64 | 10.57 | 889 | 100 | 33.9827
2019-11-01 05:00:00 | 4.44 | 214.03 | 5.1067 | 235.19 | 7.49 | 351.3 | 7.7267 | 8.8267 | 10.546 | 889 | 100 | 32.6907
2019-11-01 05:15:00 | 4.4433 | 162.64 | 5.1167 | 178.7267 | 7.1233 | 10.61 | 7.6533 | 15.26 | 10.5333 | 889 | 100 | 32.22
2019-11-01 05:30:00 | 4.4767 | 52.1733 | 5.15 | 57.3267 | 7.31 | 11.2433 | 7.8933 | 16.9133 | 10.544 | 889 | 100 | 31.3213
2019-11-01 05:45:00 | 4.1553 | 120.4813 | 4.786 | 132.396 | 7.2353 | 339.1333 | 7.4687 | 9.1753 | 10.5347 | 889.7333 | 100 | 29.97
2019-11-01 06:00:00 | 4.09 | 280.8233 | 4.7033 | 308.6 | 6.95 | 114 | 7.1167 | 2.7733 | 10.506 | 890 | 100 | 32.7773
2019-11-01 06:15:00 | 4.36 | 310.6533 | 5.0133 | 341.3667 | 7.8667 | 8.93 | 8.4067 | 9.15 | 10.5073 | 890 | 100 | 35.0133
2019-11-01 06:30:00 | 4.92 | 104.9067 | 5.66 | 115.28 | 8.68 | 7.1833 | 9.28 | 14.19 | 10.502 | 890 | 100 | 34.9907
2019-11-01 06:45:00 | 5.1373 | 273.0373 | 5.9087 | 300.038 | 8.392 | 218.37 | 8.6767 | 10.52 | 10.4433 | 890 | 100 | 34.986
2019-11-01 07:00:00 | 4.6233 | 319.0433 | 5.3233 | 350.6 | 7.7667 | 240.92 | 7.9967 | 15.04 | 10.44 | 890 | 100 | 34.5253
2019-11-01 07:15:00 | 4.5133 | 115.28 | 5.19 | 126.6733 | 7.4967 | 241.1133 | 7.92 | 12.11 | 10.4393 | 890 | 100 | 36.2847
2019-11-01 07:30:00 | 5.3933 | 144.88 | 6.2033 | 159.2 | 8.77 | 10.68 | 9.14 | 11.0233 | 10.426 | 890 | 100 | 37.4993
2019-11-01 07:45:00 | 5.1533 | 264.97 | 5.94 | 291.1667 | 9.32 | 9.9433 | 9.5867 | 12.4733 | 10.4053 | 890 | 100 | 41.3713
2019-11-01 08:00:00 | 5.0067 | 310.83 | 5.76 | 341.5667 | 8.9867 | 240.3367 | 8.9133 | 21.0133 | 10.4 | 890 | 100 | 43.3567
2019-11-01 08:15:00 | 5.02 | 295.6067 | 5.7767 | 324.8333 | 8.5233 | 62.1667 | 8.51 | 10.3867 | 10.4007 | 890.0667 | 100 | 43.5347
2019-11-01 08:30:00 | 5.3 | 99.6 | 6.0967 | 109.4467 | 9.3967 | 14.3733 | 9.25 | 13.6 | 10.41 | 891 | 100 | 42.942
2019-11-01 08:45:00 | 5.43 | 130.4033 | 6.2533 | 143.3 | 9.7 | 16.1933 | 10.0933 | 17.6967 | 10.4087 | 891 | 100 | 43.6333
2019-11-01 09:00:00 | 5.4767 | 270.4833 | 6.3 | 297.2333 | 9.68 | 12.5467 | 9.7933 | 6.9567 | 10.39 | 891 | 100 | 44.294
2019-11-01 09:15:00 | 5.6933 | 74.6467 | 6.55 | 82.0267 | 9.63 | 8.2567 | 9.3467 | 3.8467 | 10.418 | 891 | 100 | 46.3953
2019-11-01 09:30:00 | 6.0267 | 253.38 | 6.9367 | 278.4333 | 10.5567 | 240.3567 | 10.2933 | 11.6267 | 10.47 | 891 | 100 | 46.4013
2019-11-01 09:45:00 | 5.5333 | 311.4067 | 6.3733 | 342.2 | 9.4667 | 9.8667 | 9.44 | 4.0167 | 10.496 | 891.0667 | 100 | 46.0767
2019-11-01 10:00:00 | 5.52 | 117.2 | 6.3533 | 128.7933 | 8.9667 | 14.0667 | 9.04 | 116.3233 | 10.524 | 892 | 100 | 45.2547
2019-11-01 10:15:00 | 5.52 | 117.2 | 6.3533 | 128.7933 | 8.9667 | 14.0667 | 9.04 | 116.3233 | 10.524 | 892 | 100 | 45.2547
2019-11-01 10:30:00 | 5.52 | 117.2 | 6.3533 | 128.7933 | 8.9667 | 14.0667 | 9.04 | 116.3233 | 10.524 | 892 | 100 | 45.2547
2019-11-01 10:45:00 | 5.52 | 117.2 | 6.3533 | 128.7933 | 8.9667 | 14.0667 | 9.04 | 116.3233 | 10.524 | 892 | 100 | 45.2547
2019-11-01 11:00:00 | 5.52 | 117.2 | 6.3533 | 128.7933 | 8.9667 | 14.0667 | 9.04 | 116.3233 | 10.524 | 892 | 100 | 45.2547
2019-11-01 11:15:00 | 5.52 | 117.2 | 6.3533 | 128.7933 | 8.9667 | 14.0667 | 9.04 | 116.3233 | 10.524 | 892 | 100 | 45.2547
2019-11-01 11:30:00 | 3.6027 | 214.5987 | 4.1427 | 235.828 | 5.6447 | 356.9 | 6.1633 | 3.042 | 10.7907 | 892 | 100 | 35.832
2019-11-01 11:45:00 | 3.6027 | 214.5987 | 4.1427 | 235.828 | 5.6447 | 356.9 | 6.1633 | 3.042 | 10.7907 | 892 | 100 | 35.832
2019-11-01 12:00:00 | 3.6027 | 214.5987 | 4.1427 | 235.828 | 5.6447 | 356.9 | 6.1633 | 3.042 | 10.7907 | 892 | 100 | 35.832
2019-11-01 12:15:00 | 3.6027 | 214.5987 | 4.1427 | 235.828 | 5.6447 | 356.9 | 6.1633 | 3.042 | 10.7907 | 892 | 100 | 35.832
2019-11-01 12:30:00 | 3.7767 | 22.9 | 4.3433 | 25.1567 | 6.2467 | 127.0533 | 6.7467 | 11.15 | 10.8267 | 892 | 100 | 35.66
2019-11-01 12:45:00 | 4.1167 | 127.51 | 4.74 | 140.12 | 6.16 | 329.7 | 6.59 | 239.5633 | 10.8333 | 891.2667 | 100 | 33.968
2019-11-01 13:00:00 | 3.69 | 101.1233 | 4.2533 | 111.1267 | 5.86 | 351.5 | 6.1633 | 244.1633 | 11.02 | 891 | 100 | 32.2327
2019-11-01 13:15:00 | 3.88 | 217.5333 | 4.4667 | 239.05 | 6.14 | 111.86 | 6.0067 | 131.2667 | 11.18 | 891 | 100 | 30.6633
2019-11-01 13:30:00 | 3.8133 | 31.7333 | 4.3867 | 34.8633 | 6.22 | 334.8333 | 6.2933 | 119.1467 | 11.4333 | 891 | 100 | 27.098
2019-11-01 13:45:00 | 3.7867 | 316.8433 | 4.3533 | 348.1667 | 6.53 | 227.75 | 6.64 | 8.57 | 11.8533 | 891 | 100 | 26.7527
2019-11-01 14:00:00 | 4.04 | 113.8167 | 4.6467 | 125.0667 | 7.27 | 2.3233 | 7.4933 | 12.2167 | 12.2467 | 891 | 100 | 24.706
2019-11-01 14:15:00 | 4.1067 | 34.2567 | 4.7333 | 37.6467 | 6.1833 | 0.72 | 6.2867 | 122.72 | 12.6267 | 891 | 99.9933 | 24.4507
2019-11-01 14:30:00 | 4.0467 | 44.5033 | 4.66 | 48.9067 | 6.6567 | 10.9133 | 6.6467 | 128.28 | 13.0667 | 891 | 98.7667 | 27.3313
2019-11-01 14:45:00 | 4.2467 | 13.73 | 4.89 | 15.0833 | 7.2533 | 5.3333 | 7.4533 | 235.2133 | 13.6633 | 891 | 96.3333 | 28.6613
2019-11-01 15:00:00 | 4.42 | 42.3033 | 5.0833 | 46.4833 | 6.9333 | 231.4333 | 6.9533 | 9.3333 | 13.6967 | 891 | 94.6 | 26.0687
2019-11-01 15:15:00 | 4.0333 | 117.86 | 4.6467 | 129.5133 | 6.9067 | 120.9933 | 6.9133 | 7.4533 | 13.5833 | 891 | 95.1 | 23.476
2019-11-01 15:30:00 | 4.0133 | 301.06 | 4.6133 | 330.8333 | 7.2067 | 126.0933 | 7.22 | 15.8267 | 13.8633 | 891 | 94.3667 | 22.92
2019-11-01 15:45:00 | 3.87 | 110.9 | 4.45 | 121.8667 | 6.6967 | 19.1867 | 6.8133 | 27.67 | 14.22 | 891 | 92.7 | 22.5573
2019-11-01 16:00:00 | 4.1233 | 136.8133 | 4.75 | 150.3467 | 6.9967 | 16.7533 | 6.8667 | 18.3567 | 14.8267 | 891 | 89.9 | 23.9613
2019-11-01 16:15:00 | 4.0733 | 25.9433 | 4.6833 | 28.5033 | 7.2933 | 10.3767 | 7.2467 | 15.49 | 15.088 | 891 | 87.5 | 23.7893
2019-11-01 16:30:00 | 4.144 | 129.93 | 4.766 | 142.776 | 7.576 | 9.182 | 7.394 | 24.378 | 15.072 | 891 | 86.9 | 22.5887
2019-11-01 16:45:00 | 3.76 | 247.3433 | 4.3233 | 271.8 | 6.96 | 5.75 | 6.93 | 20.7433 | 14.7133 | 891 | 87.7333 | 21.9573
2019-11-01 17:00:00 | 3.32 | 68.49 | 3.8167 | 75.2667 | 6.1533 | 16.15 | 6.2233 | 26.97 | 14.02 | 891 | 90.6667 | 21.9767
2019-11-01 17:15:00 | 3.6433 | 295.7633 | 4.1967 | 325 | 6.76 | 240.28 | 6.5433 | 15.4667 | 13.65 | 891 | 92.5667 | 20.9453
2019-11-01 17:30:00 | 3.9233 | 286.53 | 4.51 | 314.8667 | 7.0933 | 214.68 | 6.8967 | 17.8 | 13.4767 | 891 | 92.74 | 21.2733
2019-11-01 17:45:00 | 3.7733 | 99.1733 | 4.34 | 108.9733 | 7.07 | 4.0867 | 7 | 3.7667 | 13.2167 | 891 | 94.0667 | 21.566
2019-11-01 18:00:00 | 3.66 | 114.2267 | 4.2133 | 125.52 | 6.4833 | 230.12 | 6.42 | 18.9467 | 13.0033 | 891 | 94.4667 | 24.18
2019-11-01 18:15:00 | 3.66 | 18.7167 | 4.21 | 20.5533 | 6.5067 | 122.0933 | 6.4733 | 122.1867 | 12.82 | 891 | 94.9667 | 22.564
2019-11-01 18:30:00 | 3.3133 | 11.4633 | 3.8167 | 12.5933 | 5.8267 | 118.74 | 5.6867 | 132.0733 | 12.5533 | 891 | 95.6333 | 24.2793
2019-11-01 18:45:00 | 3.56 | 282.98 | 4.0967 | 310.9667 | 6.4167 | 224.3833 | 6.07 | 3.2467 | 12.3227 | 891 | 95.9667 | 23.8393
2019-11-01 19:00:00 | 3.54 | 277.9533 | 4.07 | 305.4333 | 6.4033 | 233.1167 | 6.0033 | 2.76 | 12.0333 | 891 | 96.86 | 22.6273
2019-11-01 19:15:00 | 3.5067 | 262.3533 | 4.0433 | 288.3 | 6.4967 | 253.78 | 5.89 | 2.4033 | 11.8933 | 891 | 96.9 | 20.7507
2019-11-01 19:30:00 | 3.5467 | 73.34 | 4.0767 | 80.58 | 6.4367 | 245.98 | 5.95 | 5.0633 | 11.9 | 891 | 96.3 | 20.042
2019-11-01 19:45:00 | 3.3667 | 210.11 | 3.876 | 230.8853 | 6.3793 | 280.8067 | 6.0973 | 9.2547 | 11.6253 | 891 | 97.16 | 20.008
2019-11-01 20:00:00 | 3.1933 | 10.0933 | 3.68 | 11.0867 | 5.97 | 57.9633 | 5.7633 | 5.2233 | 11.45 | 891 | 97.8667 | 18.904
2019-11-01 20:15:00 | 3.26 | 153.87 | 3.7467 | 169.0767 | 6 | 117.9533 | 5.7733 | 6.0967 | 11.4253 | 891 | 97.76 | 19.58
2019-11-01 20:30:00 | 3.4 | 35.572 | 3.918 | 39.09 | 6.368 | 351.28 | 6.154 | 9.792 | 11.41 | 891.4 | 97.58 | 20.512
2019-11-01 20:45:00 | 3.4953 | 294.792 | 4.024 | 323.9333 | 6.0247 | 247.404 | 5.7073 | 3.12 | 11.338 | 891.3333 | 97.8867 | 24.42
2019-11-01 21:00:00 | 3.9067 | 309.31 | 4.5 | 339.9 | 6.5233 | 8.9633 | 6.6333 | 16.06 | 11.3333 | 892 | 98.44 | 27.8693
2019-11-01 21:15:00 | 4.23 | 15.82 | 4.8733 | 17.38 | 6.9333 | 339.5333 | 7.1167 | 17.5667 | 11.3333 | 892 | 99.0067 | 30.872
2019-11-01 21:30:00 | 4.2233 | 11.46 | 4.86 | 12.5867 | 6.86 | 347.8 | 7.0833 | 8.6533 | 11.2467 | 892 | 99.3 | 31.084
2019-11-01 21:45:00 | 3.852 | 249.3087 | 4.428 | 273.9553 | 6.5233 | 27.5833 | 6.8707 | 13.378 | 11.1113 | 892 | 99.5333 | 27.4013
2019-11-01 22:00:00 | 3.9533 | 105.6167 | 4.5433 | 116.06 | 6.6867 | 5.7567 | 6.6433 | 14.8767 | 11.024 | 892 | 99.9333 | 26.618
2019-11-01 22:15:00 | 3.9533 | 218.69 | 4.5567 | 240.32 | 6.6467 | 166.3667 | 6.6533 | 9.44 | 10.9893 | 892 | 99.86 | 28.4947
2019-11-01 22:30:00 | 3.9533 | 213.9033 | 4.5433 | 235.0533 | 6.8133 | 115.0733 | 6.8733 | 9.36 | 10.8933 | 892 | 99.9 | 29.654
2019-11-01 22:45:00 | 3.8467 | 218.18 | 4.4333 | 239.76 | 6.59 | 235.64 | 6.6 | 23.4333 | 10.78 | 892 | 99.9333 | 32.5353
2019-11-01 23:00:00 | 4.1533 | 24.86 | 4.7733 | 27.32 | 6.9033 | 218.7733 | 6.9733 | 3.0467 | 10.72 | 892 | 100 | 31.66
2019-11-01 23:15:00 | 3.5333 | 29.1933 | 4.0667 | 32.08 | 6.39 | 230.4933 | 7.0067 | 11.56 | 10.5633 | 892 | 100 | 31.6853
2019-11-01 23:30:00 | 3.5267 | 15.3933 | 4.06 | 16.9133 | 5.99 | 226.6933 | 6.3333 | 236.9467 | 10.502 | 892 | 100 | 30.9373
2019-11-01 23:45:00 | 4.0133 | 4.54 | 4.6133 | 4.9867 | 6.5333 | 231.0233 | 6.74 | 9.27 | 10.4833 | 892 | 100 | 32.422