## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2019-11-02 00:00:00 | 4.32 | 10.6979 | 4.9686 | 11.7529 | 6.9507 | 223.8679 | 7.1986 | 6.8807 | 10.5707 | 892 | 100 | 31.1671
2019-11-02 00:15:00 | 3.9467 | 183.1167 | 4.5433 | 201.2167 | 6.9167 | 7.8367 | 6.9367 | 11.12 | 10.37 | 892 | 100 | 34.6227
2019-11-02 00:30:00 | 4.04 | 157.51 | 4.6433 | 173.0833 | 6.5033 | 239.03 | 6.85 | 8.0533 | 10.3367 | 892 | 100 | 37.1573
2019-11-02 00:45:00 | 4.16 | 200.8133 | 4.7867 | 220.6767 | 6.65 | 118.9267 | 7.1233 | 11.02 | 10.2333 | 891.9333 | 100 | 38.6467
2019-11-02 01:00:00 | 4.1533 | 33.6933 | 4.78 | 37.0233 | 6.67 | 118.9 | 7.0833 | 11.46 | 10.18 | 891 | 100 | 39.628
2019-11-02 01:15:00 | 4.56 | 104.4133 | 5.25 | 114.7333 | 7.2767 | 111.5533 | 7.56 | 5.97 | 10.1433 | 891 | 100 | 42.064
2019-11-02 01:30:00 | 4.5867 | 106.1667 | 5.2767 | 116.66 | 7.45 | 118.54 | 7.62 | 15.81 | 10.07 | 891 | 100 | 42.3353
2019-11-02 01:45:00 | 5.04 | 214.06 | 5.7967 | 235.2333 | 8.1367 | 8.2533 | 8.9107 | 15.5933 | 9.9833 | 891 | 100 | 40.9407
2019-11-02 02:00:00 | 5.0333 | 11.2133 | 5.79 | 12.32 | 8.11 | 18.6267 | 8.6133 | 23.9533 | 9.9367 | 891 | 100 | 43.4453
2019-11-02 02:15:00 | 5.0133 | 14.18 | 5.7667 | 15.5833 | 7.9333 | 230.3167 | 8.42 | 17.05 | 9.916 | 891 | 100 | 45.3287
2019-11-02 02:30:00 | 4.9 | 25.0333 | 5.6333 | 27.51 | 8.1 | 0.15 | 8.576 | 11.9167 | 9.86 | 891 | 100 | 48.1713
2019-11-02 02:45:00 | 5.44 | 202.4533 | 6.2667 | 222.4633 | 8.8067 | 238.1167 | 9.01 | 2.2967 | 9.8033 | 890.2667 | 100 | 48.4127
2019-11-02 03:00:00 | 5.6267 | 214.0333 | 6.4733 | 235.1967 | 9.5067 | 225.3833 | 9.2567 | 3.2033 | 9.786 | 890 | 100 | 46.1567
2019-11-02 03:15:00 | 5.0367 | 207.7233 | 5.8 | 228.26 | 8.6633 | 118.1 | 8.89 | 15.3567 | 9.7493 | 890 | 100 | 43.874
2019-11-02 03:30:00 | 4.8833 | 216.7567 | 5.6267 | 238.1933 | 8.3967 | 353.1667 | 8.41 | 14.0433 | 9.72 | 890 | 100 | 44.7613
2019-11-02 03:45:00 | 4.4133 | 108.6367 | 5.0833 | 119.3733 | 7.39 | 231.6167 | 7.8833 | 7.0633 | 9.702 | 890 | 100 | 43.2987
2019-11-02 04:00:00 | 4.0467 | 100.51 | 4.6567 | 110.4467 | 7.25 | 237.35 | 7.7967 | 6.3233 | 9.6633 | 890 | 100 | 32.314
2019-11-02 04:15:00 | 3.52 | 27.22 | 4.0567 | 29.9067 | 5.6333 | 238.9533 | 6.1333 | 11.64 | 9.6193 | 890.7333 | 100 | 17.118
2019-11-02 04:30:00 | 3 | 218.7 | 3.45 | 240.3267 | 5.3 | 2.48 | 6.04 | 19.68 | 9.5167 | 891 | 100 | 18.59
2019-11-02 04:45:00 | 2.8333 | 170.9967 | 3.2567 | 187.9067 | 5.4193 | 0.33333 | 6.0107 | 4.75 | 9.34 | 891 | 100 | 19.94
2019-11-02 05:00:00 | 3.24 | 148.97 | 3.7233 | 163.7067 | 6.0233 | 0.33333 | 6.6 | 0.68333 | 9.3333 | 891 | 100 | 24.258
2019-11-02 05:15:00 | 3.3967 | 100.0133 | 3.9067 | 109.8933 | 6.3667 | 118.5 | 6.9733 | 238.1733 | 9.348 | 891 | 100 | 31.9353
2019-11-02 05:30:00 | 3.9833 | 179.0667 | 4.58 | 196.7667 | 7.3867 | 350.2 | 7.92 | 238.1733 | 9.3933 | 891 | 100 | 34.044
2019-11-02 05:45:00 | 4.0267 | 244.0933 | 4.6367 | 268.2333 | 7.1567 | 232.9733 | 7.69 | 0.27333 | 9.45 | 891 | 100 | 37.7753
2019-11-02 06:00:00 | 3.96 | 219.2267 | 4.57 | 240.9 | 7.35 | 3.1 | 7.97 | 224.7467 | 9.4167 | 891 | 100 | 37.778
2019-11-02 06:15:00 | 4.02 | 314.96 | 4.63 | 346.1 | 6.9933 | 240.13 | 7.8033 | 120.06 | 9.402 | 891 | 100 | 40.8653
2019-11-02 06:30:00 | 4.1867 | 109.6467 | 4.8167 | 120.4933 | 7.22 | 71.8633 | 8.0033 | 123.3 | 9.386 | 891 | 100 | 41.538
2019-11-02 06:45:00 | 4.2733 | 218.2233 | 4.92 | 239.8 | 6.9767 | 5.5133 | 7.6467 | 14.9933 | 9.3773 | 891 | 100 | 39.6353
2019-11-02 07:00:00 | 4.3533 | 38.4433 | 5.0067 | 42.24 | 7.3767 | 238.5267 | 7.7267 | 7.3933 | 9.36 | 891 | 100 | 36.542
2019-11-02 07:15:00 | 3.6567 | 35.96 | 4.2067 | 39.5133 | 6.7167 | 6.2833 | 7.1133 | 10.6667 | 9.336 | 891 | 100 | 34.494
2019-11-02 07:30:00 | 3.6567 | 10.3267 | 4.2067 | 11.34 | 6.13 | 2.6367 | 6.4333 | 9.9533 | 9.3133 | 891 | 100 | 34.7627
2019-11-02 07:45:00 | 3.9733 | 29.9333 | 4.58 | 32.8867 | 6.7367 | 19.3833 | 7.1467 | 9.3 | 9.36 | 891 | 100 | 35.5747
2019-11-02 08:00:00 | 3.9867 | 216.2933 | 4.5867 | 237.6867 | 6.9033 | 13.1767 | 7.4733 | 24.08 | 9.4333 | 891 | 100 | 39.9353
2019-11-02 08:15:00 | 4.3933 | 202.39 | 5.06 | 222.3933 | 7.8633 | 10.0167 | 8.0733 | 21.7033 | 9.5967 | 891 | 100 | 41.776
2019-11-02 08:30:00 | 4.6333 | 5.5567 | 5.3267 | 6.0933 | 8.0167 | 14.35 | 8.1733 | 21.07 | 9.61 | 891.4 | 100 | 41.2267
2019-11-02 08:45:00 | 4.28 | 268.06 | 4.93 | 294.5667 | 7.52 | 7.31 | 7.87 | 11.22 | 9.74 | 892 | 100 | 42.0733
2019-11-02 09:00:00 | 4.4267 | 69.5133 | 5.1033 | 76.3867 | 7.704 | 235.11 | 8.0167 | 9.6133 | 9.8933 | 892 | 100 | 43.5627
2019-11-02 09:15:00 | 4.4667 | 261.8967 | 5.1467 | 287.8 | 7.9267 | 16.6333 | 8.3933 | 14.0533 | 10.1867 | 892 | 100 | 44.298
2019-11-02 09:30:00 | 4.5667 | 98.2833 | 5.2533 | 108 | 7.7867 | 8.0733 | 8.22 | 14.8 | 10.4533 | 892 | 100 | 44.01
2019-11-02 09:45:00 | 4.7267 | 107.9967 | 5.4333 | 118.6667 | 7.9287 | 356.4 | 8.5267 | 4.57 | 10.6733 | 892 | 100 | 42.746
2019-11-02 10:00:00 | 4.8333 | 307.8567 | 5.56 | 338.3 | 8.23 | 122.18 | 8.8733 | 12.0433 | 11.3867 | 892.4 | 100 | 38.4187
2019-11-02 10:15:00 | 5.7867 | 318.404 | 6.66 | 349.8933 | 9.14 | 12.6367 | 9.2433 | 13.5133 | 12.4533 | 893 | 95.1667 | 38.3773
2019-11-02 10:30:00 | 5.6267 | 301.58 | 6.4733 | 331.4 | 9.1933 | 22.8567 | 9.1167 | 12.28 | 12.624 | 893 | 91.6333 | 37.0807
2019-11-02 10:45:00 | 5.76 | 128.6333 | 6.64 | 141.3533 | 10.2067 | 6.69 | 9.9933 | 40.1867 | 12.8167 | 893 | 89.7333 | 36.9453
2019-11-02 11:00:00 | 5.8867 | 118.3133 | 6.7733 | 130.0067 | 10.5333 | 13.85 | 10.2467 | 10.8267 | 13.05 | 893 | 88.76 | 32.9207
2019-11-02 11:15:00 | 5.6133 | 88.2133 | 6.46 | 96.9333 | 9.9367 | 14.71 | 9.8167 | 17.41 | 14.0567 | 893 | 85.7333 | 26.0507
2019-11-02 11:30:00 | 5.1467 | 110.72 | 5.9267 | 121.6733 | 9.49 | 16.07 | 9.37 | 12.3567 | 15.1233 | 893 | 83.0667 | 20.218
2019-11-02 11:45:00 | 4.8467 | 201.1967 | 5.5733 | 221.0967 | 8.72 | 23.4 | 7.9567 | 22.2533 | 15.0767 | 893 | 80.2467 | 15.0433
2019-11-02 12:00:00 | 4.54 | 201.69 | 5.2267 | 221.63 | 7.88 | 24.2467 | 7.2033 | 18.56 | 15.35 | 893 | 80.6 | 12.036
2019-11-02 12:15:00 | 4.1367 | 186.7 | 4.7633 | 205.16 | 7.0733 | 13.7733 | 6.7193 | 19.18 | 15.2393 | 893 | 80.7667 | 10.8133
2019-11-02 12:30:00 | 4.266 | 22.78 | 4.91 | 25.02 | 7.34 | 15.6667 | 6.8567 | 23.6733 | 15.67 | 893 | 79.22 | 12.2713
2019-11-02 12:45:00 | 4.092 | 111.124 | 4.7087 | 122.106 | 7.484 | 19.1887 | 6.822 | 18.0387 | 16.0567 | 893 | 76.9467 | 11.6687
2019-11-02 13:00:00 | 4.0667 | 287.8433 | 4.69 | 316.3 | 7.3167 | 17.3833 | 6.8367 | 12.2067 | 15.9333 | 893 | 78.6767 | 9.626
2019-11-02 13:15:00 | 4.1347 | 40.978 | 4.754 | 45.0247 | 7.0927 | 28.5627 | 6.6027 | 25.1733 | 16.5213 | 893 | 75.7853 | 8.3993
2019-11-02 13:30:00 | 4.0667 | 27.1633 | 4.6733 | 29.84 | 7.07 | 25.1767 | 6.4433 | 23.52 | 16.6467 | 892.6 | 75.3867 | 6.4827
2019-11-02 13:45:00 | 3.6 | 12.9433 | 4.1433 | 14.2133 | 6.42 | 14.2733 | 6.05 | 18.2533 | 17.6033 | 892 | 72.2767 | 4.3747
2019-11-02 14:00:00 | 3.34 | 92.8033 | 3.8433 | 101.98 | 6.0933 | 18.0667 | 5.766 | 15.3867 | 17.9767 | 892 | 71.038 | 3.5567
2019-11-02 14:15:00 | 3.25 | 179.1267 | 3.7367 | 196.8333 | 5.9233 | 14.9367 | 5.5933 | 16.1167 | 18.4267 | 892 | 69.0313 | 1.8007
2019-11-02 14:30:00 | 2.946 | 216.982 | 3.388 | 238.44 | 5.38 | 16.14 | 5.024 | 14.772 | 18.102 | 892 | 69.912 | 0.75533
2019-11-02 14:45:00 | 2.5333 | 115.0433 | 2.9133 | 126.4067 | 4.7467 | 14.03 | 4.5433 | 12.25 | 18.2767 | 892 | 70.4833 | 0.23867
2019-11-02 15:00:00 | 2.4 | 161.0767 | 2.76 | 177 | 4.52 | 12.2833 | 4.2567 | 4.5033 | 18.5033 | 892 | 68.946 | 0
2019-11-02 15:15:00 | 1.93 | 28.34 | 2.22 | 31.1367 | 3.35 | 15.31 | 3.0933 | 22.37 | 18.3667 | 892 | 66.7267 | 0
2019-11-02 15:30:00 | 1.5367 | 37.5933 | 1.7733 | 41.31 | 2.6033 | 14.8367 | 2.24 | 231.2833 | 18.5133 | 892 | 65.6067 | 0
2019-11-02 15:45:00 | 1.5867 | 316.5967 | 1.82 | 347.9 | 2.0167 | 13.88 | 1.67 | 342.4 | 18.5 | 892.6667 | 64.7533 | 0
2019-11-02 16:00:00 | 1.2133 | 109.1433 | 1.3933 | 119.94 | 1.7033 | 239.2733 | 1.43 | 347.4 | 17.8133 | 892 | 67.68 | 0
2019-11-02 16:15:00 | 0.71667 | 121.5633 | 0.82667 | 133.5867 | 0.97667 | 251.4367 | 1.0833 | 218.18 | 18.4367 | 892 | 66.1733 | 0
2019-11-02 16:30:00 | 0.66333 | 204.91 | 0.77333 | 225.1667 | 0.67 | 155.5033 | 0.56333 | 139.18 | 18.8433 | 892 | 64.588 | 0
2019-11-02 16:45:00 | 1.8533 | 174.91 | 2.14 | 192.2 | 2.2567 | 164 | 2.23 | 177.8 | 17.9933 | 892 | 69.0533 | 0
2019-11-02 17:00:00 | 2.0867 | 149.73 | 2.4067 | 164.5333 | 2.3567 | 173.4 | 2.25 | 179.6667 | 17.1933 | 892 | 72.1867 | 0
2019-11-02 17:15:00 | 1.7 | 176.8767 | 1.9633 | 194.3667 | 2.3467 | 217.1 | 2.3867 | 230.2 | 16.1567 | 892 | 74.682 | 0
2019-11-02 17:30:00 | 1.8533 | 184.5167 | 2.1433 | 202.7667 | 2.6533 | 220.1 | 2.7 | 223.2 | 15.7033 | 891.6 | 73.0767 | 0
2019-11-02 17:45:00 | 2 | 177.4567 | 2.3 | 195 | 2.86 | 209.8 | 2.9633 | 218.8667 | 15.3467 | 891 | 73.3233 | 0
2019-11-02 18:00:00 | 1.7733 | 190.3767 | 2.04 | 209.2 | 2.5867 | 221.7333 | 2.7833 | 231.8 | 15.1133 | 891 | 74.9233 | 0
2019-11-02 18:15:00 | 1.6767 | 192.56 | 1.9367 | 211.6 | 2.5533 | 225.8333 | 2.69 | 231.0867 | 14.9433 | 891 | 76.0533 | 0
2019-11-02 18:30:00 | 1.53 | 201.1067 | 1.7633 | 221 | 2.2267 | 218.7667 | 2.3367 | 225.8333 | 14.91 | 891 | 75.4267 | 0
2019-11-02 18:45:00 | 1.4067 | 199.26 | 1.62 | 218.9667 | 1.8633 | 217.6 | 2.0967 | 224.7267 | 14.99 | 891 | 72.7567 | 0
2019-11-02 19:00:00 | 0.98 | 193.0733 | 1.1267 | 212.1667 | 1.5833 | 217.6 | 2.13 | 224.82 | 15.0633 | 891 | 71.7767 | 0
2019-11-02 19:15:00 | 0.35333 | 192.83 | 0.41 | 211.9 | 0.69 | 217.6 | 1.33 | 225 | 14.9993 | 891 | 72.8233 | 0
2019-11-02 19:30:00 | 0.318 | 229.526 | 0.366 | 252.22 | 0.132 | 217.6 | 0.436 | 225 | 14.822 | 891 | 77.224 | 0
2019-11-02 19:45:00 | 0.20667 | 254.056 | 0.24333 | 279.1733 | 0.046667 | 217.6 | 0 | 225 | 14.35 | 891 | 81.0333 | 0
2019-11-02 20:00:00 | 0.29333 | 254.08 | 0.35 | 279.2 | 0.52667 | 217.6 | 0 | 225 | 14.1167 | 891 | 82.0333 | 0
2019-11-02 20:15:00 | 0.86733 | 269.3033 | 0.996 | 295.9333 | 0.88667 | 163.5413 | 0 | 225 | 13.946 | 891 | 83.5467 | 0
2019-11-02 20:30:00 | 1.7933 | 103.73 | 2.0633 | 113.98 | 1.8133 | 9.0567 | 0.25333 | 85.66 | 13.67 | 891 | 85.4667 | 0
2019-11-02 20:45:00 | 2.3467 | 307.61 | 2.6967 | 338.0333 | 2.98 | 7.4333 | 2.3267 | 14.47 | 13.2033 | 891.7333 | 88.6 | 0
2019-11-02 21:00:00 | 2.28 | 145.595 | 2.625 | 159.99 | 2.88 | 18.535 | 2.015 | 17.295 | 13.095 | 892 | 89.2 | 0
2019-11-02 21:15:00 | 2.28 | 145.595 | 2.625 | 159.99 | 2.88 | 18.535 | 2.015 | 17.295 | 13.095 | 892 | 89.2 | 0
2019-11-02 21:30:00 | 2.28 | 145.595 | 2.625 | 159.99 | 2.88 | 18.535 | 2.015 | 17.295 | 13.095 | 892 | 89.2 | 0
2019-11-02 21:45:00 | 2.28 | 145.595 | 2.625 | 159.99 | 2.88 | 18.535 | 2.015 | 17.295 | 13.095 | 892 | 89.2 | 0
2019-11-02 22:00:00 | 2.28 | 145.595 | 2.625 | 159.99 | 2.88 | 18.535 | 2.015 | 17.295 | 13.095 | 892 | 89.2 | 0
2019-11-02 22:15:00 | 0.86 | 317.14 | 0.98667 | 348.5 | 0.32333 | 3.9267 | 0 | 222.5267 | 12.79 | 892 | 91.4667 | 0
2019-11-02 22:30:00 | 0.86 | 317.14 | 0.98667 | 348.5 | 0.32333 | 3.9267 | 0 | 222.5267 | 12.79 | 892 | 91.4667 | 0
2019-11-02 22:45:00 | 0.86 | 317.14 | 0.98667 | 348.5 | 0.32333 | 3.9267 | 0 | 222.5267 | 12.79 | 892 | 91.4667 | 0
2019-11-02 23:00:00 | 0.86 | 317.14 | 0.98667 | 348.5 | 0.32333 | 3.9267 | 0 | 222.5267 | 12.79 | 892 | 91.4667 | 0
2019-11-02 23:15:00 | 0.86 | 317.14 | 0.98667 | 348.5 | 0.32333 | 3.9267 | 0 | 222.5267 | 12.79 | 892 | 91.4667 | 0
2019-11-02 23:30:00 | 0.94667 | 307.32 | 1.0867 | 337.7 | 0.39 | 3.9133 | 0 | 222.5 | 12.5567 | 892 | 93.0667 | 0
2019-11-02 23:45:00 | 0.81333 | 318.5813 | 0.94 | 350.08 | 0.58667 | 95.8267 | 0.18667 | 222.5733 | 12.4933 | 892 | 93.2667 | 0.11733