## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2019-11-03 00:00:00 | 0.77857 | 322.5307 | 0.90429 | 354.4286 | 0.057857 | 283.4357 | 0.85571 | 222.5643 | 12.5364 | 892 | 92.9857 | 0.060714
2019-11-03 00:15:00 | 0.79667 | 316.0167 | 0.92333 | 347.2667 | 0.08 | 270.6533 | 0.97667 | 209.5 | 12.4213 | 892 | 93.1 | 0.034
2019-11-03 00:30:00 | 0.79 | 324.114 | 0.91 | 356.16 | 0.10667 | 265.4667 | 0.81 | 209.5 | 12.4 | 892 | 93.1667 | 0
2019-11-03 00:45:00 | 0.70333 | 314.226 | 0.81667 | 345.3067 | 0.063333 | 275.9067 | 0.07 | 209.5733 | 12.2333 | 892 | 94.1333 | 0
2019-11-03 01:00:00 | 0.69667 | 314.274 | 0.81 | 345.36 | 0.15 | 241 | 0.61667 | 209.56 | 12.2867 | 892 | 93.7333 | 0
2019-11-03 01:15:00 | 0.7 | 306.79 | 0.81 | 337.1333 | 0.05 | 327.1 | 0.24 | 209.5 | 12.38 | 892 | 92.8 | 0
2019-11-03 01:30:00 | 0.78667 | 321.9033 | 0.91 | 353.7333 | 0.13667 | 327.1 | 0.033333 | 209.5 | 12.3333 | 892 | 93.0667 | 0
2019-11-03 01:45:00 | 0.65 | 310.41 | 0.75333 | 341.1 | 0.01 | 327.0333 | 0.026667 | 209.5 | 12.2533 | 892 | 93.2667 | 0
2019-11-03 02:00:00 | 0.67 | 312.29 | 0.76667 | 343.1667 | 0.01 | 327.1 | 0 | 209.5 | 12.1733 | 892 | 93.36 | 0
2019-11-03 02:15:00 | 0.79333 | 313.248 | 0.92 | 344.22 | 0.043333 | 218.7133 | 0.25667 | 151.3333 | 12.1033 | 892 | 93.7 | 0
2019-11-03 02:30:00 | 1.1 | 307.4333 | 1.2733 | 337.8333 | 0.51667 | 2.0067 | 0.22333 | 150.4 | 12.0167 | 892 | 93.7 | 0
2019-11-03 02:45:00 | 1.0933 | 308.2567 | 1.2567 | 338.7333 | 0.34667 | 1.9333 | 0.37 | 150.4 | 11.9773 | 892 | 94.4333 | 0
2019-11-03 03:00:00 | 1.2267 | 104.0167 | 1.41 | 114.3 | 0.62 | 6.8 | 0.66333 | 150.4 | 11.8733 | 892 | 95.1 | 0
2019-11-03 03:15:00 | 1.9067 | 105.78 | 2.2033 | 116.2267 | 1.9933 | 1.7167 | 0 | 150.4 | 11.7033 | 892 | 95.9 | 0
2019-11-03 03:30:00 | 1.9 | 319.1733 | 2.1967 | 350.7333 | 2.0133 | 238.4833 | 0 | 150.4 | 11.61 | 892 | 96.46 | 0
2019-11-03 03:45:00 | 1.44 | 303.27 | 1.67 | 333.2667 | 1.2933 | 350.4667 | 0.01 | 182.4667 | 11.6733 | 892 | 95.7667 | 0
2019-11-03 04:00:00 | 1.48 | 113.03 | 1.7033 | 124.2067 | 1.4467 | 349.3333 | 0.076667 | 275.9333 | 11.5867 | 892 | 96.0333 | 0
2019-11-03 04:15:00 | 2.1667 | 321.9033 | 2.49 | 353.7333 | 2.5267 | 237.9833 | 0.80333 | 0.24 | 11.29 | 891.9333 | 97.6 | 0
2019-11-03 04:30:00 | 2.5467 | 107.4367 | 2.9367 | 118.0533 | 3.12 | 2.7433 | 1.89 | 0.42 | 11.1833 | 891 | 98.3333 | 0
2019-11-03 04:45:00 | 2.52 | 106.5933 | 2.9 | 117.1333 | 3.28 | 9.7667 | 2.72 | 6.0533 | 11.1207 | 891 | 98.7933 | 0
2019-11-03 05:00:00 | 2.6667 | 103.6933 | 3.0667 | 113.94 | 3.4667 | 3.4467 | 2.8933 | 10.1733 | 11.13 | 891 | 98.66 | 0
2019-11-03 05:15:00 | 2.7867 | 322.24 | 3.21 | 354.1 | 3.61 | 2.0433 | 3.2767 | 125.0933 | 11.1967 | 891.7333 | 98.2667 | 0
2019-11-03 05:30:00 | 2.68 | 323.1467 | 3.0833 | 355.1 | 3.33 | 8.6567 | 3.006 | 131.4467 | 11.29 | 892 | 97.8 | 0
2019-11-03 05:45:00 | 2.7967 | 0.76333 | 3.2167 | 0.83667 | 3.76 | 7.1333 | 3.5933 | 11.8567 | 11.25 | 892 | 97.78 | 0
2019-11-03 06:00:00 | 2.888 | 195.744 | 3.326 | 215.104 | 3.506 | 7.47 | 3.572 | 14.16 | 11.146 | 892 | 98.32 | 0
2019-11-03 06:15:00 | 3.156 | 27.2787 | 3.6293 | 29.9753 | 3.7913 | 13.6227 | 3.7787 | 20.7773 | 11.054 | 892 | 98.8733 | 0
2019-11-03 06:30:00 | 2.8567 | 5.51 | 3.2867 | 6.0533 | 3.4867 | 5.9733 | 3.8033 | 12.2833 | 11.0433 | 892 | 98.76 | 0.070667
2019-11-03 06:45:00 | 3.0867 | 219.6733 | 3.5467 | 241.39 | 3.83 | 15.1567 | 4.0333 | 13.8233 | 10.9633 | 892 | 99.1 | 0
2019-11-03 07:00:00 | 3.24 | 222.1 | 3.7267 | 244.0567 | 3.9433 | 3.29 | 4.0267 | 6.2567 | 11.0167 | 892 | 98.9667 | 0.14533
2019-11-03 07:15:00 | 3.1533 | 214.5667 | 3.6333 | 235.7867 | 3.7233 | 5.59 | 3.8267 | 7.8133 | 11.06 | 892 | 98.8 | 0.10667
2019-11-03 07:30:00 | 3.0867 | 1.0067 | 3.5467 | 1.1067 | 3.6367 | 9.5633 | 3.2267 | 15.2867 | 10.9867 | 892 | 98.64 | 0
2019-11-03 07:45:00 | 3.3913 | 295.0153 | 3.8987 | 324.192 | 4.0087 | 121.5453 | 3.348 | 333.7507 | 10.83 | 892 | 99.1467 | 0
2019-11-03 08:00:00 | 3.0167 | 104.44 | 3.4733 | 114.76 | 4.0633 | 356.58 | 3.2933 | 166.04 | 10.75 | 892 | 99.7667 | 0
2019-11-03 08:15:00 | 2.68 | 305.25 | 3.0833 | 335.4333 | 3.41 | 354.8333 | 2.7 | 356.2 | 10.9233 | 892.0667 | 99.8733 | 0
2019-11-03 08:30:00 | 2.22 | 320.8367 | 2.5567 | 352.5667 | 3.17 | 118.98 | 2.4733 | 123.02 | 11.17 | 893 | 99.4333 | 0
2019-11-03 08:45:00 | 2.152 | 198.0993 | 2.472 | 217.6833 | 3.4567 | 10.1607 | 3.0047 | 4.3833 | 11.342 | 893 | 99.3 | 0
2019-11-03 09:00:00 | 2.4667 | 13.4533 | 2.84 | 14.7767 | 3.6867 | 10.7733 | 3.3033 | 4.3433 | 11.268 | 893 | 99.34 | 0
2019-11-03 09:15:00 | 2.51 | 129.0133 | 2.89 | 141.7667 | 3.4967 | 7.31 | 2.9 | 3.6633 | 11.4233 | 893.0667 | 98.6 | 0
2019-11-03 09:30:00 | 2.3633 | 118.1933 | 2.7167 | 129.8733 | 3.4967 | 7.9567 | 2.8867 | 7.7967 | 11.6833 | 894 | 97.1333 | 0
2019-11-03 09:45:00 | 2.2867 | 214.8233 | 2.6333 | 236.0667 | 3.46 | 122.0933 | 3.17 | 5.43 | 12.0533 | 894 | 95.8333 | 0
2019-11-03 10:00:00 | 2.42 | 223.9833 | 2.7933 | 246.1333 | 3.1467 | 126.0133 | 2.6767 | 13.09 | 11.8867 | 894 | 95.5 | 0
2019-11-03 10:15:00 | 1.64 | 208.33 | 1.89 | 228.9233 | 2.13 | 3.42 | 1.7267 | 2.4 | 11.9967 | 894 | 95.3333 | 0
2019-11-03 10:30:00 | 1.6 | 200.2033 | 1.85 | 219.99 | 1.8167 | 224.9 | 0.74 | 224.8067 | 11.9767 | 894 | 95 | 0
2019-11-03 10:45:00 | 1.4967 | 324.06 | 1.72 | 356.1 | 1.84 | 236.0933 | 1.3733 | 227.1467 | 12.07 | 894 | 95.1 | 0
2019-11-03 11:00:00 | 1.2833 | 108.3533 | 1.4733 | 119.0667 | 2.1067 | 9.6267 | 2.2667 | 20.2267 | 12.3433 | 894 | 94.6333 | 0
2019-11-03 11:15:00 | 1.4933 | 12.1867 | 1.73 | 13.3867 | 2.0733 | 5.8 | 2.1133 | 12.5667 | 12.6407 | 894 | 94.4 | 0
2019-11-03 11:30:00 | 1.8467 | 23.3733 | 2.13 | 25.68 | 2.4 | 10.4 | 2.0667 | 5.0133 | 12.7033 | 894 | 93.4 | 0
2019-11-03 11:45:00 | 1.6267 | 12.11 | 1.88 | 13.3033 | 2.0933 | 14.71 | 1.16 | 18.6867 | 12.8967 | 894 | 92.1667 | 0
2019-11-03 12:00:00 | 1.6333 | 221.3633 | 1.88 | 243.2433 | 2.0733 | 13.09 | 1.3 | 16.08 | 13.2167 | 894 | 91.0333 | 0
2019-11-03 12:15:00 | 1.5333 | 219.9367 | 1.7633 | 241.6767 | 1.7933 | 32.5267 | 0.43667 | 11.37 | 13.8267 | 894 | 89.9 | 0
2019-11-03 12:30:00 | 1.6067 | 30.9833 | 1.8567 | 34.0367 | 1.66 | 30.92 | 0.50333 | 232.81 | 13.9267 | 894 | 89.2333 | 0
2019-11-03 12:45:00 | 1.2933 | 18.59 | 1.4967 | 20.42 | 1.73 | 12.6733 | 0.82667 | 116.2267 | 14.52 | 894 | 88.1333 | 0
2019-11-03 13:00:00 | 1.5733 | 221.31 | 1.8167 | 243.1867 | 1.7567 | 19.3467 | 1.1733 | 323.1333 | 14.2867 | 894 | 88.6667 | 0
2019-11-03 13:15:00 | 1.6867 | 24.1 | 1.95 | 26.4733 | 1.9067 | 241.4333 | 1.2733 | 216.5933 | 14.2673 | 894 | 89.5 | 0
2019-11-03 13:30:00 | 1.6467 | 20.7333 | 1.8967 | 22.78 | 2.0467 | 10.4667 | 1.4533 | 1.7 | 14.8033 | 893.6 | 88.0333 | 0
2019-11-03 13:45:00 | 1.5867 | 4.8367 | 1.8267 | 5.31 | 1.8967 | 123.0267 | 1.4433 | 124.44 | 14.8353 | 893 | 88.0667 | 0
2019-11-03 14:00:00 | 1.4467 | 23.1833 | 1.6667 | 25.47 | 1.6367 | 335.4667 | 1.57 | 342.8333 | 14.626 | 893 | 88.4 | 0
2019-11-03 14:15:00 | 1.3467 | 299.6433 | 1.5533 | 329.2667 | 1.4733 | 305.4667 | 1.04 | 312.2333 | 14.5033 | 893 | 89.5667 | 0
2019-11-03 14:30:00 | 0.41333 | 263.1767 | 0.47333 | 289.2 | 0.52667 | 257.9333 | 0.58667 | 219.7 | 15.1233 | 893 | 87.9 | 0
2019-11-03 14:45:00 | 1.1667 | 169.54 | 1.35 | 186.3 | 1.4433 | 166.7667 | 1.2467 | 194.6333 | 15.4933 | 893 | 86.2667 | 0
2019-11-03 15:00:00 | 1.3467 | 147.2133 | 1.55 | 161.7667 | 1.45 | 166.5 | 1.2867 | 170.1667 | 15.3733 | 893 | 86.8667 | 0
2019-11-03 15:15:00 | 1.3733 | 149.2067 | 1.5867 | 163.9667 | 1.5 | 148.6 | 1.4233 | 178.98 | 15.4687 | 893 | 87.14 | 0
2019-11-03 15:30:00 | 0.88 | 141.1467 | 1.02 | 155.1 | 1.0467 | 159.6667 | 0.89667 | 184.3667 | 15.5233 | 893 | 86.8333 | 0
2019-11-03 15:45:00 | 1.3867 | 127.07 | 1.6033 | 139.6333 | 1.6 | 166.9333 | 1.1467 | 180.7667 | 15.5953 | 893 | 86.9667 | 0
2019-11-03 16:00:00 | 1.3933 | 143.33 | 1.6167 | 157.5 | 1.6267 | 181.92 | 1.3 | 210.0333 | 15.67 | 893 | 85.9 | 0
2019-11-03 16:15:00 | 1.46 | 145.54 | 1.68 | 159.9333 | 1.6167 | 157.9333 | 1.28 | 183.4333 | 15.71 | 893 | 86.4333 | 0
2019-11-03 16:30:00 | 1.3 | 146.3267 | 1.4933 | 160.8 | 1.43 | 149.8 | 0.86 | 167.3667 | 15.5433 | 893 | 86.4333 | 0
2019-11-03 16:45:00 | 1.0767 | 170.36 | 1.2433 | 187.2 | 1.1733 | 160.5333 | 0.67333 | 196.5333 | 15.2033 | 893 | 87.7667 | 0
2019-11-03 17:00:00 | 1.2033 | 159.9267 | 1.3833 | 175.7333 | 1.3 | 172.0667 | 0.96 | 199.6 | 15.182 | 893 | 87.9667 | 0
2019-11-03 17:15:00 | 1.2067 | 138.66 | 1.3967 | 152.3667 | 1.7167 | 209.6333 | 1.5133 | 222.0667 | 15.09 | 893 | 89.3667 | 0
2019-11-03 17:30:00 | 0.64 | 161.636 | 0.73667 | 177.62 | 1.17 | 239.1667 | 0.78 | 238.4 | 14.9633 | 893 | 90.1667 | 0
2019-11-03 17:45:00 | 0.04 | 161.81 | 0.053333 | 177.8 | 0.08 | 245 | 0 | 225.6 | 14.8167 | 893 | 90.0067 | 0
2019-11-03 18:00:00 | 0 | 161.81 | 0 | 177.8 | 0 | 245 | 0 | 225.6 | 14.6367 | 893 | 90.6333 | 0
2019-11-03 18:15:00 | 0 | 161.81 | 0 | 177.8 | 0 | 245 | 0 | 225.6 | 14.3333 | 892.2667 | 91.6333 | 0
2019-11-03 18:30:00 | 0 | 161.81 | 0 | 177.8 | 0 | 245 | 0 | 225.6 | 13.8467 | 892 | 93.6333 | 0
2019-11-03 18:45:00 | 0.36933 | 161.81 | 0.428 | 177.8 | 0.694 | 340.4933 | 0.608 | 37.842 | 13.4473 | 892 | 96.34 | 0
2019-11-03 19:00:00 | 0.75 | 161.81 | 0.87333 | 177.8 | 1.4767 | 136.4867 | 1.2267 | 23.7933 | 13.19 | 892 | 97 | 0
2019-11-03 19:15:00 | 1.1767 | 17.0467 | 1.3533 | 18.7267 | 2.2633 | 24.37 | 1.9233 | 23.818 | 12.8967 | 892.0667 | 96.9 | 0
2019-11-03 19:30:00 | 1.2967 | 211.8067 | 1.5 | 232.7533 | 2.4167 | 14.7433 | 2.29 | 23.0967 | 12.87 | 893 | 97.4333 | 0
2019-11-03 19:45:00 | 1.36 | 312.8033 | 1.57 | 343.7333 | 2.3433 | 5.4433 | 2.5067 | 22.7333 | 12.9567 | 893 | 97.68 | 0
2019-11-03 20:00:00 | 1.7667 | 310.9833 | 2.0433 | 341.7333 | 2.5233 | 35.0633 | 2.8333 | 22.7333 | 13.0967 | 893 | 97.4 | 0
2019-11-03 20:15:00 | 1.82 | 314.1067 | 2.1033 | 345.1667 | 2.6567 | 9.0567 | 3.0533 | 21.5033 | 13.26 | 893 | 96.2 | 0
2019-11-03 20:30:00 | 1.78 | 291.1133 | 2.0567 | 319.9 | 2.7167 | 15.5233 | 3.18 | 20.43 | 13.24 | 893 | 96.2 | 0
2019-11-03 20:45:00 | 1.8667 | 10.9767 | 2.1467 | 12.0633 | 3.14 | 13.0933 | 3.18 | 16.1567 | 13.2133 | 893.0667 | 96.44 | 0.30333
2019-11-03 21:00:00 | 1.94 | 217.29 | 2.24 | 238.7833 | 3.56 | 14.4533 | 3.1133 | 15.3633 | 13.0933 | 893.6 | 97.1333 | 0.612
2019-11-03 21:15:00 | 1.96 | 314.0767 | 2.25 | 345.1333 | 3.1467 | 10.5 | 2.7967 | 9.3533 | 12.99 | 893.7333 | 97.7067 | 0.198
2019-11-03 21:30:00 | 2.08 | 293.8833 | 2.39 | 322.9333 | 2.9133 | 238.32 | 2.7767 | 9.8867 | 12.97 | 894 | 97.8 | 0.064
2019-11-03 21:45:00 | 2.4133 | 311.92 | 2.7733 | 342.7667 | 3.2267 | 4.47 | 3.1 | 16.1733 | 12.944 | 894 | 97.8 | 0.17333
2019-11-03 22:00:00 | 2.3 | 301.1867 | 2.6533 | 330.9667 | 3.2933 | 9.53 | 3.3667 | 11.18 | 12.8533 | 894 | 98.0667 | 0
2019-11-03 22:15:00 | 2.2533 | 324.2633 | 2.59 | 356.3333 | 3.35 | 7.4567 | 3.4 | 8.7167 | 12.804 | 894 | 98.5 | 0
2019-11-03 22:30:00 | 2.1467 | 310.6833 | 2.47 | 341.4 | 3.4833 | 14.3233 | 3.4267 | 22.2633 | 12.772 | 894 | 98.54 | 0.366
2019-11-03 22:45:00 | 2.42 | 307.0067 | 2.7867 | 337.3667 | 3.4067 | 15.21 | 3.6933 | 23.6833 | 12.7067 | 894 | 99 | 0.44733
2019-11-03 23:00:00 | 2.6133 | 315.8 | 3.0067 | 347.0333 | 3.3467 | 12.81 | 3.7733 | 19.8767 | 12.6467 | 894 | 99.4 | 0.274
2019-11-03 23:15:00 | 2.844 | 309.1373 | 3.272 | 339.7133 | 3.396 | 6.5647 | 3.552 | 12.8927 | 12.5653 | 894 | 99.7533 | 0.59133
2019-11-03 23:30:00 | 2.61 | 313.9867 | 3.0067 | 345.0333 | 3.46 | 7.93 | 3.6133 | 10 | 12.4233 | 894 | 99.94 | 1.2253
2019-11-03 23:45:00 | 2.5967 | 301.4667 | 2.99 | 331.2667 | 3.4867 | 11.8967 | 3.5967 | 8.54 | 12.2267 | 894 | 100 | 0.962