## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2019-11-04 00:00:00 | 2.8736 | 311.225 | 3.3129 | 342 | 3.8529 | 12.5414 | 3.7107 | 5.6436 | 12.1229 | 894 | 100 | 1.5714
2019-11-04 00:15:00 | 2.6 | 304.0333 | 2.9933 | 334.1 | 4.2933 | 9.82 | 4.2967 | 8.2867 | 11.9433 | 893.9333 | 100 | 2.9673
2019-11-04 00:30:00 | 2.4267 | 109.1533 | 2.8 | 119.94 | 4.2867 | 10.6333 | 4.766 | 19.4867 | 11.886 | 893 | 100 | 3.4173
2019-11-04 00:45:00 | 2.52 | 212.5633 | 2.9067 | 233.5767 | 4.3 | 13.84 | 4.7907 | 18.7633 | 11.8727 | 893 | 100 | 3.9773
2019-11-04 01:00:00 | 2.64 | 235.07 | 3.04 | 258.31 | 4.3533 | 11.0067 | 4.84 | 12.93 | 11.81 | 893 | 100 | 5.0393
2019-11-04 01:15:00 | 2.67 | 306.4367 | 3.0767 | 336.7333 | 5.0433 | 8.93 | 5.07 | 16.1567 | 11.6433 | 893 | 100 | 5.874
2019-11-04 01:30:00 | 2.81 | 308.5567 | 3.23 | 339.0667 | 4.61 | 3.0767 | 4.8167 | 10.8433 | 11.6633 | 893 | 100 | 5.5287
2019-11-04 01:45:00 | 2.68 | 318.6833 | 3.08 | 350.2 | 4.8333 | 232.2133 | 5.0433 | 5.3567 | 11.73 | 893 | 100 | 7.242
2019-11-04 02:00:00 | 2.8533 | 104.8433 | 3.2867 | 115.2133 | 5.2067 | 6.7 | 5.4367 | 10.7367 | 11.698 | 893 | 100 | 8.4173
2019-11-04 02:15:00 | 3.1867 | 15.17 | 3.6733 | 16.6667 | 5.3767 | 128.84 | 5.5167 | 18.9467 | 11.7613 | 893 | 100 | 8.9013
2019-11-04 02:30:00 | 3.2 | 200.9767 | 3.68 | 220.8533 | 5.6567 | 121.1933 | 5.7767 | 15.12 | 11.76 | 893 | 100 | 9.4787
2019-11-04 02:45:00 | 3.2667 | 27.9733 | 3.7667 | 30.74 | 5.5533 | 239.9233 | 5.6567 | 22.5533 | 11.6767 | 893 | 100 | 9.8853
2019-11-04 03:00:00 | 3.5733 | 190.46 | 4.12 | 209.2933 | 5.3 | 10.5233 | 5.3433 | 16.04 | 11.646 | 893 | 100 | 9.646
2019-11-04 03:15:00 | 3.37 | 105.3933 | 3.8767 | 115.8133 | 5.1773 | 4.8467 | 5.2967 | 18.2 | 11.6227 | 892.9333 | 100 | 7.228
2019-11-04 03:30:00 | 3.3833 | 298.48 | 3.8967 | 328 | 4.96 | 9.84 | 5.2167 | 6.4533 | 11.5733 | 892 | 100 | 6.5567
2019-11-04 03:45:00 | 3.618 | 231.2693 | 4.1613 | 254.14 | 5.562 | 11.834 | 5.472 | 27.3847 | 11.5453 | 892 | 100 | 8.6253
2019-11-04 04:00:00 | 3.6533 | 215.4533 | 4.2 | 236.75 | 5.7033 | 2.95 | 5.78 | 3.63 | 11.5133 | 892 | 100 | 9.596
2019-11-04 04:15:00 | 3.84 | 9.58 | 4.4167 | 10.53 | 5.73 | 3.24 | 6.13 | 15.64 | 11.45 | 892 | 100 | 6.0227
2019-11-04 04:30:00 | 4.0333 | 210.34 | 4.6367 | 231.1433 | 5.43 | 5.5733 | 5.65 | 21.12 | 11.35 | 892 | 100 | 3.7753
2019-11-04 04:45:00 | 3.55 | 108.3967 | 4.0833 | 119.1133 | 4.91 | 240.1367 | 5.25 | 17.83 | 11.2787 | 892.0667 | 100 | 5.736
2019-11-04 05:00:00 | 3.0967 | 109.33 | 3.5567 | 120.1333 | 5.2433 | 7.6167 | 5.51 | 10.21 | 11.28 | 892.6 | 100 | 7.2793
2019-11-04 05:15:00 | 2.8573 | 93.2613 | 3.2967 | 102.4747 | 5.3347 | 11.5807 | 5.6147 | 10.0807 | 11.2673 | 892 | 100 | 6.574
2019-11-04 05:30:00 | 2.76 | 311.4633 | 3.1767 | 342.2667 | 5.0967 | 7.6933 | 5.4733 | 10.1133 | 11.22 | 892 | 100 | 6.3987
2019-11-04 05:45:00 | 3.0133 | 180.61 | 3.4633 | 198.46 | 4.6167 | 235.3333 | 4.9733 | 13.5 | 11.1927 | 892 | 100 | 6.568
2019-11-04 06:00:00 | 3.2 | 201.1767 | 3.6833 | 221.06 | 4.7033 | 6.1933 | 5.1933 | 11.4867 | 11.13 | 892.4 | 100 | 5.444
2019-11-04 06:15:00 | 3.1713 | 122.8613 | 3.65 | 135.008 | 4.7233 | 117.476 | 4.9107 | 15.484 | 11.0187 | 893 | 100 | 5.592
2019-11-04 06:30:00 | 3.5067 | 106.2333 | 4.0367 | 116.7333 | 4.68 | 351.5667 | 4.7533 | 14.8867 | 10.98 | 893 | 100 | 4.6453
2019-11-04 06:45:00 | 4.0267 | 209.2533 | 4.63 | 229.9367 | 4.6333 | 355.6333 | 4.52 | 237.6133 | 10.972 | 893 | 100 | 3.514
2019-11-04 07:00:00 | 3.9733 | 3.86 | 4.5767 | 4.2367 | 4.8067 | 356.9 | 4.5133 | 4 | 10.94 | 893 | 100 | 2.594
2019-11-04 07:15:00 | 3.4933 | 115.0433 | 4.0267 | 126.42 | 4.6133 | 3.8533 | 4.31 | 0.30667 | 10.9127 | 893 | 100 | 2.9587
2019-11-04 07:30:00 | 3.8533 | 105.67 | 4.4467 | 116.1133 | 4.9067 | 1.3267 | 4.4767 | 2.0933 | 10.8567 | 893 | 100 | 4.1327
2019-11-04 07:45:00 | 3.6967 | 2.3467 | 4.2533 | 2.58 | 5.0567 | 5 | 5.0567 | 11.85 | 10.8233 | 893 | 100 | 4.2613
2019-11-04 08:00:00 | 3.6167 | 14.9533 | 4.16 | 16.4333 | 4.55 | 20.2333 | 4.91 | 8.85 | 10.79 | 893 | 100 | 5.048
2019-11-04 08:15:00 | 3.1733 | 5.482 | 3.6567 | 6.0267 | 4.8153 | 136.37 | 4.9127 | 10.154 | 10.7987 | 893 | 100 | 3.8167
2019-11-04 08:30:00 | 3.3867 | 3.3067 | 3.9 | 3.63 | 4.05 | 121.0733 | 4.61 | 3.2533 | 10.84 | 893 | 100 | 2.5707
2019-11-04 08:45:00 | 3.3133 | 217.5233 | 3.8067 | 239.0267 | 4.2633 | 0.65 | 4.7733 | 5.9167 | 10.9233 | 893.7333 | 100 | 3.4733
2019-11-04 09:00:00 | 3.0067 | 3.9433 | 3.46 | 4.3267 | 4.5167 | 2.1433 | 4.8667 | 12.5633 | 11.0367 | 894 | 100 | 4.58
2019-11-04 09:15:00 | 2.6667 | 101.8933 | 3.0767 | 111.9733 | 4.34 | 1.7567 | 4.8567 | 30.4367 | 11.2167 | 894 | 100 | 3.2427
2019-11-04 09:30:00 | 2.76 | 316.4667 | 3.1767 | 347.7667 | 4.3267 | 7.27 | 4.8833 | 14.47 | 11.3767 | 894 | 100 | 1.5913
2019-11-04 09:45:00 | 3.1433 | 298.61 | 3.6133 | 328.1333 | 3.7533 | 5.2133 | 3.9633 | 17.1467 | 11.5313 | 894 | 99.9867 | 0.10067
2019-11-04 10:00:00 | 2.9633 | 314.3233 | 3.4067 | 345.4 | 3.56 | 4.76 | 3.2167 | 5.1867 | 11.8767 | 894.4 | 99.1333 | 0
2019-11-04 10:15:00 | 2.8067 | 108.25 | 3.2267 | 118.9533 | 3.4133 | 119.0667 | 3.1733 | 119.0933 | 12.13 | 895 | 98.2667 | 0
2019-11-04 10:30:00 | 2.8267 | 312.77 | 3.2533 | 343.7 | 3.1667 | 125.5467 | 2.8733 | 352.5333 | 12.15 | 895 | 97.8667 | 0
2019-11-04 10:45:00 | 3.1033 | 4.64 | 3.5667 | 5.0967 | 3.65 | 0.15 | 3.6367 | 121.6267 | 12.2893 | 895 | 97.3667 | 0.44133
2019-11-04 11:00:00 | 3.0167 | 27.0867 | 3.48 | 29.7567 | 3.2967 | 9.19 | 3.3567 | 353.5333 | 12.42 | 895 | 96.9 | 0.25071
2019-11-04 11:15:00 | 2.6087 | 317.578 | 2.9993 | 348.9867 | 3.1993 | 18.2387 | 2.9907 | 263.4787 | 13.1113 | 895 | 94.9667 | 0.19333
2019-11-04 11:30:00 | 3.03 | 317.968 | 3.4833 | 349.42 | 4.0567 | 238.5467 | 4.1833 | 2.5667 | 13.5533 | 895 | 92.5 | 0.44133
2019-11-04 11:45:00 | 3.0233 | 7.95 | 3.48 | 8.7333 | 3.8833 | 12.8967 | 4.07 | 7.3267 | 13.7167 | 895 | 91.0667 | 0
2019-11-04 12:00:00 | 2.4567 | 208.17 | 2.8267 | 228.7467 | 3.53 | 20.1367 | 3.4233 | 16.6867 | 14.31 | 895 | 88.9333 | 0
2019-11-04 12:15:00 | 1.92 | 105.1433 | 2.2233 | 115.54 | 2.59 | 16.1467 | 2.2033 | 18.0533 | 14.88 | 895 | 86.7333 | 0
2019-11-04 12:30:00 | 1.9333 | 105.1033 | 2.23 | 115.4933 | 2.43 | 8.3 | 1.6833 | 233.9133 | 14.82 | 895 | 87.6 | 0
2019-11-04 12:45:00 | 1.688 | 234.154 | 1.94 | 257.3067 | 1.9273 | 38.0553 | 1.574 | 65.3133 | 14.984 | 895 | 86.84 | 0
2019-11-04 13:00:00 | 0.93667 | 14.6 | 1.0867 | 16.0433 | 0.66667 | 27.82 | 0.62667 | 199.0167 | 14.838 | 894.6 | 87.3667 | 0
2019-11-04 13:15:00 | 0.75133 | 11.7007 | 0.868 | 12.8533 | 0.886 | 20.936 | 0.37733 | 113.8887 | 15.3747 | 894 | 86.2867 | 0
2019-11-04 13:30:00 | 0.15 | 66.9067 | 0.18333 | 73.5167 | 0.12 | 96.4267 | 0.39333 | 172.7667 | 15.97 | 894 | 84.7 | 0
2019-11-04 13:45:00 | 0.52333 | 324.864 | 0.60667 | 356.9933 | 0.71333 | 31.17 | 0.26 | 21.8367 | 16.0467 | 894 | 84.1667 | 0
2019-11-04 14:00:00 | 0.71667 | 117.2067 | 0.83333 | 128.8 | 1.02 | 11.5967 | 0.19333 | 13.1033 | 16.1133 | 894 | 84.1667 | 0
2019-11-04 14:15:00 | 0.52 | 34.6333 | 0.59333 | 38.06 | 0.56333 | 66.3533 | 0.17333 | 103.84 | 15.85 | 893.2667 | 84.7333 | 0
2019-11-04 14:30:00 | 1.08 | 149.24 | 1.24 | 164 | 1.1367 | 163.1333 | 1.08 | 174.8333 | 15.8767 | 893 | 85.1333 | 0
2019-11-04 14:45:00 | 1.3147 | 148.5027 | 1.5127 | 163.1933 | 1.508 | 170.9667 | 1.5533 | 200.4867 | 15.882 | 893 | 84.8133 | 0
2019-11-04 15:00:00 | 0.82 | 134.44 | 0.95333 | 147.7333 | 0.97 | 174.8 | 1.18 | 179.1 | 15.95 | 893 | 84.9333 | 0
2019-11-04 15:15:00 | 1.2267 | 128.5533 | 1.4233 | 141.2667 | 1.3867 | 166.1667 | 1.3433 | 149.4333 | 15.9493 | 893 | 84.9333 | 0
2019-11-04 15:30:00 | 1.6133 | 155.7267 | 1.8633 | 171.1333 | 1.8467 | 176.9667 | 1.67 | 188.7 | 15.7267 | 893 | 85.7333 | 0
2019-11-04 15:45:00 | 1.8133 | 151.07 | 2.0867 | 166 | 2.08 | 170.3667 | 2.0967 | 176.5667 | 15.3933 | 893 | 87.6 | 0
2019-11-04 16:00:00 | 1.2333 | 166.11 | 1.4267 | 182.5333 | 1.54 | 186.3667 | 1.5833 | 194.3 | 15.18 | 892.8 | 88.8667 | 0
2019-11-04 16:15:00 | 0.16 | 175.7267 | 0.19333 | 193.1 | 0.29333 | 188.1 | 0.16 | 215 | 14.9633 | 892 | 90.7333 | 0
2019-11-04 16:30:00 | 0.82667 | 174.3933 | 0.96 | 191.6333 | 1.3467 | 195.1 | 1.36 | 207.9333 | 14.7167 | 892 | 92 | 0
2019-11-04 16:45:00 | 2.3107 | 172.338 | 2.656 | 189.3733 | 3.2287 | 208.3467 | 3.1447 | 207.0333 | 14.3993 | 892 | 93.7933 | 0.55733
2019-11-04 17:00:00 | 2.4233 | 148.46 | 2.7867 | 163.1333 | 3.28 | 202.6667 | 3.4133 | 210.6 | 14.18 | 892 | 94.0667 | 0.46933
2019-11-04 17:15:00 | 2.1533 | 182.0333 | 2.48 | 200.0333 | 2.92 | 187.9 | 3.0033 | 216.1667 | 13.9133 | 892 | 95.1667 | 2.708
2019-11-04 17:30:00 | 1.5933 | 175.48 | 1.8333 | 192.8333 | 2.1933 | 197.4067 | 2.25 | 211.8333 | 13.8867 | 892 | 92.7 | 1.6553
2019-11-04 17:45:00 | 1.21 | 147.1467 | 1.3933 | 161.7 | 1.7133 | 185.5 | 2.05 | 192.0667 | 13.8947 | 892 | 91.7667 | 1.414
2019-11-04 18:00:00 | 1.3033 | 153.196 | 1.5 | 168.34 | 1.84 | 187.3667 | 2.4033 | 185.7333 | 13.908 | 892 | 91.5667 | 0.704
2019-11-04 18:15:00 | 0.37 | 175.81 | 0.42667 | 193.2 | 0.5 | 185.4 | 1.26 | 181.2 | 13.9147 | 892 | 92.2 | 0.87733
2019-11-04 18:30:00 | 1.0233 | 175.794 | 1.1733 | 193.18 | 1.5067 | 175.3333 | 1.7533 | 173.8667 | 13.928 | 892 | 92.18 | 0.792
2019-11-04 18:45:00 | 1.0333 | 174.72 | 1.1933 | 192 | 1.6533 | 183.5667 | 1.5867 | 176.4 | 13.9353 | 892 | 92.2133 | 0.40667
2019-11-04 19:00:00 | 0.73333 | 174.8067 | 0.84 | 192.0867 | 1.2867 | 183.24 | 1.5667 | 176.4 | 13.924 | 892 | 92.5 | 0.73667
2019-11-04 19:15:00 | 1.18 | 174.82 | 1.3567 | 192.1 | 1.71 | 172.2667 | 2.1567 | 180.4067 | 13.9233 | 892 | 92.9 | 0.356
2019-11-04 19:30:00 | 0.886 | 174.8 | 1.024 | 192.08 | 1.562 | 177.22 | 1.744 | 197.72 | 13.86 | 892.2 | 93.34 | 0.57467
2019-11-04 19:45:00 | 1.0367 | 174.7733 | 1.1967 | 192.0533 | 1.5833 | 185.4467 | 2.0527 | 215.4933 | 13.7867 | 893 | 94.1067 | 0.44933
2019-11-04 20:00:00 | 1.06 | 174.7333 | 1.2267 | 192.0133 | 1.6867 | 201.3 | 2.1867 | 207.3 | 13.7233 | 893 | 94.6667 | 1.0033
2019-11-04 20:15:00 | 1.1433 | 174.72 | 1.3267 | 192 | 1.84 | 194.8667 | 1.9933 | 209.2667 | 13.6167 | 893 | 95.5 | 1.446
2019-11-04 20:30:00 | 1.0633 | 174.72 | 1.2267 | 192 | 1.8467 | 187 | 2.18 | 218.1333 | 13.51 | 893 | 96.6333 | 1.4387
2019-11-04 20:45:00 | 0.63067 | 174.72 | 0.73733 | 192 | 1.124 | 207.6133 | 1.276 | 224.5533 | 13.442 | 893 | 96.9 | 1.4647
2019-11-04 21:00:00 | 0.68 | 174.72 | 0.79 | 192 | 1.2867 | 191.4333 | 1.5933 | 206.1 | 13.416 | 893 | 97.3333 | 0.35533
2019-11-04 21:15:00 | 0.68 | 153.2767 | 0.79 | 168.4333 | 1.21 | 178.1 | 0.69333 | 201.6 | 13.35 | 893 | 97.7 | 0.044286
2019-11-04 21:30:00 | 0.12 | 99.71 | 0.14333 | 109.5667 | 0.19667 | 158.1 | 0.033333 | 201.6 | 13.3547 | 893 | 97.0133 | 0
2019-11-04 21:45:00 | 0 | 94.4233 | 0 | 103.7533 | 0 | 150.6 | 0.066667 | 201.5467 | 13.3347 | 893 | 96.2 | 0
2019-11-04 22:00:00 | 0 | 94.47 | 0 | 103.8 | 0 | 150.6 | 0 | 201.5867 | 13.3013 | 893 | 96.1533 | 0
2019-11-04 22:15:00 | 0 | 166.5667 | 0 | 183.0333 | 0 | 150.6 | 0 | 201.6 | 13.2787 | 893 | 96.2 | 0
2019-11-04 22:30:00 | 0 | 310.76 | 0 | 341.5 | 0 | 150.6 | 0 | 201.5333 | 13.29 | 893 | 96.2667 | 0
2019-11-04 22:45:00 | 0.11733 | 229.28 | 0.13867 | 251.956 | 0 | 150.6 | 0 | 201.6 | 13.3387 | 893 | 96.16 | 0
2019-11-04 23:00:00 | 0.42 | 216.9833 | 0.48667 | 238.4367 | 0 | 150.6 | 0 | 201.6 | 13.2067 | 893 | 96.8667 | 0
2019-11-04 23:15:00 | 0.93333 | 322.2647 | 1.0733 | 354.1333 | 0.79667 | 28.0967 | 0.17333 | 251.2333 | 13.0667 | 893 | 97.9 | 0
2019-11-04 23:30:00 | 1.3667 | 323.63 | 1.58 | 355.6333 | 1.7567 | 14.2967 | 0.20667 | 350.56 | 12.8933 | 893 | 98.7667 | 0
2019-11-04 23:45:00 | 1.4233 | 322.14 | 1.6467 | 354 | 1.7267 | 15.6233 | 0.33333 | 235.46 | 12.57 | 893 | 98.5333 | 0