## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2019-11-05 00:00:00 | 1.25 | 324.3857 | 1.4486 | 356.4714 | 1.3686 | 20.61 | 0 | 4.6914 | 12.4729 | 892.1429 | 97.9857 | 0
2019-11-05 00:15:00 | 1.3933 | 310.38 | 1.6 | 341.0667 | 1.4333 | 13.6633 | 0.06 | 4.67 | 12.4927 | 892 | 97.7133 | 0
2019-11-05 00:30:00 | 1.7733 | 311.7067 | 2.04 | 342.5333 | 2.12 | 237.9167 | 1.4267 | 1.7167 | 12.45 | 892 | 97.7333 | 0
2019-11-05 00:45:00 | 2.1867 | 318.5333 | 2.5167 | 350.0333 | 3.0333 | 4.64 | 2.8333 | 2.87 | 12.4093 | 892 | 98.2667 | 0
2019-11-05 01:00:00 | 2.06 | 322.1733 | 2.3767 | 354.0333 | 3.1067 | 3.64 | 2.5667 | 8.43 | 12.3913 | 892 | 98.42 | 0
2019-11-05 01:15:00 | 2.2667 | 323.6027 | 2.6033 | 355.6067 | 2.9633 | 4.49 | 2.78 | 15.9633 | 12.44 | 892 | 98.5667 | 0
2019-11-05 01:30:00 | 2.6133 | 108.29 | 3.01 | 119 | 3.2367 | 7.73 | 3.1867 | 12.35 | 12.4373 | 892 | 99.2333 | 0
2019-11-05 01:45:00 | 2.7333 | 209.2567 | 3.1433 | 229.95 | 3.1133 | 118.2 | 3.2333 | 10.2767 | 12.24 | 891.4667 | 99.8333 | 0
2019-11-05 02:00:00 | 3.0067 | 209.2567 | 3.4567 | 229.95 | 3.2867 | 118.2 | 3.24 | 9.43 | 12.12 | 891 | 99.0333 | 0
2019-11-05 02:15:00 | 2.7693 | 308.9087 | 3.1913 | 339.4467 | 3.3213 | 214.8867 | 3.2933 | 3.67 | 11.9793 | 891 | 99.1733 | 0
2019-11-05 02:30:00 | 2.68 | 315.3167 | 3.0933 | 346.5 | 3.35 | 5.8367 | 3.4133 | 3.5833 | 11.9633 | 891 | 99.1533 | 0
2019-11-05 02:45:00 | 2.6333 | 218.0267 | 3.03 | 239.5867 | 3.4133 | 28.67 | 3.4 | 5.3467 | 11.9427 | 891 | 99.1533 | 0
2019-11-05 03:00:00 | 2.8267 | 9.6933 | 3.2633 | 10.6533 | 3.4267 | 11.83 | 3.2933 | 7.8933 | 11.92 | 891 | 99.0867 | 0
2019-11-05 03:15:00 | 3.04 | 306.4933 | 3.5033 | 336.8 | 3.6433 | 236.15 | 3.3967 | 0.25667 | 11.89 | 891 | 99.2667 | 0
2019-11-05 03:30:00 | 2.8 | 306.9867 | 3.2167 | 337.3333 | 3.79 | 4.41 | 3.8233 | 0.25667 | 11.8433 | 891 | 99.42 | 0.31267
2019-11-05 03:45:00 | 2.8033 | 217.5533 | 3.2267 | 239.06 | 3.8767 | 0.15 | 4.0167 | 5.98 | 11.76 | 891 | 99.9 | 1.072
2019-11-05 04:00:00 | 2.71 | 218.0267 | 3.12 | 239.5933 | 4.0167 | 5.5633 | 4.2433 | 11.3467 | 11.7387 | 890.1333 | 99.88 | 1.096
2019-11-05 04:15:00 | 2.71 | 218.0267 | 3.12 | 239.5933 | 4.0167 | 5.5633 | 4.2433 | 11.3467 | 11.7387 | 890.1333 | 99.88 | 1.096
2019-11-05 04:30:00 | 2.71 | 218.0267 | 3.12 | 239.5933 | 4.0167 | 5.5633 | 4.2433 | 11.3467 | 11.7387 | 890.1333 | 99.88 | 1.096
2019-11-05 04:45:00 | 2.71 | 218.0267 | 3.12 | 239.5933 | 4.0167 | 5.5633 | 4.2433 | 11.3467 | 11.7387 | 890.1333 | 99.88 | 1.096
2019-11-05 05:00:00 | 2.71 | 218.0267 | 3.12 | 239.5933 | 4.0167 | 5.5633 | 4.2433 | 11.3467 | 11.7387 | 890.1333 | 99.88 | 1.096
2019-11-05 05:15:00 | 2.71 | 218.0267 | 3.12 | 239.5933 | 4.0167 | 5.5633 | 4.2433 | 11.3467 | 11.7387 | 890.1333 | 99.88 | 1.096
2019-11-05 05:30:00 | 3.3233 | 10.5533 | 3.8233 | 11.5967 | 4.03 | 2.3633 | 3.8433 | 12.59 | 11.402 | 889 | 99.3333 | 0.14133
2019-11-05 05:45:00 | 3.3233 | 10.5533 | 3.8233 | 11.5967 | 4.03 | 2.3633 | 3.8433 | 12.59 | 11.402 | 889 | 99.3333 | 0.14133
2019-11-05 06:00:00 | 3.3233 | 10.5533 | 3.8233 | 11.5967 | 4.03 | 2.3633 | 3.8433 | 12.59 | 11.402 | 889 | 99.3333 | 0.14133
2019-11-05 06:15:00 | 3.3233 | 10.5533 | 3.8233 | 11.5967 | 4.03 | 2.3633 | 3.8433 | 12.59 | 11.402 | 889 | 99.3333 | 0.14133
2019-11-05 06:30:00 | 3.3233 | 10.5533 | 3.8233 | 11.5967 | 4.03 | 2.3633 | 3.8433 | 12.59 | 11.402 | 889 | 99.3333 | 0.14133
2019-11-05 06:45:00 | 2.6767 | 2.2427 | 3.08 | 2.4553 | 3.524 | 2.176 | 3.5253 | 11.1087 | 11.37 | 889 | 99.3867 | 0
2019-11-05 07:00:00 | 2.2 | 213.4433 | 2.5367 | 234.55 | 2.99 | 238.16 | 2.9067 | 6.8633 | 11.3127 | 889 | 99.9333 | 0
2019-11-05 07:15:00 | 2.5267 | 130.4233 | 2.91 | 143.3133 | 3.4267 | 0.15 | 3.3867 | 18.2633 | 11.2133 | 889 | 100 | 0.61733
2019-11-05 07:30:00 | 2.6667 | 316.0767 | 3.07 | 347.3333 | 4.2133 | 233.9167 | 4.0733 | 23.9233 | 11.1467 | 889 | 100 | 1.2193
2019-11-05 07:45:00 | 3.06 | 119.4167 | 3.5167 | 131.2267 | 4.26 | 1.9267 | 4.2167 | 121.3333 | 11.1 | 889 | 100 | 2.0933
2019-11-05 08:00:00 | 3.0667 | 315.71 | 3.53 | 346.9333 | 4.84 | 0.53333 | 4.7633 | 120.1667 | 11.1087 | 889 | 99.9133 | 3.0927
2019-11-05 08:15:00 | 2.9967 | 123.45 | 3.4433 | 135.66 | 5.0233 | 11.1067 | 5.1333 | 3.5467 | 11.11 | 889.5333 | 99.8467 | 3.0127
2019-11-05 08:30:00 | 2.8407 | 164.4167 | 3.266 | 180.68 | 5.1113 | 5.4627 | 5.1573 | 8.488 | 11.1033 | 890 | 99.9067 | 2.894
2019-11-05 08:45:00 | 2.98 | 212.43 | 3.4267 | 233.4367 | 5.12 | 16.9233 | 4.9833 | 20.4567 | 11.07 | 890 | 100 | 1.5527
2019-11-05 09:00:00 | 2.7267 | 205.8233 | 3.1333 | 226.17 | 4.7333 | 10.9433 | 4.49 | 21.2967 | 11.0853 | 890 | 100 | 1.8213
2019-11-05 09:15:00 | 3.0913 | 216.7 | 3.554 | 238.1333 | 4.408 | 8.0067 | 4.1073 | 14.6893 | 11.08 | 890 | 100 | 2.346
2019-11-05 09:30:00 | 3.47 | 14.45 | 3.99 | 15.8733 | 4.7267 | 2.6233 | 4.2767 | 6.1567 | 11.0993 | 890 | 100 | 1.3047
2019-11-05 09:45:00 | 3.4633 | 313.35 | 3.98 | 344.3333 | 4.3333 | 3.6867 | 3.85 | 3.5167 | 11.164 | 890 | 100 | 1.2633
2019-11-05 10:00:00 | 2.7833 | 304.01 | 3.2 | 334.0667 | 4.32 | 24.1067 | 3.93 | 2.2033 | 11.3333 | 890 | 99.8467 | 1.2547
2019-11-05 10:15:00 | 2.5267 | 134.4633 | 2.9067 | 147.76 | 3.68 | 237.45 | 3.3967 | 2.48 | 11.4433 | 890 | 99.6 | 0.618
2019-11-05 10:30:00 | 2.5733 | 316.4633 | 2.96 | 347.7667 | 3.36 | 0.53667 | 3.1233 | 0.44 | 11.47 | 890 | 99.4 | 0.010714
2019-11-05 10:45:00 | 2.72 | 316.68 | 3.1267 | 348 | 3.5 | 249.0733 | 3.5 | 2.6733 | 11.4 | 890 | 98.8667 | 0
2019-11-05 11:00:00 | 2.48 | 321.0013 | 2.8533 | 352.74 | 2.98 | 15.9 | 2.6533 | 5.9133 | 11.3827 | 890 | 98.38 | 0
2019-11-05 11:15:00 | 2.3667 | 208.95 | 2.7267 | 229.6167 | 2.8733 | 5.31 | 2.3067 | 8.7067 | 11.33 | 890 | 98.22 | 0
2019-11-05 11:30:00 | 2.1267 | 204.8967 | 2.4533 | 225.15 | 2.14 | 3.0033 | 1.0267 | 226.0533 | 11.414 | 890 | 97.4 | 0
2019-11-05 11:45:00 | 1.42 | 216.65 | 1.6367 | 238.08 | 1.23 | 5.94 | 0.13 | 3.42 | 11.6433 | 890 | 96.4333 | 0
2019-11-05 12:00:00 | 1.1667 | 219.3833 | 1.3433 | 241.08 | 0.78333 | 32.4867 | 0.19 | 127.3467 | 11.79 | 889.8 | 95.7 | 0.23267
2019-11-05 12:15:00 | 0.64 | 5.5767 | 0.74667 | 6.1267 | 0.5 | 29.2833 | 0.083333 | 146.2 | 11.9333 | 889 | 96 | 0.83067
2019-11-05 12:30:00 | 0.2 | 195.9967 | 0.23333 | 215.38 | 0.19333 | 130.4367 | 0.71 | 193.1333 | 11.96 | 889 | 95.8667 | 1.6353
2019-11-05 12:45:00 | 1.5633 | 160.23 | 1.8 | 176.0667 | 2.1067 | 186.1667 | 2.8433 | 205.8667 | 11.9453 | 889 | 96.5667 | 2.0527
2019-11-05 13:00:00 | 2.2233 | 140.996 | 2.56 | 154.94 | 2.5933 | 178.7 | 3.09 | 192.4667 | 12.0407 | 889 | 96.3 | 3.0853
2019-11-05 13:15:00 | 3.2233 | 177.06 | 3.7033 | 194.5667 | 3.86 | 192.3667 | 4.1133 | 187.2 | 12.072 | 888.4667 | 95.1333 | 4.5147
2019-11-05 13:30:00 | 3.3833 | 153.7667 | 3.89 | 168.9667 | 3.96 | 185.4333 | 4.3533 | 180 | 11.99 | 888 | 95.2667 | 4.1627
2019-11-05 13:45:00 | 2.5267 | 125.4067 | 2.91 | 137.8 | 3 | 196.2667 | 3.65 | 206.1667 | 11.92 | 888 | 95.9 | 3.446
2019-11-05 14:00:00 | 2.56 | 140.14 | 2.95 | 154 | 3.0933 | 189.2 | 3.6567 | 195.3667 | 11.8667 | 888 | 96.1467 | 3.29
2019-11-05 14:15:00 | 3.1733 | 163.71 | 3.6567 | 179.9 | 3.7867 | 184.7667 | 4.3633 | 186.1667 | 11.7 | 887.4667 | 96.9333 | 3.99
2019-11-05 14:30:00 | 3.16 | 154.3633 | 3.6367 | 169.6333 | 3.7467 | 181.2333 | 4.17 | 184.9667 | 11.636 | 887 | 97.8667 | 5.2393
2019-11-05 14:45:00 | 3.12 | 131.4033 | 3.5967 | 144.4 | 3.56 | 190.0333 | 4.3867 | 184.2667 | 11.5867 | 887 | 98.9 | 4.518
2019-11-05 15:00:00 | 2.3933 | 162.0433 | 2.75 | 178.0667 | 2.9467 | 200.1667 | 3.22 | 190.8 | 11.6467 | 887 | 98.8133 | 6.4613
2019-11-05 15:15:00 | 3.0433 | 154.6173 | 3.5 | 169.9067 | 3.8633 | 194.2 | 4.3267 | 182.2667 | 11.6247 | 887 | 98.3 | 8.4727
2019-11-05 15:30:00 | 3.3833 | 162.7467 | 3.8867 | 178.8333 | 4.1833 | 184.2667 | 4.7333 | 189.3333 | 11.4467 | 887 | 98.7667 | 8.762
2019-11-05 15:45:00 | 3.65 | 162.29 | 4.1967 | 178.3333 | 4.1433 | 194.8 | 4.7133 | 189.9333 | 11.1833 | 887 | 99 | 12.7687
2019-11-05 16:00:00 | 4.0367 | 143.3633 | 4.6433 | 157.5333 | 4.71 | 184.4 | 5.1467 | 187.14 | 11.03 | 887 | 99.8 | 20.0133
2019-11-05 16:15:00 | 5.0533 | 157.25 | 5.81 | 172.8 | 5.8533 | 180.3933 | 6.7067 | 180.9 | 10.75 | 886.4667 | 100 | 10.6247
2019-11-05 16:30:00 | 3.8267 | 167.5633 | 4.4033 | 184.1333 | 4.4333 | 180.3 | 5.06 | 190.5 | 10.5767 | 886 | 100 | 7.2947
2019-11-05 16:45:00 | 3.4933 | 169.44 | 4.02 | 186.2 | 3.8533 | 170.4 | 4.67 | 188.0667 | 10.5 | 886 | 100 | 6.4747
2019-11-05 17:00:00 | 2.9467 | 172.8467 | 3.3933 | 189.9333 | 3.3333 | 181.6 | 3.87 | 195.1333 | 10.4847 | 886 | 100 | 3.9753
2019-11-05 17:15:00 | 2.1667 | 145.0667 | 2.4933 | 159.4 | 2.67 | 178.7 | 3.4533 | 176.5667 | 10.5007 | 886 | 100 | 2.218
2019-11-05 17:30:00 | 1.9667 | 170.0533 | 2.2667 | 186.8667 | 2.33 | 176.1 | 2.7667 | 170.5667 | 10.4993 | 886 | 100 | 1.8873
2019-11-05 17:45:00 | 0.85133 | 191.3407 | 0.98067 | 210.2533 | 1.0793 | 181.2933 | 1.5207 | 172.64 | 10.4633 | 886 | 100 | 2.352
2019-11-05 18:00:00 | 0.60667 | 199.0267 | 0.7 | 218.7 | 0.77333 | 207.3 | 1.18 | 204.3667 | 10.408 | 886 | 100 | 1.22
2019-11-05 18:15:00 | 0.16333 | 235.6567 | 0.19667 | 258.9667 | 0.033333 | 202.2333 | 0.56 | 178.7 | 10.394 | 886 | 98.2667 | 0.388
2019-11-05 18:30:00 | 0.47 | 307.3167 | 0.54333 | 337.7 | 0 | 197.5 | 0 | 178.7 | 10.3433 | 886 | 99 | 0.063333
2019-11-05 18:45:00 | 0.60667 | 286.63 | 0.7 | 314.9667 | 0.006667 | 7.3233 | 0 | 178.7 | 10.38 | 886.5333 | 99.4667 | 0.14667
2019-11-05 19:00:00 | 0.64 | 306.1033 | 0.73333 | 336.3667 | 0 | 3.0767 | 0 | 147.1667 | 10.46 | 887 | 98.4 | 0.022667
2019-11-05 19:15:00 | 1.34 | 315.62 | 1.55 | 346.8333 | 1.05 | 2.9967 | 0.15333 | 107.2667 | 10.4707 | 887 | 99.5333 | 0.51267
2019-11-05 19:30:00 | 1.8333 | 314.04 | 2.1167 | 345.1 | 2.03 | 1.0233 | 1.44 | 24.2667 | 10.42 | 887 | 100 | 0.228
2019-11-05 19:45:00 | 1.85 | 106.23 | 2.1267 | 116.7333 | 2.25 | 6.6267 | 1.44 | 123.3733 | 10.37 | 887 | 100 | 0.26
2019-11-05 20:00:00 | 1.5167 | 309.2567 | 1.74 | 339.8333 | 1.65 | 3.7467 | 0.83333 | 119.2933 | 10.3767 | 887 | 100 | 0.18867
2019-11-05 20:15:00 | 1.6967 | 107.3633 | 1.9533 | 117.98 | 2.3067 | 7.2767 | 1.9267 | 12.9933 | 10.34 | 887 | 100 | 0.079333
2019-11-05 20:30:00 | 1.5767 | 317.17 | 1.8267 | 348.5333 | 1.9533 | 2.95 | 1.5867 | 4.48 | 10.3293 | 887 | 100 | 0.57867
2019-11-05 20:45:00 | 0.76 | 219.1767 | 0.87333 | 240.85 | 0.90333 | 356.0333 | 0.70667 | 94.3267 | 10.29 | 887 | 100 | 1.6513
2019-11-05 21:00:00 | 0.192 | 128.44 | 0.22 | 141.14 | 0.196 | 301.22 | 0.548 | 273.28 | 10.2633 | 887 | 100 | 2.4807
2019-11-05 21:15:00 | 0.30667 | 144.9 | 0.35667 | 159.2333 | 0.37667 | 170.9433 | 0.5 | 170.9033 | 10.23 | 887 | 100 | 0.084
2019-11-05 21:30:00 | 1.34 | 215.8267 | 1.55 | 237.1667 | 1.6367 | 25.0567 | 1.46 | 32.0233 | 10.2567 | 887 | 100 | 0
2019-11-05 21:45:00 | 2.3967 | 321.0833 | 2.76 | 352.8333 | 3.1333 | 9.5667 | 3.2567 | 20.4867 | 10.2293 | 887.5333 | 100 | 0
2019-11-05 22:00:00 | 1.67 | 313.002 | 1.9267 | 343.9533 | 2.464 | 10.6707 | 2.6233 | 20.3413 | 10.1947 | 888 | 100 | 0
2019-11-05 22:15:00 | 1.8247 | 323.2507 | 2.0947 | 355.22 | 2.5233 | 8.5633 | 2.3293 | 19.3733 | 10.132 | 888 | 100 | 0
2019-11-05 22:30:00 | 2.102 | 300.69 | 2.414 | 330.42 | 2.77 | 5.272 | 3.134 | 10.92 | 10.128 | 888 | 100 | 0.59933
2019-11-05 22:45:00 | 2.09 | 29.8127 | 2.3993 | 32.76 | 3.39 | 10.696 | 3.778 | 10.9573 | 10.144 | 888 | 100 | 1.5647
2019-11-05 23:00:00 | 2.3433 | 1.2633 | 2.6967 | 1.3767 | 3.9133 | 13.7633 | 4.2767 | 18.2633 | 10.194 | 888 | 100 | 3.056
2019-11-05 23:15:00 | 2.3333 | 312.0067 | 2.6833 | 342.8667 | 4.2367 | 15.0933 | 4.3933 | 19.71 | 10.21 | 888 | 100 | 5
2019-11-05 23:30:00 | 2.6067 | 276.7667 | 2.9967 | 304.1333 | 5.0233 | 16.8133 | 5.0067 | 18.6033 | 10.2207 | 888 | 100 | 5.516
2019-11-05 23:45:00 | 2.4733 | 48.91 | 2.8467 | 53.7433 | 4.87 | 14.0833 | 4.95 | 21.3433 | 10.26 | 888 | 100 | 6.0473