## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2019-11-06 00:00:00 | 2.5486 | 194.0529 | 2.9314 | 213.2386 | 4.9557 | 15.1357 | 5.11 | 23.9271 | 10.2743 | 887.9167 | 100 | 7.0164
2019-11-06 00:15:00 | 2.6267 | 109.0667 | 3.03 | 119.8533 | 4.9467 | 13.61 | 4.7367 | 13.1567 | 10.1567 | 887 | 100 | 7.6107
2019-11-06 00:30:00 | 2.84 | 99.7467 | 3.27 | 109.6067 | 5.0533 | 224.2633 | 4.7367 | 235.85 | 10.108 | 887 | 100 | 10.2513
2019-11-06 00:45:00 | 3.32 | 182.2867 | 3.82 | 200.3067 | 5.3567 | 3.18 | 5.1233 | 21.5233 | 10.1 | 887 | 100 | 10.7273
2019-11-06 01:00:00 | 3 | 207.16 | 3.4533 | 227.64 | 5.31 | 7.68 | 4.9633 | 21.8433 | 10.096 | 887 | 100 | 10.5253
2019-11-06 01:15:00 | 3.0267 | 313.5867 | 3.48 | 344.6 | 5.4633 | 230.48 | 5.32 | 241.1833 | 10.0933 | 887 | 100 | 14.546
2019-11-06 01:30:00 | 3.2467 | 286.72 | 3.74 | 315.0667 | 5.83 | 9.4733 | 5.9533 | 24.81 | 10.116 | 887 | 100 | 14.6527
2019-11-06 01:45:00 | 2.9767 | 151.5067 | 3.42 | 166.49 | 5.3533 | 123.54 | 5.43 | 21.8467 | 10.0693 | 887 | 100 | 16.5973
2019-11-06 02:00:00 | 3.2033 | 6.7467 | 3.6867 | 7.4033 | 5.4667 | 117.32 | 5.6033 | 18.3133 | 10 | 887 | 100 | 17.494
2019-11-06 02:15:00 | 3.66 | 92.9933 | 4.2133 | 102.1867 | 5.44 | 224.2667 | 5.42 | 21.6 | 9.94 | 887 | 100 | 17.64
2019-11-06 02:30:00 | 3.2267 | 308.1267 | 3.7133 | 338.6 | 4.8067 | 119.3333 | 4.8867 | 16.22 | 9.9067 | 886.8 | 100 | 14.6233
2019-11-06 02:45:00 | 3.1 | 270.3633 | 3.5633 | 297.1 | 5.68 | 0.15 | 5.65 | 10.4533 | 9.9053 | 886 | 100 | 13.3807
2019-11-06 03:00:00 | 3.24 | 63.3233 | 3.7233 | 69.5733 | 5.88 | 1.77 | 6.01 | 6.8067 | 9.9187 | 886.8667 | 100 | 16.9607
2019-11-06 03:15:00 | 3.4033 | 44.4407 | 3.9167 | 48.8267 | 6.3093 | 354.16 | 6.7007 | 5.9833 | 9.9173 | 887 | 100 | 22.63
2019-11-06 03:30:00 | 3.56 | 22.1167 | 4.0967 | 24.2967 | 6.3433 | 340.5667 | 6.5233 | 7.1633 | 9.84 | 887 | 100 | 22.9807
2019-11-06 03:45:00 | 3.2333 | 289.7833 | 3.7233 | 318.4333 | 5.6433 | 125.6467 | 6.2133 | 18.29 | 9.79 | 887 | 100 | 21.856
2019-11-06 04:00:00 | 3.26 | 107.11 | 3.75 | 117.6933 | 5.81 | 128.4133 | 6.1533 | 8.6967 | 9.768 | 887 | 100 | 16.628
2019-11-06 04:15:00 | 3.0813 | 234.5667 | 3.5433 | 257.7693 | 6.064 | 15.1473 | 5.9093 | 22.008 | 9.7247 | 886.4667 | 100 | 13.8807
2019-11-06 04:30:00 | 2.88 | 40.75 | 3.3133 | 44.78 | 5.6733 | 16.6133 | 5.5067 | 18.9433 | 9.69 | 886.6667 | 100 | 13.2833
2019-11-06 04:45:00 | 3.138 | 88.8147 | 3.606 | 97.5967 | 5.034 | 96.3133 | 5.214 | 102.9593 | 9.516 | 886 | 100 | 15.6593
2019-11-06 05:00:00 | 3.0367 | 112.5733 | 3.5 | 123.7067 | 5.0933 | 125.8533 | 5.7133 | 121.6067 | 9.41 | 886 | 100 | 14.992
2019-11-06 05:15:00 | 3.1333 | 9.88 | 3.6067 | 10.8467 | 5.0167 | 7.3033 | 5.48 | 13.5833 | 9.3433 | 886 | 100 | 14.3287
2019-11-06 05:30:00 | 2.9067 | 12.08 | 3.3533 | 13.26 | 4.752 | 4.3233 | 5.2267 | 5.2233 | 9.3433 | 886 | 100 | 14.116
2019-11-06 05:45:00 | 2.5933 | 204.3167 | 2.9833 | 224.5133 | 4.6333 | 11.7467 | 5.0567 | 11.7667 | 9.35 | 886 | 100 | 15.3433
2019-11-06 06:00:00 | 2.8667 | 13.21 | 3.31 | 14.5067 | 4.98 | 230.1533 | 4.9967 | 30.3067 | 9.3767 | 886 | 100 | 19.368
2019-11-06 06:15:00 | 3.1833 | 299.2767 | 3.6667 | 328.8667 | 5.7067 | 14.7333 | 5.9267 | 6.5 | 9.45 | 886 | 100 | 20.2913
2019-11-06 06:30:00 | 3.3033 | 102.6433 | 3.8067 | 112.7933 | 5.34 | 234.5 | 5.74 | 22.2067 | 9.3767 | 886 | 100 | 21.8827
2019-11-06 06:45:00 | 3.12 | 11.49 | 3.5933 | 12.6267 | 5.0933 | 11.1533 | 5.5533 | 10.8333 | 9.31 | 886 | 100 | 19.172
2019-11-06 07:00:00 | 3 | 201.31 | 3.4533 | 221.2133 | 5.0333 | 3.3733 | 5.7267 | 4.6733 | 9.3013 | 886 | 100 | 20.7807
2019-11-06 07:15:00 | 3.1867 | 22.75 | 3.67 | 24.9933 | 5.51 | 342.6 | 5.6533 | 4.3633 | 9.3267 | 886 | 100 | 24.3167
2019-11-06 07:30:00 | 3.4 | 148.1433 | 3.91 | 162.78 | 5.9253 | 122.7733 | 6.3533 | 11.8033 | 9.36 | 886 | 100 | 25.1027
2019-11-06 07:45:00 | 3.32 | 218.98 | 3.82 | 240.6333 | 5.56 | 234.47 | 6.0633 | 10.1967 | 9.4 | 886 | 100 | 24.5273
2019-11-06 08:00:00 | 3.38 | 39.14 | 3.8867 | 43.0067 | 5.7267 | 241.9367 | 6.0567 | 13.2567 | 9.402 | 886.8667 | 100 | 23.7413
2019-11-06 08:15:00 | 3.4133 | 218.3733 | 3.9267 | 239.9733 | 5.75 | 4.52 | 6.2967 | 19.05 | 9.45 | 887 | 100 | 24.0733
2019-11-06 08:30:00 | 3.3733 | 44.0067 | 3.88 | 48.3533 | 5.7033 | 16.5133 | 6.0433 | 35.9767 | 9.4633 | 887 | 100 | 23.3427
2019-11-06 08:45:00 | 3.76 | 13.6867 | 4.3367 | 15.0333 | 5.9867 | 133.81 | 6.54 | 20.2333 | 9.52 | 887 | 100 | 26.7413
2019-11-06 09:00:00 | 3.6933 | 15.3867 | 4.25 | 16.9 | 5.94 | 10.23 | 6.54 | 20.3 | 9.538 | 887 | 100 | 28.5733
2019-11-06 09:15:00 | 3.7 | 103.8267 | 4.2567 | 114.0867 | 6.1133 | 75.2133 | 6.512 | 7.1667 | 9.5867 | 887.5333 | 100 | 27.6487
2019-11-06 09:30:00 | 3.56 | 295.0933 | 4.0967 | 324.2667 | 5.8533 | 62.5067 | 6.5433 | 13.84 | 9.7067 | 888 | 100 | 26.6673
2019-11-06 09:45:00 | 3.6867 | 21.7167 | 4.2467 | 23.8567 | 6.3333 | 118.9133 | 6.98 | 5.93 | 9.9367 | 888 | 100 | 25.492
2019-11-06 10:00:00 | 3.4333 | 224.31 | 3.9533 | 246.4967 | 5.88 | 344.14 | 6.4333 | 11.1033 | 10.006 | 888 | 100 | 21.7167
2019-11-06 10:15:00 | 3.32 | 23.0167 | 3.82 | 25.2867 | 5.35 | 117.9333 | 5.71 | 27.4633 | 10.0233 | 888 | 100 | 18.8767
2019-11-06 10:30:00 | 3.6733 | 209.97 | 4.22 | 230.7267 | 5.21 | 341.4 | 5.39 | 16.1167 | 10.0033 | 888 | 100 | 18.6947
2019-11-06 10:45:00 | 3.68 | 110.0333 | 4.2433 | 120.9133 | 5 | 9.4633 | 5.52 | 7.94 | 10.1667 | 888 | 100 | 15.8193
2019-11-06 11:00:00 | 3.5067 | 303.94 | 4.0433 | 334 | 5.18 | 239.5033 | 5.8867 | 0.24 | 10.44 | 888 | 100 | 17.248
2019-11-06 11:15:00 | 3.2067 | 38.9267 | 3.6867 | 42.7733 | 5.4367 | 7.2933 | 6.1633 | 243.17 | 10.8633 | 888 | 100 | 14.0153
2019-11-06 11:30:00 | 2.94 | 236.8733 | 3.3933 | 260.3 | 5.21 | 18.5267 | 5.91 | 23.7433 | 11.21 | 888.8667 | 100 | 12.3133
2019-11-06 11:45:00 | 3.028 | 1.244 | 3.4833 | 1.3713 | 5.014 | 6.3527 | 5.378 | 17.372 | 11.8353 | 889 | 100 | 12.2627
2019-11-06 12:00:00 | 3.16 | 2.8333 | 3.6433 | 3.11 | 5.2033 | 14.7133 | 5.54 | 13.4033 | 12.3333 | 889 | 99.1333 | 11.0407
2019-11-06 12:15:00 | 2.8667 | 107.3633 | 3.3 | 117.98 | 5.0867 | 19.3133 | 5.14 | 13.64 | 13.5 | 889 | 95.1667 | 6.4993
2019-11-06 12:30:00 | 3.18 | 111.3767 | 3.66 | 122.3867 | 5.6067 | 6.2867 | 5.6093 | 8.1467 | 14.24 | 889 | 90.4333 | 7.274
2019-11-06 12:45:00 | 3.2433 | 213.6967 | 3.73 | 234.82 | 5.5733 | 14.6 | 5.5 | 24.0267 | 13.86 | 889 | 89.3 | 5.8407
2019-11-06 13:00:00 | 3.1033 | 25.9433 | 3.57 | 28.5 | 5.2867 | 14.7933 | 5.1267 | 11.92 | 13.678 | 889 | 90.3467 | 4.324
2019-11-06 13:15:00 | 3 | 29.6433 | 3.45 | 32.5767 | 4.71 | 9.5467 | 4.6467 | 11.3433 | 14.38 | 889 | 87 | 2.568
2019-11-06 13:30:00 | 3.1 | 222.19 | 3.5633 | 244.1567 | 4.9367 | 11.6533 | 4.6933 | 23.3167 | 15.5533 | 889 | 82.6667 | 2.7067
2019-11-06 13:45:00 | 2.6667 | 259.7533 | 3.0667 | 285.4333 | 4.6767 | 21.8033 | 4.67 | 32.4 | 17.0333 | 889 | 77.2167 | 3.448
2019-11-06 14:00:00 | 3.1333 | 68.0533 | 3.6067 | 74.7867 | 5.3433 | 17.8633 | 5.1967 | 18.24 | 17.8533 | 889 | 69.91 | 6.3953
2019-11-06 14:15:00 | 3.5 | 167.5287 | 4.0373 | 184.0887 | 6.2467 | 15.1633 | 6.04 | 14.6773 | 18.2 | 889 | 66.934 | 6.866
2019-11-06 14:30:00 | 3.384 | 324.492 | 3.902 | 356.58 | 6.2 | 18.292 | 6.016 | 20.046 | 17.6 | 889 | 66.982 | 6.8007
2019-11-06 14:45:00 | 3.4333 | 173.4833 | 3.95 | 190.6333 | 6.5933 | 17.6367 | 6.5467 | 25.23 | 15.8167 | 889 | 72.7367 | 6.8967
2019-11-06 15:00:00 | 3.172 | 215.478 | 3.65 | 236.78 | 6.044 | 19.074 | 6.076 | 26.55 | 15.274 | 889 | 76.28 | 5.588
2019-11-06 15:15:00 | 2.87 | 27.0633 | 3.3033 | 29.73 | 5.45 | 8.15 | 5.2367 | 15.4233 | 15.4733 | 888.4667 | 76.17 | 4.6867
2019-11-06 15:30:00 | 2.4967 | 199.4233 | 2.87 | 219.1433 | 4.49 | 12.91 | 4.2767 | 12.0033 | 16.06 | 888 | 73.65 | 4.2633
2019-11-06 15:45:00 | 2.2467 | 45.0867 | 2.5867 | 49.54 | 4.0667 | 15.13 | 4.13 | 25.1933 | 16.15 | 888 | 72.72 | 5.148
2019-11-06 16:00:00 | 2.62 | 238 | 3.0133 | 261.5333 | 4.9933 | 17.1567 | 4.7633 | 19.52 | 17.1233 | 888 | 69.16 | 6.9753
2019-11-06 16:15:00 | 3.018 | 213.7453 | 3.4773 | 234.8833 | 5.6027 | 20.2673 | 5.4847 | 15.7347 | 17.1433 | 888 | 68.4553 | 7.3807
2019-11-06 16:30:00 | 3.2467 | 220.9 | 3.7467 | 242.7367 | 5.8867 | 7.1433 | 5.9533 | 8.4133 | 16.5567 | 888.8667 | 69.7 | 6.1127
2019-11-06 16:45:00 | 2.9533 | 96.9333 | 3.3933 | 106.5133 | 5.4067 | 1.2167 | 5.4467 | 8.8267 | 16.19 | 889 | 70.4133 | 5.238
2019-11-06 17:00:00 | 2.92 | 209.1 | 3.36 | 229.7667 | 5.4733 | 233.85 | 5.3933 | 237.9467 | 16.1167 | 889 | 70.3533 | 4.7753
2019-11-06 17:15:00 | 2.65 | 227.3267 | 3.0433 | 249.8 | 5.06 | 8.9067 | 5.2133 | 21.23 | 15.07 | 889 | 74.3633 | 4.2213
2019-11-06 17:30:00 | 2.3633 | 290.8933 | 2.7167 | 319.6667 | 4.58 | 2.98 | 4.74 | 1.4967 | 14.3767 | 888.1333 | 76.83 | 3.3407
2019-11-06 17:45:00 | 2.5 | 286.5 | 2.8767 | 314.8333 | 4.8433 | 13.22 | 4.6867 | 11.0333 | 13.81 | 888 | 78.6767 | 3.608
2019-11-06 18:00:00 | 2.18 | 109.9533 | 2.51 | 120.8267 | 4.1433 | 240.04 | 3.9933 | 9.46 | 13.3567 | 888 | 80.1233 | 2.968
2019-11-06 18:15:00 | 2.1067 | 206.1633 | 2.4267 | 226.55 | 3.9833 | 0.83 | 3.8067 | 18.39 | 12.9633 | 888 | 80.6667 | 3.522
2019-11-06 18:30:00 | 2.0933 | 215.2633 | 2.4067 | 236.55 | 3.7433 | 0.85667 | 3.58 | 38.1833 | 12.7767 | 888 | 80.8 | 2.7133
2019-11-06 18:45:00 | 1.68 | 272.39 | 1.9433 | 299.3333 | 3.1867 | 16.7433 | 3.4233 | 31.8133 | 12.5067 | 888 | 82.1667 | 2.314
2019-11-06 19:00:00 | 1.7733 | 293.75 | 2.0433 | 322.8 | 3.3133 | 17.75 | 3.4167 | 19.0467 | 12.3333 | 888 | 83.1 | 2.3547
2019-11-06 19:15:00 | 1.98 | 219.1133 | 2.2867 | 240.78 | 3.8933 | 14.37 | 4.1633 | 18.8367 | 12.01 | 888 | 85.5 | 2.3413
2019-11-06 19:30:00 | 1.7267 | 11.6667 | 1.9933 | 12.8133 | 3.3133 | 238.6833 | 3.59 | 11.3033 | 11.8433 | 888 | 86.9667 | 1.1733
2019-11-06 19:45:00 | 1.5 | 318.69 | 1.7333 | 350.2 | 3 | 16.9 | 3.3433 | 17.3967 | 11.71 | 888 | 87.9667 | 0.778
2019-11-06 20:00:00 | 1.38 | 318.924 | 1.5867 | 350.46 | 2.74 | 22.3133 | 3.1167 | 22.9433 | 11.8033 | 888 | 86.9667 | 0.92333
2019-11-06 20:15:00 | 1.4233 | 296.66 | 1.6467 | 326 | 2.7967 | 13.0967 | 3.1867 | 18.8667 | 11.6633 | 888 | 88.4333 | 0.40467
2019-11-06 20:30:00 | 1.53 | 290.72 | 1.76 | 319.4667 | 2.77 | 242.2767 | 2.98 | 4.1533 | 11.51 | 888.8667 | 89.1 | 0.21533
2019-11-06 20:45:00 | 1.398 | 288.786 | 1.6107 | 317.3333 | 2.6067 | 261.74 | 2.9033 | 7.534 | 11.4993 | 889 | 88.8667 | 0.12
2019-11-06 21:00:00 | 1.54 | 307.8533 | 1.7733 | 338.3 | 2.8033 | 7.47 | 2.8067 | 8.07 | 11.432 | 889 | 88.8667 | 0
2019-11-06 21:15:00 | 1.5 | 300.4233 | 1.73 | 330.1333 | 2.8467 | 11.4733 | 2.57 | 8.01 | 11.1833 | 889 | 90.2 | 0
2019-11-06 21:30:00 | 1.3533 | 281.75 | 1.5567 | 309.6 | 2.3733 | 16.82 | 2.6033 | 17.3767 | 11.19 | 889 | 90.7333 | 0
2019-11-06 21:45:00 | 0.90333 | 285.72 | 1.04 | 313.9667 | 1.3833 | 15.6967 | 1.7333 | 21.68 | 11.55 | 889.5333 | 89 | 0
2019-11-06 22:00:00 | 0.74333 | 208.9133 | 0.86 | 229.5667 | 0.92333 | 135.83 | 0.94 | 136.156 | 11.7233 | 890 | 88.4 | 0
2019-11-06 22:15:00 | 1.0633 | 149.9133 | 1.2333 | 164.7333 | 1.5867 | 171.3 | 1.3367 | 188.2733 | 11.92 | 890 | 85.9333 | 0
2019-11-06 22:30:00 | 1.5767 | 175.46 | 1.8267 | 192.8 | 1.9733 | 173.9667 | 1.99 | 170.8333 | 11.9333 | 890 | 86.3333 | 0
2019-11-06 22:45:00 | 0.83333 | 174.454 | 0.96 | 191.6933 | 1.6233 | 155.9333 | 0.71333 | 169.8 | 11.9747 | 890 | 87.3667 | 0
2019-11-06 23:00:00 | 0.66 | 124.8033 | 0.77333 | 137.1333 | 1.31 | 127.58 | 0.86 | 138.7133 | 11.766 | 890 | 87.9667 | 0
2019-11-06 23:15:00 | 0.20667 | 69.2033 | 0.24333 | 76.0367 | 0.34 | 127.5 | 0.31333 | 123.1467 | 11.6593 | 890 | 88.08 | 0
2019-11-06 23:30:00 | 0.59333 | 6.2433 | 0.69 | 6.8567 | 0.14 | 93.3267 | 0 | 123.1 | 11.3633 | 890 | 89.7 | 0
2019-11-06 23:45:00 | 1.1133 | 316.4067 | 1.2933 | 347.7 | 0.90667 | 9.0633 | 0.14667 | 101.2867 | 10.86 | 890 | 92.8 | 0