## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2019-11-07 00:00:00 | 1.405 | 312.6643 | 1.6186 | 343.5857 | 1.6943 | 0.15 | 0.15714 | 46.2236 | 10.6757 | 890 | 93.53 | 0
2019-11-07 00:15:00 | 0.67667 | 302.94 | 0.78667 | 332.9 | 0.23333 | 293.0667 | 0.44 | 227.1 | 10.6333 | 890 | 96.1333 | 0
2019-11-07 00:30:00 | 0.51667 | 310.198 | 0.6 | 340.8733 | 0.093333 | 306.5333 | 0.006667 | 227.0133 | 10.5867 | 890 | 96.62 | 0
2019-11-07 00:45:00 | 0.98667 | 305.7267 | 1.1433 | 335.9667 | 0.80667 | 349.3333 | 0.006667 | 227.0533 | 10.2567 | 890 | 97.5 | 0
2019-11-07 01:00:00 | 1.3933 | 311.32 | 1.61 | 342.1 | 1.62 | 133.6533 | 0.04 | 306.5 | 9.9833 | 890 | 98.4333 | 0
2019-11-07 01:15:00 | 1.8633 | 107.9333 | 2.15 | 118.6 | 2.65 | 23.3067 | 1.5267 | 18.4733 | 9.7833 | 890 | 99.1667 | 0
2019-11-07 01:30:00 | 1.8233 | 322.0533 | 2.0967 | 353.9 | 2.79 | 19.84 | 2.5667 | 16.7333 | 9.6633 | 890 | 99.7667 | 0
2019-11-07 01:45:00 | 2.4567 | 324.2033 | 2.8267 | 356.2667 | 3.3733 | 10.42 | 3.33 | 13.8433 | 9.52 | 890 | 99.9533 | 0
2019-11-07 02:00:00 | 2.57 | 116.2433 | 2.96 | 127.7333 | 2.9067 | 8.7333 | 3.4033 | 9.8233 | 9.5 | 890 | 100 | 0
2019-11-07 02:15:00 | 3.0033 | 307.1867 | 3.4533 | 337.5667 | 3.4833 | 4.3733 | 3.5533 | 15.6733 | 9.5433 | 890 | 100 | 0
2019-11-07 02:30:00 | 2.9233 | 324.78 | 3.3667 | 356.9 | 3.6567 | 6.16 | 3.4333 | 13.2133 | 9.55 | 890 | 99.6467 | 0.54467
2019-11-07 02:45:00 | 2.8333 | 322.32 | 3.26 | 354.2 | 3.8067 | 6.8133 | 3.7567 | 12.95 | 9.32 | 890 | 99.9 | 0.56267
2019-11-07 03:00:00 | 2.9333 | 321.4733 | 3.3733 | 353.2667 | 3.7533 | 5.16 | 3.89 | 16.1567 | 9.2067 | 890 | 99.9867 | 0
2019-11-07 03:15:00 | 2.8133 | 322.942 | 3.2367 | 354.88 | 3.5367 | 121.0733 | 3.4967 | 14.35 | 9.2033 | 890 | 100 | 0
2019-11-07 03:30:00 | 2.6667 | 315.92 | 3.07 | 347.1667 | 3.55 | 352.8333 | 2.9633 | 46.93 | 9.15 | 890 | 100 | 0
2019-11-07 03:45:00 | 2.18 | 315.9533 | 2.5033 | 347.2 | 3.3267 | 235.4 | 3.1167 | 236.2667 | 8.91 | 890 | 100 | 0
2019-11-07 04:00:00 | 2.1067 | 308.86 | 2.4233 | 339.4 | 3.5933 | 5.84 | 3.27 | 6.8667 | 8.75 | 890 | 100 | 0
2019-11-07 04:15:00 | 2.2533 | 111.0933 | 2.5933 | 122.08 | 3.24 | 5.1567 | 3.4467 | 4.2633 | 8.6133 | 890 | 100 | 0
2019-11-07 04:30:00 | 2.7 | 322.0467 | 3.1067 | 353.9 | 3.6 | 3.53 | 3.66 | 18.3633 | 8.4533 | 890 | 100 | 0.366
2019-11-07 04:45:00 | 3.2467 | 108.2633 | 3.7333 | 118.9667 | 3.8833 | 11.9767 | 4.25 | 21.66 | 8.1433 | 890 | 100 | 0.40467
2019-11-07 05:00:00 | 3.1333 | 323.5967 | 3.6 | 355.6 | 3.6567 | 11.67 | 3.9567 | 12.6467 | 8.0967 | 890 | 100 | 0.452
2019-11-07 05:15:00 | 2.9533 | 311.1567 | 3.4067 | 341.9333 | 3.4367 | 10.3067 | 3.7633 | 28.1567 | 8.06 | 890 | 100 | 0.12733
2019-11-07 05:30:00 | 2.764 | 127.156 | 3.182 | 139.732 | 3.594 | 11.458 | 3.384 | 30.354 | 8.0447 | 890 | 100 | 1.36
2019-11-07 05:45:00 | 3.0467 | 324.78 | 3.5033 | 356.9 | 4.17 | 130.88 | 3.93 | 11.3433 | 8.0287 | 890 | 100 | 1.7787
2019-11-07 06:00:00 | 3.2667 | 132.5967 | 3.7567 | 145.7067 | 4.1433 | 127.2 | 4.07 | 15.3633 | 7.9933 | 890 | 100 | 1.1527
2019-11-07 06:15:00 | 3.2933 | 36.1153 | 3.7867 | 39.6867 | 4.3973 | 120.576 | 4.188 | 1.97 | 8.016 | 890 | 100 | 0.47067
2019-11-07 06:30:00 | 3.2933 | 213.7433 | 3.7867 | 234.8833 | 4.1567 | 122.2267 | 3.9767 | 16.55 | 8.0567 | 890 | 100 | 1.2527
2019-11-07 06:45:00 | 3.3947 | 36.7487 | 3.9047 | 40.3847 | 4.754 | 11.5313 | 4.4633 | 5.794 | 8.0213 | 890 | 100 | 2.414
2019-11-07 07:00:00 | 3.54 | 201.6433 | 4.07 | 221.5767 | 4.8533 | 19.59 | 4.4533 | 1.1333 | 7.9567 | 890 | 100 | 3.2193
2019-11-07 07:15:00 | 3.8467 | 7.17 | 4.4333 | 7.8767 | 5.0633 | 347.0667 | 4.77 | 22.7667 | 7.9067 | 890 | 100 | 3.7327
2019-11-07 07:30:00 | 4.2733 | 207.1433 | 4.9267 | 227.6233 | 5.4367 | 341.8667 | 5.3167 | 15.9733 | 7.884 | 890 | 100 | 4.014
2019-11-07 07:45:00 | 3.88 | 313.7667 | 4.4633 | 344.8 | 5.7033 | 2.8333 | 5.83 | 15.4833 | 7.916 | 890 | 100 | 6.3653
2019-11-07 08:00:00 | 3.6667 | 139.7533 | 4.2167 | 153.5667 | 5.8167 | 13.82 | 5.9167 | 18.4167 | 8.0067 | 890 | 100 | 9.168
2019-11-07 08:15:00 | 3.5633 | 13.3067 | 4.0967 | 14.6233 | 5.7333 | 6.8733 | 6.05 | 13.21 | 8.0933 | 890 | 100 | 12.2967
2019-11-07 08:30:00 | 3.5967 | 15.4467 | 4.1367 | 16.97 | 5.5333 | 0.5 | 5.9633 | 4.73 | 8.14 | 890.2 | 100 | 13.738
2019-11-07 08:45:00 | 3.5833 | 210.2267 | 4.1233 | 231.01 | 6.0267 | 21.8333 | 6.37 | 2.9333 | 8.2 | 891 | 100 | 13.2973
2019-11-07 09:00:00 | 3.89 | 5.8333 | 4.4767 | 6.4033 | 6.738 | 1.5067 | 6.8967 | 1.3467 | 8.34 | 891 | 100 | 13.13
2019-11-07 09:15:00 | 3.88 | 25.2267 | 4.4633 | 27.72 | 6.78 | 1.4433 | 6.9533 | 10.3533 | 8.5633 | 891 | 100 | 12.3407
2019-11-07 09:30:00 | 3.76 | 218.5667 | 4.3367 | 240.1733 | 6.46 | 5.6233 | 6.54 | 13.5267 | 8.73 | 891.2 | 100 | 10.3327
2019-11-07 09:45:00 | 4.0833 | 23.3367 | 4.6933 | 25.6433 | 5.66 | 8.2667 | 5.7767 | 16.3 | 8.6767 | 892 | 100 | 9.998
2019-11-07 10:00:00 | 3.7367 | 29.6633 | 4.3067 | 32.5967 | 5.5733 | 5.7267 | 5.7767 | 8.06 | 8.83 | 892 | 100 | 10.9013
2019-11-07 10:15:00 | 3.72 | 217.4067 | 4.2833 | 238.8967 | 5.5967 | 18.0833 | 5.7233 | 20.8467 | 8.79 | 892 | 100 | 8.3193
2019-11-07 10:30:00 | 3.7333 | 38.0133 | 4.2967 | 41.77 | 5.3167 | 13.61 | 5.4233 | 19.14 | 8.6367 | 892 | 100 | 6.4107
2019-11-07 10:45:00 | 3.36 | 105.96 | 3.86 | 116.4333 | 5.3333 | 236.5833 | 5.5867 | 4.77 | 8.9033 | 892 | 100 | 2.9653
2019-11-07 11:00:00 | 3.276 | 311.606 | 3.764 | 342.42 | 4.798 | 2.598 | 5.03 | 4.736 | 9.134 | 892 | 100 | 0.19133
2019-11-07 11:15:00 | 2.2813 | 293.2013 | 2.632 | 322.2 | 4.0667 | 13.9107 | 3.9687 | 8.9147 | 9.8887 | 892 | 100 | 0
2019-11-07 11:30:00 | 1.7667 | 290.2367 | 2.0433 | 318.9333 | 3.17 | 6.6967 | 3.05 | 15.2 | 10.11 | 892.2 | 100 | 0
2019-11-07 11:45:00 | 1.2927 | 37.9973 | 1.496 | 41.756 | 1.6527 | 113.9247 | 1.4607 | 6.9133 | 9.762 | 893 | 100 | 0
2019-11-07 12:00:00 | 0.66 | 36.34 | 0.77 | 39.9333 | 0.78667 | 123.0867 | 0.56333 | 5.2667 | 10.0333 | 893 | 100 | 0
2019-11-07 12:15:00 | 0.32 | 115.0433 | 0.38 | 126.4133 | 0.37 | 13.7733 | 0.15 | 47.6867 | 10.0867 | 893 | 100 | 0
2019-11-07 12:30:00 | 0.84 | 199.5967 | 0.96667 | 219.3333 | 1.0233 | 121.9267 | 0.73 | 114.3 | 10.6067 | 892.8 | 100 | 0
2019-11-07 12:45:00 | 1.68 | 154.9133 | 1.9467 | 170.2333 | 1.5667 | 138.9667 | 0.95667 | 147.1 | 10.85 | 892 | 100 | 0
2019-11-07 13:00:00 | 1.4933 | 160.3733 | 1.7267 | 176.2333 | 1.5533 | 170.1667 | 1.3967 | 161.5 | 11.09 | 892 | 100 | 0
2019-11-07 13:15:00 | 2.432 | 155.704 | 2.7973 | 171.0933 | 2.516 | 184.3 | 2.2013 | 193.9 | 11.758 | 892 | 99.4933 | 0
2019-11-07 13:30:00 | 2.6667 | 131.2 | 3.0733 | 144.1667 | 2.6733 | 175.9333 | 2.45 | 197.2333 | 12.2333 | 892 | 97.2333 | 0
2019-11-07 13:45:00 | 2.9467 | 166.9033 | 3.3967 | 183.4 | 3.2667 | 176.9 | 3.1467 | 202.3333 | 12.83 | 892 | 95.3 | 0
2019-11-07 14:00:00 | 3.1333 | 159.2567 | 3.6033 | 175 | 3.4133 | 171.0333 | 3.0533 | 162.2 | 12.9833 | 892 | 91.3 | 0
2019-11-07 14:15:00 | 3.0927 | 157.3693 | 3.5527 | 172.9267 | 3.4707 | 171.8467 | 3.4867 | 192.3667 | 13.2313 | 892 | 85.5733 | 0.31733
2019-11-07 14:30:00 | 3.04 | 162.11 | 3.4933 | 178.1333 | 3.6067 | 208.0667 | 3.4333 | 234.5333 | 13.6833 | 892 | 83.9333 | 0.96
2019-11-07 14:45:00 | 3.1367 | 181.5533 | 3.6133 | 199.5 | 3.8 | 231.8667 | 3.66 | 227.7533 | 13.4867 | 892 | 83.9333 | 1.6873
2019-11-07 15:00:00 | 2.83 | 186.8333 | 3.26 | 205.3 | 3.32 | 229.4667 | 3.2733 | 252.3667 | 13.1867 | 891.1333 | 86.2 | 0.594
2019-11-07 15:15:00 | 2.4467 | 154.4933 | 2.82 | 169.7667 | 2.91 | 205.2667 | 2.8467 | 236.5667 | 13.1513 | 891 | 86.8333 | 0.17667
2019-11-07 15:30:00 | 2.6467 | 164.86 | 3.0467 | 181.1667 | 3.1967 | 217.9333 | 2.84 | 224.2333 | 13.0933 | 891 | 87.3667 | 0.28733
2019-11-07 15:45:00 | 2.9533 | 180.1267 | 3.4033 | 197.9333 | 3.6233 | 220.3667 | 3.2033 | 225.2333 | 12.938 | 891 | 88.7667 | 1.8107
2019-11-07 16:00:00 | 3.2467 | 179.0933 | 3.7367 | 196.8 | 4.1567 | 218.7 | 4.05 | 229.5 | 12.5733 | 891 | 90.5 | 3.5
2019-11-07 16:15:00 | 3.1 | 181.4 | 3.57 | 199.3333 | 3.9733 | 226.2667 | 4.2733 | 232.4 | 12.1767 | 891 | 92 | 3.1253
2019-11-07 16:30:00 | 2.9067 | 172.5467 | 3.35 | 189.6 | 4.02 | 228.0667 | 4.3133 | 237.4 | 11.9567 | 891 | 92.8 | 3.5107
2019-11-07 16:45:00 | 2.45 | 178.16 | 2.82 | 195.7667 | 3.2467 | 232.3 | 3.55 | 245.7667 | 11.85 | 891 | 93.3667 | 4.1967
2019-11-07 17:00:00 | 2.4567 | 182.34 | 2.8267 | 200.3667 | 3.2133 | 219.2333 | 3.6033 | 231.2333 | 11.806 | 891 | 93.9 | 5.13
2019-11-07 17:15:00 | 2.5133 | 163.1133 | 2.89 | 179.2333 | 3.31 | 209.0333 | 3.66 | 229.6667 | 11.7133 | 891 | 94.1867 | 5.3427
2019-11-07 17:30:00 | 2.2867 | 169.48 | 2.63 | 186.2333 | 3.23 | 230.3667 | 3.9133 | 233.0667 | 11.6 | 891 | 94.8333 | 4.5173
2019-11-07 17:45:00 | 2.582 | 170.8327 | 2.9667 | 187.7133 | 3.57 | 224.5667 | 4.1287 | 237.8467 | 11.5233 | 891 | 95.28 | 5.5073
2019-11-07 18:00:00 | 2.7967 | 185.8967 | 3.2167 | 204.2667 | 3.8667 | 226.2 | 4.2967 | 231.1667 | 11.478 | 891 | 95.4333 | 8.0653
2019-11-07 18:15:00 | 3.064 | 144.6587 | 3.5373 | 158.96 | 4.0973 | 217.3067 | 4.6913 | 224.1867 | 11.426 | 891 | 95.7867 | 7.4733
2019-11-07 18:30:00 | 2.66 | 171.7833 | 3.0633 | 188.7667 | 3.6233 | 219.4333 | 3.8733 | 223 | 11.3433 | 891 | 96.2 | 5.494
2019-11-07 18:45:00 | 2.3 | 169.06 | 2.6467 | 185.7667 | 3.0533 | 211 | 3.2133 | 219.4 | 11.3193 | 891 | 96.6 | 3.5767
2019-11-07 19:00:00 | 1.96 | 162.6867 | 2.26 | 178.7667 | 2.66 | 215.2 | 2.9467 | 224.6667 | 11.2887 | 891 | 96.9333 | 1.8727
2019-11-07 19:15:00 | 0.81667 | 184.88 | 0.95 | 203.1667 | 1.4633 | 229.3 | 1.7367 | 235.2333 | 11.1933 | 891 | 97.3667 | 1.8293
2019-11-07 19:30:00 | 0.70333 | 178.5133 | 0.81667 | 196.1667 | 1.1167 | 224.3667 | 1.3033 | 229.5667 | 11.16 | 891 | 97.5 | 1.1813
2019-11-07 19:45:00 | 1.9367 | 179.66 | 2.2333 | 197.4333 | 2.6733 | 217.3 | 2.79 | 227.3333 | 11.16 | 891 | 97.5533 | 1.4027
2019-11-07 20:00:00 | 2.0167 | 186.64 | 2.32 | 205.1 | 2.8 | 218.9667 | 2.73 | 221.5333 | 11.156 | 891 | 97.7067 | 0.894
2019-11-07 20:15:00 | 1.56 | 165.0467 | 1.8033 | 181.3667 | 2.4 | 215.8667 | 2.4167 | 216.3 | 11.13 | 891.5333 | 97.8667 | 0.65067
2019-11-07 20:30:00 | 1.8133 | 169.6 | 2.0967 | 186.3667 | 2.7 | 216 | 2.6567 | 219.9667 | 11.0767 | 892 | 98.2 | 0.66667
2019-11-07 20:45:00 | 1.9733 | 169.1133 | 2.28 | 185.8333 | 3 | 217.2333 | 2.7533 | 217.6333 | 11.03 | 892 | 98.3533 | 0.564
2019-11-07 21:00:00 | 0.71333 | 175.3 | 0.82667 | 192.6333 | 1.2333 | 222.1 | 1.48 | 211.2333 | 11.0013 | 892 | 98.3533 | 0.077333
2019-11-07 21:15:00 | 0.086667 | 180.09 | 0.096667 | 197.9 | 0.16333 | 213.3333 | 0.46 | 220.9 | 11.0387 | 892 | 98.08 | 0
2019-11-07 21:30:00 | 0.16667 | 180.054 | 0.19667 | 197.86 | 0.21 | 211.98 | 0.46667 | 201.1 | 11.15 | 892 | 97.3667 | 0
2019-11-07 21:45:00 | 0.006667 | 179.91 | 0.013333 | 197.7 | 0 | 195.6 | 0.68333 | 187.6 | 11.19 | 892 | 96.6667 | 0
2019-11-07 22:00:00 | 0.006667 | 179.9967 | 0.006667 | 197.7867 | 0 | 202.78 | 0.18333 | 187.6 | 11.2653 | 892 | 96.1333 | 0
2019-11-07 22:15:00 | 0 | 180.01 | 0 | 197.8 | 0 | 202.7 | 0 | 187.6 | 11.38 | 892 | 95.6 | 0
2019-11-07 22:30:00 | 0 | 180.01 | 0 | 197.8 | 0 | 202.7 | 0 | 187.6 | 11.4333 | 892 | 95.5333 | 0
2019-11-07 22:45:00 | 0.046667 | 199.3 | 0.053333 | 219 | 0 | 202.7 | 0.19 | 187.7067 | 11.42 | 892 | 95.6 | 0
2019-11-07 23:00:00 | 0.19333 | 193.66 | 0.22667 | 212.8 | 0.38 | 213.4533 | 0.33 | 194.4867 | 11.4287 | 892 | 95.2467 | 0
2019-11-07 23:15:00 | 0.20667 | 164.2867 | 0.24667 | 180.5333 | 0.32667 | 195.8667 | 0.82667 | 204.8667 | 11.3133 | 892 | 95.6 | 0
2019-11-07 23:30:00 | 0.11333 | 48.1933 | 0.14 | 52.96 | 0 | 155.9333 | 0.25333 | 166.1333 | 11.2267 | 892 | 96.4 | 0
2019-11-07 23:45:00 | 0.015333 | 300.334 | 0.017333 | 330.0293 | 0 | 15.7853 | 0 | 159 | 11.14 | 892 | 96.6533 | 0