## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2019-11-08 00:00:00 | 0 | 320.51 | 0 | 352.2 | 0 | 6.52 | 0 | 159 | 11.1293 | 892 | 96.5769 | 0
2019-11-08 00:15:00 | 0 | 320.51 | 0 | 352.2 | 0 | 6.52 | 0 | 159 | 11.1247 | 892 | 96.5133 | 0
2019-11-08 00:30:00 | 0 | 320.51 | 0 | 352.2 | 0 | 6.52 | 0 | 159 | 11.098 | 892 | 96.62 | 0
2019-11-08 00:45:00 | 0 | 320.51 | 0 | 352.2 | 0 | 6.5267 | 0 | 159 | 11.0793 | 892 | 97.1133 | 0
2019-11-08 01:00:00 | 0.026667 | 320.51 | 0.033333 | 352.2 | 0 | 6.5267 | 0.06 | 280.2 | 11.0633 | 892 | 97.4 | 0
2019-11-08 01:15:00 | 0.81 | 320.51 | 0.93 | 352.2 | 1.0667 | 1.7033 | 1.25 | 356.8 | 10.93 | 892 | 98 | 0
2019-11-08 01:30:00 | 0.64333 | 307.2167 | 0.75 | 337.6 | 1.12 | 0.15 | 1.4233 | 125.5133 | 10.83 | 892 | 98.82 | 0
2019-11-08 01:45:00 | 0.58 | 297.9 | 0.67333 | 327.3667 | 0.22667 | 356.9 | 0.30667 | 9.5867 | 10.8933 | 892 | 98.4333 | 0
2019-11-08 02:00:00 | 0.52 | 300.1467 | 0.60667 | 329.8333 | 0.44 | 356.9 | 0.55333 | 9.0333 | 10.982 | 892 | 97.7667 | 0
2019-11-08 02:15:00 | 0.31333 | 301.9333 | 0.36667 | 331.7867 | 0.34 | 356.9 | 0.75333 | 9.04 | 10.94 | 892 | 97.82 | 0
2019-11-08 02:30:00 | 0.006667 | 301.77 | 0.006667 | 331.6 | 0.006667 | 356.9 | 0.046667 | 9.06 | 10.924 | 892 | 98.02 | 0
2019-11-08 02:45:00 | 0 | 301.77 | 0 | 331.6 | 0 | 356.9 | 0.053333 | 9.05 | 10.98 | 892 | 97.9 | 0
2019-11-08 03:00:00 | 0 | 301.77 | 0 | 331.6 | 0 | 356.9 | 0.053333 | 9.0833 | 10.9687 | 892 | 97.9867 | 0
2019-11-08 03:15:00 | 0.20667 | 301.77 | 0.24 | 331.6 | 0.39667 | 356.9 | 0.42333 | 9.09 | 10.9 | 892 | 98.4 | 0
2019-11-08 03:30:00 | 0.3 | 301.77 | 0.35333 | 331.6 | 0.59 | 356.9 | 0.35 | 9.0767 | 10.8267 | 892 | 98.62 | 0.206
2019-11-08 03:45:00 | 0.18667 | 319.23 | 0.22 | 350.8 | 0.37333 | 356.9 | 0.24 | 9.07 | 10.8147 | 892 | 99.2667 | 0.26133
2019-11-08 04:00:00 | 0 | 319.23 | 0 | 350.8 | 0 | 356.9 | 0 | 9.05 | 10.834 | 892 | 99.38 | 0.25
2019-11-08 04:15:00 | 0 | 273.64 | 0 | 300.7 | 0 | 331.8 | 0 | 74.6267 | 10.8387 | 892 | 99.2467 | 0.25
2019-11-08 04:30:00 | 0 | 182.46 | 0 | 200.5 | 0 | 281.6 | 0 | 205.8 | 10.7633 | 892 | 99.2467 | 0
2019-11-08 04:45:00 | 0.35333 | 280.47 | 0.41 | 308.2 | 0.68667 | 240.28 | 0.83333 | 205.8 | 10.7127 | 892 | 99.8 | 0.082667
2019-11-08 05:00:00 | 0.42 | 298.686 | 0.49 | 328.22 | 0.84 | 7.2733 | 1.0733 | 205.8867 | 10.666 | 892 | 100 | 0.52467
2019-11-08 05:15:00 | 0 | 307.5727 | 0 | 337.9867 | 0 | 7.24 | 0.02 | 71.11 | 10.69 | 892 | 100 | 0.102
2019-11-08 05:30:00 | 0.22667 | 307.3307 | 0.26667 | 337.7133 | 0.45333 | 7.24 | 0.46667 | 23.8773 | 10.6687 | 892 | 100 | 0.015333
2019-11-08 05:45:00 | 0.8 | 309.9007 | 0.91667 | 340.54 | 1.59 | 7.2467 | 1.5533 | 6.0767 | 10.606 | 892 | 100 | 0
2019-11-08 06:00:00 | 1.008 | 316.874 | 1.158 | 348.2 | 1.994 | 214.8 | 2.048 | 15.988 | 10.566 | 892 | 100 | 0.036
2019-11-08 06:15:00 | 0.84 | 304.1233 | 0.97133 | 334.1933 | 1.656 | 146.1313 | 1.8073 | 9.0653 | 10.672 | 892 | 100 | 0.023333
2019-11-08 06:30:00 | 0.95333 | 301.27 | 1.1033 | 331.0667 | 1.8767 | 125.0267 | 1.8667 | 48.07 | 10.69 | 892 | 100 | 0.049333
2019-11-08 06:45:00 | 0.784 | 307.1647 | 0.90867 | 337.5333 | 1.548 | 5.23 | 1.9813 | 11.4207 | 10.6747 | 892 | 100 | 0
2019-11-08 07:00:00 | 0.93333 | 314.1667 | 1.07 | 345.2333 | 1.86 | 5.5433 | 2.04 | 17.3067 | 10.666 | 892 | 100 | 0
2019-11-08 07:15:00 | 0.98667 | 312.2933 | 1.14 | 343.1667 | 1.9567 | 3.9567 | 2.3067 | 19.9667 | 10.6 | 892 | 100 | 0
2019-11-08 07:30:00 | 1.04 | 311.08 | 1.2 | 341.8333 | 2.0633 | 4.1833 | 2.36 | 9.6133 | 10.6153 | 892 | 100 | 0
2019-11-08 07:45:00 | 1.1167 | 213.15 | 1.2933 | 234.2267 | 2.22 | 5.6733 | 2.4533 | 9.6433 | 10.6207 | 892 | 100 | 0
2019-11-08 08:00:00 | 1.2833 | 15.69 | 1.4867 | 17.2467 | 2.5467 | 4.86 | 2.7133 | 15.2167 | 10.6213 | 892.2 | 100 | 0
2019-11-08 08:15:00 | 1.18 | 302.94 | 1.3633 | 332.9 | 2.3567 | 1.6733 | 2.5433 | 20.1533 | 10.6253 | 893 | 100 | 0
2019-11-08 08:30:00 | 1.3667 | 298.71 | 1.57 | 328.2467 | 2.7167 | 4.2333 | 2.5967 | 22.1133 | 10.674 | 893 | 100 | 0
2019-11-08 08:45:00 | 1.5533 | 217.38 | 1.79 | 238.8733 | 3.0567 | 2.3467 | 3.05 | 17.08 | 10.75 | 893 | 100 | 0
2019-11-08 09:00:00 | 1.6467 | 216.1133 | 1.8967 | 237.4733 | 3.23 | 3.06 | 3.3967 | 13.2933 | 10.79 | 893 | 100 | 0
2019-11-08 09:15:00 | 1.5573 | 318.682 | 1.7967 | 350.1933 | 3.0727 | 2.6033 | 3.3213 | 11.7547 | 10.88 | 893 | 100 | 0
2019-11-08 09:30:00 | 1.4133 | 107.4133 | 1.6233 | 118.0333 | 2.7867 | 239.1167 | 2.9367 | 9.29 | 10.952 | 893 | 100 | 0
2019-11-08 09:45:00 | 1.1667 | 310.16 | 1.3533 | 340.8333 | 2.3133 | 147.1667 | 2.4533 | 26.88 | 11.1033 | 893 | 100 | 0
2019-11-08 10:00:00 | 0.98 | 318.1133 | 1.14 | 349.5667 | 1.9333 | 354.3333 | 2.12 | 259.4533 | 11.1833 | 893.8667 | 100 | 0
2019-11-08 10:15:00 | 1.1167 | 295.97 | 1.2933 | 325.2333 | 2.2333 | 4.7467 | 2.5067 | 0.24 | 11.2767 | 894 | 100 | 0
2019-11-08 10:30:00 | 0.90333 | 116.29 | 1.04 | 127.7867 | 1.7933 | 3.1933 | 2.0133 | 0.24 | 11.4233 | 894 | 99.96 | 0
2019-11-08 10:45:00 | 0.75667 | 224.98 | 0.88 | 247.2267 | 1.4967 | 4.6667 | 1.8433 | 0.29 | 11.6767 | 894 | 98.7333 | 0
2019-11-08 11:00:00 | 0.49667 | 228.0133 | 0.57333 | 250.56 | 0.98333 | 6.3533 | 1.1167 | 0.29 | 11.73 | 894 | 98 | 0
2019-11-08 11:15:00 | 0.066667 | 103.1367 | 0.09 | 113.3333 | 0.13333 | 117.9067 | 0.056667 | 96.96 | 11.65 | 894 | 98.1667 | 0
2019-11-08 11:30:00 | 0.18667 | 311.2567 | 0.22333 | 342.0333 | 0.36667 | 212.3667 | 0.60333 | 182.9333 | 12.0233 | 894 | 97.72 | 0
2019-11-08 11:45:00 | 0.13067 | 141.242 | 0.15267 | 155.2133 | 0.26067 | 152.14 | 0.35333 | 164.2667 | 12.3213 | 894 | 98.1733 | 0
2019-11-08 12:00:00 | 0.17333 | 119.18 | 0.2 | 130.9667 | 0.34 | 159.0333 | 0.22667 | 200.4667 | 12.6267 | 894 | 97.58 | 0
2019-11-08 12:15:00 | 0.28667 | 113.1433 | 0.34 | 124.3333 | 0.57333 | 160.6667 | 0.49 | 181.1333 | 13.1667 | 894 | 95.9667 | 0
2019-11-08 12:30:00 | 0.49333 | 99.4367 | 0.57333 | 109.2667 | 0.98 | 167.8 | 0.97 | 165.6 | 13.8667 | 894 | 93.3 | 0.017333
2019-11-08 12:45:00 | 1.06 | 169.39 | 1.22 | 186.1333 | 1.73 | 169.3667 | 1.4633 | 166.2333 | 14.26 | 894 | 90.4667 | 0.17867
2019-11-08 13:00:00 | 2.3867 | 133.71 | 2.7467 | 146.9333 | 2.7633 | 170.1667 | 2.69 | 175.5 | 14.4133 | 894 | 87.5333 | 0.66667
2019-11-08 13:15:00 | 2.86 | 147.6767 | 3.3 | 162.2667 | 3.2167 | 206.4333 | 3.27 | 200.6667 | 14.5933 | 894 | 85 | 1.0527
2019-11-08 13:30:00 | 2.86 | 147.6767 | 3.3 | 162.2667 | 3.2167 | 206.4333 | 3.27 | 200.6667 | 14.5933 | 894 | 85 | 1.0527
2019-11-08 13:45:00 | 2.86 | 147.6767 | 3.3 | 162.2667 | 3.2167 | 206.4333 | 3.27 | 200.6667 | 14.5933 | 894 | 85 | 1.0527
2019-11-08 14:00:00 | 2.86 | 147.6767 | 3.3 | 162.2667 | 3.2167 | 206.4333 | 3.27 | 200.6667 | 14.5933 | 894 | 85 | 1.0527
2019-11-08 14:15:00 | 2.86 | 147.6767 | 3.3 | 162.2667 | 3.2167 | 206.4333 | 3.27 | 200.6667 | 14.5933 | 894 | 85 | 1.0527
2019-11-08 14:30:00 | 2.86 | 147.6767 | 3.3 | 162.2667 | 3.2167 | 206.4333 | 3.27 | 200.6667 | 14.5933 | 894 | 85 | 1.0527
2019-11-08 14:45:00 | 2.56 | 151.328 | 2.9473 | 166.2933 | 3.0447 | 188.4133 | 2.9947 | 217.78 | 14.7973 | 892 | 83.0933 | 1.03
2019-11-08 15:00:00 | 2.56 | 151.328 | 2.9473 | 166.2933 | 3.0447 | 188.4133 | 2.9947 | 217.78 | 14.7973 | 892 | 83.0933 | 1.03
2019-11-08 15:15:00 | 2.56 | 151.328 | 2.9473 | 166.2933 | 3.0447 | 188.4133 | 2.9947 | 217.78 | 14.7973 | 892 | 83.0933 | 1.03
2019-11-08 15:30:00 | 2.56 | 151.328 | 2.9473 | 166.2933 | 3.0447 | 188.4133 | 2.9947 | 217.78 | 14.7973 | 892 | 83.0933 | 1.03
2019-11-08 15:45:00 | 2.56 | 151.328 | 2.9473 | 166.2933 | 3.0447 | 188.4133 | 2.9947 | 217.78 | 14.7973 | 892 | 83.0933 | 1.03
2019-11-08 16:00:00 | 2.9 | 164.0133 | 3.3467 | 180.2333 | 3.4533 | 184.6333 | 3.4667 | 196.6667 | 14.37 | 892 | 84.8667 | 0.56733
2019-11-08 16:15:00 | 2.67 | 164.44 | 3.0733 | 180.7 | 3.2133 | 192.3 | 3.1467 | 179.0333 | 13.89 | 892 | 86.6667 | 0
2019-11-08 16:30:00 | 2.1767 | 172.0933 | 2.5067 | 189.1 | 2.7467 | 186.3667 | 3.0867 | 182.1 | 13.7033 | 892 | 88.1333 | 0.18933
2019-11-08 16:45:00 | 2.5 | 165.946 | 2.876 | 182.3533 | 2.942 | 190.4 | 3.2227 | 187.44 | 13.602 | 892 | 88.96 | 0.55467
2019-11-08 17:00:00 | 2.3067 | 165.14 | 2.66 | 181.4667 | 2.8433 | 177.4667 | 3.2333 | 183.8 | 13.578 | 891.1333 | 88.28 | 0.59733
2019-11-08 17:15:00 | 2.1467 | 164.1733 | 2.47 | 180.4 | 2.66 | 188.4667 | 3.2033 | 192.3333 | 13.586 | 891 | 88.2 | 0.77
2019-11-08 17:30:00 | 1.7533 | 164.4133 | 2.03 | 180.6667 | 2.1733 | 205.8 | 2.7233 | 192.2667 | 13.5967 | 891 | 88.1333 | 2.266
2019-11-08 17:45:00 | 2.4667 | 161.04 | 2.84 | 176.9667 | 3.11 | 199.9667 | 3.4967 | 194.5333 | 13.5693 | 891 | 88.2467 | 2.2327
2019-11-08 18:00:00 | 2.0733 | 163.5333 | 2.3867 | 179.7 | 2.59 | 184.4333 | 2.83 | 193.6667 | 13.4933 | 891 | 88.6 | 3
2019-11-08 18:15:00 | 2.2267 | 132.5867 | 2.56 | 145.7 | 2.6433 | 164.7 | 2.9433 | 181.5667 | 13.32 | 891 | 89.5 | 4.1847
2019-11-08 18:30:00 | 2.3067 | 163.7067 | 2.6533 | 179.9 | 2.7367 | 181.5 | 3.13 | 164.4333 | 13.2867 | 891 | 89.5 | 3.4533
2019-11-08 18:45:00 | 1.8467 | 171.7467 | 2.1333 | 188.7333 | 2.3133 | 193.5 | 2.89 | 183.9667 | 13.2553 | 891 | 89.68 | 4.3987
2019-11-08 19:00:00 | 2.5467 | 166.5267 | 2.9333 | 183 | 3.3067 | 186.3667 | 3.5967 | 211.7667 | 12.9333 | 891 | 92.5667 | 4.6367
2019-11-08 19:15:00 | 3.0067 | 169.9367 | 3.4567 | 186.7333 | 3.6133 | 201.8667 | 3.89 | 202.3333 | 12.25 | 891 | 98.3 | 7.806
2019-11-08 19:30:00 | 3.02 | 182.9167 | 3.4833 | 201 | 3.6467 | 199.6 | 4.31 | 203.0667 | 12.1233 | 891 | 98.3667 | 8.422
2019-11-08 19:45:00 | 3.2733 | 174.09 | 3.77 | 191.3 | 4.1333 | 226.3333 | 4.9133 | 196.8333 | 12.0367 | 891 | 98.6333 | 7.202
2019-11-08 20:00:00 | 2.92 | 175.61 | 3.3633 | 192.9667 | 3.8267 | 233.0667 | 4.4133 | 216.6333 | 11.9567 | 891 | 98.9667 | 5.608
2019-11-08 20:15:00 | 2.31 | 159.5233 | 2.66 | 175.3 | 2.9133 | 207.4333 | 2.9833 | 182.2667 | 11.9193 | 891 | 99.3533 | 6.272
2019-11-08 20:30:00 | 2.0633 | 132.29 | 2.38 | 145.3667 | 2.42 | 187.0333 | 2.99 | 179.2 | 11.9127 | 891.2 | 99.6 | 6.3753
2019-11-08 20:45:00 | 2.1167 | 167.87 | 2.44 | 184.4667 | 2.43 | 168.0667 | 3.3533 | 188.1667 | 12.02 | 892 | 99.42 | 6.31
2019-11-08 21:00:00 | 2.3967 | 173.6967 | 2.7533 | 190.8667 | 2.9967 | 192.6667 | 3.4 | 188.9667 | 12.084 | 892 | 98.5333 | 7.4473
2019-11-08 21:15:00 | 3.0033 | 168.27 | 3.4533 | 184.9 | 3.6467 | 200.0333 | 3.8033 | 205 | 12.134 | 892 | 97.4333 | 9.1493
2019-11-08 21:30:00 | 2.93 | 155.2767 | 3.3667 | 170.6333 | 3.6267 | 178.7667 | 4.2167 | 208.8 | 12.186 | 892 | 96.7667 | 8.608
2019-11-08 21:45:00 | 2.72 | 161.4133 | 3.1267 | 177.3667 | 3.24 | 206.2 | 3.68 | 185.4667 | 12.0667 | 892 | 97.1667 | 8.9913
2019-11-08 22:00:00 | 3.1667 | 172.8733 | 3.6467 | 189.9667 | 3.7667 | 192.2 | 4.4 | 200.3333 | 12.02 | 892 | 97.4333 | 9.6933
2019-11-08 22:15:00 | 2.5133 | 165.1633 | 2.8867 | 181.5 | 2.95 | 187.7667 | 3.5833 | 193.2333 | 11.89 | 892 | 98.6 | 8.1393
2019-11-08 22:30:00 | 2.374 | 172.098 | 2.728 | 189.12 | 2.724 | 185.78 | 3.556 | 180.66 | 11.8707 | 892 | 98.44 | 8.0807
2019-11-08 22:45:00 | 2.9067 | 161.7367 | 3.3433 | 177.7333 | 3.44 | 177.9 | 4.2033 | 184 | 11.78 | 892 | 98.1867 | 8.952
2019-11-08 23:00:00 | 2.9 | 168.23 | 3.3367 | 184.8667 | 3.3867 | 191.3667 | 3.9633 | 197.5333 | 11.78 | 892 | 97.7 | 8.556
2019-11-08 23:15:00 | 2.8 | 169.3933 | 3.22 | 186.1333 | 3.3567 | 203.1133 | 3.6133 | 196.4667 | 11.8107 | 892 | 97.4 | 9.308
2019-11-08 23:30:00 | 3.0867 | 175.9467 | 3.5533 | 193.3333 | 3.95 | 212.4 | 3.8267 | 201.1333 | 11.7627 | 892 | 97.8667 | 8.9353
2019-11-08 23:45:00 | 2.39 | 176.8233 | 2.7467 | 194.3 | 2.81 | 211.5333 | 3.07 | 196.2 | 11.83 | 892 | 97.3 | 8.7307