## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2019-11-09 00:00:00 | 1.9807 | 182.7043 | 2.2779 | 200.7643 | 2.4957 | 207.8571 | 2.8636 | 200.2857 | 11.8279 | 892 | 97.25 | 7.1557
2019-11-09 00:15:00 | 1.936 | 177.06 | 2.2253 | 194.5667 | 2.378 | 213.68 | 2.4427 | 223.0867 | 11.746 | 891.4667 | 97.8667 | 7.2533
2019-11-09 00:30:00 | 2.3467 | 165.6167 | 2.7 | 182 | 3.1667 | 210.5667 | 2.8933 | 215.1 | 11.7267 | 891 | 98.1467 | 6.032
2019-11-09 00:45:00 | 2.4067 | 152.21 | 2.7733 | 167.2667 | 3.2933 | 205.5 | 3.68 | 223.7333 | 11.6667 | 891.5333 | 98.6333 | 5.6653
2019-11-09 01:00:00 | 2.7267 | 168.59 | 3.1467 | 185.2667 | 3.84 | 216.3 | 3.98 | 209.8667 | 11.72 | 892 | 98.4333 | 5.8727
2019-11-09 01:15:00 | 2.8433 | 185.9467 | 3.27 | 204.3333 | 3.9433 | 216.8 | 3.7967 | 212.9133 | 11.8567 | 892 | 97.7333 | 8.2713
2019-11-09 01:30:00 | 2.8167 | 186.9733 | 3.2367 | 205.4667 | 3.95 | 205.9333 | 3.83 | 211.9333 | 11.87 | 891.1333 | 97.8667 | 7.2127
2019-11-09 01:45:00 | 1.98 | 162.9233 | 2.28 | 179.0333 | 2.5467 | 216.7667 | 2.6967 | 220.9333 | 11.7367 | 891 | 98.5667 | 4.5413
2019-11-09 02:00:00 | 2.7067 | 159.8367 | 3.12 | 175.6333 | 3.26 | 190.9 | 3.1833 | 203.1333 | 11.6167 | 891 | 99.0333 | 5.52
2019-11-09 02:15:00 | 2.8267 | 145.2367 | 3.2533 | 159.6 | 3.2933 | 185.16 | 3.5933 | 185.7333 | 11.5693 | 891 | 98.7333 | 6.6693
2019-11-09 02:30:00 | 2.6933 | 154.89 | 3.0933 | 170.2 | 3.12 | 173.7 | 3.6067 | 181.4667 | 11.5753 | 891 | 98.62 | 8.0253
2019-11-09 02:45:00 | 2.4327 | 162.6627 | 2.7967 | 178.7467 | 2.8753 | 176.74 | 3.1967 | 181.48 | 11.57 | 891 | 98.7533 | 11.0053
2019-11-09 03:00:00 | 3.08 | 162.7167 | 3.55 | 178.8 | 3.55 | 168.6667 | 3.94 | 181.6333 | 11.5967 | 891 | 98.7 | 9.9887
2019-11-09 03:15:00 | 2.9667 | 164.7 | 3.4193 | 180.98 | 3.4907 | 163.44 | 3.7693 | 182.6867 | 11.5427 | 891 | 99.1467 | 10.1527
2019-11-09 03:30:00 | 2.7267 | 159.38 | 3.1433 | 175.1333 | 3.0267 | 177.4333 | 3.6833 | 199.5667 | 11.4133 | 891 | 99.9 | 4.9347
2019-11-09 03:45:00 | 1.8433 | 131.95 | 2.13 | 145 | 2.1967 | 175.4667 | 2.5267 | 188.7333 | 11.4173 | 891 | 99.8133 | 1.8307
2019-11-09 04:00:00 | 1.6567 | 153.07 | 1.9033 | 168.2 | 2.03 | 190.8667 | 2.1467 | 206.8 | 11.4933 | 891 | 99.0333 | 5.4007
2019-11-09 04:15:00 | 2.24 | 126.4 | 2.58 | 138.9 | 2.58 | 207.4 | 2.69 | 202.5 | 11.55 | 891 | 97.9 | 3.996
2019-11-09 04:30:00 | 2.24 | 126.4 | 2.58 | 138.9 | 2.58 | 207.4 | 2.69 | 202.5 | 11.55 | 891 | 97.9 | 3.996
2019-11-09 04:45:00 | 2.24 | 126.4 | 2.58 | 138.9 | 2.58 | 207.4 | 2.69 | 202.5 | 11.55 | 891 | 97.9 | 3.996
2019-11-09 05:00:00 | 2.24 | 126.4 | 2.58 | 138.9 | 2.58 | 207.4 | 2.69 | 202.5 | 11.55 | 891 | 97.9 | 3.996
2019-11-09 05:15:00 | 2.24 | 126.4 | 2.58 | 138.9 | 2.58 | 207.4 | 2.69 | 202.5 | 11.55 | 891 | 97.9 | 3.996
2019-11-09 05:30:00 | 0.50667 | 92.82 | 0.58 | 102 | 1.0133 | 226.1 | 1.5267 | 240.6333 | 10.9827 | 890.1333 | 100 | 1.608
2019-11-09 05:45:00 | 0.50667 | 92.82 | 0.58 | 102 | 1.0133 | 226.1 | 1.5267 | 240.6333 | 10.9827 | 890.1333 | 100 | 1.608
2019-11-09 06:00:00 | 0.50667 | 92.82 | 0.58 | 102 | 1.0133 | 226.1 | 1.5267 | 240.6333 | 10.9827 | 890.1333 | 100 | 1.608
2019-11-09 06:15:00 | 0.50667 | 92.82 | 0.58 | 102 | 1.0133 | 226.1 | 1.5267 | 240.6333 | 10.9827 | 890.1333 | 100 | 1.608
2019-11-09 06:30:00 | 0.50667 | 92.82 | 0.58 | 102 | 1.0133 | 226.1 | 1.5267 | 240.6333 | 10.9827 | 890.1333 | 100 | 1.608
2019-11-09 06:45:00 | 1.37 | 283.3767 | 1.5767 | 311.4 | 2.7333 | 249.1 | 2.7033 | 239.1 | 11.0567 | 890 | 98.9333 | 2.6453
2019-11-09 07:00:00 | 0.98333 | 218.17 | 1.1367 | 239.7333 | 1.9667 | 228.7 | 2.0767 | 218.1667 | 11.0367 | 890 | 98.7333 | 2.786
2019-11-09 07:15:00 | 0.79333 | 182.03 | 0.91333 | 200.0333 | 1.5567 | 204.6 | 2.1633 | 213.1667 | 10.8633 | 890 | 99.8 | 2.092
2019-11-09 07:30:00 | 0.78 | 179.37 | 0.9 | 197.1 | 1.53 | 217.6 | 2.2567 | 218.5667 | 10.81 | 890 | 100 | 2.7007
2019-11-09 07:45:00 | 0.78333 | 165.0233 | 0.91 | 181.3333 | 1.55 | 224.2667 | 1.91 | 239.6333 | 10.8207 | 890 | 100 | 1.8293
2019-11-09 08:00:00 | 0.17 | 156.4633 | 0.20333 | 171.9333 | 0.34333 | 229.4 | 0.69 | 242.7667 | 10.8453 | 890 | 100 | 1.108
2019-11-09 08:15:00 | 0.066667 | 244.53 | 0.083333 | 268.7 | 0.12333 | 236.3 | 1 | 243.8667 | 10.85 | 890.5333 | 100 | 0.966
2019-11-09 08:30:00 | 0.24 | 244.53 | 0.29 | 268.7 | 0.47667 | 180.2333 | 1.1333 | 201.2 | 10.89 | 891 | 100 | 0.48133
2019-11-09 08:45:00 | 0.20533 | 277.29 | 0.242 | 304.7 | 0.40333 | 260.9533 | 1.1507 | 246.8 | 10.8947 | 891 | 100 | 0.80467
2019-11-09 09:00:00 | 0 | 277.29 | 0 | 304.7 | 0 | 255.2333 | 0.3 | 266.78 | 10.9387 | 891 | 100 | 0.64067
2019-11-09 09:15:00 | 0 | 277.3807 | 0 | 304.8067 | 0 | 279.6533 | 0 | 258.3467 | 10.9787 | 891 | 100 | 0
2019-11-09 09:30:00 | 0.02 | 306.142 | 0.02 | 336.4133 | 0.04 | 286.8667 | 0 | 283.2667 | 10.9833 | 891.2 | 100 | 0
2019-11-09 09:45:00 | 0.070667 | 318.6 | 0.083333 | 350.1 | 0.136 | 336.54 | 0.034667 | 306.5533 | 10.9833 | 892 | 100 | 0
2019-11-09 10:00:00 | 0.086667 | 306.5267 | 0.1 | 336.8333 | 0.16667 | 332.8333 | 0.046667 | 329.1333 | 11.1067 | 892 | 100 | 0
2019-11-09 10:15:00 | 0.046667 | 318.3467 | 0.056667 | 349.8333 | 0.086667 | 117.14 | 0.01 | 325.6667 | 11.1273 | 892 | 100 | 0
2019-11-09 10:30:00 | 0.7 | 314.16 | 0.81 | 345.2333 | 0.97333 | 115.18 | 0.53 | 344 | 11.1233 | 892 | 100 | 0
2019-11-09 10:45:00 | 1.52 | 116.9367 | 1.7633 | 128.5 | 2.7567 | 11.8267 | 2.06 | 13.68 | 11.21 | 892 | 100 | 0
2019-11-09 11:00:00 | 1.7733 | 147.01 | 2.05 | 161.5467 | 2.9233 | 8.5533 | 2.6533 | 15.2 | 11.168 | 892 | 100 | 0
2019-11-09 11:15:00 | 1.5233 | 306.43 | 1.76 | 336.7333 | 2.8 | 4.6533 | 2.6633 | 11.1467 | 11.29 | 892 | 100 | 0
2019-11-09 11:30:00 | 1.6833 | 299.0367 | 1.9467 | 328.6 | 3 | 8.0533 | 2.668 | 14.08 | 11.25 | 892 | 100 | 0
2019-11-09 11:45:00 | 1.7787 | 38.4713 | 2.046 | 42.2753 | 3.2347 | 11.7167 | 3.0293 | 21.4833 | 11.3607 | 892 | 100 | 0.598
2019-11-09 12:00:00 | 2.06 | 214.9033 | 2.3667 | 236.15 | 3.7567 | 9.7867 | 3.6467 | 9.13 | 11.3507 | 892 | 100 | 1.8847
2019-11-09 12:15:00 | 2.1133 | 130.9967 | 2.4367 | 143.9467 | 3.9267 | 11.8333 | 3.78 | 15.0067 | 11.4133 | 892 | 100 | 1.5933
2019-11-09 12:30:00 | 1.94 | 112.0033 | 2.2367 | 123.0733 | 3.4267 | 17.5533 | 3.3467 | 2.72 | 11.48 | 892 | 100 | 0.55067
2019-11-09 12:45:00 | 2.2667 | 15.87 | 2.6067 | 17.4367 | 3.72 | 6.37 | 3.6 | 22.4533 | 11.4733 | 891.4667 | 100 | 1.8467
2019-11-09 13:00:00 | 2.34 | 43.99 | 2.6933 | 48.3433 | 4.4533 | 14.15 | 4.22 | 21.74 | 11.5333 | 891 | 100 | 3.2647
2019-11-09 13:15:00 | 2.34 | 128.5367 | 2.6933 | 141.24 | 4.4333 | 7.2267 | 4.6733 | 16.2 | 11.6267 | 891 | 100 | 2.7167
2019-11-09 13:30:00 | 2.26 | 125.65 | 2.6 | 138.08 | 4.2867 | 13.42 | 4.5467 | 20.7333 | 11.6533 | 891 | 100 | 3.362
2019-11-09 13:45:00 | 2.4167 | 202.7667 | 2.7833 | 222.8067 | 4.6167 | 17.7267 | 4.8333 | 6.2533 | 11.7113 | 891 | 100 | 4.6893
2019-11-09 14:00:00 | 2.3767 | 46.86 | 2.7367 | 51.4867 | 4.65 | 9.56 | 5.0267 | 16.1867 | 11.86 | 891 | 100 | 4.436
2019-11-09 14:15:00 | 2.44 | 224.6 | 2.8033 | 246.8133 | 4.6367 | 8.2067 | 5.0233 | 16.3633 | 12.02 | 891 | 100 | 8.6487
2019-11-09 14:30:00 | 2.8467 | 10.3867 | 3.2833 | 11.4067 | 5.2233 | 6.6067 | 5.5433 | 16.01 | 12 | 891 | 100 | 9.2433
2019-11-09 14:45:00 | 2.7267 | 309.1 | 3.1333 | 339.6667 | 4.9667 | 117.6667 | 4.8533 | 10.8733 | 11.8967 | 891 | 100 | 4.526
2019-11-09 15:00:00 | 2.3333 | 112.7533 | 2.68 | 123.9 | 4.1267 | 124.28 | 4.1867 | 14.7733 | 12.0433 | 891 | 100 | 3.3487
2019-11-09 15:15:00 | 2.4487 | 21.1113 | 2.82 | 23.1887 | 4.1773 | 212.4313 | 4.202 | 17.2013 | 12.0747 | 891 | 100 | 3.6807
2019-11-09 15:30:00 | 2.4067 | 20.6433 | 2.7733 | 22.6867 | 4.3 | 1.66 | 4.3867 | 15.9767 | 12.228 | 891 | 99.6 | 2.6853
2019-11-09 15:45:00 | 2.42 | 5.95 | 2.79 | 6.5267 | 3.86 | 9.33 | 3.7533 | 10.4567 | 12.14 | 891 | 98.7 | 1.9793
2019-11-09 16:00:00 | 2.3933 | 198.7633 | 2.75 | 218.42 | 3.858 | 9.35 | 3.82 | 11.4767 | 12.1467 | 891 | 98.3467 | 4.6433
2019-11-09 16:15:00 | 2.664 | 229.4587 | 3.0627 | 252.1387 | 4.8713 | 7.2253 | 5.11 | 10.862 | 12.1947 | 891 | 98.76 | 8.832
2019-11-09 16:30:00 | 2.9733 | 193.8067 | 3.4167 | 212.9733 | 5.63 | 23.69 | 6.11 | 20.3767 | 12.2433 | 891 | 98.7333 | 13.6247
2019-11-09 16:45:00 | 3.2533 | 143.9933 | 3.74 | 158.2333 | 6.0667 | 19.5833 | 6.4967 | 19.4567 | 12.1633 | 891 | 99.1 | 11.8607
2019-11-09 17:00:00 | 2.74 | 92.2267 | 3.1533 | 101.3467 | 5.3933 | 13.1167 | 5.8233 | 19.4433 | 12.092 | 891 | 99.52 | 7.424
2019-11-09 17:15:00 | 2.2733 | 235.0233 | 2.6267 | 258.26 | 4.17 | 5.95 | 4.47 | 17.2867 | 11.9367 | 891 | 99.58 | 10.4213
2019-11-09 17:30:00 | 2.5267 | 233.6833 | 2.9067 | 256.7933 | 4.4833 | 0.83 | 4.5433 | 11.6467 | 11.77 | 891 | 99.2 | 14.984
2019-11-09 17:45:00 | 2.8467 | 89.5 | 3.2767 | 98.3533 | 5.1533 | 225.2267 | 5.2233 | 230.94 | 11.5367 | 891 | 99.3667 | 13.598
2019-11-09 18:00:00 | 2.7667 | 240.28 | 3.1833 | 264.0333 | 5.0267 | 228.2267 | 5.0367 | 23.8533 | 11.3967 | 891 | 99.7 | 16.4767
2019-11-09 18:15:00 | 3.056 | 87.158 | 3.522 | 95.772 | 5.462 | 17.7753 | 5.7693 | 16.3247 | 11.27 | 891 | 100 | 18.7767
2019-11-09 18:30:00 | 3.54 | 311.86 | 4.08 | 342.7 | 6.6767 | 14.7167 | 6.9933 | 21.16 | 11.1967 | 891 | 99.9333 | 20.922
2019-11-09 18:45:00 | 3.82 | 210.15 | 4.3933 | 230.9333 | 7.2567 | 121.0133 | 7.5867 | 10.68 | 11.1 | 891 | 100 | 16.8267
2019-11-09 19:00:00 | 3.62 | 263.5367 | 4.1667 | 289.6 | 6.712 | 349.2333 | 6.9733 | 8.36 | 11.0933 | 891.8667 | 100 | 16.908
2019-11-09 19:15:00 | 3.4733 | 323.1367 | 4 | 355.1 | 6.1433 | 12.67 | 6.3533 | 10.6567 | 11.14 | 892 | 99.88 | 18.8487
2019-11-09 19:30:00 | 3.4733 | 221.1033 | 4 | 242.9667 | 6.6367 | 12.6367 | 7.16 | 19.2767 | 11.0847 | 892 | 99.8333 | 26.1407
2019-11-09 19:45:00 | 3.14 | 214.04 | 3.61 | 235.2 | 6.1867 | 19.7167 | 7.1233 | 20.3167 | 11.0467 | 892 | 99.9533 | 31.1247
2019-11-09 20:00:00 | 3.6733 | 249.64 | 4.2233 | 274.3333 | 7.22 | 13.93 | 7.9767 | 23.5233 | 11.018 | 892.2 | 100 | 27.8047
2019-11-09 20:15:00 | 3.9467 | 90.19 | 4.5367 | 99.1 | 7.5467 | 18.47 | 7.8767 | 22.4767 | 11.06 | 893 | 100 | 34.0493
2019-11-09 20:30:00 | 4.0933 | 252.5567 | 4.71 | 277.5333 | 7.4267 | 11.79 | 7.6567 | 13.29 | 11.18 | 893 | 99.98 | 30.586
2019-11-09 20:45:00 | 2.9667 | 91.58 | 3.4167 | 100.6333 | 5.4067 | 10.4867 | 5.9533 | 12.8833 | 11.3 | 893 | 99.4333 | 22.5847
2019-11-09 21:00:00 | 2.82 | 105.06 | 3.25 | 115.4467 | 4.9667 | 6.34 | 5.72 | 21.85 | 11.2627 | 893 | 99.4333 | 19.3013
2019-11-09 21:15:00 | 2.6033 | 229.2033 | 2.9933 | 251.8667 | 4.4467 | 231.1967 | 4.86 | 241.3433 | 11.2 | 893 | 99.2 | 21.34
2019-11-09 21:30:00 | 2.9367 | 305.6433 | 3.38 | 335.8667 | 5.04 | 18.41 | 5.46 | 21.67 | 11.2107 | 893.8667 | 98.6 | 21.374
2019-11-09 21:45:00 | 2.9747 | 286.702 | 3.4347 | 315.0533 | 5.5147 | 94.5633 | 5.4713 | 2.6727 | 11.176 | 894 | 98.32 | 20.4653
2019-11-09 22:00:00 | 3.0333 | 109.8333 | 3.4933 | 120.6933 | 5.48 | 124.1267 | 6.0867 | 18.09 | 11.218 | 894 | 98.12 | 18.6513
2019-11-09 22:15:00 | 2.8007 | 294.818 | 3.226 | 323.966 | 5.3287 | 17.9293 | 6.194 | 16.9607 | 11.1033 | 894 | 98.8267 | 19.442
2019-11-09 22:30:00 | 3.04 | 311.98 | 3.51 | 342.8333 | 5.8867 | 14.6733 | 6.6967 | 21.64 | 11.066 | 894 | 99 | 21.2113
2019-11-09 22:45:00 | 3.5733 | 106.9033 | 4.1067 | 117.4667 | 6.9067 | 17.87 | 7.4167 | 31.5067 | 11.0527 | 894 | 98.7133 | 15.9373
2019-11-09 23:00:00 | 3.5133 | 268.7967 | 4.04 | 295.3667 | 6.4333 | 18.1567 | 7.13 | 25.4133 | 11.23 | 894 | 96.5333 | 14.3713
2019-11-09 23:15:00 | 3.4867 | 163.74 | 4.0233 | 179.9333 | 6.6067 | 12.9667 | 6.9667 | 22.09 | 11.5267 | 894 | 93.7 | 18.1173
2019-11-09 23:30:00 | 3.54 | 150.88 | 4.0767 | 165.8 | 6.7733 | 16.5 | 7.16 | 21.75 | 11.56 | 894 | 92.8333 | 15.9967
2019-11-09 23:45:00 | 3.2433 | 19.3967 | 3.7267 | 21.3033 | 6.4233 | 15.3767 | 6.6867 | 23.9433 | 11.3467 | 894 | 93.7333 | 13.33