## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2019-11-10 00:00:00 | 2.9007 | 216.9064 | 3.3379 | 238.3464 | 5.72 | 18.1014 | 6.3743 | 23.205 | 11.0657 | 894 | 95.3 | 11.4407
2019-11-10 00:15:00 | 2.63 | 208.32 | 3.0333 | 228.9233 | 5.15 | 17.6233 | 5.6933 | 24.1767 | 10.8333 | 894 | 96.4 | 12.614
2019-11-10 00:30:00 | 2.53 | 48.8533 | 2.9133 | 53.6767 | 5.01 | 12.6967 | 5.5733 | 19.45 | 10.7533 | 894 | 96.1333 | 16.3173
2019-11-10 00:45:00 | 2.6533 | 8.11 | 3.0533 | 8.9 | 4.9167 | 14.0567 | 5.0233 | 22.1967 | 10.7567 | 894 | 94.8667 | 14.6367
2019-11-10 01:00:00 | 2.52 | 192.95 | 2.9 | 212.02 | 4.41 | 8.81 | 4.7433 | 22.0633 | 10.93 | 894 | 92.9333 | 13.6
2019-11-10 01:15:00 | 2.3933 | 298.28 | 2.76 | 327.7667 | 4.71 | 10.4733 | 5.1333 | 24.92 | 10.7733 | 894 | 93.3667 | 15.052
2019-11-10 01:30:00 | 2.348 | 258.27 | 2.706 | 283.8 | 4.598 | 10.474 | 4.932 | 23.994 | 10.59 | 894 | 94.14 | 13.64
2019-11-10 01:45:00 | 2.6 | 127.7287 | 2.9927 | 140.3567 | 5.038 | 7.678 | 5.3013 | 18.2407 | 10.3393 | 894 | 95.5333 | 13.8073
2019-11-10 02:00:00 | 2.71 | 280.3733 | 3.1233 | 308.1 | 5.2567 | 5.09 | 5.5267 | 12.25 | 10.218 | 893.8 | 93.9 | 9.664
2019-11-10 02:15:00 | 2.4367 | 280.7033 | 2.8 | 308.4667 | 4.66 | 33.1267 | 4.7667 | 18.8833 | 10.2167 | 893 | 92.7333 | 8.7733
2019-11-10 02:30:00 | 2.55 | 283.3833 | 2.9333 | 311.4 | 4.68 | 2.3333 | 4.86 | 5.2367 | 10.17 | 893 | 93.6 | 7.3727
2019-11-10 02:45:00 | 2.3767 | 276.8 | 2.7333 | 304.1667 | 4.5067 | 14.0033 | 4.83 | 21.3133 | 10.14 | 893 | 94.8667 | 9.3887
2019-11-10 03:00:00 | 2.1233 | 95.5133 | 2.4467 | 104.96 | 4.0733 | 14.1367 | 4.7767 | 23.6667 | 9.9733 | 893 | 97.5333 | 12.9347
2019-11-10 03:15:00 | 2.6573 | 239.3873 | 3.062 | 263.066 | 5.22 | 12.892 | 5.5647 | 19.9053 | 9.7307 | 893 | 99.14 | 9.7393
2019-11-10 03:30:00 | 2.64 | 272.9367 | 3.0367 | 299.9333 | 4.9267 | 11.2633 | 5.28 | 19.3367 | 9.5467 | 893 | 99.2867 | 10.742
2019-11-10 03:45:00 | 2.9933 | 196.76 | 3.44 | 216.2167 | 5.31 | 241.1567 | 5.6467 | 8.6167 | 9.55 | 893 | 98.5 | 15.3613
2019-11-10 04:00:00 | 3.0533 | 13.3667 | 3.5133 | 14.6767 | 5.67 | 13.6233 | 5.98 | 23.95 | 9.4033 | 892.8 | 98.72 | 21.352
2019-11-10 04:15:00 | 3.4933 | 274.4567 | 4.0167 | 301.6 | 6.5433 | 23.7433 | 6.7233 | 11.81 | 9.16 | 892 | 97.8667 | 25.9827
2019-11-10 04:30:00 | 3.6 | 115.11 | 4.1433 | 126.4933 | 6.6833 | 20.7633 | 7.1367 | 18.0967 | 8.94 | 892 | 98.1333 | 22.8467
2019-11-10 04:45:00 | 3.8833 | 106.3267 | 4.4633 | 116.8333 | 6.26 | 10.2367 | 6.5833 | 5.1933 | 8.89 | 892 | 99.2 | 22.3907
2019-11-10 05:00:00 | 3.9367 | 312.4667 | 4.5367 | 343.3667 | 6.42 | 4.3167 | 6.6767 | 16.8333 | 8.9013 | 892 | 99.0867 | 29.122
2019-11-10 05:15:00 | 3.74 | 195.04 | 4.3033 | 214.3267 | 6.6333 | 10.6967 | 6.9167 | 14.6833 | 8.7067 | 892 | 99.7 | 32.3913
2019-11-10 05:30:00 | 3.8733 | 221.4867 | 4.4567 | 243.3933 | 6.88 | 3.5367 | 7.4833 | 22.87 | 8.5667 | 892 | 99.92 | 31.3513
2019-11-10 05:45:00 | 3.9067 | 87.9867 | 4.4933 | 96.6867 | 6.5967 | 125.8267 | 7.2467 | 20.9067 | 8.4267 | 892 | 100 | 25.8007
2019-11-10 06:00:00 | 3.56 | 299.3 | 4.1 | 328.9 | 5.7567 | 347.4667 | 6.32 | 11.08 | 8.478 | 892 | 100 | 26.134
2019-11-10 06:15:00 | 3.7293 | 24.0007 | 4.2907 | 26.3693 | 6.018 | 261.7667 | 6.1413 | 24.708 | 8.448 | 892 | 99.8933 | 28.7127
2019-11-10 06:30:00 | 4.1567 | 4.9633 | 4.7833 | 5.45 | 6.3567 | 237.9833 | 6.2267 | 13.3233 | 8.6333 | 892 | 98.9333 | 32.294
2019-11-10 06:45:00 | 4.2467 | 202.28 | 4.89 | 222.28 | 6.9367 | 5.2033 | 6.6733 | 125.84 | 8.57 | 892 | 97.2 | 32.3727
2019-11-10 07:00:00 | 4.1667 | 3 | 4.7967 | 3.3 | 7.6967 | 6.3367 | 7.66 | 120.1333 | 8.3233 | 892 | 97.2667 | 30.728
2019-11-10 07:15:00 | 4.33 | 121.6867 | 4.99 | 133.72 | 7.4833 | 232.1 | 7.5933 | 17.7267 | 8.19 | 892 | 97.5 | 30.382
2019-11-10 07:30:00 | 4.5433 | 135.9933 | 5.2233 | 149.4467 | 7.51 | 30.5733 | 7.7533 | 12.8133 | 8.2033 | 892 | 97.12 | 30.54
2019-11-10 07:45:00 | 3.92 | 290.35 | 4.5167 | 319.0667 | 7.1633 | 11.31 | 7.77 | 13.21 | 8.03 | 892 | 97.4333 | 30.9533
2019-11-10 08:00:00 | 4.08 | 299.6967 | 4.6967 | 329.3333 | 7.4033 | 2.59 | 7.91 | 11.1233 | 7.9233 | 892 | 97.9667 | 26.7887
2019-11-10 08:15:00 | 3.96 | 278.8967 | 4.57 | 306.4667 | 6.9633 | 10.3567 | 6.96 | 5.6467 | 7.9833 | 892 | 98.7667 | 21.306
2019-11-10 08:30:00 | 3.8933 | 97.11 | 4.4833 | 106.7133 | 6.3433 | 22.4033 | 6.48 | 16.04 | 8.17 | 892 | 97.7 | 19.012
2019-11-10 08:45:00 | 3.5333 | 12.5967 | 4.0633 | 13.8433 | 6.5967 | 20.41 | 6.7567 | 29.4567 | 9.33 | 892 | 93.9333 | 13.8287
2019-11-10 09:00:00 | 3.2133 | 38.61 | 3.6967 | 42.4233 | 5.8233 | 14.3433 | 5.99 | 23.81 | 9.95 | 892.8667 | 89.1333 | 11.9473
2019-11-10 09:15:00 | 2.8733 | 2.94 | 3.3133 | 3.2267 | 4.94 | 18.6967 | 5.3633 | 26.9933 | 10.2233 | 893 | 86.5667 | 11.9107
2019-11-10 09:30:00 | 2.68 | 9.4533 | 3.08 | 10.3867 | 4.8867 | 7.2833 | 5.5967 | 18.6467 | 11.0367 | 893.2 | 84.9 | 13.9233
2019-11-10 09:45:00 | 3.7733 | 113.0467 | 4.3433 | 124.22 | 6.1367 | 7.1167 | 6.4167 | 13.72 | 11.7433 | 894 | 80.44 | 15.556
2019-11-10 10:00:00 | 3.7933 | 298.16 | 4.37 | 327.6333 | 6.19 | 237.2833 | 6.61 | 32.8933 | 11.4233 | 894 | 82.1 | 12.5867
2019-11-10 10:15:00 | 3.92 | 3.0467 | 4.51 | 3.3367 | 6.1033 | 3.06 | 6.1867 | 13.2933 | 11.77 | 894 | 78.7267 | 8.014
2019-11-10 10:30:00 | 3.8133 | 212.4867 | 4.3833 | 233.4967 | 5.7433 | 7.6333 | 5.7533 | 15.58 | 11.608 | 894 | 79.1333 | 3.5967
2019-11-10 10:45:00 | 3.288 | 103.892 | 3.786 | 114.156 | 4.654 | 21.468 | 4.314 | 10.654 | 11.81 | 894 | 77.722 | 1.8153
2019-11-10 11:00:00 | 3.162 | 323.088 | 3.64 | 355.04 | 3.968 | 7.536 | 3.832 | 5.754 | 11.64 | 894 | 76.276 | 0.346
2019-11-10 11:15:00 | 2.78 | 216.4767 | 3.2 | 237.8833 | 3.08 | 158.12 | 3.21 | 238.0267 | 11.8133 | 894 | 74.5333 | 0
2019-11-10 11:30:00 | 2.7467 | 198.8833 | 3.16 | 218.55 | 3.2867 | 118.9667 | 3.2433 | 4.62 | 12.2467 | 894 | 71.9267 | 0
2019-11-10 11:45:00 | 2.4333 | 217.9833 | 2.8033 | 239.5367 | 2.89 | 241.9233 | 2.6333 | 239.7033 | 12.7967 | 894 | 69.3367 | 0
2019-11-10 12:00:00 | 1.8333 | 15.5167 | 2.1167 | 17.0433 | 1.8633 | 20.79 | 1.94 | 3.23 | 12.948 | 894 | 68.89 | 0
2019-11-10 12:15:00 | 1.2 | 2.0833 | 1.3867 | 2.2833 | 0.95667 | 329.1 | 0.3 | 159.3333 | 13.2667 | 894 | 64.1433 | 0
2019-11-10 12:30:00 | 1.0067 | 92.8367 | 1.1667 | 102.0167 | 0.97 | 251.7067 | 0.59333 | 227.8667 | 14.0533 | 893.1333 | 59.17 | 0
2019-11-10 12:45:00 | 2.09 | 166.68 | 2.4067 | 183.1667 | 2.2467 | 170.2333 | 2.22 | 194 | 15.6933 | 893 | 55.7933 | 0
2019-11-10 13:00:00 | 2.2433 | 165.72 | 2.58 | 182.1 | 2.48 | 177.5667 | 2.5 | 167.2 | 15.978 | 893 | 53.8667 | 0
2019-11-10 13:15:00 | 3.0067 | 163.9533 | 3.46 | 180.1667 | 3.3367 | 158.7667 | 3.1533 | 192.4 | 16.35 | 893 | 54.3733 | 0
2019-11-10 13:30:00 | 3.3267 | 159.22 | 3.8267 | 174.9667 | 3.6633 | 174.9667 | 3.5533 | 179.8667 | 16.5567 | 892.8 | 53.14 | 0.39333
2019-11-10 13:45:00 | 3.5267 | 153.6467 | 4.0633 | 168.8333 | 3.8967 | 151.7 | 3.8667 | 170.4 | 16.6507 | 892 | 53.26 | 0.57933
2019-11-10 14:00:00 | 3.3067 | 134.0467 | 3.81 | 147.3 | 3.6767 | 188.5 | 3.6333 | 177.5333 | 16.78 | 892 | 53.3667 | 0.562
2019-11-10 14:15:00 | 3.1433 | 141.4233 | 3.6133 | 155.4 | 3.5733 | 186.9333 | 3.59 | 181.2667 | 17.07 | 891.4667 | 54.6233 | 1.7967
2019-11-10 14:30:00 | 2.75 | 161.19 | 3.1667 | 177.1333 | 3.16 | 184.6667 | 3.2633 | 218.4 | 17.3633 | 891 | 55.1967 | 1.9507
2019-11-10 14:45:00 | 3.32 | 126.16 | 3.82 | 138.6333 | 3.8533 | 191.7667 | 3.7367 | 163.4667 | 17.29 | 891 | 57.1833 | 2.2187
2019-11-10 15:00:00 | 3.1867 | 142.84 | 3.6667 | 156.9667 | 3.54 | 192.8333 | 3.6233 | 196.2667 | 17.254 | 891 | 58.3567 | 2.2527
2019-11-10 15:15:00 | 3.14 | 163.38 | 3.6133 | 179.5333 | 3.7933 | 159.1 | 3.6667 | 173.7333 | 17.43 | 891 | 59.5767 | 3.1347
2019-11-10 15:30:00 | 2.8867 | 178.3733 | 3.32 | 196 | 3.4733 | 180.1667 | 3.5 | 183.4 | 17.61 | 891 | 60.67 | 3.17
2019-11-10 15:45:00 | 3.1367 | 152.7967 | 3.61 | 167.9 | 3.6233 | 200.3333 | 3.8067 | 193.4 | 17.6033 | 891 | 60.5 | 2.864
2019-11-10 16:00:00 | 2.87 | 153.4033 | 3.31 | 168.5667 | 3.3567 | 213.3333 | 3.4667 | 212.7333 | 17.6233 | 890.1333 | 60.1933 | 1.8333
2019-11-10 16:15:00 | 2.7333 | 163.3133 | 3.15 | 179.4667 | 3.3867 | 227.5667 | 3.43 | 234.7333 | 17.6133 | 890 | 59.8273 | 1.288
2019-11-10 16:30:00 | 2.4533 | 167.9867 | 2.8233 | 184.6 | 3.0133 | 213.5667 | 2.9833 | 218.9333 | 17.646 | 890 | 59.9 | 1.5347
2019-11-10 16:45:00 | 2.62 | 177.3 | 3.0133 | 194.8333 | 3.39 | 226.2667 | 3.4133 | 232.2 | 17.31 | 890 | 60.1167 | 3.1433
2019-11-10 17:00:00 | 2.4867 | 171 | 2.86 | 187.9 | 3.27 | 219.9333 | 3.38 | 235.9333 | 16.6367 | 890 | 62.55 | 3.2027
2019-11-10 17:15:00 | 2.1813 | 130.6467 | 2.518 | 143.5667 | 2.7453 | 201.5 | 3.1507 | 218.5867 | 15.9633 | 890 | 65.7527 | 4.166
2019-11-10 17:30:00 | 2.4867 | 167.35 | 2.8667 | 183.9 | 3.24 | 204.9067 | 3.5733 | 221.4 | 15.6467 | 889.1333 | 66.948 | 5.5333
2019-11-10 17:45:00 | 2.2267 | 153.9733 | 2.56 | 169.2 | 2.8267 | 211.1 | 3.0533 | 208.0667 | 15.4433 | 889 | 66.9233 | 5.8467
2019-11-10 18:00:00 | 2.6333 | 157.4867 | 3.04 | 173.0667 | 3.3 | 188.5667 | 3.46 | 203.2 | 15.3633 | 888.8 | 67.13 | 6.9767
2019-11-10 18:15:00 | 2.96 | 160.0433 | 3.41 | 175.8667 | 3.7233 | 208.5333 | 4.1433 | 195.6 | 15.43 | 888 | 66.6 | 7.178
2019-11-10 18:30:00 | 3.1333 | 181.1567 | 3.61 | 199.0667 | 3.9433 | 208.06 | 4.2167 | 206.4667 | 15.2433 | 888 | 68.9067 | 7.6927
2019-11-10 18:45:00 | 3.12 | 176.54 | 3.5967 | 194 | 3.9633 | 217.7 | 3.9333 | 214.6 | 14.7633 | 888 | 73.0333 | 9.23
2019-11-10 19:00:00 | 3.5733 | 187.5267 | 4.1167 | 206.0667 | 4.4767 | 208.3 | 4.4467 | 212.1333 | 14.632 | 888 | 75.0667 | 8.384
2019-11-10 19:15:00 | 3.0867 | 165.87 | 3.5533 | 182.2667 | 3.9533 | 215.0333 | 3.7733 | 220.6667 | 14.38 | 888 | 77.23 | 7.4867
2019-11-10 19:30:00 | 2.6667 | 171.0233 | 3.0667 | 187.9333 | 3.3467 | 208.8333 | 3.34 | 208.4 | 14.0667 | 888.2 | 79.2567 | 6.8373
2019-11-10 19:45:00 | 3.0207 | 189.2007 | 3.4753 | 207.9 | 3.846 | 205.34 | 4.2153 | 204.9533 | 13.8893 | 889 | 81.402 | 4.8713
2019-11-10 20:00:00 | 2.8267 | 169.39 | 3.2533 | 186.1333 | 3.4133 | 200.8667 | 3.66 | 194 | 13.86 | 889 | 82.4333 | 2.9013
2019-11-10 20:15:00 | 2.252 | 175.4587 | 2.598 | 192.8 | 2.798 | 192.3733 | 3.106 | 185.7533 | 13.7047 | 889 | 83.4667 | 3.348
2019-11-10 20:30:00 | 1.9333 | 143.76 | 2.2267 | 157.9667 | 2.3733 | 188.3 | 2.83 | 183.6333 | 13.52 | 889 | 84.6 | 4.2727
2019-11-10 20:45:00 | 2.3667 | 163.51 | 2.7267 | 179.6667 | 2.8167 | 185.2667 | 3.2233 | 196.6667 | 13.3333 | 889 | 85.5667 | 4.5233
2019-11-10 21:00:00 | 2.7267 | 164.2367 | 3.14 | 180.4667 | 3.2567 | 206.9333 | 3.7167 | 194.3333 | 13.28 | 889 | 85.68 | 4.466
2019-11-10 21:15:00 | 2.83 | 166.5367 | 3.2533 | 183 | 3.3333 | 191.3667 | 3.7933 | 186.2333 | 13.2 | 889 | 86 | 3.7273
2019-11-10 21:30:00 | 2.47 | 162.29 | 2.8467 | 178.3333 | 2.9867 | 178.0333 | 3.5467 | 170.7667 | 13.1807 | 889 | 86.0867 | 2.942
2019-11-10 21:45:00 | 2.1867 | 178.4867 | 2.5167 | 196.1333 | 2.5133 | 195.5 | 2.9133 | 182.3 | 13.18 | 889 | 85.0333 | 3.5333
2019-11-10 22:00:00 | 2.48 | 181.58 | 2.8567 | 199.5333 | 3.0067 | 194.1667 | 3.3067 | 189.2333 | 13.1733 | 889 | 84.3667 | 3.32
2019-11-10 22:15:00 | 2.7833 | 169.72 | 3.2 | 186.5 | 3.36 | 196.3 | 3.58 | 188.7333 | 13.0967 | 889 | 84.8 | 3.0987
2019-11-10 22:30:00 | 2.37 | 151.94 | 2.7267 | 166.9667 | 2.8867 | 199.9667 | 3.1267 | 213.9333 | 13.01 | 889 | 85.8 | 3.1953
2019-11-10 22:45:00 | 2.7133 | 165.7067 | 3.1267 | 182.1 | 3.3267 | 194.5333 | 3.6267 | 204.1 | 12.9747 | 889 | 86.7667 | 2.9327
2019-11-10 23:00:00 | 3.0133 | 167.66 | 3.4667 | 184.2333 | 3.86 | 193.5333 | 4.12 | 204.7667 | 12.9827 | 889 | 87.1667 | 1.8767
2019-11-10 23:15:00 | 2.84 | 163.2233 | 3.2667 | 179.3667 | 3.5167 | 187.3667 | 3.8533 | 202.3333 | 12.956 | 889 | 87.8 | 2.2693
2019-11-10 23:30:00 | 2.6933 | 167.2967 | 3.1 | 183.8333 | 3.41 | 203.4333 | 3.5667 | 208 | 12.8467 | 889 | 88.6667 | 2.2213
2019-11-10 23:45:00 | 2.2967 | 163.4967 | 2.6433 | 179.6667 | 2.8933 | 209.5333 | 3.0633 | 199.2667 | 12.798 | 888.4667 | 89.3 | 1.4293