## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2019-11-11 00:00:00 | 2.115 | 167.2657 | 2.4357 | 183.8071 | 2.6843 | 192.3571 | 2.8593 | 195.8929 | 12.7079 | 888 | 89.85 | 0.76571
2019-11-11 00:15:00 | 2.1533 | 154.8867 | 2.4767 | 170.2 | 2.75 | 183.1667 | 2.7267 | 201.0333 | 12.61 | 888 | 90.6 | 0.736
2019-11-11 00:30:00 | 1.86 | 147.8533 | 2.15 | 162.4667 | 2.2967 | 198.1 | 2.28 | 206.5667 | 12.5393 | 888 | 91.3333 | 0.68333
2019-11-11 00:45:00 | 1.92 | 178.0933 | 2.21 | 195.7 | 2.3833 | 199.3 | 2.45 | 185.5667 | 12.45 | 888 | 92.1 | 0.58067
2019-11-11 01:00:00 | 2.3333 | 158.86 | 2.69 | 174.5667 | 2.8233 | 182.7667 | 2.97 | 179.3 | 12.3993 | 888 | 92.5 | 0.51
2019-11-11 01:15:00 | 2.6267 | 156.03 | 3.0267 | 171.4667 | 3.1933 | 180.5667 | 3.5133 | 182.5667 | 12.23 | 887.4667 | 93.1333 | 0.72467
2019-11-11 01:30:00 | 2.5333 | 156.5233 | 2.9133 | 172 | 3.04 | 188.7667 | 3.46 | 188.4333 | 12.0167 | 887 | 93.8 | 1.1513
2019-11-11 01:45:00 | 1.976 | 185.3 | 2.2733 | 203.6267 | 2.3873 | 197.7533 | 2.7447 | 196.7667 | 11.924 | 887 | 93.7667 | 1.3533
2019-11-11 02:00:00 | 1.9267 | 167.88 | 2.2233 | 184.48 | 2.44 | 197.0667 | 3 | 214.0333 | 11.9867 | 887 | 92.8333 | 0.892
2019-11-11 02:15:00 | 2.6133 | 160.8567 | 3.0067 | 176.7667 | 3.1267 | 197.5 | 3.54 | 190.0333 | 11.9333 | 887 | 92.8 | 1.1193
2019-11-11 02:30:00 | 2.6733 | 182.5833 | 3.0733 | 200.6333 | 3.1933 | 180.3 | 3.5533 | 185.1 | 11.904 | 886.8 | 92.6867 | 1.9807
2019-11-11 02:45:00 | 2.3533 | 168.8067 | 2.7067 | 185.5 | 2.7667 | 178.6333 | 3.1133 | 182.6667 | 11.81 | 886 | 93.1333 | 1.988
2019-11-11 03:00:00 | 2.0467 | 170.32 | 2.36 | 187.1667 | 2.4067 | 178.3 | 2.66 | 176.5333 | 11.6833 | 886 | 93.8667 | 2.416
2019-11-11 03:15:00 | 2.4533 | 164.0433 | 2.8233 | 180.2667 | 2.8667 | 169.4667 | 3.1667 | 202.2333 | 11.5667 | 886 | 94.0533 | 1.7627
2019-11-11 03:30:00 | 2.0867 | 154.7033 | 2.41 | 170 | 2.5 | 167.7333 | 2.8067 | 172.3 | 11.4933 | 886 | 94.1467 | 1.3673
2019-11-11 03:45:00 | 2.2933 | 166.62 | 2.64 | 183.1 | 2.72 | 184.8 | 3.0333 | 174.7 | 11.44 | 886 | 94.1333 | 1.7673
2019-11-11 04:00:00 | 2.8 | 169.12 | 3.22 | 185.8333 | 3.5 | 176.06 | 3.7467 | 180.6733 | 11.3067 | 886 | 94.38 | 2.558
2019-11-11 04:15:00 | 3.04 | 150.8833 | 3.4933 | 165.8 | 3.72 | 184.8333 | 4.06 | 192.6333 | 11.2333 | 885.4667 | 94.2 | 3.4907
2019-11-11 04:30:00 | 3.1 | 138.87 | 3.5667 | 152.6 | 3.76 | 182.9 | 4.1733 | 191.7667 | 11.3467 | 885 | 93.4 | 2.466
2019-11-11 04:45:00 | 2.8067 | 161.7667 | 3.2267 | 177.7667 | 3.28 | 203.2333 | 3.3367 | 189.1333 | 11.3753 | 885 | 92.8 | 3.226
2019-11-11 05:00:00 | 2.46 | 171.1133 | 2.8267 | 188.0333 | 2.92 | 197.1667 | 3.1767 | 200.8 | 11.3133 | 885 | 93.1333 | 3.6587
2019-11-11 05:15:00 | 2.208 | 170.696 | 2.5433 | 187.58 | 2.8667 | 212.8533 | 3.1773 | 209.6467 | 11.3053 | 885 | 92.9867 | 3.1667
2019-11-11 05:30:00 | 1.8333 | 177.276 | 2.1133 | 194.8067 | 2.5367 | 203.2 | 2.9267 | 184.9 | 11.3167 | 885 | 93.4333 | 1.5793
2019-11-11 05:45:00 | 0.61333 | 182.9133 | 0.71667 | 201 | 1.0533 | 181.1667 | 2.1 | 176.6333 | 11.42 | 885 | 92.9 | 0.78867
2019-11-11 06:00:00 | 0.77333 | 169.26 | 0.89 | 186 | 1.2667 | 160.2333 | 2.0667 | 156.0333 | 11.5373 | 885 | 92.3 | 1.0187
2019-11-11 06:15:00 | 1.48 | 174.8767 | 1.7 | 192.1667 | 2.2367 | 170.3 | 2.92 | 164.2667 | 11.612 | 885 | 91.7 | 2.2627
2019-11-11 06:30:00 | 1.92 | 171.4167 | 2.2133 | 188.3667 | 2.65 | 175.1 | 3.4533 | 168.2667 | 11.5833 | 885 | 91.9 | 2.2193
2019-11-11 06:45:00 | 1.7667 | 166.53 | 2.04 | 183 | 2.5533 | 174.5733 | 3.5367 | 168.8667 | 11.5333 | 885 | 91.7 | 1.5273
2019-11-11 07:00:00 | 1.5067 | 172.206 | 1.74 | 189.24 | 2.3 | 176.6333 | 2.9167 | 184.3333 | 11.6 | 885 | 90.7667 | 1.488
2019-11-11 07:15:00 | 1.59 | 169.2667 | 1.84 | 186 | 2.5033 | 215.4 | 2.7367 | 187.54 | 11.65 | 885 | 90.3333 | 1.8613
2019-11-11 07:30:00 | 1.65 | 171.64 | 1.9067 | 188.6 | 2.5433 | 206.8667 | 2.8167 | 193.4333 | 11.57 | 885 | 90.7333 | 1.2467
2019-11-11 07:45:00 | 0.84 | 185.7333 | 0.96667 | 204.1 | 1.5433 | 210.6667 | 2.0767 | 213.9667 | 11.5393 | 885 | 90.6 | 0.66533
2019-11-11 08:00:00 | 0.31333 | 185.3667 | 0.36667 | 203.7 | 0.61 | 210.8667 | 1.1367 | 185.7667 | 11.5387 | 885 | 90.38 | 0.6
2019-11-11 08:15:00 | 0.37333 | 200.84 | 0.43333 | 220.7 | 0.7 | 192.3667 | 1.0833 | 174.46 | 11.59 | 885 | 90.2667 | 0.75933
2019-11-11 08:30:00 | 0.615 | 199.552 | 0.715 | 219.28 | 1.165 | 185.5 | 1.42 | 174.6 | 11.544 | 885 | 91.5 | 0.575
2019-11-11 08:45:00 | 0.615 | 199.552 | 0.715 | 219.28 | 1.165 | 185.5 | 1.42 | 174.6 | 11.544 | 885 | 91.5 | 0.575
2019-11-11 09:00:00 | 0.615 | 199.552 | 0.715 | 219.28 | 1.165 | 185.5 | 1.42 | 174.6 | 11.544 | 885 | 91.5 | 0.575
2019-11-11 09:15:00 | 0.615 | 199.552 | 0.715 | 219.28 | 1.165 | 185.5 | 1.42 | 174.6 | 11.544 | 885 | 91.5 | 0.575
2019-11-11 09:30:00 | 0.615 | 199.552 | 0.715 | 219.28 | 1.165 | 185.5 | 1.42 | 174.6 | 11.544 | 885 | 91.5 | 0.575
2019-11-11 09:45:00 | 1.3267 | 169.2727 | 1.53 | 186.0067 | 2.0333 | 206.9 | 2.68 | 222 | 11.6007 | 886 | 91.6333 | 1.7367
2019-11-11 10:00:00 | 1.3267 | 169.2727 | 1.53 | 186.0067 | 2.0333 | 206.9 | 2.68 | 222 | 11.6007 | 886 | 91.6333 | 1.7367
2019-11-11 10:15:00 | 1.3267 | 169.2727 | 1.53 | 186.0067 | 2.0333 | 206.9 | 2.68 | 222 | 11.6007 | 886 | 91.6333 | 1.7367
2019-11-11 10:30:00 | 1.3267 | 169.2727 | 1.53 | 186.0067 | 2.0333 | 206.9 | 2.68 | 222 | 11.6007 | 886 | 91.6333 | 1.7367
2019-11-11 10:45:00 | 1.3267 | 169.2727 | 1.53 | 186.0067 | 2.0333 | 206.9 | 2.68 | 222 | 11.6007 | 886 | 91.6333 | 1.7367
2019-11-11 11:00:00 | 1.3333 | 158.19 | 1.5367 | 173.8333 | 1.8533 | 209.8333 | 2.5667 | 228.6667 | 11.6187 | 886 | 92.2333 | 1.81
2019-11-11 11:15:00 | 1.6133 | 159.8747 | 1.8567 | 175.6867 | 2.0267 | 208.0667 | 2.7267 | 227.7333 | 11.5333 | 886 | 93.5667 | 2.1627
2019-11-11 11:30:00 | 1.9333 | 166.71 | 2.2367 | 183.2 | 2.2267 | 200.4667 | 2.66 | 226.2 | 11.3933 | 885.8 | 93.3 | 1.8047
2019-11-11 11:45:00 | 1.44 | 166.4133 | 1.66 | 182.8667 | 2.0033 | 211.3333 | 2.6933 | 225.1667 | 11.42 | 885 | 93.5533 | 1.2693
2019-11-11 12:00:00 | 1.28 | 165.0867 | 1.4733 | 181.4 | 2.0767 | 235.1333 | 2.6133 | 227.2333 | 11.6467 | 885 | 93.2 | 1.1993
2019-11-11 12:15:00 | 1.6867 | 174.4533 | 1.9467 | 191.7 | 2.5 | 232.9333 | 2.77 | 227.7667 | 12.0267 | 885 | 89.4 | 0.86467
2019-11-11 12:30:00 | 1.6867 | 178.58 | 1.94 | 196.2333 | 2.42 | 232.8 | 2.5967 | 220.9667 | 12.078 | 885 | 88 | 0.52067
2019-11-11 12:45:00 | 1.29 | 201.79 | 1.4813 | 221.74 | 2.2307 | 248.1533 | 2.1447 | 231.6933 | 12.0967 | 884.4667 | 87.32 | 0.41667
2019-11-11 13:00:00 | 0.81333 | 213.2467 | 0.94 | 234.3333 | 1.58 | 257.1667 | 1.58 | 245.6333 | 12.2633 | 884 | 86.4333 | 0.44467
2019-11-11 13:15:00 | 0.28 | 156.7067 | 0.32 | 172.2 | 0.38667 | 227.7 | 0.56667 | 248.2333 | 12.2767 | 884 | 87.9667 | 0.34067
2019-11-11 13:30:00 | 0 | 120.48 | 0 | 132.4 | 0 | 227.6133 | 0 | 267.9 | 12.3767 | 884 | 88.2333 | 0.21
2019-11-11 13:45:00 | 0.006667 | 120.48 | 0.013333 | 132.4 | 0.006667 | 227.5467 | 0.066667 | 267.9 | 12.35 | 884 | 90.3 | 0.25267
2019-11-11 14:00:00 | 0.046667 | 120.48 | 0.06 | 132.4 | 0.086667 | 234.3 | 0.54667 | 261.5667 | 12.2567 | 884 | 90.5467 | 0.24067
2019-11-11 14:15:00 | 0.056667 | 187.1833 | 0.063333 | 205.7 | 0.093333 | 280.9 | 0.48667 | 271.02 | 12.1927 | 883.4667 | 90.6667 | 0.27
2019-11-11 14:30:00 | 0.003333 | 320.59 | 0.003333 | 352.3 | 0 | 280.9 | 0.053333 | 288 | 12.132 | 883 | 91 | 0.49533
2019-11-11 14:45:00 | 0.13467 | 320.59 | 0.158 | 352.3 | 0.272 | 272.1533 | 1.288 | 248.3 | 12.0247 | 883 | 92.4333 | 0.346
2019-11-11 15:00:00 | 0.14 | 320.59 | 0.16667 | 352.3 | 0.27 | 248.62 | 1.2933 | 248.3 | 11.88 | 883 | 92 | 0.184
2019-11-11 15:15:00 | 0.18667 | 320.59 | 0.22 | 352.3 | 0.37 | 244.6467 | 1.2833 | 234.1 | 11.93 | 883 | 90.7 | 0.32533
2019-11-11 15:30:00 | 0.14667 | 320.59 | 0.18 | 352.3 | 0.30333 | 222.8667 | 0.45667 | 225.1 | 11.946 | 883 | 90.3667 | 0.039333
2019-11-11 15:45:00 | 0 | 320.638 | 0 | 352.3533 | 0 | 216 | 0 | 225.1 | 11.9 | 882.4667 | 87.7667 | 0
2019-11-11 16:00:00 | 0.18667 | 322.3267 | 0.22 | 354.2 | 0.1 | 216.04 | 0 | 225.1 | 11.7867 | 882 | 89.7 | 0
2019-11-11 16:15:00 | 0.89667 | 318.24 | 1.03 | 349.7 | 1.18 | 2.67 | 0 | 225.1 | 11.57 | 882 | 92.4333 | 0
2019-11-11 16:30:00 | 1.0633 | 106.1133 | 1.2233 | 116.6 | 1.54 | 2.0567 | 0.086667 | 270.3 | 11.546 | 882 | 92.7667 | 0
2019-11-11 16:45:00 | 1.2067 | 308.2867 | 1.4 | 338.7667 | 1.4833 | 120.0333 | 0.10667 | 310.3333 | 11.61 | 882 | 92.3 | 0
2019-11-11 17:00:00 | 1.4333 | 315.02 | 1.66 | 346.1667 | 1.7233 | 354.2667 | 0.9 | 338.2667 | 11.6767 | 882 | 92.3 | 0.248
2019-11-11 17:15:00 | 1.7633 | 314.11 | 2.03 | 345.1667 | 2.03 | 35.92 | 1.6233 | 264.1367 | 11.72 | 882 | 92.2 | 0.102
2019-11-11 17:30:00 | 2.11 | 312.5967 | 2.4233 | 343.5 | 2.37 | 3.5733 | 2.2167 | 26.53 | 11.7247 | 882.2 | 91.98 | 0.54067
2019-11-11 17:45:00 | 1.6933 | 316.8633 | 1.9567 | 348.2 | 2.26 | 14.4067 | 2.14 | 23.26 | 11.65 | 883 | 91.6 | 0.082
2019-11-11 18:00:00 | 1.14 | 321.808 | 1.31 | 353.62 | 2.1133 | 32.7 | 1.5533 | 35.9 | 11.6033 | 883 | 91.5133 | 0.19267
2019-11-11 18:15:00 | 1.4267 | 303.1567 | 1.6467 | 333.1333 | 2.25 | 25.0067 | 1.7367 | 44.6567 | 11.5167 | 883 | 91.9 | 0
2019-11-11 18:30:00 | 2.0667 | 321.47 | 2.38 | 353.2667 | 2.7433 | 17.7667 | 2.8367 | 33.8967 | 11.4367 | 882.3333 | 92.7 | 0
2019-11-11 18:45:00 | 2.1833 | 308.5033 | 2.51 | 339 | 2.6033 | 242.1767 | 2.8 | 7.5 | 11.3 | 883 | 94.1667 | 0
2019-11-11 19:00:00 | 2.028 | 321.124 | 2.334 | 352.88 | 2.844 | 19.178 | 3.106 | 24.35 | 11.236 | 883 | 94.62 | 0.11333
2019-11-11 19:15:00 | 2.29 | 299.9133 | 2.6333 | 329.5667 | 3.5833 | 131.0267 | 3.6533 | 7.15 | 11.2013 | 883 | 95.0667 | 0.426
2019-11-11 19:30:00 | 2.4367 | 204.6 | 2.8 | 224.8333 | 3.5233 | 124.5067 | 3.6067 | 4.1033 | 11.13 | 883 | 95.2 | 0.39533
2019-11-11 19:45:00 | 2.5033 | 3.3967 | 2.8767 | 3.73 | 3.7767 | 12.7033 | 3.6133 | 8.4467 | 11.1047 | 883.5333 | 95.1333 | 0.27067
2019-11-11 20:00:00 | 2.3767 | 10.67 | 2.73 | 11.7167 | 3.5967 | 5.6433 | 3.64 | 21.64 | 11.1133 | 884 | 94.8 | 1.824
2019-11-11 20:15:00 | 2.72 | 14.19 | 3.13 | 15.59 | 4.58 | 4.51 | 4.4733 | 14.1633 | 11.05 | 884 | 94.5867 | 4.5347
2019-11-11 20:30:00 | 2.98 | 10.5167 | 3.4367 | 11.5567 | 4.6133 | 3.21 | 4.5733 | 9.6433 | 11.07 | 884 | 94.4333 | 4.858
2019-11-11 20:45:00 | 2.7033 | 140.7333 | 3.11 | 154.64 | 4.6867 | 126.5867 | 4.7167 | 12.87 | 11.0267 | 884 | 95.6 | 5.7527
2019-11-11 21:00:00 | 3.05 | 123.58 | 3.5167 | 135.7933 | 5.0467 | 348.5 | 4.77 | 4.2433 | 11.04 | 884 | 94.9333 | 8.2013
2019-11-11 21:15:00 | 3.29 | 108.2333 | 3.7933 | 118.94 | 5.8133 | 350.0333 | 5.61 | 7.0433 | 11.052 | 884 | 94.4 | 14.61
2019-11-11 21:30:00 | 3.696 | 292.748 | 4.25 | 321.7 | 6.418 | 138.638 | 6.474 | 9.304 | 11.026 | 884.8667 | 94.1933 | 19.46
2019-11-11 21:45:00 | 3.7333 | 315.8367 | 4.3033 | 347.0667 | 6.7333 | 8.51 | 7.0933 | 22.43 | 11.01 | 885 | 94.18 | 20.5647
2019-11-11 22:00:00 | 3.78 | 322.03 | 4.35 | 353.8667 | 6.6133 | 14.2167 | 6.9533 | 17.07 | 10.9787 | 885 | 95.1333 | 24.9253
2019-11-11 22:15:00 | 4.0133 | 81.3533 | 4.6133 | 89.4 | 7.4067 | 14.1333 | 7.64 | 12.0067 | 10.9 | 885 | 96.4667 | 27.4807
2019-11-11 22:30:00 | 4.02 | 249.7933 | 4.6333 | 274.5 | 7.12 | 13.3267 | 7.0933 | 12.9133 | 10.8933 | 885 | 97.0667 | 27.5573
2019-11-11 22:45:00 | 4.3067 | 100.9033 | 4.9533 | 110.8733 | 7.1933 | 354.6 | 7.21 | 6.1433 | 10.94 | 885 | 96.9333 | 30.8373
2019-11-11 23:00:00 | 4.4867 | 264.75 | 5.16 | 290.9333 | 7.7133 | 347.3333 | 7.33 | 23.21 | 10.9487 | 885 | 95.9333 | 33.792
2019-11-11 23:15:00 | 5.01 | 112.4267 | 5.7667 | 123.5433 | 8.98 | 2.9967 | 8.74 | 7.8467 | 10.982 | 885 | 94.5333 | 36.3347
2019-11-11 23:30:00 | 4.7633 | 6.14 | 5.4733 | 6.7433 | 8.4933 | 5.1367 | 8.28 | 8.4933 | 11.038 | 885.2 | 93.4 | 34.7893
2019-11-11 23:45:00 | 4.3567 | 156.01 | 5.01 | 171.4333 | 7.8467 | 16.8333 | 7.6567 | 17.1333 | 10.9233 | 886 | 94.7667 | 34.9367